## Cover
NCC Statement of Requirements
Programme | Future Infrastructure Programme
Status
Approval Date
Version History
Version | Date | Changed by | Summary of change
0.1 | 2025-08-04 | Team | First draft for review

## Summary
NCC Future Infrastructure Programme Requirements Summary
Tab | Grouping | Requirement area | Requirement Number
Implementation | Implementation | Implementation | I- 1.0
Service & Support | Service & Support | Service | SS- 1.0
|  | Support | SS- 2.0
Pricing | Pricing | Pricing | P- 1.0
Compute | Compute | Compute | C-1.0
|  | Connectivity | C- 2.0
|  | Storage | S- 1.0
Storage | Storage | Backup | S- 2.0
|  | DR | S- 3.0
Hypervisor | Hypervisor | Hypervisor | H- 1.0
General | General | Accessibility | GEN- 1.0
|  | API Requirements | GEN- 2.0
|  | Communications and message handling standards | GEN- 3.0
|  | Data Protection & Information Security | GEN- 4.0
|  | System Security | GEN- 5.0
|  | Authentication and user privileges | GEN- 6.0
|  | Data Centre Standards | GEN- 7.0
|  | End user computing | GEN- 8.0
|  | Compatibility with Microsoft Office software | GEN- 9.0
|  | Backups | GEN- 10.0
|  | Disaster recovery services | GEN- 11.0
|  | Operational and Service management | GEN- 12.0
Security | Security | Legal Requirements | SEC- 1.0
|  | System interface requirements | SEC- 2
|  | Security standards | SEC- 3
|  | Technical Standards | SEC- 4
|  | Data protection & Information Security | SEC- 5
|  | Hosted Solution (Software as a Service) – Data Centre Standards | SEC- 6
|  | End user and server computing | SEC- 7
|  | Browser Support | SEC- 8
|  | Accessibility design | SEC- 9
|  | Authentication | SEC- 10
|  | System Security | SEC- 11
|  | Disaster recovery services | SEC- 12
|  | Operational and Service management | SEC- 13

## Implementation
NCC Project & Implementation Requirements |  |  |  | Supplier Response
Req # | Requirement area | Requirement description | MoSCoW | Can requirement be met? | Supplier Response as requested in the Invitation to Initial Tender
I- 1.0 | Implementation
I-1.1 | Implementation | As per the terms and conditions, supplier personnel must be retained on the project through out the project lifecycle. Any departure of key personnel must be managed with an appropriate handover. | Must have
I-1.2 | Implementation | Any supplier personnel assigned to the contract who may need access to the Council network for any reason must accept and sign up to the authority's code of connection for connection to The Council’s IT network in advance of contract commencement. | Pass/Fail
I-1.3 | Implementation | Implementation of services is expected to commence by early 2027 [ subject to dialogue] | Must have
I-1.4 | Implementation | The supplier is responsible for producing high level and low level Technical Architecture Design documents including: * Details of the full technology stack that the solution is built upon * Details of overall system resilience and redundancy * Details of how the solution integrates with any existing county council's infrastructure, both during migration, and should any existing infrastructure be retained * The supplier must work with the authority to agree the final design | Must have
I-1.5 | Implementation | The supplier must provide a single design that includes all elements of the server infrastructure, including any network infrastructure provided. This must include how the service integrates with the existing NCC network. The design documentation must also describe how services will be installed resiliently across both authority data centres, how the data centres will function under normal operation and how DR is implemented. Scenarios should be provided to show the typical traffic flow between client and server under both normal and DR conditions. DR scenarios include, but are not limited to: * The failure of any single item of resilient equipment within a single data centre * The failure of any multiple items of resilient equipment within a single data centre * The failure of any single connection or link between equipment within a single data centre * The failure of any multiple connections or links between equipment within a single data centre * The failure of connections or links between the County Hall (Primary DC) and Millennium (Secondary DC) data centres * The complete failure of the Primary data centre * The complete failure of the Secondary data centre | Must have
I-1.6 | Implementation | The supplier must provide a detailed design for all integration points, including any configuration required by NCC or third party suppliers, including, but not limited to: * Existing services that are out of scope of the procurement * The migration from the old to new service * New services that the supplier will be providing * connection to third party networks if required | Must have
I-1.7 | Implementation | The supplier must provide a full migration schedule. | Must have
I-1.8 | Implementation | The supplier must provide a full pre go-live test plan, working with NCC to ensure all failure scenarios are tested. This should test all aspects of resilience, including, but not limited to: * Failure of individual items of equipment * Failure of multiple items of equipment * A complete failure of the County Hall data centres This is to ensure that in the event of a failure, the service continues to operate as intended, and that resilience within the Secondary Data Centre functions as intended. Full acceptance by NCC of the test results is required before any new service is migrated to a live environment. | Must have
I-1.9 | Implementation | The supplier must consider the reuse of any existing equipment where this is appropriate. All retained equipment and associated software must remain within manufacturer mainstream support for the life of the contract. | Must have
I-1.10 | Implementation | Equipment that is classified as DoA (Dead on Arrival) by the authority shall be replaced under the project implementation phase, including equipment which goes faulty within 2 weeks of acceptance by the customer of successful deployment. DoA equipment will not be replaced as part of the ongoing operational support process. | Must have
I-1.11 | Implementation | The supplier must work with NCC to configure the system to an agreed design, including handover of configuration documentation and configuration management processes to NCC staff. The designs must include a review and update of the security management plan. | Must have
I-1.12 | Implementation | NCC will physically install all compute and storage hardware within the data centres, including the physical connectivity based on the supplier design document. The configuration to the agreed design of the following elements is the responsibility of the supplier: * Compute * Storage * Network infrastructure * Backup & DR * Hypervisor Following configuration the supplier will work with NCC to: - test service functionality - test a sample server migration - test resilience of the solution - Migrate the first 5 live servers Following installation and testing, NCC will be responsible for the migration of services from the old to the new platform. | Must have
I-1.13 | Implementation | The supplier must provide full knowledge transfer and documentation to the council's implementation team for all system configuration. This must include all instructions to support the business as usual operation of the service. | Must have
I-1.14 | Implementation | The supplier must complete, provide evidence of completing and provide the results of: * Performance and resilience tests * DR tests * Back up and recovery tests * Business Continuity tests * Pen testing of the service | Must have
I-1.15 | Implementation | The supplier must provide appropriate levels of post-implementation support for at least 6 weeks after go-live, to ensure the bedding in of the system and service. | Must have
I-1.16 | Implementation | The new solution, and all hardware provided, must not introduce any performance or capacity issues. All hardware must operate at a performance level equal to or greater than the existing equipment. The supplier must ensure that all elements of their proposed solution are taken into consideration so that performance bottlenecks are not introduced, and that they remain fit for purpose over the next 7 years. This includes: * Connectivity between devices. e.g. Server to Network, Server to Storage * Uplinks to the existing NCC network | Must have
I-1.17 | Implementation | Following the completion of the migration, all old equipment must be decommissioned, removed from site, and disposed of by the supplier. NCC retains the right to sell or repurpose the decommissioned equipment. | Must have
I-1.18 | Implementation | All data must be securely erased to the NCSC UK Government standards. This includes, but is not limited to: * Any data stored on hard disks or solid state storage devices * Configuration data stored on solid state storage devices such as flash drives or other types of non-volatile memory device, including those that are embedded within other hardware components * In all cases, any data, including configuration data, must not be recoverable prior to disposal * Guidance can be found here https://www.ncsc.gov.uk/guidance/secure-sanitisation-storage-media | Must have
I-1.19 | Implementation | Redundant equipment decommissioned and removed from NCC’s premises in an environmentally safe manner in line with current disposal legislation (WEEE directive) | Must have
I-1.20 | Implementation | Partial or total trade in of old equipment to be priced in the pricing schedule detailing any credits due. Alternatively if disposal of equipment is a charged service this is to be priced accurately in the pricing schedule. | Must have
I-1.21 | Implementation | Removal and disposal of all packaging. | Must have
I-1.22 | Implementation | The supplier must define and agree a plan with the authority highlighting key milestones and the acceptance criteria including but not limited to: * Acceptance and sign off by Norfolk County Council of the proposed solution based on a Low Level Design, for the whole service * Acceptance and sign off by Norfolk County Council of the proposed solution based on a Low Level Design, for each key element of the service * Equipment delivered at agreed locations (Primary and Secondary Site) * Physical Installation of equipment (including all power, data and management cables) * All installed equipment configured to meet agreed functionality * Warranty does not commence until the equipment is installed, commissioned and accepted in service - not to start at date of equipment delivery * Functionality tested and passed (performance and access) * Migration completed minimal downtime within agreed tolerances * Post migration system integrity and validation * Decommissioning and removal of existing equipment * Project sign off and closure * Testing of service resilience * Successful Testing of Disaster Recovery failover between the Primary and Secondary data centres | Must have
I-1.23 | Implementation | The supplier must provide delivery of all equipment to site, the location of which will be nominated by NCC. | Must have
I-1.24 | Implementation | Storage of equipment is the responsibility of the supplier until such time it is delivered to an NCC premises. | Must have
I-1.25 | Implementation | Unless specified otherwise, all equipment must be mountable in a standard 19 inch rack. | Must have

## Service & Support
NCC Professional Services & Support |  |  |  | Supplier Response
Req # | Requirement area | Requirement description | MoSCoW | Can requirement be met? | Supplier Response as requested in the Invitation to Initial Tender
SS- 1.0 | Service
SS- 1.1 | Service | Following implementation the supplier must provide full transfer of all knowledge relating to the new service, including, but not limited to: *A detailed description of the design *A review of all configurations applied *Detail and configuration of all integration point between key element within the solution and to the existing NCC network service. This to be completed in a formal training type environment over two sessions with up to 6 NCC staff per session. NCC will provide the venue. NCC reserve the right to remove or amend this requirement post contract award, should this be deemed to be not necessary. This will form part of the contract sign-off | Must have
SS- 1.2 | Service | The supplier may provide accredited training for key elements of the solution where possible. The supplier must detail what training they include as part of this solution, and for how many people. | Must have
SS- 1.3 | Service | Must provide professional services to interconnect the new solution to the existing network components, infrastructure and third party connections, that are outside the scope of this procurement. | Must have
SS- 1.4 | Service | NCC will work with the supplier to provide a joint Project Management function. Supplier responsibilities will include: * single point of contact for project coordination | Must have
SS- 1.5 | Service | Must contribute to all associated project documentation. | Must have
SS- 1.6 | Service | Must contribute to a risk and issue log, which will be jointly owned with NCC. | Must have
SS- 1.7 | Service | Must contribute to project reporting into the ICT programme, including attendance to onsite meetings as required. | Must have
SS- 2.0 | Support
SS- 2.1 | Support | For all equipment the following fix times apply: * Resilient component failure (overall system operational) – Next Business Day (NBD) fix | Must have
SS- 2.2 | Support | Replacement parts to be delivered and collected by the solution provider at a location specified by NCC. | Must have
SS- 2.3 | Support | Must provide access by NCC staff to download all released patches, upgrades and firmware on a perpetual basis for the life of the equipment, operating system, software. All equipment, Operations systems and software elements must remain supported for at least the life of the contract. | Must have
SS- 2.4 | Support | Following deployment of the service, and handover into live operation, NCC will be fully responsible for the configuration of all elements of the service. | Must have
SS- 2.5 | Support | The supplier must clearly document the effect on the service in the event of the expiration of any annual recurring licence or maintenance agreement. This includes, but is not limited to: * Hardware maintenance * Software maintenance * Software subscriptions * List subscriptions | Must have
SS- 2.6 | Support | The solution must provide the following: * Security access auditing * Role based access * Performance reporting * Capacity reporting * Monitoring and management console * SNMP alerting * Supplier or Vendor remote access for trouble shooting. This will be provided by NCC’s existing RAS | Must have
SS- 2.7 | Support | System administration utilities, and all software dependencies (e.g. browser plugins, web servers), must be capable of being installed on or accessible from client PCs running Windows 11 and future versions. | Must have
SS- 2.8 | Support | These utilities must be compatible with Windows systems and be browser based. Scripting options would be an advantage. | Should have
SS- 2.9 | Support | The supplier must provide the documented capabilities of all equipment provided. At a minimum this must include maximum capable throughput, including but not limited to: * Interface counts * Interface speeds * Environmental impact, including maximum and typical power consumption | Must have
SS- 2.10 | Support | The supplier must provide evidence of their alignment with NCCs climate action plan. https://www.norfolk.gov.uk/article/58016/Climate-action-plan | Must have
SS- 2.11 | Support | The supplier must provide a centralised management platform that allows the complete management of the overall solution, and all individual elements. This must include at a minimum: * Role based administration accounts, capable of integration into NCCs Entra ID SSO * Centralised deployment of configuration changes to all devices across the solution * Capable of configuration deployment via template or ad-hoc * Collation of utilisation and statistical information, and event logs from all devices across the solution * The backup of all device configurations * The real-time monitoring of device status for all network devices across the entire network This should at a minimum include: * Device availability. * General device status. * Environmental status. | Should have
SS- 2.12 | Support | The supplier must clearly identify any devices that cannot be managed centrally. | Must have
SS- 2.13 | Support | All management and reporting platforms must be fully resilient. | Must have
SS- 2.14 | Support | All devices must be capable of integrating with the NCC SIEM solution. At a minimum this should include the push of the following to the NCC SIEM service - Microsoft Sentinel * syslog information. * SNMP traps. | Must have
SS- 2.15 | Support | Must provide security tools for the collation and interrogation of all events from all devices associated to the service. This includes, but is not limited to: * User authentications, for failed and successful attempts * Device administration events * Device hardware and software events * Log events must contain all information pertinent to the event type. This includes, but is not limited to: * User ID * Device IP address * Location from where the event originated * Equipment name that generated the event * Time * Date * Event type * Event severity | Must have
SS- 2.16 | Support | The supplier and it's staff must comply with all relevant Health & Safety regulations during any work undertaken on NCC premises or on behalf of NCC. This includes, but is not limited to: * Manual handling and lifting * Lone working * Working at height * Electrical safety | Must have
SS- 2.17 | Support | For all software based management tools, the supplier must detail the server and storage capacity required. NCC will provide suitable space on their Virtual Server Infrastructure. | Must have
SS- 2.18 | Support | All hardware, software and services must remain fit for purpose and remain within vendor support for at least seven years. This must include all firmware upgrades, software upgrades and security patches/updates. | Must have

## Pricing
NCC Pricing |  |  |  | Supplier Response
Req # | Requirement area | Requirement description | MoSCoW | Can requirement be met? | Supplier Response as requested in the Invitation to Initial Tender
P- 1.0 | Pricing
P- 1.1 | Pricing | Pricing must be broken down as follows: * Per unit and component, including a breakdown of implementation and installation costs. * Per service, broken down as follows: * Management tools * Security tools * Licence costs | Must have
P- 1.2 | Pricing | NCC will provide all local structured cabling and patch cables. Any cable types or hardware required for connectivity must be detailed individually by the supplier. | Must have
P- 1.3 | Pricing | The supplier must detail the power supply and connectivity requirements | Must have
P- 1.4 | Pricing | Maintenance support for all hardware. This to be priced on a per year basis. Where cost savings can be made for purchasing maintenance over a longer period (for example over 3, 5 or 7 years) this should be clearly described as an option. NCC may choose longer support periods at their discretion. | Must have
P- 1.5 | Pricing | The supplier to supply all necessary licences necessary to deliver the listed functionality. Software and licence costs should be priced on a per year basis. Where cost savings can be made for purchasing maintenance over a longer period (for example over 3, 5 or 7 years) this should be clearly described as an option. NCC may choose longer support periods at their discretion. | Must have
P- 1.6 | Pricing | The supplier must clearly state which pricing is based on a one off purchase, and which is based on a licence / subscription model. The solution must be fully licenced to fully support the capacity of the service as designed, including all hardware and software features. | Must have
P- 1.7 | Pricing | Professional services, installation (for core and pilot servers), including project coordination, training, documentation and handover to be priced individually | Must have
P- 1.8 | Pricing | As necessary, to obtain the licenses, any keys, portal access or other will be made available to NCC. | Must have

## Compute
Local Hosting (Compute and Connectivity) requirements |  |  |  | Supplier Response
Req # | Requirement area | Requirement description | MoSCoW | Can requirement be met? | Supplier Response as requested in the Invitation to Initial Tender
C- 1.0 | Compute
C-1.1 | Compute | The compute solution must comprise of two server clusters, one for the primary datacentre and one for the secondary datacentre. | Must have
C-1.2 | Compute | Total minimum required concurrent CPU capacity: Primary datacentre cluster 385GHz. Secondary datacentre cluster 230GHz. | Must have
C-1.3 | Compute | Total required concurrent RAM capacity: Primary datacentre cluster 5TB. Secondary datacentre cluster 4TB. | Must have
C-1.4 | Compute | The CPUs included in the servers must have minimum of 16 cores per CPU socket. | Must have
C-1.5 | Compute | The Primary cluster must have a N+1 configuration where the +1 will be in excess of the values specified in C-1.2 and C-1.3 | Must have
C-1.6 | Compute | Where hardware constraints dictate, the values specified in C-1.2 and C-1.3 can be exceeded. | Must have
C-1.7 | Compute | The number of servers included in the primary and secondary clusters can vary based on individual hosts specifications. | Must have
C-1.8 | Compute | AMD CPUs are acceptable if the price is lower than Intel where performance and functions are matching those of Intel or exceeding them. | Must have
C-1.9 | Compute | The compute solution must allow for a minimum 50% increase at anypoint for future growth by the addition of extra nodes. The solution must also allow for a reduction in scale after 3 years if required as a result of Local Governemnt Reorganisation. | Must have
C-1.10 | Compute | The compute solution must be fully compatible or integrated with the Storage solution described in the next paragraph (S-1.0 Storage) | Must have
C-1.11 | Compute | Each compute node must have a redundant dual network connection to two separate switches operating at minimum 10Gbps. Where separate storage has been implemented, or offered as part of the solution, separate network connectivity dedicated to storage should be considered. | Must have
C-1.12 | Compute | The network port must support VLAN trunking, and the server virtual switch must support full VLAN isolation to prevent the routing of traffic between VLANs. | Must have
C-1.13 | Compute | Each compute node must have a dedicated management network port. | Must have
C-1.14 | Compute | The compute nodes must be based on x86 64bit architecture CPUs. | Must have
C-1.18 | Connectivity | The solution must include the necessary switches to connect the storage and compute elements to the core of the network. | Must have
C-2.1 | Connectivity | The solution must include a minimum of 4 switches, 2 at each of the sites. | Must have
C-2.2 | Connectivity | The supplier must provide the necessary network switches. These switches must have the appropriate port capacity to connect all elements of the compute and storage solution and allow for a minimum 50% future growth in number of compute nodes without further upgrade. | Must have
C-2.3 | Connectivity | The switches must have the appropriate throughput performance to allow all elements of the compute and storage solution to communicate between themselves and with the rest of the network at wire speed without introducing any latency. There must be sufficient performance to allow for a 50% future increase in the number of compute nodes without further upgrade. | Must have
C-2.4 | Connectivity | The speed of the switch ports must be minimum 10Gbps towards all servers and minimum 25Gbps towards the core, the storage and between switches. | Must have
C-2.5 | Connectivity | All components of the solution, including, but not limited to connectivity and power, for all Storage, Servers, and network components must be fully hardware resilient with no single point of failure, and have resilient dual connections between all elements of the service. | Must have
C-2.6 | Connectivity | All necessary direct attach cables, transceivers, modules, etc to allow the assembly and enable the expected functionality of the solution must be provided. NCC will provide any required fibre drop/patch leads. | Must have
C-2.7 | Connectivity | Must support all common network standards and protocols, including, but not limited to: * Multicast * Spanning Tree - best version * OSPF * BGP * QoS/CoS * VRF * EtherChannel (for the aggregation of multiple Gb interfaces) * Jumbo MTU frames * VRRP * LACP * IP Helpers * MPLS | Must have

## Storage
Local Hosting (Storage, Backup and DR) requirements |  |  |  | Supplier Response
Req # | Requirement area | Requirement description | MoSCoW | Can requirement be met? | Supplier Response as requested in the Invitation to Initial Tender
S- 1.0 | Storage
S-1.1 | Storage | The storage solution for the Primary Datacentre must have the minimum capacity of: 90TiB Tier 1 (NVME) and 115TiB Tier2 (NLSAS) | Must have
S-1.2 | Storage | The storage solution for the Secondary Datacentre must have the minimum capacity of: 100TiB Tier 1 (NVME) and 265TiB Tier2 (NLSAS) | Must have
S-1.3 | Storage | Capacity requirements specified at S-1.1 and S-1.2 represent logical data sizes without any storage efficiencies being applied. | Must have
S-1.4 | Storage | Considering that price of solid state storage has come down dramatically in the last years a one tier solution is acceptable as long it is the faster tier (NVME) and it has the cumulated capacity of the tier 1 and 2 described at S-1.1 and S-1.2. | Must have
S-1.5 | Storage | Where hardware constraints dictate, the values specified at S-1.1 and S-1.2 can be exceeded | Must have
S-1.6 | Storage | Equivalents for the NetApp advanced feature pack (SnapShot, SnapVault, SnapMirror, SnapClone, Volume Encryption etc) are required. | Must have
S-1.7 | Storage | The current NetApp controllers are: Dual head AFF-A250 and Dual head FAS2720 at both primary and secondary datacentres. The performance of the new solution must match or exceed these. The storage solution must deliver read latencies of sub 0.2 ms for NVME and sub 5ms for spinning SATA/SAS. | Must have
S-1.8 | Storage | The protocol requirements: SMB v2+v3 | Must have
S-1.9 | Storage | The storage solution must be able to present file shares SMB using NTFS with DFS servers. | Must have
S-1.10 | Storage | The storage solution must be able to present ISCSI remote disks to Windows and non-Windows systems. | Must have
S-1.11 | Storage | The solution must allow for an additional 50% storage capacity to be added in the future. This must be achievable with a minimum or no downtime and without core components of the solution requiring replacement (i.e. Heads, CPU, RAM etc). The solution must also allow for a reduction in scale after 3 years if required as a result of Local Governemnt Reorganisation. | Must have
S-1.12 | Storage | Storage requirements for the DR and Backup are included in the total storage requirements specified at S-1.1 and S-1.2. | Must have
S-1.13 | Storage | Each storage aggregate or RAID array must a minimum of one hot spare disk. | Must have
S- 2.0 | Backup
S-2.1 | Backup | The solution must have built in capability to backup data located on the primary datacentre storage to the secondary datacentre storage. | Must have
S-2.2 | Backup | The backup solution must have the capability to backup Virtual Machines, SMB/NTFS volumes. | Must have
S-2.3 | Backup | The backup solution can have bespoke capability to backup SQL databases. | Could have
S-2.4 | Backup | The backup solution must support multiple scheduling with daily, weekly, monthly, quarterly and yearly intervals. | Must have
S-2.5 | Backup | The backup solution must support job validation, job monitoring and reporting. | Must have
S-2.6 | Backup | The backup solution must be able to use at target, any of the storage at the primary and secondary datacentres | Must have
S-2.7 | Backup | The backup solution can be capable to provide ransomware protection by creating immutable backup copies. | Could have
S- 3.0 | DR
S-3.1 | DR | The solution must have the capability to create DR copies at the secondary datacentre for the production virtual machines hosted at the primary datacentre. | Must have
S-3.2 | DR | The solution must have customisable RPO for the DR replicas. | Must have
S-3.3 | DR | The solution could have the capability to stand up virtual machines based on groups and prioritisation. | Could have
S-3.4 | DR | The solution must have the capability to stand up remote copies of SMB file shares. | Must have
S-3.5 | DR | The solution must have the capability to monitor, report and alert on all replications. | Must have

## Hypervisor
Local Hosting (Hypervisor) requirements |  |  |  | Supplier Response
Req # | Requirement area | Requirement description | MoSCoW | Can requirement be met? | Supplier Response as requested in the Invitation to Initial Tender
H- 1.0 | Hypervisor
H-1.1 | Hypervisor | The Hypervisor solution must run on x86 64bit architecture CPUs. | Must have
H-1.2 | Hypervisor | The existing Microsoft Hyper-V based on Server 2019 Datacentre edition hypervisor could be retained. | Could have
H-1.3 | Hypervisor | The existing Microsoft Hyper-V solution could be updated to a more recent version. | Could have
H-1.4 | Hypervisor | The new hypervisor solution must offer High availability, Compute/Storage Live migrate and DR replication capabilities if Hyper-V based or equivalent for different hypervisors. | Must have
H-1.5 | Hypervisor | The hypervisor must provide host affinity rules so that a VM or a group of VMs can be bound or separated from other hosts or VMs. | Must have
H-1.6 | Hypervisor | The hypervisor solution must support multiple operating servers like MS Server 2016 and higher and non Microsoft operating systems like Linux, BSD. | Must have
H-1.7 | Hypervisor | The supplier must describe the expected lifecycle of their proposed product/service. | Must have

## General
NCC General Requirements |  |  |  | Supplier Response
Req # | Requirement area | Requirement description | MoSCoW | Can requirement be met? | Supplier Response as requested in the Invitation to Initial Tender
GEN-1.0 | Accessibility Requirements
GEN-1.1 | Accessibility | All system user interfaces (council, third party and public facing) should comply with the following standards or their equivalents: * ISO/IEC 13066-1: 2011 Information Technology - Interoperability with assistive technology (AT) Part 1: Requirements and recommendations for interoperability * BS 8878:2010 Web Accessibility Code of Practice | Should have
GEN-1.2 | Accessibility | All system user interfaces (council, third party and public facing) must be designed to maintain the Council’s compliance with the Equality Act and Public Sector Equality Duty (PSED). | Must have
GEN-1.3 | Accessibility | All system user interfaces (council, third party and public facing) must comply with the following standards or their equivalents: * Conforms to Level A and AA Success Criteria as set out in the Web Content Accessibility Guidelines recommended by the World Wide Web Consortium, as amended from time to time, as required by The Public Sector Bodies (Websites and Mobile Applications) Accessibility (Amendment) (EU Exit) Regulations 2022. | Must have
GEN-1.4 | Accessibility | System-generated documents shall conform to the Level A and AA Success Criteria as set out in the Web Content Accessibility Guidelines recommended by the World Wide Web Consortium, as amended from time to time. | Must have
GEN-2.0 | API Requirements
GEN-2.1 | API Requirements | All interfaces between the Council’s and the Supplier’s systems must use either (a) industry standard transfer protocols and industry standard file formats (e.g. CSV, XML) as per the UK Government published open standards https://www.gov.uk/government/publications/open-standards-principles/open-standards-principles; or (b) proprietary interfaces specified by the Council’s system provider, where interfacing using such standards is the industry norm. | Must have
GEN-3.0 | Communications and message handling standards
GEN-3.1 | Communications | Data Communications must be: TCP/IP V4 TCP/IP V6 (optional) All transmissions to be encrypted using TLS 1.2 or later, with SHA-2 AES 256 key size All web services shall be protected with commercial digital certificates (i.e. not self-generated) | Must have
GEN-3.2 | Communications | Email Message Handling Services used in the solution must employ suitable security including: SMTP using TLS 1.2 encryption or later, with at least SHA-2 AES 256 key size with appropriate SPF, DKIM, DMARC and MTA-STS configurations | Must have
GEN-4.0 | Data Protection & Information Security
GEN-4.1 | Data Protection & Information Security | Data centre services used in the delivery of services to the Authority should hold the following Information Security Management certifications: * ISO/IEC 27001:2013 * ISO/IEC 27002:2013 * ISO/IEC 27005:2018 | Should have
GEN-4.2 | Data Protection & Information Security | The supplier shall maintain a Cyber Essentials Plus accreditation if it does not hold ISO/IEC27001:2013. | Should have
GEN-4.3 | Data Protection & Information Security | The Supplier shall sign the Council’s Code of Connection if the Council has agreed to grant it access to any of the Council’s IT systems or VPN services. | Must have
GEN-4.4 | Data Protection & Information Security | The Supplier shall notify the Council immediately in the event of a security incident or data breach and where so required by law shall also notify the Information Commissioner’s Office within 72 hours. | Must have
GEN-4.5 | Data Protection & Information Security | All Council data shall be treated as “OFFICIAL” in accordance with the UK Government Security Classifications https://www.gov.uk/government/publications/government-security-classifications | Must have
GEN-4.6 | Data Protection & Information Security | Where sensitive personal data is processed, including financial or health details, it shall be treated as “OFFICIAL SENSITIVE” as per that handling instruction. | Must have
GEN-4.7 | Data Protection & Information Security | Data at rest (stored) shall be suitably protected using encryption in accordance with NCSC Cloud Principles. https://www.ncsc.gov.uk/collection/cloud/the-cloud-security-principles | Must have
GEN-4.8 | Data Protection & Information Security | The Supplier shall design, maintain and operate cloud-based systems used in the provision of service to the Authority in accordance with NCSC Cloud Security Guidance https://www.ncsc.gov.uk/collection/cloud-security/implementing-the-cloud-security-principles | Must have
GEN-5.0 | System Security
GEN-5.1 | System Security | Where services are exposed to the Internet, they must be adequately protected from malicious actions. Appropriate screening, monitoring and interception services must be used to protect the system from denial of service, data loss and unauthorised access. Evidence of these processes and services may be required by the Council. | Must have
GEN-5.2 | System Security | The supplier shall keep all systems which provide service to the Authority patched and up to date, including applying critical/security patches within 1 week, and “out of band”/emergency security patches within 24 hours of availability. The supplier’s system shall use only software that is within its supported lifecycle. | Must have
GEN-5.3 | System Security | On any cloud based services hosted by the supplier and provided to the Authority, the supplier shall perform Penetration Tests at least annually using a CHECK or CREST scheme accredited Supplier and make the management report results available to the Council. Any significant vulnerabilities of CVSS Score 6.8 or higher must be remediated within 1 month of identification. Any vulnerabilities of CVSS score 9 or higher must be remediated within 48 hours of identification. | Must have
GEN-5.4 | System Security | Supplier staff employed in deploying, managing, or remotely supporting the System must undergo adequate recruitment checking. | Must have
GEN-5.5 | System Security | All Internet facing systems must be adequately hardened to prevent cyber attack. | Must have
GEN-6.0 | Authentication and user privileges
GEN-6.1 | Authentication and user privileges | Any hosted service provided to the Authority must provide functionality to ensure that only authorised users can access services. | Must have
GEN-6.2 | Authentication and user privileges | The system shall store all user authentication credentials securely and encrypted. | Must have
GEN-6.3 | Authentication and user privileges | The Council’s preference is that any hosted service provided to the Authority should provide Single Sign On authentication capability compatible with the Council’s Microsoft Entra ID, such that the Council’s own Entra ID accounts may be used for users to log on to the system. The system should support the use of Entra ID Conditional Access and Groups to manage access to the system. | Should have
GEN-6.4 | Authentication and user privileges | Where the system has to use internal user accounts (as opposed to federated Entra ID accounts), the system shall allow all users to change their own password with minimum length and complexity parameters. | Must have
GEN-6.5 | Authentication and user privileges | Where the system has to use internal user accounts (as opposed to federated Entra ID accounts), the system shall include a secure password reset self-service functionality with adequate security checks. | Must have
GEN-6.6 | Authentication and user privileges | Where the system has to use internal user accounts (as opposed to federated Entra ID accounts), the system shall include a secure password reset self-service functionality with adequate security checks. | Should have
GEN-6.7 | Authentication and user privileges | Where the system has to use internal user accounts (as opposed to federated Entra ID accounts), the system shall not allow passwords to be recycled. | Must have
GEN-6.8 | Authentication and user privileges | Where the system has to use internal user accounts (as opposed to federated Entra ID accounts), the system shall force password changes at regular intervals. | Must have
GEN-6.9 | Authentication and user privileges | The system shall limit the number of concurrent times a single account can login to the system. | Must have
GEN-6.10 | Authentication and user privileges | The system shall be capable of suspending user access after a period of inactivity (to be determined by the Council) and allow subsequent removal. | Must have
GEN-6.11 | Authentication and user privileges | The system shall operate a least privilege security model; each user or administrator should only have enough rights to complete their required tasks. | Must have
GEN-6.12 | Authentication and user privileges | All internet facing accounts provided to the Authority must be protected by two factor authentication. | Must have
GEN-6.13 | Authentication and user privileges | Users and system administrators must only log on using standard accounts, elevating to privileged accounts to carry out administrative tasks as required, then log out of the privileged account. Administrative accounts shall not be used for general system access nor be allowed to be left logged in for extended periods of time. | Must have
GEN-6.14 | Authentication and user privileges | The system shall be able to trace all activity to a named individual. The system shall keep logs of security and system activity such that the Council can maintain its responsibilities to the Information Commissioners Office, ensuring such logs are appropriately secured. | Must have
GEN-6.15 | Authentication and user privileges | The system shall have a facility to produce a log which records all unauthorised attempts to gain access to the security log. In all instances where a user has been denied access, the system must be notified. | Must have
GEN-7.0 | Data Centre Standards
GEN-7.1 | Data Centre Standards | The System shall be hosted in one or more industry standard datacentres built and managed in accordance with Industry Good Practice, including aligning to the principles of ISO/IEC 27001:2013. https://www.bsigroup.com/en-GB/iso-27001-information-security/Resources-for-ISO-27001/. | Must have
GEN-7.2 | Data Centre Standards | The Supplier shall ensure separation exists between the Council and other customers to prevent compromised customers affecting the Council’s service or data. | Must have
GEN-8.0 | End user computing
GEN-8.1 | End user computing | The system shall be compatible with Microsoft Windows 11 desktop and compatible with updates and new releases of Windows as the Council implements them. The Council performs Windows security patching monthly and feature upgrades annually. The system must be maintained throughout the life of the contract so that it remains compatible. | Must have
GEN-8.2 | End user computing | The system must be compatible with the Council’s secure desktop environment, which includes: * Controlled application deployment – apps must be packaged by the Council, users have no installation rights, and apps are allow-listed for execution and deployed using Software Centre or Windows Business Store * Endpoint protections and workstation firewalling * Web filtering for general web browsing * Least privilege user rights at the desktop * Policy controls (Group Policy via SCCM) to secure the desktop environment * Use of VPN to connect remote workers to internal Council services: note that all other traffic is routed directly to the local Internet connection | Must have
GEN-8.3 | End user computing | Browser based systems shall comply with the following requirements: * Be compatible with current versions of Microsoft Edge (Chromium version) and Google Chrome. The Council automatically deploys browser version updates as they become available. * Use HTML5 standards and use a responsive web design. * Not require the use of browser plugins * Where the system will be accessed by Council staff using mobile devices, support the Android operating system and associated browsers | Must have
GEN-8.4 | End user computing | Where public/third party access is offered to the system (e.g. self-service portals where browser-based access will be from non-Council devices) the system must work across a broad range of operating systems, web browsers and devices. The following must be supported as a minimum: * Windows Desktops & Laptops * Apple MacOS Desktops & Laptops * Mobile devices of varying screen size and design including Google Android and Apple IOS phones and tablets * Microsoft Edge, Google Chrome, Apple Safari and Mozilla Firefox browsers. Support for latest version of these browsers is to be maintained at all times | Must have
GEN-9.0 | Compatibility with Microsoft Office software
GEN-9.1 | Compatibility with Microsoft Office software | Where the System generates or ingests Microsoft Office files, it must be compatible with Microsoft Office 365 for the life of the contract and maintain compatibility as Microsoft updates Office 365 and the Council deploys the updates. The Council updates Office desktop software monthly. | Must have
GEN-10.0 | Backups
GEN-10.1 | Backups | The Supplier shall take regular encrypted backups of the system, configuration, and all council data stored within the system, in line with National Cyber Security Centre “3-2-1” guidance. At least one backup must be stored offline and at an offsite location. The Supplier shall test the ability to restore from backups every 3 months, and define the Recovery Time Objective (RTO). | Must have
GEN-10.2 | Backups | The supplier must detail any additional software licensing required to facilitate making and keeping backups. | Must have
GEN-11.0 | Disaster recovery services
GEN-11.1 | Disaster recovery services | The Supplier must have a robust disaster recovery and business continuity plan in place for their own services, which is appropriately reviewed and updated. The Supplier must undertake a formal annual test of the Disaster Recovery Plan to ensure that the arrangements are workable. The Supplier must ensure that the system and data can be recovered on demand to a status no older than that of close of play on the previous working day. A copy of the supplier's Disaster Recovery plan must be included. | Must have
GEN-12.0 | Operational and Service management
GEN-12.1 | Operational and Service management | The Supplier’s operational service management shall have robust Configuration Management such as within ITIL v4 is used across all services provided. i. Initial configuration is agreed with the Council ii. All significant service configuration parameters are maintained in a Configuration Management Database (CMDB) (iii) Any changes to systems are recorded in the CMDB | Must have
GEN-12.2 | Operational and Service management | The Supplier’s operational service management shall ensure a robust Change Management process such as within ITIL v4 is used across all services provided. * Notify and obtain the approval of the Council’s Change Management Board of any changes to system interfaces * Ensure suitable back out plans are always described in every change | Must have

## Security
NCC Security Requirements |  |  |  | Supplier Response
Req # | Requirement area | Requirement description | MoSCoW | Can requirement be met? | Supplier Response as requested in the Invitation to Initial Tender
SEC-1.0 | Legal Requirements
SEC-1.1 | Legal Requirements | The service shall meet the following Data Protection, UK GDPR and Freedom of Information legislation: * Data Protection Act 2018 http://www.legislation.gov.uk/ukpga/2018/12/contents/enacted * UK General Data Protection Regulation https://ico.org.uk/for-organisations/guide-to-data-protection/guide-to-the-general-data-protection-regulation-gdpr/ * Freedom of Information Act 2000 https://www.legislation.gov.uk/ukpga/2000/36/contents * Waste Electrical & Electronic Equipment (WEEE) Directive http://ec.europa.eu/environment/waste/weee/index_en.htm | Must have
SEC-1.2 | Legal Requirements | The Supplier shall notify the Authority immediately in the event of a security incident or data breach and may also be required to notify the Information Commissioners Office within 72 hours. The Supplier shall assist the Authority in meeting its obligations to: * notify personal data breaches to data subjects. * carry out data protection impact assessments (DPIAs) when required. * consult ICO where a DPIA indicates there is a high risk that cannot be mitigated. | Must have
SEC-1.3 | Legal Requirements | The Supplier will be required to sign the Authority’s Code of Connection if The Supplier requires access to any of the Authority’s IT systems or VPN services. | Must have
SEC-2.0 | System interface requirements
SEC-2.1 | System interface requirements | All Interfaces used within the solution must use industry standard transfer protocols and industry standard file formats (e.g. CSV, XML) as per the UK Government published open standards https://www.gov.uk/government/publications/open-standards-principles/open-standards-principles. | Must have
SEC-3.0 | Security standards
SEC-3.1 | Security standards | Where applicable: comply, at all times throughout the duration of the contract, with the most up to date versions of the following HMG and NCSC IT security standards and Good Practice Guides, or any revisions or additional standards or guides introduced during the period of the contract. The current standards and guides include: a) HMG Security Policy Framework v1.1 May 2018 https://www.gov.uk/government/publications/security-policy-framework NCSC Cloud Security Guidance https://www.ncsc.gov.uk/collection/cloud-security/implementing-the-cloud-security-principles b) ISO/IEC 27001:2013 information security standard https://www.bsigroup.com/en-GB/iso-27001-information-security/Resources-for-ISO-27001/ c) Computer Misuse Act 1990 https://www.legislation.gov.uk/ukpga/1990/18/contents d) Meet the requirements of the most up to date version of all relevant NCSC Advice and Guidance throughout the period of the contract. https://www.ncsc.gov.uk/section/advice-guidance/all-topics | Must have
SEC-3.2 | Security standards | Where applicable: comply, at all times throughout the duration of the contract, with the most up to date versions of the following HMG and NCSC IT security standards and Good Practice Guides, or any revisions or additional standards or guides introduced during the period of the contract. The current standards and guides include: e) Cyber Essentials Plus https://www.ncsc.gov.uk/cyberessentials/overview | Should have
SEC-4.0 | Technical Standards
SEC-4.1 | Technical Standards | Data Communications must be: TCP/IP V4 TCP/IP V6 (optional) All transmissions to be encrypted using TLS 1.2 or later, with SHA-2 AES 256 key size | Must have
SEC-4.2 | Technical Standards | Email Message Handling Services must be: SMTP using TLS 1.2 encryption or later, with at least SHA-2 AES 256 key size with appropriate SPF, DKIM, DMARC and MTA-STS configurations. | Must have
SEC-5.0 | Data protection & Information Security
SEC-5.1 | Data protection & Information Security | All Authority data must be treated as “OFFICIAL” in accordance with the UK Government Security Classifications: https://www.gov.uk/government/publications/government-security-classifications | Must have
SEC-5.2 | Data protection & Information Security | Where data contains personal information, including financial or health details, data must be treated as “OFFICIAL SENSITIVE” as per that handling instruction. | Must have
SEC-5.3 | Data protection & Information Security | Data at rest (stored) shall be suitably protected using encryption in accordance with NCSC Cloud Principles. https://www.ncsc.gov.uk/collection/cloud/the-cloud-security-principles The Supplier shall specify which encryption technologies are provided. | Must have
SEC-5.4 | Data protection & Information Security | The supplier shall always ensure data is stored and processed in accordance with the following standards: Information Security Management ISO/IEC 27001:2013 ISO/IEC 27002:2013 ISO/IEC 27005:2018 | Must have
SEC-5.5 | Data protection & Information Security | Data must be stored in such a way that it is protected according to UK GDPR standards or equivalent The Authority as data controller must ensure that any personal data provided by it to you as processor is handled and stored in such a way that it is protected according to UK GDPR standards. That applies even where your data centre is outside of the United Kingdom or European Union. Should your data centre be located in a third country, please confirm what country this is and, where necessary, what measures you propose to guarantee an equivalent level of protection? The Authority in recognition of its responsibilities as data controller is unable to process your application if no response to this question is received, or if the response, in its opinion, is unclear or unable to establish how an equivalent level of protection is to be provided. You should consider taking legal advice on this issue if you are unsure of how to respond. | Must have
SEC-5.6 | Data protection & Information Security | The Supplier must: * provide the Authority with all the information that is needed to show that the obligations of Article 28 of the UK GDPR have been met. * allow for, and contribute to, audits and inspections carried out by the Authority, or by an auditor appointed by the Authority. | Must have
SEC-5.7 | Data protection & Information Security | The Supplier as data processor must: * not engage another processor (a sub-processor) without the Authority’s/controller’s prior specific or general written authorisation. * if a sub-processor is employed under the Authority’s/controller’s general written authorisation, let the Authority/controller know of any intended changes and give the Authority a chance to object to them. * if the processor employs a sub-processor, put a contract in place imposing the same Article 28(3) UK GDPR data protection obligations on that sub-processor. This should include that the sub-processor will provide sufficient guarantees to implement appropriate technical and organisational measures in such a way that the processing will meet the UK GDPR’s requirements. The Supplier/processor will be liable to the Authority/controller for a sub-processor’s compliance with its data protection obligations. | Must have
SEC-5.8 | Data protection & Information Security | The Supplier must at the end of the contract: * at the Authority’s/controller’s choice, delete or return to the controller all the personal data it has been processing for it; and * delete existing copies of the personal data unless UK law requires it to be stored * delete personal data in a secure manner | Must have
SEC-5.9 | Data protection & Information Security | The System/service must have the capacity to: * delete records * rectify/amend record * lock records * restrict access to records * download data subjects’ records * export data into a structured, commonly used and machine-readable format and have it transmitted to another controller In respect of the above, the System/service must have the capacity to provide controls by those authorised to do so. | Must have
SEC-5.10 | Data protection & Information Security | The System/service must have the capacity to: * customise/amend or link to a cookie banner * attach a privacy notice to public portal * amend/customise the privacy notice * attach a retention period to data * override or change automatic retention periods | Must have
The following sections refer to any IT service that you supply to the Authority rather than any internal systems run operate for yourselves
SEC-6.0 | Hosted Solution (Software as a Service) – Data Centre Standards
SEC-6.1 | Hosted Solution (Software as a Service) – Data Centre Standards | Where a hosted solution is proposed, it shall be hosted in an industry standard datacentre built and managed in accordance with Industry Best Practice, where appropriate aligning to the principles including but not limited to ISO/IEC 27001:2013 information security standard. https://www.bsigroup.com/en-GB/iso-27001-information-security/Resources-for-ISO-27001/ | Must have
SEC-6.2 | Hosted Solution (Software as a Service) – Data Centre Standards | The Supplier must ensure separation exists between the Contracting Authority and other customers to prevent compromised customers affecting the Authorities service or data. | Must have
SEC-7.0 | End user and server computing
SEC-7.1 | End user and server computing | Service must be compatible with Microsoft Windows 11 desktop and compatible with updates and new releases of Windows as the Authority implements them. The Authority performs Windows 11 security patching monthly and feature upgrades annually. Service must be maintained throughout the life of the contract so that it remains compatible. | Must have
SEC-7.2 | End user and server computing | The Service must be compatible with Microsoft Office 365 for the life of the contract, both the cloud hosted elements and the desktop Microsoft Office productivity software, and maintain compatibility as Microsoft updates Office 365 and the Authority deploys the updates. The Authority updates Office desktop software monthly. | Must have
SEC-7.3 | End user and server computing | The service must be compatible with the Authority’s secure desktop environment, which includes: * Controlled application deployment – apps must be packaged by the Authority, users have no installation rights, and apps are allow-listed for execution and deployed using Software Centre or Windows Business Store * Endpoint protections and workstation firewalling * Web filtering for general web browsing * Least privilege user rights at the desktop * Policy controls (Group Policy via SCCM) to secure the desktop environment * Use of VPN to connect remote workers to internal Authority services, note that all other traffic is routed directly to the local Internet connection. | Must have
SEC-8.0 | Browser Support
SEC-8.1 | Browser Support | Browser based services must be compatible with current versions of Microsoft Edge (Chromium version) and Google Chrome. The Authority automatically deploys browser version updates as they become available. | Must have
SEC-8.2 | Browser Support | Use HTML5 standards and use a responsive web design. | Must have
SEC-8.3 | Browser Support | Not require software other than the standard browser on the client machines i.e., no browser plugins required. Any additional software required must be specified including licensing details and costs, and the supplier must state how they will maintain the supportability of the products for the life of the contract. | Should have
SEC-8.4 | Browser Support | The supplier shall define the minimum required network bandwidth and latency required for effective user operation of the system. | Must have
SEC-8.5 | Browser Support | Where public/third party access is offered to the service (e.g. self-service portals where browser-based access will be from non-Authority devices) the service must work across a broad range of operating systems, web browsers and devices. The following must be supported as a minimum: * Windows Desktops & Laptops * Apple MacOS Desktops & Laptops * Mobile devices of varying screen size and design including Google Android and Apple IOS phones and tablets * Browsers including Microsoft Edge, Google Chrome, Apple Safari and Mozilla Firefox. Support for latest version of these browsers is to be maintained at all times | Must have
SEC-9.0 | Accessibility design
SEC-9.1 | Accessibility design | All system interfaces (staff and public facing) must be designed to be compliant with the Equality Act and Public Sector Equality Duty (PSED). The supplier must be able to make reasonable adjustments to enable the Contracting Authority to meet its duty under the Equality Act to enable internal and external users to access the system as appropriate. | Must have
SEC-9.2 | Accessibility design | All system interfaces must comply with the following standards or their equivalents: * Conforms to Level A and AA Success Criteria as set out in the Web Content Accessibility Guidelines recommended by the World Wide Web Consortium, as amended from time to time, as required by The Public Sector Bodies (Websites and Mobile Applications) Accessibility (Amendment) (EU Exit) Regulations 2022 | Pass / Fail
SEC-9.3 | Accessibility design | All system interfaces should comply with the following standards or their equivalents: * ISO/IEC 13066-1: 2011 Information Technology - Interoperability with assistive technology (AT) Part 1: Requirements and recommendations for interoperability * BS 8878:2010 Web Accessibility Code of Practice | Should have
SEC-9.4 | Accessibility design | The Authority aspires to meet Web Content Accessibility Guidelines AAA Success Criteria, provider to show any evidence of meeting this standard. | Should have
SEC-9.5 | Accessibility design | Where the provided system is browser based it must be compatible with the most current versions of Microsoft Edge, Google Chrome, Apple Safari, and Firefox for the life of the contract. | Must have
SEC-9.6 | Accessibility design | As far as possible, to be usable by a wide range of users as an integrated part of the system supported by the Provider, without the need for special software or hardware. This applies to both staff, customer and public usage. | Must have
SEC-9.7 | Accessibility design | Provider to show evidence of how differing needs can be accommodated, including: * Usage without vision or limited vision * Usage without perception of colour * Usage without hearing or limited hearing * Usage without vocal capability * Usage with limited manipulation, strength or reach * The need to minimize photosensitive seizure triggers * Usage with limited cognition * Support people who are Neurodivergent | Must have
SEC-9.8 | Accessibility design | Show evidence of built in, OS and 3rd party solution in regard to accessible functionality, Navigation and text fields. | Must have
SEC-9.9 | Accessibility design | All user interfaces must comply with UK Government accessibility standards for public services as laid out here: * https://www.gov.uk/service-manual/helping-people-to-use-your-service/testing-for-accessibility * https://www.gov.uk/service-manual/technology/testing-with-assistive-technologies Services must be compatible with Operating System (OS) built in assistive solutions including: * VoiceOver on iOS * TalkBack * Windows magnifier or Apple Zoom * High contrast, options for large controls, control over colour schemes and commonly used 3rd party access software including: * JAWS * NVDA * Dragon * Read & Write | Must have
SEC-9.10 | Accessibility design | The system must be designed to support the Authority in publishing any required content that meets the relevant accessibility standards set out in items 1.1 and 1.2. Any content automatically generated by the system (e.g. webform PDF outputs) must meet these standards by design. Functionality is required to support the publication of alternative information options such as Easy Read and different languages, and video to support sign language provision where appropriate. | Must have
SEC-9.11 | Accessibility design | Features designed to assist in these circumstances must not compromise users’ privacy. | Must have
SEC-9.12 | Accessibility design | Where a public facing service is offered, be compatible with a broad range of commonly used mobile devices, operating systems and the accessibility features built therein, including but not limited to Apple IOS, Google Android and the associated mobile browsers. | Must have
SEC-10.0 | Authentication
SEC-10.1 | Authentication | The Authority’s preference is that service shall provide Single Sign On authentication capability compatible with the Authority’s Microsoft Entra ID, such that the Authority’s own Entra ID accounts may be used for users to log on to the service. The service shall support the Authority’s intention to use Entra ID Conditional Access and Groups to manage access to the service. | Should have
SEC-10.2 | Authentication | Where the service has to use internal user accounts (as opposed to federated Entra ID accounts), the service shall allow all users to change their own password with minimum length and complexity parameters, and include a secure password reset self-service functionality with adequate security checks. The service shall not allow passwords to be recycled. The service shall prompt password changes at intervals defined by the Authority. The service shall provide for and enforce Multi Factor Authentication for all users. | Strong Should
SEC-10.3 | Authentication | It shall be possible to limit the number of concurrent times a single account can login to the service. | Must have
SEC-10.4 | Authentication | The service shall provide functionality to ensure that only authorised users can access the service. | Must have
SEC-10.5 | Authentication | The service shall store all user authentication credentials securely and encrypted. | Must have
SEC-10.6 | Authentication | The service shall be capable of suspending user access after a period of inactivity (to be determined by the Authority) and allow a subsequent removal | Must have
SEC-10.7 | Authentication | The service shall operate a least privilege security model; each user or administrator should only have enough rights to complete their required tasks. | Must have
SEC-10.8 | Authentication | System administrator level accounts shall have the option of being protected by two factor authentication. | Must have
SEC-10.9 | Authentication | Users and system administrators must only log on using standard accounts, elevating to privileged accounts to carry out administrative tasks as required, then log out of the privileged account. Administrative accounts shall not be used for general system access nor allow to be left logged in for extended periods of time. | Must have
SEC-10.10 | Authentication | The service shall be able to trace all activity to a named individual. The system shall keep logs of security and system activity such that the Authority can maintain its responsibilities to the Information Commissioners Office, ensuring such logs are appropriately secured. | Must have
SEC-10.11 | Authentication | The service shall have a facility to produce a log which records all unauthorised attempts to gain access to the security log. In all instances where a user has been denied access, the system must be notified. | Must have
SEC-11.0 | System Security
SEC-11.1 | System Security | Where the service is exposed to the Internet, it must be adequately protected from malicious actions. Appropriate screening, monitoring and interception services must be used to protect the service from denial of service, data loss and unauthorised access. Evidence of these processes and services may be required by the Authority. | Must have
SEC-11.2 | System Security | The supplier shall keep all aspects of the service patched and up to date, including applying critical/security patches within 1 week, and “out of band”/emergency security patches within 24 hours of availability. The supplier’s service shall use only software that is within its supported lifecycle. | Must have
SEC-11.3 | System Security | The supplier shall perform Penetration Tests at least annually using a CHECK or CREST scheme accredited Supplier and make the management report results available to the Authority. Any significant vulnerabilities of CVSS Score 7 or higher might be remediated within 1 month of identification. Any vulnerabilities of CVSS score 9 or higher must be remediated within 48 hours of identification. | Must have
SEC-11.4 | System Security | Supplier staff employed in deploying, managing, or remotely supporting the System must be adequately security cleared. | Must have
SEC-11.5 | System Security | Data in transit must be encrypted using TLS 1.2 or later, with at least SHA-2 AES 256 key size, or equivalent. | Must have
SEC-11.6 | System Security | All web services shall be protected with commercial digital certificates (i.e. not self-generated). | Must have
SEC-11.7 | System Security | All Internet facing services must be adequately hardened to prevent cyber attack | Must have
SEC-11.8 | System Security | If the service sends email on behalf of the Authority, emails must be adequately encrypted in transit and the service must have appropriate SPF, DKIM and DMARC, and MTA-STS email protection and reputation protocols in place. | Must have
SEC-11.9 | System Security | The Supplier will assess its Supply Line Chain in accordance with the NCSC Supply Chain principles, and confirm to the Authority they have established confidence in the security of the supply chain involved in the service provision https://www.ncsc.gov.uk/collection/supply-chain-security/supply-chain-security-12-principles-infographic | Must have
SEC-11.10 | System Security | The Supplier shall take regular encrypted backups of the system, configuration, and all authority data stored within the system, in line with National Cyber Security Centre “3-2-1” guidance. At least one backup must be stored offline and at an offsite location. The Supplier shall test the ability to restore from backups every 3 months, and define the Recovery Time Objective (RTO). | Must have
SEC-11.11 | System Security | The supplier must detail any additional software licensing required to facilitate making and keeping backups. | Must have
SEC-12.0 | Disaster recovery services
SEC-12.1 | Disaster recovery services | The Supplier must have its own Business Continuity Plans in place to ensure support to the Authority is not disrupted. | Must have
SEC-12.2 | Disaster recovery services | In the event of a disaster at the Authority, the Supplier must assist the Contracting Authority to implement its disaster recovery plan and restore services. | Must have
SEC-12.3 | Disaster recovery services | The Supplier must have a robust disaster recovery and business continuity plan in place which is appropriately reviewed and updated. The Supplier must undertake a formal annual test of agreed elements of the Disaster Recovery Plan to ensure that the arrangements are workable. The Supplier must ensure that the system and data can be recovered on demand to a status no older than that of close of play on the previous working day. | Must have
SEC-12.4 | Disaster recovery services | The Supplier must work with the Contracting Authority to manage the risks of loss, damage, or corruption of data. This includes the pre-emptive detection of data loss and system problems, removing risk of data loss, and recovery mechanisms. | Must have
SEC-13.0 | Operational and Service management
SEC-13.1 | Operational and Service management | The Supplier’s operational service management shall comply with the OGC ITIL standards Reference: The Office of Government Commerce’s (OGC) IT Infrastructure Library (ITIL); https://www.axelos.com/best-practice-solutions/itil | Must have
SEC-13.2 | Operational and Service management | The Supplier’s operational service management shall have robust Configuration Management such as within ITIL v4 is used across all services provided. i. Initial configuration is agreed with the Authority ii. All significant service configuration parameters are maintained in a Configuration Management Database (CMDB) (iii) Any changes to systems are recorded in the CMDB | Must have
SEC-13.3 | Operational and Service management | The Supplier’s operational service management shall ensure a robust Change Management process such as within ITIL v4 is used across all services provided. i. Notify the Authority’s Change Management Board ii. Changes to production services are signed off by the Authority before implementation iii. Suitable back out plans are always described in every change | Must have
SEC-13.4 | Operational and Service management | The Supplier’s operational service management shall ensure all system releases are governed by the Configuration Management and Change Management Processes. i. All major version updates to be notified to the Authority at least 8 working weeks before release ii. All minor version updates to be notified to the Authority at least 4 working weeks before release | Must have
SEC-13.5 | Operational and Service management | The Supplier shall define its Service Level agreements including priority levels, response times, fix times, escalation processes, helpdesk contact details and opening hours, and any emergency or out-of-our provision. | Must have

## Look ups (hidden)
MoSCoW | Column1 | Vendor Response | Column1 | Vendor Response P/F | Column1
Must have | 4 | Fully Met | 5 | Pass
Strong Should | 3 | Partially Met | 3 | Fail
Should have | 2 | Not Met | 0
Could have | 1
Won't have | 0
Pass/Fail