## x ray equip.
Veterinary X ray superlight portable generators
Equipment type | Instrument S/N | Last service date | Servicing cycle/comments | Location deployed
Ultrapower 100 pet x ray unit | 28941 | 2025-08-18 |  | Rothera October 2025
Ultrapower 100 pet x ray unit | 29828 | 2023-06-16
Ultrapower 100 pet x ray unit | 29829 | 2024-12-01 |  | KEP October 2025
Ultrapower 100 pet x ray unit | 32839 | 2023-06-16 |  | Deployed to KEP Oct 2024
Ultrapower 100 pet x ray unit | 37617 | 2024-08-02 |  | Deployed to Rothera October 2024
Ultrapower 100 pet x ray unit | 37625 | 2022-08-02
Ultrapower 100 pet x ray unit | 40647 |  | failed requesting service company repair | Plymouth for service ex KEP
Satalec X-MIND AC | 312958 | 06/06/2023 & critical test |  | SDA
Fuji FCR Prima II | 164A1185 | new 2023/24 |  | S D Attenborough
Fuji FCR Prima II Model: CR-IR 391RU | 57113100 | new 2015 |  | Rothera
Fuji FCR Prima II | 57113112 | unclear |  | King Edward Point
Dental x ray unit - Satalec x mind
Equipment | Model | Serial Number | Service requirments | location
C3 Advance Autoclave | Prestige : A30005000 | 8061605
Bambi Compressor | 75 / 150 | DC15-00148
Voyager Dental Cart | Belmont Voyager | AU06F 0058
X-ray Unit | Satalec X-Mind | 312958
Cattani Aspirator | Cattani Aspi-jet Gamma | AC157234
Dentsply Cavitron | Dentsply Cavitron Select | 123-19821
Ultrmat Amalgamator | Ultramat 2 | 82906
Curing Light | Jovident - CU80 | BB44002006
Belmont Dental Light | Belmont 048-W | CG06B0022

## POCUS
Point of Care Ultrasound (POCUS)
Equipment type | Instrument S/N | Service date | Service 2024 | Location deployed
Butterfly IQ3 | (21) KB24330348 |  |  | SDA
Butterfly IQ3 | (21) KB24260462 |  |  | Rothera
Butterfly IQ3 | (21) KB24260858 |  |  | King Edward Point

## ipad allocations
I pads
BASMU # | Equipment type | assett number | Location deployed | Installs
SDA | I pad | A91516 | SDA | Butterfly, PPS, MAXIMO
Rothera | I pad | A91518 | Rothera | Audiometry, Heart rate monitor, Butterfly, PPS, MAXIMO
KEP | I pad | A91519 | KEP | Butterfly, PPS, MAXIMO
Halley | I pad | A91517 | Halley | Butterfly, PPS, MAXIMO
Signy | I pad | A91520 | Signy | Butterfly, PPS, MAXIMO
BASMU office | I pad | A91521 | BASMU office | Audiometry, Heart rate monitor, Butterfly, PPS, MAXIMO
No regular service required for ipads

## PPS
PPS laptops account serial numbers
Station | S/N * | S/N 2
Halley |  | 561664
Rothera |  | 561661
King Edward Point | 561151 | 561662
SDA |  | 561663
No regular servicing required

## Oxygen concentrator
Oxygen concentrator
Bird Island | A181050039US
Rothera | A194170144US
SDA | A194170140US
King Edward Point | A194170142US
Halley | A194170139US
Halley | A194170141US
Signy | A181050039US
Spare 1
Spare 2
Servicing limited to insitu maintenance e.g replacment of sieve beds by doctors. Full UK servicing when opportunity allows but likely outside of manufacturers guidance.

## IAPs FRBs
Deployed medical response equipment
First Response Bags (FRB's)
FRB (cold) Blue tag/bag | Quantity | Serial | Dispatch/into service | To be updated | To be supplied from station | To be included from separate dispatch to station
All drugs via pharmacy on site
Arctic,Ny Alesund | 1 | FRB 35 | Deployed March 2024 | Tag, | Cook needle and EZIO set | Drugs to be considered- discussed with Norwegians
SDA | 1 | FRB 36 | Deployed May 2024 | Tag
Rothera | 26 | FRB 1 | Deployed via Cambridge July 2024 |  |  | 21 Cooks needles sent for inclusion in for field FRB cold
|  | FRB 2 | Deployed via Cambridge July 2024
|  | FRB 3 | Deployed via Cambridge July 2024
|  | FRB 4 | Deployed via Cambridge July 2024
|  | FRB 5 | Deployed via Cambridge July 2024
|  | FRB 6 | Deployed via Cambridge July 2024
|  | FRB 7 | Deployed via Cambridge July 2024
|  | FRB 8 | Deployed via Cambridge July 2024
|  | FRB 9 | Deployed via Cambridge July 2024
|  | FRB 10 | Deployed via Cambridge July 2024
|  | FRB 11 | Deployed via Cambridge July 2024
|  | FRB 12 | Deployed via Cambridge July 2024
|  | FRB 13 | Deployed via Cambridge July 2024
|  | FRB 14 | Deployed via Cambridge July 2024
|  | FRB 15 | Deployed via Cambridge July 2024
|  | FRB 16 | Deployed via Cambridge July 2024
|  | FRB 17 | Deployed via Cambridge July 2024
|  | FRB 18 | Deployed via Cambridge July 2024
|  | FRB 19 | Deployed via Cambridge July 2024
|  | FRB 20 | Deployed via Cambridge July 2024
|  | FRB 21 | Deployed via Cambridge July 2024
|  | FRB 22 | Deployed via Cambridge July 2024
|  | FRB 23 | Deployed via Cambridge July 2024
|  | FRB 24 | Deployed via Cambridge July 2024
|  | FRB 25 | Deployed via Cambridge July 2024
|  | FRB 26 | Deployed via Cambridge July 2024
King Edward Point | 2 | FRB 28 | Deployed via Cambridge July 2024 |  |  | 4 Cooks needles sent in for FRB
|  | FRB 33 | deployed 2025
Bird Island | 1 | FRB 27 | Deployed via Cambridge July 2024 |  |  | 2 Cooks needles sent in for FRB
Halley | 2 | FRB 30 | Deployed via Cambridge July 2024
|  | FRB 31 | Deployed via Cambridge July 2024
Signy | 1 | FRB 29 | Deployed via Cambridge July 2024 |  |  | 2 Cooks needles sent in for FRB
CRASH | 4 | FRB 32 | In Plymouth
|  | FRB 34 | In Plymouth |  |  | Cook needle added for training of this adjunct
|  | FRB 38 | In Plymouth |  |  | Cook needle added for training of this adjunct
|  | FRB 39 | In Plymouth |  |  | Cook needle added
SGHT project | 1 | FRB 37 | Deployed
subtotal | 39
FRB (Hot) Red tag/bag | Quantity | Serial | Dispatch/into service | To be updated | To be supplied from station | To be included from separate dispatch to station
Arctic,Ny Alesund | 1 | FRB 15 | To BAS July 2024 | Tag serial # FRED? | Cook needle and EZIO set | Drugs to be considered- discussed with Norwegians
SDA | 2 | FRB 16 | Deployed May 2024 | Tag, serial # FRED?
|  | FRB 17 | Deployed May 2024 | Tag, serial # FRED?
Rothera | 12 | FRB 1 | Deployed via Cambridge July 2024 | AED from station ICCE pack
|  | FRB 2 | Deployed via Cambridge July 2024 | AED from station ICCE pack
|  | FRB 3 | Deployed via Cambridge July 2024 | AED S/N # 5473
|  | FRB 4 | Deployed via Cambridge July 2024 | AED S/N # 5486
|  | FRB 5 | Deployed via Cambridge July 2024 | AED S/N #5485
|  | FRB 6 | Deployed via Cambridge July 2024 | AED S/N #5491
|  | FRB 18 | to be deployed 2025 | AED S/N #5476, manual suction |  | modified for Twin Otter
|  | FRB 19 | to be deployed 2025 | AED S/N #6364, manual suction |  | modified for Twin Otter
|  | FRB 22 | to be deployed 2025 | AED S/N 6648, manual suction |  | modified for Twin Otter
|  | FRB 23 | to be deployed 2025 | AED S/N # 6643, manual suction |  | modified for Twin Otter
|  | FRB 14 | In Plymouth | AED S/N # 6486
|  | FRB 24 | In Plymouth | AED S/N # 6489
King Edward Point | 2 | FRB 8 | Deployed via Cambridge July 2024 | AED from station ICCE pack
|  | FRB 9 | Deployed via Cambridge July 2024 | AED S/N #5400
Bird Island | 1 | FRB 7 | Deployed via Cambridge July 2024 | AED from station ICCE pack
Halley | 2 | FRB 11 | Deployed via Cambridge July 2024 | AED S/N 900.23734
|  | FRB 12 | Deployed via Cambridge July 2024 | AED S/N #5482
Signy | 1 | FRB 10 | Deployed via Cambridge July 2024 | AED S/N 900.13733
CRASH | 2 | FRB 13 | In Plymouth | NO AED, trainer only |  | Cook needle added for training of this adjunct
|  | FRB 21 | In Plymouth | NO AED, trainer only |  | Cook needle added for training of this adjunct
SGHT | 1 | FRB 20 | In Plymouth | AED S/N #5490
subtotal | 24
Immediate Aid Pack Yellow tag/bag | Quantity | Serial | Dispatch/into service | To be updated | To be supplied from station | To be included from separate dispatch to station
Arctic,Ny Alesund | 5 | 101 to 105 | Deployed March 2024
SDA | 5 | 96, 99, 100, 121, 122. |  |  |  | changes to five total in 2025, shift 2 bags to Rothera, 97, 98. May 2025
Rothera | 73 | 1 to 63, 97, 98, 95, 90, 106, 108, 112-113, 114-115,
King Edward Point | 10 | 64 to 69, 91-94
Bird Island | 9 | 70 to 74, 89, 88, 123, 125, 126
Halley | 8 | 75 to 82
Signy | 5 | 83 to 87
CRASH | 8 | 95, 107, 116-120, 124
SGHT | 3 | 109-11
subtotal | 126

## Zoll AED + & Schiller FRED
Zoll AED plus
Location | S/N | Battery 1 | Battery 2
Halley ICCE pack | X11D495320
Halley 2nd med station | X15D754305
Rothera
Rothera
Rothera
Rothera
King Edward Point
Bird Island
Signy | X06E087135
SDA
SDA
Arctic Station | X24A780101
Schiller FRED AED plus
Location | S/N | Battery 1 (primary) | Battery 2 (spare)
Rothera FRB1
Rothera FRB2
Rothera FRB3 | AED S/N # 005473
Rothera FRB4 | AED S/N # 005486
Rothera FRB5 | AED S/N #005485
Rothera FRB6 | AED S/N #005491
Bird Island FRB7
KEP FRB8
KEP FRB9 | AED S/N #005400
Signy FRB10
Halley FRB 11 | AED S/N 900.23734 | FA22-03000 x 3 |  | 3 spare batteries
Halley FRB12 | AED S/N #005482 | 4.350063 x 2
Rothera FRB14 | AED S/N #005480
NyAlesund FRB15
SDA FRB16 | S/N 900.24160 | yes | yes
SDA FRB17 | S/N 900.24132 | yes | yes
Rothera FRB 18 | AED S/N #5476 |  |  | deployed 2025
Rothera FRB 19 | AED S/N #6364 |  |  | deployed 2025
Stromness FRB 20 | AED S/N #5490 |  |  | deployed 2025
Rothera FRB 22 | AED S/N 6648 |  |  | deployed 2025
Rothera FRB 23 | AED S/N # 6643 |  |  | deployed 2025
Rothera FRB 24 | AED S/N # 6489 |  |  | deployed 2025

## PCR
Ceiphid GeneXpert - 2 PCR instrument NCoV 2
These are not currently being maintained
BASMU # | Instrument S/N | Last service date | Location | Status | Note
1 | 841038 |  | Signy | re-deployed 2024-5 season
Laptop #1 | *CPH0820F12413* |  | Signy |  | GX Global laptop with peripheral L490
2 | 841045 |  | Rothera | re-deployed 2024-5 season | ex JCR unit
Laptop #2 | *CPH0820F12049* |  | Rothera |  | GX Global laptop with peripheral L490
3 | 841041 | Jul 31 2020 calibration certificate | King Edward Point | deployed 2020 season
Laptop #3 | *CPH0820F12042* | Unclear | KEP |  | GX Global laptop with peripheral L490
4 | 843157 |  | Bird Island | re deployed 2024-5 season
Laptop #4 | *CPH1020F15071* |  | Bird Island |  | GX Global laptop with peripheral L490
No. tests per site
Rothera | 15
Signy | 15
King Edward Point | 15
Bird Island | 15

## BGA
Blood Gas Analyser
Opti BGA BASMu # | Instrument S/N | Last service date | Location
| OP4- 5347 | unclear | KEP
| OP4 – 2265 |  | Rothera
| OP6 - 003032 | 2022-11-01 | SDA
EPOC Reader serial numbers
| 55360 |  | Rothera
| 55768 |  | KEP
| 55405 |  | SDA
EPOC Host serial numbers
| T1H12XNB00781 |  | KEP
| T1H12XPB00688 |  | Rothera
| T1H12XPB00492 |  | SDA

## Zoll x series
Zoll X series vital signs monitors | [6 empty] | updated 20/02/23
Instrument S/N | Last service date | Location | Storage in Plymouth | Battery | Battery | Exchange to
AR21H061743 |  |  |  | AJ21HAS1378 |  | onto ship October 2023
AR20I051359 |  | Bird Island |  | AJ20IAS0940 | AJ20IAS0515
AR20I051361 |  | Halley |  | AJ201A50928 |  | Battery charger S/N AT201014265
AR201051360 | [5 empty] | to Rothera for DASH 7 (send to Halley for temporary cover)
AR201051362 |  |  |  | AJ21HAS1264 |  | to Signy
AR21H061753 |  | KEP |  | AJ21HAS1264 | AJ201AS0951
AR21H061743 |  | SDA |  | AJ21HAS1378 | AJ21HAS1214 | Battery charger S/N AT20I014260

## Other monitors
Vital signs monitors
Model and make: | SP G3 H
BASMU # | Location deployed | Instrument S/N | Last service date
| SDA | G3HP30068 | 2022-10-01 | Next due date
Rothera
not stated (1) | KEP | G3HN40023 | no indication
| Halley | G3HLA0127
Bird Island
Signy
not stated (2) | KEP | G3HLA0131 | no indication
Model & make: | SP G3 D
Location deployed | Instrument S/N | Last service date
SDA | G3DN40259 | 2022-10-01
Rothera
KEP
Halley
Bird Island
Signy
Model & make:
Location deployed | Instrument S/N | Last service date
SDA
Rothera
KEP
Halley
Bird Island
Signy

## ECG
ECG
Location deployed | Model & make | Instrument S/N | Service expiry date
SDA | Cardioline Delta 1 Plus | MDL1014188 | 2021-01-01
Rothera | SECA CT8000P-2 | 1081.0009 | 2026-02-13
CardioFax GEM ?
KEP | Nihon Kohden Cardiofax GEM ECG-9020K | 2693 | unclear when last serviced. PAT test stickers dating back to before 2007
| SECA CT8000P-2 | 1081.0009 | 2026-02-13
Halley | CardioFax GEM | x00720
Cambridge screening | SECA CT8000P-2 | 1081.0009 | 2026-02-13

## MIBS
MIBS stretcher stretcher, back board, skid
each installation has one MIBS
Station | Number
Halley
Rothera
King Edward Point | 1041
Bird Island
Signy
SDA | 1039
Training 1 with skid
Training 2 with skid
Training 3 with skid
Training 4 with skid and backboard
Training 5 with skid
Military 4 handle version MIBS 1 |  | Deployed to Stromness for work site 2025/26
Steel basket stretcher |  | Deployed to Stromness for work site 2025/26
Cascade flotation |  | Deployed to Stromness for work site 2025/26
Additional basket stretchers and wheels/flotation supplied by BAS to Antarctica
Training set up held by BAS for CRASH and wales training FGAs & Island stations

## Dental
Quayle dental Quedent - dental cart
Instrument S/N | Last service date | Location
7393 |  | SDA
Rothera
DSU892 | Retired 2017 | Plymouth training
DSU893 sn: 7400 | unclear | King Edward Point
Spare
Class S Sterilisers |  | Qurimed 8 litre
Instrument S/N | Last service date | Location
Rothera
10031805 | 2023-09-01 | Sir David Attenborough
6030601 | new 2023 | Kind Edward Point
There are other low grade sterlisers @ sites, but these aren't recommended for dental power heads

## Syringe driver - infusion pump
Infusion pumps | Fresenius Kabi
BASMU # | Instrument S/N | Last service date | Location | Storage in Plymouth | Exchange to | Notes
BASMU # 1 | 24669728 | 2023-06-13 | Rothera | dispatched 2023 |  | certificate of service in g drive
BASMU # 2 | 24667455 | 2023-06-13 | KEP | dispatched 2023 |  | certificate of service in g drive
BASMU # 3 | 24667456 | 2024-07-23 |  |  | Rothera
BASMU # 4 | 24967252 | 2024-07-23 |  |  | KEP
BASMU # 5 | 24667441 |  | Halley
BASMU # 6 | 24667458 | 2023-10-01 | SDA |  |  | Date is next due date
Syringe drivers | Fresenius Kabi
Instrument S/N | Last service date | Location | Storage in Plymouth
24695109 | 2024-07-23
24697388 | 2024-07-23
24695104 | 2023-06-13 | Rothera | dispatched 2023
24695100 |  | Halley
24697370 | 2023-10-01 | SDA
24696107 | 2023-08-31 | KEP | dispatched 2023

## EPR laptop
BAS provided laptop for EPR system
PC | laptop ID | Location | PPS Serial
Hosted | office machines per staff | Plymouth | 561224
BS-BASMUTEST-L1 | 1 610 124 075 | Cambridge | 561130
BS-BASMU-L1 | 1 610 356 034 | Rothera | 561149
BS-BASMU-L3 | 1 609 967 702 | King Edward Point | 561150
BS-BASMU-L2 | 1 609 620 936 | SDA | 561151
BS-BASMU-L4 | ? | Halley | 561152
No servicing required for these laptops

## Suction
Suction devices
Device | Site | sn
Laerdal LCSU 4 icepack | KEP | 2203020835
Laerdal LCSU 4 FRB | SDA | 2110210398 | 2023-10-01 | Next due date
Laerdal LCSU 4 FRB | SDA | 2104260419 | 2023-10-01 | Next due date
Laerdal LCSU 4 FRB12 | Halley | 2306160163
Laerdal LCSU 4 FRB 11 | Halley | 151201A0610
Laerdal LCSU 4 FRB | Signy
Laerdal LCSU 4 icepack | Bird Island
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 suction FRB | Rothera
Laerdel LCSU 4 FRB CRASH tag 13 | Plymouth | 2306160166
Laerdel LCSU 4 FRB CRASG tag 14 | Plymouth | 2306160162
LSU | Bird Island
LSU | Signy
LSU | KEP | 78000300050
LSU | Rothera
LSU | SDA | 78161861861
LSU | Halley | 78282256037
OB 2012 | Halley | 2101510658
OB 2012 | Rothera