Request for quotation clarification questions for LTMN dipwell loggers tender

- Is there a preference between the vented option or the use of an additional baro logger (barometric pressure logger)?

This to some extent depends on the functioning of the respective loggers, but absolute loggers rather than vented loggers will probably be the better option in our circumstances. We need to keep maintenance to a minimum, with visits no more than annual, and we can’t be certain of the cable length required for all dipwells. While we will be attempting to install dipwells to a depth of 2m, there will be some locations where we won’t be able to reach this depth, and in most locations the water level will be fairly close to the surface for much of the year.

- Is there an estimated cable length from the well head down to the level logger?

As above – we will be attempting to install loggers to a depth of 2m in most locations.

- As the request is 100 level loggers; will these be in 100 different locations or will some of them be deployed within a few kilometres of each other? This information would help us ascertain the number of baro loggers required for the deployment.

The loggers will be deployed in multiple locations, but at each location there will be multiple loggers in fairly close proximity (within a few km). We don’t have an exact plan at the moment, but estimate approximately 7 level loggers at each location.