## Lot Comparative- Summary
IT Hardware Purchase- Total Price Cost
Lot 1 | 0
Lot 2 | 0
Lot 3 | 0
Lot 4 | 0
Lot 5 | 0
Lot 6 | 0
Lot 7 | 0
Total Bid Cost | 0
As ex-VAT Price

## Price Requirements
1. Please insert your Company Name into the Header of the Worksheet (Page Layout - Print Titles - Headers/Footers - Custom Header - Left hand box)
2. The rows titled "spare" allows the Contractor to add more detail to the price build up. Insert new rows as required.
3. Please add more rows to accommodate your fees and breakdown of these with the price clearly set out as ex-VAT prices
Name of Supplier:
Lot 1 – Server Hardware The NMRN require 6x servers of the following configuration. No other manufacturer or configurations of a lower specification will be considered. | Description | Quantity | Price (as ex-VAT)
Item
Server | Dell Smart Selection PowerEdge R660xs Rack Server Plus |  | 0
Base | Dell PowerEdge R660xs |  | 0
Smart Selection | Dell Smart Selection PowerEdge R660xs |  | 0
TPM | Trusted Platform Module 2.0 V5 |  | 0
Chassis | No Hard Drive, No Backplane chassis, 2 CPU |  | 0
Processor | Intel® Xeon® Silver 4514Y 2G, 16C/32T, 16GT/s, 30M Cache, Turbo, HT (150W) DDR5-4400 |  | 0
Additional Processor | Intel® Xeon® Silver 4514Y 2G, 16C/32T, 16GT/s, 30M Cache, Turbo, HT (150W) DDR5-4400 |  | 0
Processor Thermal Configuration | Heatsink for 2 CPU configuration (CPU less than or equal to 150W) |  | 0
Memory Configuration Type | Performance Optimized |  | 0
Memory DIMM Type and Speed | 5600MT/s RDIMMs |  | 0
Memory (RAM) | (8x) 64GB RDIMM, 5600MT/s, Dual Rank |  | 0
RAID | C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) |  | 0
RAID Controller | Front PERC H755 Front Load |  | 0
Storage | (2x) 1.2TB Hard Drive ISE SAS 12Gbps 10k 512n 2.5in Hot-Plug |  | 0
BIOS and Advanced System Configuration Settings | Power Saving BIOS Setting |  | 0
Advanced System Configurations Edit | No Energy Star - UEFI BIOS Boot Mode with GPT Partition |  | 0
Fans | Standard Fan X7 |  | 0
Embedded Systems Management | iDRAC9, Enterprise 16G Dell Connectivity Client - Enabled |  | 0
Power Supply | Dual, Fully Redundant (1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium |  | 0
Power Cords | (2x) UK Power Cord, 2M, C13, 250V, 10 Amps |  | 0
PCIe Riser | Riser Config 1, Low Profile, 1x16 LP Slots (Gen4) + 2x8 LP Slot (Gen4), 2CPU |  | 0
Motherboard | PowerEdge R660xs Motherboard with Broadcom 5720 Dual Port 1Gb On-Board LOM, MLK |  | 0
OCP 3.0 Network Adapters | Broadcom 57416 Dual Port 10GbE BASE-T Adapter, OCP NIC 3.0 |  | 0
Additional Network Cards | Broadcom 57414 Dual Port 10/25GbE SFP28 Adapter, PCIe Low Profile, V2 |  | 0
Quick Sync | No Quick Sync |  | 0
Password | iDRAC, Legacy Password |  | 0
IDRAC Service Module | iDRAC Service Module (ISM), NOT Installed |  | 0
Group Manager | iDRAC Group Manager, Enabled |  | 0
Bezel | Standard Bezel for x8 and x10 chassis |  | 0
Boot Optimized Storage Cards | BOSS-N1 controller card + with 2 M.2 480GB - (RAID 1) |  | 0
Operating System | No Operating System |  | 0
OS Media Kits | No Media Required |  | 0
Rack Rails | ReadyRails A11 drop-in/stab-in Slide Combo Rails With Cable Management Arm |  | 0
Support Services | Basic Next Business Day 36 Months, 36 Month(s) |  | 0
Dell Services: Extended Service | ProSupport with 4-Hour Onsite Service, 60 Month(s) |  | 0
|  | Lot Total | 0
Lot 2 – Storage Hardware The NMRN require 2x Storage Area Network devices of the following configuration. No other manufacturer or configurations of a lower specification will be considered. | Description | Quantity | Price (as ex-VAT)
Item
SAN | Dell Smart Selection PowerVault ME5024 |  | 0
Base | Dell ME5024 Storage Array |  | 0
Rack Rails | Rack Rails 2U |  | 0
Storage | (8x) Hard Drive Filler 2.5in, Single Blank |  | 0
Storage | (16x) 7.68TB SSD SAS Read Intensive up to 24Gbps 512e 2.5in Hot-Plug 1WPD, AG Drive |  | 0
Power | Power Supply, 580W, Redundant, WW |  | 0
Power Cords | (2x) UK Power Cord, 2M, C13, 250V, 10 Amps |  | 0
25G/SFP28 iSCSI Optics and DAC Cables | (6x) Dell Networking, Cable, SFP28 to SFP28, 25GbE, Passive Copper Twinax Direct Attach Cable, 2 Meter |  | 0
Bezel | ME Series 2U Bezel |  | 0
Controller Cards | 25Gb iSCSI 8 Port Dual Controller |  | 0
Support Services | Parts Only Warranty 36 Months, 36 Month(s) |  | 0
Dell Services: Extended Service | ProSupport Plus and 4Hr Mission Critical, 60 Month(s) |  | 0
Lot 2 – Storage Hardware The NMRN also require 1x Network Attached Storage device of the following configuration. No other manufacturer or configurations of a lower specification will be considered. | Description | Quantity | Price (as ex-VAT)
Item |  | (do not adjust)
NAS | QNAP TS-H3087XU-RP - 30-Bay 4U RM NAS, Xeon E-2378, 64GB RAM | 1 | 0
Storage | (12x) Seagate IronWolf Pro (ST10000NE0004) | 12 | 0
|  | Lot Total | 0
Lot 3 – Network Switches The NMRN require network switches of the following configuration. HPE/Aruba is the preferred manufacturer but devices of comparative specification from other reputable manufacturers will be considered. Configurations of a lower specification will not be considered. | Description | Quantity | Price (as ex-VAT)
Item |  | (do not adjust)
Switches | HPE SN2010M 25GbE 18SFP28 4QSFP28 Switch - S2T75A | 4 | 0
DAC Cables | 2m (7ft) HPE Aruba Compatible 25G SFP28 Passive Direct Attach Copper Twinax Cable (P/N: SFP-25G-PC02) | 12 | 0
Power Cables | Aruba Power Cable (UK Specific) | 8 | 0
|  | Lot Total | 0
Lot 4 – Firewalls The NMRN require new firewall hardware of the following configuration. No other manufacturer or configurations of a lower specification will be considered. | Description | Quantity | Price (as ex-VAT)
Item |  | (do not adjust)
Firewall | Sonicwall NSA4700 with 3 years of APSS licensing included | 2 | 0
HA Firewall | Sonicwall NSA4700 High Availability Unit | 2 | 0
|  | Lot Total | 0
Lot 5 – UPS Hardware The NMRN require Uninterruptible Power Supply hardware of the following configuration. APC is the preferred manufacturer but devices of comparative specification from other reputable manufacturers will be considered. Configurations of a lower specification will not be considered. | Description | Quantity | Price (as ex-VAT)
Item | Description | (do not adjust)
UPS Unit | APC Marine Smart-UPS On-Line - 5000VA - SRT5KRMXLIM | 1 | 0
Battery Pack | APC Smart-UPS SRT 192V 5kVA and 6kVA RM Battery Pack Marine | 1 | 0
UPS Unit | APC SMART-UPS SRT 3000VA RM - SRT3000RMXLI | 1 | 0
Battery Pack | APC Smart-UPS SRT 96V 3kVA RM Battery Pack - SRT96RMBP | 1 | 0
PowerChute Network Shutdown | PowerChute Network Shutdown for Virtualization and HCI - 6 years | 1 | 0
|  | Lot Total | 0
Lot 6 – Windows Server Licensing The NMRN requires new Windows Server licensing to license all server cores included in the new server hardware listed in Lot 1. This is equivalent to 192 cores. | Description |  | Price (as ex-VAT)
The Windows Server licensing required is Windows Server 2025 Datacentre. The NMRN also require Windows Server 2025 User CAL licensing for 300 users. No other type or version of Windows Server licensing will be considered. |  |  | 0
|  | Lot Total | 0
Lot 7 – Microsoft System Centre Virtual Machine Manager Licensing The NMRN requires new Microsoft System Centre Virtual Machine Manager licenses to license all server cores included in the new server hardware listed in Lot 1. This is equivalent to 192 cores. | Description |  | Price (as ex-VAT)
The licensing required is Microsoft System Centre Virtual Machine Manager Datacentre. No other type or version of Microsoft System Centre Virtual Machine Manager licensing will be considered. |  |  | 0
|  | Lot Total | 0