## Sheet1
CLARIFICATION LOG
Tender:
Tender Reference: | Repair & Maintenance of Public Domain CCTV for Newquay & St Austell
Published Date: | 2025-06-04
Version number: | V1.0
Number | Clarification | Response | Reply date
C001 | We note that Items A, B & C of the Specification ("Objectives/Expectations") asks for the repair and maintenance of cameras and associated equipment in Newquay, St Austell and the Control Room. Where within the pricing schedule should bidders allow for these costs? The document titled "Schedule 1 - Pricing" has only one tab named "Schedule 3" and does not appear to allow for Repair or Maintenance. | By nature of the spreadsheet, we are seeking the supplier to put in costs in Part A of the schedule. For pricing purposes we have estimated quantities, for example: The number of call outs (based on the priority response required) – against which we would seek the bidder to put a rate to this task The number of hours for an hourly rate (to undertake works) – against which we would seek the bidder to put a rate to this task An estimate for materials to be used in the repairs and maintenance – against which we would seek the bidder to put any percentage uplift they would charge to the material costs These rates and figures would then be used within the contract. The tab is titled “Schedule 3” in error – and there is intentionally only one tab. This has been updated | 2025-06-11
C002 | Item H of the Specification states "electrical inspection and testing of the control room and CCTV infrastructure at the commencement and in the final year of the contract." Does this include or exclude the fixed wiring installation? | This does not include a fixed electrical test of the wiring installation. | 2025-06-11
C003 | Items H and I require the "electrical inspection and testing of the control room and CCTV infrastructure" and "lens cleaning of the cameras within the system at least quarterly" , item J asks for the provision of "reasonable adjustments to the CCTV system and equipment to ensure the system is fit for purpose". Where within the pricing schedule should bidders allow for these costs? | We would seek to use the rates as set out in the price schedule. For example, in such planned work it would be priority 3 call out charge then the hours taken against the hourly rate. | 2025-06-11
Clarifications will be published against the Contract Notice on Find a Tender.
If interested in tendering for this project please ensure you add a "watch this notice" for alerts as from time to time additional information or clarifications may be published related to this tender.
It will be the responsibility of Bidders to ensure they are aware of all published clarifications and ensure that their bid has taken these into account.
In the event of any queries please contact: