## Option 1 - In Situ
Boiler Room Replacement Pricing Schedule - in situ
Item No. | Description of Works | Total (£) | Comments
1 | Drain system
2 | Remove plant and dispose
3 | Disposal
4 | Paint floors and roof
5 | Boilers
6 | Pipework
7 | Pumps
8 | Lagging and protection
9 | Flues
10 | Controls and power wiring
11 | Roof works
12 | Scaffolding tower
13 | Heat exchangers
14 | Side stream filter
15 | Pressurisation
16 | Fit vacuum degasser – spirovent S250 under control panel into the dosing pot pipework
17 | Refill with inhibitor
18 | Replace obsolete control panel with Trend IQ4 with IQview 4
19 | Test Comms to Merton HQ.
20 | Sub Total
21 | Prelims
VAT
| TOTAL PROJECT COST | £[Total]

## Option 2 - External Plant Room
Boiler Room Replacement Pricing Schedule - using external plant room
Item No. | Description of Works | Total (£) | Comments
1 | Drain system
2 | Remove plant and dispose
3 | Disposal
4 | Paint floors and roof
5 | Boilers
6 | Pipework
7 | Pumps
8 | Lagging and protection
9 | Flues
10 | Controls and power wiring
11 | Roof works
12 | Scaffolding tower
13 | Heat exchangers
14 | Side stream filter
15 | Pressurisation
16 | Fit vacuum degasser – spirovent S250 under control panel into the dosing pot pipework
17 | Refill with inhibitor
18 | Replace obsolete control panel with Trend IQ4 with IQview 4
19 | Test Comms to Merton HQ.
20 | Sub Total
21 | Prelims
VAT
| TOTAL PROJECT COST | £[Total]