## Pricing Schedule
PRICING SCHEDULE
for the
BMS UPGRADE PHASE 1
AT
THE HORNIMAN MUSEUM AND GARDENS
100 LONDON ROAD, LONDON, SE23 3PQ
Prepared for Beth Hodges – Head of Estates
Date: May 2025
Project ref: J0930_HMG_HornimanBMS_RevT0
The Following items must be priced individually and not grouped together.
ITEM | PRICING SUMMARY | £ (Excl VAT)
1 | Prelims/General Items | 0
2 | CP01 - Centenary Hall AHU (LAN 101/OSN 11) | 0
3 | CP02 - Aqua_South Hall (LAN 101/OSN 12) | 0
4 | MCC1 - Boilers (LAN 101/OSN 13) | 0
5 | CP05 CUE Library (LAN 101/OSN 15) | 0
6 | MCC6/CP6 Chiller Compound (LAN 101/OSN 16) | 0
7 | CP07 - 'Bothy Boiler' (LAN 101/OSN 17) | 0
8 | CP08 - Plantroom 3 - West Hall (LAN 101/OSN 18) | 0
9 | CP09 West Gallery Natural Vent (LAN 101/OSN 19) | 0
10 | CP10 - Galleries (LAN 101/OSN 20) | 0
11 | CP11 Security (LAN 101/OSN 21) | 0
12 | CP12 Music Hall (LAN 101/OSN 22) | 0
13 | West Pit Room CO2 Monitoring (LAN 101/OSN 29) | 0
14 | MCC02 NH Pump Plant room (LAN101/OSN 30) | 0
15 | Aquarium CHW Plant (LAN 101/OSN 40) | 0
16 | Conservatory Plant room (LAN 101/OSN 84) | 0
17 | Horniman Museum Switchroom (LAN 20/OSN 20) | 0
18 | Horniman Museum Bothy (LAN 20/OSN 21) | 0
19 | BMS Systems Infrastructure & Networks | 0
| GRAND TOTAL TO FORM OF TENDER | 0
20 | Supplier Proposed Optional Works | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
1 | Prelims/General Items
1.01 | Project Manager | 0
1.02 | Site Communications | 0
1.03 | PPE | 0
1.04 | Protection of Works | 0
1.05 | Off-Loading and Positioning | 0
1.06 | Temporary power supplies | 0
1.07 | Health & Safety Requirements (fixed for the duration of the works) including CDM | 0
1.08 | Preparation of Method Statements, Health & Safety & CDM | 0
1.09 | Protection and Work Platforms/Access equipment | 0
1.1 | Full Site Survey & report | 0
1.11 | Design Development & Preparation of Drawings and Calculations for the complete installation | 0
1.12 | Operation and Maintenance Documentation | 0
1.13 | Strip-out & disposal | 0
1.14 | Handover & Seasonal visits | 0
1.15 | Client Traning | 0
1.16 | Maintenance during warrenty period | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
2 | CP01 - Centenary Hall AHU (LAN 101/OSN 11)
2.01 | Design Development, Tech-subs, RAMS | 0
2.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
2.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
2.04 | Produce new BMS graphics (in conjunction with new standards) | 0
2.05 | Control Panel modifications | 0
2.06 | Electrical Installation/Testing | 0
2.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
2.08 | Setting to work, Commissioning and Testing of the Works | 0
2.09 | Witnessing and Demonstration of the Works On Site | 0
2.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
3 | CP02 - Aqua_South Hall (LAN 101/OSN 12)
3.01 | Design Development, Tech-subs, RAMS | 0
3.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
3.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
3.04 | Produce new BMS graphics (in conjunction with new standards) | 0
3.05 | Control Panel modifications | 0
3.06 | Electrical Installation/Testing | 0
3.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
3.08 | Setting to work, Commissioning and Testing of the Works | 0
3.09 | Witnessing and Demonstration of the Works On Site | 0
3.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
4 | MCC1 - Boilers (LAN 101/OSN 13)
4.01 | Design Development, Tech-subs, RAMS | 0
4.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. (OPTION) | 0
4.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
4.04 | Produce new BMS graphics (in conjunction with new standards) | 0
4.05 | Control Panel modifications | 0
4.06 | Electrical Installation/Testing | 0
4.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
4.08 | Setting to work, Commissioning and Testing of the Works | 0
4.09 | Witnessing and Demonstration of the Works On Site | 0
4.1 | De-commission from 963 | 0
4.11 | Bothy LTHW Heat Meter SIP Interface (LAN 103/OSN 11) | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
5 | CP05 CUE Library (LAN 101/OSN 15)
5.01 | Design Development, Tech-subs, RAMS | 0
5.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
5.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
5.04 | Produce new BMS graphics (in conjunction with new standards) | 0
5.05 | Control Panel modifications | 0
5.06 | Electrical Installation/Testing | 0
5.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
5.08 | Setting to work, Commissioning and Testing of the Works | 0
5.09 | Witnessing and Demonstration of the Works On Site | 0
5.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
6 | MCC6/CP6 Chiller Compound (LAN 101/OSN 16)
6.01 | Design Development, Tech-subs, RAMS | 0
6.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
6.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
6.04 | Produce new BMS graphics (in conjunction with new standards) | 0
6.05 | Control Panel modifications | 0
6.06 | Electrical Installation/Testing | 0
6.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
6.08 | Setting to work, Commissioning and Testing of the Works | 0
6.09 | Witnessing and Demonstration of the Works On Site | 0
6.1 | De-commission from 963 | 0
6.11 | Chiller 1 & 2 SIP Interface (LAN 102/OSN 16 & 17) | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
7 | CP07 - 'Bothy Boiler' (LAN 101/OSN 17)
7.01 | Design Development, Tech-subs, RAMS | 0
7.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
7.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
7.04 | Produce new BMS graphics (in conjunction with new standards) | 0
7.05 | Control Panel modifications | 0
7.06 | Electrical Installation/Testing | 0
7.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
7.08 | Setting to work, Commissioning and Testing of the Works | 0
7.09 | Witnessing and Demonstration of the Works On Site | 0
7.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
8 | CP08 - Plantroom 3 - West Hall (LAN 101/OSN 18)
8.01 | Design Development, Tech-subs, RAMS | 0
8.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
8.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
8.04 | Produce new BMS graphics (in conjunction with new standards) | 0
8.05 | Control Panel modifications | 0
8.06 | Electrical Installation/Testing | 0
8.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
8.08 | Setting to work, Commissioning and Testing of the Works | 0
8.09 | Witnessing and Demonstration of the Works On Site | 0
8.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
9 | CP09 West Gallery Natural Vent (LAN 101/OSN 19)
9.01 | Design Development, Tech-subs, RAMS | 0
9.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
9.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
9.04 | Produce new BMS graphics (in conjunction with new standards) | 0
9.05 | Control Panel modifications | 0
9.06 | Electrical Installation/Testing | 0
9.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
9.08 | Setting to work, Commissioning and Testing of the Works | 0
9.09 | Witnessing and Demonstration of the Works On Site | 0
9.1 | De-commsion from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
10 | CP10 - Galleries (LAN 101/OSN 20)
10.01 | Design Development, Tech-subs, RAMS | 0
10.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
10.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
10.04 | Produce new BMS graphics (in conjunction with new standards) | 0
10.05 | Control Panel modifications | 0
10.06 | Electrical Installation/Testing | 0
10.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
10.08 | Setting to work, Commissioning and Testing of the Works | 0
10.09 | Witnessing and Demonstration of the Works On Site | 0
10.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
11 | CP11 Security (LAN 101/OSN 21)
11.01 | Design Development, Tech-subs, RAMS | 0
11.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
11.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
11.04 | Produce new BMS graphics (in conjunction with new standards) | 0
11.05 | Control Panel modifications | 0
11.06 | Electrical Installation/Testing | 0
11.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
11.08 | Setting to work, Commissioning and Testing of the Works | 0
11.09 | Witnessing and Demonstration of the Works On Site | 0
11.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
12 | CP12 Music Hall (LAN 101/OSN 22)
12.01 | Design Development, Tech-subs, RAMS | 0
12.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
12.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
12.04 | Produce new BMS graphics (in conjunction with new standards) | 0
12.05 | Control Panel modifications | 0
12.06 | Electrical Installation/Testing | 0
12.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
12.08 | Setting to work, Commissioning and Testing of the Works | 0
12.09 | Witnessing and Demonstration of the Works On Site | 0
12.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
13 | West Pit Room CO2 Monitoring (LAN 101/OSN 29)
13.01 | Design Development, Tech-subs, RAMS | 0
13.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. (OPTION) | 0
13.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
13.04 | Produce new BMS graphics (in conjunction with new standards) | 0
13.05 | Control Panel modifications | 0
13.06 | Electrical Installation/Testing | 0
13.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
13.08 | Setting to work, Commissioning and Testing of the Works | 0
13.09 | Witnessing and Demonstration of the Works On Site | 0
13.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
14 | MCC02 NH Pump Plant room (LAN101/OSN 30)
14.01 | Design Development, Tech-subs, RAMS | 0
14.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. (OPTION) | 0
14.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
14.04 | Produce new BMS graphics (in conjunction with new standards) | 0
14.05 | Control Panel modifications | 0
14.06 | Electrical Installation/Testing | 0
14.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
14.08 | Setting to work, Commissioning and Testing of the Works | 0
14.09 | Witnessing and Demonstration of the Works On Site | 0
14.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
15 | Aquarium CHW Plant (LAN 101/OSN 40)
15.01 | Design Development, Tech-subs, RAMS | 0
15.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. (OPTION) | 0
15.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
15.04 | Produce new BMS graphics (in conjunction with new standards) | 0
15.05 | Control Panel modifications | 0
15.06 | Electrical Installation/Testing | 0
15.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
15.08 | Setting to work, Commissioning and Testing of the Works | 0
15.09 | Witnessing and Demonstration of the Works On Site | 0
15.1 | De-commission from 963 | 0
15.11 | Aquarium Chiller BACNet Interface (LAN 102/OSN 11) | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
16 | Conservatory Plant room (LAN 101/OSN 84)
16.01 | Design Development, Tech-subs, RAMS | 0
16.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. (OPTION) | 0
16.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
16.04 | Produce new BMS graphics (in conjunction with new standards) | 0
16.05 | Control Panel modifications | 0
16.06 | Electrical Installation/Testing | 0
16.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
16.08 | Setting to work, Commissioning and Testing of the Works | 0
16.09 | Witnessing and Demonstration of the Works On Site | 0
16.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
17 | Horniman Museum Switchroom (LAN 20/OSN 20)
17.01 | Design Development, Tech-subs, RAMS | 0
17.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
17.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
17.04 | Produce new BMS graphics (in conjunction with new standards) | 0
17.05 | Control Panel modifications | 0
17.06 | Electrical Installation/Testing | 0
17.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
17.08 | Setting to work, Commissioning and Testing of the Works | 0
17.09 | Witnessing and Demonstration of the Works On Site | 0
17.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
18 | Horniman Museum Bothy (LAN 20/OSN 21)
18.01 | Design Development, Tech-subs, RAMS | 0
18.02 | Supply and installation of new IQ5 BMS Outstation Hardware & I/O modules. | 0
18.03 | BMS Software Review, Software re-engineering, Configure Alarms, Configure Logging | 0
18.04 | Produce new BMS graphics (in conjunction with new standards) | 0
18.05 | Control Panel modifications | 0
18.06 | Electrical Installation/Testing | 0
18.07 | Connection/configuration to new BMS network (Removal of unmanaged switches) | 0
18.08 | Setting to work, Commissioning and Testing of the Works | 0
18.09 | Witnessing and Demonstration of the Works On Site | 0
18.1 | De-commission from 963 | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
19 | BMS Systems Infrastructure & Networks
19.01 | Supply/Install IQVision software and licences (State allowance with tender) | 0
19.02 | Provision of Software Maintenance Licences (5yrs) | 0
19.03 | Set-up/Configure IQVision Server/Liason with client IT | 0
19.04 | Set-up/Configure IQVision BMS Workstation PC/Liason with client IT | 0
19.05 | Development of new Graphics Standards | 0
19.06 | Development of new BMS Alarms and Data Logging Standards (Incl SQL database) | 0
19.07 | Development of new User Access & Security requirements (Users, Roles and Categories etc) | 0
19.08 | Development/deployment of Point naming schema/point tagging as required | 0
19.09 | Setting to work, Commissioning and Testing and witnessing of above | 0
19.1 | De-commission 963 | 0
19.11 | Client Training | 0
| SUB-TOTAL: | 0
| The Following items must be priced individually and not grouped together. | £ (Excl VAT)
20 | Supplier Proposed Optional Works
20.01 | To be completed by Contractor or left blank | 0
20.02 | To be completed by Contractor or left blank | 0
20.03 | To be completed by Contractor or left blank | 0
20.04 | To be completed by Contractor or left blank | 0
20.05 | To be completed by Contractor or left blank | 0
| SUB-TOTAL: | 0
NDA Consulting Ltd
Building B,
Watchmoor Park,
Riverside Way,
Camberley.
GU15 3YL
Tel: (0118) 907 8620