## Norwich Bus Station
System/ Area | Item | Quantity | Note
Heating | Boiler | 2 | Awaiting quotes for replacement of both boilers, therefore these will be new at the start of the contract. They are gas boilers for heating and water
Heating | Hot air blowers (main waiting area) | 6 | Overdoor heater
Heating & Ventilation | Aircon units in the loft | 2 | 2 free standing units
Lighting (Grnd Floor) | Emergency lighting | 3 | Main waiting area - exit signs
| Emergency lighting | 18 | Public Toilets - Lighting incl. emergency lighting, they are not fluorescent
| Ceiling lights | 34 | Waiting area - internal. They are not fluorescent
Lighting (1st Floor) | Corridor | 5 | 3 Emergency
| Staff room | 8 | 2 Emergency
| Meeting room | 9 | 1 Emergency
| Office | 7 | 2 Emergency
| Stairs | 4 | Wall lights
Lift | Lift | 1 | Staff only
Fire Protection | Fire extinguishers (water) | 2 | One CO2 + one foam; Public area & Staff area (Grnd Floor)
| Fire Alarm | 1 | Automatic fire alarm operational
| Loft | 1 | 2 fire extinguishers, operational
CCTV | CCTV cameras | 16 5 | Each shelter and concourse
| CCTV computer monitor | 1 unit | Screens / Keyboard & Mouse / Base Unit / Desk
Communications | Comms cupboard x1 | 1 | All communications equipment that runs the bus station e.g. the tannoy system, wifi. 3 x storage cupboards within Comms cupboard
| Tannoy system equipment | 1 | Microphone; Monacor unit
| Monolith screens - External | 3 | Pedestrian entrances; Surrey Street and 2 x Queens Road
Fob Entry System | Fob pads total | 10 | Fob system controlling doors for controlled access, operated using software that will need downloading onto a computer – drivers have these fobs too.
| Fob pad controlled internal doors | 5
| Fob pad controlled external door | 2
| Fobs | 191
Customer Information Desk | Information desk | 1 | All other equipment including seats not included with the exception of the tannoy system control unit.
| Queue control poles - retractable barriers | 6 | Main reception desk
Café | Bar stool | 8
| Chairs | 17
| Tables | 7
| Bar style tables | 5
Passenger Waiting (Internal) | Electronic arrival/departure screens | 2
| Bench seating waiting area | 8 | Screwed to the floor
Emergency Evacuation | Evac chair | 1 | Stored upstairs
Cleaners Cupboard | Belfast sink and taps | 1
Public toilets | Gents | 6 | 4 cubicles & 2 urinals. As part of separate unit
| Ladies | 4 | 4 Cubicles - As part of separate unit
| Gender neutral/disabled | 1 | Separate unit
| Electric Hand driers | 5 | Total number across separate units
| Radiator/heating units | 5 | Total number across separate units
| Sinks with taps | 10 | Total number across separate units
| Mirrors | 9 | Total number across separate units
| Disabled rails | 1 | One set - floor and wall fixed
| Sanitary bins - Ladies | 4 | In each cubicle (Not NCC - guidance only)
| Sanitary bins - Gender neutral/ disabled | 2 | One sanitary and 1 nappy bin (Not NCC - guidance only)
| Sanitary bins - Baby Change | 1 | 1 nappy bin (Not NCC - guidance only)
Staff toilets | Toilets upstairs - staff only | 4 | 2 ladies & 2 gents
| Hand dryer/ Sink/ Mirror | 4
| Radiator/heating unit | 4
| Sanitary bins | 4 | Not NCC - Shown for a guide of requirements
| Lighting | 8 | 2 spotlights per toilet. 1 x emergency light
Staff room – currently used as driver rest room | Tables | 33
| Chairs | 12
| Lockers | 8
| Sink | 1
| Kitchen cupboard units | 6
| Hot water unit | 1 | Instant Hot water unit
Grnd Floor - Current cash-up room | Internal locked room(cupboard) | 1 | Shelf unit NCC property internal to this. The Service Provider shall have access to the cupboard and can use the shelf.
| Table | 1
| Chairs | 2 | Café style
| Sink unit including taps | 1 | Metal style
| Kitchen Cupboards | 9 | 5 wall, 4 base
| Doors | 2 | 1 x access door, 1 x cupboard
Office | Desks | 3
| Free standing Cupboards | 3 | 2 cupboards + 1 filing cabinet - All lockable
| Lockable internal cupboard | 1
| Tannoy unit | 1 | Make; monacor
Meeting room | Desks | 4
| Chairs | 7
| Cupboards | 2
| Sink & taps | 1
| Kitchen units | 6 | 2 wall and 4 floor
| Box room/Cupboard | 1 | Key number code pad
| Boiler/hot water unit | 1 | Hot water unit
External | Bins external | 6 units 2 open | Contains 2 wheely bins each Open top street bins
| Bus Shelters | 16
| Cycle railings | 12 | Queens Road end & Surrey Street end
| Seating | 6 | Benches
| External building - gates | 2 | Controlled by fob – see above
| Railings |  | Separating pedestrians and roadway
| Outside storage container | 1 | Stored round the back of the building, this is for use by the Bus Station lease holder. 1/4 comtainer 8 x 10ft
External lighting | Non street uplighters | 29 | Roof, not flourescent
| Building walls | 4 | These are the non-street lights to illuminate building/roof. Not flourescent or LED
| Security lights | 2 | On gates Not flourescent or LED

## Costessey P&R
Item | Quantity | Note
Toilets | 2 | Separate units with doors opening to the outside
Hand dryer/ Sink/ Mirrors | 2
Radiator/heating unit | 2 | Fan heaters
Sanitary bins | 4 | Inc nappy bins
Baby change unit | 2
Disabled rails | 2 | Both toilets treated as disabled
Lighting | 2 | Fluroescent
Fire Extinguishers | 2
Radiators | 1 | Electric heater, fixed to the wall - staff area
Alarm | 1 | This is the Emergency alarm for toilets. Not set as building not used
Water Heater | 2 | 2 zip boilers for instant hot water (One behind toilets for HW taps)
CCTV – cameras around site and CCTV cupboard for back up |  | Located around the site. No cctv viewing screens. Hikvision 39 cameras - Hikvision 32 channel NVR in external cabinet with monitor
Doors with locks | 3 | Softwood Timber / Framed
Internal doors | 1 | Softwood Timber / Framed
Internal Walls/Partitions - Staff Rm & Toilets |  | Ceramic Tiles Finish
Lighting interior | 4 | Strip lights, Fluroescent
Window blinds | 2 | Ticket office area and kitchen
Pest control boxes (KC property) | 4 | Contracted in - Norwich Pest Control
Fencing - Boundary |  | Timber Boarded Fence
Entry and exit barriers/gates - metal | 2 | 1x manual with keycode lock 1x electric with key
Gutters | 2 | Along both sides length building UPVC Gutters, Down Pipes & Hoppers
Septic tank | 1 | Emptied annually
Storage container | 1 | Small, 1/4 containter size 8x10ft
Waste bins | 4 | External
Bus Shelters | 2 | Refurbished July 2025
Cycle shelter | 1 | Refurbished July 2025
T&C signs | 4
Wooden bollards | 127
Entry and exit signs | 2
Access Rd & Car Park - Drainage |  | Road Type Gullies
All car park areas |  | Pavior Path
All car park areas |  | Tarmac Surface Road/Carpark
Main Walls |  | Brick

## Thickthorn P+R
Item | Quantity | Note
Toilets | 3 | Separate cubicles
Hand dryer/ Sink/ Mirrors | 3
Radiator/heating unit | 3 | Tube heater
Sanitary bins | 2
Baby change unit | 1 | In disabled toilet
Disabled rails | 1 | Set
Lighting | 3 | Strip lights, normal bulb
Fire Extinguishers | 2 | Plus 1 x Fire blanket
Radiators | 2 | Storage heaters - not working. Not being replaced these are in the main buildings which are not occupied
Water heater | 1 | Behind toilets to serve hot water tap
CCTV |  | Cameras around site and CCTV viewing screen in building. Hikvision Cameras x 31 - Hikvision 32 channel NVR with monitor
Doors with locks | 4 | Plus an exit only fire door
Internal doors | 1
Lighting interior | 6 | Strip lights
Window blinds | 2 | Ticket office area and kitchen
Pest control boxes | 3 | Contracted in - Norwich pest Control
Fencing |  | See survey - wooden, length unknown
Entry and exit barriers/gates | 2 | 1x electric requires key 1x manual padlock and keycode lock
Waste bins | 10 | External
Bus Shelters | 2 | Refurbished July 25
Cycle shelter | 1 | Refurbished July 25
Lighting exterior (non-street light) | 1 | Normal bulb
Gutters | 2 | Along both side lengths building
Septic tank | 1 | Emptied annually
Storage container | 1 | Small, 1/4 container 8x10ft
T&C signs | 2
Wooden bollards | 100
Entry and exit signs | 2

## Harford P+R
Item | Quantity | Note
Toilets | 3 | Separate cubicles
Hand dryer/ Sink/ Mirror | 3
Radiator/heating unit | 3 | Fan heater in disabled, tube heater other two toilets
Sanitary bins | 4 | Inc nappy bin
Baby change unit | 1
Disabled rails | 1
Lighting | 3 | Strip lights, normal bulb
Fire Extinguishers | 2
Radiators | 2
Alarm | 1 | Switched off, this is the Emergency alarm for toilets
Water heater | 1 | Kitchen hot water and all water switched off. Hot water heater behind toilets to serve the hot water taps. Kitchen water switched off - water for toilets is operational
Doors with locks | 1 | Plus an exit only fire door
Internal doors | 1
Lighting interior | 6 | Strip lights, not fluroescent
Window blinds | 2 | Ticket office area and kitchen
Waste bins | 2 | External
Bus Shelters | 1 | New one installed June 25
Cycle shelter | 1 | Refurbished July 25
Pest control boxes (KC property) | 2 | Contract in - Norwich pest Control
Fencing |  | See Survey
Entry and exit barriers/gates | 3 | Plus a barrier separating the two sides of the sites – locked for safety. 2x electric with key 1x metal with chain and keycode lock
Lighting exterior (non-streetlight) | 1 | Normal bulb
Gutters | 2 | Along both side length building
Bench | 1
Septic tank | 1
Storage container | 1 | Small - 1/4 container 8x10ft
T&C signs | 3
Wooden bollards | 82
Entry and exit signs | 4
Pumphouse | 1
Water tank | 2
UV light | 2
Water Treatment tank | 1
Saltwater tank | 1
Pressure Tank | 1
Fire extinguishers | 1
Lighting | 2 | Strip lightsFluroescent
Door with key code lock | 1
CCTV |  | Hikvision x 24 cameras - Hikvision 32 channel NVR and monitor in the external cabinet

## Postwick P+R
Item | Quantity | Note
Toilets | 3 | Men’s and ladies as a block with cubicles inside – one single disabled
Toilets | 7 | Inc 2 urinals
Sink | 9 | 2 banks of 4 1x disabled
Hand dryer | 5
Fan heaters | 3 | Fan heaters
Sanitary bins | 3 | Inc nappy bin
Mirror | 9
Baby change unit | 1 | In disabled
Disabled rails | 1
Lighting | 9 | Strip lights, Fluroescent
Fire Extinguishers | 1
T&C signs | 2
Metal bollards | 12 | Painted
Entry and exit signs | 2
Waste bins | 1
Alarm | 1 | Switched off, this is the Emergency alarm for toilets
Water heater | 2 | 1x supplying hot water 1x Free standing - supplies the staff room
Pest control boxes | 3 | Contracted in - Norwich Pest control
Entry and exit barriers/gates | 3 | 1x electric with key 1x metal with chain and keycode lock 1x metal (Harford direction) - never locked this is staff access
Doors with locks | 5 | 3x double doors 2x single doors
Internal doors | 5 | All with locks
Lighting interior | 2 | Strip lights - Fluroescent
Lighting exterior (nonstreet light) | 2 | Normal bulb
Gutters |  | Around building
CCTV – site cameras and CCTV cupboard |  | Cameras around site and cupboard for equipment. Hikvision x 18 - Hikvision 32 channel NVR and monitor in external cabinet
Septic tank | 1
Storage container | 1 | Small, 1/4 container 8x10ft
Staff room | 1 | Sink unit, 2 wall unit, 2 floor unit, small worktop
Keysafe to get into main building | 1
Main building |  | Unused
Strip lights | 6 | Fluroescent
Fire extinguisher | 1
Fire alarm | 1 | Switched off, will need a service to check if building becomes occupied
Alarm | 1 | Not set, Intruder and fire
Radiators | 8 | Not on, fixed to wall
Small office with hatch | 1
Kitchen | 1 | Sink unit, shelf, bin, fire blanket,
Staff toilet | 1 | Vinyl flooring, textured paint, sink, toilet and toilet seat.
Back office | 1 | Bench area serving as desk/worktop
Roller shutter doors | 4 | 2x permanently down 2x used daily
Bench seat | 1 | External near boarding point

## Sprowston P+R
Item | Quantity | Note
Toilets | 3 | Separate cubicles
Hand dryer/ Sink/ Mirror | 3
Sanitary bins | 3
Baby change unit | 1 | Wooden not fixed
Disabled rails | 1
Lighting | 12 | Spot lights, normal bulb
Water heater | 2 | Serving hot water taps in toilets
Hot Water Boiler (Drinks) | 1 | Zip boiler for instant hot water (drinkable)
Fire Extinguishers | 1
Fire blanket | 1
Alarm | 0 | However café has their own alarm. The café owner is responsible for maintaining the fire alarm and intruder alarm they have in the building
CCTV – cameras around site and CCTV box | 1 | Box outside for CCTV recording/back up. Hikvision x 27 - hikvision 32 channel NVR plus monitor in external cabinet
Doors with locks | 5
Internal doors | 1 | No lock
Pest control boxes | 4 | Contracted in - Norwich pest control
Fencing |  | See survey - Wooden but length not known
Entry and exit barriers/gates | 2 | Both barriers, one electric with key and one manual with chain and keypad lock
Lighting exterior (nonstreet light) |  | Associated to café - exclude café responsible
Septic tank | 1
Storage container | 1 | Small, 1/4 containter 8x10ft
Lifebuoy | 1 | Near flood drainage – never flooded
Bench seating | 1
Waste bins | 3 | External
Bus Shelters | 2 | Refurbished July 2025
Cycle shelter | 2 | Refurbished July 2025
T&C signs | 2
Wooden bollards | 142
Entry and exit signs | 2

## Airport P+R
Item | Quantity | Note
Toilets | 7 | Blocks for men’s and ladies - one separate unit for disabled (Plus a urinal trough)
Hand dryer | 5
Sink | 9
Radiator/heating unit | 3 | Fan heaters
Sanitary bins | 6 | Inc 1 x nappy bin
Mirror | 5
Baby change unit | 1
Disabled rails | 1
Lighting |  | Strip lights, normal bulbs
Water heater | 1 | For hot water for toilet taps
Doors with locks | 5 | 3 x NCC 2 x for the tenant
Pest control boxes | 5 | Contracted in - Norwich pest control
Entry and exit barriers/gates |  | 2 electric barriers with key to both customer entrances, 1 x metal gate on exit with chain and keylock, 1 x metal on bus lane chain and key lock. Hikvision x 20 - Hikvision 32 channel NVR plus monitor in external cabinet
Lighting exterior (non streetlight) | 4 | Strip light
Gutters |  | See survey
Roller shutter | 2 | Closed every evening
Garages with roller doors | 2 | Storage unit
Clock | 1 | On clock tower of building, analogue clock
Bench seating | 1
Cycle loops | 17
T&C signs | 3
Entry and exit signs | 3
Waste bins | 3 | External