## BMS&MeteringIPAddressing
# | Site | Building | Location | System | Device | Hostname | Outstation Identifier | Serial No. | IP address | Port No. | Mac Address | Subnet Mask | Gateway/DFR
| BOC | IT | IT |  | Trend 963 Server / TOPS |  |  |  | 10.1.4.202
| BOC | IT | IT |  | Trend IQVISION |  |  |  | 10.1.4.203
1 | BOC | LRC | Grd Flr Plt Rm MCC | BMS | IQ4NC | TREND_0D_90_41 | BOC-LRC 4NC FCU |  | 10.99.1.100 | 410 | 00:10:70:0d:90:41 | 10.99.1.0/24 | 10.99.1.252
2 | BOC | LRC | Grd Flr Plt Rm MCC | BMS | IQ3 | TREND_0C_6D_92 | C13-MCC1-BLR-AHU |  | 10.99.1.101 | 413 | 00:10:70:0c:6d:92 | 10.99.1.0/24 | 10.99.1.252
3 | BOC | LRC | Grd Flr Plt Rm MCC | BMS | IQ3/XNC | TREND_0B_AA_35 | BOC-LRC AG150-C13 |  | 10.99.1.102 | 411 | 00:10:70:0b:aa:35
4 | BOC | LRC | Grd Flr Plt Rm MCC | Metering | TONN for Energy Metering |  | BOC Metering | No longer required | 10.99.1.103 |  |  | 10.99.1.0/24 | 10.99.1.252
5 | BOC | LRC | 2nd Plt Room | [5 empty] | 10.99.1.104 | 63
6 | BOC | Dance | Theatre AHU Plantroom | BMS | IQ3 | TREND_0E_20_ED | C10-MCC1-BLR-AHU |  | 10.99.1.105 | 64 | 00:10:70:0e:20:ed | 10.99.1.0/24
7 | BOC | University House | Main Boiler House | BMS | IQ3 | TREND_05_7D_18 | C01-MCC1-BLR-HWS |  | 10.99.1.106 | 115 | 00:10:70:05:7d:18 | 10.99.1.0/24 | 10.99.1.252
| BOC | Springfield House |  | BMS | IQVIEW8 |  | Springfield IQVIEW8 |  | 10.99.1.107
8 | BOC | Ashling |  | BMS | IQ4E | TREND_0B_4C_04 | BOC-Ashling-C34 |  | 10.99.1.108 | 31 | 00:10:70:0b:4c:04 | 10.99.1.0/24
9 | BOC | Springfield House |  | BMS | IQ4E | TREND_0C_68_7B | BOC-Springfield-C36to41 |  | 10.99.1.109 | 29 | 00:10:70:1b:28:bc | 10.99.1.0/24
10 | BOC | Health One | Health One Switchroom | WAL/LAN Router | Teltonika Router |  |  |  | 10.99.1.110
11 | BOC | Sports Dome |  | BMS | IQ3 | TREND_0B_22_60 | C Sports Dome-MCC1-AHU |  | 10.99.1.111 | 130 | 00:10:70:0b:22:60 | 10.99.1.0/24
10.99.1.112
| BOC | New Hall |  | BMS | IQ3 | TREND_0C_8F_60 | BOC-New Hall Blrs-C18 |  | 10.99.1.113 | 51 | 00:10:70:0c:8f:60
| BOC | Music Block |  | BMS | IQ4E | TREND_15_05_9B | BOC-Music Block 1-Cp4 |  | 10.99.1.114 | 90 | 00:10:70:15:05:9b
| BOC | Music Block |  | BMS | IQView8 | TREND_10_1A_49 | Music Block IQView8 |  | 10.99.1.115 |  | 00:10:70:10:1a:49
| BOC | Music Block |  | BMS | IQ4E | TREND_15_05_9C | BOC-Music Block 1-CP5 |  | 10.99.1.116 | 82 | 00:10:70:15:05:9c
| BOC | Music Block |  | BMS | IQ4NC | TREND_14_1E_52 | BOC-Music Block 1-Floors- |  | 10.99.1.117 | 4 | 00:10:70:14:1e:52
| BOC | LRC | Boiler Room Mitsubishi AG150 | BMS/AC | AG-150A |  | N/A |  | 10.99.1.118 | 412 | 00:26:92:62:51:5e3
| BOC | Reserved For Future | [6 empty] | 10.99.1.119
13 | BOC | Student Union (ZeeBar) | Main Boiler House | BMS | EINC | N/A | STUDENTS UNION |  | 10.99.1.120 | 34 | 00:10:70:04:02:2c | 10.99.1.0/24 | 10.99.1.252
| BOC | Academic Block |  | BMS | IQ4 | TREND_0D_D5_F3 | BOC-Academic Block 1-CP1 |  | 10.99.1.121 | 100 | 00:10:70:0d:d5:f3
| BOC | Academic Block |  | BMS | IQView8 | TREND_10_1A_4A | Academic Block IqView8 |  | 10.99.1.122 |  | 00:10:70:10:1a:4a
| BOC | Academic Block |  | BMS | IQ4E | TREND_15_05_9A | BOC-Academic Block 1-CP2 |  | 10.99.1.123 |  | 00:10:70:15:05:9a
| BOC | Academic Block |  | BMS | IQ4NC | TREND_0D_D6_1E | BOC-Academic Block |  | 10.99.1.124 |  | 00:10:70:0d:d6:1e
| BOC | Reserved For Future | [6 empty] | 10.99.1.125
| BOC | Academic Block |  | BMS | IQ4E | TREND_15_05_9E | BOC-Academic Block 1-CP3 |  | 10.99.1.126 | 93 | 00:10:70:15:05:9e
| BOC | Academic Block |  | BMS | Bacnet Windows Controller |  | North and South Windows |  | 10.99.1.127
| BOC | Academic Block |  | BMS | Bacnet Windows Controller |  | East and West Windows |  | 10.99.1.128
| BOC | Tudor Hale | 2nd Floor Plantroom Vent Plant | BMS | IQ3 |  | BOC-SARC2-C22 |  | 10.99.1.129 |  | 00:10:70:00:85:5D
14 | BOC | Tudor Hale | 2nd Floor Plantroom Wet Plant | BMS | IQ4 | N/A | BOC-SARC1-C22 |  | 10.99.1.130 | 57 | 00:10:70:1B:2E:F4 | 10.99.1.0/24 | 10.99.1.252
| BOC | Mitre Lecture Theatre | Mitre Lecture Theatre AHU | BMS | IQ4E |  | BOC-Mitre-Theatre-AHU |  | 10.99.1.131
| BOC | Mitre Lecture Theatre | Mitre Lecture Theatre | BMS | IQVIEW-4-S |  |  |  | 10.99.1.132
| BOC | Chapel | Chapel Boiler Room | BMS | IQ4E |  | Chapel Blr-Rm |  | 10.99.1.133
| BOC | Chapel | Chapel Boiler Room | BMS | IQVIEW-4-S |  |  |  | 10.99.1.134
| BRC | [7 empty] | 10.99.1.135
| BRC | Reserved For Future | [6 empty] | 10.99.1.136
| BRC | Reserved For Future | [6 empty] | 10.99.1.137
| BRC | Reserved For Future | [6 empty] | 10.99.1.138
| BRC | Mordington House | Mordington House | BMS | IQ4E | TREND_18_74_26 | BRC-Mordington Hse |  | 10.99.1.139 |  | 00:10:70:18:74:26 |  | 10.99.1.252
30 | BRC | LRC | Boiler House | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.140 |  | 00:17:4A:81:D4:C0 |  | 10.99.1.252
17 | BRC | St Michaels | Switchroom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.141 |  | 00:17:4A:81:D4:C1 |  | 10.99.1.252
20 | BRC | The Dome | Switchroom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.142 |  | 00:17:4A:81:D4:BE |  | 10.99.1.252
24 | BRC | John Parry | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.143 |  | 00:17:4A:81:D4:BA |  | 10.99.1.252
26 | BRC | BMITS | Theatre LTHW Plt Rm | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.143 |  | 00:17:4A:81:D8:EF |  | 10.99.1.252
31 | BRC | Mordington House | LTHW Plt Rom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.145 |  | 00:17:4A:81:D4:B9 |  | 10.99.1.252
32 | BRC | Dining Hall | LTHW Plt Rom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.146 |  | 00:17:4A:81:D7:9D |  | 10.99.1.252
33 | BRC | Barbara Smith Block 1 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.147 |  | 00:17:4A:81:D4:C3 |  | 10.99.1.252
34 | BRC | Barbara Smith Block 2 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.148 |  | 00:17:4A:81:D4:C5 |  | 10.99.1.252
35 | BRC | Barbara Smith Block 3 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.149 |  | 00:17:4A:81:D4:C2 |  | 10.99.1.252
36 | BRC | Barbara Smith Block 4 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.150 |  | 00:17:4A:81:D4:BB |  | 10.99.1.252
37 | BRC | Barbara Smith Block 5 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.151 |  | 00:17:4A:81:D4:BC |  | 10.99.1.252
38 | BRC | Barbara Smith Block 6 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.152 |  | 00:17:4A:81:D4:C6 |  | 10.99.1.252
39 | BRC | Barbara Smith Block 7 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.153 |  | 00:17:4A:81:D5:4E |  | 10.99.1.252
40 | BRC | Barbara Smith Block 8 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.154 |  | 00:17:4A:81:D4:BD |  | 10.99.1.252
41 | BRC | Barbara Smith Block 9 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.155 |  | 00:17:4A:81:D4:C3 |  | 10.99.1.252
42 | BRC | Barbara Smith Block 10 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.156 |  | 00:17:4A:81:D4:BF |  | 10.99.1.252
43 | BRC | Barbara Smith Block 11 | Electrical Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.157 |  | 00:17:4A:81:D4:C4 |  | 10.99.1.252
29 | BRC | LRC | Boiler House | Metering | TONN for Energy Metering | N/A | BRC Metering |  | 10.99.1.158 | 224 |  |  | 10.99.1.252
| BOC | SARC Tudor Hale | Store Room | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.159 |  |  |  | 10.99.1.252
| BOC | LRC | Electrical Switchroom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.160 |  |  |  | 10.99.1.252
| BOC | Sport Dome | Store Room | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.161 |  |  |  | 10.99.1.252
| BOC | New Hall | Electrical Switchroom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.162 |  |  |  | 10.99.1.252
| BOC | Dining Hall | Electrical Switchroom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.163 |  |  |  | 10.99.1.252
| BOC | Kitchen | Office Electrical Cupboard | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.164 |  |  |  | 10.99.1.252
| BOC | Bishop Story | Electrical Switchroom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.165 |  |  |  | 10.99.1.252
| BOC | Bishop Wilfrid | Electrical Switchroom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.166 |  |  |  | 10.99.1.252
| BOC | Bishop Andrewes | Electrical Switchroom | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.167 |  | E |  | 10.99.1.252
| BOC | Laundry (Bishop Story) | Store Room | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.168 |  |  |  | 10.99.1.252
| BOC | SARC Tudor Hale Extension | Therapy Room Riser | Metering | Socomec Diris A40 | N/A | N/A |  | 10.99.1.169 |  |  |  | 10.99.1.252
| BRC | Tech Park | BRC-TechPark-MCC1 | BMS | IQ4E | TREND_16_21_86 | BRC-TechPark-MCC1 |  | 10.99.1.170 |  | 00:10:70:16:21:86 |  | 10.99.1.252
| BRC | Tech Park | BRC-TechPark-MCC1 | BMS | SIP | SIP_MCP1Meters | vIQ's=1 |  | 10.99.1.171 |  | 00:13:48:03:14:10 |  | 10.99.1.252
| BOC | Reserved For Future | [6 empty] | 10.99.1.172
| BRC | Tech Park | BRC-TechPark-MCC2 | BMS | IQ4E | TREND_14_7A_6F | BRC-TechPark-MCC2 |  | 10.99.1.173 |  | 00:10:70:14:7a:6f
| BRC | Tech Park | BRC-TechPark-MSTP | BMS | IQ4E | TREND_0E_63_6A | BRC-TechPark-MSTP |  | 10.99.1.174 |  | 00:10:70:0e:63:6a
| BOC | Reserved For Future | BRC-TechPark-AHU2 | BMS | Siemens Controller |  | AHU2 - STAGE2 |  | 10.99.1.175
| BOC | Reserved For Future | BRC-TechPark-AHU3 | BMS | Siemens Controller |  | AHU3 - SOUTH WING |  | 10.99.1.176
| BOC | Reserved For Future | BRC-TechPark-AHU4 | BMS | Siemens Controller |  | AHU4 - NORTH WING |  | 10.99.1.177
| BRC | Tech Park | BRC-TechPark-MCC3 | BMS | IQ4E | TREND_15_5D_F0 | BRC-TechPark-MCC3 |  | 10.99.1.178 |  | 00:10:70:15:5d:f0
| BOC | Reserved For Future | BRC-TechPark-AHU5 | BMS | Siemens Controller |  | AHU5 - REPLACEMENT |  | 10.99.1.179
| BOC | Reserved For Future | BRC-TechPark-AHU6 | BMS | Siemens Controller |  | AHU6 CDIO 1 |  | 10.99.1.180
| BRC | Tech Park | BRC-TechPark-MCC4 | BMS | IQ4E | TREND_14_77_6A | BRC-TechPark-MCC4 |  | 10.99.1.181 |  | 00:10:70:14:77:6a
| BRC | Tech Park | BRC-TechPark-MCC5 | BMS | IQ4E | TREND_15_60_DB | BRC-TechPark-MCC5 |  | 10.99.1.182 |  | 00:10:70:15:60:db
| BRC | Tech Park | BRC-TechPark-MCC5 | BMS | SIP | SIP_MCP5Meters | vIQ's=1 |  | 10.99.1.183 |  | 00:13:48:03:14:0f
| BRC | Tech Park | BRC-TechPark-MCC5 | BMS | SIP | SIP_MCP5SDamper | vIQ's=1 |  | 10.99.1.184 |  | 00:13:48:03:4a:1b
| BRC | Tech Park | BRC-TechPark-MCC6 | BMS | IQ4E | TREND_15_5B_6A | BRC-TechPark-MCC6 |  | 10.99.1.185 |  | 00:10:70:15:5b:6a
| BOC | Reserved For Future | [6 empty] | 10.99.1.186
| BOC | Reserved For Future | [6 empty] | 10.99.1.187
| BOC | Reserved For Future | [6 empty] | 10.99.1.188
| BOC | Reserved For Future | [6 empty] | 10.99.1.189
| BOC | Reserved For Future | [6 empty] | 10.99.1.190
| BOC | Reserved For Future | [6 empty] | 10.99.1.191
| BOC | Reserved For Future | [6 empty] | 10.99.1.192
| BOC | Reserved For Future | [6 empty] | 10.99.1.193
| BOC | Reserved For Future | [6 empty] | 10.99.1.194
| BOC | Reserved For Future | [6 empty] | 10.99.1.195
| BOC | Reserved For Future | [6 empty] | 10.99.1.196
| BOC | Reserved For Future | [6 empty] | 10.99.1.197
| BOC | Reserved For Future | [6 empty] | 10.99.1.198
| BOC | Reserved For Future | [6 empty] | 10.99.1.199
16 | BRC | St Michaels | St Michaels | BMS | EINC | N/A | ST MICHAELS |  | 10.99.1.200 |  | 00:10:70:03:01:f5 | 10.99.1.0/24 | 10.3.8.252
10.99.1.201
18 | BRC | Longbrook House | Longbrook House | BMS | IQ3 | TREND_0C_2F_F2 | BO12-MCC1-BLR-HWS |  | 10.99.1.202 |  | 00:10:70:0c:2f:f2 | 10.99.1.0/24
19 | BRC | The Dome | The Dome | BMS | IQ3 | TREND_09_06_12 | BO32-MCC1-BLR-PMP |  | 10.99.1.203 |  | 00:10:70:09:06:12 | 10.99.1.0/24
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.204
21 |  | Assembly Hall | Assembly Hall | BMS | IQ3 | TREND_0C_23_36 | BO27-MCC1-BLR-HWS |  | 10.99.1.205 |  | 00:10:70:0c:23:36 | 10.99.1.0/24
10.99.1.206
23 | BRC | John Parry | John Parry | BMS | IQ3 | TREND_0C_68_75 | BO25-MCC1-BLR-HWS |  | 10.99.1.207 |  | 00:10:70:0c:68:75 | 10.99.1.0/24
25 | BRC | BMITS | BMITS | BMS | IQ3 | TREND_0B_5C_01 | BO24-MCC1-BLR-HWS |  | 10.99.1.208 |  | 00:10:70:0B:5C:01 | 10.99.1.0/24
27 |  | Arran House | Arran House | BMS | IQ3 | TREND_0C_68_77 | BO21-MCC1-BLR-PMP |  | 10.99.1.209 |  | 00:10:70:0c:68:77 | 10.99.1.0/24
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.210 |  | Spare
28 | BRC | LRC | Boiler House | BMS | IQ3 | TREND_0D_03_F4 | BO LRC-MCC1-BLR-PMP |  | 10.99.1.211 |  | 00:10:70:0d:03:f4 | 10.99.1.0/24
44 | BRC | LRC Metering SIP+ | LRC Boiler Room Panel | BMS | SIP |  |  |  | 10.99.1.212 |  | a0:c5:f2:e0:1a:9e
45 | BOC | Springfield |  | BMS | IQView 8 | TREND_08_6E_5C | Springfield IQVIEW8 |  | 10.99.1.213 |  | 00:10:70:08:6e:5c
46 | BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.214
47 | BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.215
48 | BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.216
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.217
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.218
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.219
| BRC | Reserved For Future |  | BMS | Used by something |  |  |  | 10.99.1.220
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.221
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.222
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.223
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.224
| BRC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.225
| BOC | Ashling | Ashling | BMS | SIP (Mbus) |  |  |  | 10.99.1.226
| BOC | Springfield | Springfield | BMS | SIP (Modbus) |  |  |  | 10.99.1.227
| BOC | Arundel | Arundel | BMS | SIP (Modbus) |  |  |  | 10.99.1.228
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.229
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.230
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.231
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.232
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.233
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.234
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.235
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.236
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.237
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.238
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.239
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.240
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.241
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.242
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.243
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.244
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.245
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.246
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.247
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.248
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.249
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.250
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.251
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.252
| BOC | Reserved For Future |  | BMS |  |  |  |  | 10.99.1.253