## specification
REF | WORK CLAUSE | APPX QTY | UNIT | RATE | PRICE
GF CHILGROVE
GENERAL AND PREPATION WORKS
| NOTE 1: The Contractor is to provide all necessary plant and safety equipment as necessary and as appropriate during the works operation to ensure safe operational working and for FULL and COMPLETE protection of the work area and ALL other areas below, adjacent and surrounding this area for the duration of the works. | 0 | 0 | ITEM | 0
| NOTE 2: The contractor is to provide all necessary items for all works, whether specifically described or not, to properly and compliantly complete all aspects of the work in connection with all those items as detailed below and to the approval of the PM. | 0 | 0 | ITEM | 0
PART 1 - GF Study bedroom and ensuite
1 | Dismantle, take down, disconnect and remove and/or demolish where appropriate all areas associated with the works in the area as indicated, including all toilet pans and cisterns, showers, basins, partitions, suspended ceilings, partitions dividing each room, boxings etc and all other items in connection with this work all as indicated whether specifically mentioned or not. Clear and cart away from site all debris and waste materials. | 0 | 0 | ITEM | 0
2 | Isolate where appropriate, protect and retain/cap off where appropriate and remove to the source of connection where appropriate all waste and drainage sections, all Hot & Cold feeds,and to all existing other services where these are to remain or altered & whether these are specifically mentioned or not. Remove all redundant services either directly or associated with this work and discard debris off site; protect those to be retained. Properly dispose all redundant items off site. | 0 | 0 | ITEM | 0
3 | Prepare whole area ready for new works and fittings, including removal of and priming to floor coverings and ceilings to be installed or retained. Fill in all deficiencies ready for decorative surfaces to be applied all to the approval of the CA. | 0 | 0 | ITEM | 0
4 | To all areas as indicated on drawing and where not previously mentioned remove all blockwork walls, textured coatings, wall finishes, fixtures and finishes, and forming and reforming fire breaks above or below ceiling lines and to the new partitions or existing where appropriate, and block up or form new access openings including all necessary temporary and permanent supports including appropriately sized lintels etc to entrances and division of rooms. Ensure that ALL fire protection is maintained as existing and appropriate to current regulations. | 0 | 0 | No | 0
5 | Take down and make good all mechanical installation where appropriate ready for new connections to be installed. Allow for stripping out pipework 'dead legs' where this can be isolated back to the main connection or adjacent riser. Properly dispose all debris off site. | 0 | 0 | ITEM | 0
6 | Take back surface to original blockwork and prepare all walls leaving smooth ready for new finishes to be applied. Properly dispose all debris off site where indicated on the drawings | 0 | 0 | ITEM | 0
7 | Carefully remove ALL toilet roll holders and other similar fixtures and fittings including , automatic flush systems and other similar items and set aside ready for supplier/client collection and notify the CA of any breakages. The contractor is to allow for reinstallation of these items including a dispenser per toilet and associated items and to properly discard and dispose those items not to be retained. | 0 | 0 | ITEM | 0
8 | Correctly & properly isolate and cut off as necessary all items for electrical connections ensuring the work area is 'DEAD' from any 'LIVE' cables or feeds. Carefully remove light fittings , and all other electrical fixtures and fittings and set aside for reuse where directed ,notify the CA of any breakages. Discard all other redundant items properly off site. | 0 | 0 | ITEM | 0
9 | Remove and isolate all other redundant or to be altered services associated with these works but outside the immediate work area such as fire detection/sounders, emergency lighting, entry systems and other similar services, isolate accordingly at the main distrubution point whether specifically mentioned or not and dispose waste off site. Leave connections suitable and ready for reinstallation for new or reuse fittings. | 0 | 0 | ITEM | 0
10 | Remove all signage and those that can be reused set aside for reuse; all others discard to the approval of the CA. | 0 | 0 | ITEM | 0
11 | Erect ALL protection to ALL areas where necessary to separate the work area, including ALL barriers to ALL areas. Erect protective hoarding and an 'air lock' arrangement around the work area to prevent dust and excessive noise to escape to the adjacent dnace studios and office area including all necessary temporary support ensuring protection for the whole area is maintained as required. | 0 | 0 | ITEM | 0
12 | Carry out Building Control and CA witnessed drain tests during the contract. Both air pressure testing during pipe laying and water testing on completion of all works are to be carried and approved and passed by all authorities before acceptance by the CA. | 0 | 0 | ITEM | 0
GENERAL REFURBISHMENT AND FORMATION WORKS
13 | Remove walls as indicated on the drawings,approximately 150mm(w) and 4750 mm(L) of wall to areas as shon on the plans, make good all floors, walls and ceiling deficiencies and leave ready for decoration | 9.5 | m | ITEM | 0
14 | To blockwork walls Apply minimum two setting coats and make up deficiencies accordingly to new & existing work from existing surfaces and apply set finishing coat of plaster finish to all new work within all areas of existing wall surfaces, trowelled to a smooth finish, and leave ready for decoration. | 0 | m2 | 0 | 0
15 | Make good and appropriately prepare, including priming and alike, all surfaces to all areas ready for installation of new finishes and decorative surfaces. Replaster or re-render & set if required. Make good all deficiencies and blemishes ready for finished surfaces to be applied and for decoration. | 0 | 0 | ITEM | 0
16 | Construct in 75mm thick lightweight blocks to new partitions, as indicated on the drawing to form new rooms .approximately 5600 mm (L) for each flat including forming oppenings ready for new softwood doors+frames All properly tied in and securley fixed to existing surfaces and walls and stabilising any end post and take up to ceiling line and properly fixed to soffit of floor above. Two coat render minimum and set to finish to all new wall surfaces and leave ready to accept new decorations. | 11.2 | 0 | ITEM | 0
17 | Form new openings as indicated on the drawings to all new and existing work ready for new 30minutes fire rated doors minimum clear wirth 900 mm at standard height all to include correct support (any lintels to structural engineer design)and finish with new SW timber linings accordingly where necessary all prepared, knotted and primed to all surfaces all as indicated on the drawing, all properly tied in and securley fixed to new & existing surfaces and walls and stabilising any end post and take up and properly fixed to soffit of floor above as required. Prime and paint with mould resistant masonry paint finish to all masonry wall surfaces or primer, plaster base and setting coat to plasterboard finishes and leave ready to accept new decorations. | 0 | 0 | ITEM | 0
18 | Supply and install and hang new doors to new door linings, to include new 'blank' head sections above the doors where appropriate and indicated all to include appropriately sized sections and supports to ½ hour FR specification, complete with all furniture and signage, including self closing devices, hinges, leaver handles, push plates, kick plates (approx 300mm high) style and colour to match existing. Locks and barrels to be removed from existing doors and reused in new. NOTE: to entrances door to accessible bedrooms push plates and automatic openers are to be supplied and installed. | 0 | ITEM | 0 | 0
i | *Type 01: Door set and frame for flat entrance :Door size 920 mm w x 2040 mm h - to match existing x 38mm d (min 900mm Clear opening width) automatic swipe card access externally and push button opening internally with beacon and sounder to corridor connected to bathroom alarm | 2 | ITEM | 0 | 0
ii | *Type 02: Door set and frame for bathroom :Door size 920 mm w x 2040 mm h - to match existing x 38mm d (min 900mm Clear opening width) with assisted opener. | 2 | ITEM | 0 | 0
19 | Using moisture resisitant MDF with laminate backing suitable for shower and washroom areas, form new pipe run ducts to enclose ALL pipework as appropriate to ALL areas where pipe runs are 'exposed' as directed by CA. | 16 | m2 | 0 | 0
20 | Disabled Shower and WC - Document Pack Part 'M' WC, shower, handbasin, rails and all associated items to be provided all as specified to include two additional horizontal and vertical hand rails and an additional 'drop down' handrail. Locations as on the drawings. Colour of all hand/grab rails and other fittings to be slate grey (colours to be confirmed with CA before ordering). | 2 | No. set | 0 | 0
21 | To existing ensuites to be converted to store rooms, remove all sanitary equipment, cut off and cap all unused plumbing pipes, and replace the floor covering with carpet to match corridor flooring, making it good all srufaces, walls and ceilings and decorate internally. Reverese door swings as needed | 4 | ITEM | 0 | 0
22 | Shelving in new store rooms to be 3 levels of slatted timber shelving on 25 x 38mm battens fixed at minimum 750mm vertical spacing | 4 | ITEM | 0 | 0
23 | TOTAL FOR GENERAL RECONSTRUCTION AND FORMATION WORKS |  |  |  | 0
INTERNAL FINISHES
24 | To all ceiling areas as required supply and install new MF ceiling taoped and jointed, with moisture resistance suitable for shower areas and high humidity locations to all internal areas as indicated on the drawing all fixed strictly in accordance with manufacturers instructions. Depth of ceiling to cover ductworks and other services. Contractor to specify products to approval of CA. | 0 | ITEM |  | 0
25 | To all rooms supply and install 100mm C shaped coving to ceiling/wall juction to match existing, fixed in accordance with manufactuirers instrcutions. Leave read for decoration | 29 | lm | 0 | 0
26 | To all exposed ceiling areas, make up deficiencies accordingly to new & existing work from existing , and leave ready for decoration. | 0 | 0 | 0 | 0
27 | To accessible bathrooms as required, either alter existing screed levels or supply and lay new self levelling flooring compound to all areas including provision for damp proof membrane (DPM) to prevent moisture rising from the ground. Additionally, ventilation of the void beneath the floor if needed to prevent moisture buildup and ground gas issue. Leave fininshes to all areas flat and ready to accept new floor covering approximately 8.5 m² for each room. Supply and lay new Polyflor Polysafe Quattro pur (colour:Sea spray5763) to all shower and WC areas (ensure edges, joints and floor gullies are sealed), to suitable falls to shower floor gully as indicated on the drawing all fixed strictly in accordance with manufacturers instructions. | 17 | m² | 0 | 0
28 | Supply and lay new Polyflor Polysafe Quattro pur(colour:Sea spray5763) to all shower and WC areas (ensure edges, joints and floor gullies are sealed), ensure suitable fall to shower floor gully as indicated on the drawing all fixed strictly in accordance with manufacturers instructions. Skirting to be cap and cove to all bathroom areas | 17 | m² | 0 | 0
29 | As required, Supply and lay new self levelling flooring compound to all areas where walls have been removed, and to any other areas as needed, leave flat and ready to accept new floor covering for the 2No bedroom and corridors approximately 12.50 m² each room. | 25 | m² | 0 | 0
30 | Supply and lay floor carpet tiles (Burmatex Ballance collection - grid - Steel effect - 35406) for the 2No bedroom approximately 12.50 m² each room, and as indicated on the drawing all fixed strictly in accordance with manufacturers instructions. | 25 | m² | 0 | 0
31 | To bedroom and hallways supply and install 100mm bullnose skirting boards on all sides of the new wall to match existing, ensuring secure attachment and proper finishing painted to match existing | 29 | lm | 0 | 0
32 | Provide and install new or make up existing where necessary all fire breaks in new/existing partitions to ALL areas to achieve a 1 hour rating whether specifically mentioned or not (including between floors) to be finished in two layers of plasterboard complete with two coats plaster set finishes or masonry fill with fire rated cover fillets and foam fill where appropriate, and leave ready for decoration where below ceiling line. | 0 | 0 | 0 | 0
33 | Reinstall new to all bathrooms all set aside fixtures and fittings such as soap dispensers and toilet roll holders to the University requirements and alike. | 2 | Sets | 0 | 0
34 | Supply and lay floor carpet tiles to corridor areas where walls have been moved and/or removed. Colour and type to match existing as closely as possible. All fixed strictly in accordance with manufacturers instructions. | 5 | m² | 0 | 0
35 | TOTAL FOR INTERNAL FINISHES |  |  |  | 0
ELECTRICAL WORKS
36 | Reinstall set aside LED lighting to all new areas ensure lighting to ensuite is suitably rated for shower areas . lights to be surface fixed to ceiling complete with appropriate switching including PIR detection as indicated on the drawing all fixed strictly in accordance with manufacturers instructions - minimum of 300 lux at 1.00m high from floor level. | 0 | ITEM | 0 | 0
37 | Supply and install new 13a electrical fused spurs as required with flex conduit to ensure 'secret' connections to each new kitchen appliances, electric radiator ,towel rail and Disabled shower for shower units, and at high level for door openers as described and as indicated on the drawing all fixed strictly in accordance with manufacturers instructions. Supply and install and connect additional flex outlet where 'secret' fixings are not possible. | 8 | 0 | ITEM | 0
38 | Supply and install 03 new double "13a electrical sockets" to each study room area as indicated on the drawing all fixed strictly in accordance with manufacturers instructions and latest regulations. Sockets to be either installed into existing DADO trunking or at same height (appr 850mm above FFL) chased through walls | 6 | ITEM | 0 | 0
39 | Reinstate and relocate all existing fire smoke head detectors and supply and add to the existing system new smoke heads, including beacon sounders to each habital room (not including the Stores or Cleaners) where necessary to ensure that all areas are fully and appropriately covered to meet current requirements. | 0 | 0 | ITEM | 0
40 | Install set aside existing heated towel rail fixed to wall in bathroom as location on the drawing - to CA approval. Connect to fused spur and commission | 2 | 0 | ITEM | 0
41 | Install set aside existing bedroom electric radiator and meter fixed to wall as location on the drawing, to CA approval. Connect to fused spur and commission | 2 | 0 | ITEM | 0
42 | Supply and install 1.No flashing beacon above entrace door to bedroom connected to the accessable bathroom alarm system to each room | 2 | 0 | ITEM | 0
43 | Supply and install 1.No emergency pull cord system to each accessible bathroom connected to beacon as above | 2 | 0 | ITEM | 0
44 | Supply and install 2.No push button automatic door opener systems. One to door to flat and one to door to accessible bedroom in each flat, manufacturer to be confirmed by term contractor. Term contractor for these items is G & T Door Access Solutions E: info@gtdoors.co.uk tel: 0800 5003021 | 2 | 0 | ITEM | 0
45 | Reinstate and relocate all other existing service supplies such as door controls and security detection & system etc, reposition where necessary and recommission on completion as well as all other supplies strictly in accordance with the latest regulations, to the approval of building control and the CA. Ensure that all areas are fully and appropriately covered to meet current requirements. | 0 | 0 | ITEM | 0
46 | Allow for relocation of spurs and connections for electric raditiors in 2 no. kitchens | 2 | 0 | ITEM | 0
47 | TOTAL FOR ELECTRICAL WORKS |  |  |  | 0
PLUMBING AND HEATING WORKS
48 | Supply and install to each wetroom,complete with all necessary connections for supply water and waste discharge to existing to ensure correct running of the appliances for the following sanitary ware and other fixtures to locations indicated on the drawings all with appropriate mountings, fixtures, taps, waste outlets & fittings and as described and indicated on the drawing all fixed strictly in accordance with the appropriate regulations and manufacturers instructions. | 0 | 0 | ITEM | 0
i | Doc M pack Toilet pan and cistern | 2 | ITEM | 0 | 0
ii | Doc M pack Wash Hand Basin | 2 | ITEM | 0 | 0
iii | Doc M pack Grab Rail pack - slate grey TBA | 2 | ITEM | 0 | 0
iv | Wet Room Shower to Disabled room plus collapsable 'wet' chair | 2 | ITEM | 0 | 0
49 | Take out all renduntant service supplies, whether specifically mentioned or not, to ensure 'dead legs' are removed in their entirity to all service connections including all isolation of supply services. Adapt existing syatem to supply Hot & Cold water to the taps and cold water to toilet cistern - ensure that any thermostatic mixing devices are allowed for as necessary. | 0 | 0 | ITEM | 0
50 | Disconnect, drain down remove and reposition to new location and reconnect and recommission all previously disconnected waste and supply services, and all water units, including all pipework adjustments to all areas as shown on the drawing | 0 | 0 | ITEM | 0
51 | Supply and install new connections into existing waste stack in store cupboard to wash hand basin ,WC and shower included suplly and waste to suitable falls in location as shown in the drawings. | 0 | 0 | ITEM | 0
52 | Allow to run a new shower waste through the void under the block and beam floor and connect gully drain to existing foul drain. Blocks to be locally cut or removed as required to install new pipework with appropriate support. All pipework falls to meet building regulations guidance, and to approval of CA and building control inspector.' | 0 | 0 | ITEM | 0
53 | Supply and install new connexion and waste in kitchen to suitable falls for new adjustable height sink and bassin as shown on the drawing.connexion to be from existing kitchen supply and waste | 0 | 0 | ITEM | 0
54 | TOTAL FOR PLUMBING AND HEATING WORKS |  |  |  | 0
MECHANICAL WORKS
55 | To all bathrooms , extend existing mechanical extracts system. to suit new locations as specified on drawings. Ensure all new extraction to discharge correctly and be fully compliant with current regulations . Provide new ducts, connections and ceiling grilles as necessary and commission to ensure that all extraction is running correctly and not less than 15 litres per second (l/s) extraction to CA approval.builders work in connection to include for boxing in duct works running through the store cupboard with two skins of plasterboard. | 0 | ITEM | 0 | 0
| TOTAL FOR MECHANICAL WORKS |  |  |  | 0
DECORATION WORKS
Provide the following decoration as specified
56 | To all bathrooms area, apply one mist coat, one base coat and two full coats of emulsion paint suitable for commercial washroom areas in Pure Brilliant White (Dulux Easycare Bathroom soft sheen or similar CA approved) to be confirmed to all walls of the toilets, study rooms, disabled facility, and other areas as listed on the drawing. | 60 | m2 | ITEM | 0
57 | Supply and install Altro Whiterock wall designs 1200 W x 2500 H (to suit ceiling height) Colour Warm Elegance 9917 to all exposed sides of accessible shower, and seal all edges with waterproof and mould resistant sealant fitted in strict accordance with manufacturers instructions | 4 | ITEM | 0 | 0
58 | To all timber work including skirting and architraves to and 'entrance/access' doors and other rooms and alike. Prepare surface, fill in and rub down to a smooth finish and apply knotting, priming coat, two undercoats and two satin coats in Natural Slate Grey (Dulux), all applied by brush | 70 | lm | ITEM | 0
59 | Supply and install mirrors to each new accessible bathroom. 1 no mirror above handbasin to be approx 450 mm w X 900 mm H set at minimum 900 from FFL. All in strict accordance with manufacturers instructions. Final location to CA approval | 2 | ITEM | 0 | 0
60 | Supply and install mirrors to each new accessible bathroom. 1 no mirror to wall to be approx 600 mm w X 900 mm H set at minimum 680 from FFL. All in strict accordance with manufacturers instructions. Final location to CA approval | 2 | ITEM | 0 | 0
61 | To bedrooms ,apply one mist coat, one base coat and two full coats of emulsion paint suitable for high traffic areas in light grey (Dulux 75GY 81/005 (Matt) ,similar CA approved) to all walls, and exposed sides and any other areas | 60 | m2 | ITEM | 0
62 | To corridor and kitchen wall faces connected with works only, apply one mist coat, one base coat and two full coats of emulsion paint suitable for high traffic areas in coloured matt emulsion to match existing colour to be CA approved) to all walls, and exposed sides and any other areas | 12 | m2 | ITEM | 0
63 | To all new and altered ceilings in conenction with the works, apply one mist coat, one base coat and two full coats of emulsion paint in Pure Brilliant White (Dulux matt or similar CA approved) and other areas as listed on the drawing. | 40 | m2 | ITEM | 0
64 | To new timberwork such as skirtings, architraves etc to corridor and kitchen,apply one mist coat, one base coat and two full coats of paint suitable for high traffic areas in coloured eggshell to match existing colour to be CA approved) to all exposed sides and any other areas | 16 | lm | ITEM | 0
65 | TOTAL DECORATION WORKS |  |  |  | 0
PART 2 - GF KITCHEN
GENERAL REFURBISHMENT AND FORMATION WORKS
66 | Alter and remove existing kitchen units as required to prpovide space for adjustabel height cooker hob (minmum 600mm wide) | 0 | 0 | ITEM | 0
67 | Supply and install of an adjustable height desk with wood finishes (1400mmx800mmx900mm), including a 1.5 bowl reversible stainless steel sink (1004mm x 500mm), flexible connections, and a Swirl Divine Chrome tap(or similar approved), all designed for accessibility. All connections and to be to fitted in accordance with manufacturers instructions, and to CA approval. The details are shown as in appendix photo | 0 | Lm | ITEM | 0
68 | Supply and install a cooker hob, height to be agreed as suitable for people with wheelchair, with secure connections installed underneath. A retractable worktop will be supplied and installed underneath the hob specifically designed to enhance kitchen accessibility. All to be to fitted in accordance with manufacturers instructions, and to CA approval.The details are shown as in appendix photo. | 0 | Lm | ITEM | 0
69 | Allow for supply and installation of boxing-in for all new fixed pipework in the kitchen, ensuring a neat and seamless finish, makde good and painted to match existing, wioth skitrting if required. | 4 | Lm | ITEM | 0
70 | Disconnect, drain down remove and reposition to new location and reconnect and recommission all previously disconnected waste and supply services, and all water units, including all pipework adjustments to all areas as shown on the drawing | 0 | 0 | ITEM | 0
71 | Supply and install new connections into existings waste to new adjustable height sink included supply and waste to suitable falls in location as shown in the drawings. | 0 | 0 | ITEM | 0
72 | Allow for relocation of existing kitchen electric wall fixed radiators to new locations within the kitchen, including all electric spur connections | 2 | 0 | ITEM | 0
| TOTAL KITCHEN WORKS |  |  |  | 0
PROVISIONAL SUMS
Attendance to other 'specialist' trades
73 | Allow Provisional Sum to attend other 'specialist' trades for taking down and reinstalling 'specialist' equipment cutting holes, chases and alike. | 0 | 0 | ITEM | 500
| PROFIT & ATTENDANCE at the rate of % | 0 | 0 |  | 0
74 | Allow Provisional Sum for the engagement of Building Control for approving the works as work proceeds to include contact and organisation of visits and alike to the approval of the Project Manager all as directed. | 0 | 0 | ITEM | 1500
| PROFIT & ATTENDANCE at the rate of % | 0 | 0 |  | 0
75 | TOTAL FOR PROVISIONAL ITEMS |  |  |  | 2000
COLLECTION:
| Preliminaries (Contractor to enter here >>>>>>) |  |  |  | 0
Part 1 - Ground Floor Study rooms
| General & Preparation Works |  |  |  | 0
| General Reconstruction & Formation Works |  |  |  | 0
| Internal Finishes |  |  |  | 0
| Electrical Works |  |  |  | 0
| Plumbing & Heating Works |  |  |  | 0
| Mechanical Works |  |  |  | 0
| Decoration |  |  |  | 0
PART 2 - GF KITCHEN
| Total kitchen works |  |  |  | 0
| CONTINGENCY SUMS |  |  |  | 0
| Total Tendered Excluding VAT (Transfer to Tender Form) |  |  |  | 2000
PROVIDE DAY RATES FOR THE FOLLOWING:
| Craftsman |  |  |  | 0
| Trades |  |  |  | 0
| Labourers |  |  |  | 0
Signed:………………………………………………………………… |  | Print Name:……………………………….
For & on Behalf of:……………………………………………………… |  | Date:…………..……..…………………….