## Assets register
Bristol & Bath Sites
Site Addresses
Bridge Farm Primary School – E Dundry Road, Whitchurch, Bristol, BS14 0LL
Chandag Primary School – Chandag Road, Keynsham, BS31 1PQ
Cheddar Grove Primary School – Cheddar Grove, Bedminster Down, Bristol, BS13 7EN
Four Acres Academy – Four Acres, Withywood, Bristol, BS13 8RB
IKB Academy – 68 Bath Road, Keynsham, BS31 1SP
The Meadows Primary School – 76 Bath Road, Bitton, Bristol, BS30 6HS
Saltford C of E Primary School – Claverton Road, Saltford, Bristol, BS31 3DW
Sir Bernard Lovell Academy – North Street, Oldland Common, Bristol, BS30 8TS (Includes Sports Centre)
St. John’s C of E Primary – Charlton Park, Keynsham, BS31 2NB
Two Rivers CofE Primary School - Fairfield Way, Keynsham, Bristol, BS31 1GD
Wansdyke Primary School – School Close, Bristol, BS14 0DU
Wellsway School – Chandag Road, Keynsham, Bristol, BS31 1PH (Includes Sports Centre).
Cheddar Grove Primary School
Description | Category | Make | Model | Serial | Plant Location
3 PORT VALVE | Heating | SIEMENS | SAL81 |  | MAIN BOILER ROOM
500LITRE EXPANSION VESSEL | Heating | Jet contra flex |  |  | MAIN BOILER ROOM
Airdirt separator | Heating | DIRTYPOINT SYSTEM | CX - C SERIES | 13170 | MAIN BOILER ROOM
Control Panel | Heating |  | Visual inspection unit |  | Plant Room
DOSING POT | Heating | SMITH BROTHERS | 16 LITRES | 227 | MAIN BOILER ROOM
Expansion vessel | Heating | Varem | 10 LITRE |  | CLEANING CUPBOARD
Expansion vessel | Heating | Varem | 2 LITRE |  | NURSERY
Expansion vessel | Heating | AQUASYSTEM | 2 litre |  | NURSERY
Expansion vessel | Heating | Varem | 2LITRE |  | STAFF ROOM
Expansion vessel | Heating | ZILMET | 24 LITRES | 2506250 | TABLE STORE
Expansion Vessel | Heating |  | Jet Contra-Flex 5001 |  | Plant Room
GAS BOILER NO1 | Heating | Vaillant | VU GB 1206/5 - 5 R2 ECO TEC PLUS | 21133300100107910001005106N5 | MAIN BOILER ROOM
GAS BOILER NO2 | Heating | VAILLANT | VU GB 1206/5 - 5 R2 ECO TEC PLUS | 21133200100107910001005099N8 | MAIN BOILER ROOM
GAS BOILER NO3 | Heating | VAILLANT | VU GB 1206/5 - 5 R2 ECO TEC PLUS | 21133300100107910001005108N7 | MAIN BOILER ROOM
GAS BOILER NO4 | Heating | VAILLANT | VU GB 1206/5 - 5 R2 ECO TEC PLUS | 21133300100107910001005107N1 | MAIN BOILER ROOM
Gas Fired Boiler 1 | Heating |  | Vaillant Ecotec Plus |  | Plant Room
Gas Fired Boiler 2 | Heating |  | Vaillant Ecotec Plus |  | Plant Room
Gas Fired Boiler 3 | Heating |  | Vaillant Ecotec Plus |  | Plant Room
Gas Fired Boiler 4 | Heating |  | Vaillant Ecotec Plus |  | Plant Room
GAS FIRED WATER HEATER | Heating | TWISTER | TW1 35 - 130 G | 0727033217010V2 / | TABLE STORE
GAS SOLENOID VALVE | Heating |  | VE4080B3004 | SERIES 03 | MAIN BOILER ROOM
Gas Solenoid Valve | Heating |  |  |  | Plant Room
H/W PUMP | Heating | GRUNDFOS | UPS 15/50. BRONZE |  | TOILET CUPBOARD.
H/W PUMP | Heating | GRUNDFOS | UP 20 / 15 |  | TABLE STORE
HEATING PUMP NO1 | Heating | WILO - 3PHASE | E80/2 - 15 | 20243528 | MAIN BOILER ROOM
HEATING PUMP NO2 | Heating | WILO - 3PHASE | E80/2 - 15 | 20243528 | MAIN BOILER ROOM
PRESSURISATION UNIT | Heating | GRUNDFOS | IMMS2301 (1×230 V ) | 1335001 | MAIN BOILER ROOM
Pressurisation Unit | Heating |  | Impress |  | Plant Room
VT Heating Pump | Heating |  | Wilo |  | Plant Room
VT Heating Pump | Heating |  | Wilo |  | Plant Room
WATER HEATER | HWS | HEATRAE STADIA MULTIPOINT | 2021-03-15 | CNY10240007AN | NURSERY
WATER HEATER | HWS | HEATRAE STADIA | HOT FLO 10 | CPC141800006AN | NURSERY
WATER HEATER | HWS | HEATRAE STADIA | HOT FLO 15 | CPD182400035AN | STAFF ROOM
WATER HEATER | HWS | HEATRAE STADIA MULTIPOINT | 50/3 | CPF131400005AN | FOOD TECH
WATER HEATER | HWS | SANTON | AH 10/2.2 | CEM122300032AN | GENTS TOILET
WATER HEATER | HWS | Megaflo SYSTEMFIT / HEATRAE STADIA. | CL125S | CSG084700018EN | TOILET CUPBOARD.
WATER HEATER | HWS | HEATRAE STADIA MULTIPOINT | 50 | 113739 | CLEANING CUPBOARD
Water Heater 1 | HWS |  | Megaflo Heatrae Sadia |  | Infants Block
Water Heater 2 | HWS |  | Heatrae Mulitipoint 50 |  | Food Tech Room
Water Heater 3 | HWS |  | Heatrae Sadia Hot Flo 10 |  | Staff Room
Water Heater 4 | HWS |  | Heatrae Sadia Hot Flo 10 |  | Kitchen Modular Building
Water Heater 5 | HWS |  | Heatrae Sadia Multipoint 15 |  | Toilet Modular Building
Water Heater 6 | HWS |  | Twister |  | Old Kitchen
Water Heater 7 | HWS |  | Heatrae Sadia Multipoint 50 |  | Cleaning Cupboard
Water Heater 8 | HWS |  | Not accessible |  | Toilet Cupboard
ZONE VALVE - INFANTS CLASSROOM | Heating | ELETRO CONTRLS LTD | E16 - 24S | 831067 - 24 | MAIN BOILER ROOM
ZONE VALVE - INFANTS TOILET | Heating | ELECTRO CONTROLS LTD | E16 - 24S | 831067 - 24 | MAIN BOILER ROOM
ZONE VALVE - JUNIOR 1 | Heating | ELECTRO CONTROLS LTD | E16 - 24S | 831067 - 24 | MAIN BOILER ROOM
ZONE VALVE - JUNIOR 2 | Heating | ELECTRO CONTROLS LTD | E16 - 24S | 831067 - 24 | MAIN BOILER ROOM
Chandag Infant School
Description | Category | Make | Model | Serial | Plant Location
SYSTEM BOILER | Heating | Vaillant | VUGB806 | 21151300100107670001005053N7 | Main plantroom.
SYSTEM BOILER | Heating | Vaillant | VUGB806 | 21151300100107670001005053N6 | Main plantroom.
WATER HEATER | HWS | Megaflo | 300 i | GNX152400001AN | MAIN PLANTROOM
Expansion vessel | Heating | Mikrofil | 80 LITRES |  | MAIN PLANTROOM
Pressure set | Heating | Mikrofil | EFD | 50439 | MAIN PLANTROOM
H/W PUMP | Heating | GRUNDFOS | UP 20/30 |  | MAIN PLANTROOM
HOT WATER PRIMARY PUMPS/TWIN SET | Heating | GRUNDFOS | MAGNA1D 32/40 - 180 |  | MAIN PLANTROOM
TWIN SET | Heating | GRUNDFOS | MAGNA1D 50/80 F - 240 |  | MAIN PLANTROOM
DOSING POT | Heating | Boss |  |  | MAIN PLANTROOM
Airdirt separator | Heating | Boss |  |  | MAIN PLANTROOM
Wall Mounted Unit 1 | Air Con | Fujitsu |  |  | Hall
Wall Mounted Unit 2 | Air Con | Fujitsu |  |  | Hall
Wall Mounted Unit 3 | Air Con | Fujitsu |  |  | Hall
Condensing Unit 1 | Air Con | Fujitsu |  |  | Hall External
Condensing Unit 2 | Air Con | Fujitsu |  |  | Hall External
Condensing Unit 3 | Air Con | Fujitsu |  |  | Hall External
Wall Mounted Unit 4 | Air Con | Fujitsu |  |  | Classics Class
Wall Mounted Unit 5 | Air Con | Daikin |  |  | Otter Class
Condensing Unit 4 | Air Con | Fujitsu |  |  | Classics Class External
Condensing Unit 5 | Air Con | Daikin |  |  | Otter Class External
Heater | Electric Heaters | Dimplex |  |  | External class
Heater | Electric Heaters | Dimplex |  |  | External class
Heater | Electric Heaters | Dimplex |  |  | External class
Heater | Electric Heaters | Dimplex |  |  | External class
Chandag Junior School
Description | Category | Make | Model | Serial | Plant Location
Gas Fired Pressure Jet Burner | Heating
Gas Fired Pressure Jet Burner | Heating
Pump Set | Heating
Pump Set | Heating
Expansion Vessel | Heating
Expansion Vessel | Heating
Expansion Vessel | Heating
Pressurisation Unit | Heating
DHW Cylinder | HWS
Gas Fired DHW Heater | HWS | Andrews
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
Fan Convector Heater | Heating
IKB Studio School (Secondary)
Description | Category | Make | Model | Serial | Plant Location
Air Dirt Separator | Heating | Jet | JAD 2 + | 892044 | Plant Room
Air Handling Unit | Heat/Vent
Air Handling Unit | Heat/Vent | nuair | Q1187616-01-F-A - 1/6 | 3255118 | MAIN PLANTROOM / CRAFTS
Air Handling Unit | Heat/Vent
Air Handling Unit | Heat/Vent | nuair | Q1187616-01-F-E - 5/6 | 3255125 | PLANTROOM / CRAFTS
Air Handling Unit | Heat/Vent
Air Handling Unit | Heat/Vent
Calorifier | HWS |  |  |  | Plant Room
Cold Water Booster Set | CWS | Dutypoint systems | WX2-5040-800-AB | 8210 | Plant Room
DHW Primary pumps | HWS | Grundfos | Magna 3D32-60 180 | N/A | Plant Room
DOSING POT | Heating | JET | SIZE - 3 |  | PLANTROOM
Expansion Vessel | Heating | Reflex | Refix DE | 15p 0519 90480 | Plant Room
Expansion Vessel | Heating | Aquasystem | VAV 80 |  | Plant Room
Expansion Vessel | Heating | Reflex | Refix DE | 15p 0519 90480 | Plant Room
Gas fired Boiler | Heating | Ideal | EvoMax | ACK 20596300001347 1539 15/09/24 | Plant Room
Gas fired Boiler | Heating | Ideal | EvoMax | ACK 20596300001350 1539 15/09/24 | Plant Room
Heating Pump | Heating | Grundfos | Magna 3D32-80 180 | N/A | Plant Room
Heating Pump | Heating | Grundfos | Magna 3D32-80 180 | N/A | Plant Room
HWS Secondary Pump | Heating | Grundfos | Magna 3 25-40N 180 |  | Plant Room
Pressurisation Unit | Heating | Flamco | Midi 125D | 15533 | Plant Room
Solenoid Gas Valve | GAS | Honeywell | VE 4100A3001 |  | Plant Room
The Meadows Primary
Description | Category | Make | Model | Serial | Plant Location
Gas Boiler | Heating | Remeha | Gas 110 Eco 65 | 100010820 | Basement Boiler House
Mikrofill EFD | Heating | Mikrofill |  |  | Basement Boiler House
Heating Pump | Heating | Grunfos | Magna 3 50-60 F240 | 10007424 | Basement Boiler House
Magnetic Filter | Heating | Eclipse | BoilerMag XL |  | Basement Boiler House
Panel Controls | Heating | TESA Western | N/A | N/A | Basement Boiler House
Expansion Vessel | Heating | Smedegard | 60ltr |  | Playground Plant Room
Pressurisation Unit | Heating | Smedegard | SFS1S | 101538 | Playground Plant Room
Gas Boiler | Heating | Strebel | Q38S | P150840062 | Playground Plant Room
Heating Pump | Heating | Grundfos | UPS 32-80-180 | 52052312 | Playground Plant Room
Water Heater | Heating | IMI Waterheating | DFB25 | 917 | Playground Plant Room
Dosing Pot | Heating |  |  |  | Playground Plant Room
Gas Fired Water Heater 175 Litre | HWS | Lochinvar | LBF180 | 2001 | Kitchen Plant Room
Gas Heating Boiler | Heating | Remeha | Quinta | 2005C49314795 | Kitchen Plant Room
Electric Water Softener | Heating | Water King | WK3 |  | Kitchen Plant Room
Underfloor Heating Pump | Heating | Grundfos | UPS2 15-50/60 130 | 98334549 | Kitchen Plant Room
Underfloor Heating Manifold | Heating |  |  |  | Kitchen Plant Room
Temperature Controller | Heating |  |  |  | Kitchen Plant Room
Dosing Pot | Heating |  |  |  | Kitchen Plant Room
18 Litre Expansion Vessel | Heating | Varem | Extravarem LC | B27416483 | Kitchen Plant Room
Heating Pump Set | Heating | Smedegard | Twin Set |  | Kitchen Plant Room
Heating Control Panel | Heating |  |  |  | Kitchen Plant Room
105 Litre Expanion Vessel | Heating | Mikrofill | TOPOOBCBL | 14-000000352872 | Kitchen Plant Room
Pressurisation Unit | Heating | Mikrofill | EFD |  | Kitchen Plant Room
Underfloor Heating Manifold | Heating |  |  |  | Hall
Underfloor Heating Manifold | Heating |  |  |  | Library
Fan Coil Heater 1 | Heating |  |  |  | Class 3
Fan Coil Heater 2 | Heating |  |  |  | Class 3
Fan Coil Heater 3 | Heating |  |  |  | Class 4
Fan Coil Heater 4 | Heating |  |  |  | Class 4
Fan Coil Heater 5 | Heating |  |  |  | Class 5
Fan Coil Heater 6 | Heating |  |  |  | Class 5
Fan Coil Heater 7 | Heating |  |  |  | Staff Room
Water Heater (Electric) | HWS | Heatrae Sadia | 25Ltr |  | KS1 Boys Toilets
Water Heater (Electric) | HWS | Heatrae Sadia | 25Ltr |  | Playground Plant Room
Water Heater (Electric) | HWS | Heatrae Sadia | 100Ltr |  | Corridor outside Group Room
Water Heater (Electric) | HWS | Heatrae Sadia | 50Ltr |  | Above KS2 Boys & Girls Toilets
Saltford C of E Primary School
Description | Category | Make | Model | Serial | Plant Location
Boiler | Heating | Vaillant | Eco Tech Plus | 2.1191e+17 | Main Boiler Room
Boiler | Heating | Strebel | S-CB | 000064-41-12 | Main Boiler Room
Boiler | Heating | Vaillant | Ecotec Plus | 6005301n4 | New Extension Boiler Room
Pump | Heating | Grundfos | Magna 3D / 80/120 | 10002043 | Main Boiler Room
Calorifier | HWS | Megaflo | Indirect | GSL131000013AN | Main Boiler Room
Pump | HWS Primary | Grundfos | UPS 15-60 | 59525453 | Main Boiler Room
Pump | HWS Secondary | VS 65 EVO | 65 / 150 EVO | 60 160733 | Dab
Expansion Vessel | Heating | Boss | 18 Litre | 11052 | Main Boiler Room
Expansion Vessel | Heating | Zimlet | 130 cal-pro | 400 litre | Main Boiler Room
Fill Set |  | Mikrofill | EFD | 40687 | Main Boiler Room
Gas Alarm |  | Coster | RFG 782 |  | Main Boiler Room
Kitchen Gas Providing |  | Dungs | MAG NR 300 | 213797 IP 54 | Main Boiler Room
Pump | Heating | DAB | Evo Plus D 80220 | 80/220 | New Boiler Room
Pump | HWS Heating | DAB | EvoPlus D | 80/220 | New Boiler Room
Fill Set |  | DAB | E.sypress | IDPEE108170086 | New Boiler Room
Calorifier | HWS | Hamworthy | PS200 | 573906290-0286 | New Boiler Room
Pump | HWS Secondary | DAB | V65/150-3 Evo | 60 160733 | New Boiler Room
Expansion Vessel | HWS | Reflex | DE25 | 16R121582653 | New Boiler Room
Gas Meter |  | U16 |  |  | New Boiler Room
Water Heater | Point of Use | Ariston | 10 Litre |  | Gents Staff/visitor toilets
Water Heater | Point of Use | Ariston | 10 Litre |  | Gents Staff/visitor toilets
Water Heater | Point of Use | Heatstore | HS 15 | DJW172500038BN | Pear Classroom boys toilets
Water Heater | Point of Use | Heatstore | HS15 | DJW172500035BN | Pear Classsroom Girls Toilets
Water Heater | Point of Use | Sadia |  |  | Class ESST
Water Heater | Point of Use | Zip | RCH |  | Class JSB yr 5
Water Heater | Point of Use | Heatrae Sadia | NDP | N/A | Piano classroom boys toilets
Water Heater | Point of Use | Santon | R25 | CXF151600004AN | Piano classrooom girls toilet
Water Heater | Point of Use | Santon | NDP |  | Class AB
Water Heater | Point of Use | Santon | NDP | 2.1191e+17 | Badger Class
Condenser | Air Con | FUJITSU | AOYA36LATL | T001406 | OUTSIDE PORTAKABIN
Condenser | Air Con | MITSUBISHI | PUHZ - P5YGAA | 2C000650 | Roof area
Evaporator | Air Con | MIDEA | MS9AU-24HRFN1-QRC8W | D21225663411 | PORTAKABIN
Evaporator | Air Con | FUJITSU | ABYA36LATN | T000470 | PORTAKABIN
Evaporator | Air Con | MITSUBISHI | PLA-P5AA | 2M001432 | ICT SUITE
Condenser | Air Con | MIDEA | MOF-24HRFN1-QRC8W |  | OUTSIDE CLASSROOM
Radiator Panels with TRV valve x 30 | Heating |  |  |  | Classrooms (main block)
Fan Coil Units x 7 | Heating |  |  |  | Main hall and other rooms
Sir Bernard Lovell Academy (Secondary)
Description | Category | Make | Model | Serial | Plant Location
Cold Water Booster Pump | Water |  |  |  | Galileo Plant Room
Cold Water Booster Pump | Water | Smedegard | SFS-15 | 33904 | DT/Textiles Plant Room
Combi Boiler | Heating | Worcester |  |  | Gables
Condenser | Air Con | MITUBISHI | MUZ-SF35VE | UNKNOWN | External Unit Above IT Room
CW Storage Tank 1000x1200x2000 | Storage |  |  |  | Galileo Plant Room
Dirt Separator |  |  |  |  | Galileo Plant Room
Domestic Secondary Pump | Heating |  |  |  | Galileo Plant Room
Evaporator | Air Con | MITUBISHI | MSZ-SF35VE | 3045245 | Internal Air Conditioning Unit IT Server Room
Expansion Vessel | Water | Smedegard | 50ltr |  | DT/Textiles Plant Room
Expansion Vessel | Heating |  |  |  | Galileo Plant Room
Expansion Vessel | Heating |  |  |  | Galileo Plant Room
Expansion Vessel | Heating |  |  |  | Merlin External Plant Room
Expansion Vessel | Heating |  |  |  | Merlin External Plant Room
Expansion vessel | Heating | ZILMET | 12LITRE |  | Caretakers Base
Fan Coil Units x 70 | Heating |  |  |  | General Areas Site Wide
Gas Fired Boiler | Heating | Strebel | Q60 (DT Heating) | P06403188 | DT/Textiles Plant Room
Gas Fired Boiler | Heating | ATAG | Q38 (DT Heating) | P093640099 | DT/Textiles Plant Room
Gas Fired Boiler | Heating | Potterton | Sirius 2 WH60 (Textiles Underfloor) | 71033603 | DT/Textiles Plant Room
Gas Fired Boiler | Heating | Remeha | 310-9 eco |  | Merlin External Plant Room
Gas Fired Boiler | Heating | Remeha | 310-9 eco |  | Merlin External Plant Room
Gas Fired Boiler | Heating | Vaillant | THERMOCOMPACT 282 | 9.4826e+19 | Caretakers Base
Gas Fired Back Boiler | Heating | Baxi | 552 |  | Admin House
Gas Fired Boiler | Heating | Worcester |  |  | Merlin Small Plant Room
Gas Fired Boiler | Heating | Viesmann |  |  | Art Corridor Plant Room
Gas Fired Boiler | Heating | Worcester |  |  | Art Corridor Plant Room
Gas Fired Boiler | Heating | Remeha | 310 Eco |  | Galileo Plant Room
Gas Fired Boiler | Heating | Remeha | 310 Eco |  | Galileo Plant Room
Gas Fired Water Heater with Reillo Gas Burner | Heating | ACV | Delta |  | Galileo Plant Room
Gas Meter and Pipework | Heating |  |  |  | Galileo Plant Room
Heating Controls | Heating | Seachange |  |  | Galileo Plant Room
Heating Controls | Heating | Seachange |  |  | Merlin External Plant Room
Heating Pump | Heating |  |  |  | Merlin External Plant Room
Heating Pump | Heating |  |  |  | Merlin External Plant Room
Heating Pump | Heating |  |  |  | Art Corridor Plant Room
Heating Pump | Heating | Lowra | FLC - 40 | N/A | DT/Textiles Plant Room
Heating Pump | Heating | Lowra | Ecocinc XL 40 – 120 | 20160524 | DT/Textiles Plant Room
Mega Flow cylinder | HWS | Megaflow |  |  | Merlin Small Plant Room
Mega Flow cylinder | HWS | Megaflow |  |  | Merlin Small Plant Room
Pressurisation Unit and Expansion Vessel | Heating | Smedegard | SFS-1 | 101637 | DT/Textiles Plant Room
Pressurisation Unit | Heating | MHS | Masterfill |  | DT/Textiles Plant Room
Pressurisation Unit | Heating |  |  |  | Merlin External Plant Room
Pressurisation Unit and Expansion Vessel | Heating | Mikrofill |  |  | Galileo Plant Room
Pressurisation Unit complete with Expansion Vessel | Heating |  |  |  | Art Corridor Plant Room
Primary Twin Domestic Hot Water Pump | HWS |  |  |  | Galileo Plant Room
Pump | Heating | Grundfos |  |  | External Metal Plant Room
Sadia Heater | HWS | Mega Flow |  |  | Galileo Plant Room
Shunt Pump x 2 | Heating |  |  |  | Galileo Plant Room
Shunt Pump x 2 | Heating |  |  |  | Merlin External Plant Room
Twin Heating Circulating Pump x 2 | Heating |  |  |  | Galileo Plant Room
WATER HEATER 10 litres | HWS | ARISTON | EP - 10 - UR | 8.7707e+19 | M / 51
WATER HEATER 10 litres | HWS | HEATRAE SADIA. | MULTIPOINT | 101344 | M / 50
WATER HEATER 10 litres | HWS | Heatrae Sadia | HOTFLO | CPC091300019AN | HUB CORRIDOR
WATER HEATER 100 litres | HWS | ZIP | AQUAPOINT THREE | 4630003 | HUB CORRIDOR
WATER HEATER 7 LITRES | HWS | SANTON | A7/3 | 5109 | M 66
WATER HEATER 80 LITRES | HWS | ZIP | AQUAPOINT THREE | 3630019 | GALILEO
WATER HEATER 10LITRES | HWS | HEATRAE SADIA | HOTFLO | CPC092200035AN | HUB CORRIDOR
WATER HEATER 15 LITRES | HWS | ARISTON | EP - 15 - UR. | 8.7707e+18 | M / 37
WATER HEATER 15 LITRES | HWS | SANTON AQUALINE | AL - 15/3 | CES122800006AN | REPROGRAPHICS DEPARTMENT
WATER HEATER 30 LITRES | HWS | ARISTON | NEW EUROPOINT | 3.1003e+20 | G / 6
WATER HEATER 50 LITRES | HWS | HEATRAE SADIA. | MULTIPOINT | 103515 | G / 62
WATER HEATER. 15 LITRES | HWS | HEATRAE SADIA. | MULTIPOINT | 101161 | M / 36
WATER HEATER. 25 LITRES | HWS | ZIP HYDROBOIL | 11552 / HS015 | 2014082620009 | STAFF ROOM
WATER HEATER. 10LITRE | HWS | ZIP | CONTRACT TWO | 20436 | CARETAKERS WORKS STORE
Gas Cookers x 6 | Gas | various | Various |  | M35 Food tech
Science Lab Gas Taps x 164 | Gas |  |  |  | M12, M13, M16, M31, M32, M42, M44 & M46
Gas Proving | Gas | Various | Various |  | M12, M13, M16, M31, M32, M35, M42, M44 & M46
Sir Bernard Lovell Sports Centre
Description | Category | Make | Model | Serial | Plant Location
Calorifier x 3 | HWS |  |  |  | Sports Hall
DHW Secondary Pump | Heating |  |  |  | Sports Hall
Expansion Vessel | Heating |  |  |  | Sports Hall
External Condenser Unit | Air Con | MITUBISHI | PUHZ-RP100VHA2 | 68U03648 | PLANT ROOM ABOVE SERVER ROOM
Extract Fan complete with filler box | Heating |  |  |  | Sports Hall
Gas Fired Boiler | Heating | Remeha Quinta |  |  | Sports Hall
Gas Fired Boiler | Heating | Remeha Quinta |  |  | Sports Hall
Gas Solenoid Valve | Heating |  |  |  | Sports Hall
High Level Gas Radiant Heaters x 4 | Heating |  |  |  | Sports Hall
Internal Unit | Air Con | MITUBISHI | PKA-RP100FAL | 62A03577 | SERVER ROOM
Pressurisation Unit c/w expansion vessel x 2 | Heating |  |  |  | Sports Hall
Solar Panels x 15 | Heating |  |  |  | Sports Hall
Supply Fan | Heating |  |  |  | Sports Hall
Twin Primary HWS Heating Pump | Heating |  |  |  | Sports Hall
Twin Variable Temperature Heating Pump | Heating |  |  |  | Sports Hal
St John's CofE Primary School
Description | Category | Make | Model | Serial | Plant Location
Boiler | Heating | Remeha | Quinta Pro 115s | 1212304411130 | Plant Room
Boiler | Heating | Remeha | Quinta Pro 115s | 1212304410970 | Plant Room
Pump | Heating | Smedegard | Perfecta El Vario | 87110066 | Plant Room
Dhw Secondary Pump | HWS | Grundfos | UP15/14B | NA | Plant Room
Htg Expansion Vessel | Heating | Mikrofill | REFLEX 500LTR | 12M022990319 | Plant Room
Dosing Pot | Heating | Flamco | SS DOSING 6 |  | Plant Room
Pressurisation Unit | Heating | Mikrofill | EFD | 38340 | Plant Room
Gas Water Heater | HWS | Lochinvar | lbf180 | D05677 | Plant Room
Water Heater | Stand alone
Water Heater | Stand alone
Water Heater | Stand alone
Water Heater | Stand alone
Water Heater | Stand alone
Water Heater | Stand alone
Gas Solenoid Valve |  | Coster | EVPC/DC DN50 | GCA850
25no. Fan Convector Units |  |  |  |  | Class rooms & Corridors
8no. Radiant Heat Panels
Control Panel |  | Remeha | Quinta Pro 115s | 1212304411130 | Plant Room
Air Con | Air Con |  |  |  | Far Class Room
Wansdyke Primary School
Description | Category | Make | Model | Serial | Plant Location
Boilers 1 and 2 | Heating |  | Ideal Dietrich 230kw |  | Plant Room
Gas Fired Pressure Jet Boiler | Heating |  |  |  | Plant Room
HWS Boiler | Heating |  | LGA.75GPCE-1001 | Lochinvar | Plant Room
Heating Pump 1 | Heating |  |  |  | Plant Room
Heating Pump 2 | Heating |  |  |  | Plant Room
HWS Pump 1 | Heating |  |  |  | Plant Room
HWS Pump 2 | Heating |  |  |  | Plant Room
Pressure Set | Heating |  | Smedegard SFU 12291 |  | Plant Room
Expansion Vessel | Heating |  | CIMM AFE 300L |  | Plant Room
Control Panel | Heating |  |  |  | Plant Room
Boiler | Heating |  | REU-VR2632FFUDHD-E |  | Kitchen
6no. Fan Coil Units | Heating |  |  |  | Classrooms
3no. Fan Coil Units | Heating |  |  |  | Main Hall
Fujitsu AC Cassette Unit | Air Con |  | Fujitsu |  | Modular Building
Fujitsu AC Cassette Unit | Air Con |  | Fujitsu |  | Modular Building
Fujitsu Condenser Unit | Air Con |  | Fujitsu | AOYG14LALL R100955 | Modular Building
Fujitsu Condenser Unit | Air Con |  | Fujitsu | AOYG14LALL R100953 | Modular Building
Wellsway School (Secondary)
Description | Category | Make | Model | Serial | Plant Location
Condenser | Air Con | MITSUBIHI | MUZ-GF71VE | 5002239 | ROOF COMMS ROOM ROOF
Evaporator | Air Con | MITSUBIHI | MSZ-GF71VE | 5003245T | COMMS ROOM
Strebel Boilers with Riello 40GS Burner | Heating | Strebel | RS44MZ | 2100005456 | Lansdown Boiler Room
Strebel Boilers with Riello 40GS Burner | Heating | Strebel | RS44MZ | 219000434 | Lansdown Boiler Room
Circuit 1 Pump VT 1 | Heating | No Data |  |  | Lansdown Boiler Room
Circuit 2 Pump VT 1 | Heating | Grundfos | UPC |  | Lansdown Boiler Room
CT Pump Twin | Heating | Grundfos | UPC |  | Lansdown Boiler Room
CT Pump Twin | Heating | Grundfos | UPC |  | Lansdown Boiler Room
Shunt Pump | Heating | Wilo | TOP-S50/7 | 2080050/10W10 | Lansdown Boiler Room
HWS Pump | Heating | Smedegard | EV2-70-22 |  | Lansdown Boiler Room
Primary HWS Pump | Heating | Grundfos | UPC |  | Lansdown Boiler Room
Plate heat exchanger | Heating | Jet | UKE 8 300KW | 172 | Lansdown Boiler Room
Tank and booster | Heating |  |  |  | Lansdown Boiler Room
Fire Watch 2 | Heating | TCW Services |  |  | Science Room 1
Heating Pump | Heating | Grundfos |  |  | Science Room 1
Santon over sink heater | Heating | Santon |  |  | Science Room 1
Fire watch 2 | Heating | TCW Services |  |  | Science Room 3
Heating pump | Heating | Grundfos |  |  | Science Room 3
Sadia Express 7 over sink heater | Heating | Sadia |  |  | Science Room 3
Fire Watch 2 | Heating | TCW Services |  |  | Science Room 4
Aquapoint over sink | Heating | Santon | Aqua Point | n/a | Science Room 4
Heatrae Water heater | Heating | Heatrae |  |  | Chemistry Prep
Heatrae Water heater | Heating | Heatrae | 7 litre o/sink u/vented | A151856 | Science Prep
3kw Handi Wash | Heating |  |  |  | Science Room 2
Aqua galaxy water heater | Heating | Aqua | Galaxy | n/a | Science Room 2
Gas Proving 2 | Gas |  |  |  | Science Room 2a
Gas Proving 2 | Gas |  |  |  | Science Room 5
Sadia Water heater 25 | Heating | Sadia | Wall mounted vent | n/a | Science Room 5
Gas Proving 2 | Gas | TCW Services | Fire watch MKII | n/a | Science Room 6
Gas Proving 2 | Gas | TCW Services | Fire watch MKII | n/a | Science Room 11
Sadia water heater 25 | Heating | Heatrae Sadia | Wallmount open vent 25 litre | n/a | Science Room 11
Gas Proving 2 | Gas |  | Fire Watch MKII | n/a | Science Room 12
Sadia water heater | Heating | Santon | Rectangular | n/a | Science Room 12
Fire watch 7 | Heating | TCW Services | Fire Watch | n/a | Kitchen
Through wall extract | Heating |  |  |  | Kitchen
Through wall extract | Heating |  |  |  | Kitchen
5 litre water heater | Heating | Ariston |  |  | Lang Boiler
CONDENSER | Air Con | Mitsubishi | MU-A24WVX2 | 4000296T | Mendip Room 56
Dalair AHU supply/extract | Heating | Dalair |  |  | Lang Boiler
25 litre water heater | Heating | Heatrae Sadia |  | n/a | Gents staff toilets
MDA 25 gas meter | Heating |  |  |  | Gents staff toilets
Dedietrich DTGS2308 boiler | Heating | De Dietrich | DTGS208 | 959 | Staff room boiler cupboard
Wall kettle | Heating |  |  |  | Staff Room
Vaillent sco tech plus 618 | Heating | Vaillent |  |  | Student Support
Heatrae water heater | Heating | Heatrae |  |  | First Aid Room
Woodstock Gas Heater | Heating | Drugasar | Art 8 | n/a | Porta cabin 31
Woodstock Gas Heater | Heating | Drugasar | Art 8 | n/a | Porta cabin 31
Woodstock Gas Heater | Heating | Woodstock | 4 |  | Porta cabin 32
Woodstock Gas Heater | Heating | Woodstock | 4 |  | Porta Cabin 33 and 34
Woodstock Gas Heater | Heating | Woodstock | 4 |  | Porta Cabin 33 and 34
Woodstock Gas Heater | Heating | Woodstock | 4 |  | Porta Cabin 33 and 34
Woodstock Gas Heater | Heating | Woodstock |  |  | Porta Cabin 33 and 34
Cold Water Booster | Heating |  |  |  | Drama Stairwell
Sump Pump | Heating | jet | 1 _ 240 V |  | Mendip Plant Room
Strebel MBDLE412 boiler and Riello burners | Heating | Riello | RS34MZ | 270005302 | Mendip Plant Room
Strebel MBDLE412 boiler and Riello burners | Heating | Riello | RS34MZ | 270005596 | Mendip Plant Room
Plate exchanger | Heating | UK Exchangers | UK 8 | 10373 | Mendip Plant Room
Raytube heat exchanger | Heating |  |  |  | Mendip Room 52
Fire Watch 2 | Gas |  |  |  | Mendip Room 53
Gas Cookers | Gas |  |  |  | Mendip Room 53
Gas Cookers | Gas |  |  |  | Mendip Room 53
Gas Cookers | Gas |  |  |  | Mendip Room 53
Gas Cookers | Gas |  |  |  | Mendip Room 53
Gas Cookers | Gas |  |  |  | Mendip Room 53
Gas Cookers | Gas |  |  |  | Mendip Room 53
Extract Fan | Vent |  |  |  | Mendip Room 53
Extract Fan | Vent |  |  |  | Mendip Room 53
Extract Fan | Vent |  |  |  | Mendip Room 53
Biddle Heater | HWS |  |  |  | Mendip Room 53
Biddle Heater | HWS |  |  |  | Mendip Room 53
25 litre water heater | HWS |  |  |  | Mendip Room 53
Extract Fan | Vent |  |  |  | Mendip Room 53
Extract Fan | Vent |  |  |  | Mendip Room 53
Biddle Heater | HWS |  |  |  | Mendip Room 54
Biddle Heater | HWS |  |  |  | Mendip Room 54
Santon prem unvented water heater | HWS | Santon |  |  | Food Tech Prep
25 litre water heater | HWS |  |  |  | Food Tech Prep
Ferri leak detection system | Heating |  |  |  | Food Tech Prep
Ferri leak detection system | Heating |  |  |  | Food Tech Prep
Extract Fan | Vent |  |  |  | Mendip Room 55
Extract Fan | Vent |  |  |  | Mendip Room 55
Gas Cooker | Gas |  |  |  | Mendip Room 55
Gas Cooker | Gas |  |  |  | Mendip Room 55
5 litre water heater | HWS |  |  |  | Mendip Room 42
EVAPORATOR | Air Con | Mitsubishi | MS-A24WV | 4000115 | Mendip Room 56
CONDENSER | Air Con | Mitsubishi | MU-A24WVX2 | 4000339T | Mendip Room 56
Extract Fan | Vent |  |  |  | Mendip Room 56
Extract Fan | Vent |  |  |  | Mendip Room 56
25 litre water heater | HWS |  |  |  | Mendip Room 56
3kw wall heater | HWS |  |  |  | Mendip Room 56
3kw wall heater | HWS |  |  |  | Mendip Room 56
5 litre over sink water heater | HWS |  |  |  | Room 37
Baxi Bermuda fire and back boiler | Heating |  |  |  | Kelston house
Pressure set (no data plate) | Heating | Stewart Pump | RG500 | 17/0709/1705W38931 | Mendip Plant Room
NT Heating Pumps Twin | Heating | Smedegard | OMEGA 10-140-2D | 3701603510 | Mendip Plant Room
Boiler No:1 Shunt Pump | Heating | DAB | TF11051 |  | Mendip Plant Room
Boiler No:2 Shunt Pump | Heating | DAB | TF11051 |  | Mendip Plant Room
HWS Circulation Pump | Heating | Grundfos | UP 20-45 |  | Mendip Plant Room
HWS Plate Exchanger Pump | Heating | Grundfos | UPC |  | Mendip Plant Room
Boiler No:1 gas shut off valve | Heating | Blacks Teknigas | BC6683230V |  | Mendip Plant Room
Boiler No:2 gas shut off valve | Heating | Blacks Teknigas | BC6683230V |  | Mendip Plant Room
Roof Mount A/C Unit | Heating | Ariston | 10 LITRE |  | Languages Building
EVAPORATOR | Air Con | MITSUBIHI | MS-A24WV | 4000112 | Mendip Room 56
| Heating | MITSUBISHI | PEFY-P63VMM-A |  | Languages Building
Heater | Electric Heaters | Dimplex |  |  | Languages Building
Heater | Electric Heaters | Dimplex |  |  | Languages Building
Heater | Electric Heaters | Dimplex |  |  | Languages Building
Calorifier Unvented | HWS | Santon | Premier Plus 300 | n/a | Utility Area
Ceiling Mount Fan Heater | Heating | Biddle |  | n/a | Kitchen 55
Ceiling Mount Fan Heater | Heating | Biddle |  | n/a | Kitchen 55
CWS Tank | Storage | Brimar | 4/34 INS | 2679/1 | Art Block
Dishwasher Extract (Flat Roof) | Vent |  |  |  | Kitchen
Fan Coil Heater | Heating | Biddle | Ceiling Mount Fan | n/a | Kitchen
Fan Coil Heater | Heating | Biddle | Ceiling Mount Fan | n/a | Kitchen
Fan Coil Heater | Heating | Biddle | Ceiling Mount Fan | n/a | Kitchen
Fan Coil Heater | Heating | Biddle | Ceiling Mount Fan | n/a | Kitchen
Gas Boiler | Heating | Ideal | Mexico 2 | n/a | Art Block
Gas Boiler | Heating | Ideal | Mexico 2 | n/a | Art Block
Gas Fired Water Heater | HWS | Andrews | 40/61 | G40/00732 | Art Block
Gas proving/dection | Gas | Ice Avon | Ferrari FE 1000 | n/a | Utility Area
Heating Pump No 1 | Heating | Grundfos | Magna 1 | n/a | Art Block
Heating Expansion Vessel | Heating | Flexcon | 50/1-5 | 606897 | Art Block
Heating Fill Set Pump | Heating | Stuart | RG501 | 0840008 024 | Art Block
Heating Pump No 2 | Heating | Grundfos | Magna1 | n/a | Art Block
Heating Shunt Pump No 1 | Heating | Grundfos | UPS 15-50 | n/a | Art Block
Heating Shunt Pump No 2 | Heating | Grundfos | UPS 15-50 | n/a | Art Block
HWS expansion | HWS | Aquasystem 24 | 24 litre | n/a | Plantroom
HWS Expansion Vessel | HWS | n/a | 24 litre | n/a | Art Block
HWS Pump | HWS | Grundfos | UP 20-45 | n/a | Art Block
Kitchen Extract (Flat Roof) | Vent |  |  |  | Kitchen
Wellsway Sports Centre
Description | Category | Make | Model | Serial | Plant Location
Condenser | Air Con | DAIKIN | REMW8P9Y1B | 5202916 | TOP LEFT PART OF RECEPTION
Condenser | Air Con | DAIKIN | REMQ10P8Y1B | 6204234 | TOP LEFT PART OF RECEPTION
Condenser | Air Con | DAIKIN | REMQ10P8Y1B | 6204234 | TOP LEFT PART OF RECEPTION
Condenser | Air Con | DAIKIN | REMQ10P8Y1B | 6204234 | TOP LEFT PART OF RECEPTION
Condenser | Air Con | DAIKIN | REMQ10P8Y1B | 6204234 | TOP LEFT PART OF RECEPTION
Condenser | Air Con | DAIKIN | REMQ10P8Y1B | 6204234 | TOP LEFT PART OF RECEPTION
Condenser | Air Con | DAIKIN | REMQ10P8Y1B | 6204234 | TOP LEFT PART OF RECEPTION
Condenser | Air Con |  |  |  | roof of sports hall
Evaporator | Air Con | DAIKIN | FXFQ80P9VEB | 2211499 | GYM
Evaporator | Air Con | DAIKIN | FXFQ80P9VEB | 2211644 | GYM
Condenser | Air Con |  |  |  | roof of sports hall
Description | Category | Make | Model | Serial | Plant Location
Evaporator | Air Con | DAIKIN | FXFQ100P9VEB | 2209049 | BIOMECHANICAL ICT
Evaporator | Air Con | DAIKIN | FXFQ100P9VEB | 2209048 | ACTIVITY STUDIO
Evaporator | Air Con | DAIKIN | FXFQ100P9VEB | 2209047 | ACTIVITY STUDIO
Evaporator | Air Con | DAIKIN | FXFQ100P9VEB | 2210614 | STAFF PE OFFICE
Evaporator | Air Con | DAIKIN | FXAQ20FV1 | E055078 | SPORTS PARTNERSHIP OFFICE
Evaporator | Air Con | DAIKIN |  |  | AHU
HEATING BOILER | Heating | POTTERTON | PARAMOUNT THREE 115 | 12043435 | PLANT ROOM
HEATING BOILER | Heating | POTTERTON | PARAMOUNT THREE 115 | 12043436 | PLANT ROOM
BOILER SHUNT PUMP NO:1 | Heating | LOWARA | TLC |  | PLANT ROOM
BOILER SHUNT PUMP NO:2 | Heating | LOWARA | TLC |  | PLANT ROOM
DIRT AIR SEPARATOR | Heating | PIPE SOLUTIONS | ASMD-050-PN16 | 19409-8448 | PLANT ROOM
DOSING POT | Heating | PIPE SOLUTIONS | CDP-05L75-25 | 19964 | PLANT ROOM
FTLW CONSTANT TEMP PUMP | Heating | NO:1 LOWARA | SMG90RB5S/2305 | 44 | PLANT ROOM
FTLW CONSTANT TEMP PUMP | Heating | NO:2 LOWARA | SM490RBJ32/305 | 46 | PLANT ROOM
Description | Category | Make | Model | Serial | Plant Location
INVERTER DRIVE NO:1 | Heating | XYLEM HYDROVAR | HV2.015M3-5 | 63774100000000000 | PLANT ROOM
INVERTER DRIVE NO:2 | Heating | XYLEM HYDROVAR | HV2.015M3-5 | 6.3774e+17 | PLANT ROOM
HWS CONSTANT TEMP PUMP NO:1 | Heating | LOWARA | SM471B5/304 | 500432 | PLANT ROOM
HWS CONSTANT TEMP PUMP NO:2 | Heating | LOWARA | SM47135/304 | 433 | PLANT ROOM
INVERTER DRIVE NO:1 | Heating | XYLEM HYDROVAR | HV2.015M3-5 | 6.3629e+17 | PLANT ROOM
INVERTER DRIVE NO:2 | Heating | XYLEM HYDROVAR | HV2.015M3-5 | 632606001006-120507 | PLANT ROOM
HEATING PRESSURE SET | Heating | DUTY POINT SYSTEMS | QUANTUM MAXI | 5202 | PLANT ROOM
EXPANSION VESSEL | Heating | ZILMET | 250 LTR | 20016 | PLANT ROOM
EXPANSION VESSEL | Heating | AQUASYSTEM | AAMVN01B01EA1 | 3865048 | PLANT ROOM
EXPANSION VESSEL | Heating | AQUASYSTEM | AAMVN01B01EA1 |  | PLANT ROOM
GAS SOLENOID | Heating | ELECTROGAS | VMR72-DN65 | 2912 | PLANT ROOM
HWS CYLINDER NO:1 | Heating | ORMANDY ELECTRIC | WH657/D1 | 74064/1 | PLANT ROOM
Description | Category | Make | Model | Serial | Plant Location
HWS CYLINDER NO:2 | Heating | ORMANDY ELECTRIC | WH657/D1 | 74064/1 | PLANT ROOM
HWS DESTRAT PUMP NO:1 | Heating | WILO | 2RS15/6-3KUP | 4522694 | PLANT ROOM
HWS DESTRAT PUMP NO:2 | Heating | WILO | 2RS15/6-3KUP | 4522694 | PLANT ROOM
HWS SECONDARY PUMP | Heating | LOWARA | TCLB20-6M |  | PLANT ROOM
2 PORT VALVE CYLINDER NO:1 | Heating | NO:1 SIEMENS | SQS65 |  | PLANT ROOM
2 PORT VALVE CYLINDER NO:2 | Heating | NO:2 SIEMENS | SQS65 |  | PLANT ROOM
SOLAR | Heating | ANDREWS | SOLAR FLO | 5232 1225000329 | PLANT ROOM
CHP | Heating | SENERTEC | HKAGS1 | 2181287780 | PLANT ROOM
CHP THERMAL STORAGE VESSEL | Heating |  |  |  | PLANT ROOM
CHP PUMP | Heating | GRUNDFOSS |  |  | PLANT ROOM
HEATING EXPANSION VESSEL | Heating | LOWARA | ULTRA PRO | 20014 | PLANT ROOM
COLD WATER BOOSTER SET | Heating | DUTY POINT | STY2-200-15T | 5239 | PLANT ROOM
Description | Category | Make | Model | Serial | Plant Location
CHANGING ROOM AHU SUPPLY FAN | Vent | AIR SYSTEMS |  |  | PLANT ROOM
THERMAL WHEEL | Vent |  |  |  | STORE ROOM
CHANGING ROOM AHU EXTRACT FAN | Vent | AIR SYSTEMS |  |  | STORE ROOM
ACTIVITY FITNESS SUPPLY FAN | Vent | AIR SYSTEMS |  |  | ROOF
ACTIVITY FITNESS EXTRACT FAN | Vent | AIR SYSTEMS |  |  | ROOF
WATER CONDITIONER |  | HYDROTEC | HYDROMAG STANDARD |  | PLANT ROOM
CWS TANK | Storage | APPROX 400 LTRS | 4X1X1M |  | TANK ROOM
INVERTER |  | SIEMENS | SED2 |  | TANK ROOM
INVERTER |  | SIEMENS | SED2 |  | TANK ROOM
INVERTER |  | SIEMENS | SED2 |  | STORE ROOM
INVERTER |  | SIEMENS | SED2 |  | STORE ROOM
UNDERFLOOR HEATING MANIFOLD | Heating | EMMET |  |  | 1ST FLOOR
UNDERFLOOR HEATING MANIFOLD | Heating | EMMET |  |  | GROUND FLOOR
Bridgwater & North Somerset Sites
Site Addresses
ALL Saints Church of England Primary School, All Saints Lane, Clevedon, North Somerset, BS21 6AU
Chestnut Park Primary School, Wheatear Road, Yatton, BS49 4FW
Clevedon School, Valley Road, Clevedon, North Somerset, BS21 6AH (Includes Sports Centre).
Mary Elton Primary School, Holland Road, Clevedon, North Somerset, BS21 7SX
Northgate Primary School, Northgate, Bridgwater, Somerset, TA6 3EU
Puriton Primary School, Rowlands Rise, Puriton, Bridgwater, Somerset TA7 8BT
St Nicholas' Chantry C of E VC Primary School, Highdale Avenue, Clevedon, BS21 7LT
Tickenham Church of England Primary School, 174 Clevedon Road, Tickenham, Clevedon, North Somerset, BS21 6RG
Westover Green Community School and Autism Centre, Westover Green, Bridgwater, Somerset, TA6 7HB
Willowdown Primary, Kings Drive, Bridgwater, Somerset, TA6 4FU
Woolavington Village Primary School, Higher Road, Woolavington, Somerset, TA7 8EA
Yeo Moor Primary School, Kennaway Road, Clevedon, North Somerset, BS21 6JL
ALL Saints Primary School
Description | Category | Make | Model | Serial | Plant Location
Pressure Vessel | Heating | Varem | Extra - expansion |  | PLANT ROOM
Calorifier |  |  |  |  | PLANT ROOM
Modular Hot Water Boiler |  | Remeha Condensing Boiler | Quinta Pro |  | PLANT ROOM
Modular Hot Water Boiler |  | Remeha Condensing Boiler | Quinta Pro |  | PLANT ROOM
BMS Controller |  | Trend | IQ 4E/64 |  | PLANT ROOM
Passenger Lift | Lifting | Gartec | Antico 7000 |  | MAIN CORRIDOR
Chesnut Park Primary
Description | Category | Make | Model | Serial | Plant Location
Expansion Vessel |  | Cimm |  | 018/B188627/20 | PLANT ROOM
Expansion Vessel |  | Boss | Boss Pressurisation Unit |  | PLANT ROOM
Boiler No. 1 | Heating | Remeha | Quita |  | PLANT ROOM
Boiler No. 2 | Heating | Remeha | Quita |  | PLANT ROOM
Modular Hot Water Boiler | HWS | Andrews |  | 2006000463 | PLANT ROOM
Pressure Vessel | Heating | CalPro | 130 | 20 - 000000965739 | PLANT ROOM
Expansion Vessel |  | Aquasystem |  | 25291173 | PLANT ROOM
Automatic Gas Valve | Heating | Electrogasas |  |  | PLANT ROOM
Motor & Pump Water Booster | Heating | Dutypoint |  | 14500 | PLANT ROOM
Immersion Heater | HWS | Zip |  | 20-20061005036 | STAFF ROOM
Motor & Pump (HWS Return) | HWS | DAB |  |  | PLANT ROOM
Motor & Pump (AHU) | AHU | DAB |  |  | PLANT ROOM
Motor & Pump (Shunt Pump) | Heating | DAB |  |  | PLANT ROOM
Motor & Pump (UFH Pump) | Heating | DAB |  |  | PLANT ROOM
Motor & Pump (Shunt Pump) | Heating | DAB |  |  | PLANT ROOM
Mary Elton Primary
Description | Category | Make | Model | Serial | Plant Location
Expansion Vessel |  | Flamco | Flexcom |  | PLANT ROOM
Expansion Vessel |  | Lowara |  |  | PLANT ROOM
Boiler No. 1 | Heating | Remeha | Quinta 65 - Condensing |  | PLANT ROOM
Boiler No. 2 | Heating | Lochinvar | LBF150 - Condensing |  | PLANT ROOM
Calorifier | HWS |  |  |  | PLANT ROOM
Boiler No. 3 | Heating | Vailant | Ecotec plus - condensing |  | KIKABOGA PLANT ROOM
Boiler No. 4 | Heating | Vailant | Ecotec plus - condensing |  | KIKABOGA PLANT ROOM
Pressure Vessel | Heating | Reflex | Expansion Vessel |  | KIKABOGA PLANT ROOM
Expansion Vessel + Pressurisation Unit | Heating | Mikrofil |  |  | KIKABOGA PLANT ROOM
BMS Controller | Heating |  | IQ View 4 |  | KIKABOGA PLANT ROOM
BMS Controller | Heating | Vaillant | VRC430 |  | PLANT ROOM
Circulating Pump | HWS | Lowara | CEKM 70/5 |  | PLANT ROOM
Circulating Pump | HWS | SMC | Commodore 130-45 |  | PLANT ROOM
Circulating Pump | HWS | Grundfos | UPS 25-80 |  | PLANT ROOM
Circulating Pump | HWS | Wilo | SE150 |  | PLANT ROOM
Circulating Pump | HWS | GEC |  |  | PLANT ROOM
Circulating Pump | HWS | Grundfos | UPS 15-50B |  | PLANT ROOM
Circulating Pump | HWS | SMC | Commodore 160-45 |  | PLANT ROOM
Circulating Pump | HWS | Grundfos | UPS 15-50B |  | PLANT ROOM
Circulating Pump | HWS | Grundfos | UPS D32-120F |  | KIKABOGA PLANT ROOM
Circulating Pump | HWS | Grundfos | UPS 15-50B |  | KIKABOGA PLANT ROOM
Northgate Primary
Description | Category | Make | Model | Serial | Plant Location
Pressure Vessel | Heating | Boss |  | 11137
Boiler No.1 | Heating | Potterton | Condensing
Boiler No.2 | Heating | Potterton | Condensing
Hot Water Boiler | HWS | Andrews |  | 1631008156
Expansion Vessel |  | Global Water Solutions |  | 59499
Expansion Vessel |  | Reflex |  | 16R062180408
Immersion Heater | HWS | Andrews | CWN 90/200
Immersion Heater | HWS | Andrews | CWN 90/200
Point of Use Water Heater |  | Burco |  | 22000360 | Staff Room
Pump No. 1 | HWS | Potterton
Pump No. 2 | HWS | Potterton
Pump No. 1 | VT | Grundfos
Pump no. 2 | VT | Grundfos |  |  | PLANT ROOM
Calorifier
Patient Lifting Bed | Lifting |  |  |  | MEDICAL ROOM
Passenger Lift0 | Lifting | Antico |  |  | CORRIDOR
BMS Panel |  |  |  |  | PLANT ROOM
Puriton Primary
Description | Category | Make | Model | Serial | Plant Location
Boiler No.1 | Heating | Vaillant | Ecotech plus
Boiler No. 2 | Heating | Vaillant | Ecotech plus
Pressure Vessel | Heating | Zilmet |  | 3971272
Immersion Heater | HWS |  |  | 20-13081210074 | Staff Room
Pump |  | Calio |  | 29134923-201842-0072
Pump |  | KSB |  | 48270162
Motor & Pump (Possible pressurisation unit) |  | Smedgard |  | 1477
Immersion Heater | HWS | Heatrae Sadia
Immersion Heater | HWS | Heatrae Sadia
Immersion Heater | HWS | Heatrae Sadia
Immersion Heater | HWS | Heatrae Sadia
Immersion Heater | HWS | Heatrae Sadia
Immersion Heater | HWS | Heatrae Sadia
Immersion Heater | HWS | Heatrae Sadia
Gas Heater | Heating | Rinnai |  |  | ELLIOT BUILDING
Gas Heater | Heating | Rinnai |  |  | ELLIOT BUILDING
St. Nicolas Chantry Primary
Description | Category | Make | Model | Serial | Plant Location
Pressure Vessel |  |  |  |  | Kitchen
Modular Hot Water Boiler | HWS | Andrews | WH56 Condensing
Boiler No. 1 | Heating | Remeha | Gas 210
Boiler No. 2 | Heating | Remeha | Gas 210
Expansion Vessel / Pressurisation Unit | Heating | Mikrofill
Expansion Vessel / Pressurisation Unit | Heating | Reflex | N300
Expansion Vessel / Pressurisation Unit | Heating | Reflex | N300
Immersion Heater | HWS | Newlec
Immersion Heater | HWS |  |  |  | Boys WC
Immersion Heater | HWS | Red Ring | Ewis
Immersion Heater | HWS | Heatrae Sadia | Streamline |  | Disabled WC
Immersion Heater | HWS | Zip |  |  | Girls WC
Immersion Heater | HWS | Rinnae |  |  | Kitchen
Immersion Heater | HWS | Heatrae Sadia | Streamline |  | Disabled WC
Immersion Heater | HWS | Heatrae Sadia | Streamline |  | Staff Room
Immersion Heater | HWS | Heatrae Sadia | Streamline |  | Staff WC
Immersion Heater | HWS | Santon | Aquarius |  | Staff WC
Immersion Heater | HWS | Heatrae Sadia | Streamline |  | Staff WC
Immersion Heater | HWS | Santon | Aquarius |  | Staff WC
Tickenham Primary
Description | Category | Make | Model | Serial | Plant Location
Boiler No. 1 | Heating | Remeha | Quinta |  | BOILER ROOM
Boiler No. 2 | Heating | Remeha | Quinta |  | ACACIA
Calorifier | HWS |  |  |  | SCHOOL HALL
Pump (Circulation) | Heating | Grundfos |  |  | ACACIA
Pump (Circulation) | Heating | WILO | SB30 |  | BOILER ROOM
Immersion Heater
Immersion Heater
Immersion Heater
Patient Lifting Bed | Lifting | Magnetic | KOM31-10A-000 |  | Boys WC (to be removed)
Westover Green Community School
Description | Category | Make | Model | Serial | Plant Location
Pressure Vessel |  |  |  | 14-4666400191 | Boiler Room
Pressure Vessel |  | Zimlet |  | 4761127 | Boiler Room
Pressure Vessel |  | Zimlet | Hydro Pro |  | Oak
Pressure Vessel |  | Varem | Extra |  | Cedar Class
Pressure Vessel |  | Varem | Extra |  | Larch Class
Calorifier |  |  |  |  | Rowan Class
Pressure Vessel |  | Aqua System |  |  | Rowan Class
Pressure Vessel |  | Varem | Extra |  | Disabled WC
Pressure Vessel |  | Varem | Extra |  | Little Stars
Boiler No.1 | Heating | Vaillant | Ecotech Plus
Boiler No. 2 | Heating | Vaillant | Ecotech Plus
Water Heater | HWS |  |  |  | Rowan Class
Water Heater | HWS |  |  |  | Elm Class
Water Heater | HWS |  |  |  | Elm Class
Water Heater | HWS |  |  |  | Silver Birch Class
Water Heater | HWS |  |  |  | Silver Birch Class
Water Heater | HWS |  |  |  | Courtyard Store
Water Heater | HWS |  |  |  | Cleaning Cupboard
Water Heater | HWS |  |  |  | Mulberry Class
Water Heater | HWS |  |  |  | Mulberry Class
Water Heater | HWS |  |  |  | Apple Class
Water Heater | HWS |  |  |  | Apple Class
Water Heater | HWS |  |  |  | Staff Room
Water Heater | HWS |  |  |  | Autism Block Toilet
Water Heater | HWS |  |  |  | Autism Block Toilet
Water Heater | HWS |  |  |  | Oak Class
Water Heater | HWS |  |  |  | Ash Class
Water Heater | HWS |  |  |  | Autism Block Kitchen
Water Heater | HWS |  |  |  | Maple Class
Water Heater | HWS |  |  |  | Larch Class
Water Heater | HWS |  |  |  | Cedar Class
Water Heater | HWS |  |  |  | Little Stars
Water Heater | HWS |  |  |  | Community Room
Control Panel (Boiler Pump Control Panel) |  | CPS
Patient Lifting Hoist | Lifting | Southwestern Aid | Invadex |  | Physio Suite
Patient Lifting Bed | Lifting | Southwestern Aid | SKF |  | Disabled WC
Pump |  | Lowara |  | 20210212
Motor & Pump | Heating | Smedgard |  | 1511-5398
Pump |  |  |  | 29134902-A202217-001
Willowdown Primary
Description | Category | Make | Model | Serial | Plant Location
Pressure Vessel |  | Reflex | D Expansion Vessel | 13 N 1010 90523
Boiler No. 1 | Heating | Worcester | Greenspring
Boiler No. 2 | Heating | Worcester | Greenspring
Boiler No. 1 | Heating | Ideal | Evomax 120
Boiler No. 2 | Heating | Ideal | Evomax 120
Hot Water Storage Cylinder | HWS | Joule | SWP 300 L | 23- 000001299430
Pessure Vessel |  | Zilmet
Control Panel (Mechanical Control) |  | Alpha Control services
Control Panel (Fire Pump Controller) |  | Powertec
Patient Lifting Hoist (QUARANTINED) |  | SwiftAir | Manual200
Woolavington Primary
Description | Category | Make | Model | Serial | Plant Location
Pressure Vessel |  | Veram | Extra | B13032149 | Disabled WC
Pressure Vessel |  | Boss | 100/2.0 | 11104 | Boiler Room
Boiler No. 1 (Oil Boiler) | Heating | Grant |  |  | Boiler Room
Boiler No. 2 (Oil Boiler) | Heating | Grant |  | 15-8678061015170 | Boiler Room
Immersion Heater | HWS | Santon |  |  | Staff Room
Immersion Heater | HWS | Aqualine |  |  | Admin Block
Control Panel | Controls |  |  |  | Plant Room
Immersion Heater | HWS | Ariston |  |  | Disabled WC
Immersion Heater | HWS | Ariston |  |  | Girls WC
Immersion Heater | HWS | Ariston |  |  | Boys Toilets
Pump |  | Grunfos
Presurisation Unit | Heating | Mikrofil | MK3 | MK3-0000989 | Bolier Room
Pump (Constant temp) |  | Liwara |  | 20211011 | Boiler Room
Pump (Constant temp) |  | Grundfos |  |  | Boiler Room
Pump |  | Grundfos |  |  | Boiler Room
Immersion Heater (Oil Boiler) | HWS | Vortex Pro |  |  | Plant Room
Immersion Heater (Oil Boiler) | HWS | Vortex Pro |  |  | Plant Room
Immersion Heater (Gas Heater) | HWS | Drugasar |  |  | Lion Class
Immersion Heater | HWS | FBM |  |  | Class 1
Immersion Heater | HWS | Ariston |  |  | Class 4
Immersion Heater (Gas Heater) | HWS | Drugasar |  |  | Meerkat Class
Immersion Heater (Gas Heater) | HWS | Drugasar |  |  | Nursery
Patient Lifting Bed | Lifting | Streamline | 225 |  | Disabled WC
Yeo Moor Primary
Description | Category | Make | Model | Serial | Plant Location
Calorifier | HWS |  |  |  | Plant Room 1
Boiler No. 1 | Heating | Vaillant | Ecotec Plus
Boiler No. 2 | Heating | Vaillant | Ecotec Plus
Expansion Vessel (Pressurisation Unit) | Heating | Mikrofill
Calorifier | HWS
Boiler |  | Worcester | Green Star
Boiler |  | Remeha | Quinta Pro
Boiler |  | Remeha | Quinta Pro
Pressure Vessel |  | Jet | Contraflex
Boiler |  | Vaillant | Ecotec Plus
Pressure Vessel |  | Smedegaard
Pressure Vessel |  | Smedegaard
BMS Controller |  | Satchwell |  |  | Juniors Plant Room
BMS Controller |  | Drayton
BMS Controller |  | Trend | IQ3 xcite
Immersion Heater
Clevedon School (Secondary)
Description | Category | Make | Model | Serial | Plant Location
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 700kw | Broag | REMEHA 610 ECO 2X7 | 1118602533541L | Main boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 700kw | Broag | REMEHA 610 ECO 2X7 | 1118602533542R | Main boiler room
Boiler/ Heat-Generator - Direct Fired Water Heaters 32-13 | Boiler - direct fired water heater | Andrews | EC 230/60 GB | GJ13925113 | Main boiler room
Boiler/ Heat-Generator - Direct Fired Water Heaters 32-13 | Boiler - direct fired water heater | Andrews | EC 230/60 GB | GK14103392 | Main boiler room
Boiler/ Heat-Generator - Direct Fired Water Heaters 32-13 | Boiler - direct fired water heater | Andrews | EC 230/60 GB | GJ13926116 | Main boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 80kw | Potterton | PARAMOUNT TWO 80 | 10115168 | Maths boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 30kw | Ideal | EVOMAX 30 | 20595700000105 | Sixth form boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 80kw | Ideal | 1MAX W80 | 158083 | Art block boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 65kw | Vaillant | VU 806/5-5 R4 | 21203100100107672010005201N2 | Drama boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 24kw | Vaillant | ECO TEC PLUS 624 | 211125308526 | Outside changing rooms
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 45kw | Broag | REMEHA QUINTA-PRO 45 | 1108101997420 | Sports boiler room
Boiler/ Heat-Generator - Direct Fired Water Heaters 32-13 | Boiler - direct fired water heater | Andrews | CSC 78 GB | FK12507028 | Sports boiler room
Boiler/ Heat-Generator - Direct Fired Water Heaters 32-13 | Boiler - direct fired water heater | Andrews | CSC 78 GB | GH13781175 | Sports boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 85kw | Broag | REMEHA QUINTA 85 | 814004706170 | Science boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 85kw | Broag | REMEHA QUINTA 85 | 814004706340 | Science boiler room
Boiler/Heat Generator - Blown Gas Burner Condensing Boiler 05-10 | Boiler - blown gas condensing boiler 85kw | Broag | REMEHA QUINTA 85 | 814004706160 | Science boiler room
Boilers/Heat Generator: Atmospheric Gas Burner - Free Standing Boiler 05-03 | Boilers/Heat Generator: Atmospheric Gas Burner - Free Standing Boiler 05-03 | Ideal | CONCORD CXD 50 | 112299991700031 | Humanties boiler room
BMS (S) | BMS - controller | Trend IQ | IQ 3XCITE / 96 / 230v 4UI/4A0 8A0 |  | Main boiler room
BMS (S) | BMS - controller | Trend IQ | IQ 3XCITE / 16 / 230v |  | Sixth form
BMS (S) | BMS - controller | Trend IQ | IQ 3XCITE / 96 / 230v 8DI 4A0 |  | Sports hall
BMS (S) | BMS - controller | Drayton | DC 1100 |  | Drama
BMS (S) | BMS - controller | Seachange |  |  | Science
BMS (S) | BMS - controller | CSMC |  |  | Humanities
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation unit - sealed | Autofill | AFS 15 |  | Humanities plantroom
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Smedegaard |  |  | Humanties boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation unit - break tank | Smedegaard | Wallpress Whispher 2 Mono | 46800 | Main boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Smedegaard | Press Unit B+D | PRESS UNIT B+D | Main boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation unit - break tank | Grundfos | Impress | MIM 52301/3109 | Art block boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Zilmet | Zilmet |  | Art block boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation unit - sealed | Autofill | AFS 15 |  | Drama boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Boss |  |  | Drama boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Smedegaard |  |  | Drama boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation unit - break tank | Smedegaard | Wallpress Whispher 2 Mono | 46157 | Sports boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Jet | Contra-flex | CONTRA-FLEX | Sports boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation unit - break tank | Boss | Enhanced PF2-5E | A-0508-3522 | Science boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Boss |  |  | Science boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation unit - sealed | Mikrofil | EFD | 41150 | 6th form boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Zilmet |  | 130-CAL-PRO | 6th form boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation unit - break tank | Boss | Midi 125D |  | Maths boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Flamco | Flexcon Top | FLEXCON TOP | Maths boiler room
Pressurisation Unit - Chilled Water, Condenser Water and LTHW Type 40-25 | Pressurisation Unit - Heating Expansion vessel | Zilmet | Zilmet | 130-CAL-P20 | Maths boiler room
Heat Emitter - Gas Fired Radiant Heater 28-03 | Gas radiant tube heater fan assisted | Ambi Rad | NRV 32LR-EV-DA | 110317959802 | Sports hall high level
Heat Emitter - Gas Fired Radiant Heater 28-03 | Gas radiant tube heater fan assisted | Ambi Rad | NRV 24LR-EV-DA | 110317959901 | Sports hall high level
Heat Emitter - Gas Fired Radiant Heater 28-03 | Gas radiant tube heater fan assisted | Ambi Rad | NRV 32LR-EV-DA | 110317959801 | Sports hall high level
Heat Emitter - Gas Fired Radiant Heater 28-03 | Gas radiant tube heater fan assisted | Ambi Rad | NRV 24LR-EV-DA | 110317959902 | Sports hall high level
WH - Calorifier 047-CAL | Tap - Hot water calorifier - Heated by LTHW - 32-05 |  |  |  | Science plant room
WH - Calorifier 047-CAL | Tap - direct fired water heater outlet temperature - Maintained under 32-13 011-0003 |  |  |  | Main building plant room
WH - Calorifier 047-CAL | Tap - direct fired water heater outlet temperature - Maintained under 32-13 011-0003 |  |  |  | Main building plant room
WH - Calorifier 047-CAL | Tap - direct fired water heater outlet temperature - Maintained under 32-13 011-0003 |  |  |  | Main building plant room
WH - Calorifier 047-CAL | Tap - direct fired water heater outlet temperature - Maintained under 32-13 011-0003 |  |  |  | Sports plantroom
WH - Calorifier 047-CAL | Tap - direct fired water heater outlet temperature - Maintained under 32-13 011-0003 |  |  |  | Sports plantroom
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Zilmet | 3.5 bar |  | Sixth form disabled WC
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 5L | Zilmet | 3.5 bar |  | Sixth form cleaners cupboard
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Zilmet | 3.0 bar |  | Sixth form kitchen
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 24L | Aqua System | 3.5 bar |  | Sport centre plant room
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 24L | Aqua System | 3.5 bar |  | Sport centre plant room
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 100L | Boss | 3.0 bar |  | Science plant room
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Varem | 3.5 bar |  | A1
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Varem | 3.5 bar |  | A1
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Varem | 3.5 bar |  | A2
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Varem | 3.5 bar |  | A3
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 8L | Zilmet | 3.0 bar |  | Art room boiler room
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Varem | 3.5 bar |  | A6
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Zilmet | 3.5 bar |  | D5
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 22L | Zilmet | 3.5 bar |  | Main plant room
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 22L | Zilmet | 3.5 bar |  | Main plant room
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 24L | Aqua System | 3.5 bar |  | Main plant room
WH - Expansion Vessel (Potable) 32-12 047-08 | Expansion vessel - potable 2L | Zilmet | 3.5 bar |  | Art first floor kitchen
Sewage Plant (S) | Sewage p lant - no asset information |  |  |  | Unknown