## Summary
Section 1.3 Bank 4 and 5 Demolition, Civils and Premises Pricing Schedule
PRICING LIST - SUMMARY
Section | Description | Total
£ p
SUMMARY
Provisional Sum
One | Frustrated Access | 5000
| To The Total of the Prices £ | 5000

## Bank E4 & 5 Civils Works
Section 1.3 Bank 4 and 5 Demolition, Civils and Premises Civils Pricing List
PRICING LIST
Item | Description | Quantity | Unit | Rate | Total
SECTION ONE WORKS
WORKS ASSOCIATED WITH THE REPLACEMENT OF ESCALATORS NO. 4-5 AS DETAILED IN SCHEDULE 2 - THE SPECIFICATION
E4& 5 CIVILS WORKS
1 | Preliminary Works
a | Preparation of Safe System of Work & Task Briefing including Risk assessment (if it were to be required) | Item
b | Check asbestos register to identify any records of asbestos within the machine chamber | Item
2 | Temporary Works
Pulling Point Brackets to Upper and Lower Concourse as shown on drawing
a | Fix and test with certificates 6.5 Tonne Pulling Block for module installation of E4 &5 (4No) | Item
b | Fix and test with certificates 1Tonne Pulling Block for module installation of E4 &5 (4No) | Item
c | Removal and make good of Pulling Blocks for module installation of E4 &5 (8No) | Item
Protection of Services
d | Provide and install silt trap or other similar device to protect the existing sump from debris in the LMC | Item
e | Removal of Pulling Block and make good all finishes to match existing surrounding (1No) | Item
3 | Civil Engineering Demolition Works
a | Demolish, reduce or cut back assets as specified in LU Civil Engineering drawings ETFL0007-TFL-LAE-N133-DRG-CE-00101, ETFL0007-TFL-LAE-N133- DRG-CE-00102, ETFL0007-TFL-LAE-N133-DRG-CE-00103. | Item
Lower Machine Chamber
b | Demolition and modification of the existing structural members in the LMC is required. The Contractor is to demolish the existing plinths at the lower machine chamber level to create sufficient space for the new escalators, dust trays and required clearances. | Item
Incline
c | The existing concrete incline plinths will be cut where required in order to create sufficient clearance between the underside of the new escalator truss for installation as specified by the Escalator Contractor. The incline plinth will additionally be partially demolished to provide space for the installation of the proposed escalator incline supports. | Item
Upper Machine Chamber
| No demolition and modification of the existing structural members in the UMC is required. | Note
d | Demolish the existing plinths at the upper machine chamber level to create sufficient space for the new escalators, dust trays and required clearances. | Item
e | Propping, temporary support and crash deck to Upper Concourse if required | Item
f | Propping, temporary support and crash deck to Lower Concourse if required | Item
New Concourse slab/Escalator Support Steelwork
| LU will only provide pdf files and not the CAD model or files as detailed in Scope of Work reference | Note
g | Contractor is to supply, fabricate and install all new Civil Engineering works as detailed in scope of work. | Item
Lower Machine Chamber
h | New steelwork is to be installed to support the new escalator, new access hatch, and a new slab. A new access hatch, including modification to the existing structure to accommodate, is to be installed as per premises TRS ETFL.0007- LU-PRM-N133-SPE-PRM-00001 | Item
Incline
i | New steelwork is to be installed to support the new escalator. The existing plinths to be modified and make good to support the new steelwork. The outrigger to be supported on the new plinths on sides of the escalators. | Item
Upper Machine Chamber
j | New steelwork is to be installed to support the new escalator and new slab. See drawings ETFL0007-TFL-LAE-N133-DRG-CE-00105, 00107, 00108, 00109, 00110, 00111, 00112, 00113, 00114, 00115, ETFL0007-TFL-LAE-N133-DRG-CE-00116, ETFL0007-TFL-LAE-N133- DRG-CE-00117 | Item
New Truss Supports
k | Design of new connections, fabrication drawings/calculations, supply, fabricate and erect new permanent escalator incline support steelwork including all associated civils works including new reinforced concrete plinths, grouting and making good to new levels as shown on drawings | Item
4 | Miscellaneous
a | Allow for all formal correspondence and notices to be communicated via a web-based contract administration management system | Item
b | Supply, deliver and fix in conjunction with LU setting out engineer secondary EWP plates and fixings as detailed on drawings (Allow 46No plates and fixings) | Item
c | Allowance to move / reposition, as necessary during the works, the temporary protection barriers, gate & ladder to the Upper & Lower Concourse, supplied and erected by others and take down and set aside on completion for others to collect | Item
| On completion of the installation of the escalator steel work; the contractor is required to: | Note
a | 1) Verify the line and level of new steel supports by commissioning a line and level survey and providing this information to LU for acceptance. | Item
b | The information must include as a minimum for each group of supports: | Note
c | 3 levels on top support | Note
d | 3 level on escalator supports | Note
e | 3 levels on lower support | Note
f | Beam-to-beam from face of upper beam to face of lower beam | Note
g | Upper beam-to-centre of intermediate escalator support | Note
h | Lower beam-to-centre of intermediate escalator support | Note
a | 2) Validate the line and level of the new steel support by providing the signed ITP and quality control check sheets. | Item
b | Provision of all required documentation to support the Employer and assurance for all items including AIR | Item
8 | Provisional Sums
d | Frustrated Access | Item |  |  | 5000
9 | Additional Items/Considerations not detailed above but included within the Works Information (Contractor to list below)
a | ………………………………………………….. | Item
b | ………………………………………………….. | Item
c | ………………………………………………….. | Item
|  |  | To Summary | Total £ | 5000

## Premises
Section 1.3 Bank 4 and 5 Demolition, Civils and Premises Civils Pricing List
PRICING LIST
Item | Description | Quantity | Unit | Rate | Total
SECTION ONE WORKS
WORKS ASSOCIATED WITH THE REPLACEMENT OF ESCALATORS NO. 4-5 AS DETAILED IN SCHEDULE 2 - THE SPECIFICATION
E4& 5 PREMISES WORKS
Asset area
Asset Area 1 | 4/084 Circulation Area
a | Slip resistance values for the existing floor surfaces are required | Item
b | Existing tiled floor surfaces have a dirty appearance, affecting the ambience of the area and customer experience, floor surfaces require a good deep clean | Item
c | Minor cracking to Terrazzo floor tiles requires attention | Item
d | Resin finish to escalator floor trays is damaged and cracked in localised areas and requires repair | Item
e | Existing wall tiles have a dirty appearance and would benefit from a good deep clean | Item
f | Terrazzo upstand to wall requires a good deep clean | Item
g | VE ceiling and wall panels are dirty and require a good clean to improve ambience | Item
h | Escalator safety signage requires updating | Item
Asset Area 2 | 4/084 Escalator Shaft
a | VE ceiling and wall panels are dirty and require a good clean to improve ambience | Item
Asset Area 3 | 5/081 Circulation Area
a | Escalator safety signage requires updating | Item
b | Damaged floor tiles require renewal | Item
c | Damaged wall finishes require attention/repair | Item
d | Ceiling/wall panels require deep clean to remove surface dirt and grime | Item
e | Slip resistance values for the existing floor surfaces are required | Item
f | New hatch to LMC to be primary means of escape | Item
Asset Area 4 | 4/151 Upper Machine Chamber
a | Access stairs require cleaning, painting and refurbishment works for safety and compliance | Item
b | Paint has worn off the handrail to the staircase which requires reinstatement | Item
c | Walls - dirt and grime to the painted walls requires cleaning and the walls require repainting | Item
d | Slip resistance values for the existing floor surfaces are required | Item
e | Floor paint - non -slip floor paint requires reinstatement | Item
f | Ceiling - painted finish requires cleaning and re-painting where access permits | Item
g | Drainage grating - deteriorated paintwork requires preparation and re- painting | Item
h | Concrete columns - dirt and grime requires removal and the existing painted finish requires application of new paintwork | Item
i | Engineers steps - built up dust and detritus requires removal, the step nosings also require highlighting | Item
j | Concrete plinths - built up dust and detritus requires removal | Item
Asset Area 5 | 4/151 Lower Machine Chamber
a | Engineers steps - built up dust and detritus requires removal, the step nosings also require highlighting | Item
b | Signage - non-compliant safety and emergency signage requires renewal and replacement | Item
Asset Area 6 | 5/161 Lower Machine Chamber
a | Slip resistance values for the existing floor surfaces are required | Item
b | Signage - non-compliant safety and emergency signage requires renewal and replacement | Item
c | Floor paint - non -slip floor paint requires reinstatement | Item
d | Walls - dirt and grime to the painted walls requires cleaning and the walls require repainting works | Item
e | Concrete plinths - - built up dust and detritus require removal | Item
f | Access Hatch - New LMC Access through hinged access hatch required in combination with new step ladder and a telescopic safety post. Structural enabling works needed prior to installation | Item
9 | Additional Items/Considerations not detailed above but included within the Works Information (Contractor to list below)
a | ………………………………………………….. | Item
b | ………………………………………………….. | Item
c | ………………………………………………….. | Item
|  |  | To Summary | Total £ | 0