Health, Safety and Environment 
Pre-Construction Information

| Project | Bank Station Escalators 4 & 5 Replacements |
| --- | --- |

| Reference | STN-ETFL0017-LUL-RPT-HSQ-C101-00003 |
| --- | --- |

| Stage | 3 |
| --- | --- |

| Prepared | Project Engineer | Ike Nze |
| --- | --- | --- |
|  | Signature | Date |
|  | Construction Manager | Jeff Beattie |
|  | Signature | Date |

| Accepted | Project Manager | Adam Thompson |
| --- | --- | --- |
|  | Signature | Date |

| Product History | Version | Date | Summary of changes |
| --- | --- | --- | --- |
|  | 0.1 | 06/04/2023 | First draft for review. |

- Contents

1	Introduction	5

2	Description of the Project	5

2.1	Background Information	5

2.2	Designing/Building Places of Work	5

2.3	Schedule	5

2.4	Client’s Organisation	6

2.5	Project Directory	6

3	TfL Standards and Project Management Requirements	7

3.1	Policy Statement	7

3.2	Health, Safety and Environment Objectives	7

3.3	Communication and Liaison between Parties	7

3.4	Monitoring Performance and Performance Reporting	8

4	Existing HSE On-Site Risks and Restrictions	8

4.1	Current Adjacent Land Use	8

4.2	Known Work Activities On/Adjacent to the Site	8

4.3	General Public and Customers	9

4.4	Site Access and Logistics	9

4.5	Existing Storage of Hazardous Materials	9

4.6	Locations of Existing Services	9

4.7	Ground Conditions	9

4.8	Contaminated Land	10

4.9	Unexploded Ordinances	10

4.10	Information of Existing Structures and Previous Structural Modifications	10

4.11	Restrictions in Relation to Existing Plant and Equipment	11

4.12	Asbestos	12

4.13	Other Hazardous Materials in Existing Structures	12

4.14	Confined Spaces	13

4.15	LU Weed Killing Trains	13

4.16	Energy and Carbon	13

4.17	Material Efficiency and Waste	13

4.18	Noise and Vibration	14

4.19	Air Quality and Dust	14

4.20	Other Nuisance (Odour, Light, Etc.)	15

4.21	Invasive Species and Biosecurity	15

4.22	Protection of Wildlife and Habitats	15

4.23	Landscape Design	15

4.24	Surface, Groundwater and the Sewage System	16

4.25	Erosion and Drainage	16

4.26	Hydrology and Flooding	16

4.27	Heritage	16

4.28	Archaeological Remains	16

4.29	Other Health, Safety or Environmental Risks	17

5	Significant Design and Construction Hazards	17

5.1	Significant Design Issues and Assumptions	17

5.2	Arrangements for Coordinating Ongoing Design and/or Design Changes	18

5.3	Information on Significant Risks Identified During Design	18

5.4	Materials Requiring Particular Precautions	18

6	Site Management and Control	18

6.1	Protection of TfL Employees, Customers and Assets	18

6.2	Planning Restrictions	18

6.3	Site Boundaries	18

6.4	Security	18

6.5	Delivery and Access	18

6.6	Welfare Provision	19

6.7	Traffic Management and Parking	19

6.8	Site Rules	19

6.9	Permits, Licences and Safe Systems of Work	20

6.10	Incident Reporting and Emergency Procedures	20

7	Health and Safety File Information	21

8	Construction Phase Plan and Environmental Management Plan	21

9	Business Area Specific Information	21

10	Appendices	23

10.1	HSE Pre-Construction Information Collation Plan	24

10.2	TfL HSE Policy	35

10.3	Client’s Management Structure	35

10.4	F10 Notification	35

10.5	QUENSH Menu (LU only)	36

10.6	Designer Residual Risk Identification and Hazard Review	36

10.7	Incident Reporting Instructions	36

10.8	Health and Safety File Matrix	37

10.9	Other relevant documents – such as survey data etc.	37

# Introduction

This Health, Safety & Environment (HSE) Pre-Construction Information (PCI) has been compiled to meet the requirements of the Construction Design and Management Regulations 2015 (CDM). The purpose of this PCI is to provide the relevant duty holders (Principal Designer, Designer, Principal Contractor & Contractor) with project specific HSE information required to identify hazards and risks associated with the work.

The pack will also meet requirements of TfL’s Environmental Management System and applicable environmental legislation.

The Principal Designer, Designer, Principal Contractor & Contractor shall ensure that these hazards are addressed as part of their HSE evaluation of the project, and that adequate arrangements are implemented and that resources are allocated to manage the risks and associated impacts.

# Description of the Project

## Background Information

The following items represent the scope of works to be carried out for this project. Further discipline specific scoping documents will be developed and incorporated to support the technical aspects of the enabling and ancillary works. These will form part of the scoping and design process documents.

The project is the replacement of Escalators 4 & 5 at N133 Bank station, replacing the escalators whilst keeping the station running and replacing with new Otis Heavy duty escalators. The location of the worksite is described in Table 1, and the extent of the asset work across asset areas in outlined in table 2.  Figure 1 depicts the hoarding layout – Please note this hoarding layout is indicative and subject to change pending formal approval.

| Table 1 – Worksite location |  |  |
| --- | --- | --- |
| Station ID | Description | Area |
| 4/084 | Lobby | Upper concourse adjacent to Esc 4 & Esc 5 |
| 4/151 | UMC + access | Upper Machine Chamber and access lobby |
| 4/171 | Escalator shaft | Passenger side + Engineering side |
| 5/081 | Circulation area | Lower concourse adjacent to Esc 4 & Esc 5 |
| 5/161 | LMC + access | Lower Machine Chamber and access lobby |

| Table 2 Asset Work and Standards |  |
| --- | --- |
| Asset Area | Work Content and applicable standards |
| Track | No effect on these assets, although works trains maybe used for deiveries |
| Civil Engineering | The existing escalators 4 & 5 and the associated plant and redundant materials shall be dismantled removed from site. Upper Machine Chamber: New escalators will be supported by new support beams and columns. Incline: New supports will be provided for the escalator truss Lower Machine Chamber: New escalators will be supported by new support beams and columns. |
| Premises | Replacement and alterations of floor escalator trays and adjoining areas at top and bottom of escalators. Making good and decorating walls, soffits, floors and steps Rectifying damaged fire stopping New signage to UMC and LMC including door to UMC. Check/ overhaul of doors leading to UMCs Markings on floor for location of the storage of maintenance barriers in lobby Condition assessment of passage ways, circulating areas prior to works. Integrate a water management system within the advertising panelling of the new escalators, if required. Deep Clean |
| Electrical | Temporary and permanent lighting and power.(During the project) Machine chamber and incline shaft lighting and low voltage power shall be installed to meet the current standards. |
| Fire | Installation of new Fire Suppression system to protect Esc 4 & Esc 5, outer balustrades including upper and lower pits. Design & Installation of VAD in UMC, LMC & inclines ASD & AFD to be modified Fire extinguishers to be provided by project |
| Mechanical | No effect on these assets |
| Power | New AC power supply to be installed |
| Communications | Protection of comms assets, Removal/decomission of redundant assets and installation of sounders (fire), Temporary relocation of cameras effected by hoardings. |
| L&E | Heavy Duty Metro (HD) escalators Generic Pan TfL 4 part specifications - SPC-LAE-301941170 Advert panelling to have the same general layout (water mgt. system to be installed within) New isolator/ switchboard and common bus bar for the escalators to be provided A status indication panel for the new escalators shall be provided |
| Gate line | No effect on these assets |
| Signals | No effect on these assets |
| C&I | No effect on these assets |
| Systems Integration | Systems integration shall be managed through the Interface Requirements and the Design Justification Matrix across the project lifecycle. The EMC Control Plan shall cover how EMC issues are managed. The HF Integration Plan and Task Analysis shall cover how the project manages system ergonomics in terms of operability, safety, access, use and on-going maintenance of the project deliverables. |

## Designing/Building Places of Work

The project will not create any new “places of work” as defined under the CDM regulations.

The design of any elements will consider the differing Workplace (Health Safety and Welfare) Regulations that apply to each area impacted by this project.

## Schedule

Key Milestones from the P11 programme:

| Milestone | Date |
| --- | --- |
| Stage Gate 2 | 12/02/2024 |
| Stage Gate 3 | 06/11/2024 |
| Stage Gate 4 | 11/06/2025 |
| Start On Site (SOS) - Shaft Closure | 20/10/2025 |
| OTIS Start on Site (SOS) | 01/04/2026 |
| Return to Service (RTS) - End of Shaft Closure | 16/11/2026 |
| Finish On Site (FOS) | 14/12/2026 |
| Stage gate 5 - Gate Review | 02/02/2027 |
| Stage Gate 6 - Gate Review | 16/03/2027 |

## Client’s Organisation

Refer to section 2.5 and org chart below:

## Project Directory

The LU project team shall discharge the duties of the Client, Principal Designer and Principal Contractor.

Project Team Directory

| Company | Contact | Position | Email | Telephone |
| --- | --- | --- | --- | --- |
| LU | Adam Thompson | Project Manager | Adam.Thompson@tube.tfl.gov.uk | 07940 121 513 |
| LU | Mohammed Assouli | Assistant Project Manager | mohammedassouli@tfl.gov.uk | 07718 358 379 |
| LU | Jeff Beattie | Construction Manager | jeffbeattie2@tfl.go.uk | 07540 716 435 |
| LU | Guy Barker | CM (nights) | Guy.Barker@tube.tfl.gov.uk | 07740 748 207 |
| LU | Ike Nze | Project Engineer | Ike.Nze@tube.tfl.gov.uk | 07894 589 012 |
| LU | Jim Burke | Commercial Manager | jim.burke@tube.tfl.gov.uk | 07549 225 013 |
| LU | Bibek Tiwari | Planner | Bibektiwari@tfl.gov.uk | N/A |
| LU | Simon Frazer | HSE | SimonFrazer@tfl.gov.uk | 07754 048045 |

Directory details for other stakeholders will be provided on request.

# TfL Standards and Project Management Requirements

## Policy Statement

The TfL Health, Safety and Environment policy can be found in Appendix 10.2.

## Health, Safety and Environment Objectives

The London Underground policy is to comply with the spirit and the letter of current health & safety and railway legislation, approved codes of practice and associated authoritative guidance and to proactively monitor changes in these to ensure rapid implementation.  Safety is our top priority, and we require the active support and co-operation of all our employees and contracted staff to maintain high standards.

Our vision is to safeguard each other and those who work with us by operating an injury free and healthy workplace and to protect the safety of all users of London Underground and others who may be affected by our operations.

We believe that health and safety are paramount and that all unsafe acts, work related injuries and illnesses are preventable, and our goal is to achieve zero incidents and injuries.

It is London Underground’s intention to continually improve health and safety by setting industry best practice objectives and targets and continually benchmarking against these.

The requirements listed below are in addition to any responsibilities listed within QUENSH.

The majority safety goal for the project is listed as follows:

- Zero accidents/ incidents (RIDDOR).

- 100% capture of reporting of near misses.

- 100% compliance with assessed and identified PPE requirements.

- 100% compliance with safety training requirements.

- 100% compliance with Safe Systems of Work.

A report of man hours worked on this project and any incidents/ accidents and near hits is required to be supplied by the Contractor to the Principal Contractor every week.  The exact format and timing of these reports is to be agreed between the Contractor and Project Manager. Any incidents/accidents or near hits must be communicated to the Project Manager, CSM and the LU Incident Line as soon as possible.  Any inspection findings must be closed out and reported back within the agreed period.

The following shall also be expected of the successful Contractor:

- Compliance with applicable requirements of LU Standards, LU Contract QUENSH conditions, LUL CMS procedures.

- Compliance with LUL Cases for Safety and Change Control.

- To identify and provide the appropriate level of training, information, instruction and supervision to team members and suppliers.

- To ensure no accidental or uncontrolled release of hazardous substances into the atmosphere / environment and minimise environmental nuisance.

- To encourage a positive environment for effective health and safety behaviour by encouraging all to take their responsibility seriously, fully involve the workforce and manage risks properly.

- To ensure that timely, useful health and safety information, training, and advice are provided.

- To promptly address emerging work-related health and safety issues.

The following strategy will be adopted to ensure the goals can be achieved:

- Adopting a sensible approach to health, safety and environmental management

- Ensure personnel are competent to carry out their tasks, and ownership of responsibility.

- Early identification and provision / facilitation of training, instruction and information requirements

- Make risk assessments relevant and readily available as a simple and effective tool for managing safety.

- Focusing on core business of delivering the project to agreed level of time, cost and quality.

- Being clear about priorities and manage them rigorously.

- Securing compliance voluntary.

- Proactive surveillance i.e. safety tour, inspections, audits reactive surveillance i.e. incidents reporting, investigations, complaints and targeting interventions where they are best placed to reduce workplace injury and ill health.

To ensure the right environmental issues are considered at the appropriate time during the project life it is important that the Principal Contractor and our Contractors’ employees at all levels of their organisation understand how they can contribute to good environmental practices for LUL.

Site Best Practice

All TfL project teams and sites are required to observe, develop and embrace best practice in site compliance and safety. Project sites will be subject to internal audit and evaluation for compliance against a set of requirements to achieve a Beacon award.

All contractors and sub-contractors are expected and required to cooperate with the LU project team to ensure the compliance requirements are achieved and maintained throughout the project.

Further information on the Beacon award can be found in the supporting documents.

Environmental Goals

Our goals for the project are as follows:

- Engage employees and Contractors’ employees, at all levels in good environmental practices.

- Ensure environmental issues are considered on a day-to-day basis and as the works progresses e.g. Risk assessments, Safe Systems of Works.

- Minimise waste as much a feasible possible.

- Monitor our environmental practices utilising the Project Site Waste Management Plan (SWMP).

Refer to Table 3 below for the Key Performance Indicators that the project will be looking to achieve or better on this project.

| Table 3 Environmental KPIs |  |
| --- | --- |
| Item | Target |
| Construction and demolition waste reused, recycled and recovered | 98% |
| Enforcement/regulatory notices | 0 |
| Major environmental incidents | 0 |
| Noise and vibration complaints - works | 0.65 complaint / 100,000 man-hours worked |
| Overdue Environment Improvement Plan actions | 0 |

## Communication and Liaison between Parties

The Principal Contractor is London Underground and is represented by the project team.

The Main Contractor is any organisation or individual directly contracted to London Underground to work on this project.

Sub-Contractors are those organisations or individuals directly contracted to a Main Contractor.

Affiliates are those organisations or individuals contracted to or working on behalf of the sub-Contractor.

Note: each Main Contractor must notify in writing the details of each sub-contractor or affiliate that will attend site.

Project Meetings

HSE matters will be discussed at all progress meetings to ensure that all issues relating to the management and implementation of health and safety issues are communicated and cascaded throughout the project. The Construction Manager in conjunction with the SPC will cascade Health and Safety information to all relevant parties.

Any suggestions, recommendations or concerns that site personnel have should be conveyed to their SPC and will be discussed in the progress meeting. On being brought to their attention, the Main Contractor/Project Manager will address the issues in consultation.

To mitigate the risk to all parties; a coordinated 3 week look ahead meeting will be held prior to the work commencing to discuss how the worksite area(s) will be managed safely and identify any high risk activities or Contractors work overlapping in the same area. Issues such as supervision, work activity use of materials, storage of materials and equipment etc shall be discussed and detailed. Unplanned emergency work will usually take precedence over programmed works. The Main Contractor project management team will co-ordinate the process with their peers in the other companies involved.

Pre-Site Briefings/Meetings

Prior to any work being undertaken on any part of the site; a meeting with the relevant personnel involved in the work will be held to discuss the following:

- The safe system of work.

- Task briefing on how the work shall be undertaken

- Licences and permits required

- Emergency procedures

- The relevant hazards/risks and associated control measures

- Integration with other Contractors/site activities

- The documentation required for compliance with the client’s requirements

Work programmes will be agreed as well as an accepted review process of all submitted documentation relating to Health and Safety. Documentation shall include but not be limited to:

- QUENSH Contract Menu

- Health, Safety and Environmental Plan

- Safe System of Work (method statements)

- Risk assessments

- Design issues

- Access arrangements

- Protection (where applicable)

Note - The works information set-out in the main ITT documents shall take precedent.

HSE Consultation

During work activities the point of contact for all site related Health, Safety and Environmental issues shall be the SPC or his designated site representative. The SPC will be identified within the Safe System of Work document(s) and the Site Safety File.

If advice on any Health & Safety issue is required; the SPC will contact the Construction Manager. The Main Contractor will appoint a Health and Safety Co-ordinator to give competent advice during the construction phase. They will have H&S knowledge and experience in the Railway Environment and Construction. The H&S co-ordinator will attend construction progress meetings.

When affiliate personnel occupy a site and there are no Main Contractor representatives on site, the affiliate SPC shall contact the Project Manager to confirm the actions to be taken. The Main Contractor will operate an “open-door” policy to encourage feedback on health and safety issues. Any suggestions, recommendations or concerns that site personnel have regarding Health, Safety and Welfare should be communicated to their SPC. The SPC will formally raise them at the site safety meetings and forward to the Principal Contractor for inclusion in the lessons learned.

## Monitoring Performance and Performance Reporting

The regime of Planned General Inspections (PGI) & Management Safety Tours (MST) will be undertaken throughout the life of the project. All findings will be monitored and subject to analysis.  All findings will be made available to the client and the senior management team. Any significant trends will be raised at board level where an action plan will be put in to place to mitigate the trend.  The inspection process falls under the jurisdiction of the Principal Contractor who will programme audits and target site inspections based on the level of risk during the work process.

Monitoring of safety inspections is undertaken by LU. This covers the formal audits carried out by LU and, although primarily to monitor and improve LU’s management system, will consider HSE aspects of the work being undertaken.

These inspections are to be in addition to the regular and ongoing safety inspections and monitoring carried out by the sub-Contractor’s SPC each night as the works progress.

These inspections will include all plant and equipment available for use on site as well as the documentation available in the form of this document, and any method statements for the works in progress.

Monitoring of safety inspections are detailed within the HSE monitoring standard S1566.

Safety inspections will be undertaken on at least a weekly basis by the SPC of the worksite.  The findings will be documented and if there are any noticeable findings, they will be discussed with the work team by the SPC prior to work commencing on the next shift.

Copies of all site safety inspections are to be forwarded to the LU Project Manager.

Inspection findings will be reviewed to identify any underlying trends to reduce the likelihood of accidents / incidents occurring.

Sub-Contractors HSE representatives are required to undertake site inspections that encompass HSE issues.

Copies of any inspections / audits carried out must be forwarded to the LU Project Manager for information, review and monitoring purposes to identify any underlying trends.

In the event of the visitor requiring undertaking an audit or inspection, the SPC will accompany the person at all times. All site visitors must sign in with the CSM/CSS first before making themselves known to the SPC for a site briefing and induction.

# Existing HSE On-Site Risks and Restrictions

## Current Adjacent Land Use

Bank station is located within the City of London. The main works shall take place within the station.

Adjacent land at street level is a public highway and thoroughfare. This is also used by Local residents, hotels, private businesses, and other ventures. Any storage, parking and deliveries at this level will require agreement with or the local authority and/or landowner/interested party.

## Known Work Activities On/Adjacent to the Site

There will be several known interfaces envisaged during the construction phase.

Overall control of the station will be maintained by the Customer Service Manager (CSM) or Customer Service Supervisor (CSS); however, the Contractor will control and monitor access and work in the areas where project activity takes place.

The Contractor’s SPC as the representative of the Principal Contractor will be responsible for the co-ordination of all interfaces between construction activities (Main Contractor and sub-Contractors) and other interfaces encountered from time to time. Known interfaces include, but are not limited to:

- Crossrail

- TFL Commercial Development

- Access for fault response

- Cubic

- Contractor for removal of advertising panes

- Electrical Contractor

- Fire Contractor

- Civils and premises works contractor

- Hoardings

Other LU Projects

Other planning and design works for future projects may be occurring while this project is on site and where impacts against this project are identified those teams will liaise with this project team accordingly.

## General Public and Customers

When works are being undertaken by or on behalf of the Main Contractor; the Health, Safety and Welfare of members of the public / passengers will be considered. The Project Manager will also consider issues that may face any residents who live in the vicinity of the site. The Project Manager may contact Local residents / resident committees where necessary in the event of any of the designated work being undertaken by the Main Contractor which may cause any form of disruption.

The Main Contractor activities on LU property will not impact on tenants who run retail outlets on that property. Generally, all works will be carried out during engineering hours or station closures/possessions with separation of the work area and the public during Traffic Hours being made using lightweight temporary hoardings as agreed with the Area Manager. In certain situations, whereby actions by other parties carrying out Works will result in station closures i.e., planned weekend line closures, then access will be sought to continue with the project works during these periods of Station Closures. All material deliveries and removal of heavy equipment shall be during engineering hours only or as agreed with the CSM/CSS.

## Site Access and Logistics

During the course of the work being undertaken by the Contractor, there may be site visits from third parties. Any person who wishes to enter a Main Contractor controlled worksite area(s) will be subject to the Main Contractor site health, safety and environmental requirements. They will be requested to provide evidence of identity and specify their reasons for entering the Workplace.

All visitors will need to sign onto the site and will receive an induction briefing to ensure they are not exposed to any risks while on site

Further detail on site access and logistics will be detailed in the Construction Phase Plan.

Site Visitors

During the course of the work being undertaken by the Contractor, there may be site visits from third parties. Any person who wishes to enter a Main Contractor controlled worksite area(s) will be subject to the Main Contractor site health, safety and environmental requirements. They will be requested to provide evidence of identity and specify their reasons for entering the Workplace.

All visitors will need to sign onto the site and will receive an induction briefing to ensure they are not exposed to any risks while on site.

Site Induction

The site induction will be applied to all workers and will focus on specific risks based on the defined work scope and foreseeable station specific risk.

The SPC will keep a record of all attendees.

The SPC must provide site safety briefings to all personnel under their jurisdiction when engaged on work activities on the LU network, they shall also ensure all relevant personnel are made aware of the applicable SSoW and risk assessment.

The SPC shall also ensure that all visitors are inducted and made aware of the necessary safety arrangements and procedures applicable to the site.

Only LU staff can accompany visitors whilst they are on site.

Access for maintenance

It must be ensured that maintenance access is not impeded to any existing electrical or signage assets. Such assets include and are not limited to lighting, illuminated signage, socket outlets, junction boxes, cable management systems, switch rooms, distribution boards, etc.

Where applicable; adequate space must be provided to enable access equipment to be safely erected so that reactive lighting and signage maintenance can be undertaken.

Ongoing maintenance activities will be carried out around the station mainly during engineering hours and should be taken into consideration when planning access and material deliveries and removals.

## Existing Storage of Hazardous Materials

It is the responsibility of the Construction Manager to ensure that storage licences have been applied for and are approved prior to storing any materials on site. This will ensure compliance with the client’s requirements for materials and tools stored onsite for a period that is over and above the shift time.

Combustible materials are not to be stored on site unless covered by an approved storage license and are stored in compliance with the storage license e.g. metal container/bin and the relevant storage license is clearly displayed.  All materials intended for use on LU premises will be stored safely and, where possible, in dedicated storage bunkers or under fire retardant blankets/covers.

Storage Licences are dated /timed and the Construction Manager in conjunction with the SPC will monitor the licence limitations. If the work is likely to exceed the allowed time, the SPC will arrange for an extension of the licence and must be given a minimum of 28 days’ notice prior from the expiry date.

## Locations of Existing Services

A visual survey of all services will be undertaken by LU project team and asset discipline engineers before main works start on site. All services will be identified and diverted or protected where required during the delivery of the main works. The contractor shall also carry out a site survey to familiarise themselves with the station, and work environment, and will ensure that all relevant assets in close proximity to the works are adequately protected prior to the start of any site works. The following documents should be referenced:

PAS 128:2014 “Specification for Underground Utility Detection, Verification, and Location” (ISBN 978-0-580-79824-5)

HSG 47 “Avoiding Danger from Underground Services” (ISBN 978-0-7176-6584-6) and

Information at http://www.utilitystrikeavoidancegroup.org/

## Ground Conditions

The Contractor is to assess the ground conditions including underground structures or water courses which may affect the safe use of plant.

## Contaminated Land

Not applicable to this project

## Unexploded Ordinances

Not applicable to this project

## Information of Existing Structures and Previous Structural Modifications

Refer to the project Non-Compliance Report, Structural Assessment Reports and Safe Load Assessments, which will be provided in the Works Information.

Loading of all platforms and structural assets by stored materials or delivery of escalator components should be restricted to the passed section only (as detailed in the safe load assessment). A full inspection of the asset is to be undertaken to determine if any platform strengthening works is required. All Deep Tube Tunnels (DTT) assets should be reviewed in consultation with an LU DTT engineer prior to delivery to confirm the assets’ ability to support any delivery loads.

## Restrictions in Relation to Existing Plant and Equipment

Not applicable for this project.

## Asbestos

Refer to the Hazardous Materials Unit Form F6048 and 4- Rail survey included in the works information.

## Other Hazardous Materials in Existing Structures

All Contractors should presume that the existing paintwork on the truss and associated steelwork has a high lead content. The contractor must detail control methods with their Safe System of Work submitted to the prior to start of works.

Refer to Lead paint survey information.

## Confined Spaces

Not applicable for this project.

## LU Weed Killing Trains

Not applicable for this project.

## Energy and Carbon

Not applicable for this project.

## Material Efficiency and Waste

The LU team (Principal Contractor) shall ensure:

- The Site Waste Management Plan (SWMP) is updated and included in the Construction Phase Plan and Environmental Management Plan. Must be planned in coordination with contractors and distributed to all parties.

- The waste register is updated daily

- All staff are educated about the management of waste during the project either by recorded induction or toolbox talks

- General waste inspections are undertaken and recorded in the SWMP

- The SWMP is reviewed and updated at least every 6 months

- Demolition audits – following ICE Demolition Protocol

For any concrete cutting/scabbling/removal etc water may be used to damp down/cool materials. Any water will need to be collected and safely disposed of with any contaminants removed.

## Noise and Vibration

Any predetermined measures identified at the outset of the Project, by way of a Noise and Vibration Assessment will be implemented to reduce the impact of Noise and Vibration within the Work Site and to surrounding properties. This may include the provision of screens, baffles and acoustic chambers such that the impact of noise can be reduced to a minimum. If Noise and Vibration are encountered on a Site that is being generated by others then the SPC shall assess the risk to work teams, through the completion of a Noise Assessment. The SPC should evaluate the risk considering the hierarchy of controls, with PPE used as a last resort, to reduce the risks to as low as reasonably practicable. Should the risk be unacceptable then the SPC will cease work immediately.

## Air Quality and Dust

Ventilation may be required during works that create dust or hot works (cutting, grinding, welding etc.). Hot works and concrete cutting/scabbling/removal etc. will create volumes of smoke and dust that may need to be removed. Ventilation extraction/insertion of fresh air from/to site may need to be implemented, in addition to damping down of the area. If specified by the SSoW Respiratory Protective Equipment shall be worn and wearers should be appropriately trained, and face fit tested for the equipment.

## Other Nuisance (Odour, Light, Etc.)

All works shall review the possibilities of creating a nuisance and put in place any containment measures deemed appropriate.

## Invasive Species and Biosecurity

Not applicable to this project.

## Protection of Wildlife and Habitats

Not applicable to this project.

## Landscape Design

Not applicable to this project.

## Surface, Groundwater and the Sewage System

Not applicable to this project.

## Erosion and Drainage

Please see water management report.

## Hydrology and Flooding

Not applicable to this project.

## Heritage

Not applicable to this project.

## Archaeological Remains

Not applicable to this project.

## Other Health, Safety or Environmental Risks

Bank Street station is an operational public railway and part of the Night Tube  24-hour Tube service at weekends (Friday & Saturday Nights). As such risks associated with the following hazards should be with the station operation and environment:

- Moving trains

- Air velocities

- Lead Paint

- Asbestos

- Electricity

- Interface with passengers

- Interface with tenants

- Interface with maintenance

- Moving machinery (escalators)

- Weil’s disease

- Hypodermic needles and other sharps

Please be aware that the site will be shared by the client’s employees such as operational staff, cleaning staff, maintenance staff at all times and members of the public during Traffic Hours.

For any concrete cutting/scabbling/removal etc water may be used to damp down/cool materials. Any water will need to be collected and safely disposed of with any contaminants removed.

Pests

Pests are present on the Underground Network; the contractor shall take due care informing staff of hazards through training and briefings. All staff must follow good hygiene practices. This includes covering all cuts and abrasions with waterproof plaster and/or waterproof gloves before starting work, washing before and after work and again before eating and drinking. Food and drink must not be consumed onsite unless using the designated welfare facilities, in addition to; thoroughly washing hands and face and changing out of contaminated clothing.

Lifting Equipment

Should, during the project, the Contractor wish to use any existing lifting equipment he shall first obtain clearance, in writing, from the employer and ensure that all equipment is tested in accordance with LOLER Regulations 1998. Lifting activities require planning and supervision by a competent person, with an approved Lifting Plan in place.

The lifting beams need to be tested in accordance with the following requirements:

- The Contractor shall seek advice from the employer in respect of the last known safe working load.

- The beam shall be tested in accordance with the requirements of BS 2853:2011 and a certificate obtained. A copy of the certificate shall be passed to the employer for records purposes.

- The maximum measured deflection of the beam under the safe working load shall not exceed 1/500 of the span. For cantilever beams the maximum measured deflection under the safe working load shall not exceed 1/250 of the span.

- The beam shall be marked with an identification number and a notice stating that the ‘Beam is not to be used without first verifying the certification status with the LUL Civil Engineer’, if they do not already exist.

If the existing beams are not in the correct position for the removal of redundant equipment and the installation of new equipment, then these will be designed and installed by others in accordance with the Contractor’s requirements.

Movement of Materials

The Construction Manager in conjunction with their SPC will ensure that risk assessments are performed on all tasks, involving the risk of injury from manual handling. Wherever possible the work should be planned to avoid or minimise the need for manual handling.

All materials should be prepared for movement as follows:

All loose and granular materials must be double or triple bagged. Material that is contaminated with asbestos must be triple bagged and moved only by authorised suppliers/contractors and licensed carriers.

All Liquids must be carried in sealed, robust containers.

All equipment must be drained of fluids to reduce the risk of damage and spillage.

Movement of materials in L&E (via escalators and/or lifts) is subject to the procedures described in guidance document G1233 (See Reference Document), application form F0654 (See Reference Document). Application form F0654 subject to a minimum notice period of 28 days if required.

Air Velocities

Please refer to Reference Document - SPG-VCP-RPT-LIV-CEN-0001 Fire Door Air Velocity and Pressure Analysis.

# Significant Design and Construction Hazards

The Principal Designer and Designer(s) should seek to identify, eliminate or reduce risks were reasonably practicable. Due to the nature of the works the Designers have not been able to eliminate all risks and have identified significant design/construction hazards as follows:

The Designers should seek to eliminate or reduce risks were reasonably practicable. Due to the nature of the works the Designers have not been able to eliminate all risks and have identified significant design/construction hazards.

## Significant Design Issues and Assumptions

The following design issues and assumptions are currently known:

- Delivery route to be confirmed with appointed contractor and during pre-start meeting with station team.

- The installation methodology has yet to be confirmed.

- Concrete removal is estimated at approximately 15m3 (phase 1) and 10m3 (phase 2).

## Arrangements for Coordinating Ongoing Design and/or Design Changes

Arrangements for coordinating on-going design work and for communicating design changes will be outlined in the Design Management Plan and the Project Execution Plan.

## Information on Significant Risks Identified During Design

Information on significant risks identified during design shall be highlighted to the Project Manager at the earliest opportunity. All parties shall take account of the principles of prevention in carrying out their duties to minimise or mitigate these risks.

Significant risks shall be recorded on the project risk register.

## Materials Requiring Particular Precautions

The following items have been identified as issues that are unlikely to be avoided or designed-out and which may be regarded as hazardous to health. The Contractor should identify those components to be utilised and ensure that the relevant health and safety data is provided by suppliers. This list is not necessarily exhaustive, and its inclusion does not relieve the Contractor or Designer of the duty to carry out his own assessment of the material content of the works and obtain such precautionary information as may be required in order to discharge his duties under health and safety legislation:

- Hot works

- Solvents and adhesives

- Flammable liquids

# Site Management and Control

## Protection of TfL Employees, Customers and Assets

Appropriate protection shall be provided where risks to LU employees, customers or assets have been identified.

Protection of LU Assets

The Contractor is committed to maintain high workplace safety and environmental standards. All staff, Contractors, sub-Contractors and self-employed shall take measures to protect LUL and 3rd party vulnerable assets from damage by fire and other causes. These measures will be compliant with the relevant statutory legislation and LUL guidance.

All site staff must keep the workplace location in an orderly manner to avoid injury/damage to persons, LUL assets and the environment cones/barriers/tapes etc will be provided at all times to protect any area where work activities (e.g., the use of GRP ladders or scaffold towers) could present a hazard to any member of public, station staff or maintenance staff. The method and controls to be used will be detailed in the supplementary Safe Systems of Works.

Enabling works may be required to the CCTV cameras, public address systems, alarm systems, lighting and signage. Signals will not be obscured and access to all safety equipment (plungers, extinguishers etc.) will be maintained at all times. Care will be exercised in dusty environments to prevent dust affecting the smoke detector systems. If isolations are required, the contractor will request the LU Construction Manager to arrange to necessary Isolations.  During the escalator works all necessary hoardings, barriers and protection will be provided to safeguard against damage to LUL`s assets (e.g., VE cladding, signage, floors, known live services, etc). The SPC is to ensure that all protection is in place before any work activity commences.

Employees of LU/TFL

To mitigate the risk to any employee working for LU the Contractor Project Manager through the SPC, will ensure that all Work Sites are clearly demarcated. The board(s) will identify the name of the Company and the extent of its activities including the times of work, nature of the duties being undertaken and points of contact in an emergency. The SPC will liaise directly with the CSM/CSS, Area Manager to ensure that all relevant Health & Safety information is disseminated to LU staff and Contractors at least daily.

## Planning Restrictions

Not applicable for this project.

## Site Boundaries

The site boundaries are defined as the station, if hoarding is utilised it will form the site boundary.

Hoardings

During the works all necessary hoardings, barriers and protection will be provided to safeguard against damage to LU’s assets and to prevent unauthorised access to the work areas. Hoardings will comply with LU hoarding standard S1027, for details see the contract QUENSH conditions section 49.

The worksite shall be defined by the hoarding line shown below (Please note this hoarding layout is indicative and subject to change pending formal approval):

Bank Esc 4 & 5 upper landing

Esc. 4 & 5 lower Hoarding

## Security

It is essential that all persons who enter a work site are managed and controlled either by the Contractor, or by a delegated party on their behalf, adhere to the site rules and site-specific documentation and that they obey the instructions given to them by the nominated SPC. Failure to do so may result in them being prohibited from entering the site.

Staff working on a Contractor site will be particularly vigilant in avoiding unauthorised access to site and doors, gates etc adjoining public access areas will be kept closed, at all times.

To ensure compliance with the requirements for site security the nominated SPC shall ensure that at the end of each work period risks from foreseeable hazards are minimised such that in the event of any unauthorised access, persons are not exposed to health and safety Risks.

If site safety and security rules are disobeyed persons involved will be subject to appropriate disciplinary action

## Delivery and Access

The timing of the deliveries and removal of materials are to be in engineering hours only, unless local agreement is made with the station Area Manager, local authority and adjacent landowner as necessary. Access times can be seen in the table below.

| Station Operational Times and Engineering Hours (subject to Night Tube) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Activity | Available working hours |  |  |  |
|  | Station Open | Station Shut | Engineering Hours Start | Engineering Hours End |
| Monday - Saturday | 0530hrs | 0100hrs | 0100hrs | 0500hrs |
| Sunday | 0700hrs | 0000hrs | 0000hrs | 0500hrs |
| Extended Engineering Hours | Possible early start of engineering works from 2200hrs if required. To be organised by LU Project Manager. |  |  |  |
| Station closures and possessions as booked | N/A |  |  |  |
| Work deemed acceptable (i.e. having no adverse impact on passengers and station operations) and to be agreed in advance by the Project Manager and CSM/CSS. | 24hr working if hoardings are utilised to constrain the works once work site has been set up for main works. |  |  |  |
| Other works (intrusive, disruptive or impacting station operations or passengers) | Engineering hours only for enabling works, intrusive surveys and for works likely to disrupt passengers such as high levels of noise and dust. |  |  |  |
| Note: Night Tube is our new overnight service that will create a 24-hour Tube service on the Jubilee, Victoria and most of the Piccadilly, Central and Northern tube lines on Fridays and Saturdays.We expect to run a train every ten minutes or less, Friday & Saturday nights. |  |  |  |  |

Access routes and component weights will have to be reviewed by LU prior to approval of delivery routes.

Storage of waste on site is to be minimised and appropriately segregated in accordance with the Site Waste Management Plan. All storage within the worksite is to be agreed with the Construction Manager and Stations Team.

No waste to be stored outside of the worksite.

## Welfare Provision

Welfare facilities will be provided at Bank Station. Exact locations are to be agreed with the Area Manager.

## Traffic Management and Parking

All Contractors will liaise with LU Construction Manager / SPC to ensure that traffic management plan is in place and/or the local authorities or landlords have been informed if required.

Traffic management plans will form the basis of the Safe System of Work.

Currently the following are not in place:

- Defined traffic routes

- Defined segregation of vehicles and pedestrians

- Parking spaces - The Contractor is required to liaise with the Local Authority and /or adjacent landowners for licence/approval/waiver to parking.

## Site Rules

All site rules will be communicated to the team members through the induction, toolbox talk and SSoW and task briefing process. The site rules must be adhered to by all personnel working or visiting LU Asset Operations sites at every construction stage. These rules are mandatory and will be subject to audit for compliance:

- Work cannot be carried out without an approved SSoW.

- Safety helmets, boots, high visibility vest, hand and eye protection must be worn at all times whilst on site.

- Additional PPE identified by the SSoW must be worn for all tasks.

- Vehicles are NOT allowed to reverse without a trained banksman to direct them.

- Only trained, certified operatives are allowed to erect scaffold (including tower scaffold) and to operate construction plant.

- No use of “prohibited articles “: portable radios (except authorised), music equipment etc.

- Food and drink only to be consumed in the site welfare facilities identified at the induction.

- Specific permits to work and licenses to be in place for related activities before commencement of such works (e.g.: hot works; confined space; permit to dig, access to specified rooms etc.)

- Scans to be carried out for embedded and hidden services before any drilling or digging is carried out.

- Access and egress through LUL premises to the allocated work site shall be direct.

- Contractor’s personnel shall not linger along or deviate from the access route.

- Access to other project work sites at the premises is prohibited without the consent of the Principal Contractor.

- Site personnel are not allowed to use the LU station welfare facilities, unless previously agreed with the Project Manager. Refer to section 7.6.

- High standards of housekeeping must be maintained at all times on site.

- Walkways and stairs must be kept free of obstruction.

- Specific LU and London Rail permits and licenses to be sought for access/storage/movement of materials before commencing of works.

- All scans are to be carried out for any embedded and hidden services before any drilling or digging is carried out.

- Behaviour on site, including entering and leaving site, is to be appropriate to prevent offence and nuisance to our neighbours and to minimise noise.

- No consumption of alcohol or prohibited drugs at work, as per the LU Drug & Alcohol Policy.

- No smoking outside of designated smoking areas. Smoking is not allowed on LU premises at any time. Consultation should take place with the Area Manager regarding appropriate areas where suppliers who wish to smoke can do so; provided this complies with the law, does not pose a safety risk and is out of customer view. Contractors should avoid smoking at or in the close proximity to exits and entrances of stations and LU buildings, where customers can see them.

- Photography will only be carried out with the permission of the CSM/CSS Flash photography must not interfere with the CCTV systems or an approaching train and can only be used with prior agreement of CSM/CSS.

Alcohol and Drugs

Compliance with the policies allows the management team to demonstrate due diligence and ensure that any risk caused by personnel being under the influence of an intoxicating substance is mitigated to its lowest level.

The Alcohol and Drugs Policy covers all personnel; Main Contractor, sub-Contractor, affiliates and self-employed personnel working on site.

The contents of the policy are communicated throughout the project to all personnel. The SPC will ensure the policy is displayed on site and communicated to all site team members as part of the site induction process.

Personal Protective Equipment (PPE)

The requirements of the Personal Protective Equipment at Work Regulations 1992 will be strictly adhered to by all personnel. The following PPE must be worn at all times whilst on site:

- Safety footwear (BS EN ISO 20345:2011)

- Orange high visibility clothing (BS EN ISO 20471:2013)

- Safety helmets (BS EN 397:2012+A1:2012)

- Protective gloves (BS EN 420:2003+A1:2009)

- Personal eye protection (BS EN 166:2002)

Additional PPE will be identified through risk assessment and issued as necessary. The SPC will ensure that all personnel working for or on behalf the Contractor have had adequate training regarding the correct use of PPE. The training will usually be in the form of a toolbox talk or will be provided by the manufacturer in the case of specialist equipment. Records of toolbox talks will be maintained.

All items of PPE must be worn and stored correctly as instructed by the team members SPC. The SPC will keep a register of all PPE issue.

Site Access and Control

Access to areas of the site must be agreed with the SPC taking into consideration the activities taking place.

At the start of every shift, staff will sign-in / out with CSM/CSS/LU Construction Manager as applicable using the site signing-in sheets.

- The SPC will ensure that everyone in his charge knows the staff assembly point and is aware of any other hazards on site.

- In the event of an emergency all staff will follow the directions to the Station Assembly Point.

- Areas of work shall be protected and clearly demarked by the Contractors to ensure non-participants in the work being carried out cannot gain access to work areas where they may be at risk.

- Where points of access or egress are affected by the works the SPC will ensure that there are alternative routes out of the work area in the event of an emergency.  The LU Construction Manager must be notified and confirm if any amendments to the Station Fire Plan are required before access or egress is affected by the works.

- These alternative routes must be communicated to the rest of the site workforce and CSM/CSS to brief all station staff.

- Hoardings and doors to other work areas must be kept shut at all times.

## Permits, Licences and Safe Systems of Work

The following permits and authorisations are applicable to the construction work to be undertaken, this list may not be exhaustive and is dependent on the methods of working proposed:

- SENTINEL or LUL staff pass with LUL Industry Common Induction.

- LU Fire Watchperson (If Hot works taking Place)

- Principal Contractor Site Person in Charge (TSW035)

- Movements of materials

- Storage of materials

- Hot Works permit

- QUAF 54

## Incident Reporting and Emergency Procedures

The emergency arrangements for the station are detailed within the station specific Site Emergency Preparedness Plan. Any works that affect these plans will need to be identified in advance to the Project Manager and updated in the Station Congestion Control and Emergency Plan (CCEP) to ensure the station plan is updated in time for the works to proceed.

Emergency preparedness plan for the works will be issued to the Contractor upon award of contract.

Incident reporting

Please see section 10.7 for incident reporting instructions.

The following details shall be provided when reporting an incident:

| Responsible Area/Project | Asset Operations, Stations, Lifts & Escalators – Bank St Esc 4 & 5 Replacement, ETFL007 |
| --- | --- |
| Location | Bank St. Station N133 |

# Health and Safety File Information

All Contractors and Designers are required to submit the appropriate documentation as defined in the Mandatory Asset Information Deliverables (MAID) and as required for the H&S File.

The layout and format of the H&S File shall be defined in the Construction Phase Plan. The following information should also be provided where applicable:

- Emergency information

- Contractual and legal information

- General building information

- Features and materials requiring special consideration

- Information of structural design

- Brief structural description

- Load restrictions or limitations

- Residual hazards

- Asbestos information

- Equipment likely to need replacement.

- A plan of work for future removal/dismantling/demolition

- Access arrangements and equipment for maintenance

- Details of the significant utilities’ services

- Reference information

- Record and as-built drawings

# Construction Phase Plan and Environmental Management Plan

The Construction Phase Plan (CPP) shall be prepared by the Principal Contractor (London Underground). The CPP shall outline the arrangements for managing health and safety on site during construction work.

Information in this PCI shall be reflected in the CPP and / or the Environmental Management Plan (EMP). The EMP may be included in the CPP or may be a separate document.

Construction must not start before a CPP and EMP are in place, reviewed and approved by the Client.

# Business Area Specific Information

The QUENSH Menu and hoarding layout will be included in the Works Information.

# Appendices

## HSE Pre- Construction Information Collation Plan

A HSE Pre-Construction Information Collation Plan will not be produced for this project.

## TfL HSE Policy

The latest TFL HSE policy can be found on Working at TfL:

http://intranet.tfl/working-at-tfl/3443.aspx

## Client’s Management Structure

L&E Organisation Chart will be included in the Works Information.

## F10 Notification

This project is notifiable under CDM 2015. A F10 will be submitted prior to work starting on site and a copy of the F10 will be kept on site at all times and displayed on the hoarding.

## QUENSH Menu (LU only)

The QUENSH Menu will be included in the Works Information.

## Designer Residual Risk Identification and Hazard Review

The following documents will be produced:

- Design Risk Register & Mitigation Plan.

- Engineering Safety Hazard Log.

Both of these documents are live and subject to regular review and amendment with information from all parties.

## Incident Reporting Instructions

TfL Incident Reporting Line:

02920 266780 (24 hours) or 1558 from TfL Auto Phone/Mobile

What must be reported – all incidents as soon as practicable following the incident, and before the end of the shift in which the incident occurred

What is an incident?

An unplanned, undesired event that resulted in, or under slightly different circumstances could have resulted in (i.e., includes near miss), harm to people, damage to property, damage to the environment or loss of service/process

Who will report incidents to the incident line?

The Principal Contractor/Contractor should report all incidents to the incident reporting line

What information does the reporter need?

The reporter will be asked a number of routing questions to ensure the incident is allocated to the correct area.  These should be responded to as follows (the Incident Line operator has drop down menus on these screens and so can only go by the defined organisational structure).

| Responsible Area/Project | Asset Operations, Stations, Lifts & Escalators - Bank St. Esc 4 & 5 |
| --- | --- |
| Location | Bank Station N133 |

Also provide:

Details of the incident

Area the incident occurred in

The reporter’s email address (to receive a copy of the report)

What happens if there is no answer?

If there is no answer within 2 minutes the call will be diverted to voice mail.  Please leave your name and contact details and the incident line will call you back within 30 minutes.

What happens once the incident is reported?

The TfL Project Manager will be sent an email notifying that an incident has been reported. The TfL Project Manager may request further details about the incident from the Principal Contractor/Contractor and the results of the investigation into the incident.

## Health and Safety File Matrix

A Health and Safety File will be produced for this project and always kept on site. The Construction Manager will be responsible for ensuring the HSE file is up to date.