Appendix 2

Specification of Requirements

Title: Lift Maintenance and Reactive Repairs

Tender Reference: WYFRS2089

(please quote this reference on all correspondence)

# Closing Date: 25/04/2025

Issued by: West Yorkshire Fire & Rescue Authority (WYFRS)

Principle Address: Oakroyd Hall, Birkenshaw, Bradford, BD11 2DY

Contents

Contents

1.	Introduction	3

1.1.	Definitions	3

1.2.	Overview	3

1.3.	Terms and conditions	3

1.4.	Term	4

1.5.	Fixed price	4

1.6.	Insurances	4

1.7.	Equivalent standards and products	4

1.8.	Legislation and standards	4

2.	General Services descriptions	4

2.1.	Definitions of Service types	4

2.2.	Brief description of the Services	5

2.3.	Value of Services	5

2.4.	Location of the sites	5

2.5.	Types of sites and occupation	5

2.6.	Inspection of the sites and documentation	6

2.7.	Access procedure	7

3.	Contractor Standards	9

4.	Contract Administration	18

5.	Contract Financial Management	21

6.	Schedule 1 – Planned Maintenance	23

7.	Schedule 2 – Reactive Maintenance	25

8.	Schedule 3 – KPIs	27

9.	Schedule 4 – Technical Specification	29

## Introduction

### Definitions

| Appendix | An appendix or any appendices to the ITT and subsequent contract. |
| --- | --- |
| Contractor | The successful bidder awarded the contract. |
| FSHQ | Fire Service Head Quarters. |
| Installation(s) | Lift installations as set out in Schedule 4 of this Specification. |
| ITT | Invitation to Tender. |
| KPI | Key Performance Indicators. |
| PPM | Planned Preventative Maintenance |
| PS | Property Services, whose e-mail address is: property.property@westyorksfire.gov.uk |
| Purchase Order | An order raised to support payment of invoices thought the Customer’s finance system. |
| Schedule | A schedule or any schedule to this Specification and the ITT. |
| Services | The works and/or services as set out in item 2.2 of this Specification. |
| Site Manager | Watch/Crew Commander at Fire Stations or PS personnel at other premises. |
| SOTER | SOTER Management Systems Limited is the Customer’s web-based computer management system which will be utilised to carry out the planning of works and to store documentation relating to the contract. |
| WYFRS | West Yorkshire Fire and Rescue Service. |
| 365/24/7 | 365 days per year, 7 days per week, 24 hours per day (for the avoidance of doubt including all bank holidays). |

### Overview

West Yorkshire Fire and Rescue Authority (herein after referred to as the “Customer”) provide fire-fighting services from 40 Fire Stations, 3 close call houses adjacent to their associated fire station located throughout the county of West Yorkshire.

The FSHQ of the Customer is located at Oakroyd Hall, Birkenshaw, West Yorkshire where there are 7 buildings.

Within the Customer’s organisation, PS is responsible for the Customer’s estate management and will have overall responsibility for the management of this contract.

The Customer wishes to appoint a Contractor for the provision of a planned preventative maintenance service relating to passenger and platform lifts, across several sites. This work will include cyclical maintenance, inspection, testing, and the provision of reactive call-out service to carry out emergency repairs. The Contract may include for replacement or upgrades and related minor works projects (as required).

.

### Terms and conditions

The Contractor shall be required to enter into a contract with the Customer based on the terms and conditions as detailed in the ITT.

### Term

The initial contract duration and any options to extend are set out in the ITT.

### Fixed price

The contract is a fixed price contract, and the Contractor should allow for this in their tender response. The Contractor will be required to break down its response into years 1, 2 and 3 together with the optional years 4 and 5 Charges as per the summary of tender in Appendix 4 - Pricing Schedule.

Should the Customer wish to extend the Contract then the Charges based on year 3 may be adjusted in accordance with the Consumer Price Index and used for the extended period.

### Insurances

The Contractor shall take out and maintain the insurance requirements as set out in the ITT and contract terms and conditions.

### Equivalent standards and products

Within all tender documentation any reference to a brand name or standard(s) or product(s) are specified by proprietary name, the phrase 'or equivalent' is to be deemed included. The Contractor shall be required to evidence any and all equivalence.

### Legislation and standards

Any reference to a statute, statutory instrument, regulations or other subordinate legislation (‘legislation’) or to a standard or Code of Practice (‘standard’) is to such legislation or standard as amended and in force from time to time.

## General Services descriptions

### Definitions of Service types

| Planned Maintenance | Periodic inspection, testing and maintenance work to the Installation consisting of an agreed number of visits, at pre-arranged intervals to carry out an agreed maintenance regime to meet statutory, manufacturer’s and the Customer’s maintenance requirements as set out in Schedule 1. |
| --- | --- |
| Consequential Services | Repairs, replacements and required modifications identified by the Contractor during the course of a Planned Maintenance visit or a Reactive Maintenance visit or any upgrades requested by PS. |
| Reactive Maintenance | A reactive call-out service to attend to faults or breakdowns carried out by the Contractor within the response times as set out in Schedule 2. |

### Brief description of the Services

The scope of Services includes the verification of as installed information; planned inspection and testing to ensure that the Installation meets operational and safety standards; reactive maintenance including the provision of a 365/24/7 call out service to attend at an applicable site within the prescribed times. The Services also includes provision for Consequential Services including repairs, replacements, modifications and requested upgrades to the Installation.

The Customer wishes to appoint a Contractor with the relevant maintenance experience to provide the following Services at each site:

- Planned Maintenance

- Reactive Maintenance

- Consequential Services (if instructed by PS)

The Services shall be carried out in accordance with the Technical Specification set out in Schedule 4.

### Value of Services

The estimated total value of the Services over the Term is between £27,000 and £100,000. The Customer is unable to guarantee the value or any volume of Services. The Contractor is deemed to have made allowance for this in its tender response.

The Customer reserves the right at its discretion to procure the Services included in this Specification outside of the contract. The Contractor shall note that the Award does not guarantee any Consequential Services and the Customer reserves the right to appoint an alternative contractor at its sole discretion to undertake any Consequential Services during the Term or extended term.

### Location of the sites

A list of the site addresses is available in Appendix 5. The Contractor shall limit their operations strictly to the boundaries indicated by PS and not use the sites for any purpose other than for carrying out the Services.

### Types of sites and occupation

The sites are categorised as follows:

| Type of site | Occupation |
| --- | --- |
| Wholetime Fire Stations | Occupied 24 hours per day, 7 days per week. |
| Day Crewing Fire Stations | Occupied from 09:00 – 17:00, on call during the night. |
| Close Call Fire Stations | Occupied from 08:00 – 19:00, crew retire to the adjacent close call house during night-time. |
| Retained Fire Stations (Unoccupied) | Occupied when there is a fire call and used for drill and administrative purposes at other times. At Retained Fire Stations, the Contractor will have to pick up and return any keys (such as plant room keys etc) for the station from its parent Wholetime Fire Station. |
| FSHQ | Occupied from 09:00 – 17:00 Monday to Friday. |

Close call houses are located adjacent to the fire station they serve. Crew work from the Fire Stations through the daytime and then from the close call accommodation provided adjacent to the fire station, to ensure that there is a faster response to any emergency call.

Priority Systems and Assets

WYFRS is a 365/24/7 blue light emergency service and as such there are certain systems and assets that are of Priority 1 importance and require a Priority 1 response and repair time. Failure or prolonged downtime of these operationally critical systems or assets could have catastrophic consequences.

Any maintenance of Priority 1 systems and assets must be planned and undertaken with the greatest of care and due diligence to minimise any potential risk.

Any Priority 1 system or asset fault reported are to be responded to urgently; with Priority 1 systems and assets being restored to full working order within defined repair times as set out in paragraph 7.4.

The Contractor is expected to maintain stocks of critical spare parts and materials or to have ready access to stock for the expedient restoration of service.

In the event of a delay in fixing a fault affected by stock outages, the Contractor must exercise the most urgent of means to obtain the necessary spare parts, material or expertise; including the use of same day express courier services and/or overnight air freight services, when necessary, to restore service as a matter of urgency. Subject to the Contractor notifying the Customer of its intention to use same day express courier services and/or overnight air freight services, the Customer shall reimburse the Contractor for the cost on receipt of a valid invoice.

Pending the receipt of deliveries, the Contractor is to provide and install appropriate temporary systems or assets to restore services.

### Inspection of the sites and documentation

During the tender period the Contractor shall be deemed to have inspected the sites and local conditions and examined the form of contract, term and conditions, specification, general conditions, schedules, building plans, related documents etc.

Site visits are mandatory. Bidders that do not attend one of the site visits set out below will be deemed non-compliant and your bid will not be evaluated.

Site visits will be held at FSHQ on 07/04/2024 at 10:00 and 13:00 hrs.

Please request time slots  electronically via the E-Procurement system to confirm preferred date and time. Maximum 2 attendees per supplier. Please provide names and contact details when booking your slot.

The reason for any site visit shall be for viewing purposes only and no details of the tender shall be divulged by PS or any WYFRS Employees.

If all information required cannot be obtained from this inspection and examination, then any request for further information and clarification shall be made to PS via the e-procurement system prior to the submission of the tender and at least 5 Working Days prior to final tender submission date.

The Contractor must make whatever investigations/enquiries it deems necessary to ensure a fully inclusive tender capable of fulfilling the specified requirements. Accordingly, the Contractor has deemed knowledge of the site conditions and all the tender documents and any claim by the Contractor arising from any lack of knowledge in this respect will not be considered.

### Access procedure

#### Procedure prior to arrival on site

The Contractor will be issued with a PAC (proximity access card) and security alarm codes that will allow access to all sites. The Contractor should not attend site without the following:

- Personnel Identification.

- Details of work including health and safety information for the site.

- Location of job.

- Site contact name.

- Risk assessment and method statement.

- Arrangement to operate relevant work permit where applicable.

- Possess current vetting clearance (to be checked on arrival).

On the grounds of security, the Customer reserves the right to check any Staff’s credentials and to refuse entry to any Staff to any site. Castleford, Pontefract and Killingbeck fire stations are shared with West Yorkshire Police and they will require enhanced Disclosure and Barring Service (DBS) checks on anyone entering their part of our buildings.

On-site parking may not always be possible, due to operational reasons.

#### Notification of Planned Maintenance visit

The Contractor will provide Property Services with a programme of work which shall be updated by the Contractor and submitted to Property Services on a monthly basis.

Property Services shall make the programme of work available to all Site Managers.

In the case of fire stations, Planned Maintenance visits shall be confirmed or amended directly with the relevant fire station, on the working day before the visit.

In the case of FSHQ, Planned Maintenance visits shall be confirmed or amended with Property Services on the working day before the visit.

In all instances, the Contractor must log on/off site in SOTER.

#### Notification of Reactive Maintenance visit

#### During Normal Working Hours in the case of fire stations, the Contractor should phone ahead to the fire station to provide an estimated time-of-arrival.

#### During Normal Working Hours in the case of FSHQ, the Contractor should phone ahead to Property Services to provide an estimated time-of-arrival.

#### Outside of Normal Working Hours, the Site Manager will report problems to Control who will report them to and liaise with the Contractor to arrange access.

#### In all instances, the Contractor must log on/off site in SOTER.

#### Upon arrival at site

On arrival on site the Contractor shall report to the Site Manager (If available) and sign in using SOTER and review the web based asbestos portal via a suitable electronic device such as a tablet or smart phone fitted with a SIM card prior to the commencement of any Services or inspections. The costs of providing all electronic devices shall be at the Contractor’s own costs and shall be included for in its tender response.

#### Liaison with Site Manager

It is a strict requirement of the contract that close liaison with the Site Manager of the particular site is maintained at all times.

The Customer’s sites are to remain fully operational therefore the Contractor shall note that no Services carried out shall impede the Customer’s emergency operations unless prior approval is obtained in writing from PS or if this is not feasible to have prior approval due to the nature of the Services approval must be sought from the Site Manager prior to Services being undertaken.

Before the commencement of any Services the Contractor shall consult with and make the Site Manager aware of the Services to be undertaken and the location of the Services and any potential impact that the Services may have on the operation of the fire station. The work content of the particular visit and the implications arising from the necessary carrying out of the Services (e.g., temporary in operation of the system or operation of the system for testing purposes) must be carefully and explicitly explained to the Site Manager so that any preventative measures to avoid an unsafe situation can be taken.

#### Completion of work

The Contractor shall notify PS on completion of the any Services. Before leaving site, the Contractor shall sign out via SOTER.

#### 2.7.6.1 Disruption of utility services

Where the utility services (electricity, gas, water, communications etc) to the site are to be disrupted to allow the Contractor to undertake the Service, the Contractor shall:

Planned interruptions: notify Property Services at least 10 Working Days in advance before the Service is carried out and give details and timescale of the planned interruption.

Unplanned interruptions: notify Property Services as soon as possible giving details and timescale of the unplanned interruption and obtain the approval of Property Services before the Service is carried out.

Property Services will instruct the Contractor on any requirements for providing temporary heating. Where applicable the Contractor will be responsible for supplying and fitting of temporary equipment as a Consequential Service.

#### Customer’s documents

The Contractor will be required to undertake the Services in accordance with the following documents:

- The Management of Permits to Work and Permits to Access Policy

- Management of Contractors Policy.

- Asbestos Management Surveys (Including Risk Register)

### Contractor Standards

#### Project management and Staff

The Contractor shall appoint a designated account manager and employ any other Staff it considers necessary to carry out and complete the Services, all works, duties, and obligations under this contract and therefore shall make all due allowance within the tender response for the costs associated with project management and Staff, both on and off site.

#### Welfare facilities

The Contractor will be allowed use of the Customer’s toilet and canteen facilities providing they remove their overalls and muddy boots etc, and use their own tea bags, coffee, and milk. Failure to do so will result in withdrawal of use of the facilities.

#### Health & Safety and CDM Regulations

The Contractor shall make allowance for complying in full to all relevant health and safety legislation and CDM Regulations including any subsequent amendments. The Contractor shall be required to prepare all documentation e.g., method statements, material information, risk assessments/analysis as required by the regulations.

The safety of the occupants is of paramount importance and due regard for their safety and compliance with the Health and Safety Plan must be made in deciding upon the method and execution of the Services. The Contractor shall ensure that designated escape routes are always kept clear and, if required, by using scaffold protected walkways including any necessary overhead protection, adequate lighting, and signs.

During any pandemics the Contractor shall note that all government advice and guidelines that are current at the time shall be strictly adhered to.

Should Government restrictions prevent the Contractor from providing any Services during a pandemic, the Contractor shall adjust its Pricing Schedule and Charges accordingly.

#### Risk Assessments and Method Statements (RAMS) and Permits to Work

Task specific RAMS must be completed as appropriate, and copies provided by e-mail to PS.  Lone workers should be appropriately training and be provided with suitable monitoring measures which are clearly documented in the Contractor’s RAMs.

If Hot Works, Confined Spaces, or Asbestos are involved, the Contractor must provide PS with detailed task specific RAMs and competency certificates for all operatives involved and prior to the task being undertaken.

Lone workers should be appropriately trained and be provided with suitable monitoring measures which are clearly documented in the Contractor’s RAMs.

The Contractor must inform PS prior to any intrusive work being undertaken.

The Contractor must obtain appropriate Permits to Work from PS via SOTER.

#### Identification

All Staff visiting any site to provide the Services under this contract must wear an ID (identification) badge following a successful vetting outcome. The ID badge must be clearly always displayed and include the following information:

- The wearer’s name.

- A photograph of the wearer.

- The name of the Contractor.

- Contractor’s contact telephone number.

Any Staff who leave the employment of the Contractor must return the ID badge to the Contractor.

#### Dress code

All Staff shall wear liveried workwear. The Contractor shall ensure that all Staff are issued with uniforms, workwear or other outfits that are suitable to the type of work to be undertaken and present a smart appearance to the Customer’s personnel.

#### Certification of competency

All Services are to be carried out by Staff with adequate skills, experience, resources, and equipment to facilitate the Services in a safe and effective manner. All Staff must have the appropriate training for the operation which they are performing.

Prior to the Commencement Date, the Contractor shall provide to PS via SOTER / e-mails copies of trade competency certificates for the company and for all Staff that will be carrying out the Services. The certificates that shall be provided as a bare minimum shall be as follows:

Company Certification

- Company details including registered address, VAT Number etc.

- A competence assurance letter that confirms that all Staff hold and maintain the required level of qualifications and have completed suitable and sufficient training for any trade competency that is required to provide the Services.

- EN13005.

- Lifting and Loading Regulations (LOLER)1998.

- Guidance provided by the Safety Assessment Federation.

- Guidance provided by the Lift & Escalator Industry Association (LEIA).

- Company SSIP

- Insurance certificates

The upkeep of the Contractor’s documents and subsequent upload to SOTER must be completed 5 working days prior to expiring.

Employee Certification

All Services are to be carried out by competent Staff with adequate skills, experience, resources and equipment to facilitate the Services in a safe and effective manner. All operatives must have the appropriate training and qualifications for the task which they are performing.

Minimum qualifications and competencies expected for the Services include (but not limited to):

Asbestos Awareness.

- UKATA Asbestos Awareness

- Working at Heights

- One member of Staff engaged on the contract to be a registered first aider

- PASMA (Prefabricated Access Contractors’ and Manufacturers’ Association).

- Elevator / Hoist Training / Mobile Access Equipment - IPAF (International Powered Access Federation) Licence for the equipment they are operating.

- Manual Handling

- Permits to work

- COSHH

- If requested, the Contractor shall provide documentary evidence to prove competency and qualifications.

At the Commencement Date, a copy of all certificates shall be uploaded on to SOTER. All certificates shall be kept updated, with any updated certificates uploaded to SOTER and a copy shall be sent to PS at the certification expiry date. The upkeep and renewal of competency certification will form part of the meeting agendas.

#### Quality of workmanship and materials

#### General

All workmanship and materials used in carrying out the Services shall comply with the relevant European Standard(s) where such exist or in their absence with a current British Standard(s) issued by the British Standards Institution or in their absence a relevant Code of Practice.

The Contractor shall execute the Services using reasonable skill, care and diligence, workmanship of the highest standard, using materials of the quality and standards specified and in accordance with the Health and Safety Plan to the reasonable satisfaction of PS.

#### Workmanship

The Contractor shall provide workmanship to the highest standards produced by experienced people and fully in accordance with the requirements of all relevant regulations and codes of practices customary to the trade.

The Contractor shall be fully conversant and trained to undertake the Services and all Staff undertaking the Services on this contract shall be competent to do so. When requested, the Contractor shall provide documentary evidence to prove competency.

The Services shall be carried out by suitably trained and technically qualified persons to an appropriate level in accordance with manufacturer’s recommendations, statutory guidelines, and current regulations.

The Contractor shall perform the Services with the utmost care and attention at all times and the Services shall be undertaken under the supervision of a supervisor/foreman to ensure the best workmanship and coordination of all parties.

#### Materials

All materials and equipment supplied by the Contractor shall comply and conform to the appropriate current British Standard Specification and/or equivalent European Standard (or equivalent) and/or Harmonised Standards as may be amended from time to time.

All materials and equipment shall be new, of a quality and type suitable for the application, and shall be fit for purpose in every respect and shall be of the respective kinds described in the Schedule of Rates.

#### Alternative materials

The Contractor may substitute an alternative item to that specified provided that the alternative item has been accepted in writing by PS.  It must be noted that the proposed alternative item will not be accepted unless:

- Full details of the sample are submitted to PS for consideration at least 10 Working Days before it is necessary for a Purchase Order to be placed for the item, and

- PS is satisfied that the qualities of the item are at least equal to those of the specified item.

#### Site audits

The Contractor shall be aware that PS will carry out random audits of sites to inspect the Services to ensure that it has been completed to a in accordance with the requirements of this Specification including checking that the electronic logbook has been completed.

#### Samples

The Contractor shall provide samples and testing materials as required by PS and pay all costs thereof.

#### Consumables

All consumables (for example but not limited to fixings, fastenings, labelling, crimps, test meters etc) that may be required to undertake the Services shall be included for in the tender response.

#### Protection of the work

Protection of the work, materials (fixed or unfixed) and plant against damage and for making good any damage arising from insufficient protection is the responsibility of the Contractor.

#### Control of noise, disturbance, and nuisance

The Contractor shall note that the Services may be required to be carried out on and within a fully operational fire station and office locations and shall ensure that he takes all reasonable measures to cause as little inconvenience as possible to the occupants of the premises.

The Contractor shall execute the Services with a minimum of inconvenience to occupants and users of the sites and adjacent properties and ensure that the Services are carried out without unreasonable noise and disturbance.

The Contractor shall prevent nuisance from smoke, dirt, rubbish, water or any other cause to occupants and users of the sites and adjacent properties and members of the public.

The Contractor shall ensure that all measures are taken to control noise levels in accordance with the Control of Pollution Act 1974, the Control of Noise (Code of Practice for Construction and Open Sites) Order 1984 and BS5228 or any modification or re-enactment thereof or any equivalent European standard.

The use of music devices (radios, etc) by Staff is not permitted. Mobile phones shall be used off the premises except at the discretion of PS.

#### Smoking and fires

Smoking (include the use of electronic cigarettes) and fires are not permitted on any site.

#### Subcontracting

The Contractor shall in his tender submission inform the Customer when sub-contractors are proposed to be used for the Services and shall state who their sub-contractors are. The Contractor shall not sub-contract the Services or any part of the Services under this contract except when PS has given prior written approval to the appointment of the sub-contractor, and the Contractor has submitted to PS evidence of:

- The Sub-Contractor Public Liability and Employer’s Liability Insurance Policies.

- The sub-contractors Certificate from the Inland Revenue.

- The sub-contractors Safety Policy.

- All relevant certification required for the purpose of completing the required Services.

As stated in the Appendix 6 - Contract Terms and Conditions any sub-contract the Contractor shall:

- ensure the sub-contract shall require the sub-contractor to comply with the terms and conditions of this contract, and

- be responsible for the acts and omissions of its sub-contractors as though those acts and omissions were its own.

During the Term, if the Contractor wishes to change any approved sub-contractors, they shall obtain prior written approval from PS.

#### Other maintenance contractors

The Customer currently employs other contractors to carry out other maintenance services at the sites. When undertaking any Services, the Contractor shall allow access to site and use of facilities for the execution of other work by another contractor or tradesman who may be engaged by the Customer and shall ensure that he takes all reasonable measures to cause as little inconvenience as possible to the occupants of the premises and the other contractors.

#### Utilities and existing services

The Contractor shall be permitted reasonable use of Customer’s electricity and water free of charge for the purposes of testing and commissioning. The Contractor shall be responsible for any damages and consequential costs incurred by using or interfering with existing services without the permission of PS.

#### Storage of plant and materials

The Contractor shall not place any plant or materials on grassed or planted areas. Any damage, however caused to these areas during progress of the Services, shall be made good to the satisfaction of PS and at the Contractor’s expense.

#### Mobile communications

Provision must be made by the Contractor for PS to communicate directly with any Key Personnel of the Contractor, i.e., by mobile telephone. The use of any of the site telephones is not permitted under any circumstances.

#### Asbestos

The Contractor shall comply with the Control of Asbestos at Work Regulations 1987 and the relevant clauses of the Health and Safely at Work Act 1974, in carrying out the Services on or in the vicinity of asbestos or asbestos based materials. No person under 18 years of age is to be employed on such work and all Staff employed in the vicinity of asbestos shall be fully conversant with the use of respiratory equipment and have full knowledge of the relevant requirements of the above Regulations and Act.

All Staff must undertake regular asbestos awareness training courses and provide written proof of this to PS prior to commencing the Services and on an annual basis by uploading the evidentiary documentation on to SOTER.

The Contractor will be given access to the Customer’s Asbestos Register and the Contractor shall ensure that they have access to the on-line asbestos portal.  This can be authorised by contacting PS. Risk assessments in respect of asbestos are currently being updated and uploaded by PS to its on-line asbestos portal.

The Contractor must be aware that unidentified asbestos materials may exist at any site. In the instance of either:

- the suspicion of the presence of asbestos materials, or

- damage occurring to known asbestos material during the course of the works,

the Contractor shall immediately stop work, inform and protect others from exposure and inform PS via telephone and e-mail. PS shall advise the Contractor how to proceed.

#### Disconnection of equipment or systems

Where any equipment or systems are required to be disconnected in order to carry out the Services, temporary equipment or systems must be installed and if at all possible be operational prior to the start of the Services to permanent equipment or systems.

If it is not possible for equipment or systems (whether temporary or permanent) to be in operation without a break in cover, any shut off/switch over period must be carried out at a time of least risk and agreed with PS. Such shut off will therefore be arranged for a specific and known time and duration and all affected persons informed.

#### Temporary works

#### General

The Contractor shall include for the provision of all plant, tools, equipment, vehicles, access equipment and access towers necessary for the proper execution of the work.

#### Hoardings and gantries etc.

Allow for supplying, erecting, adapting as necessary and maintaining such temporary hoardings, scaffolding, gantries and barriers as may be required by PS or necessary for the safe and proper execution of the Services and the protection of the public including all necessary lighting.

#### Scaffolding and access platforms

All scaffolds shall be of sound construction and adequate strength, erected, altered or dismantled by a competent person, complies with HSE requirements and kept clear of extraneous materials at all times.

This also includes the hiring of hydraulic platforms or hoists to access the works at high level in accordance with Health and Safety requirements. All equipment used must comply with the Provision and Use of Work Equipment Regulations 1992.

The Contractor who provides the equipment for use at work must make sure it meets the safety requirements set out by the appropriate Regulations.

The Contractor is to make good all surfaces which are damaged or disturbed by reason of erection and dismantling of such equipment.  All equipment should be installed and used in accordance with current Health and Safety requirements and to the full satisfaction of PS.

The Contractor shall note that working from ladders is permitted on the Customer’s premises, providing that all health and safety regulations are complied with.

Platforms if used, shall be safely utilised by the Contractor in accordance with the manufacturer’s instructions.

The operator of the platform shall have attended a suitable training course of the use of the platform and must have proof of their competency by holding the required IPAF (International Powered Access Federation) Licence for the equipment they are operating.

Any scaffolding required for the undertaking of the Services shall be supplied and erected by the Contractor. The use of any scaffold shall be erected by qualified Staff holding PASMA (Prefabricated Access Contractors’ and Manufacturers’ Association) certification and shall be fitted with “Scafftag” labels.

Scaffolding shall comply with:

- BS 5973: 1981 ‘Access and Working Scaffolds and Special Scaffold Structures in Steel.’

- BSCP 97: Part 2: 1970 “Suspended Scaffolds” or equivalent European Standards.

#### Waste and contaminated materials

All waste and redundant materials not required by the Customer shall become the property of the Contractor and shall be removed from site and disposed of appropriately.

Any contaminated materials shall be the subject of contaminated waste disposal and a certificate shall be issued to PS by the Contractor. Waste materials shall be disposed of in accordance with regulatory requirements of the Environmental Protection Act 1990 and any applicable future amended versions. The use recycle facilities wherever possible should be undertaken.

The Contractor (or his appointed sub-contractor) must hold a current Waste Carrier’s Licence in accordance with the Certificate of Registration under the Waste (England and Wales) Regulations 2011 and ensure that any applicable future changes are appropriately actioned.

At the Commencement Date, a copy of the relevant licence shall be uploaded on to SOTER and shall be updated at the licence expiry/renewal date.

#### Removal of rubbish

The Contractor must allow for cleaning up and leaving the premises neat and tidy at the end of each day.

Debris and other rubbish shall be removed daily from the site in accordance with the Waste Management Policy, unless otherwise agreed with PS. Rubbish shall be stored in an agreed area and removed as agreed with PS or Site Manager if, for good reasons, rubbish cannot be removed the same day.

#### Making good on completion

The Contractor shall, when leaving the site, allow for the cleaning and tidying thereof. On completion clear away all superfluous materials, scaffolding and plant and leave the whole of the works and the site clean and fit for operation. The condition of the site upon leaving should reflect the condition of the site upon the Contractor’s arrival.

The Contractor shall allow to make good any surfaces or finishes affected by the Services to match the existing and shall allow to clean all works and areas affected by the works upon completion.

Should any fire containment barriers have been compromised in providing the Services, the Contractor shall make good using suitable fire containment material.

### Contract Administration

#### Induction process

The Contractor’s Key Personnel will be required to undertake on-line induction by accessing SOTER. The induction will be carried out prior to the Commencement Date, at a date to be confirmed (and then regularly throughout the Term for any new starters or refresher induction). All Contractor’s Key Personnel shall undertake induction. It is envisaged that the online induction should take around 40-60 minutes to complete. Items covered during the induction include the following:

- Introduce the Contractor’s Key Personnel to PS.

- Discuss what is expected of the Contractor and how their work will be monitored, and performance assessed.

- Discuss how the Contractor will carry out their duties.

- Discuss how the Contractor will be supported.

- Provide the Contractor with any information they need to help them carry out the work safely.

#### Programme of work

#### Provisional programme

The Contractor shall submit an outline provisional programme of work within its tender response to be reviewed by PS as part of the tender evaluation process. The provisional programme of work shall be in Microsoft Excel format and shall be on a monthly basis indicating as a minimum the start date, the order in which the Contractor plans to carry out the various tasks of the Planned Maintenance and the planned completion date.

#### Detailed programme

No later than 10 Working Days after Award, the Contractor shall submit to PS a fully detailed programme of work and/or service delivery plan. PS shall either approve or reject the detailed programme and/or service delivery plan within 5 Working Days of receipt. If the submitted programme of work and/or service delivery plan is rejected, reasons for the rejection will be provided and the Contractor shall amend the detailed programme and/or service delivery plan in accordance with the requests made by PS and resubmit within 5 Working Days.

The detailed programme of work and/or service delivery plan shall be in Microsoft Excel format and shall be on a monthly basis indicating as a minimum the start date, the order and timing in which the Contractor plans to carry out the various tasks of Planned Maintenance, at which sites, and the planned completion date. The detailed programme of work and/or service delivery plan shall be updated on a monthly basis and issued at agreed monthly dates and at least 3 Working Days prior to the meetings.

#### SOTER requirements

SOTER is the Customer’s computer management system which will be utilised to carry out the planning of works and to store documentation relating to the contract.

The Contractor will be required to upload documentation to this system and therefore must make allowance within the tender response for the administration to carry out these tasks.

SOTER will also be utilised by the Contractor for the log on to/off at the time of any site visits and therefore it will be the Contractor’s responsibility that all their Staff have a suitable smart phone /tablet with internet facility and SIM card to allow access to the SOTER system.

The Contractor will be required to upload its company documentation to SOTER and for use by the Contractor’s Staff to undertake the Customer’s induction. The requirements of SOTER are continually developing and is currently used to:

•	Maintain the Contractor’s organisational details. This includes details of regularly used subcontractors.

•	Maintain mandatory insurance, accreditation, and other health & safety related documentation e.g., risk assessments and annual competency assurance statements.

•	Provide the facility for (where required) the Contractor’s Staff to log their presence on/off site.

•	Ensure (where required) Contractor’s Staff have undertaken the Property Service’s online induction.

•	Manage ‘Permit to Work’ processes.

#### Electronic logbooks

The electronic logbook for each site will be a virtual logbook (software logbook) and will be accessible on SOTER. It will be the responsibility of the Contractor to ensure that the electronic logbook is kept up to date. The following shall be added/uploaded to the electronic logbook at the appropriate time:

- Dates and brief details of attendance i.e. purpose of visit.

- Report sheets.

- Test certificates.

- Updated drawings.

All report sheets shall be uploaded to SOTER on a monthly basis and sent electronically to PS within 5 Working Days of the visit.

Monitoring of the electronic logbook by PS will be carried out on a monthly basis to ensure that it is kept up to date and is in line with the monthly reports that will be issued by the Contractor. The upkeep of the electronic logbook is a KPI as set out in item 8.1 of Schedule 3.

#### Purchase Orders

Purchase Orders for Planned Maintenance will be issued Annually. Purchase Orders to carry out Reactive Maintenance and Consequential Services will be issued on an ‘as and when’ required basis. Where PS verbally instructs the Contractor to carry out any Reactive Maintenance and/or Consequential Services, a Purchase Order will be issued within 5 Working Days following the instruction.

#### Reports

Reports shall be produced by the Contractor on a monthly basis to inform PS of progress and shall be submitted to PS at agreed monthly dates and at least 3 Working Days before the date of any review meeting. PS shall advise the Contractor of the agreed review meeting dates. The reporting shall be on the previous month’s activities and the reports shall as a minimum include the following:

- Planned Maintenance: The reports shall indicate the proposed timing of the various tasks and progress to date (planned v actual).

- Reactive Maintenance: This report shall provide a summary of all callouts in the month.

- Details and status of any Consequential Services.

- Health and safety: This report shall include details of any health and safety issues, including any near misses.

- KPIs: This report shall provide details of the Contractor’s performance against each of the KPI targets.

- Electronic logbooks: This report shall give details of the documentation that has been uploaded to SOTER on a monthly basis.

#### Presentation of reports and documents

The Contractor will provide all reports and documents in both written and electronic format. The Contractor must ensure the electronic format is suitable for storage, recovery and archive (i.e. Microsoft Word and Excel, AutoCAD, Adobe). This will be agreed at the onset of the contract with PS. The Contractor must include within his submitted prices for the cost of providing all information in both written and electronic format and for the maintenance and stewardship of all information.

#### Review meetings

Prior to the Commencement Date, the Contractor shall allow to attend a pre-commencement meeting to agree a programme of works and the operational protocol for the contract.

Review meeting dates and location shall be agreed with PS. Initial review meetings shall take place on a monthly basis during the first three months of the contract and thereafter subject to the Contractor satisfactorily meeting the KPI targets the review meetings shall be held on a quarterly basis. PS reserve the right to review the location, dates and frequently of review meetings during the Term.

PS shall be responsible for taking the minutes of the review meeting and will circulate to all attendees and the relevant members of PS not in attendance.

All review meetings shall be held at FSHQ. However, on occasion, review meetings may be held at a fire station or any other sites within the Customer’s estate. The Contractor shall make all due allowance in respect of this and will include for all costs associated with attending these review meetings.

#### KPIs

The Contractor’s performance shall be monitored against the KPIs as set out in Schedule 3 and will be form part of the standard agenda for discussion at the review meetings.

#### Handover procedure

The Contractor shall hand over to PS all relevant documentation such as drawings, test certificates, schedules of equipment, alarm codes etc within 30 calendar days after the Expiry Date or any extended period.

It is a condition precedent that all documents are handed over to the satisfaction of PS before the final payment will be made to the Contractor by the Customer.

All information shall be issued in electronic format as follows:

- Drawings shall be in both PDF and AutoCAD 2019 format.

- Test certificates shall be in PDF format.

- Any schedules shall be in Microsoft Excel and PDF format.

The Contractor shall also provide all information required under the Transfer of Undertakings (Protection of Employment) Regulations 2006 as requested by PS.

### Contract Financial Management

#### Schedule of Rates

The Contractor shall complete a detailed priced Schedule of Rates as contained in the Appendix 4 - Pricing Schedule.

The rates are to be applied in charging for any Consequential Services identified during Planned Maintenance or a Reactive Maintenance visit.

The rate for travel costs to and from any site shall be provided as a separate item line within each quotation. The fixed rate for the Term is £30.00 per site visit for travelling to site regardless of distance, time involved and number of vehicles. All Reactive repairs shall be on an open book policy, where you will provide suitable evidence for the time taken and copies of materials obtained from merchants, suppliers, or sub-contractors.

Any work to be undertaken on a daywork basis shall be authorised in writing by PS before the work is undertaken. Time sheets shall be submitted to PS not later than 5 Working Days after the day on which work was executed.  Time sheets shall indicate the hours actually worked on a particular task along with material costs from merchants, and any sub-contractor costs.

#### Payment provisions

The payment provisions are set out in Appendix 6 - Contract Terms and Conditions.

#### Payment of Planned Maintenance.

Payment of the Planned Maintenance will be made in accordance with the Charges as set out in Appendix 4 - Pricing Schedule.

Charges for Planned Maintenance will only be paid in respect of completed tasks carried out against the programme and for which report sheets and/or test certificates of the completed tasks have been provided to and approved by PS.

Applications for payment for Planned Maintenance shall be supported by a list identifying the sites at which the Services were provided, the tasks undertaken, the name of the authorising person for the Services and completed report sheets and/or test certificates.

#### Payment of Reactive Maintenance and Consequential Services

Payment of the Reactive Maintenance and Consequential Services will be made in accordance with the Charges as set out in the Appendix 4 - Pricing Schedule and/or the agreed quotation.

Charges for Reactive Maintenance and Consequential Services will only be paid in respect of completed tasks carried out against the Purchase Order.

Applications for payment for Reactive Maintenance shall be supported by the relevant Purchase Order and completed report sheets and/or test certificates.

#### Consequential Services

Consequential Services shall include the supply and delivery to site of all necessary equipment and materials, subsequent installation, testing, commissioning, and putting the completed repairs, modification or upgrade into operation in a neat, safe, and efficient manner, together with the provision of all record documentation. Consequential Services shall be categorised as either minor or major.

#### Minor Consequential Services

Minor Consequential Services are defined up to a value of £750 (excluding VAT).

When carrying out the Services, should the Contractor identify the necessity for any minor Consequential Services this should be undertaken immediately and where possible the cost shall be determined from the Schedule of Rates and presented to PS via e-mail for approval.

If any minor Consequential Services cannot be undertaken immediately, or is a danger to health and safety, or the works are in excess of £750 then the Contractor shall ensure that the system is isolated and left in a safe state and shall provide a recommendation for the completion of the works together with a quotation within 5 Working Days (or sooner if possible) by email to PS.

In this instance the Contractor will receive a Purchase Order for the original call out and any work carried out during the call out. Subject to the Customer’s acceptance of the quotation, the Contractor will receive a further Purchase Order for the minor Consequential Services that cannot be undertaken immediately.

#### Major Consequential Services

Major Consequential Services are defined as value in excess of £750 (excluding VAT).

When carrying out the Services, should the Contractor identify the necessity for any major Consequential Services, the Contractor shall immediately notify PS, ensure that the system is isolated and left in a safe state and provide a detailed quotation as follows:

- For major Consequential Services up to the value of £10,000 (excluding VAT).  The Contractor shall submit a fully itemised written quotation and the cost where possible shall be determined from the Schedule of Rates within 5 Working Days (or sooner if possible) by email to PS for approval. Providing that PS are satisfied that the quotation represents value for money, major Consequential Services up to the value of £10,000 may be instructed at the discretion of PS. PS reserves the right to acquire further quotations from alternative contractors for the major Consequential Services if they are not satisfied that the quotation from the Contractor represents value for money.

- For major Consequential Services over the value of £10,000 (excluding VAT). PS will obtain a minimum of 3 written quotations, 1 being a quote from the Contractor and 2 additional written quotations from alternative contractors and PS reserves the right to choose which alternative contractors the quotations are to be obtained from. Major Consequential Services over the value of £10,000 will be instructed at the discretion of PS via a Purchase Order.

### Schedule 1 – Planned Maintenance

#### General

The Contractor shall carry out the Planned Maintenance of the Installation at the sites in accordance with relevant SFG20 standards and manufacturers’ operating and maintenance instructions.

#### Equipment/assets to be maintained

A list of the equipment/assets to be maintained is set out in Schedule 4 of this document If the Contractor finds that the description or quantity of equipment/assets as set out in Schedule 4 are incorrect it shall immediately notify PS of any such errors. Assets will be updated by the Contractor on SOTER when any changes occur.

#### Working hours

Planned Maintenance shall be carried out during normal working hours i.e. Monday to Friday 8:00am to 5:00pm excluding bank holidays.

#### Maintenance standard and frequency

The Contractor shall carry out Planned Maintenance in accordance with the relevant SFG20 standard and frequency as required.  The Customer reserves the right to agree amended frequencies with the Contractor.

#### Report sheets

The Contractor shall produce a maintenance report sheet for each visit to site when carrying out Planned Maintenance. The maintenance report sheets shall detail the equipment/assets maintained on each visit and shall make references to the relevant SFG20. Following the completion of any Planned Maintenance, if applicable the Contractor shall issue a relevant test certificate. Maintenance report sheets and test certificates shall be submitted via email to Property Services and uploaded to SOTER within 5 working days.

#### Consequential Services

Should any Consequential Services be required to be undertaken at the time of the Planned Maintenance visit, the details are to be entered on the report sheet. The procedure for carrying out Consequential Services is set out under item 5.4.

#### Verification survey

During the first Planned Maintenance visit the Contractor shall undertake a verification survey of the equipment/assets which are to be maintained and tested. The Contractor shall undertake a verification survey of the Installation against the Customer’s existing asset list and at the same time, determine their condition. All sites must be completed within the initial 6-month period.

Property Services will provide the Contractor with the current asset list and any relevant drawings to assist the Contractor in undertaking the verification survey.

The Contractor shall provide any updated information to Property Services.

The Contractor shall adjust future Planned Maintenance schedules as appropriate.

Typical information that requires verification includes:

•	Description of item (e.g., passenger lift, platform lift etc)

•	Manufacturer

•	Model reference

•	Capacity/Output

•	Serial number (where possible)

•	Date of manufacture (where possible)

•	Assessed condition (‘As New’, ‘Good’, ‘Fair’, ‘Poor’, ‘Unserviceable’)

During the verification survey, the Contractor should ensure all necessary documentation/ labelling are present and up to date and to supply any new/amended documentation/labels as necessary.

#### Updating of drawings and ‘as installed’ information

If any additional equipment/assets or modifications to the Installation are carried out during the Term, the Contractor shall update the AutoCAD drawings and the schedule of equipment/assets and issue this to PS within 5 Working Days of the works being carried out.

The schedule of equipment/assets and drawings shall be saved as the next revision up i.e. as revision R1, R2, R3 etc.

Once PS has approved that the updated information is in the correct format the Contractor shall upload the revised drawings and schedules onto SOTER.

### Schedule 2 – Reactive Maintenance

#### General

PS may request the Contractor to carry out Reactive Maintenance to the Installation at the sites on a 365/24/7 basis. Reactive Maintenance will be instructed by PS on an ‘as and when’ required basis.

#### Help desk

The Contractor shall allow for providing a 365/24/7 help desk which will allow PS to report faults, defects, break downs etc. The Contractor shall provide PS with a dedicated telephone number and email address for help desk service.

The personal contact details of two of the Contractor’s Key Personnel shall be provided to PS so that in the unlikely event of a communications failure causing an inability to contact the help desk, somebody from the Contractor will always be contactable. The Contractor is responsible for ensuring these details are kept up to date and PS are to be informed accordingly of any changes.

#### Notifying faults and breakdowns

PS shall notify the Contractor of the priority/category of the fault or breakdown. On receipt of a notification, the help desk shall arrange for the appropriate resource to attend to the particular site to rectify the problem within the response times set out in item 7.4 of this Schedule.

The help desk shall confirm to PS via email, their allocated job reference number and also an estimated time of arrival to site. Confirmation of Priority 1 shall be within 1 hour, Priority 2 within 4 hours and Priority 3 within 1 Working Day.

The help desk shall provide and maintain a database with up to date Reactive and Planned Maintenance visits including records of call outs and repairs for each site. This information shall be available to PS within 1 Working Day of any request.

#### Response times

Response times are categorised as follows:

| Priority | Category | Response time | Repairs fully Completed by |
| --- | --- | --- | --- |
| 1 | Business critical and/or an emergency | Within 4 hours | Within 1 working day of initial order raised |
| 2 | Urgent | Within 3 Working Day | Within 3 working days of initial order raised |
| 3 | Routine | Within 10 Working Days | Within 10 working day of initial order raised |
| 4 | General Order | Within 28 Working Days | Within 28 working days of initial order raised |
| 5 | Projects / Minor works | To be Agreed at start of job. | To be Agreed at start of job. |

Priorities will be determined by the PS team on an individual basis depending on the nature of the work and impact it could have on buildings, persons, or service delivery.

Priority 1: is defined as business critical and/or emergency where the safety of those using the system is at risk and the fault that has a major impact on the operational performance of the building. Attendance to site shall be within 4 hours of the call being received.

Priority 2: is defined urgent where those using the system may not be at immediate risk, but action is required to remove potential danger. This priority is for faults that have an impact on the premises but can be managed for a limited period, they may also impact on operation services of the fire fighters. Attendance and completion of the works to site shall be within 3 Working Days of the call being received and order raised.

Priority 3: is defined as routine works where an investigation has revealed a non-compliance with the current standards which, whilst not presenting immediate or potential danger, would result in significant safety improvement if remedied. This priority is for faults that have no operational effect on the premises. Attendance to site shall be within 10 Working Days of the call being received.

Priority 4: Is defined as work or faults that have no operational effect on the premises, or detrimental to the building and its use. Attendance and completion of the work shall be within 28 Working Days of the call being received and order raised. (see examples in table below)

Priority 5: Is defined as projects, schemes or minor works that generally involve multiple trades and building disciplines. These may be work that enhance and benefit the building but are not affecting operational staff or building users. The completion date will be agreed before work commences and shall be a reasonable time to complete for both parties.

#### Completion report and certification

Following the completion of any Consequential Services, the Contractor shall issue a relevant test certificate and completion report to PS detailing the following:

- Dates and brief details of the work carried out, and

- A schedule of any new parts supplied and fitted to replace defective parts including the specification of any new equipment.

The completion report and test certificates shall be provided to PS and uploaded to SOTER as follows:

| Priority | Timescale for providing test certificate | Timescale for providing completion report |
| --- | --- | --- |
| 1 | Within 5 Working Days of completion of the Consequential Repair work. | Within 1 Working Day of completion of the Consequential Repair work. |
| 2 and 3 | Within 10 Working Days of completion of the Consequential Repair work. | Within 5 Working Day of completion of the Consequential Repair work. |

### Schedule 3 – KPIs

#### Description of KPIs

The Contractor shall have a clear and robust monitoring process and shall be able to demonstrate how it is meeting the requirements of the Specification. There may be certain situations where the KPIs may not be achievable, e.g. unavailability of a spare part. In these situations, the applicable KPI will be reviewed by PS in a fair and reasonable manner. The Contractor’s performance shall be monitored on a monthly basis (or as agreed with PS) against the following KPIs:

- Planned Maintenance

| Item | KPI | Target | Frequency | Measured by |
| --- | --- | --- | --- | --- |
| 1 | Undertake Planned Maintenance in accordance with SFG20 and/or agreed programme of work | 95% | Monthly | Contractor |
| 2 | Provide a maintenance report sheet and test certification within 5 Working Days of carrying out the Planned Maintenance. | 95% | Monthly | Contractor |

- Reactive Maintenance

| Item |  | KPI | Target | Frequency | Measured by |
| --- | --- | --- | --- | --- | --- |
| 3 | Priority 1 - respond to site within 4 hours. |  | 95% | Monthly | Contractor |
| 4 | Repair Priority 1 fault within 1 working day of the order being raised following the attendance. |  | 95% | Monthly | Contractor |
| 5 | Respond and complete repair to a Priority 2 response call within 3 Working Days of the order being raised. |  | 95% | Monthly | Contractor |
| 6 | Respond and complete repair to a Priority 3 response call within 10 Working Days of the order being raised |  | 95% | Monthly | Contractor |
| 7 | Respond and complete repair to a Priority 4 response call within 28 Working Days of the order being raised |  | 95% | Monthly | Contractor |
| 8 | Respond and complete repair to a Priority 5 agreed with both parties. |  | 95% | Monthly | Contractor |

- Reporting

| Item | KPI | Target | Frequency | Measured by |
| --- | --- | --- | --- | --- |
| 9 | Provide site visit reports and test certificates within 5 Working Days | 95% | Monthly | Contractor |
| 10 | Provide a monthly management report to include Planned Maintenance, Reactive Maintenance, health and safety and KPI by the agreed date and where applicable within 3 Working Days of a review meeting. | 100% | Monthly | Contractor |
| 11 | Keep electronic logbooks up to date. | 100% | Monthly | Contractor |
| 12 | Comply with the contract exit procedure and provide documentation 30 days before the Expiry Date or any extended period. | 100% | Prior to end of Contract | Contractor |

#### KPI reports

Monthly KPI reports shall be submitted by the agreed date and where applicable within 3 Working Days of the agreed meeting date to inform PS of the Contractor’s performance.

The Contractor shall measure the KPI data and PS will carry out checks to ensure it is correct.

#### Improvement notices

Improvement notices will be issued by PS when KPI’s targets are consistently not being met over any three-month period. The improvement notices will be issued to enable the Contractor to improve their performance and rectify or correct their failures or mistakes.

To assist in improving the Contractor’s performance an action plan will be produced by PS in conjunction with the Contractor to document what corrective actions are required including assigning a three-month timeline for expected targets.

If the expected targets in the action plan are not achieved within the specified timeline and the Contractor fails to improve its performance, the action plan will provide clear consequences, including potential termination of the Contract by the Customer.

### Schedule 4 – Technical Specification

#### 9.1

The Customer wishes to appoint a contractor for the provision of the Services to comply with the relevant regulations and manufacturers’ specification and recommended maintenance regimes to the installations in premises located at sites of the Customer as follows:

- Routine PPM visits to current legislation and approved codes of Practice including but not limited to.

- cleaning and oiling.

- inspection, testing and adjustment.

- maintenance of all lift car emergency light systems and equipment in all lift cars and lift shafts. This shall include all lamps, fittings, consumables and spare parts related to this requirement. It shall also include inspection and testing of each lift’s individual speech dialler that upon activation of the emergency communications button automatically dials WYFRS emergency 365/24/7 control room to alert of a trapped person.

- The submission of a report giving observations and recommendations concerning the condition of the lift installation.

- Ad-hoc visits / Reactive Repairs as and when instructed by Property Services to undertake the following:

- draining and replenishing oil, shortening of ropes, replacement of bulbs, cleaning or polishing lift cars, doors and enclosures.

- any work arising from misuse of the Installations and/or arising as a consequence of interruption to, or variation of the incoming power supply.

- attendance between the Contractor’s routine visits to undertake repairs.

- the thorough examinations and reports required under the Lifting Operations and Lifting Equipment Regulations 1998 (LOLER).

## Frequency of PPM visits

The Contractor shall carry out the routine visits during Normal Working Hours in accordance with frequency set out in the table below:

| Site | Location | Make of Installation | Capacity | Floors served | Number of routine visits per annum |
| --- | --- | --- | --- | --- | --- |
| FSHQ | Main Building | 8 Person Passenger or 630kg, Orona lift (NEXT ESSENTIA E10 b(M34E-MRL)) | 675kg/9 persons | 3 Stop | 4 |
| FSHQ | Main Building | 6 Persons passenger or 500kg Platform Lift (INVALIFT MOTALA MC2000) | 500kg/ 1 person & wheelchair | 2 Stop | 2 |
| FSHQ | Technical Rescue Training Centre | Passenger Goods Lift Schindler MRL 2007 Serial – U1012867-1 | 675kg/9 persons | 3 Stop | 4 |
| FSHQ | Smokehouse (2-man service) | Goods Lift Ecospace SRL Serial - 1794 |  |  | 4 |
| SDC | Main Building | Passenger Goods Lift ACE (Orona) MRL 2009 Serial - 012940 | 630kg/ 8 persons | 2 Stop | 4 |
| Stanningley Fire Station | Main Building | Passenger Platform Lift Aritco Vector 2002 Serial – THY 0658 | 400kg/5 persons | 2 Stop | 2 |
| Bradford Fire Station | Main Building | Passenger Goods Lift ACE (Orona) MRL Serial - 012180 | 630kg/ 8 persons | 4 Stop | 4 |
| Castleford Fire Station | Main Building | Passenger Platform Lift Invalifts 2004 Serial – 9608/C104 | 400kg/ 5 persons | 2 Stop | 2 |
| Pontefract Fire Station | Main Building | Passenger Platform Lift Gartec Artico 7000 2011 Serial – AR54991 | 500kg/ 5 persons | 2 Stop | 2 |
| Normanton Fire Station | Main Building | Passenger Platform Lift Artico 7000 2011Serial – AR54935 | 500kg/ 5 person | 2 Stop | 2 |
| Keighley Fire Station | Main Building | Passenger Platform lift | 500kg / 5 Persons | 2 Stop | 2 |