F1 Please describe your processes and checklists which inspectors would follow to ensure NCC Standard Operating Procedures (SOP) & Insurance Compliance. Please include a copy of your checklist. We are interested in seeing: - how you deal with fault identification, - how you ensure vital elements are picked up and recorded at each inspection interval, and - finally, how you deal with quality assurance and inspect the level of work across all technical staff members. 25% 2 x A4 pages in Arial 12 pt.

F2 NCC would like to improve their approach to WSE's. (written Scheme of Examination) following the installation of new plant and secondly optimise plant inspections. Could you tell us what your NCC specific approach will be to help ensure that we have an appropriate process in place for the development of WSE's. 12.5% And secondly by examining the sketch provided and the installation of the pressure relief valve what installation alterations you might propose to enable the PSSR insurance inspection and why. 12.5% 2 x A4 Pages, 12 pt Arial.