## Overview
Reference | Description | Total Prices (£)
1 | Planned Maintenance Works | 0
2 | Remedial and Reactive Works | 393000
| Total Tender Price to Form of Tender | 393000
Instruction for pricing
Tab 1 Table 1 Planned Work. Planned work is considered any work where there is a statutory compliance or maintanence visit needed and work can be planned in advance.
Bidder to input their price (Column C) for planned work inclusive of all costs including management fees. The table will calulate your tender cost for planned work for 3 years.
Tab 2 Table 2 Remedial and Reactive. Remedial work is considered as the repairs to assets following a planned inspection. Reactive is considered calls from building users where assets are broken are not working as expected.
Bidder to input their prices and percentage (Columns B, C, and D) per orange line to provide rates and percantage mark up on remedial and reactive work. The table will calculater your contract cost for 3 years, based on the estimates provided.

## Table 1 Planned Work
Locations and service details | Number of assets per site | Price | Total times activitiy required within 3 year contract period | Total Tender Price (auto populates)
NCC/Children's Services/1 Whinchat Way, Bradwell, Great Yarmouth NR31 8SD
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/2 Bllthemeadow (House) Norwich NR7 8PX
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/Children's Services/345 Aylsham Road Residential Unit, NR3 2RU
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Children's Services/74 Gurney Road, Costessey, NR5 0HL
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/Children's Services/78 Yarmouth Road, Norwich NR7 0QZ
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/85a Waterworks Road, Norwich, NR2 4DB
Gas Installations - 5 Yearly Tightness Test | 1 |  | 1 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/95 Stone Road, Toftwood NR19 1LH .
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/Blueberry Hill Halfpenny Lane Beetley NR20 4UY
Air Source Heating System - Annual Test | 1 |  | 1 | 0
NCC/Children's Services/Bowthorpe Community Hub Hall Road Norwich NR5 9AA
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Children's Services/Clover Hill 20 Humbelyard Bowthorpe NR5 9BN
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Children's Services/Dereham Hub was Garfield 15 Norwich Road, NR20 3AE
Gas Installations - 5 Yearly Tightness Test | 1 |  | 1 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Children's Services/Easthills Residential, 81 Easthills Road NR5 0PD
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/Foxwood, Blithemeadow Court,Norwich NR7
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/Children's Services/Frettenham Childrens Unit, 16 Well Green, NR12 7LS
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/Children's Services/Gardeners House18 Canns Lane NR9 3J
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/Heather Cottage18a Canns Lane NR9 3JE
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/Hindolveston Bridge End Dereham NR20 5BZ
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/Children's Services/Jasmine House, 61 Haverscroft Taverham, NR8 6LT
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Children's Services/Lavender House, 28 Bolton Road Sprowston, NR7 8GG/Staff Bedroom - 1F/Staff En suite
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/Linden House 557 Earlham Road NR4 7HW NO SLA-IPROC
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/Children's Services/Loki House Shortthorn Road, NR10 5NU
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Line Pressure Test | 1 |  | 1 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/Children's Services/Marshfields, Ferry Road, Kings Lynn, PE34 3NB
Gas Installations - 5 Yearly Tightness Test | 1 |  | 1 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Children's Services/Octarine Cottage, 34 Rightup Lane NR18 9NB
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/Children's Services/Pear Tree Cottage, 4 Minstergate,Thetford IP24 1BN
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Children's Services/Poppy House 30 Stody Drive Kings Lynn PE30 3UG
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/Shell Cottage 43 Coxwain Read WayCaister, NR30 5AW
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/Shrublands, Magdalen Way, Gt Yarmouth, NR31 7BP
Gas Installations - 5 Yearly Tightness Test | 1 |  | 1 | 0
Gas Installations - Annual Gas Appliance Service | 3 |  | 3 | 0
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Children's Services/Springwood, Blithemeadow Court Norwich NR7 8PU
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/Children's Services/Tamarind House 7 Lansdown Drive Poringland NR14 7X
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/The Lodge, 16c Harvey Lane, Norwich, NR7 0BN
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Children's Services/Whitlingham Adventure, Norwich NR14 8TR
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Bacton Estate/Church Farm, Bacton (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Bacton Estate/Lowlands Farm, Bacton (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/20 Station Road, Lingwood (House)
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/40 Lodge Road, Lingwood (House)
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Church View Farm, South Burlingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Coxhill Farm, North Burlingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Harefen Farm, South Walsham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Highfield Farm, South Walsham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Home Farm, North Burlingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Jarys Farm, North Burlingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Kings Close Farm, North Burlingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Newport Farm, South Walsham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Oak Farm, Lingwood (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Plantation Farm, North Burlingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Poplar Farm, North Burlingham (House & Barns)
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Trunk Farm, North Burlingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Whites Farm, Acle (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Willow Farm, South Burlingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Burlingham Estate/Woodling Cottage (House)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Carleton Rode Estate/Council Farm, Carleton Rode (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Haddiscoe Estate/Clinks Farm, Toft Monks (Care Farm)(House & Barns)
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Hilgay Fen Estate/Council Farm 10 Mile Bnk (Fen Farm)(House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Hilgay Fen Estate/Fenway Farm, Ten Mile Bank (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Hindringham Estate/Great Crowley Farm, Hindringham (House & Barns)
Air Source Heating System - Annual Test | 1 |  | 1 | 0
NCC/County Farms 1 FM Mark Watts/Hingham Estate/Money Hill Farm, Hingham (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Hopton Estate/Old Oak Cottage, Hopton-on-sea (House)
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Ludham Estate/Grove Farm, Catfield (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Ludham Estate/Rose Fm Potter H (Bung known as Rose Cott.) REFURB
Air Source Heating System - Annual Test | 1 |  | 1 | 0
NCC/County Farms 1 FM Mark Watts/Mautby Estate/1 Lacons Corner (House & Shed)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Mautby Estate/Covert Farm, Mautby (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Mautby Estate/Edfords Care Farm was Upperwood Sth(House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Mautby Estate/Hall Farm (Paston) Mautby (House)
HW Boilers (>100C) non POU & Heating Systems | 1 |  | 3 | 0
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Mautby Estate/Osier Farm, Mautby (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Mautby Estate/Upperwood Farm (North) (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Nordelph Birchfield & Fryers Estate/Creek Farm, Salters Lode (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Nordelph Birchfield & Fryers Estate/Straw Hall Farm, Nordelph (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Nordelph Neatmoor Hall Estate/Fendale Farm, Nordelph (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Nordelph Neatmoor Hall Estate/Holly Farm (Nordelph) (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Nordelph Neatmoor Hall Estate/Neatmoor Hall Farm (main set), Nordelph (House)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Rollesby & Repps Estate/Church Farm, Rollesby (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Rollesby & Repps Estate/Jubilee Farm, Rollesby (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Rollesby & Repps Estate/Sowells Farm, Rollesby (House)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Runcton, North & West Winch Estate/Mill Lane Farm, North Runcton (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Terrington St Clement Estate/Fern House Farm, Terrington St Cle (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Thorpe Market Estate/Beechcroft Farm, Thorpe Market (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Thurne Estate/Abbey Farm, Thurne (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Thurne Estate/Home Farm, Thurne (House & Barns )
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Welney Bank Estate/Council Farm, Welney (House)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 1 FM Mark Watts/Welney Farms Estate/Elder Farm, Welney (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
NCC/County Farms 1 FM Mark Watts/Welney Farms Estate/NCC Farm, Manea Fifties (House & Barns)
Air Source Heating System - Annual Test | 1 |  | 1 | 0
NCC/County Farms 1 FM Mark Watts/Whissonsett Estate/Rodwell Farm, Whissonsett (House & Barns)
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/County Farms 2 FM Stuart Bedford/Clenchwarton Estate/Gullhole Farm, Clenchwarton (House)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Dairy Farm, Lingwood (Care Farm) (House & Barns)
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Denver Estate/College Farm, Sluice Rd, Denver (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Barroway Farm, White City Road (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Boyces Farm, Outwell (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Bridge Farm, Outwell (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Carlisle Farm, White City Road (House)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Dudley Farm, Stow Bridge (House)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Fir Tree Farm, Middle Drove (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Franks Farm, Stow Bridge (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Hill Farm, Stow Bridge (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Lode Farm, White City Road (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Miller Farm, Stow Bridge (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/New Fen Farm, White City Road (House & Barns)
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 1 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Newbridge Farm, Stow Bridge (House & Barns)
Oil Fired Equipment Annual Service |  |  | 2
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Newlings Farm, Stow Bridge (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Paston Farm, White City Road (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Poplar Farm, Stow Bridge (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Rays Farm, White City Road Barroway Drove (House)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Rose Farm, Lady Drove (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 2 | 0
Oil Line Pressure Test - 5 Yearly | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Stow & Marshland Estate/Westerby Farm, Outwell (House & Barns)
Air Source Heating System - Annual Test | 1 |  | 1 | 0
NCC/County Farms 2 FM Stuart Bedford/Upwell Primrose Hall Estate/Primrose Hall Farm, Upwell (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Walton, West Grange Estate/Grange Farm, West Walton (House & Barns)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/Walton, West Ingleborough Estate/Ingleborough Farm, West Walton (House/Bung)
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Farms 2 FM Stuart Bedford/West Dereham Estate/Grange Farm,West Dereham (2 House & Barns)
Air Source Heating System - Annual Test | 1 |  | 2 | 0
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Hall Campus/Annexe
Water Heater Service and Descale | 7 |  | 3 | 0
NCC/County Hall Campus/County Hall
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
HW Boilers (>100C) non POU & Heating Systems | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/1st Floor/Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/1st Floor/Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/1st Floor/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/1st Floor/Toilets/Gents Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/1st Floor/Toilets/Ladies Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/2nd Floor/Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/2nd Floor/Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/2nd Floor/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/2nd Floor/Toilets/Gents Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/2nd Floor/Toilets/Ladies Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/3rd Floor/Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/3rd Floor/Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/3rd Floor/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/3rd Floor/Toilets/Gents Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/3rd Floor/Toilets/Ladies Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/4th Floor/Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/4th Floor/Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/4th Floor/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/4th Floor/Toilets/Gents Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/4th Floor/Toilets/Ladies Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/5th Floor/Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/5th Floor/Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/5th Floor/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/5th Floor/Toilets/Gents Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/5th Floor/Toilets/Ladies Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/6th Floor/Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/6th Floor/Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/6th Floor/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/6th Floor/Toilets/Gents Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/6th Floor/Toilets/Ladies Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/7th Floor/Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/7th Floor/Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/7th Floor/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/7th Floor/Toilets/Gents Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/7th Floor/Toilets/Ladies Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/8th Floor/Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/8th Floor/Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/8th Floor/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/8th Floor/Toilets/Gents Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/8th Floor/Toilets/Ladies Toilets
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/Basement Floor/B1-16 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/Basement Floor/B1-53 - Teapoint
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/Basement Floor/B1-P-11 - Plant
Gas Installations - Annual Gas Appliance Service | 3 |  | 3 | 0
NCC/County Hall Campus/County Hall/Civic Area/CV-GF-34 - Member's Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/Civic Area/CV-GF-44 - Cleaners Cupboard
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/Ground Floor/Reception/Unison Office
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/Ground Floor/Restaurant/Restaurant Kitchen
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/Ground Floor/South Wing/South Wing Main Kitchen
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-14 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-24 Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-51 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing 1st Floor/NW-01-04 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing 1st Floor/NW-01-11 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing Basement/NW-B1-07 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing Basement/NW-B1-09 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing Ground Floor/NW-GF-07 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing Ground Floor/NW-GF-13 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing Lower Ground Floor/NW-LG-08 - Breakout Space
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing Lower Ground Floor/NW-LG-17 - Tea Point
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/County Hall Campus/County Hall/Tunnel
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
NCC/County Hall Campus/County Hall/Tunnel/Trading Standards Store
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/County Hall Campus/Highways Laboratory Norfolk Partnership Lab
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 2 | 0
NCC/County Hall Campus/NCC Sports & Social Club (Landlord Only)
Gas Installations - 5 Yearly Tightness Test | 1 |  | 1 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room/Boiler Room
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 5 |  | 2 | 0
NCC/CPT Offices/Applewood, Blithemeadow Court - Sandra Drake
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/CPT Offices/Attleborough Community & Enterprise Centre Rachel
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 2 | 0
NCC/CPT Offices/Laburnum Grove Day Centre - Aly
Gas Installations - Annual Gas Appliance Service | 3 |  | 3 | 0
NCC/CPT Offices/Norfolk Coastal Centre - Aly
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 2 | 0
NCC/CPT Offices/Norman House, Tarworks Road, Gt Yarmouth - Ghili
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/CPT Offices/Priory House, King's Lynn - Stu Bedford
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/CPT Offices/Scottow Enterprise Park - Aly B
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/CPT Offices/The Lawns Day Care Centre - Aly B
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/CPT Offices/Unit 56 Hellesdon Park Road, Norwich NR6 5DR Aly B
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/CPT Offices/Vauxhall Community Hub - Aly B
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/55 Bury Street Adult Social Care
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Attleborough Community Hub (Station Rd) - IM
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 3 | 0
Underfloor Heating Maintenance | 3 |  | 2 | 0
Water Heater Service and Descale | 10 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/Caister Community Hub
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Line Pressure Test | 1 |  | 3 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/Church Green Lodge Respite Care
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Dereham Community Hub 1 Rash's Green NR19 1JG
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 6 |  | 3 | 0
Water Heater Service and Descale | 6 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/Downham Market Community Hub
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 4 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/Faro Lodge Respite Care
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Great Yarmouth Community Hub NR31 0LJ
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub
Gas Installations - Annual Gas Appliance Service | 7 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Norfolk Industries 95 Oak Street NR3 3BP
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/Pine Lodge Respite Care
Oil Fired Equipment Annual Service | 1 |  | 3 | 0
Oil Line Pressure Test | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/South Wootton & Crossroad Community Hub
Gas Installations - Annual Gas Appliance Service | 6 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 2 | 0
NCC/Independence Matters & Adult Social Care Aly B/Sprowston Community Hub
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 5 |  | 2 | 0
Oil Fired Equipment Annual Service | 2 |  | 2 | 0
Oil Line Pressure Test | 1 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
Water Heater Service and Descale | 4 |  | 2 | 0
NCC/Museum Services/Cromer Museum East
Gas Installations - Annual Gas Appliance Service | 3 |  | 2 | 0
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Museum Services/Gressenhall Rural Life Museum
Oil Fired Equipment Annual Service | 7 |  | 2 | 0
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 3 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 3 | 0
Water Heater Service and Descale | 34 |  | 2 | 0
NCC/Museum Services/Gt Yarmouth Time & Tide Museum
Gas Installations - Annual Gas Appliance Service | 6 |  | 2 | 0
Water Heater Service and Descale | 11 |  | 3 | 0
NCC/Museum Services/Kings Lynn The Lynn Museum
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
NCC/Museum Services/Museum of Norwich (Bridewell)
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Museum Services/Norwich Castle Museum/Castle Keep
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 6 |  | 3 | 0
Water Heater Service and Descale | 10 |  | 3 | 0
NCC/Museum Services/Norwich Shirehall & Castle Study Centre
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 5 |  | 3 | 0
Water Heater Service and Descale | 7 |  | 3 | 0
NCC/Museum Services/Norwich Shirehall House
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Museum Services/Norwich Strangers Hall
Underfloor Heating Maintenance | 6 |  | 2 | 0
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Museum Services/Thetford Ancient House
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
NCC/Norfolk & Suffolk Roma and Traveller Sites/Saddlebow Caravan Site
HW Boilers (>100C) non POU & Heating Systems | 27 |  | 2 | 0
NCC/Norfolk & Suffolk Roma and Traveller Sites/Swaffham (Splashes) (Living Waters) Site
HW Boilers (>100C) non POU & Heating Systems | 23 |  | 2 | 0
NCC/Norfolk Fire and Rescue/440 Scottow Enterprise Park(Former RAF Coltishall)
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Acle Fire Station
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Attleborough Fire Station,1 Thieves' Ln, Attleboro
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Aylsham Fire Station
Gas Installations - Annual Gas Appliance Service | 4 |  | 3 | 0
Water Heater Service and Descale | 4 |  | 2 | 0
NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre
Gas Installations - Annual Gas Appliance Service | 4 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Cromer Fire Station
Gas Installations - Annual Gas Appliance Service | 3 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Dereham Fire Station
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow
Gas Installations - Annual Gas Appliance Service | 5 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Diss Fire Station
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Downham Market Fire Station
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/East Harling Fire Station
Water Heater Service and Descale | 3 |  | 2 | 0
NCC/Norfolk Fire and Rescue/Fakenham Fire Station
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 3 |  | 3 | 0
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Gorleston Fire Station
Gas Installations - Annual Gas Appliance Service | 2 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Gorleston Fire Station/Boiler Room
Gas Installations - 5 Yearly Tightness Test | 1 |  | 1 | 0
NCC/Norfolk Fire and Rescue/Great Massingham Fire Station
Water Heater Service and Descale | 5 |  | 2 | 0
NCC/Norfolk Fire and Rescue/Great Yarmouth Fire Station
Gas Installations - Annual Gas Appliance Service | 5 |  | 3 | 0
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Harleston Fire Station
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Heacham Fire Station
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Hingham Fire Station
Water Heater Service and Descale | 5 |  | 2 | 0
NCC/Norfolk Fire and Rescue/Holt Fire Station
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Hunstanton Fire Station
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South
Gas Installations - Landlords Gas Safety Check | 2 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North
Gas Installations - Annual Gas Appliance Service | 8 |  | 2 | 0
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Loddon Fire Station
Water Heater Service and Descale | 4 |  | 2 | 0
NCC/Norfolk Fire and Rescue/Long Stratton Fire Station
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Martham Fire Station
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Methwold Fire Station
Water Heater Service and Descale | 7 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Mundesley Fire Station
Water Heater Service and Descale | 5 |  | 2 | 0
NCC/Norfolk Fire and Rescue/North Earlham Fire Station
Gas Installations - Annual Gas Appliance Service | 4 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/North Walsham Fire Station
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Outwell Fire Station
Water Heater Service and Descale | 6 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Reepham Fire Station
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Sandringham Fire Station
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Sheringham Fire Station
Gas Installations - Annual Gas Appliance Service | 5 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Norfolk Fire and Rescue/Sprowston Fire Station
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Stalham Fire Station
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Swaffham Fire Station
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Terrington St Clement Fire Station
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Thetford Fire Station
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Watton Fire Station
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Wells Fire Station
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Fire and Rescue/West Walton Fire Station
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Whitegates Complex/Hethersett Fire Station
Gas Installations - Annual Gas Appliance Service | 14 |  | 2 | 0
Water Heater Service and Descale | 24 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Whitegates Complex/Whitegates Workshops
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Wroxham Fire Station
Water Heater Service and Descale | 6 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Wymondham Fire Station
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Libraries/Acle Library
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Libraries/Aylsham Library
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Libraries/Blofield Library (alert neighbour)
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Libraries/Brundall Library
Water Heater Service and Descale | 2 |  | 2 | 0
NCC/Norfolk Libraries/Caister-on-sea Library
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Libraries/Costessey Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 8 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 2 | 0
NCC/Norfolk Libraries/Cromer Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Norfolk Libraries/Dereham Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 5 |  | 3 | 0
NCC/Norfolk Libraries/Dersingham Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Norfolk Libraries/Diss Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 7 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Libraries/Downham Market Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 2 | 0
NCC/Norfolk Libraries/Earlham Library Colman Road
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/Gaywood Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/Gorleston Library
Gas Installations - Annual Gas Appliance Service | 3 |  | 3 | 0
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Libraries/Great Yarmouth Community Library
Gas Installations - Annual Gas Appliance Service | 4 |  | 2 | 0
Water Heater Service and Descale | 10 |  | 2 | 0
NCC/Norfolk Libraries/Harleston Library
Gas Installations - Annual Gas Appliance Service | 6 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/Hellesdon Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 5 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 2 | 0
NCC/Norfolk Libraries/Hethersett Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Norfolk Libraries/Holt Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 5 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/Kings Lynn Central Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/Loddon Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 3 |  | 2 | 0
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Libraries/Long Stratton Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Libraries/Martham Library
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Norfolk Libraries/Mile Cross Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/Mundesley Library
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Libraries/Norfolk and Norwich Millennium Library
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/North Walsham Library
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Libraries/Plumstead Road Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 2 | 0
NCC/Norfolk Libraries/Poringland Library
Gas Installations - Annual Gas Appliance Service | 2 |  | 3 | 0
NCC/Norfolk Libraries/Sheringham Library
Gas Installations - Annual Gas Appliance Service | 6 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/Sprowston Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 7 |  | 3 | 0
NCC/Norfolk Libraries/St Williams Way Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 2 | 0
NCC/Norfolk Libraries/Stalham Library
Water Heater Service and Descale | 1 |  | 2 | 0
NCC/Norfolk Libraries/Swaffham Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 3 | 0
NCC/Norfolk Libraries/Taverham Library
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Libraries/Thetford Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 3 | 0
NCC/Norfolk Libraries/Tuckswood Library
Gas Installations - Annual Gas Appliance Service | 3 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 2 | 0
NCC/Norfolk Libraries/Watton Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Norfolk Libraries/Wells Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 4 |  | 3 | 0
Water Heater Service and Descale | 3 |  | 2 | 0
NCC/Norfolk Libraries/West Earlham Library 17/18 Earlham West Centre
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 2 |  | 2 | 0
NCC/Norfolk Libraries/Whitegates Library Service/Whitegates Complex
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
Water Heater Service and Descale | 1 |  | 3 | 0
NCC/Norfolk Libraries/Wroxham Library
Gas Installations - 5 Yearly Tightness Test | 1 |  | 1 | 0
NCC/Norfolk Libraries/Wymondham Library
Gas Installations - Annual Gas Appliance Service | 3 |  | 3 | 0
Underfloor Heating Maintenance | 1 |  | 2 | 0
Water Heater Service and Descale | 4 |  | 3 | 0
NCC/Surplus/Managed Buildings/1b St Catherines Way, Gorleston
Gas Installations - 5 Yearly Tightness Test | 1 |  | 2 | 0
Gas Installations - Annual Gas Appliance Service | 1 |  | 2 | 0
NCC/Surplus/Managed Buildings/Beechcroft Bungalow
Gas Installations - Annual Gas Appliance Service | 1 |  | 3 | 0
NCC/Surplus/Managed Buildings/Woodstock Farm NR9 5TQ
Oil Pipes and Flexible pipes - Annual Inspection | 1 |  | 2 | 0
Oil Storage Installation - Annual Condition Report | 1 |  | 2 | 0
Total Tender Price to Summary |  |  |  | 0

## Table 2 Remedial and Reactive.
| Completed by bidder |  |  | Calculated Fields based on estimated nr of events
Remedial In Hours Monday - Friday 8am to 5pm exc. bank holidays | Visit Charge* £ | Additional Hours £/hr | Overheads & Profit / Markup | Estimated Remedials (Per Year) | Total Price for Visits (Per Year) | Estimated Additional Hours (Per Year) | Total Additional Hours (Per Year) | Materials Total Estimate (Per Year) | Total (Per Year) | Total Tendered Price for 3 years
Qualified engineer | 0 | 0 | 0% | 107 | 0 | 107 | 0 | N/A | 0 | 0
Low skilled rate apprentice etc | 0 | 0 | 0% | 107 | 0 | 107 | 0 | N/A | 0 | 0
Material Estimate | 200 | N/A | 0% | 107 | N/A | N/A | N/A | 21400 | 21400 | 64200
Reactive In Hours Monday - Friday 8am to 5pm exc. bank holidays | Call Out Charge* £ | Additional Hours £/hr | Overheads & Profit / Markup | Estimated Call Outs (Per Year) | Total Price for Call Outs | Estimated Additional Hours (Per Year) | Total Additional Hours (Per Year) | Materials Total Estimate (Per Year) | Total (Per Year) | Total Tendered Price for 3 years
Qualified engineer | 0 | 0 | 0% | 484 | 0 | 591 | 0 | N/A | 0 | 0
Low skilled rate apprentice etc | 0 | 0 | 0% | 484 | 0 | 591 | 0 | N/A | 0 | 0
Material Estimate | 200 | N/A | 0% | 484 | N/A | N/A | N/A | 96800 | 96800 | 290400
Reactive Out of Hours | Call Out Charge* £ | Additional Hours £/hr | Overheads & Profit / Markup | Estimated Call Outs (Per Year) | Total Call Outs | Estimated Additional Hours (Per Year) | Total Additional Hours (Per Year) | Materials Total Estimate (Per Year) | Total (Per Year) | Total Tendered Price for 3 years
Qualified engineer | 0 | 0 | 0% | 64 | 0 | 64 | 0 | N/A | 0 | 0
Material Estimate | 200 | N/A | 0% | 64 | N/A | N/A | N/A | 12800 | 12800 | 38400
Total Tendered Price | [9 empty] | 393000
Notes
- In Hours to be Monday - Friday 8am to 5pm exclusive of bank holidays. - Out of Hours relates to all other times / days. *Visit/Call out charge is to be fully inclusive of any travel or associated costs as well as the first hours labour. - No additional costs relating to call outs will be accepted other than those identified on this sheet by the tenderer. - During the contract actual material costs will be assessed on an open book basis with the addition of the markup identified above by the successful bidder. - Nr of call outs, additional hours and Material Costs are an estimate for the purposes of tender assessment. The values are informed by historical records. For information 107 remedial jobs, 484 inhours reactive jobs, and 64 out of hours reactive jobs. £200 material cost given as estimate for tendering purposes ,and actual costs in contract will be applied openbook.