## Sheet1
Asset Number | Asset Description | Location Description | Asset Make | Asset Model | Asset Serial Number
FRM-GRC-02-07 | Air Source Heat Pump | NCC/County Farms 1 FM Mark Watts/Hindringham Estate/Great Crowley Farm, Hindringham (House & Barns) | Mitsubishi | PUHZ-W85VAA
FRM-RFB-02-07 | Air source heat pump | NCC/County Farms 1 FM Mark Watts/Ludham Estate/Rose Fm Potter H (Bung known as Rose Cott.) REFURB
IND-ATT-02-07-001 | Air Conditioning - Lounge Area | NCC/Independence Matters & Adult Social Care Aly B/Attleborough Community Hub (Station Rd) - IM/Lounge Area | Mitsi |  | 0400007531
IND-ATT-02-07-002 | Air Conditioning - Lounge Area | NCC/Independence Matters & Adult Social Care Aly B/Attleborough Community Hub (Station Rd) - IM/Lounge Area | Mitsi |  | 0400007532
IND-ATT-02-07-003 | Air Conditioning - Back Entrance From Kitchen | NCC/Independence Matters & Adult Social Care Aly B/Attleborough Community Hub (Station Rd) - IM/Back Entrance from Kitchen | Mitsi |  | 2000009T
IND-ATT-02-07-004 | Air Conditioning - Back Entrance From Kitchen | NCC/Independence Matters & Adult Social Care Aly B/Attleborough Community Hub (Station Rd) - IM/Back Entrance from Kitchen | Mitsi |  | 2000013T
IND-HOL-02-07-001 | Air Conditioning - Sensory Room | NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub/Sensory Room | Carrier |  | 0400000754
IND-HOL-02-07-002 | Air Conditioning | NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub | Carrier |  | 0400000755
IND-NCC-02-07-001 | Air Conditioning - Main Office | NCC/CPT Offices/Norfolk Coastal Centre - Aly
IND-NIN-02-07 | Air Conditioning | NCC/Independence Matters & Adult Social Care Aly B/Norfolk Industries 95 Oak Street NR3 3BP
IND-SPR-02-07 | Air Conditioning | NCC/Independence Matters & Adult Social Care Aly B/Sprowston Community Hub
IND-VAU-02-07-001 | Air Conditioning | NCC/CPT Offices/Vauxhall Community Hub - Aly B
LIB-ATL-02-07 | Air Conditioning Systems (F-Gas) | NCC/Norfolk Libraries/Attleborough Library
LIB-BLO-02-07 | Air Conditioning Systems (F-Gas) | NCC/Norfolk Libraries/Blofield Library (alert neighbour)
LIB-DER-02-07-001 | Airdale Unit 1 | NCC/Norfolk Libraries/Dereham Library | Airdale | U76218-CU53-5HI | U76218-01-002 (0400003003)
LIB-DER-02-07-002 | Airdale Unit 2 | NCC/Norfolk Libraries/Dereham Library | Airdale | U76218-CU53-5HI | U76218.01.001 (0400003004)
OFF-PRI-05-08 | Ventilation Systems | NCC/CPT Offices/Priory House, King's Lynn - Stu Bedford |  | Fresh air cross-flow air handling units x 6
NCC-NRO-05-18 | Dehumidifiying Plant & Equipment | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Dehum
NCC-NRO-05-18-004 | Dehumidifier - AHU16 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Dehum | ASZ200 | 534.02
NCC-NRO-05-18-006 | Dehumidifier - AHU14 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Dehum | ASZ200 | 614.04
NCC-NRO-05-18-007 | Dehumidifier AHU17 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Dehum | CR200 | 533.02
NCC-NRO-05-18-005 | Dehumidifier - AHU13 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Dehum | ASZ600 | 521.02
NCC-NRO-05-18-002 | Dehumidifier - AHU14 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Dehum | ASZ900 | 213.04
NCC-NRO-05-18-003 | Dehumidifier - AHU12 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Dehum | CR1200 | 309.05
NCC-NRO-05-18-001 | Dehumidifier - AHU15 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Dehum | ASZ300 | 650.04
LIB-DER-02-07-003 | Airdale Unit 3 | NCC/Norfolk Libraries/Dereham Library | Airdale | CUS.3.5HIEM01 | 6285449 (040003008)
LIB-DER-02-07-004 | Daikin A/C System | NCC/Norfolk Libraries/Dereham Library/1st Floor/Server Room | Daikin | RXS502VMB - FTXS50BVMB | 6511639 - 4934083 (0400003005 - 04000030140)
NCC-NRO-05-19 | Humidification Plant & Equipment | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)
NCC-NRO-05-04-001 | Trane Water Chiller 1 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Chiller Plant Room | Trane | Aquastream 2 R407c 27kg per unit
NCC-COU-05-08-011 | AHU - South Wing Offices & Political Rooms | NCC/County Hall Campus/County Hall/Sub Basement Level/Sub Basement Plant Room
NCC-COU-05-08-013 | AHU - South Wing Training Rooms | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End
LIB-DER-02-07-005 | Mitsubishi A/C System - 1F | NCC/Norfolk Libraries/Dereham Library/1st Floor/Server Room | Mitsubishi | PUHZ-RP35VHAZ - PKA-RP35GAL | 74V90485 - 62A01950
LIB-DER-02-07-006 | Mitsubishi A/C System - GF | NCC/Norfolk Libraries/Dereham Library/1st Floor/Server Room | Mitsubishi | SUZ-KA60VA - PLA-RP60BA | 4210 - 7E01220
LIB-EAR-02-07-001 | Air Conidtioner - External Main Building | NCC/Norfolk Libraries/Earlham Library Colman Road | Mitsubishi (Outdoor) |  | 0400007820
LIB-EAR-02-07-002 | Air Conidtioner - External of Building | NCC/Norfolk Libraries/Earlham Library Colman Road | Mitsubishi (Outdoor) |  | 0400007009
LIB-EAR-02-07-003 | Air Conditioner - External Main Building | NCC/Norfolk Libraries/Earlham Library Colman Road | Mitsubishi (Outdoor) |  | 0400007819
LIB-FAK-02-07-001 | Condenser Unit 1 | NCC/Norfolk Libraries/Fakenham Library/Roof | Mitsubishi Electric | PUZ-ZM200YKA2 | 38U01400
LIB-FAK-02-07-002 | FCU-01 | NCC/Norfolk Libraries/Fakenham Library/Library | Mitsubishi Electric | PEAD-M60JA2 | 2M02559
LIB-FAK-02-07-003 | FCU-02 | NCC/Norfolk Libraries/Fakenham Library/Library | Mitsubishi Electric | PEAD-M60JA2 | 2M02557
LIB-FAK-02-07-004 | FCU-03 | NCC/Norfolk Libraries/Fakenham Library/Library | Mitsubishi Electric | PEAD-M60JA2 | 3J01582
LIB-FAK-02-07-005 | Condenser Unit 2 | NCC/Norfolk Libraries/Fakenham Library/Roof | Mitsubishi Electric | PUZ-ZM140YKA2 | 3C00684
LIB-FAK-02-07-006 | FCU-04 | NCC/Norfolk Libraries/Fakenham Library/Library | Mitsubishi Electric | PEAD-M50JA2 | 3C00684
NCC-COU-05-08 | Ventilation Systems | NCC/County Hall Campus/County Hall
NCC-COU-05-08-008 | AHU - Tower Ventilation South | NCC/County Hall Campus/County Hall/9th Floor
NCC-COU-05-08-009 | AHU - Tower Ventilation North | NCC/County Hall Campus/County Hall/9th Floor
NCC-COU-05-08-018 | AHU - Tower Toilet Ventilation South | NCC/County Hall Campus/County Hall/9th Floor
NCC-COU-05-08-015 | AHU - South Mezzanine Offices | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End
NCC-COU-05-08-010 | AHU - County Hall Ground Floor Restaurant | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End/Plant Room 2 - Restaurant Ventilation
LIB-FAK-02-07-007 | FCU-05 | NCC/Norfolk Libraries/Fakenham Library/Library | Mitsubishi Electric | PEAD-M50JA2 | 3J03698
LIB-FAK-02-07-008 | FCU-06 | NCC/Norfolk Libraries/Fakenham Library/Library | Mitsubishi Electric | PEAD-M50JA2 | 3J03697
LIB-GOR-02-07-001 | Air Conditioner - Server Room | NCC/Norfolk Libraries/Gorleston Library | Mitsubishi |  | 0400007760
LIB-GTY-02-07-001 | A/C System - Staff Door | NCC/Norfolk Libraries/Great Yarmouth Community Library | Mitsubishi | SRC25ZJ-S/C | 356205739RE (0400000707)
LIB-GTY-02-07-005 | A/C System - Side Door | NCC/Norfolk Libraries/Great Yarmouth Community Library | Mitsubishi (Outdoor) | FD100VN/C | A18504319 (0400000708)
LIB-KIN-02-07-001 | Air Conditioner - Server Room | NCC/Norfolk Libraries/Kings Lynn Central Library |  |  | 0400000133
LIB-KIN-02-07-002 | Air Conditioner - Server Room | NCC/Norfolk Libraries/Kings Lynn Central Library |  |  | 0400000132
LIB-MIL-02-07-001 | A/C System Cellar Server Room | NCC/Norfolk Libraries/Mile Cross Library | Mitsubishi | MUGA25VB - MSC-GA25VB | 5005136T (0400000689) - 5036632T (0400000690)
LIB-MIL-02-07-002 | A/C System - 1st Floor Server Room | NCC/Norfolk Libraries/Mile Cross Library | Mitsubishi | MU-GA50VB - MSGA50VB | 5002933T (0400000688) - 5002824T (0400000691)
LIB-N&N-02-07-001 | A/C System - GF Media Room | NCC/Norfolk Libraries/Norfolk and Norwich Millennium Library | Airedale - Outdoor | CFCCU55HI - HLR540 1/50 | U6534802 (0400002007) - 2128424 (0400002003)
LIB-N&N-02-07-002 | A/C System - GF Comms Room | NCC/Norfolk Libraries/Norfolk and Norwich Millennium Library | Airdale | CFCCU55HI - HLR540 1/50 | U65348-02 (0400002006) - 21/14928 (0400002002)
LIB-N&N-02-07-003 | A/C System - Media Library Plant Room | NCC/Norfolk Libraries/Norfolk and Norwich Millennium Library | 1M1 | ? - Impact 40E | ? (0400002005) - 316341 (0400002004)
LIB-SHE-02-07-001 | A/C System - Kitchen | NCC/Norfolk Libraries/Sheringham Library | Miitsibushi | SRK632K-S | 242603820RE (0400000326) - 212202761RE(0400000327)
LIB-THE-02-07-001 | Air Conditioner - Main Library | NCC/Norfolk Libraries/Thetford Library | Daikin FHC60FJV1 |  | 0400007112
LIB-THE-02-07-002 | Air Conditioner - 1st Floor Library | NCC/Norfolk Libraries/Thetford Library | Daikin FT45GV18 |  | 0400007119
LIB-THE-02-07-003 | Air Conditioner - Comms Room | NCC/Norfolk Libraries/Thetford Library | Daikin FT25GV18 |  | 0400007121
LIB-THE-02-07-004 | Air Conditioner - 1st Floor Library | NCC/Norfolk Libraries/Thetford Library | Daikin 45GV18 |  | 0400007117
LIB-THE-02-07-005 | Air Conditioner - Main Library | NCC/Norfolk Libraries/Thetford Library | Daikin FHC60FJ7V1 |  | 0400007111
LIB-THE-02-07-006 | Air Conditioner - 1st Floor Social Services Office | NCC/Norfolk Libraries/Thetford Library |  |  | 0400007129
LIB-THE-02-07-007 | Air Conditioner - 1st Floor Library | NCC/Norfolk Libraries/Thetford Library | Daikin FTEB18B7V1 |  | 0400007131
LIB-THE-02-07-008 | Air Conditioner - Main Library | NCC/Norfolk Libraries/Thetford Library | Daikin FHC60FJ7V1 |  | 0400007114
LIB-THE-02-07-009 | Air Conditioner - 1st Floor Office | NCC/Norfolk Libraries/Thetford Library | Daikin FT25GV1B |  | 0400007123
LIB-THE-02-07-010 | Air Conditioner - Main Library | NCC/Norfolk Libraries/Thetford Library | Daikin FHC60FJ7V1 |  | 0400007113
LIB-THE-02-07-011 | Air Conditioner - 1st Floor Library | NCC/Norfolk Libraries/Thetford Library | Daikin FT45GV18 |  | 0400007116
LIB-THE-02-07-012 | Air Conditioner - Ground Floor Library | NCC/Norfolk Libraries/Thetford Library |  |  | 0400007132
LIB-THE-02-07-013 | Air Conditioner - Ground Floor (Above Ceiling) | NCC/Norfolk Libraries/Thetford Library |  |  | 0400007115
LIB-THE-02-07-014 | Air Conditioner - 1st Floor Staff Room | NCC/Norfolk Libraries/Thetford Library | Daikin FT35GV1B |  | 0400007125
LIB-WAT-02-07-001 | Air Conditioning - Main Library | NCC/Norfolk Libraries/Watton Library | Mitsubishi | MU-18NV - MS-18NV | 90007626 (0400007030)
LIB-WAT-02-07-002 | Air Conditioning - Main Library | NCC/Norfolk Libraries/Watton Library | Mitsubishi | MU-18NV - MS-18NV | 0000149 (0400007028)
LIB-WAT-02-07-003 | Air Conditioning - Main Library | NCC/Norfolk Libraries/Watton Library | Mitsubishi | MU-18NV - MS-18NV | 0000208 (0400007029)
LIB-WAT-02-07-005 | Air Conditioning - Main Library | NCC/Norfolk Libraries/Watton Library | Mitsubishi | MU-18NV - MS-18NV | (0400007031)
LIB-WAT-02-07-008 | Air Conditioning - Main Library | NCC/Norfolk Libraries/Watton Library | Mitsubishi MS-18NV |  | 0400007022
LIB-WRO-02-07-001 | Outdoor Unit | NCC/Norfolk Libraries/Wroxham Library | Mitsubishi Electric | PUHY-P300YNWA1 | 09P00741
LIB-WRO-02-07-002 | Indoor Unit 1 | NCC/Norfolk Libraries/Wroxham Library | Mitsubishi Electric | PFFYP63VLEM- E | 08W08454
LIB-WRO-02-07-003 | Indoor Unit 2 | NCC/Norfolk Libraries/Wroxham Library | Mitsubishi Electric | PFFYP63VLEM- E | 08W08452
LIB-WRO-02-07-004 | Indoor Unit 3 | NCC/Norfolk Libraries/Wroxham Library | Mitsubishi Electric | PFFYP63VLEM- E | 08W08451
LIB-WRO-02-07-005 | Indoor Unit 4 | NCC/Norfolk Libraries/Wroxham Library | Mitsubishi Electric | PFFYP63VLEM- E | 08W08450
MUS-LKL-02-07-001 | Air Conditioner | NCC/Museum Services/Kings Lynn The Lynn Museum/Front right of building | Daikin (Outdoor) | RZQ125B8W1B
MUS-LKL-02-07-002 | Air Conditioner | NCC/Museum Services/Kings Lynn The Lynn Museum/Reception (desk) | Daikin (Indoor) | FVQ125BVV1B | A029536
MUS-LKL-02-07-003 | Air Conditioner | NCC/Museum Services/Kings Lynn The Lynn Museum | Daikin (Outdoor) | RZQ125B8W1B | 2819138
MUS-LKL-02-07-004 | Air Conditioner | NCC/Museum Services/Kings Lynn The Lynn Museum | Daikin (Indoor) | FHQ125RVV1B | E014119
MUS-LKL-02-07-005 | Air Conditioner | NCC/Museum Services/Kings Lynn The Lynn Museum/Front of building | Daikin (Outdoor) | RZQ125B8W1B | 281939
MUS-LKL-02-07-006 | Air Conditioner | NCC/Museum Services/Kings Lynn The Lynn Museum/Exhibits | Daikin (Indoor) | FHQ125RVV1B | E014175
MUS-NCK-02-07-001 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Control Room | MHI - Outdoor | SRC40ZMX-S | 479701282BE
MUS-NCK-02-07-002 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Control Room | MHI - Indoor | FDEN40VF | A19600201K
MUS-NCK-02-07-003 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Shop | Fujitisu - Outdoor | AOYG30LFT | T011179
MUS-NCK-02-07-004 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Shop | Fujitisu - Indoor | ASYG30LFCA | E011318
LIB-GOR-05-08-001 | AHU - Lecture Hall | NCC/Norfolk Libraries/Gorleston Library
LIB-GOR-05-08-002 | AHU - Hallway Outside Lift | NCC/Norfolk Libraries/Gorleston Library
LIB-GOR-05-08-003 | AHU - Hallway Outside Lift | NCC/Norfolk Libraries/Gorleston Library
LIB-GOR-05-08-004 | AHU - Outside Lift | NCC/Norfolk Libraries/Gorleston Library
LIB-GOR-05-08-005 | AHU - Home Start Office | NCC/Norfolk Libraries/Gorleston Library
LIB-GOR-05-08-006 | AHU - Lecture Hall | NCC/Norfolk Libraries/Gorleston Library
LIB-GOR-05-08-007 | AHU - Home Start | NCC/Norfolk Libraries/Gorleston Library
LIB-GOR-05-08-008 | AHU - Outside Lift | NCC/Norfolk Libraries/Gorleston Library
NCC-COU-01-06 | Powered Exhaust Ventilators | NCC/County Hall Campus/County Hall
MUS-NCK-02-07-005 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Kitchen | Fujitisu - Outdoor | AOYZ2240LBT | T005488
MUS-NCK-02-07-006 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Shop | Fujitisu - Indoor | AOYG30LFCA | E011320
MUS-NCK-02-07-007 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Shop | Fujitisu - Outdoor | AOYG30LFT | T011180
MUS-NCK-02-07-008 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Kitchen | Fujitsu - Indoor | AWYZ24LBC | E005397
MUS-NCK-02-07-009 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Control Room | Fujitisu - Outdoor | AOYG30LFT | T011182
MUS-NCK-02-07-010 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Shop | Fujitsu - Indoor | ASYG30LFCA | E011314
MUS-NCK-02-07-012 | Air Conditioner | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Lecture Room | Airdale | CUS525D | U65125-02-001
MUS-SCC-02-07 | Air Conditioning System | NCC/Museum Services/Norwich Shirehall & Castle Study Centre
MUS-TTM-02-07-001 | Air Conditioner 1 | NCC/Museum Services/Gt Yarmouth Time & Tide Museum | Fujitsu | AOYG18LFC | E141272
MUS-TTM-02-07-002 | Air Conditioner 2 | NCC/Museum Services/Gt Yarmouth Time & Tide Museum | Fujitsu | AOYG18LFC | E141415
NCC-ANN-02-07-002 | Indoor Unit - 1-03 - 1F Edith Cavell Room | NCC/County Hall Campus/Annexe/First Floor/Edith Cavell Room | Mitsubishi Electric | PLA-P3AA | 3A000267
NCC-ANN-02-07-003 | Outdoor Unit - 003 - G.F. Front Office Rear | NCC/County Hall Campus/Annexe/Annex - Grounds | Daikin | R125FJW1 | 1804584
NCC-ANN-02-07-004 | Indoor Unit - 003 - G.F. Front Office Rear | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Daikin | FH60FJV1 | 6000333
NCC-ANN-02-07-005 | Indoor Unit - 003 - G.F. Front Office Rear | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Daikin | FH60FJV1 | 6000331
NFS-BOW-05-08 | Ventilation System | NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre
NFS-BOW-05-08-001 | Air Handling Unit - Building | NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre/Building | VES Andover | MAX/E/Z-P/S | 0400007816
NCC-ANN-02-07-006 | Outdoor Unit - 002 - G.F. Front Office Centre | NCC/County Hall Campus/Annexe/Annex - Grounds | Daikin | R125FJ7W1 | 1804728
NCC-ANN-02-07-007 | Indoor Unit - 002A - G.F. Front Office Centre | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Front | Daikin | FH60FJ7V1 | 1802129
NCC-ANN-02-07-008 | Indoor Unit - 002B - G.F. Front Office Centre | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Front | Daikin | FH60FJ7V1 | 1802128
NCC-ANN-02-07-010 | Indoor Unit - 1-02 - 1.F. Reception Rear | NCC/County Hall Campus/Annexe/Ground Floor/Entrance | Mitsubishi Electric R407C | PLA-P3AA | 3A000268
NCC-ANN-02-07-012 | Indoor Unit - 1-04A - 1.F. Office 3 | NCC/County Hall Campus/Annexe/First Floor/Office 3 | Mitsubishi Electric R407C | PUH-P3VGAA1.UK | 3B000286
NCC-ANN-02-07-013 | Indoor Unit - 1-04B - 1.F. Office 3 | NCC/County Hall Campus/Annexe/First Floor/Office 3 | Mitsubishi Electric R407C | PLA-P1.GKA1.UK | 3C000667
NCC-ANN-02-07-015 | Indoor Unit - 008 - G.F. Rear Office Rear RH Wall | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Fujitsu | ABY24AGA-W | T000203
NCC-ANN-02-07-017 | Indoor Unit - 1-05 - 1.F. Open Office RH Right | NCC/County Hall Campus/Annexe/First Floor/Open Office | Mitsubishi Electric R407C | PLA-P3AA.1UK | 3A000265
NCC-ANN-02-07-019 | Indoor Unit - 007 - G.F. Rear Office Front Right | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Mitsubishi Electric R410A | PKA-RP71FAL#1 | 82A02268
NCC-ANN-02-07-021 | Indoor Unit - 010 - G.F. Server Room | NCC/County Hall Campus/Annexe/Ground Floor/Server Room | Daikin R410A
NCC-ANN-02-07-023 | Indoor Unit - 1-06 - 1.F. Open Office Rear Centre | NCC/County Hall Campus/Annexe/First Floor/Open Office | Mitsubishi Electric R407C | PLA-P16KA.UK | 3D000823
NCC-ANN-02-07-025 | Indoor Unit - 011 - G.F. Rear Office Rear Right | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Daikin R410A | FHQ50BUVIB | 3901502
NCC-ANN-02-07-027 | Indoor Unit - 1-07 - 1.F. Open Office Rear Left | NCC/County Hall Campus/Annexe/First Floor/Open Office | Mitsubishi Electric R407C | PLA-P3AA1.UK | 3A000233
NCC-ANN-02-07-029 | Indoor Unit - 009 - G.F. Meeting Room 4 | NCC/County Hall Campus/Annexe/Ground Floor | Mitsubishi Electric R410A | PCA-RP71GA#1 | 8XA00732
NCC-ANN-02-07-031 | Indoor Unit - 012 - G.F. Rear Office Rear Centre | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Daikin R410A | FTKS25CVMB | 4917654
NCC-ANN-02-07-033 | Indoor Unit - 013 - G.F. Rear Office Rear Left | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Daikin R410A | FHQ50BVIB | 3901832
NCC-ANN-02-07-035 | Indoor Unit - 006 - G.F. Post Room | NCC/County Hall Campus/Annexe/Ground Floor/Post Room | Daikin R410A | ITK520CVMB9 | 3600304
NCC-ANN-02-07-037 | Indoor Unit - 1-08 - 1.F. Office 6 | NCC/County Hall Campus/Annexe/First Floor/Office 6 | Mitsubishi Electric R407C | PLA-P16KA1.UK | 3D000814
NCC-ANN-02-07-039 | Indoor Unit - 1-09 - 1.F. Office 5 | NCC/County Hall Campus/Annexe/First Floor/Office 5 | Mitsubishi Electric R407C | PLA-P16KA1.UK | 3D00810
NCC-ANN-02-07-041 | Indoor Unit - 014 - G.F. Rear Office Left Wall | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Daikin R410A | FHQ50BOVIB | 3901429
NCC-ANN-02-07-043 | Indoor Unit - 1-10 - 1.F. Open Office Left Side | NCC/County Hall Campus/Annexe/First Floor/Open Office | Mitsubishi Electric | PLA-P16KA1.UK | 3D000809
NCC-ANN-02-07-044 | Indoor Unit - 1-10 - 1.F. Open Office Left Side | NCC/County Hall Campus/Annexe/First Floor/Open Office | Mitsubishi Electric | PLA-P16KA1.UK | 3D000815
NCC-ANN-02-07-046 | Indoor Unit - 016 - G.F. Rear Office Front Centre | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Fujitsu | ABY24AGA | T000469
NCC-ANN-02-07-048 | Indoor Unit - 015 - G.F. Rear Office Front Right | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Rear | Fujitsu | ABY24AGA | T000202
NCC-ANN-02-07-050 | Indoor Unit - 1-12 - 1.F. Ethel Coleman Room | NCC/County Hall Campus/Annexe/First Floor/Ethel Coleman Room | Fujitsu R407C | ASY25TLAL-W | T000237
NCC-ANN-02-07-052 | Indoor Unit - 018 - G.F. Kitchen | NCC/County Hall Campus/Annexe/Ground Floor/Kitchen | Fujitsu | ASY9A5ELW | E009226
NCC-ANN-02-07-054 | Indoor Unit - 017 - G.F. Office 3 | NCC/County Hall Campus/Annexe/Ground Floor/Office 3 | Fujitsu | ASY9A5ELW | E008974
NCC-ANN-02-07-056 | Indoor Unit - 005 - G.F. Meeting Room 2 | NCC/County Hall Campus/Annexe/Ground Floor/Meeting Room 2 | Fujitsu | ASY9A5ELW | E009464
NCC-ANN-02-07-057 | Outdoor Unit - 019 - G.F. Meeting Room 3 | NCC/County Hall Campus/Annexe/Annex - Grounds | Fujitsu
NCC-ANN-02-07-058 | Indoor Unit - 019 - G.F. Meeting Room 3 | NCC/County Hall Campus/Annexe/Ground Floor/Meeting Room 3 | Fujitsu | ASY9A5ELW
NCC-ANN-02-07-060 | Indoor Unit - 1-13 - 1.F. Jenny Lind Room | NCC/County Hall Campus/Annexe/First Floor/Jenny Lind Room | Mitsubishi Electric R407C | PLA-P1.6KA1.UK | 3D000817
NCC-ANN-02-07-062 | Indoor Unit - 1-01 - 1.F. Reception Front | NCC/County Hall Campus/Annexe/First Floor/Reception | Mitsubishi Electric R407C | PLA-P1.6KA | 3D000816
NCC-ANN-02-07-064 | Indoor Unit - 004 - G.F. Front Office Front Wall | NCC/County Hall Campus/Annexe/Ground Floor/GF Open Office - Front | Daikin | FT353DB7V1 | 3836286
NCC-ANN-02-07-065 | Outdoor Unit - 001 - G.F. Front Office RH Wall Fr | NCC/County Hall Campus/Annexe/Annex - Grounds | Daiken | R60F7W1 | 1801203
NCC-ANN-02-07-066 | Indoor Unit - 001 - G.F. Front Office RH Wall Fr | NCC/County Hall Campus/Annexe/Ground Floor | Daiken | FH60FJ7V1 | 1802132
NCC-COU-02-07-001 | 1st Floor South Samsung Air Conditioning | NCC/County Hall Campus/County Hall/1st Floor | Samsung | AM120FXVAGR | B02NP3GF300040Y (2014)
NCC-COU-02-07-002 | 1st Floor North Samsung Air Conditioning | NCC/County Hall Campus/County Hall/1st Floor | Samsung | AM220FXVAGR | B02YP3GF200013T (2014)
NCC-COU-02-07-003 | 2nd Floor South Samsung Air Conditioning | NCC/County Hall Campus/County Hall/2nd Floor | Samsung | AM120FXVAGR | B02YP3GF20000D (2014)
NCC-COU-02-07-004 | 2nd Floor North Samsung Air Conditioning | NCC/County Hall Campus/County Hall/2nd Floor | Samsung | AM120FXVAGR | B02NP3GF300027X (2014)
NCC-COU-02-07-005 | 3rd Floor South Samsung Air Conditioning | NCC/County Hall Campus/County Hall/3rd Floor | Samsung | AM120FXVAGR | B02NP39D800029B (2013)
NCC-COU-02-07-006 | 3rd Floor North Samsung Air Conditioning | NCC/County Hall Campus/County Hall/3rd Floor | Samsung | AM220FXVAGR | B02YP3GF200007L (2014)
NCC-COU-02-07-007 | 4th Floor South Samsung Air Conditioning | NCC/County Hall Campus/County Hall/4th Floor | Samsung | AM220FXVAGR | B02YP3GDA00078B (2013)
NCC-COU-02-07-008 | 4th Floor North Samsung Air Conditioning | NCC/County Hall Campus/County Hall/4th Floor | Samsung | AM120FXVAGR | B0ZNP3GF300001X (2014)
NCC-COU-02-07-009 | 5th Floor South Samsung Air Conditioning | NCC/County Hall Campus/County Hall/5th Floor | Samsung | AM120FXVAGR | B02NP3GF300026M (2014)
NCC-COU-02-07-010 | 5th Floor North Samsung Air Conditioning | NCC/County Hall Campus/County Hall/5th Floor | Samsung | AM220FXVAGR | B02YP3GF200012F (2014)
NCC-COU-02-07-011 | 6th Floor South Samsung Air Conditioning | NCC/County Hall Campus/County Hall/6th Floor | Samsung | AM220FXVAGR | B02YP3GF20001DJ (2014)
NCC-COU-02-07-012 | 6th Floor North Samsung Air Conditioning | NCC/County Hall Campus/County Hall/6th Floor | Samsung | AM120FXVAGR | B02NP300005L (2014)
NCC-COU-02-07-013 | 7th Floor South Samsung Air Conditioning | NCC/County Hall Campus/County Hall/7th Floor | Samsung | AM120FXVAGR | B02NP3GA00005M (2013)
NCC-COU-02-07-014 | 7th Floor North Samsung Air Conditioning | NCC/County Hall Campus/County Hall/7th Floor | Samsung | AM220FXVAGR | B02YP3GF200011Z (2014)
NCC-COU-02-07-015 | 8th Floor South Samsung Air Conditioning | NCC/County Hall Campus/County Hall/8th Floor | Samsung | AM220FXVAGR | BOZYP3DA000010T (2013)
NCC-COU-02-07-016 | 8th Floor North Samsung Air Conditioning | NCC/County Hall Campus/County Hall/8th Floor | Samsung | AM120FXVAGR | B02NP3GF300004P (2014)
NCC-COU-02-07-017 | South Wing System 1 Samsung Air Conditioning | NCC/County Hall Campus/County Hall/Ground Floor/South Wing | Samsung | AM220FXVAGR | B02YP3GFY00025F (2014)
NCC-COU-02-07-018 | South Wing System 2 Samsung Air Conditioning | NCC/County Hall Campus/County Hall/Ground Floor/South Wing | Samsung | AM220FXVAGH/EU
NCC-COU-02-07-019 | Cavell Room A/C System | NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Training Suite/Cavell Room | Samsung | AC120MXADKH/EU | B7T2P3CHB00028L
NCC-COU-02-07-020 | Sewell Room A/C System | NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Training Suite/Sewell Room | Samsung | AC120MXADKH/EU | B7T2P3CHB00030N
NCC-COU-02-07-021 | South Wing Meeting Rooms A/C System | NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Training Suite | Samsung | AM100KXMDG/EU | OF2PAOJ900022J
NCC-COU-02-07-022 | B35 Air Conditioning Unit 1 | NCC/County Hall Campus/County Hall/Basement Floor/B1-01 - Comms Room | Mitsubishi Electric | PUHZ-ZRP100YKA2 | 6C00715
NCC-COU-02-07-023 | B35 Air Conditioning Unit 2 | NCC/County Hall Campus/County Hall/Basement Floor/B1-01 - Comms Room | Mitsubishi Electric | PUHZ-ZRP100YKA2 | 6C00726
NCC-COU-02-07-024 | CCTV Server Room Air Conditioning Unit | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-17 - CCTV Server Room | Mitsubishi Electric
NCC-COU-02-07-025 | B67 Air Conditioning Unit 1 Circuit 1A | NCC/County Hall Campus/County Hall/Basement Floor/B1-62 - Comms Room | Airedale | CUS4HIEM/01 | U75596-02-001
NCC-COU-02-07-026 | B67 Air Conditioning Unit 1 Circuit 1B | NCC/County Hall Campus/County Hall/Basement Floor/B1-62 - Comms Room | Airedale | CUS4HIEM/01 | U75596-02-002
NCC-COU-02-07-027 | B67 Air Conditioning Unit 2 Circuit 2A | NCC/County Hall Campus/County Hall/Basement Floor/B1-62 - Comms Room | Airedale | CUS4HIEM/01 | U75596-02-004
NCC-COU-02-07-028 | B67 Air Conditioning Unit 2 Circuit 2B | NCC/County Hall Campus/County Hall/Basement Floor/B1-62 - Comms Room | Airedale | CUS4HIEM/01 | U75596-02-003
NCC-COU-02-07-029 | Essential Services Room - Air Conditioning Unit 1 | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-21 - Essential Services | Mitsubishi Electric | PUHZ-RP5VHA | 42U03807
NCC-COU-02-07-030 | Essential Services Room - Air Conditioning Unit 2 | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-21 - Essential Services | Mitsubishi Electric | PUHZ-RP5VHA1 | 75U00109
NCC-COU-02-07-031 | Essential Services Room - Air Conditioning Unit 3 | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-21 - Essential Services | Mitsubishi Electric | PUHZ-RP5VHA | 42U03809
NCC-COU-02-07-032 | Data Centre CRAC Unit 1 | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-09 - Data Centre | Denco | DMA065 - DCRA75 -EC | FKB631-6WG790-0019 - FKB631-6WG817-0002
NCC-COU-02-07-033 | Data Centre CRAC Unit 2 | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-09 - Data Centre | Denco | DMA065 - DCRA75 -EC | FKB631-6WG790-0014 - FKB631-6WG817-0019
NCC-COU-02-07-034 | Air Conditioning - Unison Office Upstairs | NCC/County Hall Campus/County Hall/Ground Floor/Reception/Unison Office | Mitsibushi | PUHZ-RP60VHA2 | 74U90587
NCC-COU-02-07-035 | Air Conditioning - Unison Office Downstairs | NCC/County Hall Campus/County Hall/Ground Floor/Reception/Unison Office | Fujitsu | AOY12ESAL | T000178
NCC-COU-02-07-036 | Air Conditioning - Pensions 1 | NCC/County Hall Campus/County Hall/Mezzanine/South Mezzanine/CPT Office | Mitsubishi | MUZ-AP25VG-E3 | 1C022175TR
NCC-COU-02-07-037 | Air Conditioning - Pensions Reception South Mezz | NCC/County Hall Campus/County Hall/Mezzanine/South Mezzanine/CPT Office | Mitsubish | SUZ-M60VA22 | 23P00964
NCC-COU-02-07-038 | Mitsubishi A/C - Innovation Centre | NCC/County Hall Campus/County Hall/Mezzanine/South Mezzanine | Mitsibushi | SUZ-KA50VA | 61P04891
NCC-NRO-05-19-001 | Humidifier - AHU1 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH09-T | 1900460
NCC-NRO-05-19-002 | Humidifier - AHU2 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH09-T | 1900461
NCC-NRO-05-19-003 | Humidifier - AHU3 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH09-T | 1900458
NCC-NRO-05-19-004 | Humidifier - AHU4 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH06-T | 1900463
NCC-NRO-05-19-005 | Humidifier - AHU6 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH06-T | 1900456
NCC-NRO-05-19-006 | Humidifier - AHU8 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH09-T | 1900459
NCC-NRO-05-19-007 | Humidifier - AHU9 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH06-T | 1900454
NCC-NRO-05-19-008 | Humidifier - AHU10 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH09-T | 1900462
NCC-NRO-05-19-009 | Humidifier - AHU11 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH09-T | 1900464
NCC-NRO-05-19-010 | Humidifier - AHU17 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH06-T | 1900455
NCC-NRO-05-08-001 | AHU 1 - Ground Floor Repository | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Trane | 3-SE 3/4 | 41 F 275 - 02/50/379
NCC-NRO-05-08-002 | AHU 2 - 1st Floor Repository | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Trane | 3-SE 6/7.5 | 41F275 - 02/50/379
NCC-NRO-05-08-003 | AHU 3 - 2nd Floor Repository | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Trane | 3-SE 6/7.5 | 41 F 275 - 02/50/379
NCC-NRO-05-08-004 | AHU 4 - Public Search Room | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Trane | CCGA 07-06 07-06 | 41F276
NCC-NRO-05-08-005 | AHU 5 - Film Conservation | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Trane | CCGA 05-04 05-04 | 41F276
NCC-NRO-05-08-006 | AHU 6 - 1st Floor Document Reception Area | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/2nd Floor/Roof Top Plant Room | Trane | CCGA 05-04 05-04 | 41F276
NCC-NRO-05-08-007 | AHU 7 - 1st Floor Toilets | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/2nd Floor/Roof Top Plant Room | Trane | CCGA 04-04 04-04 | 41F276
NCC-NRO-05-08-008 | AHU 8 - 1st Floor Conservation Workshop | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/2nd Floor/Roof Top Plant Room | Trane | CCGA 07-05 07-05 | 41F276
NCC-NRO-05-08-009 | AHU 9 - EAFA Viewing Room | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Plant Room - Internal
NCC-NRO-05-08-010 | AHU 10 - Public Search Room | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Restaurant Roof Plant Room | Trane | CCGA 06-05 06-05 | 41F276
NCC-NRO-05-08-011 | AHU 11 - Gallery | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Plant Room - Internal
NCC-NRO-05-08-012 | AHU 12 - Colour Film Store | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room
NCC-NRO-05-08-013 | AHU 13 - B Film Store | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Reycol SVC | 6018/13
NCC-NRO-05-08-014 | AHU 14 - A Film Store | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Reycol SVC | 6018/14
NCC-NRO-05-08-015 | AHU 15 - Video Master Store | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Reycol SVC | 6018/15
NCC-NRO-05-08-018 | AHU 18 - Fresh Air Supply | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Reycol SVC | 60187/18
NCC-NRO-05-08-017 | AHU 17 - Handling & Acclimatisation Corridor | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Reycol SVC | 6018/17
NCC-NRO-05-08-016 | AHU 16 - Audio Tape Store | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Reycol SVC | 6018/16
NCC-NRO-05-08-019 | AHU 19 - Public Display Case | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Plant Room - Internal
NCC-NRO-05-19-011 | Humidifier - AHU5 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room | Hygromatik | FLH06-T | 1900457
NCC-COU-02-07-040 | Shop - Air Conditioning Unit | NCC/County Hall Campus/County Hall/Ground Floor/Reception/Canteen Shop | Mitsubishi Heavy Industries | FDC71UMP - FDT71VF1 | A86700986RF - A31702247RK
NCC-COU-02-07-043 | Comms Room A/C - South Wing | NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Political Corridor/South Wing Comms Room | Mitsubishi Electric
NCC-COU-02-07-044 | Comms Room A/C - 1st Floor | NCC/County Hall Campus/County Hall/1st Floor/Comms Room | Mitsubishi Electric | PUZ-ZM71VHA | 93U02300
NCC-COU-02-07-045 | Comms Room A/C - 2nd Floor | NCC/County Hall Campus/County Hall/2nd Floor/Comms Room | Mitsubishi Electric | PUZ-ZM71VHA | 93U02321
NCC-COU-02-07-046 | Comms Room A/C - 3rd Floor | NCC/County Hall Campus/County Hall/3rd Floor/Comms Room | Mitsubishi Electric | PUZ-ZM71VHA | 93U02322
NCC-COU-02-07-047 | Comms Room A/C - 4th Floor | NCC/County Hall Campus/County Hall/4th Floor/Comms Room | Mitsubishi Electric | PUZ-ZM71VHA | 93U02316
NCC-COU-02-07-048 | Comms Room A/C - 5th Floor | NCC/County Hall Campus/County Hall/5th Floor/Comms Room | Mitsubishi Electric | PUZ-ZM71VHA | 93U02338
NCC-COU-02-07-049 | Comms Room A/C - 6th Floor | NCC/County Hall Campus/County Hall/6th Floor/Comms Room | Mitsubishi Electric | PUZ-ZM71VHA | 93U02318
NCC-COU-02-07-050 | Comms Room A/C - 7th Floor | NCC/County Hall Campus/County Hall/7th Floor/Comms Room | Mitsubishi Electric | PUZ-ZM71VHA | 93U02339
NCC-COU-02-07-051 | Comms Room A/C - 8th Floor | NCC/County Hall Campus/County Hall/8th Floor/Comms Room | Mitsubishi Electric | PUZ-ZM71VHA | 93U02317
IND-HOL-05-06-027 | Ducted wood extract sys - workshop | NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub
IND-HOL-05-06-030 | Mobile dust extraction unit - Workshop | NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub
IND-HOL-05-06-029 | Mitre saw dust extraction - Workshop | NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub
IND-HOL-05-06-028 | Mobile dust extraction unit - Workshop | NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub
NCC-COU-05-06-001 | Extract Grilles and Louvres - 1st Floor | NCC/County Hall Campus/County Hall/1st Floor
NCC-COU-05-06-002 | Extract Grilles and Louvres - 2nd Floor | NCC/County Hall Campus/County Hall/2nd Floor
NCC-COU-05-06-003 | Extract Grilles and Louvres - 3rd Floor | NCC/County Hall Campus/County Hall/3rd Floor
NCC-COU-05-06-004 | Extract Grilles and Louvres - 4th Floor | NCC/County Hall Campus/County Hall/4th Floor
NCC-COU-05-06-005 | Extract Grilles and Louvres - 5th Floor | NCC/County Hall Campus/County Hall/5th Floor
NCC-COU-05-06-006 | Extract Grilles and Louvres - 6th Floor | NCC/County Hall Campus/County Hall/6th Floor
NCC-COU-05-06-007 | Extract Grilles and Louvres - 7th Floor | NCC/County Hall Campus/County Hall/7th Floor
NCC-COU-05-06-008 | Extract Grilles and Louvres - 8th Floor | NCC/County Hall Campus/County Hall/8th Floor
NCC-COU-02-07-052 | Restaurant AC System 1 | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End/Plant Room 3 - Restaurant M&E | Mitsubishi Electric | PUZ-M140VKA & PLA-M140EA | 9YP01323 & 0C00312
NCC-COU-02-07-053 | Restaurant AC System 2 | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End/Plant Room 3 - Restaurant M&E | Mitsubishi Electric | PUZ-M140VKA & PLA-M140EA | 01P00017 & 0C00312
NCC-COU-02-07-054 | Restaurant AC System 3 | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End/Plant Room 3 - Restaurant M&E | Mitsubishi Electric | PUZ-M140VKA & PLA-M140EA | 01P00016 & 0C00307
NCC-COU-02-07-055 | Restaurant AC System 4 | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End/Plant Room 3 - Restaurant M&E | Mitsubishi Electric | PUZ-M140VKA & PLA-M140EA | 9YP01319 & 0C00308
NCC-COU-02-07-056 | Restaurant AC System 5 | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End/Plant Room 3 - Restaurant M&E | Mitsubishi Electric | PUZ-M140VKA & PLA-M140EA | 01P00026 & 0C00302
NCC-COU-02-07-057 | Restaurant AC System 6 | NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End/Plant Room 3 - Restaurant M&E | Mitsubishi Electric | PUZ-M140VKA & PLA-M140EA | 01P00026 & 0C00309
NCC-COU-02-07-058 | Phase 2 System 1 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | RY-P400NW-A(-BS) | 07W03359
NCC-COU-02-07-059 | Phase 2 System 2 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P450YNW-A(-BS) | 9ZW02055
NCC-COU-02-07-060 | Phase 2 System 3 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P500YNW-A(-BS) | 08W01811
NCC-COU-02-07-061 | Phase 2 System 4 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P300YNW-A(-BS) | 07W06549
NCC-COU-02-07-062 | Phase 2 System 5 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P350YNW-A(-BS) | 07W05079
NCC-COU-02-07-063 | Phase 2 System 6 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P450YNW-A(-BS) | 9ZW02076
NCC-COU-02-07-064 | Phase 2 System 7 Outdoor Unit | NCC/County Hall Campus/County Hall/North Wing/North Wing Roof | Mitsubishi Electric | PURY-P450YNW-A(-BS) | 91W02188
NCC-COU-02-07-065 | Phase 2 System 8 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P250YNW-A(-BS) | 92W04964
NCC-COU-02-07-066 | Phase 2 System 9 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P400YNW-A(-BS) | 08W03408
NCC-COU-02-07-067 | Phase 2 System 10 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P350YNW-A(-BS) | 07W05090
MUS-NCK-05-08-001 | AHU1 - Norwich Union Gallery | NCC/Museum Services/Norwich Castle Museum/Basement/B05 Plant Room
NCC-COU-02-07-068 | Phase 2 System 11 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P300YNW-A(-BS) | 07W06440
NCC-COU-02-07-069 | Phase 2 System 12 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P300YNW-A(-BS) | 07W06551
NCC-COU-02-07-070 | Phase 2 System 13 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P350YNW-A(-BS) | 07W05067
NCC-COU-02-07-071 | Phase 2 System 14 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P350YNW-A(-BS) | 07W05035
MUS-NCK-05-04-001 | Water Chiller - Tee Gallery | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Tees Gallery | Clivet | M0SF00004-02 - 07/2021
MUS-NCK-05-08-002 | AHU2 - Crome Gallery | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Reception
MUS-NCK-05-08-003 | AHU3 - Cotman Gallery | NCC/Museum Services/Norwich Castle Museum/Basement/B04 Plant Room
MUS-NCK-05-08-004 | AHU4 - Boudica Gallery | NCC/Museum Services/Norwich Castle Museum/Castle Keep
MUS-NCK-05-08-005 | Air Handling Unit | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Cotman Gallery
MUS-NCK-05-08-006 | AHU6 - Bernard Matthews Gallery | NCC/Museum Services/Norwich Castle Museum
MUS-NCK-05-08-007 | AHU7 - Auditorium & Timothy Gurney Gallery | NCC/Museum Services/Norwich Castle Museum/2nd Floor/2F Plant Room
MUS-NCK-05-08-008 | Air Handling Unit | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Keep Basement Plant Room
MUS-NCK-05-19-001 | Humidifier - AHU1 Norwich Union Gallery | NCC/Museum Services/Norwich Castle Museum/Basement/B05 Plant Room | Vapac | LE30D | 220136436102
MUS-NCK-05-19-002 | Humidifier - AHU2 Crome Gallery | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Gallery | Vapac | LE30PD | 180528216402
MUS-NCK-05-19-003 | Humidifier - AHU3 Cotman Gallery | NCC/Museum Services/Norwich Castle Museum/Basement/B04 Plant Room | Vapac | LE30PD | V48047
NCC-COU-02-07-072 | Phase 2 System 15 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P350YNW-A(-BS)
NCC-COU-02-07-073 | Phase 2 System 16 Outdoor Unit | NCC/County Hall Campus/County Hall/North Wing/North Wing Roof | Mitsubishi Electric | PURY-P550YNW-A(-BS) | 06W01758
MUS-AKL-07-01 | Security System | NCC/Museum Services/Aickmans Yard - Museum Store Room
MUS-GRL-05-06-041 | Fixed single point soldering extract LEV | NCC/Museum Services/Gressenhall Rural Life Museum/Workshop | Nederman |  | 535
MUS-GRL-05-06-042 | Mobile single point soldering extract LEV | NCC/Museum Services/Gressenhall Rural Life Museum/Workshop | Nederman |  | 70540144
MUS-GRL-05-06-043 | Mobile single point soldering extract LEV | NCC/Museum Services/Gressenhall Rural Life Museum/Workshop | Nederman | 531
MUS-NCK-05-06-026 | Portable dust extraction system | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Display Workshop | Nilfisk
MUS-NCK-05-06-027 | Portable dust extraction system | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Display Workshop | Hitachi
MUS-NCK-05-06-028 | Portable dust extraction system | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Display Workshop | Axminster
MUS-NCK-05-06-029 | Woodworking dust extraction system | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Display Workshop |  | 9 point
MUS-NCK-05-06-031 | General Room Air Clearance (wooddust) Unit | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Display Workshop | Axminster
MUS-NCK-05-06-032 | Portable Sanding Tools & Bandsaw Extraction | NCC/Museum Services/Norwich Castle Museum/Castle Keep/Display Workshop | Bosch
MUS-SCC-05-06-008 | Fume Cupboard | NCC/Museum Services/Norwich Shirehall & Castle Study Centre/Room F02 |  | Extract Single 100mm
MUS-SCC-05-06-009 | Fume Extract System Mobile | NCC/Museum Services/Norwich Shirehall & Castle Study Centre/Room G01 | Nederman | Ultjumbo
MUS-SCC-05-06-010 | Fume Extract System | NCC/Museum Services/Norwich Shirehall & Castle Study Centre/Room G01 | Plymovent | 3 point
MUS-SCC-05-06-011 | Fume Extract System Mobile | NCC/Museum Services/Norwich Shirehall & Castle Study Centre/Room G01 | Nederman |  | 70510244-2
MUS-SCC-05-06-012 | Fume Extract System Mobile | NCC/Museum Services/Norwich Shirehall & Castle Study Centre/Room G01 | Nederman |  | 70510244-1
MUS-SCC-05-06-013 | Fume Cupboard | NCC/Museum Services/Norwich Shirehall & Castle Study Centre/Room G02 | Tom Green Products Ltd
MUS-SCC-05-06-014 | Fume extract system mobile | NCC/Museum Services/Norwich Shirehall & Castle Study Centre/Room G48 | Nederman |  | 70510244-3
NCC-COU-02-07-074 | Phase 2 System 17 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P350YNW-A(-BS) | 07W05066
NCC-COU-02-07-075 | Phase 2 System 18 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P350YNW-A(-BS) | 07W05024
NCC-COU-02-07-076 | Phase 2 System 19 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P450YNW-A(-BS) | 9ZW02061
NCC-COU-02-07-077 | Phase 2 System 20 Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric | PURY-P500YNW-A(-BS) | 06W01733
NCC-COU-02-07-078 | CCTV Monitoring Room Outdoor Unit | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | Mitsubishi Electric
NCC-COU-02-07-079 | LG-P-07 Comms Room Outdoor Unit | NCC/County Hall Campus/County Hall/Tunnel | Mitsubishi Electric | PUZ-ZM100YKA | 1B00242
NCC-COU-02-07-080 | LG-21 Comms Room Outdoor Unit | NCC/County Hall Campus/County Hall/Tunnel | Mitsubishi Electric | PUZ-ZM100YKA | 0M01819
NCC-COU-02-07-081 | B1-26 Comms Room Outdoor Unit | NCC/County Hall Campus/County Hall/Tunnel | Mitsubishi Electric | PUZ-ZM100YKA | 0M01816
NCC-COU-02-07-082 | NW-LG-19 Comms Room Outdoor Unit | NCC/County Hall Campus/County Hall/North Wing/North Wing Roof | Mitsubishi Electric | PUZ-ZM100YKA | 0M01800
NCC-COU-02-07-083 | NW-01-14 Comms Room Outdoor Unit | NCC/County Hall Campus/County Hall/North Wing/North Wing Roof | Mitsubishi Electric | PUZ-ZM100YKA | 0M01801
NCC-COU-02-07-084 | CV-GF-39a AV Comms Room Outdoor Unit | NCC/County Hall Campus/County Hall/Roof Areas/Civic Area Roof | Mitsubishi Electric | MUY-TP35F | MSY-TP35VF
NCC-COU-02-07-085 | CV-GF-39a AV Comms Room Outdoor Unit | NCC/County Hall Campus/County Hall/North Wing/North Wing Roof | Mitsubishi Electric | PUZ-M100YKA | 13P00665
NCC-COU-02-07-086 | CV-01-05 North Mezz Office 1 Outdoor Unit | NCC/County Hall Campus/County Hall/North Wing/North Wing Roof | Mitsubishi Electric | PUZ-ZM35VKA | 0ZU11712
NCC-COU-02-07-087 | CV-01-04 North Mezz Office 2 Outdoor Unit | NCC/County Hall Campus/County Hall/North Wing/North Wing Roof | Mitsubishi Electric | PUIZ-ZM100VKA | 1C00455
NCC-COU-02-07-088 | Norse Workshop (lower Ground) unit | NCC/County Hall Campus/County Hall/Tunnel | Mitsubishi Electric
NCC-COU-02-07-089 | NCC Workshop Office (lower Ground) Unit | NCC/County Hall Campus/County Hall/Tunnel | Mitsubishi Electric
NCC-COU-02-07-090 | Mardle: Basement Kitchen Area Walk-in Freezer | NCC/County Hall Campus/County Hall/Tunnel | Mitsubishi Electric
NCC-COU-02-07-091 | Mardle: Basement Kitchen Area Walk-In Foste Fridge | NCC/County Hall Campus/County Hall/Tunnel | Foster
MUS-NCK-05-19 | Humidifiers | NCC/Museum Services/Norwich Castle Museum/Castle Keep
NCC-COU-05-10-099 | Lower Ground Tunnel Ramp Auto Doors | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-38 - Corridor
NCC-COU-05-08-001 | AHU1 - South Side Basement/Outside Compound | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound | VES
NCC-COU-05-08-002 | AHU2 - South Main Tower/ Tunnel | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-16 - Lower Ground Plant Room | VES
NCC-COU-05-08-003 | AHU3 - Main Tower North/Plant Room 3 | NCC/County Hall Campus/County Hall/Basement Floor/B1-P-21 - Ventilation Plant | VES
NCC-COU-05-08-004 | AHU4 - North Wing Ventilation | NCC/County Hall Campus/County Hall/North Wing/North Wing Roof | VES
NCC-COU-05-08-005 | AHU5 - Basement Kitchen | NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-16 - Lower Ground Plant Room | VES
NCC-COU-05-08-006 | AHU6 - Civic Area | NCC/County Hall Campus/County Hall/Basement Floor/B1-P-21 - Ventilation Plant | VES
NCC-COU-05-08-007 | AHU7 - North Mezzanine | NCC/County Hall Campus/County Hall/Roof Areas/Civic Area Roof | VES
NCC-COU-02-07-091 | Portacabin Projects Office | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Project Office Portacabin |  | Hitachi
NCC-COU-02-07-092 | Portacabin Projects Meeting Room | NCC/County Hall Campus/County Hall/Grounds & Car Parks/Project Office Portacabin |  | Hitachi
NCC-HIG-02-07-002 | IMI Marstair Air Conditioning System Bitumen Lab | NCC/County Hall Campus/Highways Laboratory Norfolk Partnership Lab | IMI Marstair (R22) | CUX150 | 0164140
NCC-HIG-02-07-003 | Daikin Air Conditioning System | NCC/County Hall Campus/Highways Laboratory Norfolk Partnership Lab | Daikin | RXM35N2V1B9 | J012096
NCC-NRO-02-07-001 | Copeland A/C System - AHU12 Pass A | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Copeland | MCK9ZB21KE-TFD
NCC-NRO-02-07-002 | Copeland A/C System - AHU12 Pass B | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre) | Copeland | MCM8ZB12KE-TFD
NCC-NRO-02-07-003 | IMI Marstair - AHU 19 Pass A | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Restaurant Roof Plant Room | IMI | Marstair | 0961224
NCC-NRO-02-07-004 | IMI Marstair - AHU 19 Pass B | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Restaurant Roof Plant Room | IMI | Marstair
NCC-NRO-02-07-005 | Mitsubishi A/C - Admin Hub | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/General & Admin Office | Mitsubishi | SUZKA60VA5 | 5XP00799
NCC-NRO-02-07-006 | Mitsubishi A/C - Admin Offices | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Registrars Room 3/Admin Hub | Mitsubishi | MXZ-4A80VA | 702335
NCC-NRO-02-07-007 | Mitsubishi A/C EAFA Office 1 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/EAFA Office | Mitsubishi | PUHZ-RP50VHA4 | 07U05084
NCC-NRO-02-07-008 | Mitsubishi A/C EAFA Office 2 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/EAFA Office | Mitsubishi | PUHZ-RP50VHA4 | 07U05076
NCC-NRO-02-07-009 | Mitsubishi A/C EAFA Office 3 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/EAFA Office | Mitsubishi | PUHZ-RP50VHA4 | 07U05087
NFS-BOW-02-07-001 | Air Conditioning - Side by Front Gate | NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre/Side by Front Gate | Fujitsu | AOYR14LGC | 0400000217
NFS-BOW-02-07-002 | Air Conditioning - Kitchen | NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre/Kitchen | Misubishi | PCA-RP71HA | 0400000216
NFS-BOW-02-07-003 | Air Conditioning - Back Wall | NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre/Back Wall | Misubishi | PU-P71VGAA1 | 0400000215
NFS-BOW-02-07-004 | Air Conditioning - Vehicle Store & Workshop | NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre/Vehicle Store & Workshop | Fujitsu | ASYA14LGC | 0400000214
NFS-DER-02-07 | Air Conditioning Systems (F-Gas) | NCC/Norfolk Fire and Rescue/Dereham Fire Station
NFS-GTY-02-07-001 | Air Conditioning - Back of Station | NCC/Norfolk Fire and Rescue/Great Yarmouth Fire Station/Back of Station | Mitsubishi SRC50ZJ-S (Outdoor) |  | 0400007143
NFS-GTY-02-07-002 | Ait Conditioning - GPO Room | NCC/Norfolk Fire and Rescue/Great Yarmouth Fire Station/GPO Room | Mitsubishi (Indoor) |  | 0400007140
NFS-KIN-02-07-001 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000091
NFS-KIN-02-07-002 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000089
NFS-KIN-02-07-003 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000099
NFS-KIN-02-07-004 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000098
NFS-KIN-02-07-005 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000097
NFS-KIN-02-07-006 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000093
NFS-KIN-02-07-007 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000088
NFS-KIN-02-07-008 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000095
NFS-KIN-02-07-009 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000092
NFS-KIN-02-07-010 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000090
NFS-KIN-02-07-011 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000094
NFS-KIN-02-07-012 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000096
NFS-KIN-02-07-013 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000100
NFS-KIN-02-07-014 | Air Conditioning | NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North |  |  | 0400000101
NFS-NEA-02-07-001 | Air Conditioning - Main Building Appliance Bay | NCC/Norfolk Fire and Rescue/North Earlham Fire Station/Main Building Appliance Bay | Toshiba | RAS-18-UA | 0400007154
NFS-NEA-02-07-002 | Air Conditioning - Main Building 1st Floor Comms R | NCC/Norfolk Fire and Rescue/North Earlham Fire Station/Main Building 1st Floor Comms Room | Toshiba |  | 0400007161
NFS-NEA-02-07-003 | Air Conditioning - Main Building Drying Room | NCC/Norfolk Fire and Rescue/North Earlham Fire Station/Main Building Drying Room | Calorex | 60 | 0400007158
NFS-NOR-02-07-001 | Air Conditioning - 1st Floor Meeting Room | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/1st Floor Meeting Room | Mitsibushi |  | 0400000206
NFS-NOR-02-07-002 | Air Conditioning - OSO Office | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/OSO Office | Mitsibushi |  | 0400000209
NFS-NOR-02-07-003 | Air Conditioning - Roof | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Roof | Outdoor Unit
NFS-NOR-02-07-004 | Air Conditioning - 1st Floor Meeting Room | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/1st Floor Meeting Room | Mitsibushi |  | 0400000207
NFS-NOR-02-07-005 | Air Conditioning - Ambulance Crew | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Ambulance Crew | Mitsibushi |  | 0400000213
NFS-NOR-02-07-006 | Air Conditioning - Roof | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Roof | Outdoor Unit
NFS-NOR-02-07-007 | Air Conditioning - Room Bottom of Back Stairs | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Room Bottom of Back Stairs | Mitsibushi |  | 0400000205
NFS-NOR-02-07-008 | Air Conditioning - Conference Room | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Conference Room | Mitsibushi |  | 0400000212
NFS-NOR-02-07-009 | Air Conditioning - Server Room | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Server Room | Mitsibushi |  | 0400000210
NFS-NOR-02-07-010 | Air Conditioning - Roof | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Roof | Outdoor Unit
NFS-NOR-02-07-011 | Air Conditioning - Conference Room | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Conference Room | Mitsibushi |  | 0400000211
NFS-NOR-02-07-012 | Air Conditioning - Roof | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Roof | Outdoor Unit
NFS-NOR-02-07-013 | Air Conditioning - Fire Safety Office | NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow/Fire Safety Office | Mitsibushi |  | 0400000208
NFS-SHE-02-07-001 | Air Conditioning | NCC/Norfolk Fire and Rescue/Sheringham Fire Station | ELCO FAO16B11053001 A6ROTOPT16 |  | 0400000302
NFS-SHE-02-07-002 | Air Conditioning - NFRS Room | NCC/Norfolk Fire and Rescue/Sheringham Fire Station/NFRS Room | Mitsibishi - Indoor |  | 0400000306
NFS-SHE-02-07-003 | Air Conditioning - Crew Room | NCC/Norfolk Fire and Rescue/Sheringham Fire Station/Crew Room | Mitsibishi - Indoor |  | 0400000304
NFS-SHE-02-07-004 | Air Conditioning - Police Room | NCC/Norfolk Fire and Rescue/Sheringham Fire Station/Police Room | Mitsibishi - Indoor - NO ACCESS AS NO OFFICERS ON |  | 0400000305
NFS-SHE-02-07-005 | Air Conditioning - Next to Bike Shed | NCC/Norfolk Fire and Rescue/Sheringham Fire Station/Next to Bike Shed | Mitibishi - Outdoor |  | 0400000301
NFS-SHE-02-07-006 | Air Conditioning - Equipment Store | NCC/Norfolk Fire and Rescue/Sheringham Fire Station/Equipment Store | Mitisibishi - Indoor |  | 0400000307
NFS-SOU-02-07-001 | Air Conditioning - DRYING ROOM HIGH TEMP | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/DRYING ROOM HIGH TEMP |  |  | 0400000391
NFS-SOU-02-07-002 | Air Conditioning - GUM ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/GUM ROOM |  |  | 0400000382
NFS-SOU-02-07-003 | Air Conditioning - COMMS ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/COMMS ROOM |  |  | 0400000396
NFS-SOU-02-07-004 | Air Conditioning - SHOWER ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/SHOWER ROOM |  |  | 0400000383
NFS-SOU-02-07-005 | Air Conditioning - OUTSIDE | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/OUTSIDE |  |  | 0400000393
NFS-SOU-02-07-006 | Air Conditioning - LECTURE ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/LECTURE ROOM |  |  | 0400000374
NFS-SOU-02-07-007 | Air Conditioning - LOCKER ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/LOCKER ROOM |  |  | 0400000377
NFS-SOU-02-07-008 | Air Conditioning - WATCH ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/WATCH ROOM |  |  | 0400000373
NFS-SOU-02-07-009 | Air Conditioning - WATCH MANAGERS ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/WATCH MANAGERS ROOM |  |  | 0400000378
NFS-SOU-02-07-010 | Air Conditioning - DORM ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/DORM ROOM |  |  | 0400000376
NFS-SOU-02-07-011 | Air Conditioning - STATION MANAGERS ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/STATION MANAGERS ROOM |  |  | 0400000394
NFS-SOU-02-07-012 | Air Conditioning - OUTSIDE | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/OUTSIDE |  |  | 0400000392
NFS-SOU-02-07-013 | Air Conditioning - OPPS SUPPORT ROOM | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/OPPS SUPPORT ROOM |  |  | 0400000395
NFS-SOU-02-07-014 | Air Conditioning - KITCHEN | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/KITCHEN |  |  | 0400000375
NFS-SOU-02-07-015 | Air Conditioning - DRYING ROOM LOW | NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South/DRYING ROOM LOW |  |  | 0400000390
NFS-SPR-02-07-001 | Air Conditioning - Mess Room | NCC/Norfolk Fire and Rescue/Sprowston Fire Station/Mess Room | Mitsubishi | PEAD-P1 166A | 04000000218
MUS-NCK-05-19-004 | Humidifier - AHU6 - Bernard Matthews Gallery | NCC/Museum Services/Norwich Castle Museum/Basement/B04 Plant Room | Vapac | LE39D | 220136436103
NFS-SPR-02-07-002 | Air Conditioning - Mess Room | NCC/Norfolk Fire and Rescue/Sprowston Fire Station/Mess Room | Mitsubishi | PUH-P16UGAA - Outdoor Unit | 04000000219
NFS-SWA-02-07-001 | Air Conditioning - Server Room | NCC/Norfolk Fire and Rescue/Swaffham Fire Station/Server Room |  |  | 0400003105
NFS-SWA-02-07-002 | Air Conditioning - Server Room | NCC/Norfolk Fire and Rescue/Swaffham Fire Station/Server Room |  |  | 0400003106
NFS-SWA-02-07-003 | Air Conditioning - Server Room | NCC/Norfolk Fire and Rescue/Swaffham Fire Station/Server Room |  |  | 0400003107
MUS-AKL-02-20 | Dehumidifier | NCC/Museum Services/Aickmans Yard - Museum Store Room |  | MCS300E | 0742190051350366
NFS-SWA-02-07-004 | Air Conditioning - Server Room | NCC/Norfolk Fire and Rescue/Swaffham Fire Station/Server Room |  |  | 0400003108
NFS-THE-02-07-001 | Air Conditioning - Reception Office | NCC/Norfolk Fire and Rescue/Thetford Fire Station/Recpetion Office | Fujitsu | ASV12FSACW - INDOOR UNIT | 0400007091
NCC-NRO-05-08-020 | NRO Registrars Office Units 1 & 2 | NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/General & Admin Office |  | Hitachi
NFS-WHI-02-07 | Air Conditioning Systems (F-Gas) | NCC/Norfolk Fire and Rescue/Whitegates Complex/Whitegates Workshops
NFS-WYM-02-07-001 | Air Conditioning - External of Building | NCC/Norfolk Fire and Rescue/Wymondham Fire Station/External of Building | Mitsubishi | FDC258HEN3A (Outdoor Unit) | 0400006258
LIB-FAK-01-16-001 | FD01 - Extract | NCC/Norfolk Libraries/Fakenham Library
LIB-FAK-01-16-002 | FD02 - Extract | NCC/Norfolk Libraries/Fakenham Library
LIB-FAK-01-16-004 | FD04 - Extract | NCC/Norfolk Libraries/Fakenham Library
LIB-FAK-01-16-006 | FD06 - Extract | NCC/Norfolk Libraries/Fakenham Library
LIB-FAK-01-16-008 | FD08 - Extract | NCC/Norfolk Libraries/Fakenham Library
LIB-FAK-05-08 | MVHR Ventilation System | NCC/Norfolk Libraries/Fakenham Library | Swegon | Pro Casa R15
LIB-FAK-05-08-001 | ATT01 - Return Air Attenuator | NCC/Norfolk Libraries/Fakenham Library
LIB-FAK-05-08-002 | ATT02CU02 - Supply Air Attenuator | NCC/Norfolk Libraries/Fakenham Library | Swegon
LIB-FAK-05-08-003 | SG01 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 250 x 250 - 40l/s
LIB-FAK-05-08-004 | SG02 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 250 x 250 - 40l/s
LIB-FAK-05-08-005 | SG03 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-006 | SG04 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 595 x 595 - 150l/s
LIB-FAK-05-08-007 | SG05 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-008 | SG06 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-009 | SG07 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-010 | SG08 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-011 | SG09 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-012 | SG10 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-013 | SG11 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-014 | SG12 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 595 x 595 - 242l/s
LIB-FAK-05-08-015 | EG01 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-016 | EG02 - Extract Valve | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 150mm - 15l/s
LIB-FAK-05-08-017 | EG03 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 250 x 250 - 40l/s
LIB-FAK-05-08-018 | EG04 - Extract Valve | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-019 | EG05 - Extract Valve | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-020 | EG06 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD
LIB-FAK-05-08-021 | EG07 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 595 x 595
LIB-FAK-05-08-022 | EG08 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 595 x 595
LIB-FAK-05-08-023 | EG09 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 595 x 595
LIB-FAK-05-08-024 | EG10 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 595 x 595
LIB-FAK-05-08-025 | EG11 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 595 x 595
LIB-FAK-05-08-026 | EG12 - 4 Way Diffuser | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 595 x 595
LIB-FAK-05-08-027 | EL01 - Exhaust Louvre | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 800 x 400 - 323l/s
LIB-FAK-05-08-028 | EL02 - Egg Crate Grille | NCC/Norfolk Libraries/Fakenham Library | HVC | Series CD | 900 x 400 - 143l/s
NFS-WYM-02-07-002 | Air Conditioning - Communication Room | NCC/Norfolk Fire and Rescue/Wymondham Fire Station/Communication Room | Mitsubishi | DFL258-A (Indoor Unit) | 0400006256
NFS-WYM-02-07-003 | Air Conditioning - Communication Room | NCC/Norfolk Fire and Rescue/Wymondham Fire Station/Communication Room | Daikin | FTXS60GV1B (Indoor Unit) | 0400000255
NFS-WYM-02-07-004 | Air Conditioning - External of Building | NCC/Norfolk Fire and Rescue/Wymondham Fire Station/External of Building | Daikin | RXS60F3V1B (Outdoor Unit) | 0400000257
OFF-ACC-02-07-001 | AC System - Server Room | NCC/CPT Offices/Attleborough Community & Enterprise Centre Rachel | Daikin | RXS60E2V1B - FTX560EV1B | 6500757 - E001812
OFF-ACC-02-07-002 | AC System - 1 | NCC/CPT Offices/Attleborough Community & Enterprise Centre Rachel | Daikin | RXYSQ6P7V3BI | 1702257
OFF-ACC-02-07-003 | AC System - 2 | NCC/CPT Offices/Attleborough Community & Enterprise Centre Rachel | Daikin | REXQ8M7W1B | 7601729
OFF-BRY-02-07 | Air Conditioning Systems (F-Gas) | NCC/CPT Offices/Unit 5, Bryggen Road, Kings Lynn PE30 2HZ - Aly B
OFF-PRI-02-07-001 | AC Unit - NCC Comms Room | NCC/CPT Offices/Priory House, King's Lynn - Stu Bedford | Mitsubishi Electric | Ext unit PUHZ RP6.. Int unit PKA-RP60KAL R410A | 83U00175 & 93M00150
OFF-PRI-02-07-002 | AC System - KLBC Comms Room | NCC/CPT Offices/Priory House, King's Lynn - Stu Bedford | Mitsubishi Electric | Ext unit PU-P4YGAA Int unit PCA-P4GA | 2E000812 & 24000267