## Overview
Reference | Description | Total Prices (£)
1 | Planned Maintenance Works - Table 1.1 | 0
2 | Planned Maintenance Works - Table 1.2 | 0
3 | Remedial and Reactive Works - Table 2 | 348900
| Total Tender Price to Form of Tender | 348900
Instruction for pricing
Table 1.1 Planned Work. Planned work is considered any work where there is a statutory compliance or maintanence visit needed and work can be planned in advance.
Bidder to input their price (Column C) for planned work inclusive of all costs including management fees. The table will calulate your tender cost for planned work for 3 years.
Table 1.2 Planned Work. Planned work is considered any work where there is a statutory compliance or maintanence visit needed and work can be planned in advance.
Bidder to input their price (Column G) for planned work inclusive of all costs including management fees. The table will calulate your tender cost for planned work for 3 years.
Table 2 Remedial and Reactive. Remedial work is considered as the repairs to assets following a planned inspection. Reactive is considered calls from building users where assets are broken are not working as expected.
Bidder to input their prices and percentage (Columns B, C, and D) per orange line to provide rates and percantage mark up on remedial and reactive work. The table will calculater your contract cost for 3 years, based on the estimates provided.

## Table 1.1 Planned Work
Locations and Service details | Number of Systems per site Location | Price per Site | Number of Visits over a 3 year period | Total Tender Price (auto populates)
NCC/Children's Services/1 Whinchat Way, Bradwell, Great Yarmouth NR31 8SD
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/345 Aylsham Road Residential Unit, NR3 2RU
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/74 Gurney Road, Costessey, NR5 0HL
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/Dereham Hub was Garfield 15 Norwich Road, NR20 3AE
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/Easthills Residential, 81 Easthills Road NR5 0PD
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/Foxwood, Blithemeadow Court,Norwich NR7
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/Hindolveston Bridge End Dereham NR20 5BZ
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/Poppy House 30 Stody Drive Kings Lynn PE30 3UG
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/Shell Cottage 43 Coxwain Read WayCaister, NR30 5AW
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Children's Services/The Lodge, 16c Harvey Lane, Norwich, NR7 0BN
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/CPT Offices/Laburnum Grove Day Centre - Aly
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/CPT Offices/Scottow Enterprise Park - Aly B
Local Extraction (LEV) Equipment - Annual Inspection | 1 |  | 3 | 0
NCC/CPT Offices/Vauxhall Community Hub - Aly B
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Attleborough Community Hub (Station Rd) - IM
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Caister Community Hub
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Dereham Community Hub 1 Rash's Green NR19 1JG
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub
Ducted wood extract sys - workshop - Annual Inspection | 1 |  | 3 | 0
Mobile dust extraction unit - Workshop - Annual Inspection | 1 |  | 3 | 0
Mitre saw dust extraction - Workshop - Annual Inspection | 1 |  | 3 | 0
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Independence Matters & Adult Social Care Aly B/Sprowston Community Hub
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Museum Services/Gt Yarmouth Time & Tide Museum
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Dereham Fire Station |  |  |  | 0
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Gorleston Fire Station
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Great Yarmouth Fire Station
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/North Earlham Fire Station
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Sprowston Fire Station
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Fire and Rescue/Thetford Fire Station
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Libraries/Gorleston Library
Kitchen Extract - Annual Clean & Service | 1 |  | 3 | 0
NCC/Norfolk Libraries/Great Yarmouth Community Library
Kitchen Extract - Annual Clean & Service | 3 |  | 3 | 0
Total Tender Price to Summary |  |  |  | 0

## Table 1.2 Planned Work
Locations and Service details | System Type | DX Coil System (Direct Expansion) | MCU Box | Cassets | Ducted Fan Coil | Price per Site | Number of Visits over a 3 year period | Total Tender Price (auto populates)
NCC/County Hall Campus/Annexe/Annex - Grounds
Outdoor Unit - 1-03 - 1F Edith Cavell Room (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 003 - G.F. Front Office Rear (F-Gas) 6 Monthly Service | VRF |  |  | 3 |  |  | 6 | 0
Outdoor Unit - 002 - G.F. Front Office Centre (F-Gas) 6 Monthly Service | VRF |  |  | 3 |  |  | 6 | 0
Outdoor Unit - 1-02 - 1.F. Reception Rear (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 1-04 - 1.F. Office 3 (F-Gas) 6 Monthly Service | VRF |  |  | 4 |  |  | 6 | 0
Outdoor Unit - 008 - G.F. Rear Office Rear RH Wall (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 1-05 - 1.F. Open Office RH Right (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 007 - G.F. Rear Office Front Right (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 010 - G.F. Server Room (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 1-06 - 1.F. Open Office Rear Centre (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 011 - G.F. Rear Office Rear Right (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 1-07 - 1.F. Open Office Rear Left (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 009 - G.F. Meeting Room 4 (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 012 - G.F. Rear Office Rear Centre (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 013 - G.F. Rear Office Rear Left (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 006 - G.F. Post Room (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 1-08 - 1.F. Office 6 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 1-09 - 1.F. Office 5 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 014 - G.F. Rear Office Left Wall (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 1-10 - 1.F. Open Office Left Side (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 016 - G.F. Rear Office Front Centre (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 015 - G.F. Rear Office Front Right (F-Gas) 6 Monthly Service | VRF |  |  | 4 |  |  | 6 | 0
Outdoor Unit - 1-12 - 1.F. Ethel Coleman Room (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 018 - G.F. Kitchen (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 017 - G.F. Office 3 (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 005 - G.F. Meeting Room 2 (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 019 - G.F. Meeting Room 3 (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 1-13 - 1.F. Jenny Lind Room (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 1-01 - 1.F. Reception Front (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Outdoor Unit - 004 - G.F. Front Office Front Wall (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Outdoor Unit - 001 - G.F. Front Office RH Wall Fr (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/1st Floor
1st Floor South Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 4 | 2 | 12 |  | 6 | 0
1st Floor North Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 8 | 15 |  | 6 | 0
NCC/County Hall Campus/County Hall/1st Floor/Comms Room
Comms Room A/C - 1st Floor (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/2nd Floor
2nd Floor South Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 6 | 18 |  | 6 | 0
2nd Floor North Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 4 | 4 | 10 |  | 6 | 0
NCC/County Hall Campus/County Hall/2nd Floor/Comms Room
Comms Room A/C - 2nd Floor (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/3rd Floor
3rd Floor South Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 2 | 12 |  | 6 | 0
3rd Floor North Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 8 | 16 |  | 6 | 0
NCC/County Hall Campus/County Hall/3rd Floor/Comms Room
Comms Room A/C - 3rd Floor (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/4th Floor
4th Floor South Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 8 | 16 |  | 6 | 0
4th Floor North Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 4 | 2 | 10 |  | 6 | 0
NCC/County Hall Campus/County Hall/4th Floor/Comms Room
Comms Room A/C - 4th Floor (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/5th Floor
5th Floor South Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 4 | 2 | 12 |  | 6 | 0
5th Floor North Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 8 | 16 |  | 6 | 0
NCC/County Hall Campus/County Hall/5th Floor/Comms Room
Comms Room A/C - 5th Floor (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/6th Floor
6th Floor south Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 6 | 18 |  | 6 | 0
6th Floor North Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 4 | 4 | 10 |  | 6 | 0
NCC/County Hall Campus/County Hall/6th Floor/Comms Room
Comms Room A/C - 6th Floor (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/7th Floor
7th Floor South Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 4 | 2 | 12 |  | 6 | 0
7th Floor North Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 8 | 16 |  | 6 | 0
NCC/County Hall Campus/County Hall/7th Floor/Comms Room
Comms Room A/C - 7th Floor (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/8th Floor
8th Floor South Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 5 | 6 | 18 |  | 6 | 0
8th Floor North Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 4 | 4 | 10 |  | 6 | 0
NCC/County Hall Campus/County Hall/8th Floor/Comms Room
Comms Room A/C - 8th Floor (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/9th Floor
AHU - Tower Ventilation South Filter Chage 6 Monthly | AHU | [5 empty] | 6 | 0
AHU - Tower Ventilation North Filter Chage 6 Monthly | AHU | [5 empty] | 6 | 0
AHU - Tower Toilet Ventilation South Filter Chage 6 Monthly | AHU | [5 empty] | 6 | 0
AHU - Tower Toilet Ventilation North Filter Chage 6 Monthly | AHU | [5 empty] | 6 | 0
NCC/County Hall Campus/County Hall/Basement Floor/B1-P-21 - Ventilation Plant
AHU3 - Main Tower North/Plant Room 3 Filter Chage 6 Monthly (F-Gas) 6 Monthly Service | AHU | 4 |  |  |  |  | 6 | 0
AHUCVU - Civic Area Filter Chage 6 Monthly (F-Gas) 6 Monthly Service | AHU | 8 |  |  |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Ground Floor/Reception/Canteen Shop
Shop - Air Conditioning Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Ground Floor/Reception/Unison Office
Air Conditioning - Unison Office Upstairs - (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Air Conditioning - Unison Office Downstairs - (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Ground Floor/South Wing
South Wing System 1 Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 4 | 20 |  |  | 6 | 0
South Wing System 2 Samsung Air Conditioning (F-Gas) 6 Monthly Service | VRF |  | 6 | 25 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Political Corridor/South Wing Comms Room
Comms Room A/C - South Wing (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Training Suite
South Wing Meeting Rooms A/C System Kett/Nelson (F-Gas) 6 Monthly Service | VRF |  |  | 8 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Training Suite/Cavell Room
Cavell Room A/C System (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Ground Floor/South Wing/Training Suite/Sewell Room
Sewell Room A/C System | VRF |  |  | 2 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Grounds & Car Parks/Eastern Elevation HVAC Compound
Phase 2 System 1 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 7 |  | 7 |  | 6 | 0
Phase 2 System 2 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 11 |  | 6 | 0
Phase 2 System 3 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 11 |  | 6 | 0
Phase 2 System 4 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 6 |  | 6 | 0
Phase 2 System 5 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 7 |  | 6 | 0
Phase 2 System 6 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 7 |  | 6 | 0
Phase 2 System 8 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 7 |  | 6
Phase 2 System 9 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 6 |  | 6 | 0
Phase 2 System 10 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 8 |  | 6 | 0
Phase 2 System 11 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 6 |  | 6 | 0
Phase 2 System 12 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 6 |  | 6 | 0
Phase 2 System 13 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 7 |  | 6 | 0
Phase 2 System 14 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 8 |  | 6 | 0
Phase 2 System 15 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 10 |  | 6 | 0
Phase 2 System 17 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 8 |  | 6 | 0
Phase 2 System 18 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 10 |  | 6 | 0
Phase 2 System 19 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 10 |  | 6 | 0
Phase 2 System 20 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 12 |  | 6 | 0
CCTV Monitoring Room Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 4 |  |  | 6 | 0
AHU1 - South Side Basement/Outside Compound 6 monthly Filter Chage (F-Gas) 6 Monthly Service | AHU | 4 |  |  |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Grounds & Car Parks/Project Office Portacabin
Portacabin Projects Office (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Portacabin Projects Meeting Room (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-09 - Data Centre
Data Centre CRAC Unit 1 4 monthly Filter Chage (F-Gas) 6 Monthly Service | CRAC |  |  |  | 2 |  | 12 | 0
Data Centre CRAC Unit 4 monthly Filter Chage (F-Gas) 6 Monthly Service | CRAC |  |  |  | 2 |  | 12 | 0
NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-16 - Lower Ground Plant Room
AHU2 - South Main Tower/ Tunnel 6 monthly Filter Chage (F-Gas) 6 Monthly Service | AHU | 4 |  |  |  |  | 6 | 0
AHU5 - Basement Kitchen 6 monthly Filter Chage (F-Gas) 6 Monthly Service | AHU | 1 |  |  |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-17 - CCTV Server Room
CCTV Server Room Air Conditioning Unit | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Lower Ground Floor/LG-P-21 - Essential Services
Essential Services Room - Air Conditioning Unit 1 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Essential Services Room - Air Conditioning Unit 2 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Essential Services Room - Air Conditioning Unit 3 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Mezzanine/South Mezzanine
Mitsubishi A/C - Innovation Centre (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Mezzanine/South Mezzanine/CPT Office
Air Conditioning - Pensions 1 (F-Gas) 6 Monthly Service (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
Air Conditioning - Pensions Reception South Mezz (F-Gas) 6 Monthly | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/North Wing/North Wing Roof
Phase 2 System 7 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 12 |  | 6 | 0
Phase 2 System 16 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  | 1 |  | 6 |  | 6 | 0
NW-LG-19 Comms Room Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NW-01-14 Comms Room Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
CV-GF-39a AV Comms Room Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
CV-01-05 North Mezz Office 1 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
CV-01-04 North Mezz Office 2 Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
AHU4 - North Wing Ventilation (F-Gas) 6 Monthly Service 6 monthly Filter Chage | AHU | 6 |  |  |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Roof Areas/Civic Area Roof
CV-GF-39a AV Comms Room Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
AHU7 - North Mezzanine 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
NCC/County Hall Campus/County Hall/Roof Areas/Roof Area - Mezzanine Level, South End/Plant Room 3 - Restaurant M&E
Restaurant AC System 1 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Restaurant AC System 2 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Restaurant AC System 3 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Restaurant AC System 4 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Restaurant AC System 5 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Restaurant AC System 6 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/County Hall/Sub Basement Level/Sub Basement Plant Room
AHU - South Wing Offices & Political Rooms (F-Gas) 6 Monthly Service | AHU | [5 empty] | 6 | 0
NCC/County Hall Campus/County Hall/Tunnel
LG-P-07 Comms Room Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
LG-21 Comms Room Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
B1-26 Comms Room Outdoor Unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Norse Workshop (lower Ground) unit (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
Mardle: Basement Kitchen Area Walk-in Freezer (F-Gas) 6 Monthly Service | VRF |  |  |  | 1 |  | 6 | 0
Mardle: Basement Kitchen Area Walk-In Foste Fridge (F-Gas) 6 Monthly Service | VRF |  |  |  | 1 |  | 6 | 0
NCC/County Hall Campus/Highways Laboratory Norfolk Partnership Lab
Daikin Air Conditioning System (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)
Copeland A/C System - AHU12 Pass A (F-Gas) 6 Monthly Service | VRF | [5 empty] | 6 | 0
Copeland A/C System - AHU12 Pass B (F-Gas) 6 Monthly Service | VRF | [5 empty] | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/2nd Floor/Roof Top Plant Room
AHU 6 - 1st Floor Document Reception Area 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
AHU 7 - 1st Floor Toilets 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
AHU 8 - 1st Floor Conservation Workshop 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Chiller Plant Room
Trane Water Chiller 1 - Chilled Water System (F-Gas) 6 Monthly Service | VRF | 4 |  |  |  |  | 6 | 0
Trane Water Chiller 2 - Chilled Water System (F-Gas) 6 Monthly Service | VRF | 4 |  |  |  |  | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Acclimatisation Room
Acclimatisation Room Enclosure 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Colour Film Store
Colour Film Store Enclosure (F-Gas) 6 Monthly Service 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Film Store A
Film Store A Enclosure 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Film Store B
Film Store B Enclosure 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
Video Master Store Enclosure 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/General & Admin Office
Mitsubishi A/C - Admin Hub (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NRO Registrars Office Units 1 & 2 (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Plant Room - Internal
AHU 9 - EAFA Viewing Room 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
AHU 11 - Gallery 6 monthly Filter Chage | AHU | [5 empty] | 6 | 0
AHU 19 - Public Display Case (F-Gas) 6 Monthly Service 6 monthly Filter Chage | AHU | 2 |  |  |  |  | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Ground Floor/Registrars Room 3/Admin Hub
Mitsubishi A/C - Admin Offices (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/County Hall Campus/NRO (Norwich Records Office - Archive Centre)/Main Plant Room
AHU 1 - Ground Floor Repository 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 2 - 1st Floor Repository 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 3 - 2nd Floor Repository 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 4 - Public Search Room 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 5 - Film Conservation 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 12 - Colour Film Store 6 Monthly Filter Change (F-Gas) 6 Monthly Service | AHU | 2 |  |  |  |  | 6 | 0
AHU 13 - B Film Store 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 14 - A Film Store 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 15 - Video Master Store 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 16 - Audio Tape Store 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 17 - Handling & Acclimatisation Corridor 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 18 - Fresh Air Supply 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
AHU 10 - Public Search Room 6 Monthly Filter Change | AHU | [5 empty] | 6 | 0
NCC/CPT Offices/Attleborough Community & Enterprise Centre Rachel
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 3 |  |  | 6 | 0
NCC/CPT Offices/Norfolk Coastal Centre - Aly
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 4 |  |  | 6 | 0
NCC/CPT Offices/Priory House, King's Lynn - Stu Bedford
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/CPT Offices/Scottow Enterprise Park - Aly B
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 9 |  |  | 6 | 0
NCC/Independence Matters & Adult Social Care Aly B/Attleborough Community Hub (Station Rd) - IM
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 3 |  |  | 6 | 0
NCC/Independence Matters & Adult Social Care Aly B/Holt Community Hub
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Independence Matters & Adult Social Care Aly B/Norfolk Industries 95 Oak Street NR3 3BP
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Independence Matters & Adult Social Care Aly B/Sprowston Community Hub
1 | VRF |  |  | 1 |  |  | 6 | 0
NCC/Museum Services/Gt Yarmouth Time & Tide Museum
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Museum Services/Kings Lynn The Lynn Museum
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 6 |  |  | 6 | 0
NCC/Museum Services/Norwich Castle Museum
Air Conditioning Systems (F-Gas) 6 Monthly Service 6 monthly Filter Chage | AHU/VRF | 2 |  | 5 |  |  | 6 | 0
NCC/Museum Services/Norwich Shirehall & Castle Study Centre
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Bowthorpe Training Centre
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Dereham Fire Station | [7 empty] | 0
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 8 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Diamond Jubilee Fire & Rescue - Carrow
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 4 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Great Yarmouth Fire Station
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Kings Lynn Fire Station - South
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 11 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Kings Lynn North Fire Station/Kings Lynn Fire Station - North
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 8 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/North Earlham Fire Station
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Sheringham Fire Station
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 5 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Sprowston Fire Station
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Swaffham Fire Station
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Thetford Fire Station
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Whitegates Complex/Whitegates Workshops
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 5 |  |  | 6 | 0
NCC/Norfolk Fire and Rescue/Wymondham Fire Station
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Norfolk Libraries/Attleborough Library
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 3 |  |  | 6 | 0
NCC/Norfolk Libraries/Blofield Library (alert neighbour)
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/Norfolk Libraries/Dereham Library
Air Conditioning Systems (F-Gas) 6 Monthly Service 6 monthly Filter Chage | AHU/VRF | 3 |  | 3 |  |  | 6 | 0
NCC/Norfolk Libraries/Earlham Library Colman Road
Air Conditioner - External Main Building - (F-Gas) 6 Monthly Service | VRF |  |  | 3 |  |  | 6 | 0
NCC/Norfolk Libraries/Fakenham Library
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 8 |  |  | 6 | 0
NCC/Norfolk Libraries/Gorleston Library
Air Conditioner - Server Room - (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Norfolk Libraries/Kings Lynn Central Library
Air Conditioner - Server Room - (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Norfolk Libraries/Mile Cross Library
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 2 |  |  | 6 | 0
NCC/Norfolk Libraries/Norfolk and Norwich Millennium Library
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 3 |  |  | 6 | 0
NCC/Norfolk Libraries/Sheringham Library
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  |  | 1 |  |  | 6 | 0
NCC/Norfolk Libraries/Thetford Library
Air Conditioning Systems (F-Gas) 6 Monthly Service | VRF |  | 4 | 6 | 8 |  | 6 | 0
NCC/Norfolk Libraries/Watton Library
Air Conditioning Systems (F-Gas) 6 Monthly Service (F-Gas) 6 Monthly Service | VRF |  |  | 4 |  |  | 6 | 0
NCC/Norfolk Libraries/Whitegates Library Service/Whitegates Complex
Air Conditioning Systems (F-Gas) 6 Monthly Service (F-Gas) 6 Monthly Service | VRF |  |  | 4 |  |  | 6 | 0
NCC/Norfolk Libraries/Wroxham Library
Air Conditioning Systems (F-Gas) 6 Monthly Service (F-Gas) 6 Monthly Service | VRF |  |  | 4 |  |  | 6 | 0
0

## Table 2 Remedial and Reactive.
| Completed by bidder |  |  | Calculated Fields based on estimated nr of events
Remedial In Hours Monday - Friday 8am to 5pm exc. bank holidays | Visit Charge* £ | Additional Hours £/hr | Overheads & Profit / Markup | Estimated Remedials (Per Year) | Total Price for Visits (Per Year) | Estimated Additional Hours (Per Year) | Total Additional Hours (Per Year) | Materials Total Estimate (Per Year) | Total (Per Year) | Total Tendered Price for 3 years
Qualified engineer | 0 | 0 | 0% | 86 | 0 | 43 | 0 | N/A | 0 | 0
Low skilled rate apprentice etc | 0 | 0 | 0% | 86 | 0 | 43 | 0 | N/A | 0 | 0
Material Estimate | 1000 | N/A | 0% | 86 | N/A | N/A | N/A | 86000 | 86000 | 258000
Reactive In Hours Monday - Friday 8am to 5pm exc. bank holidays | Call Out Charge* £ | Additional Hours £/hr | Overheads & Profit / Markup | Estimated Call Outs (Per Year) | Total Price for Call Outs | Estimated Additional Hours (Per Year) | Total Additional Hours (Per Year) | Materials Total Estimate (Per Year) | Total (Per Year) | Total Tendered Price for 3 years
Qualified engineer | 0 | 0 | 0% | 96 | 0 | 66 | 0 | N/A | 0 | 0
Low skilled rate apprentice etc | 0 | 0 | 0% | 96 | 0 | 66 | 0 | N/A | 0 | 0
Material Estimate | 300 | N/A | 0% | 96 | N/A | N/A | N/A | 28800 | 28800 | 86400
Reactive Out of Hours | Call Out Charge* £ | Additional Hours £/hr | Overheads & Profit / Markup | Estimated Call Outs (Per Year) | Total Call Outs | Estimated Additional Hours (Per Year) | Total Additional Hours (Per Year) | Materials Total Estimate (Per Year) | Total (Per Year) | Total Tendered Price for 3 years
Qualified engineer | 0 | 0 | 0% | 5 | 0 | 10 | 0 | N/A | 0 | 0
Material Estimate | 300 | N/A | 0% | 5 | N/A | N/A | N/A | 1500 | 1500 | 4500
Total Tendered Price | [9 empty] | 348900
Notes
- In Hours to be Monday - Friday 8am to 5pm exclusive of bank holidays. - Out of Hours relates to all other times / days. *Visit/Call out charge is to be fully inclusive of any travel or associated costs as well as the first hours labour. - No additional costs relating to call outs will be accepted other than those identified on this sheet by the tenderer. - During the contract actual material costs will be assessed on an open book basis with the addition of the markup identified above by the successful bidder. - Nr of call outs, additional hours and Material Costs are an estimate for the purposes of tender assessment. The values are informed by historical records. For information 86 remedial jobs, 96 inhours reactive jobs, and 10 out of hours reactive jobs. £1000 and £300 material costs given as estimate for tendering purposes ,and actual costs in contract will be applied openbook.