F1 Please describe your methodology for carrying out PAT testing in cable-managed environments (e.g. desk banks with dual monitors, cable-tied extension leads, and under-desk cable trays). In your response we would like to see your inspection approach to both plug and cables, minimising user disruption, test failures and issues around equipment access. 20% 1.5 x A4 pages, 12pt Arial

F2 Please explain your technical approach to applying appropriate PAT testing techniques for a mix of devices, including those that require earth leakage testing or are sensitive to functional disruption (e.g. monitors, laptops, kitchen appliances). In your response, explain: • How you select the correct test methods (e.g., earth continuity, insulation resistance, leakage current). • How would you protect sensitive equipment from unnecessary disruption or damage. • How you communicate failures and retesting requirements to NCC, and finally demonstrate how you will comply with NCC’s SOP 020. 30% 2 x A4 pages, 12 pt Arial