|  |
| --- |
| **F1**  Please describe your methodology for carrying out PAT testing in cable-managed environments (e.g. desk banks with dual monitors, cable-tied extension leads, and under-desk cable trays). In your response we would like to see your inspection approach to both plug and cables, minimising user disruption, test failures and issues around equipment access.20% 1.5 x A4 pages, 12pt Arial |
|  |
| **F2** Please explain your technical approach to applying appropriate PAT testing techniques for a mix of devices, including those that require earth leakage testing or are sensitive to functional disruption (e.g. monitors, laptops, kitchen appliances). In your response, explain:• How you select the correct test methods (e.g., earth continuity, insulation resistance, leakage current).• How would you protect sensitive equipment from unnecessary disruption or damage.• How you communicate failures and retesting requirements to NCC, and finally demonstrate how you will comply with NCC’s SOP 020. 30% 2 x A4 pages, 12 pt Arial |
|  |