|  |
| --- |
| **F1**  Please describe your methodology for carrying out PAT testing in cable-managed environments (e.g. desk banks with dual monitors, cable-tied extension leads, and under-desk cable trays). In your response we would like to see your inspection approach to both plug and cables, minimising user disruption, test failures and issues around equipment access.  20% 1.5 x A4 pages, 12pt Arial |
|  |
| **F2** Please explain your technical approach to applying appropriate PAT testing techniques for a mix of devices, including those that require earth leakage testing or are sensitive to functional disruption (e.g. monitors, laptops, kitchen appliances).  In your response, explain:  • How you select the correct test methods (e.g., earth continuity, insulation resistance, leakage current).  • How would you protect sensitive equipment from unnecessary disruption or damage.  • How you communicate failures and retesting requirements to NCC, and finally demonstrate how you will comply with NCC’s SOP 020.  30% 2 x A4 pages, 12 pt Arial |
|  |