| Schedule 4 - SCC LEVI Project Key Performance Indicators & Service standards |  |
| --- | --- |

# Definitions

| Term | Definition |
| --- | --- |
| Improvement Plan | A written programme for remedying the consequence of a KPI event specifying in detail the manner in, and the latest date by which, the CPOP proposes to remedy the KPI event. |
| Sub-Contractor | The lead providers of the installation works and the operational services named in the contract. |
| Chargepoint Object Status | As defined by The Public Charge Point Regulations 2023 |
| CPOP to Notify SCC | The period of time in which the CPOP is required to notify SCC of the occurrence. |
| Relief Event | Defined events when the CPOP does not achieve certain Key Performance Indicators and this will not count towards a CPOP Default point and/or to a termination of the contract. |
| CPOP | Charge Point Operator Partner. The entity procured by SCC to deliver the defined services during the contract term. |
| SCC | Southampton City Council |
| Service Standard | The specification of the Services which are to be carried out throughout the contract term. |
| Rectification Period | The period in which the CPOP is required to remedy the KPI event. |
| Compensation | A financial amount the CPOP must pay SCC. This sum is an estimation of the loses accrued by SCC for repeated failures by the CPOP. |
| EVCP | Electric Vehicle Charge Point |
| EVCP Uptime | The period where the EVCP is available for use by the customer. |
| Working Day | All days in a calendar year excluding weekends and public holidays. |
| Start of Fault | Means when the CPOP became aware there was a fault with the EVI. Which can be by any means, i.e Back office system, report from public, etc. |
| Default points | A means to record and monitor when the CPOP has failed to meet its obligation to the KPIs. |

| Index | KPI | Principle | Desired Outcome | Method of Measurement | Notification Period | Rectification Period | Service Standard | Reporting Frequency | Compensation | Importance | Conditions for relief event |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Health and Safety (Scope – Service Provider and Sub- Contractors) |  |  |  |  |  |  |  |  |  |  |
| 1 | Health & Safety Policies and Procedures | SCC requires assurance that the CPOP, and any of their Sub-Contractors, attach a high importance to Health and Safety during the installation of the works and the operation and maintenance of the Services. | The CPOP and Sub-Contractors maintain up to date health and safety policies, procedures, and recommended code of practices. | Compliance evidenced via the CPOP’s quarterly reporting. | N/A | N/A | Quarterly report demonstrating that CPOP and all Sub-Contractors have in effect up-to-date health and safety policies, procedures, and recommended code of practices. Complying with 2.1.1 – 2.3.3 in the Specification Schedule. | Quarterly. | 2 default points for failure AND 1 default point issued on each occasion the quarterly report fails to provide the required evidence. | Critical | If the CPOP can present a valid reason why it has gone against relevant recommended code of practises. SCC has final decision if this is applicable. |
| 2 | Reportable RIDDOR Incidents |  | The CPOP and Sub- Contractors maintain excellent Health and Safety records in the provision of the Services. | Compliance evidenced via the CPOP’s Monthly reporting. | N/A | N/A | Less than 5 RIDDOR events reported in any 12-month rolling period, within contract service provision. AND No HSE Enforcement Notices issued in any 12 month rolling period within contract service provision. | Monthly. | 2 default points issued for failure | Critical | None |

| Index | KPI | Principle | Desired Outcome | Method of Measurement | CPOP to Notify SCC | Rectification Period | Service Standard | Reporting Frequency | Compensation | KPI Points | Conditions for relief event |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | EVCP Fault Resolution |  |  |  |  |  |  |  |  |  |  |
| 3 | Fault Response Times - High Priority | A fault has been reported which requires emergency action to prevent risk to life, injury to person, or damage to property. | EVI present no H&S risk or risk of damage to third party. | Compliance evidenced via the CPOP’s Monthly reporting. | 5 working days after the fault has been made safe. Reporting: - Date and time of CPOP being made aware of fault. - Date and time of when fault was made safe. - Cause of the fault. - Estimation for EVI to be repaired. - How long EVI will be non-operational. - Any emerging patterns of High level faults. - Plan to prevent future faults. | Fault made safe within 2 Hours of CPOP being made aware, applies 24/7, 365 days a year. & EVI fully operational within 10 calendar days from start of fault. | 100% of faults with H&S risks are addressed within the rectification period. Complying with 2.17.1 – 2.17.2 in Specification Schedule | Per event and within time specified | 1 default Point issued if the fault is not made safe within 2 hours of being reported. 1 default point issued against CPOP if EVI is not fully operational within 10 calendar days, from start of fault. 1 default point issued for every 2 calendar days the EVI remains non-operational after the 10 calendar days above. | High | The repair requires replacement of the EVI or EVCP. Details of this and why it can not be done in 10 calendar days will need to be given. The repair requires third party approval, i.e needs permit/ licence for excavation, needs DNO involvement. SCC has final decision if this is applicable. No relief event for not making safe within 2 hours. |
| 4 | Fault Response Times - High Priority | Requires action to make the EVI fully operational. Or Signage is damaged/ obscured or removed meaning enforcement, usage instructions, or contact details cannot be seen. | EVIs are available to EV users without undue disruption. | Compliance evidenced via the CPOP’s Monthly reporting. | 5 working days after the CPOP has been made aware of the fault. Reporting: - Date and time of CPOP being made aware of fault. - If a make safe was required. - Cause of the fault. - Estimation for EVI to be repaired. - How long EVI will be non-operational. - Any emerging patterns of Medium level faults. - Plan to prevent future faults. | EVI fully operational within 10 calendar days from start of fault. | 100% of medium priority faults are addressed within the rectification Period Complying with 2.17.1 – 2.17.2 in Specification Schedule | Per event and within time specified. | 1 default point issued when not repaired within 10 calendar days from start of fault. 1 default point will be issued against the CPOP for every 2 calendar days the EVI remains non-operational after the first 10 calendar days mentioned above from start of fault. | High | The repair requires replacement of the EVI or EVCP. Details of this and why it can not be done in 10 calendar days will need to be given. The repair requires third party approval, i.e needs permit/ licence for excavation, needs DNO involvement. In all events, the CPOP must brief SCC and given timeline for repair. SCC has final decision if this is applicable. |

| Index | KPI | Principle | Desired Outcome | Method of Measurement | CPOP to Notify SCC | Rectification Period | Service Standard | Reporting Frequency | Compensation | KPI Points | Conditions for relief event |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Planned Maintenance, Inspections and Servicing |  |  |  |  |  |  |  |  |  |  |
| 5 | Planned Inspection Frequency/ Maintenance (as per the CPOP’s Method Statement) | A high quality inspection and EVCP service on a continuous / on-going basis. | Evidence is provided (including by way of photographs & reports) that inspections, maintenance & upgrades are carried out in accordance with the specification, best practice and manufacturer instructions. | Quarterly reporting to evidence completion of all planned maintenance activities. | N/A | N/A | 100% of all planned inspections are carried out on time as per the CPOP’s Method Statements. To be carried out in a 12-month rolling period. | Update to be given during monthly meetings | 1 Default point will be issued for each inspection that is delivered 3 calendar days, or more later than the scheduled date. AND 1 Default point will be issued for every subsequent 3 calendar days’ delay, until the EVI has been inspected. | High | Unable to access a location, i.e due to road closure, extreme weather. A make safe is required and taking priority over the time of inspection, therefore inspection is postponed. SCC has final decision if this is applicable. |

| Index | KPI | Principle | Desired Outcome | Method of Measurement | CPOP to Notify SCC | Rectification Period | Service Standard | Reporting Frequency | Compensation | KPI Points | Conditions for relief event |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | EVCP Management System |  |  |  |  |  |  |  |  |  |  |
| 6 | Chargepoint Management System: Uptime and Data Connection | A reliable high quality ChargePoint management system (CPMS) to support service delivery. | The CPMS is continuously available to enable users (including customers, operators and SCC) to use or manage the network as appropriate. | % of time each month CPMS is fully operational. & The CPOP must manage all communications and notifications to customers/ general public RE CPMS outage. | Where the CPMS has been offline, or is expected to be offline, for longer than 3 hours. SCC must be notified within 24hrs | 1 calendar day | The CPMS is to be working and available 90% of the time within each rolling 1-month period. Complying with 2.8.1 – 2.8.4 in the Specification Schedule | Update to be given during monthly meetings | 1 default point issued where CPMS is offline for longer than 24 hours. 1 default point will be issued for every subsequent calendar day, until CPMS is back online. | High | If the CPMS outage is out of the control of the CPOP to prevent, i.e global IT outage. If the CPMS outage is planned for maintenance work, and more than 10 working days warning has been given. Evidence will need to be presented to SCC, and SCC has final decision if this is applicable. |
| 7 | CPMS Cyber Security Events | Provision of a service which ensures prioritisation of cyber security and avoids reportable cyber security events at all parts of the EVI system. | No cyber security events occur. | Breaches of systems security. | Per security breach | All security breaches must be identified and resolved as soon as possible. | No cyber security breaches in any 12-month rolling period. Complying with 2.18.1 – 2.18.4 in the Specification Schedule | Only when there has been a breach. | 2 default points issued per security breach. | Critical | None |
| 8 | Data protection and GDPR Noncompliance | Establishes the security and confidentiality requirements of all systems involved in the capture, processing, communication and storage of data. | Compliance with any relevant data protection and UK GDPR legislation that requires reporting to the relevant authority. | Breaches of data protection and UK GDPR legislation. Regardless of whether or not a report is submitted to the Information Commissioner’s Office (ICO). | Only when information relating to the CPOP compliance is requested by SCC. When such a request is made, the CPOP should make the information available within 5 working days. Hour Or The CPOP has breached GDPR. | All GDPR breaches must be investigated, cause identified, and improved measures put into place to prevent future breaches. Must comply with all regulations around data protection breaches. To be done no later than 5 working days after breach. | No upheld incidents reported to the Information Commissioner’s Office in any 12-month rolling period. Complying with 2.19.1 – 2.19.4 in the Specification Schedule | As per ‘CPOP to notify SCC’ column | 1 default point issued to CPOP for every identified breach in GDPR. | High | None |

| Index | KPI |  | Principle | Desired Outcome | Method of Measurement | CPOP to Notify SCC | Rectification Period | Service Standard | Reporting Frequency | Compensation | KPI Points | Conditions for relief event |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Customer Interface |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Remote User Interface Uptime |  | 24/7 Uptime of the CPOP directly controlled, or directly contracted remote user interface(s) through which customers manage their charge session. | A high quality and available service on a continuous and on-going basis. | Monthly availability in %. | Monthly availability % reported monthly Or User interface is offline for longer than 3 hours, or expected to be offline for longer than 3 hours. CPOP must report: - Expected time for interface to be back online - Cause - Plan to prevent the cause reoccurring. | 1 calendar day | >99% uptime in any 12month rolling period Complying with 2.4.3 in the Specification Schedule. | Where the interface has been offline, or is expected to be offline, for longer than 3 hours. CPOP must report within 24hrs. Monthly availability % reported monthly | 1 default point issued for every 24hr period that the user interface is unavailable. | High | If the system outage is out of the control of the CPOP to prevent, i.e global IT outage. Evidence will need to be presented to SCC, and SCC has final decision if this is applicable. |

| Index | KPI |  | Principle |  | Desired Outcome | Method of Measurement | CPOP to Notify SCC | Rectification Period | Service Standard | Reporting Frequency | Compensation | KPI Points | Conditions for relief event |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10 | 24/7 Customer Helpline Complaints Handling Availability | - | Provision of a 24/7, 365 days helpline for consumers requiring assistance. |  | Customers can access a helpline at any time to get support, resolutions, report faults, and information. | Compliance evidenced as per CPOP Method Statement. | When unavailable/ non-contactable. Reporting: - Cause - When helpline will be available - Steps made to prevent reoccurrence. | Within 1 calendar day of the Helpline becoming unavailable. | Helpline to be staffed and available 24/7 365 days a year. Complying with 2.5.1 – 2.5.4 in the Specification Schedule | Per event the helpline is unavailable. | 2 default points issued for the first 2 hours the helpline in unavailable. 1 default point will be issued for every subsequent 2 hours the helpline remains unavailable. | Critical | If the helpline being unavailable is out of the control of the CPOP to prevent. Evidence will need to be presented to SCC, and SCC has final decision if this is applicable. |
| 11 | 24/7 Customer Helpline Complaints Handling Call Answering Times | – | Provision of a 24/7 helpline for consumers requiring assistance. |  | Calls to be answered by a human within 5 minutes of call being received. | Compliance evidenced as per CPOP Method Statement. | When calls can not be answered within 5 minutes, or unavailable/ non-contactable. Reporting: - Cause - When helpline will be available Steps made to prevent reoccurrence. | Within 1 working day of the Helpline taking longer than 5 minutes to answer calls or becoming unavailable. | 95% of calls answered by a human within 5 Minutes in a 1 month period. Complying with 2.5.1 – 2.5.4 in the Specification Schedule | Per event the helpline takes longer than 5 mins to answer calls, or becomes unavailable. & during monthly reports | 1 default point issued when the % of calls answered within 5 minutes drops below 90% | Medium | If the call/s could not be answered due to circumstances is out of the control of the CPOP to prevent. Evidence will need to be presented to SCC, and SCC has final decision if this is applicable. |
| Index | KPI |  | Principle |  | Desired Outcome | Method of Measurement | CPOP to Notify SCC | Rectification Period | Service Standard | Reporting Frequency | Compensation | KPI Points | Conditions for relief event |
| 12 | Complaints Handling -Customer Response |  | The provision of a customer-focused service. |  | All enquiries (phone, text or email) responded to within 5 calendar days. | Compliance evidenced as per CPOP Method Statement. | When unavailable/ non-contactable or enquiries are taking 6 calendar days or longer for response. Reporting: - Cause - When helpline will be available - Steps made to prevent reoccurrence. | Within 1 working day of customer services becoming unavailable. | 90% of all enquiries (phone, voicemail, text or email) responded to Within 5 calendar days in any 1month rolling period. | Per event the helpline is unavailable & During monthly reports | 1 default point issued whenever the % of enquiries responded to formally within 5 calendar days of being made drops below 90% within a 1 month rolling period | Medium | If the enquiries could not be responded to within 5 calendar days due to circumstances out of the control of the CPOP to prevent. Evidence will need to be presented to SCC, and SCC has final decision if this is applicable. |

| Index | KPI | Principle | Desired Outcome | Method of Measurement | CPOP to Notify SCC | Rectification Period | Service Standard | Reporting Frequency | Compensation | KPI Points | Conditions for relief event |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Local Authority Interface |  |  |  |  |  |  |  |  |  |  |
| 13 | Payments to the Authority - Concession Fee & Gross Revenue Margin Share and Payment for Electricity Costs if being Sourced by the Authority | Payments are made to SCC in accordance with the terms set out in the Contract. | Timely processing of payments due to the SCC monthly of the start of a new accounting period. | Revenue to be divided as set out in the contract, including any compensation payments. CPOP to update SCC on revenue during monthly meetings. | CPOP to inform SCC immediately if payment will be late. | N/A | 100% of non-disputed payments due to SCC paid monthly. | Reviewed at monthly meeting. Plus yearly report. | 2 default points per missed payment, or incorrect amount to SCC | Critical | If payments are missed or incorrect for reasons outside the CPOP control. Evidence will need to be presented to SCC, and SCC has final decision if this is applicable. |
| 14 | Data Reporting (as per Reporting and Monitoring Requirements in the Contract) | SCC to monitor the contract, CPOP, and Sub-contractors. SCC has responsibilities to report the contract status and progress. | CPOP to provide information and documents requested by SCC in a timely manner. | Withing 10 working days from request being made, in the format being requested if specified. | N/A | N/A | Complying with section 7 in the contract and providing requested information and/ or documents within 10 working day. | As requested by SCC | 1 Default point issued to CPOP if requested information is not received by SCC within 10 working days. | High | If the information requested takes longer to 10 working days to gather and present. CPOP needs to communicate the cause and reason to SCC with expected time the information will be presented. SCC has final decision if this is applicable. |

Default point system:

The below outlines how the default points will be managed. A shared default point register will keep a log of all issued default points. The register will be a spreadsheet with tabs for every contract year, it will show the current tally of default points and every incident a default point has been issued.

All default points will be issued to the CPOP in writing/ email before it is logged on the register. This will explain when and why a default point has been issued and reference the relevant failed KPI. Where the default points have reached a trigger, that will also be explained in writing.

SCC can use its discretion to not issue a default point for a failure. SCC will inform the CPOP in writing when it has chosen not to issue a default point for a failure, and this will be recorded in the register.

| Amount of default points to trigger an action: | Action |
| --- | --- |
| Every 15 default points issued | Rectification Plan (RP) issued to CPOP on each such occasion, to cover the area/ areas of repeated failure. The PIP will be created with the CPOP and will have SMART targets with the goal to prevent further failures. |
| Every 30 default points issued | Default Point Payment of £1000 is to be paid by the CPOP to SCC on each such occasion. This is an estimation of the losses for SCC caused be repeated failures by the CPOP. |
| After 60 default points are issued | Urgent contract management meeting between CPOP and SCC. Review the viability of the contract and agree urgent mitigation measures. |
| After 90 default points are issued | SCC has the discretion to designate this a ‘Concessionaire Default’ as outlined in section 21 of the contract. |
| Default points reduction events |  |
| Default points reduced by 10 | If the issued RP is completed satisfactory. |
| Default points reduced by 10 | SCC may offer this reduction for exemplary performance in other areas of the contract. |