1.	Purpose of the KPIs

In this Contract KPIs are used for the following purposes:

- to monitor performance of the Contract, with a view to both the Client and Service Provider having data which they will review at progress and other meetings so that each of them can bring forward suggestions for the improvement of the performance of the Contract and the delivery of the Works;

- to identify performance below the performance target which, if continued for 3 monthly Measurement Periods, or applying to 3 or more KPIs, leads to a requirement for the Service Provider to produce a Remedial Plan; and

PART 2: KEY PERFORMANCE INDICATORS

| KPI 1 | Time – Servicing appointments made and kept |
| --- | --- |
| Purpose | To determine the proportion of appointments for Servicing during the Measurement Period that were kept. |
| Definition | The number of Servicing appointments kept during the Measurement Period expressed as a percentage of the total number of appointments for Servicing made for times within the Measurement Period. |
| Method | Ascertain the total number of appointments made for Servicing for during the Measurement Period and the number kept. Performance = Number of Servicing appointments during the Measurement Period that were kept ------------------------------------------------------------- X 100% Total number of Servicing appointments made for during that Measurement Period |
| Targets and Minimum Acceptable Performance levels | TARGET; MAP. Year 1; 99%; 99%. Year 2; 99%; 99%. Year 3 and subsequent years; 99%; 99%. Targets and MAP levels may be revised by agreement between the Client and Service Provider. |
| Example | During the Measurement Period 150 Servicing appointments are kept by the Service Provider out of a total of 160 appointments made for Servicing for times during the Measurement Period. Performance = 150 appointments kept ------------------------------------------- = 93.75% 160 appointments made for times in the Measurement Period |
| Incentivised | No |
| Measurement Period | Monthly |
| Reporting interval | Monthly |
| Collection of data | Client |
| Data processor | Client |

| KPI 2 | Default Notices issued |
| --- | --- |
| Purpose | To lead to termination where the number of Default Notices issued is above the MAP level |
| Definition | The number of Default Notices issued during the Measurement Period. |
| Method | The number of Default Notices issued during the Measurement Period. No KPI percentage is kept and the KPI performance level is simply a “number”. |
| Targets and Minimum Acceptable Performance levels | TARGET; MAP. Year 1; 0; 0. Year 2; 0; 0. Year 3 and subsequent years; 0; 0. Targets and MAP levels may be revised by agreement between the Client and Service Provider |
| Example | If the number of Default Notices issued is 3 and MAP is 5 no further action is taken. If the number issued is 7 the procedure potentially leading to termination for Service Provider Default is triggered. |
| Incentivised | No |
| Measurement Period | Monthly |
| Reporting interval | Monthly |
| Collection of data | Client |
| Data processor | Client |

| KPI3 |  | No access |
| --- | --- | --- |
| Purpose |  | To reduce the number of no access that were recorded in their Response Periods. |
| Definition |  | The number of no access recorded following the no access procedure being followed during the Measurement Period. |
| Method |  | Performance The number / date of first letter appointment date and Actual attendance time Record the date of the second letter and appointment date/time Actual attendance time Record the date of the third letter and appointment date/time Actual attendance time Date of contact with Compliance Team should be recorded |
| Targets and Minimum Acceptable Performance levels | TARGET; MAP. Year 1; 98%; 98%. Year 2; 98%; 98%. Year 3 and subsequent years; 98%; 98%. Targets and MAP levels may be revised by agreement between the Client and Service Provider. |
| Example | In one month, 18 No access experiences in that month that were completed 20 2nd no access recorded. 10 no access notified to HIS Performance = No access experiences where supplier arrived within 2 hours of designated time / date Response Periods where supplier turned up late or on the wrong day |  |
| Incentivised |  | No |
| Measurement Period |  | Monthly |
| Reporting interval |  | Monthly |
| Collection of data |  | Client & Service Provider |
| Data processor |  | Client |
| KPI3 |  | Completion of C1 and C2 remedial actions |
| Purpose |  | To monitor the number of C1 and C2 actions and completion time |
| Definition |  | The number of C1 and C2 actions completed during service visit. |
| Method |  | Performance The number of C1 and number of C2 actions Completion time following testing and inspection. |
| Targets and Minimum Acceptable Performance levels | TARGET; MAP. Year 1; 100%; 98%. Year 2; 100%; 99%. Year 3 and subsequent years; 100%; 99%. Targets and MAP levels may be revised by agreement between the Client and Service Provider. |
| Example | In one month, 10 C1 and 30 C2 received in that month 10 C1 completed during visit 0 were outside of the visit On one month 28 C2 completed during visit 2 were completed outside of the visit Performance = No where supplier completed during visit Periods where supplier did not complete during visit Split between C1 and C2 actions. |  |
| Incentivised |  | No |
| Measurement Period |  | Monthly |
| Reporting interval |  | Monthly |
| Collection of data |  | Client & Service Provider |
| Data processor |  | Client |

| KPI4 |  | Report delivery timescale |
| --- | --- | --- |
| Purpose |  | To monitor the timescales for receipt of EICR following completion of periodic electrical testing |
| Definition |  | Receipt of EICR following completion. |
| Method |  | Performance The number of working days from EICR testing to receipt of EICR by client. Average time in month. |
| Targets and Minimum Acceptable Performance levels | TARGET; MAP. Year 1; 48 hours; 96 hours. Year 2; 48 hours; 72 hours. Year 3 and subsequent years; 48 hours; 72 hours. Targets and MAP levels may be revised by agreement between the Client and Service Provider. |
| Example | In one month, 10 C1 and 30 C2 received in that month 10 C1 completed during visit 0 were outside of the visit On one month 28 C2 completed during visit 2 were completed outside of the visit Performance = Total time taken from test completion to delivery of all certificates completed in the month / Number of tests completed during month |  |
| Incentivised |  | No |
| Measurement Period |  | Monthly |
| Reporting interval |  | Monthly |
| Collection of data |  | Client & Service Provider |
| Data processor |  | Client |