Jo Hutchins

procurement@homesinsomerset.org

PreaMbles

Electrical Safety tender

Homes in Somerset

# SECTION A:	PRELIMINARIES

INDEX

Page

A.1	Location and Description of Property		3

A.2	Description of Works				3

A.3       Employer	3

A.4      Lead Surveyor	3

A.5	Additional requirements outside of specification 3

A6	Key Performance Measures and contract monitoring

3

A.6	Access to Site, Storage of Materials,

Vehicular Parking					4

A.7	Contractors and Workmen’s Facilities		4

A.8	Maintain External Areas and

Adjoining Buildings					4

A.9	Services for the Works				4

A.10	Site Agent and Instructions				4

A.11	Plant, Tools & Vehicles				5

A.12	Scaffolding 						5

A.13	Protecting the Works				5

A.14	Use of Power Tools					5

A.15	Maintenance of Public Roads and

Private Accessway					5

A.16	Security						5

A.17	Tender & Priced Specification			5

A.18	Value Added Tax					5

A.19     Progress Chart and Plan of work	5

A.20	Form Type and Conditions of Contract		6

A.21	Nominated Sub-Contractors			6

A.22	Nominated Suppliers				7

A.23   Drawings						7

Section B

Trade Preambles as applicable 				7

A.1     Location and Description of Property

All properties within the Homes in Somerset portfolio as advised to the contractor requiring electrical safety testing and servicing.

A.2	Description of Works

The Works involve the testing and servicing of electrical equipment as detailed in the specification.

A.3	Employer

The Employer is: 	“Homes in Someret”

Bridgwater House

King Square

Bridgwater

Somerset

The Employer’s representative is Lindsay Hoggart

A.4	Lead Surveyor

The lead surveyor for this contract is:

Homes in Somerset

Bridgwater House, King Square

Bridgwater, Somerset TA6 3AR

Tel No:	0800 585 360

Email:     @homesinsomerset.org

A5. Additional Expectations outside of the specification

Contractors on site are the ears and eyes of Homes in Somerset often visiting sites not visited for some time.  Contractors are required to report to Homes in Somerset any issues that they see of concern in relation to safeguarding or wellbeing of tenants.  If contractors experience or notice repairs and maintenance issues or blockages in safety routes they are required to notify these to Homes in Somerset as necessary and as soon as possible.

The contractor will be required to notify tenants prior to arrival on site and deal with any tenant communications.  Information relating to customer complaints should be dealt with according to the HIS complaints procedure and HIS should be notified of any issues which are not immediately resolved.

A6 Key performance indicators and contract monitoring

The following key performance indicators will be measured as part of this contract:

The contract will also be monitored to ensure that it remains compliant with the requirements of the specification.  Regular meetings with be required to discuss any issues and to bring about innovative improvement with a view to saving money and improving the service to tenants.  Monthly contract meetings are proposed reducing to quarterly once the service is up and running and where no issues are perceived.

##### A.6	Visit Site / access to sites/ parking on site

The Contractor is not required to visit the site before tendering for this contract however they should allow in his tender for any access and/or parking restrictions that may be present on site that could affect the execution of the works. Familiarisation with the site will be expected as part of the initial visit and report.

There may be limited parking on sites and contractors must allow for this in the proposals.  Some access to schemes will be via an onsite coordinator.  There will be no space made available for storage of materials so contractors are expected to allow sufficient space within their own vehicles as needed.

### A.7	Contractors and Workmen’s' Facilities

On site welfare facilities within the scheme will not be provided for the Contractor by the Employer.

The Contractor will not have access to communal bathrooms/WC during the work hours.  Tenants will be in occupation of properties being inspected.

A.8	Maintain External Areas and Adjoining Buildings

It is not anticipated that the Contractor will cause any damage to external/internal areas.   Where damage has occurred contractors will be required to rectify swiftly  at their own cost.  Access to properties must be maintained at all times.

A.9	Services for the Works

All services will be live within the properties. Should electricity be required it is expected that contractors will provide their own source.

A.10	Site Agent and Instructions

The Contractor must employ a suitable supervisor/senior engineer to carry out the inspections / servicing requirements at all times.  These personal must be named and identified to Homes in Somerset as part of the tender process.

The lead surveyor will expect a responsible person to be on site, for the duration of the servicing / inspection / repair and maintenance execution.

In normal circumstances instructions are not to be accepted in respect of any variation or direction from any person other than the lead surveyor , but exceptions may include the Employer (who will only request any change by way of the lead surveyor and/or a Fire Service Inspector).

A.11	Plant, Tools & Vehicles

The Contractor must provide all plant, tools, vehicles, implements, plant and machinery necessary for the execution of the works.

A.12	Scaffolding

The Contractor must provide all ladders and scaffolding with protective measures, which may be required for the execution of the works, all to satisfy Health & Safety regulations for which he is to be entirely responsible.  Should the Contractor identify any aspect of the works which makes such compliance impracticable, he is to inform the Contract Administrator forthwith, so that appropriate arrangements may be made.

A.13	Protecting the Works

The Contractor must cover and protect properties from damage by frost, inclement weather or any other reason for which his work has had control over, and from damage during the progress of the servicing/inspection.

The Contractor will be held responsible for making good any property so damaged at his own expense to all sites.

A.14 	Use of Power Tools

Under no circumstances must the contractor or his sub-contractors make use of tenants/landlords electrical supply for power tools. All power must be provided via battery or generator supply.

A.15	Maintenance of Public Roads and Private Access way

The Contractor will be held responsible for damage occasioned to public roads, footpaths, kerbs, driveway, fencing and gateposts etc., by traffic to or from the Works, and must arrange for making good entirely at his own expense.

The Contractor must keep all public roads, footpaths etc., unobstructed and free from any debris or rubbish arising from the execution of the Works.

A.16	Security

The Contractor is to be responsible for security of any building to which he has access, in respect of his own tools and equipment, or materials, and he is to take steps to ensure the building, as appropriate, against intruders during his access to site.

A.17	Tender and Priced Specification

Refer to Homes in SomersetTendering Requirements.

A.18	Value Added Tax

Value Added Tax is to be operated in strict accordance with the Finance Act 1972.  The tender is to be exclusive of such Value Added Tax.

A.19	Progress Chart and Programme of works

Following acceptance of his tender, the successful Contractor will be expected to agree a Date for commencement of the contract.  The contractor will provide Homes in Somerset with a programme of work which will identify the schedule of inspections for each property following the initial site visits as deemed necessary.

A.20	Form Type and Conditions of Contract

The Contract shall be the JCT measured term contract.

The Conditions set out therein shall apply to this Contract, and for which due regard shall be made by the Contractor in his Tender.

The Contract, executed under seal, shall be the JCT measured term contract.  This will be subject to additional clauses are required by public sector bodies in relation to freedom of information, safeguarding and whistleblowing.

A.21	Use of Sub-Contractors

Where Sub-Contractors are identified by the Contractor these should be notified to the  lead surveyor prior to use.  The lead surveyor will confirm acceptance of the use of the specified subcontractor prior to them being allocated any work in relation to this contract.  The lead surveyor following due diligence checks may refuse the use of the specified sub contractor and an alternative may be required to be identified.

Prior to the use of any sub contractor they will need to be registered on the Central Digital Platform and will need to have completed a conditions of participation questionnaire copies of which can be obtained from Homes in Somerset.  Failure to complete this will prevent the sub contractor from being used by the successful contractor.

Homes in Sedgemoor reserve the right to nominate a specific Sub-Contractor.  Subject to the requirement of the Procurement Act 2023 only subcontractors who are not on the debarment list shall be employed in connection with the Works.

The nominated subcontractor shall:

- indemnify the Contractor against the same obligations in respect of the sub-contract as those for which the Contractor is liable in respect of this Contract.

- indemnify the Contractor against claims in respect of any negligence by such sub-contractor, his servants or agents or any misuse by him or them of any scaffolding or other plant, and shall insure himself against any such liability and produce the policy or policies and premium receipts as and when required by the Contract Administrator.

- That payment in respect of any work, material or goods comprised in the sub-contract shall not be due until receipt by the Contractor of the Employer's payment which includes the value of such work, materials or goods.

- That the Lead Surveyor and his representative shall have a right of access to the workshops and other places of the nominated sub-contractors.

- The sums directed by the Contract Administrator to be paid to nominated Sub-Contractors for work, materials or goods comprised in the sub-contract shall be paid by the Contractor within three days of receiving from the Employer, payment including the value of such work, materials or goods less any retention which has been agreed between the parties.

- Before any payment is issued to the Contractor he shall if requested by the Lead Surveyor, furnish to him reasonable proof that all nominated Sub-Contractors' accounts included in previous payments have been duly discharged.  In default whereof the Employer may pay such accounts and deduct the amount so paid from any sums otherwise payable to the Contractor.

- If the Lead surveyor desires to secure final payment to any nominated Sub-Contractor before such final payment is due to the Contractor, and if such sub-contractor has satisfactorily indemnified the Contractor against latent defects, then the Employer may in a payment include an amount to cover the said final payment and thereupon the contractor shall pay to such Sub-Contractor the amount so paid.  The Contractor shall be discharged from all liability for the work or materials covered by such payment except for any latent defects.

A.22	Nominated Suppliers

All specialists, merchants, tradesmen or others who have been nominated or selected by the Lead surveyor to supply such materials or goods are hereby declared to be suppliers to the Contractor and are referred to in these Conditions as 'Nominated Suppliers'. All payments by the Contractor for such materials or goods shall be in full and shall be paid within 30 days of the end of the month during which delivery is made.

A.26	Drawings

Drawings are not supplied as part of this contract.  However, the lead surveyor may issue drawings or details where available and as necessary to enable the Contractor to carry out and complete the Works.

B) 	TRADE PREAMBLES & WORKMANSHIP

01   GENERAL REQUIREMENTS

A.	Scope of Trade & Workmanship Clauses

The standard Trade Preambles & Workmanship Clauses are applicable, appropriate and as modified in Section C: Specific Description of Work to the described Contract work, irrespective of the context in which descriptions are placed.

B.	British Standards or British Standard Code of Practice

British Standards and British Standard Codes of Practice used in this Specification refer to the current edition of such standards or codes.

C.

Products are to be new unless otherwise specified.  For products specified to a British or European Standard obtain certificates of compliance from manufacturers when requested by the Architect.  Where a choice of manufacturer or source of supply is allowed for any particular product, the whole quantity required to complete the work must be of the same type, manufacturer and/or source unless otherwise approved.  Produce written evidence of sources of supply when requested by the Architect.  Ensure that the whole quantity of each product required to complete the work is of consistent kind, size, quality and overall appearance.  Where consistency of appearance is desirable ensure consistency of supply from the same source.  Unless otherwise approved do not use different colour batches where they can be seen together.  If products are prone to deterioration or have a limited shelf life, order in suitable quantities to a programme and use in appropriate sequence.  Do not use if there are any signs of deterioration, setting or other unsatisfactory condition.  Where the specification includes specific bands an equivalent brand may be used providing it is of equivalent or higher specification and providing it is identified in the tenderers response.

D.

The Contractor's attention is drawn to the requirement for all servicing, inspection and repairs to be completed in line with the requirements under BS5839-6:2019+A1:2020 Fire Alarm Systems in Domestic Properties and in accordance with, the Regulatory Reform (Fire Safety) Order 2005 and must comply with all current Legislation, British Standards, and associated Guidance, as amended.

E.	Materials and Workmanship

The whole of the materials and workmanship shall be in accordance with the appropriate British Standard or Code of Practice and shall be fit for the intended purpose.

Where and to the extent that materials, products and workmanship are not fully detailed or specified, they are to be of a Standard appropriate to the Works and suitable for the purposes stated in or reasonably to be inferred from the project documents, and in accordance with good building practice.

F.

Any discrepancy between the requirements of the above Clauses and the specific descriptions in this Specification shall be drawn to the attention of the Lead surveyor and a request for instructions made.

01   GENERAL REQUIREMENTS

G.	Proprietary Products

Handle, store, prepare and use or fix each product in accordance with its manufacturer's current printed or written recommendations/ instructions.  Inform the Lead surveyor  if these conflict with any other specified requirement.  Submit copies to the Lead surveyor when requested.  Contractors must obtain confirmation from manufacturers that the products specified and recommendations on their use have not been changed.  Where such change has occurred, inform the Lead surveyor and do not place orders for or use the affected products without further instructions. Where British Board of Agremont certified products are used, comply with the limitations, recommendations and requirements of the relevant valid certificates.

01   GENERAL REQUIREMENTS

J.	General Quality of Workmanship

Operatives must be appropriately skilled and experienced for the type and quality of work.  Inspect components and products carefully before fixing or using and reject any, which are defective.

K.

All patent components are to be installed in strict accordance with the manufacturer's recommendations.

##### GENERAL REQUIREMENTS

- Security – Fire

Protect the Works against the outbreak of fire by providing adequate fire fighting equipment and instructions for use, warning devices and the appropriate controls on the site.

- Site/Area of Possession

All tenants will be in occupation throughout the duration of the works.

- Contractor Qualifications

All site operatives will be expected to have the relevant fire safety qualifications as required to carry out the works.  Under no circumstances can an operative who is not fully qualified be permitted to work on site unassisted by an experienced and qualified fire safety expert.

All tradesman must have relevant qualifications in their trade in order to ensure compliance where required, e.g. IEE Wiring Regulations, WRAS or any other relevant body

Additional considerations

The details provided in relation to the sites are subject to change.  No guarantee can be made as to the accuracy of the list of sites and new sites may be added or removed from the contract as necessary to meet the needs of the business.  Where a property has been sized as small, medium or large they should be priced on this basis.  If at the initial site visit contractors believe this sizing to be inaccurate this should be raised and consideration will be made by HIS as to whether a change is necessary.  If a change is made which increases the price of the service HIS will confirm this with the supplier – no change of price or size category will be accepted without prior discussion and approval with HIS.

Additional costs for travel and accommodation

Homes in Somerset will not accept additional costs for travel or overnight accommodation without prior agreement with HIS.  All travel costs should be included in the price submission and no additional payment will be made without prior agreement with HIS – in the unlikely event that a payment for travel or overnight accommodation becomes necessary it will be made with the following cap.  45p per mile for travel and no more than £80 per night for accommodation.