## Contract Prelims
OLD PRIORY LEOMINSTER Rev C 03/09/25
C O N T R A C T P R E L I M S
REFER TO PRELIMNARIES DOCUMENT
This Schedule of Works is to be read in conjunction with all other tender documents issued, including but not limited to drawings, specifications, and any additional schedules. The contractor is responsible for ensuring that all works necessary to deliver the project in accordance with the overall design intent, statutory requirements, and good industry practice are included in the tender price, even if not explicitly detailed on the drawings or within this schedule. In the event of any discrepancy or omission, the more onerous requirement shall apply, and it is deemed that the tender price fully reflects compliance with all such requirements.
The contractor must familiarise themselves with the site and its conditions prior to submitting a tender. Any claims for additional costs arising from site conditions that could reasonably have been identified during a site visit will not be entertained.
No claims for additional costs will be entertained due to discrepancies, errors, or omissions in the tender documents. It is the Contractor's responsibility to thoroughly review all tender documents, seek clarification on any ambiguities, and account for all works necessary to achieve the complete and satisfactory execution of the project. Submission of the tender confirms that the Contractor has included all such works in the tender price
This document must be read in conjunction with the attached contract preliminaries, and each individual item must be priced accordingly in the tender submission
All provisional sums within this document are clearly defined and represent items that may or may not be included in the final scope of works. The contractor is required to: •Price all provisional sums as separate, standalone items within the tender submission. •Recognise that provisional sums are included for works that are currently uncertain or subject to later confirmation by the client or architect. •Ensure that pricing for provisional sums reflects all associated costs, including preliminaries, overheads, and profit, necessary for the completion of these items if instructed. •Understand that the inclusion or omission of provisional sums in the final contract will depend on decisions made during the project and that any omitted items will not form the basis of a claim for lost profit or additional costs. •Clarify any uncertainties regarding the scope or definition of provisional sums prior to tender submission. By submitting a tender, the contractor agrees that all provisional sums are fully priced and acknowledges their potential inclusion or omission in the final contract scope.
All variations to the scope of works or provisional sums must be agreed in writing in accordance with the terms of the contract. By submitting a tender, the contractor agrees that all provisional sums are fully priced and acknowledges their potential inclusion or omission in the final contract scope.
1 | P R O J E C T P A R T I C U L A R S | ITEM
A10 | Project Particulars | 0
A11 | Tender and Contract Documents | 0
A12 | The Site/Existing Buildings | 0
A13 | Description of the Work | 0
A30 | Tendering/Subletting/Supply | 0
A31 | Provision, Content and Use of Documents | 0
A32 | Management of the Works | 0
A33 | Quality Standards and Control | 0
A34 | Security/Safety/Protection | 0
A35 | Specific Limitations on Method/Sequence/Timing | 0
A36 | Facilities/Temporary Works Services | 0
A37 | Operation/Maintenance of the Finished Works | 0
A40 | Contractor's General Cost Items: Management and Staff | 0
A41 | Contractor's General Cost Items: Site Accomodation | 0
A42 | Contractor's General Cost Items: Services and Facilities | 0
A43 | Contractor's General Cost Items: Mechanical Plant | 0
A44 | Contractor's General Cost Items: Temporary Works | 0
A50 | Work/Products by/on Behalf of the Employer | 0
A53 | Work by Statutory Undertakers | 0
| P R E L I M I N A R I E S T O T A L | 0
2 | D A Y R A T E S | Rate | Unit | Total
A | General Labour 37 Hours | 0 | per hour | 0
B | Trades Person 37 Hours | 0 | per hour | 0
C | Provide the provisional sum of £500 for plant to be used in dayworks | 0 | 10% rate
D | Provide the provisional sum of £500 for materials to be used in dayworks | 0 | 10% rate | 0

## 3 Site Setup
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
3 | S I T E S E T U P | UNIT | £
3.01 | Contractor is to provide an appropriate welfare unit for the duration of the works in accordance with HASAWA 1974. This must comply with the latest HSE guidance and provide the following: - Somewhere to sit and consume meals - Cooking facilities - Hot and cold drinking water - Dry storage for clothing - Toilet with hand washing facilities, soap and hand drier. | Item | 0
3.02 | Allow for the protection of the site with fencing for the duration of the works. Building and compound to be secure at all times with appropriate signage displayed. Note: adjacent parts of the building will be occupied for the duration of the works, contractor is to ensure complete separation of the works and any compound from occupied parts of the building, including site, materials, welfare and vehicle management. | Item | 0
3.03 | Allow for all costs relating the hiring of skips and waste disposal from site. | Item | 0
3.04 | Allow for a safe scaffold to be erected and maintained for the duration of the works, if required for completion of line items. Ensure scaffolding tagged and compliant with CDM regulations. Scaffold must maintain 50mm gap back from the building. High level working platforms if required to be erected by PASMA trained operatives. | Item | 0
3.05 | Allow for protection of the existing building and external paving for the duration of the works. Clean down on completion. | Item | 0
3.06 | Allow for all Health and Safety measures to protect both operatives on site and the general public. Allow for the production of information in accordance with main contractors CDM regulations. | Item | 0
3.07 | Building work shall be carried out with adequate materials which; Are appropriate for the circumstances in which they are used; Are adequately mixed or prepared; and are applied, used or fixed so as adequately to perform the functions for which they are designed for; and are fitted and finished in accordance with manufacturers literature to ensure performance is maintained. | Item | 0
3.08 | All building is to be carried out in a workmanlike manner. | Item | 0
3.09 | Prior to commencement of works, carry out a comprehensive photographic record of existing conditions throughout the site, both internally and externally, for reference in the event of disputes over pre-existing damage. Provide a digital copy to the client prior to works commencing. | Item | 0
3.1 | Allow for full Health and Safety manual to be provided (printed and digital) to client on completion. | Item | 0
3.11 | Provide a comprehensive Operation and Maintenance (O&M) manual covering all completed works. The manual must include: •Detailed instructions for maintenance of all installed components. •Information on warranties, including durations and contact details for claims. •Specifications for finishes, including colour references and materials used. Key contact information for suppliers and contractors involved in the works. The manual must be clear, well-organised, and submitted to the client upon project completion. | Item | 0
3.12 | Allow for periodic vacuum cleaning and clearance of accumulated dust throughout the contract period. No build-up of dust or debris will be tolerated. | Item | 0
3.13 | Allow for adequate protection/working methods to supress dust and prevent dust migration to other parts of the building, which are to remain occupied for duration of the works. | Item | 0
3.14 | Allow for full sparkle clean of affected work areas at completion ready for occupation. | Item | 0
3.15 | The architect is to be furnished with a suitable programme of work to adequately describe the critical path programming. | Item | 0
3.16 | The main contractor will be expected to keep adequate supervisory personnel on site at all times in the form of a site agent/ foreman. | Item | 0
3.17 | The building is part of a Scheduled Ancient Monument. Any deviation from the approved documents, including any expenditure of provisional sums, must be agreed with Historic England prior to these works being carried out. Contractor is to liaise with client regarding any potential deviation in the works to ensure that correct permissions are in place. Client is to furnish the contactor with a copy of the approval notice from Historic England prior to works commencing, and contractor is to ensure that all conditinos of approval notice are complied with and/or discharged. | Item | 0
3.18 | Note, for all replacement stone allow for use of Corsehill red sandstone. NOTE: Allow for providing large sample on site (min. 200x100x100 piece) for client to agree with Historic England. NO STONE IS TO BE REPLACED UNTIL CLIENT HAS PROVIDED CONTRACTOR WITH WRITTEN CONFIRMATION THAT HISTROIC ENGLAND HAS APPROVED A SAMPLE OF STONE. This sample of stone is to then be kept on site for reference, and all new stone is to match this stone sample. Replacement stone is to be similar to existing stone in porosity and be a good visual match in texture and colour. | Item | 0
3.19 | Contractor is to allow for providing samples of shelter coat for architects agreement, coloured with stone dust to match each area/each stone to be shelter-coated. Note: existing stone varies in colour. | Item | 0
3.2 | Contractor is to allow for providing samples of mortar repairs to stone, to match each stone, for architects agreement. Note, for all pointing/mortar use allow for all mixing of hot lime mortar on site. | Item | 0
3.21 | Contractors is to be mindful that the roof to this part of the building, and adjacent parts of the building (covered walkways and lean to structure on west gable), have recently been re-roofed by others. Contractor is to take special care to ensure no damage is caused to these areas. | Item | 0
3.22 | Where carrying out repairs to window surround/mullions/transoms, contractor is to allow for removing windows (complete frames and glazing) and disposing of them appropriately, and boarding up of windows as required to make building secure and weathertight for the duration of the works and following the works. Contractor to provide details of these proposed protection measures. | Item | 0
3.23 | NOTE: works require input from a structural engineer, including repair to cracking to west gable, infill of opeing in east gable wall (internal), reinforcement above stone arch at first floor and works to eastern most south wall where this has previously bulged. Contractor is no to undertake anyworks to these areas until client has provided further information from structural engineer and confirmed agreement with Historic England. | Item | 0
3.24 | Contractor is responsible for liasing with client to ensure all relevant permission are in place for any structural work that requires building control approval, and liaise with client regarding any onsite building control inspections. | Item | 0
4 | DEMOLITION | UNIT | £
4.01 | Allow for removal and appropriate disposal of all stone and other waste that is to be removed (where stone replacement is scheduled elsewhere in this document). | Item | 0
4.02 | Allow for all neccessary design and installation or all temporary propping as required to carry out the works | Item | 0
|  | Additional Total | 0

## 5 South Ele East
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
5 | SOUTH ELEVATION WEST SIDE | UNIT
MISC
5.01 | Allow for taking down all rainwater goods and installing temporary goods to re-direct water as required for access to carry out repairs for the duration of the works.
5.02 | Allow for reinstating water goods on new brackets and oak bobbins as required.Allow for mortar repairs to stones as required where these previosuly damaged by fixings.
5.03 | Allow for removal of existing pentice boards and installation of 2no. New pentice boards, in dry oak on brackets to match existing.
DEFRASS
5.04 | Allow for careful defrass of 13sqm of wall, as indicated on drawing
5.05 | Allow for attendance by architect to review condition of stone following defrass
RAKE-OUT AND REPOINT
5.06 | Allow for careful rake out and repoint in lime mortar of 48sqm of stone wall, including behind rainwater downpipes and wall mounted SVPs. Allow for flaunching where necessary in discrete areas where required to enable proposer water run-off
5.07 | Allow for careful rake out and repoint in lime mortar of 3sqm of stone to buttress
SHELTER COAT
5.08 | Allow for preparation of stones, production and application of lime mortar shelter coat to 4.7sqm of individual stones, as directed by the archtiect (shown indicatively on drawing).
REPLACEMENT STONE
Allow for supply and install, including all carving and bedding as necessary, of replacement stone as follows:
5.09 | A. 160x140x300 (reveal)
5.1 | B. 110x170x300 (reveal)
5.11 | C. 170x90x300 (reveal)
5.12 | D. 1040x100x300 (cill)
5.13 | E. 110x150x300 (reveal)
5.14 | F. 200x250x300 (reveal)
5.15 | G. 150x150x300 (reveal)
5.16 | H. 350x150x300
5.17 | I. 430x100x300
5.18 | J. 1040x100x300 (cill)
5.19 | K. 160x120x300(reveal)
5.2 | L. 160x120x300
5.21 | M. 160x120x300(reveal)
5.22 | N. 160x120x300
5.23 | O. 220x150x300
5.24 | P. 150x70x300 (reveal)
5.25 | Q. 1040x100x300 (cill)
5.26 | R. 320x170x350 (quion), allow for carfully taking up flashings adjacent as required and reinstallation to LSA guidelines
5.27 | T. 150x220x300 (chamfered reveal, profile to match existing)
5.28 | U. 1900x200x300 (transom with chamfered edges, profile to match existing)
5.29 | V. 100x250x300 (profiled reveal stone to window)
5.3 | V. 200x600x600 (full depth stone mullion, profiled to match existing) include for all drop pins/fixings and forming holes to take these as necessary
5.31 | V. 1500x170x600 (full depth stone transom, profiled to match existing adjacent transom)
5.32 | V. 300x60x300 (profiled reveal stone - this piece to be donee in Callow stone as is very small)
5.33 | V. 390x270x300 (profiled reveal stone)
5.34 | V. 280x120x300 (profiled reveal stone)
LEADWORK
5.35 | Allow for removal of existing lead flashing and mortar flaunching
5.36 | Allow for installation of new lead flashing, to LSA Guidelines (allow for Code 5)
5.37 | Allow for new lead coverings to 2no. New pentice boards, including all fixings and chasing into wall
PAINT REMOVAL
5.38 | Allow for carrying out test pathces of DOFF system to remove modern layers of paint and attendance by architect to consider test patches and agree method (suitable pressure) with contractor
5.39 | Allow for careeful removal of modern paint layers to lower section of wall below covered walkway (25sqm) using DOFF system.
5.4 | Allow for attendance by the architect to consider condition of wall following removal of paint
|  | Additional Total | 0

## 6 South Ele West
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
5 | SOUTH ELEVATION WEST SIDE | UNIT
MISC
6.01 | Allow for taking down all rainwater goods and installing temporary goods to re-direct water as required for access to carry out repairs for the duration of the works.
6.02 | Allow for reinstating water goods on new brackets and oak bobbins as required.Allow for mortar repairs to stones as required where these previosuly damaged by fixings.
6.03 | Allow for installation of new brackets and oak bobbins to foul pipes and SVPs as required. Allow for mortar repairs to stones as required where these previosuly damaged by fixings.
DEFRASS
6.04 | Allow for careful defrass of 19sqm of wall, as indicated on drawing
6.05 | Allow for attendance by architect to review condition of stone following defrass
RAKE-OUT AND REPOINT
6.06 | Allow for careful rake out and repoint in lime mortar of 13sqm of stone wall, inclduing behind rainwater downpipes and wall mounted SVPs. Allow for flaunching where necessary in discrete areas where required to enable proposer water run-off
6.07 | Allow for careful rake out and repoint in lime mortar of 3sqm of stone to buttress
SHELTER COAT
6.08 | Allow for preparation of stones, production and application of lime mortar shelter coat to 2.6sqm of individual stones, as directed by the archtiect (shown indicatevily on drawing).
REPLACEMENT STONE
Allow for supply and install, including all carving and bedding as necessary, of replacement stone as follows:
6.09 | A. 290x170x300 (reveal)
6.1 | B.290x120x300 (reveal)
6.11 | C. 290x120x300 (reveal)
6.12 | D. 130x100x80 (reveal)
6.13 | E. 280x150x300 (reveal)
6.14 | F. 1000x70x300 (cill with chamfered edge to match existing profiles)
6.15 | G. 230x110x300 (reveal)
6.16 | H. 320x230x300 (reveal)
6.17 | I. 220x100x300 (reveal)
6.18 | J. 1000x70x300 (cill with chamfered edge to match existing profiles)
6.19 | K. 1200x60x300 (cill with chamfered edge to match existing profiles)
6.2 | L. 600x60x300 (cill with chamfered edge to match existing profiles)
6.21 | M. 320x190x300 (reveal)
6.22 | N. 450x170x300 (buttress stone)
6.23 | O. 300x200x300 (chamfered buttress quion, profile to run through from quions below)
6.24 | P. 220x250x300 (reveal)
6.25 | Q. 330x120x300 (reveal)
6.26 | R. 150x110x300 + 150x70x300 + 120x60x300 (3no. reveal)
6.27 | S. 100x80x300 + 60x140x300 + 120x110x300 (3no. reveal)
6.28 | T. 135x100x300 (reveal)
6.29 | U. 140x110x300 (reveal)
6.3 | V. 100x100x300 + 180x120x300 (2no. reveal)
6.31 | W. 1200x70x300 (lintel)
6.32 | X. 1350x140x300 (lintel)
6.33 | Y. 90x1200x300 (lintel)
LEADWORK
6.34 | Allow for removal of existing lead flashing and mortar flaunching
6.35 | Allow for installation of new lead flashing, to LSA Guidelines (allow for Code 5)
PAINT REMOVAL
6.36 | Allow for carrying out test pathces of DOFF system to remove modern layers of paint and attendance by architect to consider test patches and agree method (suitable pressure) with contractor
6.37 | Allow for careeful removal of modern paint layers to lower section of wall below covered walkway (22sqm) using DOFF system.
6.38 | Allow for attendance by the architect to consider condition of wall following removal of paint
|  | Additional Total | 0

## 7 West Elevation
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
7 | WEST ELEVATION | UNIT
Note: awaiting input from structural engineer on remedial work to vertical cracking in this gable elevation
MISC
7.01 | Allow for taking down all rainwater goods and installing temporary goods to re-direct water as required for access to carry out repairs for the duration of the works.
7.02 | Allow for reinstating water goods on new brackets and oak bobbins as required.Allow for mortar repairs to stones as required where these previosuly damaged by fixings.
VEGETATION REMOVAL
7.03 | Allow for careful removal of all vegetation from wall and buttress. Where woody roots/stems present these to be treated with weedkiller plugs, Ecoplug Max, as per manufacturer instructions.
DEFRASS
7.04 | Allow for careful defrass of 20sqm of wall, as indicated on drawing
7.05 | Allow for attendance by architect to review condition of stone following defrass
RAKE-OUT AND REPOINT
7.06 | Allow for careful rake out and repoint in lime mortar of 29sqm of stone wall (60% elevation), including behind rainwater downpipes and wall mounted SVPs. Allow for flaunching where necessary in discrete areas where required to enable proposer water run-off, and packing out voids with stone as required.
7.07 | Allow for careful removal of cement flaunching to 2no. Window reveals and repoint in lime mortar.
SHELTER COAT
7.08 | Allow for preparation of stones, production and application of lime mortar shelter coat to 5sqm of individual stones, as directed by the architect (shown indicatively on drawing).
MORTAR REPAIR
7.09 | Allow for 50x50x50 mortar repair, including cutting back existing stone and all armature as required, to repair corner of quion.
REPLACEMENT STONE
7.1 | Allow for supply and install, including all carving and bedding as necessary, of replacement stone as follows:
7.11 | 0. Allow for stone replacement to gable, to be determined on site with architect (total 1000x1000x300)
7.12 | A. 810x100x300 (lintel)
7.13 | B. 120x100x300 (reveal)
7.14 | C. 100x750x300 (cill, allow for forming chamfered top edge)
7.15 | D. 180x300x300 (reveal)
REPAIRS TO TIMBER BEAM SET INTO WALL
7.16 | Allow for attnedance by the archtiect following removal of vegetation to confirm condition of timber beam
7.17 | Allow for cutting out rotten end of beam adjacent downpipe (straight joint), back to sound timber as instructed by the architect
7.18 | Allow for forming tile repair where timber beam cut out, in handmade clay tiles (to be by William Blyth or similar approved) and hot-mix lime mortar, allow for area 150x500mm and 300mm depth into wall, and all pointing to flush joints.
7.19 | Allow for shelter coat to full length of retained timber beam and continuous shelter coat to adjacent tile repair.
|  | Additional Total | 0

## 8 North Elevation West Side
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
8 | NORTH ELEVATION WEST SIDE | UNIT
Note: awaiting input from structural engineer on remedial work to vertical cracking in adjacent gable elevation/buttress
MISC
8.01 | Allow for taking down all rainwater goods and installing temporary goods to re-direct water as required for access to carry out repairs for the duration of the works.
8.02 | Allow for reinstating water goods on new brackets and oak bobbins as required.Allow for mortar repairs to stones as required where these previosuly damaged by fixings.
VEGETATION REMOVAL
8.03 | Allow for careful removal of all vegetation from wall and buttress. Where woody roots/stems present these to be treated with weedkiller plugs, Ecoplug Max, as per manufacturer instructions.
DEFRASS
8.04 | Allow for careful defrass of 25sqm of wall, inclduing buttress, as indicated on drawing
8.05 | Allow for careful defrass of 35sqm of chimney (full stone front and sides), as indicated on drawing
8.06 | Allow for attendance by architect to review condition of stone following defrass
RAKE-OUT AND REPOINT
8.07 | Allow for careful rake out and repoint in lime mortar of 20sqm of stone wall, including behind rainwater downpipes. Allow for flaunching where necessary in discrete areas where required to enable proposer water run-off, and packing out voids with stone as required. Including whole of buttress, and packing voids within buttress and void behind buttress as neccessary. Allow for packing void at junction of wall and return wall of east part of building.
8.08 | Allow for careful rake out and repoint in lime mortar of 20sqm of stone sides and base of chimney. Allow for flaunching where necessary in discrete areas where required to enable proposer water run-off, and packing out voids with stone as required. Include for packing voids within and behind chimney as neccessary.
SHELTER COAT
8.09 | Allow for preparation of stones, production and application of lime mortar shelter coat to 3.5sqm of individual stones in the wall and buttress, as directed by the architect (shown indicatively on drawing).
8.1 | Allow for preparation of stones, production and application of lime mortar shelter coat to 1sqm of individual stones of chimney (front and sides), as directed by the architect (shown indicatively on drawing).
REPLACEMENT STONE
Allow for supply and install, including all carving and bedding as necessary, of replacement stone as follows:
8.11 | A. total 1200mm length 150x300 (individual stones below eaves)
8.12 | B. 280x150x300 (reveal)
8.13 | C. 170x60x300 (reveal)
8.14 | D. 170x270x300 (reveal)
8.15 | E. 150x200x150 (chimney quion)
8.16 | F. 1000X100X300 (cill)
8.17 | G. 470x260x500 (buttress quion)
8.18 | H. 370x190x500 (buttress quion)
8.19 | I 220x180x500 (buttress quion)
8.2 | J. 100x160x400 (buttress quion)
8.21 | K. 180x130x400 (buttress quion)
LEADWORK
8.22 | Allow for removal of existing flash band above porch roof
8.23 | Allow for installation of new lead flashings, to LSA Guidelines (allow for Code 5)
|  | Additional Total | 0

## 9 North Elevation East Side
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
9 | NORTH ELEVATION EAST SIDE | UNIT
MISC
9.01 | Allow for taking down all rainwater goods and installing temporary goods to re-direct water as required for access to carry out repairs for the duration of the works.
9.02 | Allow for reinstating water goods on new brackets and oak bobbins as required.Allow for mortar repairs to stones as required where these previosuly damaged by fixings.
VEGETATION REMOVAL
9.03 | Allow for careful removal of all vegetation from wall and buttress (light on this elevation).
DEFRASS
9.04 | Allow for careful defrass of 30sqm of wall, as indicated on drawing
9.05 | Allow for careful defrass of 40sqm of chimney (full stone front and sides), as indicated on drawing
9.06 | Allow for attendance by architect to review condition of stone following defrass
RAKE-OUT AND REPOINT
9.07 | Allow for careful rake out and repoint in lime mortar of 25sqm of stone wall. Allow for flaunching where necessary in discrete areas where required to enable proposer water run-off, and packing out voids with stone as required.
9.08 | Allow for careful rake out and repoint in lime mortar of 40sqm of stone full front and sides of chimney. Allow for flaunching where necessary in discrete areas where required to enable proposer water run-off, and packing out voids with stone as required. Include for packing voids within and behind chimney as neccessary.
9.09 | Allow for careful rake out and repoint in lime mortar of 8sqm of stone full front and sides/return of buttress. Allow for flaunching where necessary in discrete areas where required to enable proposer water run-off, and packing out voids with stone as required. Include for packing voids within and behind buttress as neccessary.
SHELTER COAT
9.1 | Allow for preparation of stones, production and application of lime mortar shelter coat to 4sqm of individual stones in the wall and buttress, as directed by the architect (shown indicatively on drawing).
9.11 | Allow for preparation of stones, production and application of lime mortar shelter coat to 1.2sqm of individual stones of chimney (front and sides), as directed by the architect (shown indicatively on drawing).
REPLACEMENT STONE
Allow for supply and install, including all carving and bedding as necessary, of replacement stone as follows:
9.12 | A. total 3000mm length 150x300 (individual stones below eaves)
9.13 | B. 150x1100x600 (cill)
9.14 | C. 200 x 330 x 350 (chamfered stone to chimney, profile to match existing)
9.15 | E. 200 x 800 x 300 (half depth stone mullion, profile to match existing)
9.16 | F. 200 x 330 x 350 (chamfered stone to chimney, profile to match existing)
9.17 | G. total 2100mm length 150x300 (individual stones below eaves)
LEADWORK
9.18 | Allow for removal of existing flashings to 2no. Cills
9.19 | Allow for installation of new lead flashings to 2no. cills, to LSA Guidelines (allow for Code 5)
|  | Additional Total | 0

## 10 North Elevation Chapel
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
10 | NORTH ELEVATION CHAPEL | UNIT
MISC
10.01 | Allow for taking down all rainwater goods and installing temporary goods to re-direct water as required for access to carry out repairs for the duration of the works.
10.02 | Allow for reinstating water goods on new brackets and oak bobbins as required.Allow for mortar repairs to stones as required where these previosuly damaged by fixings.
VEGETATION REMOVAL
10.03 | Allow for careful removal of all vegetation from wall and buttress (light on this elevation).
DEFRASS
10.04 | Allow for careful defrass of 21sqm of wall and buttress (including on side and return of buttress), as indicated on drawing
10.05 | Allow for attendance by architect to review condition of stone following defrass
RAKE-OUT AND REPOINT
10.06 | Allow for careful rake out and repoint in lime mortar of 34sqm of stone wall. Allow for flaunching where necessary in discrete areas where required to enable proper water run-off, and packing out voids with stone as required.
10.07 | Allow for careful rake out and repoint in lime mortar of 15sqm of stone across the front and sides/return of buttress. Allow for packing out voids with stone as required.
SHELTER COAT
10.08 | Allow for preparation of stones, production and application of lime mortar shelter coat to 3.2sqm of individual stones in the wall and buttress, as directed by the architect (shown indicatively on drawing).
REPLACEMENT STONE
Allow for supply and install, including all carving and bedding as necessary, of replacement stone as follows:
10.09 | A. 200x70x300 to return wall
10.1 | B. 160x70x300 to return wall
10.11 | C. 600x180x300 to return wall
10.12 | D. 500x160x300 to return wall
10.13 | E. 500x200x300 to return wall
10.14 | F. Total 750x750x300 stone, in individual stones, roughly coursed to mathc existing, as required to repair area of wall previously repaired with stone 'tiles', as indicated on the drawing.
MORTAR REPAIR
10.15 | Allow for 70x50x50 mortar repair, including cutting back existing stone and all armature as required, to repair corner of chamfered quion.
LEADWORK
10.16 | Allow for removal of existing flashings to 2no. Cills
10.17 | Allow for installation of new lead flashings to 2no. cills, to LSA Guidelines (allow for Code 5)
|  | Additional Total | 0

## 11 East Elevation Chapel
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
11 | EAST ELEVATION CHAPEL | UNIT
MISC
11.01 | Allow for taking down all rainwater goods and installing temporary goods to re-direct water as required for access to carry out repairs for the duration of the works.
11.02 | Allow for reinstating water goods on new brackets and oak bobbins as required.Allow for mortar repairs to stones as required where these previosuly damaged by fixings.
VEGETATION REMOVAL
11.03 | Allow for careful removal of all vegetation from wall and buttress. Where woody roots/stems present these to be treated with weedkiller plugs, Ecoplug Max, as per manufacturer instructions.
DEFRASS
11.04 | Allow for careful defrass of 7sqm of wall as indicated on drawing
11.05 | Allow for attendance by architect to review condition of stone following defrass
RAKE-OUT AND REPOINT
11.06 | Allow for careful rake out and repoint in lime mortar of 30sqm of stone wall (whole of stone part of wall). Allow for flaunching where necessary in where required to enable proper water run-off including at junction of stone and brickwork and over stone lintel, and packing out voids with stone as required.
11.07 | Allow for careful rake out and repoint in lime mortar of 6sqm of stone across the front and sides/return of buttress. Allow for packing out voids with stone as required.
11.08 | Allow for careful rake out and repoint in lime mortar of 1sqm of brickwork.
SHELTER COAT
11.09 | Allow for preparation of stones, production and application of lime mortar shelter coat to 1.2sqm of individual stones in the wall and buttress, as directed by the architect (shown indicatively on drawing).
REPLACEMENT STONE
Allow for supply and install, including all carving and bedding as necessary, of replacement stone as follows:
11.1 | Allow for stone replacement to gable, to be determined on site with architect (total 750x300x300), individual stones to be roughly coursed to match existing.
11.11 | Allow for careful removal of 2no. Damaged bricks, and install of tile repair, in handmade clay tiles (to be by William Blyth or similar approved) and hot-mix lime mortar, allow for area 150x500mm and 300mm depth into wall, and all pointing to flush joints.
MORTAR REPAIR
11.12 | Allow for 70x50x50 mortar repair, including cutting back existing stone and all armature as required, to repair corner of chamfered quion.
LEADWORK
11.13 | Allow for removal of existing flashings to 2no. Cills
11.14 | Allow for installation of new lead flashings to 2no. cills, to LSA Guidelines (allow for Code 5)
|  | Additional Total | 0

## 12 East Elevation East Wing
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
12 | EAST ELEVATION EAST WING | UNIT
DEFRASS
12.01 | Allow for careful defrass of 5sqm of wall as indicated on drawing
12.02 | Allow for attendance by architect to review condition of stone following defrass
RAKE-OUT AND REPOINT
12.03 | Allow for careful rake out and repoint in lime mortar of 9sqm of stone wall (whole of exposed gable). Allow for flaunching where necessary in where required to enable proper water run-off, and packing out voids with stone as required.
SHELTER COAT
12.04 | Allow for preparation of stones, production and application of lime mortar shelter coat to 2.5sqm of individual stones in the wall as directed by the architect (shown indicatively on drawing).
REPLACEMENT STONE
12.05 | Allow for supply and install, including all carving and bedding as necessary, of replacement stone as follows:
12.06 | A. 500x150x300 individual stone
LEADWORK
12.07 | Allow for removal of existing flashings to abutment of adjacent roof
12.08 | Allow for installation of new lead flashings to LSA Guidelines (allow for Code 5)
|  | Additional Total | 0

## 13 INTERNAL MASONRY
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
13 | INTERNAL MASONRY REPAIRS | UNIT
ARCHWAY REPAIR
Refer to provisonal sum items also.
13.01 | Allow for carefully taking up floor boards adjacent base of column (to include carpet, 5mm fibre board and 20mm floorboards) following method statement provided in architects specification sheets, in order to facilitate works to base of column (allow for taking up 0.5sqm of floor). Include for attendance by architect once carpet and fibre board have been lifted to confirm extent/type of floor boards and method for lifting.
13.02 | Allow for providing 9no. Samples of poltice application, each 75x75mm size, for agreement with architect on most appropriate poltice/tming to be used (refer to spec. for poltices/timings)
13.03 | Allow for removal of modern paintwork with chosen poltice system (allow here for use of Peelaway-7 in 3mm layer of 3 hours), allowing for all necessary time for poltice to work and clean-up.
13.04 | Allow for cutting out sections of archway as indicated on drawing
13.05 | Allow for supply and install of 2no. Pieces of stone arch piece (265x105x510 and 265x105x470) (allow for Hollington Red), profiled to match that of archway (allow for all necessary measuring and templating on site), fixed into place with drop-pins.
13.06 | Allow for supply and install of 1no. Pieces of stone base piece (450x370x170) (allow for Hollington Red), profiled to match that of archway (allow for all necessary measuring and templating on site), fixed into place with drop-pins.
13.07 | Allow for rake out and repoint of 20% of archway, as directed by the architect.
13.08 | Allow for relaying 0.5sqm of floor bards following completion of stonework repairs.
14 | OTHER EXTERNAL MASONRY REPAIRS | UNIT
14.01 | Allow for removal of vegetation from 15sqm of wall, as directed by architect
14.02 | Allow for defrass of 20sqm of wall, as directed by architect
14.03 | Allow for rake-out and repoint of 20sqm of wall as directed by architect
14.04 | Allow for 3sqm of shelter coat, as directed by architect
|  | Additional Total | 0

## Provisional Sums
OLD PRIORY LEOMINSTER Rev C 03/09/25
S C H E D U L E O F W O R K
NB: This schedule to work is to be read in conjunction with all other tender materials issued, not limited to drawings, schedules and specification. It is deemed that the final tender price is to include for the attached said tender documents.
Ensure that is documents is read in conjunction with the attached contract preliminaries and is priced accordingly for each individual item.
Any contradiction between documents, immediately notify Montez Architecture for confirmation.
15 | PROVISIONAL SUMS | UNIT | £
The following provisional sums are only to be expended in whole or in part if expressly instructed by the client in writing. In each event the contractor must provide a fixed figure for carrying out each item of work, in advance of carrying out the work.
15.01 | Provisionally allow for installation of 3no. Rows of heli-bar, 1.5m lengths in courses of stonework above internal archway. NOTE: awaiting furhter details from S.E. | item
15.02 | Provisionally allow for careful rake out and repoint of 25sqm below walkway roof on South Elevation, East Side. | item
15.03 | Provisionally allow for careful rake out and repoint of 22sqm below walkway roof on South Elevation, West Side. | item
15.04 | Provisionally allow for filling in doorway opening (2.1sqm) at second floor level between chapel and east wing with 7.3N dense concrete block, complete with cement mortar, tied back to existing stone masonry reveals via crocadile clips. (TO BE CONFIRMED BY ARCHTECT/SE DETAILS) | item
15.05 | Provisionally allow £3,000.00 for additional work as required to repair crack to west gable, to structural engineers details (yet to be prvided at time of tender). | ITEM | 3000

## Totals
OLD PRIORY LEOMINSTER Rev C 03/09/25
| TOTALS | £
1 | Preliminaries
2 | Dayrates | N/A
3 | Site Setup
4 | Demolition
5 | South Elevation East Side
6 | South Elevation West Side
7 | West Elevation
8 | North Elevation West Side
9 | North Elevation East Side
10 | North Elevation Chapel
11 | East Elevation Chapel
12 | East Elevation East Wing
13 | Internal Masonry Repairs
14 | Other External Works
15 | Provisional Sums
Preliminaries Total
Sum of Works
Contingency 10%
Provisional Sums
Total Costs