East Sussex

# Fire Authority

ESFA2541

Provision of

Breathing Apparatus Compressor Servicing and Maintenance

INVITATION TO TENDER

CLOSING TIME and DATE FOR SUBMISSION OF RESPONSES:

12.00 noon on 28th November 2025

To be returned via our electronic portal, detailed in the section

‘Preparation and Submission of Responses’ below

Version vFinal

achieving safer and more sustainable communities

Copyright © 2015 East Sussex Fire Authority. The insignia of East Sussex Fire Authority and East Sussex Fire & Rescue Service is the property of East Sussex Fire Authority and may not be reproduced without prior permission of the Authority.

section 1 - INTRODUCTION

  - East Sussex Fire Authority (ESFA) is seeking to award a contract on behalf of East Sussex Fire and Rescue Service (ESFRS) for the provision of Compressor Servicing for our Breathing Apparatus at 6 sites, for 7 compressors across the ESFA estate.

  - The tender will be conducted following an open process.

  - This tender must be open for acceptance for 90 days after the tender closing date and be priced accordingly.  In the event of the tender being accepted, you must be able to commence and complete the works in accordance with the dates specified.

- Period of Contract

  - The Contract will be for a two-year period commencing on the 1st April 2026 with an option for the Authority to extend the Contract for a further two periods of up to twelve months, where the contractor is in agreement.

  - Requests for Information / Clarification

- All requests for additional information or clarification of tender documents or procedure must be requested via the InTend portal only (https://sell2.in-tend.co.uk/blpd/home), by the date and time specified in Section 2.

  - Any information provided in response to requests for clarification will be distributed to all applicants, not just the applicant that requested the information. Information or updates will be communicated to all applicants via the portal.

- Confidentiality and Publicity

  - All information supplied by the Authority to you must be treated in the strictest confidence and not disclosed to third parties except insofar as this is necessary to obtain sureties or quotations for the purposes of submitting a tender.

  - The Authority does not participate in any publicity relating to any of its contracts or purchases unless approved by the Procurement Manager. Suppliers may not advertise or publicly announce that they are undertaking work for the Authority without prior approval. If the Authority is made aware of unapproved advertising on websites or company literature the supplier will be contacted and requested to remove such references.

- Costs

  - The Authority will not accept any responsibility whatsoever for any costs incurred by Tenderers in preparing responses. No guarantee is given as to the validity of the data provided by the Authority. Where Tenderers are required to provide a presentation and/or attend meetings called by the Authority this will be at the Tenderers own expense.

Method and Criteria of Evaluation

  - Your tender response will be used by the Authority to evaluate the submissions. Please ensure you read the explanatory notes preceding the questionnaires in full before responding. The information you give within the questionnaires will be relied upon as being true and accurate and will form part of the contract for the successful Applicant. If any of the information given by you is subsequently identified as being inaccurate, this may exclude your organisation from further consideration or could result in contract termination.

  - Information and instructions on responding to the questionnaires are detailed below. Please ensure that all questions are answered in full in your response, providing supporting and additional information as appropriate.

  - The evaluation of the submissions will be based on two elements:

  - Section 5 - Quality – This is a Pass/Fail Section. We will ask a number of questions to deem your suitability to provide the service we require. Those suppliers that respond in a way that gives us confidence they can provide what we require will pass this section and we will consider their price bid. Those that do not will fail, and their bid will be rejected.

  - Price will be the determining factor, having passed the quality section.

  - This ITT and all documentation issued by the Authority is and will remain the property of the Authority and must not be copied or reproduced in whole or in part except for the sole purpose for the preparation of the Tender submission without the prior consent of the Authority and any copies made must be returned to the Authority on demand.

  - All information supplied by the Authority to you must be treated in the strictest confidence and not disclosed to third parties except insofar as this is necessary to obtain sureties or quotations for the purposes of submitting a tender.

- Price

  - The price tendered must be fixed for the term of the contract.

  - The lowest price bid of the suppliers who pass the quality question will be awarded the contract.

- Qualification

  - Tenders must be submitted in accordance with the Contract Documentation.  Applicants must not make any changes to these documents unless specifically invited to do so under these Documents.

  - Suppliers, their sub-contractors and associated persons must not be excluded from public contracts under the definition of the Procurement Act 2023. If found to be excluded the bid will be rejected.

  - Whilst ESFA is prepared to give consideration to any changes of a minor nature, it is not prepared to accept any material changes to the terms and conditions.  For the avoidance of doubt, bidders should note that if any submissions are subject to a qualification which ESFA at its sole discretion deems ‘material’ and unacceptable, their bid will be deemed to be non-compliant and disqualified. Consequently, no further consideration of their bid will be carried out.

  - It is envisaged that a single contractor will be appointed on to the call off.

  - East Sussex Fire Authority does not bind itself to accept the lowest or any bid, and unless a bidder expressly states that a partial award will not be acceptable, then the right is reserved to accept a bid in part.

  - Upon conclusion of the evaluation of responses, all bidders will be advised through the portal, of the outcome of the evaluation.

  - Following notification of the evaluation result, the award process may be subject to a voluntary eight-day standstill period, as per the Procurement Act 2023. Contractors should do nothing during this period that would incur costs for them.

  - Upon conclusion of all of the above stages, a call off contract will be created between East Sussex Fire Authority and the appointed Contractor.

  - The results of the tender and the contract value will be published.

Devolution

  - With the introduction of The English Devolution and Community Empowerment Bill, the areas of West Sussex, East Sussex and Brighton are considering whether they will combine into a single Mayoral Combined County Authority, to form a larger strategic authority. Until that decision is made, how that will impact the East Sussex Fire Authority is unclear at present.

However, with the first mayoral election due to take place in May 2026, what is likely is that within the term of this contract, the East Sussex Fire Authority, the legal entity awarding the contract will cease to exist and at that point this contract may either end or require to be novated to the new legal entity responsible for Fire and Rescue provision within the current area known as East Sussex.

What is less likely but possible providing we have given notice it may occur at the point we tender for the supply, is that we would look for this contract, once novated, to be extended to all fire and rescue sites across the new combined area providing the successful supplier is both willing and able to, cover the expanded area. Should this be considered we would discuss it first with the successful supplier then take legal advice as to whether the option is viable.

It is for this reason that we have reduced the term of the contract from our usual three years but provided scope for contract extensions to give the flexibility in a period of change expected.

section 2   PREPARATION & SUBMISSION OF RESPONSES

  - This Tender will be managed electronically via the In-Tend Portal. It can be reached via:

https://sell2.in-tend.co.uk/blpd/home

  - Please return your response in English and in the detailed format, via this route only. Please note, the portal is the sole route for communications during the process.

  - Contractors need to be registered to use the portal and registered against us as a Contracting Entity, but registration is free and further information on how this is achieved, can be found at:	https://sell2.in-tend.co.uk/blpd/register

  - If you are unsure about your companies registration status, please contact In-Tend Portals support at:

https://in-tend.co.uk/contact-us/

  - If you have any difficulties with the In-Tend Portal that you are unable to resolve through the Sell2UK helpdesk, please email procurement@esfrs.org.

  - The closing date for the submission of your tender is

12.00 noon on 28th November 2025

  - Tenders submitted after the time and date shown or received by any method other than via the electronic portal, will automatically be rejected.

  - If you require further information concerning the tender process, or the nature of the proposed contract, please contact us via the portal.

  - Should questions arise during the tendering period, which in our judgement are of material significance, we will write to all tenderers to explain the nature of the question, and provide to all, our response.

  - Questions about areas of this tender which you require clarification on, will be accepted from contractors until:

12.00 noon on 21st November 2025

Section 3	Background

Background

  - The East Sussex Fire Authority is responsible for the provision of the Fire and Rescue Service in East Sussex and the City of Brighton & Hove.

  - The East Sussex Fire and Rescue Service is an emergency public service, which requires to be fully operational 24 hours each day on every day of the year.

  - The Authority serves the population within the City of Brighton & Hove and the county of East Sussex (~ 830,000 people) and has a network of both operational and support staff operating out of the Authority HQ, Community Fire Stations and our Training Centre.

  - ESFRS co-locates with Sussex Police at a shared HQ in Lewes. It maintains 23 Community Fire Stations and the Service Training Centre at Maresfield. A site at Fort Road Newhaven is being converted to an Engineering workshop hub and will be added to the Estate just after this contract commences.

  - This call off contract will cover the routine servicing of its Breathing Apparatus dedicated Compressors, provide a call out facility in the event of breakdown and the facility to replace a compressor in its entirety in the event of a failure that cannot be fixed or where it has reached the end of it useful life.

  - East Sussex Fire & Rescue Service supports and would look to its contractors to follow Social Value issues.  Examples of Social Values are detailed below:

- Appointment of apprenticeships and supporting skills development.

- Giving opportunities for individuals/groups facing greater social or economic barriers.

- Supporting work placements to school children and young adults.

- Recruitment of locally engaged labour.

- Recruitment of long-term unemployed labour.

- Recruitment of Young People Not in Education, Employment or Training (NEET);

- Procurement and sourcing of sustainable works, supplies and services;

- Encouraging ethical and fair-trade procurement; and

- Community engagement

More information on Social Value issues can be found at https://socialvalueportal.com. You should consider this when answering any question relating to Social Value.

  - Where you choose to sub-contract any element of the above, we would expect this to be at the same rate without any managerial monitoring costs.

  - Due to the potential number of suppliers, their availability, the distance between our sites and the impact it would have on our small team, there will be no opportunity for site visits during the tender process.

  - The successful Contractor should be able to begin service delivery on 1st April 2026.

Section 4 	Specification

General Requirements

  - East Sussex Fire Authority (ESFA) on behalf of East Sussex Fire and Rescue Service (ESFRS) require a supplier who can service our Breathing Apparatus (BA) Compressors according to the OEM instructions.

  - Routine weekly maintenance set out in operation and maintenance manual will be completed by suitably trained fire service personnel.

  - All visits to a site by the Contractors engineer shall be noted and signed in the site compressor logbook, detailing the nature of the visit.

  - All Contractor staff will need to complete ESFRS’s on-line induction course

  - For security reasons, our preference for Contractor staff attending on ESFA premises, are that they be attired in branded company workwear, and driving a marked company vehicle. If that is not possible, they should be able to provide identification on demand.  An example of the company identification card will be requested from the successful contractor.

  - Any sub-contractors to be used by the Contractor, must be agreed in advance with ESFA.

  - ESFA will require a single point of e-mail contact and a telephone number for planned works and the same for invoice queries.

  - To carry out servicing and maintenance to a schedule agreed at contract commencement. Before site attendance, the Contractor will be required to complete a standard spreadsheet for the ESFRS Estates Team and give a minimum of two weeks’ notice.

  - As a consequence of this contract, if and when requested, the successful supplier will be expected to assist with any review instigated about the siting of any current or future compressor, either as a status quo or where changing the number of compressors is required, which might come as a result of usage or in response to planned accommodation or fleet changes.

  - If you would expect to be paid for this support, you must ensure you detail your costs in the Additional Costs section of Section 6.

Specific Regulations and Legislation

  - The specific Regulations and Legislation that the Contractor must adhere to are:

- Health & Safety at Work Act 1974

- Control of Substances Hazardous to Health Regulations (COSHH)

- Work at Height Regulations 2005

- Provision and Use of Work Equipment (PUWER) Regulations

- Management of Health and Safety at Work (MHSW) Regulations

- Waste Electrical and Electronic Equipment Directive

The Contractor, and any sub-contractors they may use, must ensure all staff are trained, equipped (including personal protective equipment appropriate to the task) and competent to work at height.

  - Engineers deployed by the successful supplier, must be qualified to work on high pressure systems. As a requirement of this tender, the successful supplier will need to supply a list of the engineers they may deploy, their qualification and the point when any re-qualification may be applicable.

  - This is to be updated annually on the contract anniversary or at any point in between where new Engineers are employed. Only engineers notified as qualified to ESFRS will be allowed to work on ESFRS equipment.

  - Contractor shall prepare all relevant Health and Safety risk assessments and safe working methods relevant to the provision of the Services and shall deposit a copy of each with the Responsible Officer prior to the commencement date.  Contractor shall keep these documents up to date and provide updated copies to the Responsible Officer on request.

  - The Contractor will be required to provide evidence of Health and Safety training, and staff toolbox talks for new staff or sub-contractor staff, and where they sub-contract any work, how they ensure their sub-contractors meet the same requirements.

Key Performance Standards

  - The following KPI’s are expected of any successful contractor:

- To carry out scheduled maintenance works on the dates and times agreed 99% of the time.

- To carry out air purity tests on the dates and times agreed 99% of the time.

- When call to attend equipment failures, to attend within the detailed timescales, 95% of the time.

- Where applicable, to provide copies of waste removal certificates for waste removed from ESFA sites within 5 working days.

- To invoice monthly within 10 working days of the month commencing, every month.

KPIs will be discussed at review meetings, and the contractor will provide the data.

  - For the above KPI’s we would want to be able to monitor trends and would expect the successful supplier to supply this data in both defined periods such as quarterly, half yearly or since the last review meeting, and on a rolling basis such as last 6- or 12-month period or from contract start. The exact requirements, how often and when you need to report will be agreed at the contract start-up meeting, but you should have systems in place that means you are able to provide all the above if requested.

  - The supplier will be required initially to attend 6 monthly contract management meetings to discuss performance, and they will supply the details of their performance against the agreed KPI’s in the contract. The frequency of these meetings may vary with time and/or supplier performance against the agreed KPI’s set.

Sub-Contracting Services

  - Sub-contractors used by the Contractor, to provide any service detailed in this document, must be agreed in advance with East Sussex Fire Authority. When on site they must be easily identifiable as working on behalf of the Contractor.

  - Where a contractor chooses to sub-contract any work related to this contract, the cost of the sub-contractor; any supervision of them, must not be charged back to the East Sussex Fire Authority. The cost of the sub-contractor will be covered in the contractor rate bid.

  - The responsibility to ensure that the staff performing any sub-contracted work are suitably qualified to perform the tasks they are being asked to do, rests with the contractor as part of their own due diligence of their sub-contractors.

  - All sub-contractors working on behalf of the Contractor on this ESFA contract must be paid subject to the same, or better terms than the Contractor agrees with ESFA.

  - You must make sure that any sub-contractor you plan to use to provide this service is detailed within your response in Section 5.

TUPE

  - We have checked with our incumbent supplier and ESFA do not believe that the TUPE Regulations will apply to any staff. You should however make your own enquiries and satisfy yourself as to this position. You contact point will be:

Julian Box

Revolution Air Services Ltd

Unit 25, Highfield Business Park

Tewkesbury Road

DEERHURST

GL19 4BP

jbox@revolutionairservices.com

01452 223813

  - Bidders will be expected to comply with all aspects of the TUPE legislation where applicable and having made their own enquiries, take their own view and seek their own independent advice on the application of TUPE before bidding, as, by submitting a tender, bidders are deemed to have satisfied themselves as to the sufficiency of the TUPE information to enable them to complete their tender.

  - Bidders should not place any reliance on the information given to them by the Authority and must obtain their own independent professional advice. The Authority accepts no liability whatsoever for any losses, damages or any other costs as a result of the aforesaid regulations.

Environmental Considerations

  - The Authority requires that the Contractor shall operate in an environmentally conscious manner and in accordance with relevant legislation.

  - The Contractor must dispose of anything removed from an ESFRS site, in accordance with the current relevant waste equipment and environmental regulations and provide to ESFRS satisfactory evidence of compliance.

Personal Data Security

  - East Sussex Fire Authority operates a clear desk policy and as such confidential or personal information should not be available to contractor staff on site. However, the contractor must ensure that any personal or confidential data their staff do become aware of because of their duties, while working in an occupied area or otherwise, is treated as confidential and not disclosed or used by any staff, sub-contractors or agents.

Access to Fire Stations

  - The successful contractor will be supplied with a Salto Pass Card to allow their staff to gain access to a fire station. These may be individual access cards or a block of cards that you will be required to maintain a record of who has what. The exact number required will be decided at the contract commencement meeting.

  - The contractor must know where all these access items are, who is using them; and can always account for them all. For security purposes they must report immediately if one is lost to the ESFRS Estates Team. Initial cards will be free, but the cost to replace a lost card will be £5 which is a pass-through cost for us to purchase a replacement card. At contract completion, all passes must be returned to the Estates Team within 10 working days of contract completion.

Service Requirement

Annual Compressor Servicing

  - Once annually, in the first 10 working days of November, the compressors must be serviced in accordance with the manufacturer’s operation and maintenance manual and the inspection completed in accordance with the Written Scheme of Examination.

  - The planned dates and times for each site must be proposed and agreed at the beginning of each contract year (normally April) and no changes to either the dates or the scheduled route may be made without the written agreement of ESFRS. This directly relates to station security and our requirement to control supplier access to sites.

  - Each BA compressor will be tested according to the following criteria.

  - Each service will include the following. Any parts referred to specifically below identified as may require replacement, and any tests specified as required will be covered within the cost specified for the service:

Compressor Unit

- Run compressor up to the normal working temperature and drain off the lubricating oil. Remove, clean and replace the magnetic drain plug. Refill the sump with new oil and clean the outside surfaces of the compressor. Replace oil filter.

- Remove the suction and delivery valves, clean and inspect, then re-assemble with new discs, springs and locking nuts. You may instead replace the valve assembly complete.

- As required, check for signs of damage or wear through the open valve ports and then replace the valves complete with new seating washers and gaskets.

- As required, remove, clean and refit the intake filter element and the sintered bronze filter element. Replace if required.

- Replace dump filter element.

- Check tension of drive belts and adjust if required. Replace when signs of wear visible.

- Check all external nuts and bolts for the correct tightness.

- Strip clean and inspect the Filtration IR purifier system. Reassemble the purifiers complete with new filter cartridge, O rings and seals.

- Replace the coalescing cartridge.

Controls

- Run the charging set and test for output and air leaks etc. Advise the operator of any malfunction of the control system.

- Check the function of all drain valves

Auto Unload System

- Check Cylinder Charging Facility and connectors

- Inspect automatic dump system, strip and reassemble with new O rings and gaskets.

- Check Oily Water Separators.

- Replace the carbon filter elements.

- Check the system operation

- Remove from site any contaminated fluids found during check

Cylinder Charging Facility and Connectors

- Check under pressure for leaks

- Visually inspect the cylinder charging connectors for damage or deterioration.

- Charging hoses to be examined and replaced if damaged or required by Written Scheme specified intervals at that point or before the next annual service.

Supplementary Servicing

In addition to the full annual service detailed above, the successful supplier will have to provide the routine compressor manufacturer recommended maintenance checks on every other occasion they visit the compressor, including when performing Air Purity Tests or when called out for repair purposes. The cost for the time to perform this supplementary servicing cost must be built into your pricing declared and will not be charged for separately. The checks to be performed will be specific to the compressor itself but generally should include:

- Checking the oil level of the compressor and topping up as required.

- Clearing and removing from site any residue in the auto unload system.

- Checking for signs or damage or other concerns including leaking hoses.

If at any point during a visit for an Air Purity Test, a fault is identified that requires a replacement part to be fitted, the time taken to fit the part will not be charged separately but be deemed to be part of the cost associated with that visit. The cost of the actual part replaced will be additionally chargeable unless it is otherwise included elsewhere such as the fitting of a new filter within the annual allowance agreed. If the part is not available on the service van and as agreed or specified, should be, any return visit will have no cost to the Service.

Air Purity Testing following Annual Service

- On completion of the annual service Air purity analysis to EN12021 standard, to include analysis of Volatile Organic Compounds (VOC) is to be undertaken by way of two tests.

- One test is to be taken and sent to an independent UKAS Accredited company for analysis

- One test is to be taken by means of a detection tube and analysed by calibrated electronic measuring equipment to provide an instant result.

- A certificate is to be supplied to the BA Maintenance officer confirming the air quality for all tests undertaken

Additional Services included in Annual Servicing Cost

- If required at the time of the annual service, any pressure vessel (separation or filter body) hydro testing and re-certification.

- Three yearly review of Written Scheme of Examination. First will be at contract start.

- Ongoing maintenance of the Written Schemes including updating where new parts are fitted, by the successful supplier or by trained ESFRS personnel.

- Access to these Written Schemes for up to 5 ESFRS personnel whether submitted manually, electronically or online.

- Parts to repair a breakdown, where they should have been fitted at the last service and were deemed not required at the time. In this instance, call out cost will not be charged either.

- Provision of data annually after service of hours run that year and average hours run per compressor per site in an MS Excel spreadsheet.

Additional Services required that are not included in Annual Servicing

- The cost of the replacement of expired parts such as flexible hoses. The cost of the part will be additional to the servicing cost, but the fitting of the part is part of the service. All parts that are due to expire before the next annual service, must be replaced at the previous service – either on the day, or before expiry at no additional visit cost.

- The cost to repair an item not directly attributable to a consumable item included in the annual servicing. The callout cost will be waived if the failure directly relates to a part that should have been replaced at the previous service and was not.

  - Following the annual service, the supplier would be expected to provide a written report if they have identified any concerns with any compressor including potential obsolescence or difficulties expected around spare parts supply.

  - At present we have the following compressors installed:

| Location | Compressor Type | Installed |
| --- | --- | --- |
| Preston Circus Fire Station | Central Compressors CC25V (V34H-AL with Paramina filtration) and Owamat 10 OWS | 01/02/2014 |
| Eastbourne Fire Station | Central Compressors CC25V (V34H-AL with Paramina filtration) and Owamat 10 OWS | 01/02/2014 |
| Hastings Fire Station | Central Compressors CC25V (V34H-AL with Paramina filtration) and Owamat 10 OWS | 01/02/2014 |
| Hove Fire Station | Central Compressors CC25V (V34H-AL with Paramina filtration) and Owamat 10 OWS | 01/02/2014 |
| Uckfield Fire Station | Central Compressors CC25V (V34H-AL with Paramina filtration) and Owamat 10 OWS | 02/12/2011 |
| Service Training Centre, Maresfield | Central Compressors CC25V (V34H-AL with Paramina filtration) and Owamat 10 OWS | 01/02/2014 |
| Service Training Centre, Maresfield | Central Compressors CC25V (V34H-AL with Paramina filtration) and Owamat 10 OWS | 04/08/2014 |

Air Purity Testing (APT)

  - In addition to those completed as a consequence of the annual service, ESFRS require APT to be carried out bi-monthly on all compressors at all sites. The supplier will be required to attend and perform the test every second month.  We may on occasion raise this requirement to every month, if there is a safety related, or compliance issue detected during the testing.

  - In order to keep the tests as close to four weekly, these tests will always be performed in the first ten working days of each month, and the successful supplier will be required to attend to perform the test during that period.

  - As the annual service is in November, the additional APT’s will be performed by the successful company in January, March, May, July, and September. The proposed time and dates for each should be scheduled at contract commencement and annually in April. As with annual servicing, once agreed, they may not be changed without the written approval of ESFRS.

  - The cost of 4 filtration cartridge replacements for each compressor should be included within your costs to provide the APT’s as that is our usual attrition rate – that is 28 filters per year across all 7 compressors. Any filters supplied as required above the 28 included will be chargeable to ESFRS. Any not used each year, should be credited back or supplied to ESFRS to hold as spares.

  - At these scheduled visits, following an air purity analysis using air purity detection equipment, a certificate to be supplied confirming the air quality for all tests undertaken.

  - When completing an inspection in accordance with the written scheme of examination, the document will be signed in the relevant sections after the required inspection or tests have been undertaken. The compressor must be marked to indicate the date of the last visit.

  - Currently a folder is sited with each compressor and included within it is the certification for the compressor and the results of the last Air Quality Test including the date it was completed to show at a glance the compressor is safe to use. We would expect any supplier to continue this process.

  - Sites and visit months and purpose:

| Site | November | January | March | May | July | September |
| --- | --- | --- | --- | --- | --- | --- |
| Preston Circus Fire Station | Service + APT | APT | APT | APT | APT | APT |
| Eastbourne Fire Station | Service + APT | APT | APT | APT | APT | APT |
| Hastings Fire Station | Service + APT | APT | APT | APT | APT | APT |
| Hove Fire Station | Service + APT | APT | APT | APT | APT | APT |
| Uckfield Fire Station | Service + APT | APT | APT | APT | APT | APT |
| Service Training Centre, Maresfield - 1 | Service + APT | APT | APT | APT | APT | APT |
| Service Training Centre, Maresfield - 2 | Service + APT | APT | APT | APT | APT | APT |

Training

  - The successful supplier, as a requirement of this contract, will be expected to provide a single on-site training provision on request for up to 4 personnel per year. This may be for new personnel to this area or refresher training where a need is identified. The first may be required shortly after contract commencement.

  - Training may be required to cover all or some of the following:

- Simple fault finding in order to resolve or report.

- Oil level checking and topping up when required.

- Replacement of O rings including identifying correct sizes.

- Draining down and purging of system.

Call-Out Repairs

  - In the case of a compressor fault but the compressor remains usable, we will expect an engineer to arrive onsite during normal working hours within 48 hours of us reporting the fault and where the fault is routine but cannot be fixed immediately, for it to be fixed within 24 hours of that initial arrival.

  - Where we have more than one of our compressors with a fault but working or one fully out of commission and we request an emergency call out, an engineer must arrive within 24 hours of notification.

  - The call cost declared in the pricing schedule must include all ancillary costs including the time to travel to site, mileage and any subsistence and include the first hour on site.

  - Where a fault is not routine and a fix cannot be achieved within the above timescales, or that the expected timescale is lengthy and/or additional compressors are out of action, ESFRS may request that the successful supplier provide a standby compressor within 72 hours.

  - The cost for this will be additional to normal contract costs and be detailed in the pricing section but it must include supply, delivery, installation (including an air purity test) and the subsequent removal of the compressor when it is no longer required.

Replacement, Reduction or Additional Compressors

  - There are no planned compressor replacements expected during the term of this contract however should one be required, we would expect the successful supplier to be able to source, provide and install a new compressor, while de-activating, removing and disposing of the old compressor.

  - The cost for this service will be requested within the pricing schedule. The price declared will be all inclusive and fixed for the length of the contract, so you must make sure you allow for any increased costs within the price bid.

  - In the event we wish to increase the number of compressors in use, we would expect it to be treated in the same way as a replacement compressor and the price quoted to be the same.

  - For servicing and APT’s for an additional compressor we would expect our annual cost to be the same as for other sites and our costs would rise accordingly. Where your bid determines a different cost for each site, we would negotiate to determine the cost for the new compressor but would expect it to be reflective of the closest site to the new compressor.

  - Where we permanently remove a compressor from use, we would expect to see and immediate reduction in the price charged for our scheduled APT’s and a reduction on the next annual servicing round based on the pricing submitted in this tender.

Parts Supply

  - There is an expectation that the Engineers vans will carry sufficient stock to cover all routine requirements, to enable a first visit first time repair. At the very least we would expect to always have available air purity filters, O rings, oil and a couple of repair kits. Where it is a routine fault and stock carried is insufficient and a return visit is required, we would not expect to carry any cost of the additional return visit.

  - Parts supplied must be robust enough for the regular use they get from the Fire Service. For example, replacement hand wheels must be supplied in metal and not plastic as they have been found to be less durable in use. Where options exist, you should ensure the cost for more durable parts are included in your pricing. These compressors are important to the Fire Service, and they cannot be regularly unavailable due to the failure of poor quality replacement parts.

  - ESFRS currently hold a small local stock of parts such as hoses and filters. We would look to formalise this requirement with this new contract and would look to the successful supplier providing an imprest stock from which we can draw over the life of the contract.

  - Although the levels can be negotiated, we would look to hold the same items we would expect to see carried on the service vans.

  - Payment for imprest stock used, whether monthly, quarterly or annually can be discussed at the contract commencement meeting and the process agreed to the satisfaction of both parties.

Written Schemes and General Record Keeping

  - We expect the Written Schemes to be up to date at all times and following the annual servicing to be brought up to date within 7 days of the service being complete.

  - These updates should be available to the ESFRS staff who access your written schemes within the same time period.

  - We would expect a single hard copy of the relevant Written Scheme to be stored with each compressor.

  - The Written Schemes should identify life limited parts that require changing before the next annual service and where they are due to expire before the next service, must be replaced at the service preceding their end of life. These parts should be on the service van when it arrives to service and not identified during the service, and ordered for subsequent fitment. Additional service visits should be avoided.

  - We expect the supplier to identify ahead of time parts that require replacement and not to rely on ESFRS staff notifying a part requires replacement.

  - Where one exists, we require access to any electronic platform you use to review work carried out at each sites. The electronic records should include; next schedule site visit, completed inspection sheets and part quotations. Where this is not available electronically a manual equivalent must be available.

  - Where held electronically, we must be able to download the data into some standard format we can use and hold.

Invoicing

  - ESFA along with our East Sussex County Council partner, have just moved to an Oracle Fusion finance platform. As we implement in phases things may change and the following may need to be amended. For example, Oracle has its own supplier portal and when working you may be required to access it for us to make payment to you.

  - We envisage that work will be complete in around a four-week period, and we will expect a single invoice for the services provided after completion equivalent to the sum bid. Prior to that a purchase order will be raised and issued to you o facilitate payment.

  - Invoices that do include the relevant purchase order number(s), may be returned but will almost certainly incur a delay to payment.

  - Payment will be by BACS and invoices shall be paid within 30 days in accordance with the Terms and Conditions.

  - Invoices must be sent by email, in PDF format to: finance@esfrs.org unless otherwise instructed.

Section 5    Technical and Quality Questionnaire

- Explanatory notes

- Please read this document carefully before preparing your response, as the information disclosed will form the basis of any agreement. If it is subsequently determined that any information supplied was inaccurate or false, the East Sussex Fire Authority reserves the right to terminate the contract.

- Please answer all questions.

- Any questions relating to this questionnaire or to the tendering process, must be referred via the InTend portal detailed in section two. All clarification questions will be logged, and written responses provided to all Tenderers, however the identity of Tenderers raising the question will remain confidential.

- Please complete these questionnaires and return this, and your response, in MS Word format, via the Portal.

- The Questionnaire

- All questions must be completed. Each answer is a statement of fact and it must be accurate and if need be, should be supported by supplementary cross-referenced evidence.

- It is the Applicant’s responsibility to ensure the Authority is not misled and to keep the Authority informed of any matter that may affect the Applicant’s continued qualification.  The content of this application and any subsequent submissions shall remain confidential and restricted only to those with a legitimate professional requirement to access this information.

- Freedom of Information

- The Freedom of Information Act, which came into effect on 1 January 2005 means that all individuals will have the right to any recorded information held by public authorities unless covered by one of the 23 exemptions, which protect certain information.  This right is retrospective regardless of the date the information was generated and must be provided within 20 working days.  Any information held by the supplier relating to the Authority will be subject to the Act in the same way as information held by the Authority.

Technical Questionnaires

Your tender will be rejected in you are found to be an excluded supplier, any of your key sub-contractors are an excluded supplier or relevant persons to you, or your key sub-contractors are excluded persons as defined within the Procurement Act 2023.

  - Insurance and Financial Standing

| Question | Answer |
| --- | --- |
| Do you (and any relevant sub-contractors or consortium members) already have, or can you commit to obtaining, prior to the commencement of the contract, the levels of insurance cover indicated below: Employer’s (Compulsory) Liability Insurance = £10m Public Liability Insurance = £7m Copies of your current Insurance Certificates will be requested from the successful Applicant before Contract Award. They will require to be submitted annually thereafter on the anniversary of the contract. | Yes/No |

East Sussex Fire Authority will be required to complete exclusion checks and may conduct additional financial checks before contract award. Where a financial check raises concern, we will look for assurances that you will be able to provide a service through the whole contract term.

5.2	Company Background and Information

- In this section you should cover in a general way, the background to who you are, what you do and details like your registered address and company number, or legal entity. You should focus your response on how your company will meet the requirements contained within Section 3 – Background and Section 4 – Specification above and which are not covered in your responses to the questions below.

| Company Name |  |  |
| --- | --- | --- |
| Address |  |  |
| Registered Address (if different from above) |  |  |
| Company Registration Number |  |  |
| If you are not a Limited Company, what is your legal status |  | Sole Prop/Partnership/etc |
| Are you and SME? |  | Yes/No |
| Public Procurement Organisation Number - CDP Identifier |  | (12 digits) |
| Main Contact |  |  |
| Contact Telephone |  |  |
| Contact Email |  |  |
| You may add below any details not covered in the above or your answers to the questions below, that you think are relevant that we should know. Keep it brief as it is only background information and will not aid the response. You need not complete anything bit if you do keep it to this page. |  |  |

  - Quality

Please answer the following questions either yes or no only. To reduce the burden on suppliers, we are not requesting you supply any of the following supporting documentation at this stage however it is likely you will have to supply it, before a contract is signed. Where you then fail to do so or we deem the response to be at an unacceptable standard, the contract may not proceed to conclusion.

| Question | Response |
| --- | --- |
| Do you hold an ISO 9001: 2008 certificate or an acceptable equivalent? |  |
| Do you have a Health and Safety Policy? |  |
| Do you have an Equal Opportunities Policy? |  |
| Do you have a Code of Ethics? |  |
| Do you have an Environmental Policy? |  |
| Do you have a Business Continuity Plan? |  |
| Has your Business Continuity Plan been updated in light of the pandemic? |  |
| Can you provide Hazardous Waste Disposal Certificates? |  |
| Do you meet our insurance requirements? |  |

  - Quality Response

The following questions are designed to ensure you understand our requirement and you can provide the service required. You should complete them all fully. They are not scored as price is the only determinant, but they will be used by us to assess your capability to provide the service in a pass/fail approach.

If we are not satisfied you can provide the service based on your responses, your price bid will not be evaluated. The decision of East Sussex Fire Authority to reject a price bid is final.

Q1. What levels of stock will you hold to ensure that we are satisfied you will be able to source what we need in a prompt manner. Detail also how that will translate into what will be available on the Engineers Service Vans and what held centrally? Where it is held centrally, detail how it will reach us and how long it will take and confirm we will not be responsible for any cost relating to the return Engineer visit.

Q2. Please detail how you will resource the contract and ensure only trained and qualified engineers work on high pressure systems. Please explain how you ensure they maintain competency and/or qualification and confirm you will be able to meet the requirement of supplying those details to us on contract award

Q3. If you plan to sub-contract any of this service, please indicate what and to whom. Detail how you manage sub-contractors to ensure they maintain the level of service required, how they will be inducted to work on our sites by you and how we will identify them as representatives of your company when they are on our sites.

Q4. Provide details of how we will contact you to request repairs and what you will do once we have.

Q5. Please detail how you would mobilise for the contract, including your approach to equipment familiarisation, account set-up and communication of processes and how you will continue to meet all our requirements through the life of the contract.

Q6. Maintaining validity of written Schemes, having quick access to these records and service/inspection reports applicable to each compressor is important to us to ensure the compressor is fit and safe to use. Please detail your approach to record keeping and management information. Your response should cover; updating the Written Schemes, logging repair work carried out on equipment, recording compressor use and how we will gain access to service reports, inspection reports and copies of written schemes.

Due to several factors including the Procurement Act 23 and Government Public Procurement Notices, all Public Authorities issuing contracts must ensure that the suppliers that receive those contracts are acting with Social Value principles at the heart of what they do. Some examples of how this might be demonstrated are given in 1.24 of Section 1 although these are not comprehensive.

Where this section had been scored it would have been worth a minimum of 10% of the marks available. As it is not, we are expecting responses that indicate you understand the social value requirements that must be adhered to for public contracts and that you are employing them.

Q7. Provide details of Social Values initiatives you may be involved with particularly how you tackle economic inequality in your local area.

Q8. Provide details on your total number of employed staff, the number of those being paid the national minimum wage and/or the number on the national living wage.

Q9. Provide details on your payment performance over the last calendar of financial year. The number of invoices paid, and the number paid with 30 days of their receipt.

At present we use Draeger cylinders with right angle valves. ESFA have recently approached the market to refresh their provision of self-contained breathing apparatus as it has reached end of life. An alternative provider has been successful meaning we will need to change our equipment throughout the life of this contract.

Subsequently during the first year of this contract we expect to have the compressors at training centre fitted with components (whip hoses) suitable for both types of cylinders (Draeger and Interspiro). As the whip hose ends are proprietary to each cylinder type, we will likely have to have both types fitted and in operation while the service trains its staff ready for operational use in the following year.

We may also require the successful bidder to attend a contract management meeting with the new breathing apparatus supplier to discuss in a collaborative manner to understand if any adjustments are required for our compressor systems, other than fixtures and fittings.

As the successful supplier, please confirm below that you have an understanding of what we are looking to do, detailing any experience with supporting customers in change management , and would be able to work with us to review this area. It does not need to be detailed at this stage, but just enough to indicate to us that you understand the requirement

Section 6 – Pricing Schedule

This section will require completion on a separate MS Excel spreadsheet to ensure fewer calculation errors are introduced. The detail provided below is for information to aid you in the completion of the spreadsheet and must be read in conjunction with it.

All pricing should exclude VAT.

Prices shall be firm for the contract period.  Please ensure your price includes anticipated labour and material cost increases accordingly, as there will be no allowance for adjustments.

All rates and prices should include and make allowance for all overheads, incidental and subsistence costs and travel to site mileage and time costs. Rates entered will be for time on site only. All travel costs, accommodation costs and time spent off site are deemed to be included within the rate.

We expect suppliers who bid for this contract to provide all the services required in the specification above at the rate specified in their response to the questions below whether that is achieved by their own employed staff or by sub-contracted or self-employed associated entities.

The numbers or quantities given are purely indicative to enable cost comparison.

For the purpose of rate determination, Normal Working Hours are deemed to be:

08.00 to 17.00 	Monday to Friday

You should check your submission carefully, both to see that the tables are correct in their addition and that you are pricing costs as requested.

East Sussex Fire Authority reserves the right:

- to amend pricing bids where any obvious arithmetical errors have been made;

- to reject bids where the supplier completes pricing in a format other than directed and we consider it is not clear how to extrapolate to the correct format;

- to reject bids where the pricing submitted is contradictory, unclear what it relates to or does not refer to the tender specification.

East Sussex Fire Authority may not seek clarification from you on pricing. We will amend if it is clear how to do so and reject your bid if we believe there is any ambiguity.

The decision of East Sussex Fire Authority to either amend or reject a price bid is final.

Do not complete pricing here. Complete in the alternate document supplied for this purpose.

6.1 	Annual Compressor Servicing

Please detail below the cost to provide the servicing as covered in the specification detailed above. You must ensure you include all costs as specified are required, including all replacement parts, lubricants and subsequent air purity testing and take account of the directions given at the start of this section in this section. The figure stated here will be inclusive of all requirements for an annual service:

| Site | Annual Service Cost |
| --- | --- |
| Preston Circus Fire Station | £ |
| Eastbourne Fire Station | £ |
| Hastings Fire Station | £ |
| Hove Fire Station | £ |
| Uckfield Fire Station | £ |
| Service Training Centre, Maresfield – Compressor 1 | £ |
| Service Training Centre, Maresfield - Compressor 2 | £ |
| Annual Total | £ |

6.2	Cost to Provide Air Purity Testing

Please detail below the cost to provide the Air Purity Testing as covered in the specification detailed above. You must ensure you include all costs as specified are required, including the fitting of replacement filters or parts identified as being required and take account of the directions given at the start of this section:

| Site | Annual Service Cost |
| --- | --- |
| Preston Circus Fire Station | £ |
| Eastbourne Fire Station | £ |
| Hastings Fire Station | £ |
| Hove Fire Station | £ |
| Uckfield Fire Station | £ |
| Service Training Centre, Maresfield – Compressor 1 | £ |
| Service Training Centre, Maresfield - Compressor 2 | £ |
| Annual Total | £ |

6.3	Plant and Materials – Specified

Please supply below the cost for some specific commodities we are likely to require during the term of the contract. The numbers quoted, while they may be indicative of our requirement, in this instance are for comparison purposes only. They should not be relied on as being a fixed requirement.

The total cost in the following table will be considered as part of the pricing for evaluation. Every part must be priced.

|  | Number Required | Price Per Item | Total Cost |
| --- | --- | --- | --- |
| Flexible Charging Hose | 10 | £ | £ |
| APT Filter | 20 | £ | £ |
| Carbon Filter – Oily Water Separator | 10 | £ | £ |
| Oil Filter | 5 | £ | £ |
| Pull Bleed Valves | 5 | £ | £ |
| Ad-Hoc Air Purity Test – on site | 6 | £ | £ |
| Ad-Hoc Air Purity Test – lab tested | 3 | £ | £ |
| Total Cost for Materials and Plant |  |  | £ |

6.4	Plant and Materials – Unspecified

For parts and plant not directly specified above, please indicate what your mark-up will be for any other thing supplied to us:

|  | Cost for Evaluation | Mark up Applied | Mark up cost (Cost x %age) | Total Cost (Cost + Mark-up Cost) |
| --- | --- | --- | --- | --- |
| Materials supplied | £15,000 | % | £ | £ |
| Plant supplied | £5,000 | % | £ | £ |
| Total Cost for Materials and Plant |  |  |  | £ |

6.5	Responsive Repair Cost

For the purpose of rate determination, Normal Working Hours are deemed to be:

08.00 to 17.00 	Monday to Friday

We would only expect attendance during these hours and never on a Bank Holiday.

All rates and prices should include and make allowance for all overheads, incidental and subsistence costs and travel to site mileage and time costs. Rates entered will be for time on site only. All travel costs, accommodation costs and time spent off site are deemed to be included within the rate.

Call out visit to repair a fault – Arrive within 48 hours

|  | Hours for Evaluation only | Rate per hour/ attendance Applied | Total Cost (rate x hours) |
| --- | --- | --- | --- |
| Call out Charge (to include one hour on site) – Normal working hours | 30 hours | £ | £ |
| Rate per subsequent hour – NWH | 20 hours | £ | £ |
| Total |  |  | £ |

|  | Total Cost |
| --- | --- |
| Total cost from 6.1 | £ |
| Total Cost from 6.2 | £ |
| Total Cost from 6.3 | £ |
| Total Cost from 6.4 | £ |
| Total Cost from 6.5 | £ |
| Total Price for Evaluation | £ |

The following sections do not form part of the price for evaluation, other than any element of 6.9 we deem applicable. They are being requested for contractual purposes only and will form the fixed price in any subsequent contract created.

6.6	Replacement Compressor

Should we have to replace a compressor during the period of this contract, and we asked you to source, supply, install and remove the current compressor, please provide the price you will charge. Replacement compressor has to meet or exceed the specification of the outgoing compressor. Where you have alternatives you may propose as many as you wish. This must be a total cost inclusive of everything.

| Model Proposed | Total cost to supply and install |
| --- | --- |
|  | £ |
|  | £ |

  - Temporary Replacement Compressor

Where following a call out to repair a faulty functioning compressor or a non-functioning one, it cannot be achieved within the timescales set in the Call out for Repairs section of the specification above, you may be asked to provide a temporary replacement compressor while the necessary parts are sourced or a decision to replace is taken.

Please provide the cost to supply a temporary compressor for a fourteen-day period which starts from the point the temporary compressor is functional on site. This cost must include everything you would expect to charge for this provision including but not limited to, delivery, installation, air purity tests once installed (2 as per annual service) and also the removal and make good at the end of the requirement. We also require an ongoing subsequent weekly cost should it need to be in situ longer than 14 days. This would only be payable if the compressor was unable to be fixed and we delay the decision to replace. If the requirement beyond 14 days is to source a part that should be available, subsequent weekly costs will be borne by the supplier.

| Description | Cost |
| --- | --- |
| Temporary Replacement Compressor for 14 days minimum - Delivery, installation, tested and subsequent removal | £ |
| Temporary Replacement Compressor for 1 month minimum Delivery, installation, tested and subsequent removal | £ |
| Cost per subsequent 7-day period (or part thereof) | £ |

  - Movement of a Compressor

Where following a supplier supported review, or local decision made following an accommodation change, it is decided to move a compressor from one site to a different site in our geographical area, we require a price for that move. The price quoted should include the cost to disconnect the current compressor, load, transport and unload and to reconnect it at the new site and do a subsequent check, including replacing anything damaged in transit up to and including a full service and the air purity tests required on an annual service. This should be a fixed sum and not refer to being variable depending on the mileage travelled.

| Description | Cost |
| --- | --- |
| Movement of a compressor from one FRS site to another FRS site | £ |

Please define below what you would expect to be available on the new site when the compressor arrives for this price to be met. This may be a simple as a hard standing able to support a fixed kg weight and a 240V electrical outlet or it may be more complex.

Description

  - Additional Costs

Please specify below any other costs you may expect to charge as a result of this contract that is not included above. If not detailed somewhere in this section 6, we will not expect to pay it if invoiced after contract award. If we deem a cost stated below should actually form part of the overall contract cost, we will add that cost to the price bid for evaluation. An example of this might be an annual sum to provide the administrative function of a call centre, where we would expect that to be included within the costs quoted. You can add as many lines as you require.

The Authority’s decision on what forms a contract cost for evaluation purposes is final.

| Description of Cost | Actual cost or cost per a period (specify period) |
| --- | --- |

QUALIFICATION OF OFFER Responses will be accepted on the basis that the bidder fully complies with the East Sussex Fire Authority terms and conditions of contract as set out below, for the full duration that this contract will be in force. Any insistence by the bidder that a ‘qualification of offer’ shall prevail, that ESFA finds unacceptable, will give cause to reject the bid. Please delete A or B as appropriate: - I/We do not wish to make any qualification(s) to offer. - I/We wish to make the following qualification(s) to our offer

BIDDERS DECLARATION

– Do not sign here but ensure you sign submission document.

When you have completed your response to this questionnaire you must certify below that the information provided in the response is complete and accurate.

- I/We certify that the information is accurate to the best of my knowledge.

- I/We understand and accept that false information could result in exclusion from the tender process and that it is a criminal offence, to give or offer any gift or consideration whatsoever, as an inducement of reward to any servant of a Public Body.

- I/we also understand that any such action will empower the Authority to cancel any contract currently in place and could result in exclusion from all future Authority tenders.

- I/We, the undersigned do hereby contract and agree on acceptance of this Further Competition, in whole or in part, to perform the Services, at the prices and terms quoted.

- I/we accept the conditions of contract set out in the Invitation to Tender, to which this tender is my/our response, and I/we undertake to perform any contract awarded as a result of this Tender in strict conformity with those conditions of contract.

- I/We understand that East Sussex Fire Authority is not bound to accept any Tender it receives.

- Unless and until a Contract is prepared and executed, this tender, together with your written acceptance thereof, shall constitute a binding contract between us.

Signed ………………………………………………….     Date ……………………………………….

Name (please print):

Position:

Company:

Address:

Telephone: ……………………………………………………………………………………….………

Email: ……………………………………………………………………………………………….…….

Section 7   Guidance for Suppliers Working on ESFA Premises

- INTRODUCTION

All sites will meet the requirements of current legislation to ensure that any approved companies or individuals not employed by East Sussex Fire Authority (ESFA) but required to enter ESFA sites for the purpose of work shall be subject to such controls and conditions which ensure that they meet appropriate standards of conduct before commencing and during any such works

It is the responsibility of every Supplier engaged by ESFA to ensure that, prior to commencement of and during any works, the East Sussex Fire and Rescue Service (ESFRS) Contracts Manager or Premises Representative has provided the Supplier and his employees the appropriate information regarding the works and how to meet the current minimum standards of safe conduct required by ESFRS Policy.

This document outlines the safety requirements for Suppliers on ESFRS Sites. Failure to observe the safety rules contained in them may result in work being halted. Your health and safety performance will be monitored throughout the period of the works.

- GENERAL REQUIREMENTS

- When working on a fire station, the Supplier must be aware of what happens when an emergency call is received. The Supplier must be able to recognise the turnout alarm and know what to do whilst crews are responding to the alarm and turning out.

- The Supplier shall ensure that all work under the contract is carried out in accordance with the relevant statutory provisions and with ESFRS policies in relation to Health and Safety, Management of Suppliers, Environmental Protection and the requirements of these instructions and the best practices of the trade.  They shall be responsible for the safety of, and control of risks to health and the environment arising from, any article, plant, substances or premises which he owns, hires or has possession of, whilst on site.

- All Suppliers are required to carry out contracts and use plant and equipment in accordance with statutes and practices designed to ensure the safety and freedom from risks to the health of their Subcontractors and ESFA employees, agents or visitors and the quality and safety of the product.

- No permission, consent or information given by or on behalf of ESFRS shall, in any way, relieve the Supplier of his liability under criminal or civil law.

- SPECIFIC HEALTH & SAFETY REQUIREMENTS

ALCOHOL

There is a strict ‘No Alcohol’ policy on our premises. Visitors and Suppliers may neither bring alcohol onto, nor drink it within our site boundaries.

ASBESTOS

ESFRS will indicate to the Supplier the known presence of asbestos using the Site Asbestos Register.

A number of our premises have asbestos containing materials (ACM’s) within their construction. All our premises are clearly labelled as either containing asbestos or being asbestos free, by prominent signs on the entrance to the premises. Where practical the ACM’s are labelled, and in all cases an extract of the Asbestos Register and safety information is included in the Suppliers manual at each site and in specific induction packs. If the Supplier or sub-contractor is in any doubt, do not start work.

If the Supplier discovers asbestos or any material that is suspected of containing asbestos then work must cease immediately and a report made immediately of the circumstances to ESFRS. Any work involving removal or disturbance of asbestos or any article or substance containing asbestos shall be carried out in accordance with ESFRS policy and statutory requirements by a licensed Supplier agreed by ESFRS. The Control of Asbestos Regulations 2012 apply.

COMPRESSED GAS CYLINDERS:

Gas cylinders present a range of hazards from that of falling over to causing fires and explosions. Suppliers must ensure that they are used safely as per the safe working practices set out by HSE. Cylinders containing flammable gases or oxygen must be removed from any building to an approved location, when not in use. The Dangerous Substances and Explosive Atmospheres Regulations and Control of Substances Hazardous to Health Regulations 2002 apply.

COMPANY PLANT AND EQUIPMENT:

Contractor’s employees must not interfere with ESFRS plant and equipment unrelated to work under the contract. Other than fire alarms and emergency equipment, no person shall use any plant or equipment owned by ESFRS.

Where plant and equipment has to be dismantled, guards removed or safety systems made inoperative as part of the contract work, the Supplier must ensure that such plant and equipment is properly isolated or otherwise made safe before starting work and that the appropriate authorisation is in force in accordance with ESFRS Rules.

On completion or suspension of such work, the plant and equipment must be made safe either by secure isolation or reinstatement of guards and safeguarding systems. All guards and safeguarding systems must be reinstated before the plant and equipment is returned to use.

CONFINED SPACES:

The Supplier must not permit his employees to enter any confined space including any chamber, tank, pit, pipe, flue, silo, storage bin, unless a Permit-to-Work system in accordance with ESFRS procedures is being followed. The Confined Spaces Regulations 1997 apply.

In addition to all other requirements, a second person must always be present during work in a confined space as identified in assessment and safe systems of work (no lone working permitted).

CONSTRUCTION, DESIGN AND MANAGEMENT (CDM):

The Construction, Design and Management Regulations 2015 (CDM) apply to this contract.

CONTRACTORS’ EMPLOYEES:

The Supplier must ensure their employees and any Subcontractors appointed by them are competent to carry out and/or manage the work required of them effectively and safely. Supervisory staff must be nominated to ensure that work is being carried out in a safe and satisfactory manner at all times. Suppliers should ensure that employees are familiar with ESFA site fire, emergency and security procedures, have been inducted and have signed a copy of the ESFRS Rules for Suppliers and Service Providers. Non ESFA Employees/Contractors/Sub-Contractors are not allowed to enter areas other than those where the work necessarily takes them and the welfare facilities agreed may be used.

The Supplier shall provide their employees with all protective clothing and equipment required by legislation and Company rules including but not limited to:

- Safety helmets, safety boots and High-viz jackets.

- Eye protection for employees carrying out chipping, sanding, grinding, welding or dividing materials and similar operations.

- Approved breathing apparatus and respirators for employees exposed to dangerous fumes, dusts, fibres or lack of oxygen.

- Ear protection where employees are working within designated ‘Ear Protection Zones’ or using noisy equipment.

The Supplier shall ensure that protective clothing and equipment is maintained in good order and is used by his employees.

CONTRACT MATERIALS:

The Supplier must ensure the safe storage of all substances, materials and articles brought to site.  All materials must be properly stacked in areas which do not obstruct free movement around the site. No highly flammable liquids and liquefied petroleum gases may be stored except in areas approved by ESFRS.  Flammable materials must not be stored in any position where they would prejudice the safety of any means of escape in case of fire.

ESFRS must be informed of all substances brought on site which may be hazardous to health as defined in the Control of Substances Hazardous to Health Regulations 2002 and also of any operations which may result in the production of hazardous substances. These substances and operations shall have been subject to an assessment of risk as required by the Regulations. Where this has not already been done or because the particular circumstances of use make it necessary a risk assessment must be carried out before the substance(s) is used.

CONTRACTORS PLANT AND EQUIPMENT:

The Supplier must ensure that all plant and equipment brought to the site is in a safe condition and complies with statutory requirements applying to its use, particularly in respect of any requirements for periodic examination. Suppliers’ employees should be sufficiently trained, experienced and competent to operate the equipment they use.  ESFRS reserves the right to examine plant and equipment brought to the site to determine its fitness for use.

- No plant or equipment producing a noise level in excess of 85dB(A) shall be used on ESFA premises without written permission.

- No plant, equipment or machine driven by internal combustion may be used within any ESFA building, unless effective exhaust ventilation to the outside air is provided.

- All electrical equipment brought on site must be serviceable and free of any fault and have a PAT test certificate displayed at all times. All portable tools shall operate, wherever practicable, at a maximum of 50 v.a.c. In exceptional circumstances, where higher voltages are necessary, then any cables and devices shall be protected by a Residual Current Device at the source of supply.

- No cartridge operated tools equipment may be used without prior consent from ESFRS.

- All air receivers used on ESFA premises shall comply with the requirements of legislation in respect of cleaning, examination, marking and safety measures.

- The Supplier shall provide sufficient lifting tackle and appliances, certified, tested and marked in accordance with legislation and of adequate capacity to handle any loading involved in this operation. Reports on the testing of lifting equipment and air receivers shall be made available for ESFRS inspection, if requested.

- Supplier’s materials, plant or equipment shall be safely and securely stored and not obstruct any access or exit, gangway or other area where ESFA employees or visitors have to work or pass.

CONTROL OF DUST AND FUMES:

No stationary internal combustion engine may be used in any enclosed or confined space unless satisfactory arrangements have been made either to conduct exhaust gases into the open air or to provide adequate ventilation so as to prevent a dangerous concentration of fumes and gases.

The Supplier must effectively control or counteract the creation of dust, fumes or any other hazardous emission that could be injurious to health or the environment. Suppliers are reminded of their duties under the Control of Substances Hazardous to Health Regulations 2002.

DANGEROUS OCCURRENCES, INCIDENTS AND INJURIES INCLUDING NEAR HITS:

If an accident of any kind occurs, or if any incident takes place which could be dangerous or cause injury; the individual concerned must ensure that this is reported to the ESFRS Contract Manager/ Competent Person or Premises Representative immediately, who will then ensure the appropriate ESFRS hazard or safety event report is completed.

The Supplier is responsible for reporting any fatal, major or other Reportable Accidents under the RIDDOR Regulations, although ESFRS reserves the right to do so in addition to the Supplier and also to carry out an investigation. Supplier Employers’ Liability incidents on site should be reported to the ESFRS Contract Manager/Competent Person or Premises Representative. The Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 2013 apply.

ELECTRICAL EQUIPMENT:

All electrical equipment used by the Supplier on site must comply with the requirements of regulations applicable to its use. The written approval of ESFRS will be required for the use of the ESFRS electricity supply or any installation, extension, modification, maintenance, repair or testing of the ESFRS electrical systems or equipment.

All electrical equipment must be suitable for the purpose for which it is to be used, particularly in respect of exposure to water, dust and flammable vapours. Electrical leads must be properly earthed and kept as short as possible. Earth leads to welding equipment should be connected within 10m of the welding site. The open circuit voltage of any welding set must be limited to 40v. All work on electric and electronic equipment, carried out in pursuance of the contract, shall be undertaken by competent personnel. Letters of accreditation must be available if required.

The Supplier is responsible for familiarising himself with the requirements of all relevant legislation, including the current edition of the IEE Regulations.

EXCAVATIONS AND OPENINGS IN FLOORS:

The Supplier must ascertain the position of all services below ground before any excavation work begins. Any damage must be reported immediately to ESFRS. The Supplier should not regard any information provided by ESFRS about any underground services as conclusive as to their presence or absence in the vicinity of the excavation.

Where the excavation or other work creates an opening in a floor, the edges of the opening shall be fenced except in so far as the nature of the work renders this impracticable. During excavation work the surrounding areas must be maintained in an orderly and tidy condition. Notices and, where appropriate, warning lights should be posted by the Supplier to warn personnel of the presence of an excavation or opening in floor.

Excavations must be inspected and recorded by an experienced and competent person, before work starts, at least once a day, before each shift, every 7 days and after blasting or substantial damage. When backfilling after any excavation, warning traces must be inserted at least 0.3m (1'0") above the buried service indicating the type of service below.

FIRE PRECAUTIONS:

The Supplier must ensure that his employees are familiar with the action to be taken in case of fire, and ESFRS Emergency Evacuation procedure as explained by the ESFRS Contract Manager; Competent Person or Premises Representative. The Supplier shall be responsible for maintaining a daily register of all his employees and Subcontractors for the purposes of accounting for personnel in the event of an evacuation. The Supplier must ensure that all personnel sign in to the station visitors log at reception.

Any fire, however small, occurring on ESFA premises must be reported immediately. The Supplier shall be responsible for the provision of firefighting equipment of a type appropriate to the hazards involved in his operation and for the training of his employees in the use of this equipment as per risk assessments, method statements and permits to work if appropriate. No bonfires are allowed on ESFA premises

Firefighting equipment and appliances provided by ESFRS may be used in the event of an outbreak of fire. The use of any ESFRS equipment or appliance shall be reported to the ESFRS immediately.

No fire alarm or firefighting equipment, including hoses or sprinklers may be disconnected, removed or otherwise rendered inoperable without the prior consent of ESFRS. Fire hoses must only be used for firefighting purposes.

There is a strict ‘No Smoking’ policy on all Authority premises. This also applies to E cigarettes and the charging of these. Visitors and Suppliers are not allowed to smoke within our site boundaries

ESFRS permission must be obtained before any welding, cutting, open flame or spark-producing equipment is used, or any work whatsoever commenced in the vicinity of any container of flammable liquid or gas or any other volatile or powdered substance. Fireproof screens must be provided to safeguard ESFRS property and personnel from sparking and light flash whenever welding, cutting or similar operations are in progress as per risk assessments, method statements and permits to work if appropriate. Where appropriate machinery and equipment must be flame proofed to recognised standards.

FIRST AID:

The Supplier shall provide First Aid facilities for his employees as required by the Health and Safety (First Aid) Regulations 1981. Guidance on Regulation L74

HOUSEKEEPING:

Contractors are expected to maintain a high standard of cleanliness and good housekeeping within their work area.  They must not prejudice housekeeping standards in other parts of the site. They must ensure, particularly, that their employees work carefully and tidily and accumulations of rubbish are removed from work areas, and disposed of off-site or as agreed by ESFA. That gangways, roadways and other access means are not obstructed by storage of materials or rubbish and all hazards are immediately dealt with as they arise. Rubbish must not beburned on site.

HOT WORK:

No flame, arc, spark or heat-producing appliance may be used for any contract work other than with the permission of ESFRS. Such work must be carried out in accordance with a written Permit-to-Work System. (See Part 3 - Permit to Work Procedures).

LADDERS:

All ladders must be inspected for defects before being put into use and subsequently at least weekly.

Ladders must be secure at all times when in use and be stood on firm level ground. They must extend 1.05m (3'6") above the working landing or support and must rise at an angle given by 1m out from the wall every 4m of rise. Ladders must not be left unattended at night or weekend unless they have been rendered unusable. Materials should be raised using a hoist.

NOISE:

The Supplier shall be responsible for making an assessment of the risk from noise associated with all equipment which is brought onto site. The Supplier shall inform his employees, those of any Subcontractors employed by him, and ESFRS of the control measures which he has put in place in respect of any plant or machinery he has brought onto site.

The Supplier shall be responsible for providing instruction to his employees and those of Subcontractors with regard to site control measures and site requirements for the wearing of ear protection.

The Supplier should be aware that the primary control measure is reduction of noise at source. The Supplier shall employ the best practicable means of reducing noise at source and the Supplier shall comply with all statutory requirements with regard to noise. The Control of Noise at Work Regulations 2005 apply.

PERMITS TO WORK:

There are certain operations carried out at sites which are deemed high risk due to the nature of the process and the surrounding area. Examples of the types of work for which permits will be required include:

- Working at height, including on roofs.

- Working in confined spaces, for example, ducts

- Hot work - welding, soldering or cutting using hot flame techniques outside of a workshop area.

- Isolation of or modification to fire safety systems, alarms, etc.

- Live working on electricity supply systems

- Work involving interaction with asbestos

- Work in areas where there is a risk of exposure to hazardous chemicals.

- Excavation and the digging of trenches

When working on the above tasks a ‘Permit to Work’ system will be required (see Permit to Work Procedures below). As part of the agreement on Health and Safety Arrangements for the work, Suppliers must follow the detailed requirements of ESFRS. All Risk Assessments and Method Statements must be received by ESFRS a minimum of 5 days in advance of works commencing on site to ensure prompt issue of the Permit to Work

ROOFS:

ESFRS permission must be obtained before Supplier’s personnel work on any roof other than a roof being constructed as part of the contract. ESFRS rules and procedures must always be followed and a Permit to Work must be obtained. No work may be commenced above the heads of employees before ESFRS permission has been obtained and approved safeguards effected.

The Supplier should ensure that the work will not place his employees in danger of contact with uninsulated electrical conductors unless isolation of circuits or systems is made. Nothing must be thrown from any roof to the ground below, except in circumstances where an acceptable safe procedure is used.

SCAFFOLDING:

All steps to prevent falls must be taken whilst undertaking scaffolding activities. All scaffolding must be erected on a safe foundation, be perpendicular in structure and securely fixed to the building. A safe working platform incorporating guard rails, toe boards or similar must be provided, including the quick assembly moveable type, to prevent falls of persons or objects.  Scaffolding must not be overloaded with stored materials. Hoists and chutes should be provided.

Materials must not be stacked on scaffold platforms above toe-board height, unless fitted with wire guards.  In accordance with NASC recommendations all scaffolders should wear safety harnesses when working. The erection, alteration, dismantling and inspection of scaffolding and working platforms must be undertaken by competent persons and in accordance with HSE Construction sheets. Following erection of the scaffold the competent person must complete an initial inspection of its' suitability and issue a certificate. All scaffolding must be inspected regularly, and the details of each inspection must be recorded. All Supplier employees should be competent for the type of scaffolding work they are undertaking and should have received appropriate training relevant to the type and complexity of scaffolding they are working on.

Employers must provide appropriate levels of supervision taking into account the complexity of the work and the levels of training and competence of the scaffolders involved.

SEGREGATION OF WORK ACTIVITIES:

Where contract work/activity is to be carried out in an area adjacent to ESFRS activities, the Supplier shall be responsible for the erection of barriers and signs prohibiting the entry of ESFRS employees, visitors or members of the public.

SITE HUTS:

No site hut shall be erected without the approval of ESFRS. Lighting and heating in huts must be installed and maintained so that the risk of fire is avoided. Radiant electric heaters are prohibited. The Supplier must provide and maintain sufficient and suitable portable firefighting appliances in any site hut.

TARPAULINS AND OTHER PROTECTIVE SHEETING:

Tarpaulins and other sheet materials used on site must, wherever possible, be flame resistant or treated with a fire-retardant solution.

VEHICLES:

All vehicles, including those not normally used on the highway, must be in a safe condition.  Supplier’s vehicles must comply with Company traffic signs, speed, reversing and parking restrictions at all times. There is a speed limit of 5MPH on all ESFRS premises.

There must be NO PARKING or WAITING in front of appliance bays or turn out areas.

WORKING AT HEIGHT:

The Supplier must ensure that suitable and sufficient access equipment is provided to secure a safe means of access and safe place of work for his and his Subcontractor’s employees in accordance with legal requirements and Permit to Work systems. The Work at Height Regulations 2005 apply.

SITE SPECIFIC HAZARDS:

It is the Supplier’s responsibility to ensure that he is aware of all site specific hazards before he commences work. A list of site-specific hazards will be provided by ESFRS.

- SPECIFIC PROTECTION OF FOOD REQUIREMENTS

CONTROL OF INFESTATION:

The Supplier shall not interfere with or remove any bait point, box or electric insect killer used by ESFA for preventing rodent or other infestation, without permission from ESFRS. The Supplier shall not remove or disturb any sealing, fitting wire mesh or netting used to prevent the entry of rodents, birds or insects into ESFA premises, without permission from ESFRS. Any disturbance of baiting equipment or proofing installations shall be reported to ESFRS immediately.

Any sign of infestation by birds, rodents or insects discovered by the Supplier during the course of his operations shall be reported to ESFRS Contracts Manager/Competent Person or Premises Representative. The Supplier shall ensure that his employees do not encourage any infestation by the indiscriminate use, storage or disposal of food wastes.

Any work involving the disconnection of an underground drain shall ensure that any disused section of drain is removed or effectively sealed to prevent the exit of rodents.

- SPECIFIC SECURITY REQUIREMENTS

SECURITY:

To work at an un-staffed station or site, the Supplier must make specific access arrangements with the contracts manager, competent person or premises representative and must inform our Sussex Control Centre by telephone (0203 1622363) that they are on site. They must sign into the premises using the visitor’s book and similarly book off site and call to say you are leaving.

To work at an occupied site, you must report to the contracts manager, competent person, premises representative or person in charge of the site (Watch Manager for Fire Stations, Estates Officer for Service Headquarters and Caretaker for Service Training Centre) to obtain clearance to start work, and sign into the premises using the visitor’s book.

Visitor’s passes must be worn and kept visible at all times. Upon completion of the work, or at the end of each day, you must inform the person in charge that you are leaving and sign out using the visitor’s book. For work of more than one day’s duration, you must repeat these procedures for each working period.

No opening may be made in an outside wall, or boundary fence unless consent has been obtained sufficiently early to enable special security arrangements to be made.

The Supplier is responsible for the safety of all the Supplier’s plant, equipment and other property. Any watchman, who is appointed by the Supplier, must work in close liaison with ESFRS security service. Special attendance arrangements should be made where work is required to be executed on a weekend, or outside normal working hours.

- SPECIFIC REQUIREMENTS FOR THE ENVIRONMENT

The Supplier will ensure that he and all subcontractors are familiar with and will abide by, the requirements of the following Statutes and derived Regulations where they are relevant to any aspect of the work to be undertaken, including.

- Environmental Protection Act 1990

- Control of Pollution Act 1974

- Water Resources Act 1991

- The Waste (England and Wales) Regulations 2011

- The Hazardous Waste (England and Wales) (Amendment) Regulations 2009

- Control of Pollution (Oil Storage) Regulations 2001

It is the responsibility of the Supplier to refer to the main Statutes and Regulations as required in order to ensure compliance. The Supplier, if required will provide a site waste management plan and will not under any circumstances use any waste storage or disposal facility provided by ESFRS for its own use.  The Supplier will ensure that any waste is separately held and disposed of in accordance with the Environmental Protection Act and associated Regulations.

All required documentation shall be retained for the periods of time stipulated in the Regulations and a copy given to ESFRS. No skip or other waste receptacle shall be located on the site until its position has been agreed with ESFRS.

The Supplier must notify ESFRS designated contact immediately upon the occurrence or near occurrence of any event or incident that gives rise to an emission to land air or water, or an entry to a drain; and take any actions that have been prescribed to minimise the effects of any emission, unless it is unsafe to do so.

The Supplier must not bring onto the site, any soil, rubble, fill or similar material that contains any substance or property that would cause it to be designated as contaminated under the provisions of Statute and Regulation. The Supplier must disclose the quantity and source of all such materials in writing prior to their arrival and ESFRS shall have the right to reject wholly or in part any materials that are or appear to be contaminated upon arrival.  In such circumstances, removal from the site will be the responsibility of the Supplier who will bear the costs of safe transport and disposal.

The Supplier will ensure that any temporary bulk storage facilities (e.g. oil tanks) have secondary containment facilities which are fully compliant with the requirements of the Control of Pollution (Oil Storage) Regulations.  In addition, well equipped spillage control points must be provided, strategically situated where bulk materials, chemicals, paints and solvents are delivered, stored, transferred or used and also secure from access by unauthorised persons.

The Supplier will accept and if required formally acknowledge responsibility for any environmental incident arising from any failure on the part of the Supplier or Subcontractor to disclose relevant information or comply with instructions and guidance issued by way of Section 2 or 3, unless such incident is caused by an act or omission of ESFRS.

The Supplier will notify ESFRS in writing of any necessary changes to the working plan, including any changes of materials, substances or equipment to be used on the site.

PERMIT TO WORK PROCEDURES

- PURPOSE OF PERMITS TO WORK

Permits to work are a formal management system used to control high risk activities. These enable a risk assessment to be made and specify control measures to be put in place in order to minimise risk.

Permits to work will usually be necessary for such activities as maintenance or construction work by external Suppliers or East Sussex Fire & Rescue staff, unless a risk assessment indicates otherwise.

Examples of the types of work for which permits will be required include:

- Working at height, including on roofs

- Working in confined spaces, for example, ducts

- Hot work. Welding, soldering or cutting using hot flame techniques outside of designated workshop.

- Isolation of or modification to fire safety systems, alarms, etc.

- Live working on electricity supply systems

- Work involving interaction with asbestos

- Work in areas where there is a risk of exposure to hazardous chemicals.

- Excavation and the digging of trenches

The intention of the permit to work is to:

- Ensure that the work which is  intended to take place is properly authorised

- Clarify the nature and extent of the work

- Specify which precautions must be taken and which activities are prohibited. Consideration should also be taken of the activities of other parties which may impact on or be affected by the proposed work. These activities may need to be temporarily suspended or modified.

- Indicate the date, time and location that the specified activities may occur

- Ensure that all those persons who have control of or are affected by the activity are aware

- Provide a record of the work, that the specified precautions have been understood and enacted, and that the workplace and or equipment is returned to a safe condition.

- PREPARATION FOR PERMIT TO WORK

The process for drawing up a permit to work is described here.

The permit must be drawn up by an ESFRS member of staff who has arranged for the work to take place and/or the person who is supervising the work. They will

- Obtain and read Supplier’s method statement and risk assessment for work to be undertaken and challenge the Supplier if these are considered to be insufficient

- Determine if the work to be carried out requires a permit to work. This will be the case if it is of the type described as above, unless a risk assessment indicates that it is already a low risk activity. Other high risk activities, which are not listed above may also require a permit to work.

- Determine the type of permit that is required. Blank permit templates exist for the following types of work, work at height, work in confined space, hot works, modification to fire safety systems or security alarms, live working on electricity supplies, works involving asbestos, excavations or digging of trenches, work risk of exposure to hazardous chemicals and for unspecified activities.

- Gather the relevant information in relation to the work, including the intended starting time and date, the anticipated duration, job location, plant identification a description of the task duration, and the names of those carrying out the work.

- Inspect the intended location of the work. Considering the method statement, determine any additional measures or actions that are required in order to minimise risks associated with carrying out the intended task(s) at this location. This may include isolation of services such as electricity, or gas.  In order to determine the necessary actions, it may be necessary to call upon the expertise of others who are familiar with the location or the activities to be carried out. Other adjustments may need to be made before the work commences.

- Determine a date, time and duration for the work to take place. The allocated duration should be sufficiently long enough to enable the job to be carried out in a satisfactory fashion.

- PERMIT TO WORK

- The permit to work will have a reference number which should be in a format such as Site/Date/ Initials of issuing member of staff & permit no. For example (Barcombe – 12/10/19-MC-07)

- All relevant information (location of work, type of work, tools to be used, safety measures and precautions to be taken) should be included on the Permit to Work.

- The designated start and finish time of the works will be indicated. A separate permit must be drawn up and issued for each day of works.

- In order to grant permission for the work to be carried out the Permit to Work must be signed by the ESFRS member of staff who is supervising the work. Section 9 of the permit.

- Prior to the works commencing, the ESFRS member of staff supervising the work will clarify with the Supplier the precautions that are required to be carried out, as detailed in the permit.

- The permit will be issued to the Supplier carrying out the work, who will sign the permit to confirm that they, and those under their control, will adhere to the conditions and requirements described in the permit. Section 10 of the permit.

- A copy will be retained by the person with responsibility for managing the project/ supervising the works.

- The permit will be displayed in a visible location at the place of work, during the time at which the work is taking place.

- When the work is complete the Supplier will return the site to a safe and tidy condition and will sign the permit to indicate that the works have been completed. Section 11 of the permit.

- The signed off form will be returned to the person within ESFRS who signed the permit, who will cancel the permit and complete section 12 of the permit.

- The permit will be retained for a period of at least 12 months.

- If the job for which a permit was issued is not completed within the time designated by the permit, it will be necessary to either extend the duration of the permit, if it is safe to do so (i.e. on the same day of issue), or issue a new permit for another period of time. The ESFRS member of staff supervising the work will agree and implement the appropriate action.

- GUIDANCE FOR PERMIT ISSUING FOR SPECIFIC TYPES OF TASK

Working at heights, including roof access:

A permit to work will be required if a risk assessment carried out following examination of the Supplier’s method statement indicates that there is a risk of a hazard such as a fall from height, a fall of an object from height, exposure to radiation or hazardous fumes or any other significant hazard. In which case the measures taken to minimise the risk will be indicated in section 4 of the permit.

Confined spaces, including duct:

Whenever possible, the need to enter confined spaces should be avoided, alternative methods should be considered to undertake the task. Entry by a person should only be undertaken if there is no reasonable alternative.

A confined space is defined as ‘any place, including any chamber, tank, vat, silo, pit, trench, pipe, sewer, flue, well or similar space in which, by virtue of its enclosed nature, there arises a reasonably ‘foreseeable specified risk’.

Confined Spaces Regulations 1997

Health and Safety Executive ACOP Safe Work in Confined Spaces

Foreseeable specified risks include (but not limited to):

- A lack of oxygen.  This can occur:

- Where there is a reaction between some soils and the oxygen in the atmosphere.

- Following the action of groundwater on chalk and limestone which can produce carbon dioxide and displace normal air.

- Inside steel tanks and vessels when rust forms.

If a risk assessment indicates that the oxygen level may be low, arrangements should be made to measure the oxygen level at the place of work within the confined space, before entering. The confined space must not be entered unless the oxygen level is in the range 19.5 to 23.5%. Details of the appropriate measurements, and results, if necessary, will be given in section 3 of the permit.

If the oxygen levels are below 19.5% it may be appropriate to permit suitably trained personnel to enter the confine space using an appropriate form of breathing apparatus.

Details of the methods to be used will be given in section 4 of the permit.

- Poisonous gas, fume or vapour.  These can:

- Build-up in sewers and manholes and in pits connected to the system;

- Enter tanks or vessels from connecting pipes;

- Leak into trenches and pits in contaminated land, such as old refuse tips and old gas works.

If a risk assessment indicates that there is a reasonable possibility that poisonous or asphyxiating gases may be present, appropriate steps must be made to measure their concentration, before entering the confined space. Details of the appropriate measurements, and results, if necessary, will be given in section 4 of the permit.

If dangerously high levels of a poisonous or asphyxiating gas are found to be present, it may be appropriate to permit suitably trained personnel to enter the confined space using an appropriate breathing apparatus. Details of the methods to be used will be given in section 3 of the permit.

- Flammable materials

Entry to the confined space should be prohibited if a risk assessment indicates that there is a reasonable possibility that there may be flammable liquids or vapours present which may give rise to a fire or explosion.

- Entry of materials

Entry to the confined space should be prohibited unless the possibility of the entry of liquids and solids which can suddenly fill the space, which may result in a person being drowned, asphyxiated or otherwise injured, has been eliminated. If it is necessary to put such isolations in place, these will be indicated in section 4 of the permit.

- Heat

If a risk assessment indicates that hot conditions may exist which could lead to a dangerous increase in body temperature, appropriate steps will be taken, for example, limiting the exposure time, in order to minimise the risk of injury. The appropriate steps will be indicated in section 4 of the permit.

- Means of escape or rescue

The means by which a person in a confined space can escape or be rescued in the event of an emergency should be indicated in section 4 of the permit.

- Hot work

Hot work includes working with flame cutting apparatus, oxyacetylene welding apparatus, electric welding apparatus, blow lamps, grinding equipment, working with bitumen boilers or any other equipment producing flame, intense heat or sparks.

The following precautions must be in place:

- Personnel trained in use of fire extinguishers must be in the working team.

- At least one appropriate fire extinguisher must be at the place of work.

- The work area is to take place must be cleared of flammable materials.

- Heat or smoke detectors should be isolated before hot work begins.

- Remain at the workplace for at least 30 minutes after hot work ends.

- Remove isolation from heat or smoke detectors after hot work ends.

If a risk assessment indicates t additional precautions are required, these should be indicated on the permit.

- Excavations

A permit to work is required for all excavation work, digging of trenches and the like which is carried out within ESFRS premises.

Prior to issuing the permit, the person arranging the work to take place will ensure that there is sufficient information regarding underground services such as electricity and data cable runs, water or gas pipe work and will have sufficient information regarding ground conditions and surrounding buildings.

Where Suppliers are to carry out excavations they must provide a method statement which is to give details of the method of excavation, precautions to prevent trench collapse, fencing around the trench, PPE to be utilised and the process for reinstatement of the excavation afterwards.

- Other work activities

Similar procedures will be followed for permits for other hazardous procedures, including live working on electricity supply systems, work involving interaction with asbestos and work in areas where there is a risk of exposure to hazardous chemicals or microorganisms.

EAST SUSSEX FIRE AUTHORITY PERMIT TO WORK     (Example)

| 1. Permit Title: Time Allowed for Work From: To: Date: | 2. Permit No |
| --- | --- |
| 3. Job Location: |  |
| 4. Plant Identification: |  |
| 5. Person Carrying out Work: |  |
| 6. Description of Work: |  |
| 7. Permit Type – tick - Working at height ……………; 5. Live working on electricity supplies …………. - Working in confined spaces ………..; 6. Works involving asbestos ………………. - Hot works ………………; 7. Excavations or digging trenches …………….. - Isolation or modification to fire safety systems or security alarms ……; 8. Works in areas where there is a risk Of exposure to hazardous chemicals ………….. |
| 8. Protective Equipment Required: |  |
| 9. Authorisation: I am satisfied that the appropriate checklist has been followed through and that the necessary precautions are in place. Plant has been taken out of service/suitably isolated (as applicable). The work may now proceed Signed: Position: Time: |  |
| 10. Acceptance: I/We understand the work to be done, hazards involved and precautions applicable. I/We are prepared to work under the conditions stated above. Signed: Position: Time: |  |
| 11. Completion of Work: The work has been completed and all tools etc have been removed, all guards refitted and the plant is/is not * suitable for return to service. Signed: Position: Time: |  |
| 12. Cancellation of Permit: The work has been tested and checked and this permit to work number has been cancelled and no further work is permitted. The plant can/cannot * be returned to service. * Delete as appropriate Signed: Position: Time: Date: |  |
| ### Authorised person to retain completed forms according to document control policy. |  |

Guidance for the Construction, Design And Management Regulations 2015 (CDM)

- INTRODUCTION

This guidance provides summary information on the Construction, Design and Management Regulations (2015) (CDM 2015). A full guide can be found in the Approved Code of Practice L153. It can be downloaded here: http://www.hse.gov.uk/pubns/priced/l153.pdf.

- BACKGROUND AND SCOPE OF CDM 2015

The purpose of CDM (2015) is to establish a framework for the effective management of the safety aspects of a construction process, this applies to the entire process from concept to completion. Key to CDM 2015 is the allocation of duty holders in the construction process, each of whom has certain roles and responsibilities to fulfil.

It is important to understand the definition of construction work within CDM 2015 is wide and can apply to many projects and tasks that people do not immediately associate with construction work, e.g. ‘the installation, commissioning, maintenance, repair or removal of mechanical, electrical, gas, compressed air, hydraulic, telecommunications, computer or similar services which are normally fixed within or to a structure’

CDM 2015 defines construction work as:  ‘“Construction work” means the carrying out of any building, civil engineering or engineering construction work and includes -

(a)	the construction, alteration, conversion, fitting out, commissioning, renovation, repair, upkeep, redecoration or other maintenance (including cleaning which involves the use of water or an abrasive at high pressure, or the use of corrosive or toxic substances), de-commissioning, demolition or dismantling of a structure;

(b) 	the preparation for an intended structure, including site clearance, exploration, investigation (but not site survey) and excavation (but not pre-construction archaeological investigations), and the clearance or preparation of the site or structure for use or occupation at its conclusion;

(c) 	the assembly on site of prefabricated elements to form a structure or the disassembly on site of the prefabricated elements which, immediately before such disassembly, formed a structure;

(d) 	the removal of a structure, or of any product or waste resulting from demolition or dismantling of a structure, or from disassembly of prefabricated elements which immediately before such disassembly formed such a structure;

(e) 	the installation, commissioning, maintenance, repair or removal of mechanical, electrical, gas, compressed air, hydraulic, telecommunications, computer or similar services which are normally fixed within or to a structure

CDM 2015 applies to all such projects, irrespective of their duration. CDM 2015 also covers domestic work, although the majority of the duties are borne by the Supplier.

- DUTY HOLDERS, A SUMMARY OF ROLES AND RESPONSIBILITIES

The following is taken from Table 1 of L153. It is a brief summary of duty holders’ responsibilities.

The Client

Clients are organisations or individuals for whom a construction project is carried out. Responsibilities includes making suitable arrangements for managing a project. This includes making sure other duty holders are appointed and sufficient time and resources are allocated. The client must make sure that the relevant information is prepared and provided to other duty holders, the principal designer and principal Contractor carry out their duties and that welfare facilities are provided.

L153 is clear that the client has an active responsibility to maintain and review management arrangements throughout the construction work. L153 gives examples of how this be achieved, including:

- ‘Establishing key milestones so they can assess the progress of the project and determine whether health and safety standards are being met.

- Where necessary, seeking advice. On larger projects, client may value an independent review of standards;

- Ensuring arrangements for handing over the building to a new user are sufficient to protect anyone (including members of the public) who may be affected by risks arising from any ongoing construction work, e.g. snagging work.)

Designers

Designers are those, who as part of a business, prepare or modify designs for a building, product or system relating to construction work.

Responsibilities include providing information to other members of the project team to help them fulfil their duties and when preparing or modifying designs, to eliminate, reduce or control foreseeable risks that may arise during construction; and/or the maintenance and use of a building once it is built.

Principal Designers

Principal designers are designers appointed by the client in projects involving more than one contractor. They can be an organisation or an individual with sufficient knowledge, experience and ability to carry out the role.

Responsibilities include planning, managing, monitoring and coordinating health and safety in the pre-construction phase of a project. This includes:

- Identifying, eliminating or controlling foreseeable risks.

- Ensuring designers carry out their duties.

- Prepare and provide relevant information to other duty holders.

- Provide relevant information to the principal contractor to help them plan.

- Manage, monitor and coordinate health and safety in the construction phase.

Principal Contractors

Principal contractors are contractors appointed by the client to coordinate the construction phase of a project where it involves more than one contractor. Responsibilities include planning, managing, monitoring and coordinating health and safety in the construction phase of a project. This includes:

- Liaising with the client and principal designer.

- Preparing the construction phase plan.

- Organising cooperation between contractors and coordinating their work.

And will ensure:

- Suitable site inductions are provided.

- Reasonable steps are taken to prevent unauthorised access.

- Workers are consulted and engaged in securing their health and safety.

- Welfare facilities are provided.

Contractors

Contractors are those who do the actual construction work and can be either an individual or a company. Responsibilities include:

- Plan, manage and monitor construction work under their control so that it is carried out without risks to health and safety.

- For projects involving more than one contractor, coordinate activities with others in the project team – in particular, comply with directions given to them by the principal designer or principal contractor.

- For single-contractor projects, prepare a construction phase plan.

Workers

Workers are people who work for or under the control of contractors on a construction site. They must:

- Be consulted about matters which affect their health, safety and welfare.

- Take care of their own health and safety and others who may be affected by their actions.

- Report anything they see which is likely to endanger either their own or others’ health and safety.

- Cooperate with their employer, fellow workers, contractors and other duty holders.

- WHEN TO APPOINT A PRINCIPLE CONTACTOR AND PRINCIPLE DESIGNER

CDM 2015 requires that the client appoints a principle contractor and a principle designer when there is more than one contractor, or it is reasonably foreseeable that there will be more than one contractor working on the project at any one time.

- HSE NOTIFICATION REQUIREMENTS

When a construction project meets certain criteria, the Health and Safety Executive must be notified about it. This is the responsibility of the client.

A project is notifiable if the construction work on a construction site is scheduled to:

(a) Last longer than 30 working days and have more than 20 workers working simultaneously at any point in the project; or

(b) Exceed 500 person days.

Where a project is notifiable, the client must give notice in writing to the Executive as soon as is practicable before the construction phase begins.

- THE IMPORTANCE OF PRE-CONSTRUCTION INFORMATION

An important role for the client is passing information already in the client’s possession across to those who need it and in particular, those preparing the construction phase plan. Examples could include, asbestos information, location of utilities, previous health and safety files and other on-site hazards.

Appendix 2 of L153 outlines more information on pre-construction information.

- THE CONSTRUCTION PHASE PLAN

CDM 2015 requires that all projects have a construction phase plan.

The client must ensure the construction phase plan is prepared prior to the work starting. It sets out in detail site rules, health and safety arrangements and specific measures concerning any work involving the particular risks listed in Schedule 3 of CDM 2015.

The person responsible for preparing the construction phase plan varies depending on the project.

- Single contractor projects – The contractor.

- Multiple contractor projects – Principle contractor.

Appendix 3 of L153 provides more information on the construction phase plan.

- THE HEALTH AND SAFETY FILE

A health and safety file is required for projects when there is more than one contractor. It is the responsibility of the principal contractor to compile it. The purpose of the health and safety file is to provide information for people in the future, who will be carrying out construction work on the building after the current construction work has finished. Appendix 4 of L153 provides more information on the health and safety file.

- WHERE TO GET MORE HELP AND INFORMATION

• Approved Code of Practice L153: http://www.hse.gov.uk/pubns/priced/l153.pdf

• HSE’s construction homepage: http://www.hse.gov.uk/construction/index.htm

• Construction Industry Training Board CDM 2015 Page: http://www.citb.co.uk/health-safety-and-other-topics/health-safety/construction-design-and-management-regulations/cdm-guidance-documents/

- REFERENCES

- Regulation 2(1) The Construction, Design and Management Regulations (2015).

- Approved Code of Practice L153. Paragraph 41.

- Regulation 6(1) The Construction, Design and Management Regulations (2015).

Section 8 – East Sussex Fire Authority Premises

| Station No. | Site Address | Address | Town | Postcode | *Full Time, Day Crewed or Retained |
| --- | --- | --- | --- | --- | --- |
| 76 | Hastings | Bohemia Road | Hastings | TN34 1EX | FT |
| 84 | Uckfield | Bell Farm Road | Uckfield | TN22 1BA | DC |
| 91 | Preston Circus | Preston Circus | Brighton | BN1 4NZ | FT |
| 92 | Hove | English Close | Hove | BN3 7EE | FT |
| 93 | Eastbourne | Whitley Road | Eastbourne | BN22 8LA | FT |
| 95 | Service Training Centre | Batts Bridge Road | Maresfield | TN22 2HN | Office Hours |
|  | * Full time (FT) | Normally open 24 hrs per day |  |  |  |
|  | Day Crewed (DC) | Normally open from 09.00 to 18.00 each day |  |  |  |

Section 9 – East Sussex Fire Authority Standard Terms and Conditions

CONTENTS

1.   	Definitions and Interpretation

2.   	Commencement and Contract Period

3.   	The Contractor's Obligations

4.   	Non-performance of the Services

5.   	Management Reporting and Authorisation

6.   	Contractor's Personnel

7.   	Goods and Materials

8.   	Changes to the Services

9.   	Contract Price, Fees and Charges and Adjustments Thereto

10. 	Payment

11. 	Assignment and Sub-Contractors

12. 	Other Works and Facilities Provided

13. 	Contractor's Equipment

14. 	Copyright

15. 	Contractor's Insurance

16. 	Client's Insurances

17. 	Termination

18. 	Consequences of Termination

19. 	Force Majeure

20. 	Transfer of Undertakings

21. 	Public Sector Requirements

22. 	Confidentiality

23. 	Notices

24. 	Third Parties

25. 	Governing Law and Dispute Resolution

1. DEFINITIONS AND INTERPRETATION

1.1 	Definitions

In this Agreement the following expressions shall have the following meanings:-

1.1.1 	“Adjudicator" means the adjudicator to be appointed or nominated under Clause 25.

1.1.2 	"Change Request" means a written request to alter the Services as described in Clause 8 .1.

1.1.4 	"the CEDR Rules" means the Centre for Effective Dispute Resolution Model Mediation Procedure

1.1.5 	"the Commencement Date" means the date set out in the Contract Award letter.

1.1.6 	"Contract Period" means the period set out in the Contract Award letter.

1.1.7 	"the Contract Price" means the sum due to the Contractor calculated in UK pounds sterling in accordance with the agreed prices and as the same may be adjusted from time to time in accordance with this Agreement.

1.1.8 	"ElR" means the Environmental Information Regulations 2004.

1.1.9 	"ESFA's Representative” means the person or persons as ESFA may appoint and notify to the Contractor in writing from time to time to act as ESFA's Representative under this Agreement.

1.1.10 	"FOIA' means the Freedom of Information Act 2000.

1.1.11 	"Force Majeure" means any act of God, any national strike or labour dispute affecting the Services, war, hostilities (whether war is declared or not), invasion, armed conflict or act of a foreign enemy, terrorism, rebellion, revolution, riot or insurrection, nuclear explosion, radioactive or chemical contamination or ionising radiation unless the source or cause of contamination or radiation is brought to or near the Site by or on behalf of the Contractor or the Sub-Contractors.

1.1.12 	"insured Perils" means fire, lightning, explosion, storm, tempest, flood, escape of water from any water tank, apparatus or pipes, earthquake, aircraft and other aerial devices or articles dropped therefrom, riot and civil commotion (excluding any loss or damage caused by ionising radiation or contamination by radioactivity from any nuclear fuel or from nuclear waste from the combustion of nuclear fuel, radioactive toxic explosive or other hazardous properties of any explosive nuclear  assembly or nuclear component thereof, pressure waves caused by aircraft or other aerial devices travelling at sonic or supersonic speeds).

1.1.13 	"the Material" means all drawings, specifications, technical information, details, schedules or other documents or recorded information whatsoever, whether stored electronically or otherwise, prepared or produced by the Contractor or the Sub-Contractors in relation to the Services,

1.1.14 	"the Plant" means any of ESFA's plant or equipment referred to in the Terms of Reference to be the subject of any of the Services.

1.1.15 	"the Premises” means the premises described under Appendix B Site Plan.

1.1.16 	“Reimbursable Expenses” if applicable, will be set out at Section 3 –Terms of Reference.

1.1.17	"the Contractor" means the second party to this Agreement.

1.1.18	"the Contractor's Equipment" means such tools, machinery plant, apparatus, materials, consumables, tackle, computer equipment and software access equipment and stores brought to the Premises by the Contractor or the Sub-Contractors for the performance of the Services.

1.1.19	"the Services" means the services to be performed at the Premises.

1.1.20	"the Terms of Reference” means the standards, operational tasks and attendance requirements set out in Section 3 – Terms of Reference.

1.1.21	"TUPE Regulations” means Transfer of Undertakings (Protection of Employment) Regulations 2006 (including as appropriate the Transfer of Employment (Pension Protection) Regulations 2005).

1.1.22	"the Sub-Contractors” means any person (other than the Contractor or his direct employees) to whom any part of the Services has been sub-let by the Contractor.

1.1.23	"Working Day" means Monday to Friday inclusive but "working days" and "days" shall exclude Christmas Day, Good Friday or a day which under the Banking and Financial Dealings Act 1971 is a bank holiday in England and Wales.

1.1.24	"Working Hours" means the between the hours of 8.30 a.m. and 5.00 p.m. (4.30 p.m. on Friday) during which the Services are to be performed at the Premises.

1.2     lnterpretation

In this Agreement references to any statute, statutory provision, directive of the Council of the European Union (whether issued jointly with any other person or under any other name) or other legislation include a reference to that statute, statutory provision, directive or legislation as amended, extended, re-enacted, consolidated or replaced from time to time (whether before or after the date of this Agreement) and include any order, regulation, instrument or other subordinate legislation made under the relevant statute, statutory provision, directive or legislation.

1.3   Teamworking

Without prejudice to their rights under this Agreement or otherwise, ESFA and the Contractor agree to:-

1.3.1 	act fairly towards each other, in a spirit of trust and mutual co-operation in their performance of their obligations under this Agreement; and

1.3.2 	help each other to resolve problems which may otherwise prejudice the performance of the Services in accordance with the Terms of Reference and this Agreement.

2. COMMENCEMENT AND CONTRACT PERIOD

2.1 	The Contractor shall commence the Services on the date set out in the Contract Award letter and shall continue to provide the Services for the Contract Period subject to provisions of Clauses 1.1.6 and 17.

2.2 	Unless the Contract Period is extended in accordance with Clause 1.1.6, the Contractor's employment shall automatically terminate at the end of the Contract Period.

3. THE CONTRACTOR’S OBLIGATIONS

3.1 	The Contractor shall provide the Services during the Working Hours for the Contract Period:-

3.1.1 	with reasonable skill care and diligence;

3.1.2 	in accordance with the Terms of Reference (TOR) and this Agreement; and

3.1.3 	in accordance with all instructions issued to them by ESFA.

3.2 	Contractor shall use reasonable skill, care and diligence to see that he and the Sub-Contractors comply with:-

3.2.1 	all their respective duties and obligations under and pursuant to any directly applicable provision of the EU Treaty or of any EU regulation, any Act of Parliament or any regulation, rule or order made pursuant hereto or any regulation or byelaw of any local authority or under and pursuant to any notices served under any such enactment, rule, order, regulation or bye-law;

3.2.2 	any codes of practice, guidance notes and recommendations for the time being in force and approved by the Health and Safety Commission or published by the Health and Safety Executive;

3.3 	The Contractor shall perform all the functions under the control of the key resource, the Project Manager Support Officer (PMSO) as designated in Section 3.

3.4 	Subject to Clause 3.5, the liability of the Contractor under or in connection with this Agreement, whether in contract or tort, for breach of statutory duty or otherwise, for any one occurrence or series of occurrences arising out of any one event shall be unlimited.

3.5 	The liability of the Contractor under or in connection with this Agreement, whether in contract or tort, for breach of statutory duty or otherwise, for any claim (except any claim relating to death or bodily injury) which may arise out of or in connection with pollution or contamination (including, for the avoidance of doubt, any claim arising in respect of Legionella) is excluded.

3.5.1 The Service Provider shall service the Plant and maintain it in good working order and in accordance with the provisions of any manufacturer's guarantees or recommendations. The Service Provider shall be liable for any damage to the Plant unless such damage was caused by any negligent act or omission of ESFA

3.5.2 	The Service Provider shall be responsible for the repair, renewal and replacement of the Plant unless such repair, renewal, or replacement was necessitated by any negligent act or omission of ESFA after the Commencement Date.

4. NON-PERFORMANCE OF THE SERVICES

ESFA shall monitor the performance of the Services. If the Contractor fails to provide the services in accordance with this Agreement and/or the TOR and/or fails to achieve the performance standards described in the TOR, then, without prejudice to its other rights and remedies, ESFA shall be entitled to make such abatement from any sums due to the Contractor under this Agreement as may be stipulated in accordance with the performance points system (if any) which is set out in the TOR or, if no performance points system is set out, as may reflect the reduced value of the Services provided by the Contractor.

5. MANAGEMENT REPORTING AND AUTHORISATION

5.1 	ESFA Representative shall be the main point of contact for the Contractor in relation to Services.

5.2 	Only formal written instructions from ESFA's Representative can commit ESFA to any additional payment under this Agreement or to any action which is likely to give rise to such an addition.

5.3 	The Contractor shall comply with any management and reporting systems that may be agreed by the Contractor with ESFA's Representative.

5.4 	ESFA shall supply the Contractor, in such reasonable time so as not to disrupt the performance of the Services, all necessary instructions and information required by the Contractor for the Performance of the Services.

6. CONTRACTOR’S PERSONNEL

6.1 	The Contractor shall appoint the person nominated as their Representative and named in their Tender to direct and control the overall performance by the Contractor of the Services and such person or any replacement of him/her made in accordance with Clause 6.3 shall have full authority to act on behalf of the Contractor for all purposes in connection with this Agreement.

6.2 	The Contractor shall not remove the person named in their Tender or any replacement of him/her without the prior written consent of ESFA which consent shall not be required in the case of permanent incapacity, death, sickness or where such person leaves the employment of the Contractor. ESFA may instruct the replacement of the person overseeing the contract with another and such instruction shall be treated as a Change Request under Clause 8.

6.3 	If the person referred to in Clause 6.1 or any replacement of him/her appointed in accordance with this Clause 6.3 is replaced in accordance with Clause 6.2, the Contractor shall replace such person with a person of at least the same experience and expertise and at the same or reduced cost to ESFA, whose identity shall be subject to the prior written approval of ESFA, which approval shall not be unreasonably withheld or delayed.

6.4 	ESFA shall have the right to instruct the Contractor to appoint additional persons to perform the Services if this is, in ESFA's reasonable opinion, necessary for the proper performance of the Services, and such instruction shall be treated as a Change Request under Clause 8.

7. GOODS AND MATERIALS

7.1 	All materials and/or goods supplied as part of the Services shall be as specified in the TOR. Where such quality and standards are not specified in the TOR, such materials and/or goods shall be of the best available quality suitable for the purposes for which they are intended and shall comply with the latest applicable British Standard where appropriate.

7.2 	The Contractor shall see that the benefit of any warranty or guarantee in respect of materials and/or goods supplied by him/her pursuant to this Agreement shall extend to ESFA.

7.3	The Contractor shall at all times keep the Site free from all surplus materials, rubbish and debris arising from the execution of the works

8. CHANGES TO THE SERVICES

8.1 	Either party may without invalidating this Agreement request an addition to or omission from or other change in the Services or the order or period or the Working Hours in which the Services are to be provided by issuing to the other party a Change Request.

8.2 	On receipt by the Contractor of a Change Request issued by ESFA the Contractor shall provide ESFA within five Working Days of the date of the Change Request (or such other period as may be agreed):-

8.2.1 	a reasonable estimate of the increase or reduction in the Contract Price (if any) which it believes would occur as a result of the change set out in the Change Request together with a reasonably detailed breakdown of the manner in which such estimate was calculated; and

8.2.2 	if such change cannot reasonably be implemented immediately, the time which it reasonably requires to implement such change; and

8.2.3 	analysis of the likely impact such change shall have on the performance of the other Services.

8.3 	The Contractor shall provide to ESFA estimates in respect of the matters set out in Clause 8.2.1 and 8.2.2 at the same time as the Contractor issues to ESFA any change Request.

8.4 	The Contractor shall promptly provide to ESFA all additional information which ESFA may request, including further estimates in respect of the matters set out in Clauses 8.2.1 and 8.2.2 to assist ESFA in evaluating the benefit of any proposed change.

8.5 	If ESFA wishes to proceed with a proposed change he shall arrange for the Change Request to be signed by ESFA's Representative, and an authorised representative of the Contractor and a copy will be passed to the Contractor. The Contractor shall then implement the proposed change in accordance with the Change Request and the Contract Price and the price schedule shall be adjusted in accordance with Clause 9.

8.6 	ESFRS shall be responsible for any change in the Services necessitated by any change in the requirements set out in Clause 3.2 and such change shall be treated as if it arose from a Change Request authorised under Clause 8.5.

9. CONTRACT PRICE, FEES AND CHARGES AND ADJUSTMENTS THERETO

9.1 	For the performance of the Services ESFRS shall pay the Contractor the Contract Price.;

9.2 	The Contract Price shall not be adjusted or altered in any way whatsoever otherwise than in accordance with the provisions of this Agreement. The Contract Price shall be deemed to include all costs and expenses incurred and risks assumed by the Contractor in performing his obligations under this Agreement.

9.3 	In the event that:-

9.3.1 	the Services are varied in accordance with Clause 8:

9.3.2 	ESFA issues an instruction to the Contractor under Clause 16.3 or 19.2; the Contractor and ESFA shall use all reasonable endeavours to agree an appropriate adjustment to the Contract Price. If the Contractor and ESFA are unable to agree an adjustment to the Contract Price within 10 Working Days of the date of the Change Request being signed by both parties pursuant to Clause 8.5, or the date of any instruction issued under Clause 16.3 or 19.2 then the Contract Price shall be increased or reduced (as the case may be) by such amount as ESFA may reasonably determine.

9.4     The prices in Section 3 Terms of Reference shall remain fixed for the duration of the contract.

9.5 	Deductions may be made from the Contract Price (and the Reimbursable Expenses if applicable) in respect of inadequate, part or non-performance of the Services in accordance with Clause 4.

9.6 	The Reimbursable Expenses, if applicable, shall be payable following the performance of the Services to which they relate.

10. PAYMENT

10.1	At the end of each month (or other agreed interval) of the Contract Period the Contractor will send to ESFA a tax invoice in accordance with the Value Added Tax Act 1994 in respect of sums due to the Contractor as follows:-

10.1.1 	that value of the Contract Price carried out in the preceding month (or other agreed period) as calculated by reference to the price schedule and the agreed programme of work;

10.1.2 	any sum agreed or determined in accordance with Clause 9.3;

10.2 	If ESFA notifies the Contractor in writing that they disagree with the invoice, the parties shall co-operate in good faith to resolve the disagreement as amicably and promptly as possible.

10.3 	ESFA shall pay invoices correctly submitted in accordance with Clause 10.1 on or before the final date for payment which shall be 30 Working Days after the date on which such invoice was submitted.

10.4 	The Contract Price together with any other payments due from ESFA to the Contractor hereunder shall be exclusive of Value Added Tax and all references to fees and prices in this Agreement shall be regarded as exclusive of Value Added Tax. ESFA shall pay to the Contractor a sum equal to the Value Added Tax properly chargeable on the value of the provision of any goods or services under this Agreement.

10.5 	if ESFA wishes to make any deduction or set-off from any amounts due to the Contractor under this Agreement he shall give to the Contractor notice of the same which notice shall specify:-

10.5.1 	the amount proposed to be withheld and the ground for withholding payment; or

10.5.2 	if there is more than one ground, each ground and the amount attributable to it.

Such notice shall be given not later than 5 Working Days before the final date for payment of each invoice under Clause 10.3.

10.6 	Where any sum due under this Agreement is not paid in full by the final date for payment under Clause 10.3 and no effective notice is given under Clause 10.5, the Contractors shall be entitled (without prejudice to any other right or remedy) to suspend performance of his obligations under this Agreement by giving not less than 7 days' notice to ESFA stating the ground or grounds on which it is intended to suspend performance. The right to suspend performance shall cease when ESFA makes payment in full of the amount due. Any period during which performance is suspended shall be disregarded in computing for the purposes of any contractual time limit the time taken by the Contractor to complete any of the Services.

10.7 	Except in respect of Value Added Tax, any other duties, taxes or charges (whether direct or indirect in nature) which may be imposed on ESFA or the Contractor as a result of legislative or other changes in taxation shall be borne by ESFA.

10.8 	The Contractor shall be entitled to charge interest at the rate of 2 per cent above the base rate set from time to time by the Bank of England's Monetary Policy Committee (or any successor to it) for any overdue payment calculated on a daily basis compounded from the final date for payment until the actual date of payment.

11. ASSIGNMENT AND SUB-CONTRACTORS

11.1 	Neither party shall be entitled to assign, novate, or otherwise dispose of its rights and obligations under this Agreement whether in whole or in part without the prior written consent of the other.

11.2 	Subject to Clause 11.3 the Contractor shall not at any time permit any of its obligations under this Agreement to be performed or undertaken by any Sub-Contractor without the prior written consent of ESFA. Any request for consent pursuant to this Clause 11.2 shall be submitted to ESFA by the Contractor together with the particulars of the proposed Sub-Contractor.

11.3 	Where the TOR provides that certain work or certain goods and/or materials shall be carried out by or obtained from a named Sub-Contractor or one of a list of Sub-Contractors, then the Contractor shall sublet such work to and shall obtain such materials and/or goods from such Sub-Contractor or one of the Sub-Contractors so named.

11.4 	If for any reason beyond the control of the Contractor, the Contractor is unable to enter into a sub contract with any of the Sub-Contractors referred to in Clause 11.3, the Contractor shall select another Sub-Contractor to carry out the work or supply the goods and/or materials to a standard and quality required by this Agreement for the consent of ESFA, such consent not to be unreasonably withheld or delayed.

11.5 	If any sub contract between the Contractor and any Sub-Contractor referred to in Clause 11.4 is determined or discharged, the Contractor shall select another Sub-Contractor to undertake or complete the execution of the work or the supply of the goods and/or materials to a standard and quality required by this Agreement for the consent of ESFA, such consent not to be unreasonably withheld or delayed.

11.6 	No subletting by the Contractor and no consent by ESFA and no naming of a Sub-Contractor in the TOR shall in any way relieve the Contractor from his responsibility or the performance of the Services in accordance with this Agreement. The Contractor shall not be entitled to any adjustment to the Contract Price in respect of the matters referred to in Clauses 11.4 and 11.5.

11.7	Notwithstanding Clause 11.1 in the event that ESFA begins a process as described in (a) or (b) below during the Contract Period:

- Significant reorganisation of ESFA (including but not limited to its incorporation into a larger authority, its division into smaller authorities or its division among other authorities).

- Reorganisation of ESFA which would require it to relinquish control of the Contract either wholly or to an extent that ESFA judged the remainder to render the Contract to be no longer viable.

ESFA shall have power to determine this Contract and any orders/ commitments hereunder by giving the Contractor not less than six [6] months written notice and upon expiration of the notice the Contract shall be determined without prejudice to the rights of the parties accrued to the date of determination. ESFA shall not be disadvantaged either financially or in the level of service provided by the Contractor during the period of notice.

Should ESFA learn of proposals which may require it to invoke this clause it shall advise the Contractor at the earliest opportunity in order that he may be aware of the possibility.

If any authority which takes over ESFA’s role in full or in part agrees to take over the Contract in full or in part, the Contractor shall work with the new authority / authorities in order to ensure an efficient assignment of the Contract and of the delivery of the Services

12. OTHER WORKS AND FACILITIES PROVIDED

12.1	The Contractor shall permit the execution of work not forming part of the Services by any person authorised or licensed by ESFA to carry out work at the Premises. The Contractor shall provide reasonable facilities for such persons to execute their work.

12.2 	ESFA shall provide the Contractor free of charge with such serviced office accommodation (including furniture, computers and photocopying services) as may reasonably be required by the Contractor to perform the Services together with the free use of such supplies of electricity, gas and water that there may be at the Premises and the free use of any telephone or facsimile services at the Premises. The Contractor shall have due regard to the economic use of such services provided by ESFA.

13. CONTRACTOR’S EQUIPMENT

13.1 	The Contractor shall, at his own expense, provide all the Contractor's Equipment necessary for the proper execution of the Services, including any personal protective equipment required for full compliance with the Health and Safety at Work Act 1974 and shall keep the Contractor's Equipment in good repair and safe condition,

13.2 	The Contractor shall provide all haulage and fuel required for the operation of the Contractor's Equipment but shall be allowed free use of power and water for the operation of any hand tools and similar equipment forming part of the Contractor's Equipment used at the Premises.

13.3 	The Contractor shall be responsible for insuring the Contractor's Equipment.

14. 	COPYRIGHT

14.1 	Copyright in the Material shall remain vested in the Contractor or the Sub-Contractors as the case may be. Subject to ESFA having paid all sums due to the Contractor under this Agreement, the Contractor hereby grants to ESFA, an irrevocable royalty-free, non-exclusive licence to copy and use the Material and to reproduce any designs contained in it for any purpose whatsoever relating to the Services. The Contractor hereby undertakes to procure from Sub-Contractors, the grant of the necessary licences in favour of ESFA to give effect to this Clause 14. Such licences shall be capable of sub-licence and transfer by ESFA. The Contractor shall not be liable for any use of the Material for purposes other than those for which the Material was prepared and/or provided for by or on behalf of the Contractor provided that the Contractor has not consented to such other usage.

14.2 	The Contractor hereby waives and undertakes to procure the waiver by the Sub-Contractors and suppliers of any rights they may have under or pursuant to Section 77 or 80 of the Copyright Designs and Patents Act 1988.

15. 	CONTRACTOR’S INSURANCE

15.1 	The Contractor shall maintain and shall cause the Sub-Contractors to maintain insurance in respect of claims for personal injury to or the death of any person under a contract of service or apprenticeship with the Contractor, or such Sub-Contractors as the case may be, arising out of or in the course of such person's employment. Such insurance shall comply with the Employer's Liability (Compulsory lnsurance) Act 1969 and any statutory orders made thereunder (including, for the avoidance of doubt, the applicable regulations thereunder, currently the Employer's Liability (Compulsory Insurance) Regulations 1998) or any amendment or re-enactment thereof. The insurance to be maintained in accordance with this clause shall have a limit of indemnity of not less than £10,000,000.00 (ten million pounds sterling).

15.2 	The Contractor shall maintain and shall cause the Sub-Contractors to maintain such insurances as are necessary to cover their respective liabilities in respect of personal injury or death arising out of or in the course of or caused by the carrying out of the Services (other than injury or death to persons referred to in Clause 15.1) and in respect of injury or damage to property, real or personal (except for loss or damage to the Premises), arising out of or in the course of or by reason of the carrying out of the Services. The insurance to be maintained in accordance with this clause shall have a limit of indemnity of not less than £7,000,000.00 (seven million pounds sterling).

15.3 	The Contractor shall maintain product liability insurance to cover any damages caused by it, in the performance of its Supplies with a limit of indemnity of not less than £1,000,000.00 (one million pounds sterling).

15.4	The Service Provider shall maintain professional indemnity insurance to cover any negligence by them in the performance of the Services with a limit of indemnity of not less than £1,000,000.00 (one million pounds sterling).

15.5 	The insurances referred to in Clauses 15.1 to 15.3 shall be with a well-established insurance office or underwriter of repute.

15.6 	As and when he is reasonably required to do so by ESFA, the Contractor shall produce and shall cause any Sub-Contractor to produce for inspection by ESFA documentary evidence, in the form of an insurance broker's verification letter, that the insurances required by Clauses 15.1, 15.2 and 15.3 are being properly maintained.

15.7	The Contractor shall immediately inform ESFA if it believes that it will be unable to maintain the insurances referred to in clauses 15.1 to 15.4 for any reason.

16.     CLIENT’S INSURANCES

16.1 	ESFA shall maintain insurance of the Premises against the Insured Perils. The Contractor shall give prompt notification to ESFA of any instance likely to give rise to a claim under ESFA's insurances and shall submit claim forms where necessary to ESFA.

16.2 	The Contractor shall observe and comply with the conditions contained in any policy of insurance of ESFA against loss or damage by the Insured Perils. Copies of ESFA's insurance policies can be provided to the Contractor on request.

16.3 	Upon the occurrence of any of the Insured Perils, the Contractor shall, when instructed so to do by ESFA continue with the performance of the Services and shall undertake such other services as may reasonably be requested by ESFA in connection with the restoration and repair or the replacement of any parts, components or materials which have been destroyed or damaged, and the removal of any debris relating to them from the Premises. The provisions of Clauses 9 and 10 shall apply in respect of compliance by the Contractor with such instructions issued by ESFA.

17. 	TERMINATION

17.1 	The Contractor's employment under this Agreement may be terminated in the following circumstances: -

17.1.1 	by either party giving the other 3 month's prior notice at any time;

17.1.2 	by either party with immediate effect if the other is in breach of any of its obligations under this Agreement and, if the breach is capable of remedy, the other party has failed to remedy such breach within 15 Working Days of receipt of notice to do so;

17.1.3 	by either party with immediate effect, if the other makes any composition or arrangement with its creditors, or has a proposal for a voluntary arrangement or a composition of debts or scheme of arrangement approved in accordance with the Insolvency Act 1986, or has an application made under the Insolvency Act 1986 for the appointment of an administrator or has a winding up order made, or (except for the purposes of amalgamation or reconstruction), a resolution for voluntary winding-up passed, where a receiver or manager of its business or undertaking is duly appointed or has an administrative receiver, as defined in the Insolvency Act 1986 appointed, or possession taken by or on behalf of any creditor of any property that is the subject of a charge;

17.1.4 	by either party giving the other 15 Working Days' written notice if prevented from performing its obligations under this Agreement due to Force Majeure in accordance with Clause 19.3;

17.1.5 	by ESFA with immediate effect pursuant to Clause 21.2.

18. 	CONSEQUENCES OF TERMINATION

18.1 	On termination of the employment of the Contractor under Clause 17, the Contractor shall take immediate steps to bring to an end their performance of the Services in an orderly manner but with all reasonable speed and economy and shall forthwith vacate the Premises. In addition, the Contractor shall, subject to ESFA having paid all sums due to the Contractor under this Agreement, cause to be delivered to ESFA all details, plans, TORs, technical data, schedules, programmes, budgets, reports, calculations and other work (whether in the course of preparation or completed) together with all correspondence and documentation in the possession or under the control of the Contractor relating to the Services and/or the Premises. In addition, the Contractor shall, if so required by ESFA, forthwith assign to ESFA the Contractor's entire benefit and interest in any contracts made by him/her with any Sub-Contractor for the provision of any operatives, plant, equipment or services.

18.2	Without prejudice to ESFA's rights in respect of any breach by the Contractor of its obligations under this Agreement, on termination of the Contractor's employment pursuant to this Agreement ESFA shall pay to the Contractor all amounts due to the Contractor at the date of termination.

18.3 	On termination, however caused, ESFA may require the Contractor to terminate immediately (or within such period as ESFA may specify) any or all of the contracts it may have with any Sub-Contractors for the provision of the Services and remove from the Premises all materials not belonging to ESFA.

18.4 	ESFA shall indemnify the Contractor on demand and hold it harmless in relation to all losses, actions, claims, demands, costs, charges and expenses arising out of any action or claim by any person whose contract with the Contractor or a Sub-Contractor is terminated as a result of a termination of the Contractor's employment by ESFA pursuant to Clause 17.1.1 or by the Contractor pursuant to Clause 17.1.2, 17.1.3 and 17.1.4.

18.5 	Termination of the Contractor's employment howsoever arising shall be without prejudice to the rights and remedies of either party in respect of any negligence, omission or default of the other prior to such termination.

18.6 	The provisions of this Agreement shall continue to bind each party insofar as and for so long as may be necessary to give effect to their respective rights and obligations hereunder.

19. 	FORCE MAJEURE

19.1 	Neither party shall be in breach of any obligation under this Agreement if it is unable to perform that obligation in whole or in part by reason of Force Majeure.

19.2 	If either party seeks to rely on this clause, it shall immediately give notice to the other with full particulars of the act or matter claimed as a Force Majeure event. The parties so affected shall take all reasonable steps to remedy the failure to perform and to keep the other party informed of the steps being taken to mitigate the effects of the Force Majeure. ESFA may issue instructions to the Contractor in respect of such Force Majeure.

19.3 	If an event of Force Majeure lasts for more than 3 months, either party may, following consultation with the other, give a notice of termination in accordance with Clause 17.1.4.

20. 	TRANSFER OF UNDERTAKINGS

20.1 	The parties acknowledge that there may be a "relevant transfer" of an undertaking or part of one as defined in TUPE Regulations ("Relevant Transfer") on commencement, variation and/or termination of this Agreement, and agree to deal with the risks and/or consequences thereof as follows.

20.2 	If there is a Relevant Transfer on the commencement of this Agreement, the parties agree, as between themselves, that the Contractor shall be wholly responsible for and liable accordingly for continuing any contracts of employment, collective agreements and/or trade union recognition agreements which transfer under the TUPE Regulations and discharging all the obligations of a transferee under the TUPE Regulations. Accordingly, the Contractor agrees with ESFA that it shall fully and properly discharge the obligations of transferee under the TUPE Regulations on the commencement of this Agreement and thereafter as appropriate.

20.3 	If there is or may (in the reasonable opinion of ESFA) be a Relevant Transfer as a result of any variation or the termination of this Agreement, the parties agree as between themselves that the Contractor will be wholly responsible for and liable accordingly for discharging all the obligations of a transferor under the TUPE Regulations. Accordingly, the Contractor agrees with ESFA that it shall fully and properly discharge the obligations of transferor under the TUPE Regulations on the variation or termination of this Agreement.

20.4 	The Contractor agrees that within 14 days of a written request from ESFA (such request not to be made earlier than 6 months before the termination of this Agreement whether by effluxion of time or otherwise) it shall provide to ESFA in writing the following information:-

20.4.1 	the number and description of the employees engaged in the performance of this Agreement;

20.4.2 	for each employee (or where they are employed on common terms and conditions of employment each such group of employees) the particulars, as at a specified date not more than 7 days before the information is given, of the matters specified in Section 1(4) of the Employment Rights Act 1996.

ESFA shall be entitled to use and/or disclose the said information in confidence in connection with any tendering for any replacement Contractor or facilities management contract.

20.5 	The Contractor shall not agree with or otherwise promise any employees or trade union any terms or conditions of employment which are outside the ordinary and normal custom and practice for the industry or relevant trade or which are conditional upon or triggered by a Relevant Transfer or are intended to frustrate a re-tendering exercise or deter potential tenderers from tendering.

21. 	PUBLIC SECTOR REQUIREMENTS

21.1 	Data Protection Act

Each party warrants to the other that it has complied, and will continue to comply with, all the requirements of the Data Protection Act 2018 (including all regulations or orders issued pursuant thereto). Each party shall indemnify the other against all losses, costs, expenses, damages, liabilities, demands, claims, actions or proceedings which the other party may incur arising out of any breach by the first of this Clause 21.1.

21.2 	Corrupt gifts and payments of commission

The Contractor shall not offer, or give, or agree to give, any person employed by ESFA any gift or consideration of any kind as an inducement or reward for doing, or for bearing to do, or having done, or forbore to do, any act in relation to the obtaining or performance of this Agreement or for showing, or forbearing to show, favour or disfavour to any person in relation to this Agreement. In the event of any breach of this Clause 21.2 or the commission of any offence by the Contractor under the Prevention of Corruption Act 1889 to 1916 in relation to this Agreement, ESFA may terminate the Contractor's employment under this Agreement immediately by notice in writing to the Contractor. The decision of ESFA shall be final and conclusive in any dispute, difference or question arising in respect of the interpretation of this clause or the right of ESFA under this clause to terminate the Contractor's employment.

21.3 	Official Secrets Act

The Contractor's attention is drawn to the provisions of the Official Secrets Acts 1911 to 1989. The Contractor shall take all reasonable steps by display of notices or other appropriate means so that all persons engaged on any work in connection with the Services will have notice that the statutory provisions apply to them and will continue to apply to them after the termination of the Contractor's employment under this Agreement.

21.4 	National Audit Office Access

For the purpose of the examination and certification of ESFA's accounts, or any examination pursuant to Section 6 (1) of the National Audit Act 1983 or any re-enactment of that Act, or of the economy, efficiency and effectiveness with which ESFA has used its resources, the Comptroller and Auditor General may examine such documents as he may reasonably require which are owned, held or otherwise within the control of the Contractor and may require the Contractor to produce such oral or written explanations as he considers necessary.

21.5 	Equality

21.5.1	The Equality Act 2010 includes a new public sector Equality Duty which states that public bodies must have due regard to the need to:

- Eliminate unlawful discrimination, harassment and victimisation

- Advance equality of opportunity

- Foster good relations between different groups

Under the Act people are not allowed to discriminate, harass or victimise another person because they have any of the protected characteristics of age, disability, gender reassignment, marriage and civil partnership, pregnancy and maternity, race, religion and belief, sex or sexual orientation.

21.5.2	The Contractor shall comply with all aspects of the Equality Act 2010 and any subsequent revisions/ amendments to the Act in relation to its Employees and the provision of works, services or supplies.

21.5.3	In the event of any finding of such unlawful discrimination being made against the Contractor in the last three years by any Court or Employment Tribunal, or of an adverse finding in any formal investigation by any relevant statutory body over the same period, the Contractor shall take appropriate steps to prevent repetition of the unlawful discrimination.

21.5.4	The Contractor shall, on request, provide details of any steps taken under this clause.

21.5.5	The Contractor shall set out its Policy on matters referred to above:

- In instructions to those concerned with recruitment, training, promotion and everyday dealings;

- In documents available to employees, recognised trade unions or other representative groups of employees;

- In recruitment advertisements or other literature;

- In the provision of works, services and supplies

21.5.6	The Contractor shall, on request, provide examples of the instructions and other documents, recruitment advertisements or other literature.

21.5.7	The Contractor shall provide information reasonably requested for the purpose of assessing their compliance with this clause so far as relevant.

21.5.8	Further to the legislation, attention of the Contractor is also drawn to East Sussex Fire Authority’s own commitment to equal opportunities for all.

21.6 	Freedom of lnformation Act

21.6.1 	The Contractor acknowledges that ESFA is a public authority, subject to the requirements of FOIA and EIR and that ESFA is under an obligation to make all information held by it available to the general public on request, unless an exemption under FOIA or EIR applies.

21.6.2 	The Contractor shall:

(a) provide ESFA with a copy of all Information in the Contractor's possession or power in the form that ESFA requires within 5 Working Days of ESFA requesting such Information; and

(b) provide such assistance as ESFA may reasonably require to enable it to respond to a Request for Information within the time for compliance set out in section 10 of FOIA or regulation 5 of EIR (as the case may be).

21.6.3 The Contractor acknowledges that:-

(a) 	ESFA may, acting in accordance with the relevant Code of Practice on the discharge of public authorities' functions under Part 1 of FOIA, be obliged under FOIA or EIR to disclose information either without consulting the Contractor or following consultation with the Contractor and having taken its views into account; and

(b) 	ESFA shall determine, at its sole discretion, whether any Information is to be disclosed in response to a Request for Information.

21.6.4 	In the event that the Contractor receives any Request for Information, it shall immediately provide a copy of it to ESFA. In no event shall the Contractor respond directly to any Request for lnformation unless expressly authorised to do so by ESFA.

21.6.5 	Without limiting any other obligation under this Agreement, the Contractor shall ensure that all information produced in the course of the performance of the Services under this Agreement or relating to this Agreement is retained for disclosure and shall permit ESFA to inspect such Information as requested from time to time.

21.6.6 	In this Clause 21.6 "Request for Information” (which shall include any apparent requests for information under FOIA or EIR) and "lnformation” have the meanings given to them in FOIA.

21.7 	Publicity

The Authority does not participate in any publicity relating to any of its contracts or purchases unless pre- approved by the Authority. Suppliers may not advertise or publicly announce that they are undertaking work for the Authority without that prior approval. If the Authority is made aware of unapproved advertising on websites or company literature the supplier will be contacted and requested to remove such references.

22. CONFIDENTIALITY

22.1 	Subject to the remainder of this Clause 22, the parties shall treat information obtained in connection with this Agreement as confidential.

22.1.1 	Other than for the purpose of providing the Services, the Contractor shall not disclose any information or documents concerning this Agreement to any other persons.

22.1.2 	The Contractor shall not without ESFA's prior written consent disclose any information obtained by the Contractor of or concerning ESFA or any subsidiary or associated company of ESFA to any other person.

22.1.3 	The Contractor shall not, without ESFA's prior written consent, take any photographs or make any other graphical or other reproduction at or of any premises, property or equipment owned, leased or in the possession of ESFA or of any property or equipment at or on the premises of ESFA or any subsidiary or associated company of ESFA.

22.2 	The Supplier shall not:

- make any press announcements, public statements, or otherwise publicise or release any information whatsoever about this Call-Off Contract or the Supply or anything relating or connected thereto in any way; or

- use the Participating Authority’s name or brand in any promotion, public statement, marketing or announcement whatsoever,

without the Participating Authority’s prior written consent which consent it shall be absolutely entitled to withhold or make subject to such conditions as it may decide.

23. NOTICES

Any notice required to be given by a party shall be in writing and service shall be effected either personally when service shall be deemed effective on delivery or by first class recorded delivery post when service shall be deemed effective on the day after posting.  Notices shall at all times be addressed to the nominated Representatives of each party.

24. THIRD PARTIES

ESFA and the Contractor hereby confirm that, notwithstanding any other provision of this Agreement, this Agreement shall not and shall not purport to confer on any third party any right to enforce any term of this Agreement for the purposes of the Contracts (Rights of Third Parties) Act 1999.

25. GOVERNING LAW AND DISPUTE RESOLUTION

25.1 	This Agreement shall subject to Clauses 25.2 – 25.7 be governed by and construed in accordance with English Law and the parties submit to the exclusive jurisdiction of the English Courts.

25.2 	Any dispute or difference arising under or in connection with this Agreement may be referred to the Centre for Effective Dispute Resolution (CEDR).

25.3 	The Adjudicator shall be a person to be agreed between the parties or on the application of either party, a person nominated in accordance with the provisions of the Scheme.

25.4 	The Adjudicator's decision is binding until the dispute or difference is finally determined by an arbitrator as provided in Clause 25.7. If either party does not comply with the Adjudicator's decision the other party shall be entitled to seek to enforce the Adjudicator's decision in the English courts pending any final determination of the referred dispute or difference pursuant to Clause 25.7.

25.5 	The Adjudicator shall not be liable for anything done or omitted in the discharge or purported discharge of his functions as adjudicator unless the act or omission is in bad faith, and any employee or agent of the adjudicator is similarly protected.

25.6 	If the matter has not been resolved by a CEDR procedure within 30 days of the initiation of that procedure, or if either party will not participate in an ADR procedure, the dispute shall be decided by the High Court of England and Wales and the parties submit to its exclusive jurisdiction for that purpose.

25.7 	Subject to Clause 25.2 above, any dispute or difference arising under or in connection with this Agreement, except in connection with the enforcement of any decision of any Adjudicator, shall be referred to the arbitration of a single arbitrator to be agreed between the parties or on the application of either party, a person nominated in accordance with the provisions of the CEDR Model Mediation Procedure. The Arbitration shall be conducted in accordance with the CEDR Rules.