East Sussex

# Fire Authority

ESFA2508

Provision of

Fuel Pump Servicing and Maintenance

INVITATION TO TENDER

CLOSING TIME and DATE FOR SUBMISSION OF RESPONSES:

12.00 noon on 12th December 2025

To be returned via our electronic portal, detailed in the section

‘Preparation and Submission of Responses’ below

Version vFinal

achieving safer and more sustainable communities

Copyright © 2015 East Sussex Fire Authority. The insignia of East Sussex Fire Authority and East Sussex Fire & Rescue Service is the property of East Sussex Fire Authority and may not be reproduced without prior permission of the Authority.

section 1 - INTRODUCTION

  - East Sussex Fire Authority (ESFA) is seeking to award a contract on behalf of East Sussex Fire and Rescue Service (ESFRS) for the provision of fuel pump, tanks and gauges maintenance and certification, along with ad-hoc call-outs to repair faults identified, across its Estate and in East Sussex and Brighton and Hove.

  - The tender will be conducted following an open process.

  - The Contract will be for a 2-year period commencing on the 1st March 2026 with an option for the Authority to extend the Contract by two period of up to 12 months each time, where the supplier is in agreement.

- Requests for Information / Clarification

  - Requests for additional information or clarification of tender documents or procedure must be requested via the In-Tend portal only, by the date and time specified in Section 2.

  - Any information provided in response to requests for clarification will be distributed to all applicants, not just the applicant that requested the information. Information or updates will be communicated to all applicants via the portal.

- Publicity

  - The Authority does not participate in any publicity relating to any of its contracts or purchases unless approved by the Procurement Manager. Suppliers may not advertise or publicly announce that they are undertaking work for the Authority without prior approval. If the Authority is made aware of unapproved advertising on websites or company literature the supplier will be contacted and requested to remove such references.

- Costs

  - The Authority will not accept any responsibility whatsoever for any costs incurred by Tenderers in preparing responses. No guarantee is given as to the validity of the data provided by the Authority. Where Tenderers are required to provide a presentation and/or attend meetings called by the Authority this will be at the Tenderers own expense.

- Qualification

  - Tenders must be submitted strictly in accordance with the contract documentation and the format required.  Applicants must not make any changes to these documents unless specifically invited to do so. Failure to do so could see your bid rejected.

  - Whilst ESFA is prepared to consider changes of a minor nature, it is not prepared to accept material changes to the terms and conditions.  For the avoidance of doubt, bidders should note that if a submission is subject to a qualification which ESFA at its sole discretion deems ‘material’ and unacceptable, their bid will be deemed to be non-compliant and disqualified.  Consequently, no further consideration of their bid will be carried out.

  - It is envisaged that a single contractor will be appointed on to the call off.

  - East Sussex Fire Authority does not bind itself to accept the lowest or any bid, and unless a bidder expressly states that a partial award will not be acceptable, then the right is reserved to accept a bid in part. Where lowest bids are within 5% of each other, we reserve the right to consider awarding to a supplier by taking into account other value added services in addition to the core requirement.

  - Upon conclusion of the evaluation of responses, all bidders will be advised through the portal, of the outcome of the evaluation. Suppliers should do nothing at this stage that would incur costs for them, in support of the potential contract until a contract is created between East Sussex Fire Authority and the appointed contractor.

- Method and Criteria of Evaluation

  - Your tender response will be used by the Authority to evaluate the Tender submissions. Please ensure you read the explanatory notes preceding the questionnaires in full before responding, as the information you give within the questionnaires will be relied upon as being true and accurate and will form part of the contract for the successful Applicant. If any of the information given by your organisation within the questionnaires and Tender process is subsequently identified as being inaccurate, this may exclude your organisation from further consideration or could result in contract termination.

  - This will be a price only tender with a pass/fail Quality and Social Value section. Your responses to the questions in Section 5 will be considered in line with the scoring below. Had they been scored questions, any response that would have received a mark of 3 or higher, will pass and there price bid will be evaluated. Any question response that would have received a mark below 2 will be deemed a fail and your price will not be evaluated.

  - A bidder who passes the questions in section 5, will have their price bid considered. The winning supplier will be whoever, across all elements will provide the cheapest service.

  - The price tendered must be fixed for the term of the contract.

  - The evaluation marking of the ITT response will follow the guidelines detailed below:

| Marking guidelines | Score |
| --- | --- |
| Comprehensive and useful response which is innovative and fully meets expectations, including a full description of techniques and measurements employed. Excellent evidence provided to demonstrate that the Specification will be met. | 5 |
| Response satisfies requirement and includes a good level of detail. Some good evidence provided to demonstrate that the Specification can be met. | 4 |
| Response meets minimum requirements but remains basic and could have been expanded. Response is sufficient with just enough evidence to demonstrate the Specification can be met. | 3 |
| Poor response only partially satisfies requirement, with deficiencies apparent. Falls short of minimum expectations. Insufficient evidence to demonstrate that the Specification can be met. | 2 |
| Poor response - only attempted to answer requirement, with major deficiencies. Insufficient evidence to support the response. | 1 |
| Question not answered / response is unsatisfactory. Insufficient evidence to support the response to allow the Authority to evaluate. | 0 |

- Qualification

  - Tenders must be submitted strictly in accordance with the contract documentation and the format required.  Applicants must not make any changes to these documents unless specifically invited to do so. Failure to do so could see your bid rejected.

  - Whilst ESFA is prepared to give consideration to any changes of a minor nature, it is not prepared to accept any material changes to the terms and conditions.  For the avoidance of doubt, bidders should note that if any submissions are subject to a qualification which ESFA at its sole discretion deems ‘material’ and unacceptable, their bid will be disqualified and deemed to be non-compliant.  As a consequence, no further consideration of their bid will therefore be carried out.

  - It is envisaged that a single contractor will be appointed on to the call off.

  - East Sussex Fire Authority does not bind itself to accept the lowest or any bid, and unless a bidder expressly states that a partial award will not be acceptable, then the right is reserved to accept a bid in part. Where lowest bids are within 5% of each other, we reserve the right to consider awarding to a supplier by taking into account other value added services in addition to the core requirement.

  - Upon conclusion of the evaluation of responses, all bidders will be advised through the portal, of the outcome of the evaluation. Suppliers should do nothing at this stage that would incur costs for them, in support of the potential contract until a contract is created between East Sussex Fire Authority and the appointed contractor.

Devolution

  - With the introduction of The English Devolution and Community Empowerment Bill, the areas of West Sussex, East Sussex and Brighton are considering whether they will combine into a single Mayoral Combined County Authority, to form a larger strategic authority. Until that decision is made, how that will impact the East Sussex Fire Authority is unclear at present.

However, with the first mayoral election due to take place in May 2026, what is likely is that within the term of this contract, the East Sussex Fire Authority, the legal entity awarding the contract will cease to exist and at that point this contract may either end or require to be novated to the new legal entity responsible for Fire and Rescue provision within the current area known as East Sussex.

What is less likely but possible providing we have given notice it may occur at the point we tender for the supply, is that we would look for this contract, once novated, to be extended to all fire and rescue sites across the new combined area providing the successful supplier is both willing and able to, cover the expanded area. Should this be considered we would discuss it first with the successful supplier then take legal advice as to whether the option is viable.

It is for this reason that we have reduced the term of the contract from our usual three years but provided scope for contract extensions to give the flexibility in a period of change expected.

Social Value

  - East Sussex Fire & Rescue Service supports and would look to its contractors to follow Social Value issues.  Examples of Social Values are detailed below:

- Appointment of apprenticeships and supporting skills development;

- Providing additional opportunities for individuals or groups facing greater social or economic barriers;

- Supporting work placements to school children and young adults;

- Recruitment of locally engaged labour;

- Recruitment of long-term unemployed labour;

- Recruitment of Young People Not in Education, Employment or Training (NEET);

- Procurement and sourcing of sustainable works, supplies and services;

- Encouraging ethical and fair-trade procurement; and

- Community engagement

More information on Social Value issues can be found at https://socialvalueportal.com. You should consider this when answering any question relating to Social Value.

.

section 2   PREPARATION & SUBMISSION OF RESPONSES

  - This Tender will be managed electronically via the In-Tend Portal. It can be reached via:			https://sell2.in-tend.co.uk/blpd/home

  - Please return your response in English and in PDF format, via this route only. Please note, the portal is the sole route for communications during the process.

  - Suppliers need to be registered to use the portal and registered against us as a Contracting Entity, but registration is free and further information on how this is achieved, can be found at:	https://sell2.in-tend.co.uk/blpd/register

  - If you are unsure about your companies registration status, please contact In-Tend Portals support at:		https://in-tend.co.uk/contact-us/

  - If you have any difficulties with the In-Tend Portal that you are unable to resolve through the Sell2UK helpdesk, please email procurement@esfrs.org.

  - The closing date for the submission of your tender is

12.00 noon on 12th December 2025

  - Tenders submitted after the time and date shown or received by any method other than via the electronic portal, will automatically be rejected.

  - If you require further information concerning the tender process, or the nature of the proposed contract, please contact us via the portal.

  - Should questions arise during the tendering period, which in our judgement are of material significance, we will write to all tenderers to explain the nature of the question, and our formal reply.

  - Questions about areas of this tender which you require clarification on, will be accepted from suppliers until:

12.00 noon on 5th December 2025

Section 3	Background

  - The East Sussex Fire Authority (ESFA) is responsible for the provision of the fire and rescue service in East Sussex and the City of Brighton & Hove via the East Sussex Fire and Rescue Service (ESFRS) which is an emergency public service, which requires to be fully operational 24 hours each day on every day of the year.

  - The Authority serves the population within the City of Brighton & Hove and the county of East Sussex (approximately 830,000 people) and has a network of both operational and support staff operating out of the Authority Headquarters, 23 Community Fire Stations, and Engineering Workshop and the Service Training Centre. The 23 Community Fire Stations consisting of 6 wholetime crewed as 24/7 operations; 6 medium stations that are day crewed by staff and 11 smaller retained crewed stations where staff attend on an on-call basis

  - In April 2017, East Sussex Fire and Rescue Service moved it HQ from Eastbourne and co-located its service Headquarters with Sussex Police at Church Lane in Lewes.

  - This call-off contract will cover the servicing and maintenance of fuel pump, dispensing equipment and the associated gauges across our Estate and call-outs to repair and/or faulty equipment.

If possible, we may look to extend the scope to the checking of our tanks but the core of the contract is making sure the pumps and dispensing equipment is compliant.

  - The successful Contractor will therefore have to demonstrate that they have the capability and capacity to deliver routine servicing and ad-hoc requirements in a timely manner.

  - We agree with the successful Service Provider from when service delivery can begin. At this point we are hopeful it will commence by the 1st March 2026.

Section 4 	Specification

- Across East Sussex on the 23 Community Fire Stations and a Service Training Centre we have fuel tanks containing automotive diesel with pumps and dispensing equipment to fuel our appliances and other service vehicles. This contract is designed to have each tested serviced and approved for use annually.

- Although sites may change the following reflects the position at the contract start:

| Station | Tank Size (ltrs) | Address |
| --- | --- | --- |
| Bohemia Road, Hastings | 5,000 | Bohemia Road, Hastings, TN34 1EX |
| Hove | 5,000 | English Close, Hove, BN3 7EE |
| Roedean | 5,000 | Roedean Road, Brighton, BN2 5RA |
| Preston Circus* | 9,600 | Preston Circus, Brighton, BN1 4NZ |
| Eastbourne | 10,000 | Whitley Road, Eastbourne, BN22 8LA |
| Service Training Centre | 10,000 | Batts Bridge Road, Maresfield, TN22 2HN |
| Uckfield* | 5,000 | Bell Farm Road, Uckfield, TN22 1BA |
| Broad Oak | 5,000 | Northiam Road, Broad Oak, Brede, TN31 6EP |
| Rye | 5,000 | Ferry Road, Rye, TN31 7DJ |
| Lewes* | 4,700 | North Street, Lewes, BN7 2PE |

- All of the associated diesel storage tanks are above ground with the exemption of the tanks at Preston Circus, Lewes and Uckfield Fire Stations, which are below ground tanks.

- We require the successful service provider to inspect and maintain on an annual basis all fuel pumps, dispensing equipment and gauges, however some tests require to performed 6 monthly so we will expect you to price for two visits annually.

- The equipment that we use on each site is as follows: -

- OLE C2020 Electronic Tank Gauge

- Hytek 230v ATEX Mains Tank Alarm c/w 2 Floats

- Anti-Syphon Valve for Diesel

- Pumptronics Zeon ZE11LC pump

- Sigma 750 with non-contact GSM Dataphone

- The successful service provider will carry out the following tasks once every 6 months:

- Check, rectify and if possible, report any noise, vibration or overheating,

- Check all holding down bolts and tighten, if required,

- Check casing for physical or mechanical damage,

- Touch up paintwork after removing signs of corrosion,

- Lubricate bearings and motors where lubricant points are provided.

- Do not lubricate bearing and motors that are fitted with ‘Sealed for Life’ varieties,

- Use only oil/grease that is in accordance with manufacturers recommendations,

- Inspect and adjust belts on belt driven pumps, as required,

- Ensure motor, drive and pulley are correctly aligned,

- Replace belts using manufacturers replacement belts if condition warrants it,

- If the drive has more than one belt ensure all belts are changed at the same time.  Do not apply belt dressing.

- Inspect and adjust glands, if necessary.  Repack, if required,

- Clean suction line strainers

- The successful service provider will carry out the following tasks once every 12 months:

- Check setting and test functionality of pressure switches and level controls,

- Check motor electrical terminals and tighten, if required,

- Check electrical connections,

- Check and record full load running current and compare with nameplate details,

- Check function and operation of local isolation device (stoplock/isolator),

- Examine and report condition of all associated wiring,

- Ensure security of all terminal connections,

- Check for satisfactory condition of any flexible cables/conduits,

- Ensure plant has adequate earth conductor and that bonding is secure,

- Under certain conditions (dusty environment) more frequent cleaning of the motor vent slots may be required,

- Check that the drive guards are in place and secure,

- Check operation of valves isolation, regulation and non-return valves.  Tighten glands or repack, if necessary,

- Check for blockage and clean drain and tundish, where fitted,

- Check and record the pump pressures,

- All electrical enclosures & fittings suitable and free of damage,

- Before attending site, visits have to be pre-agreed with the ESFRS Estates team and the stations informed. Should an agreed visit have to be res-scheduled, agreement for a new date must be sought from the ESFRS Estates Team. The station must then be informed both of the cancellation and of the replacement date.

- Whilst on site all contracting staff need to be aware of the risks inherent of an operational fire station and adhere to the Guidance for Contractors Working on East Sussex Fire Authority Premises detailed in Section 7 below

Health and Safety

- The Contractor shall prepare all relevant Health and Safety risk assessments and safe working methods relevant to the provision of the Services and shall deposit a copy of each with the Responsible Officer prior to the Commencement Date.  The Service Provider shall keep these documents up to date and promptly provide updated copies to the Responsible Officer on request.

- The services must be provided in compliance with all relevant legislation including specifically the Health and Safety at Work Act 1974 and Work at Height Regulations 2005, and as they may be amended from time to time and in accordance with any other relevant Regulation or recognised best practice.

- The Contractor will be required to provide evidence of Health and Safety training and staff toolbox talks, and where they sub-contract any work, how they ensure their sub-contractors meet the same requirements.

- The successful Contractor will be required to supply their current Health and Safety Policy, before contract award, and will require to submit their updated guidance annually, on the anniversary of the contract award.

Environmental Considerations

- The Authority requires that the Service Provider shall operate in an environmentally conscious manner and in accordance with relevant legislation. They or any sub-contractor working for them, must dispose of anything removed from an ESFA site, in accordance with the current relevant waste equipment and environmental regulations, and provide to ESFRS satisfactory evidence of compliance. In this case this will include fuel samples or spills.

Sub-Contracting Services

- We expect the successful supplier to deliver the core service of the contract without the need to use sub-contractors, but if used, their costs must be covered within the rate bid.

- Any sub-contractors to be used by the successful supplier, to deliver this contract, must be agreed in advance with East Sussex Fire Authority. When on site they must be easily identifiable as working on behalf of the successful supplier.  Please detail any sub-contractor you plan to use in Section 5 below.

- Where a Service Provider chooses to sub-contract any work for the core contract, the cost of any induction and supervision of the sub-contractor, must not be charged back to ESFA.

- The responsibility to ensure that the staff performing any sub-contracted work are suitably qualified and registered accordingly to perform the tasks they are being asked to do, rests with the successful supplier as part of their own due diligence of their sub-contractors.

- Sub-contractors working on behalf of the Service Provider on the ESFA contract must be paid subject to the same, or better terms than the successful supplier agrees with ESFA.

- All bidding suppliers and their sub-contractors will be subject to an excluded status check as required by the Procurement Act 23. No excluded supplier may be given a contract paid for by public funding.

Key Performance Standards

- The following KPI’s are expected of any successful supplier:

- To attend and complete 90% of all routine repairs within 3 working days of notification;

- To attend on site of the day planned for scheduled maintenance, 95% of the time.

- To provide a report and certification the pump is safe to use within 10 working days of the 6 monthly or annual visit, 100% of the time.

- The invoice for work completed, never to be submitted until report and certification documentation has been supplied.

- To provide copies of waste clearance certificates for waste removed from ESFRS sites within 10 working days, 100% of the time.

KPIs will be discussed at review meetings, and the supplier will be expected to provide the data.

Specific Regulations and Legislation

- The main specific Regulations and Legislation that the contractor must adhere to are:

- Petroleum (Consolidation) Act 1928

- Health & Safety at Work Act 1974

- Control of Substances Hazardous to Health Regulations (COSHH)

- Work at Height Regulations 2005

- Provision and Use of Work Equipment (PUWER) Regulations

- Management of Health and Safety at Work (MHSW) Regulations

- Waste Electrical and Electronic Equipment Directive

- Control of Asbestos Regulations 2012

- Control of Pollution Act 1974

As a result, the contractor, and any sub-contractors they may use, must ensure all staff are trained, equipped (including appropriate personal protective equipment appropriate to the task) and competent to work in both confined spaces and at height. They will be required to provide, and manage, any Permit to Work and ensure that anyone going onsite on their behalf is site inducted.

Service Requirement

- To carry out scheduled maintenance 6 monthly and annually as described above and provide a reactive repair response within a maximum of 3 working days of notification across the ESFA Estates.

- Reactive Repair requests will generally be issued via email with a job reference number from our CAFM system and will come with our approval to proceed.

- Where due to complete failure, ESFA require works estimation costs in advance of an instruction then the time taken to provide that estimate including any travel costs must not be chargeable. These will be the exception rather than the norm.

- The contractor will attend a contract review meeting with ESFRS at our premises if requested. Frequency can be agreed, but unless there are problems, they are likely to be 6 monthly or even annually.

Invoicing

- Invoicing will be in arrears supplied once all sites have been serviced and to be agreed as either being once annually or twice 6 monthly. Invoices for reactive repairs will be sent once monthly

- Invoices must include the relevant purchase order number and should be sent by email, in PDF format to:  finance@esfrs.org.  Invoices that do include the notified purchase order number, could incur a delay to payment

- Payment will be by BACS and undisputed invoices shall be paid within 30 days in accordance with the Terms and Conditions.

Additional Ancillary Services

- This successful Contractor will need to be able to perform the servicing as detailed above however, there are a number of associated areas we may look to include within this contract if the successful supplier was able and willing to do so also.

- While we would be pleased to consolidate these services under a single supplier, you should not bid on the basis that this work will be forthcoming or will be included in this contract. It is not guaranteed as it is dependent on a number of factors including the price bid, and how specialist the requirement turns out to be.

- You will not be penalised in your tender if you cannot supply all or any of them as they are not core to the requirement.

Above Ground Diesel Tanks

- As with the pump and dispensing equipment, we would like an annual review of the above ground tanks to include:

- A general review of their condition – including a report of any damage with pictures

- Establishment that they are still firmly secured in place;

- Some kind of pressure or other test to ensure they are not leaking;

- Fuel sample taken and a test performed to identify any contaminant level

It you are able to provide a suitable test and certification of the tank, you should provide a description of what you will do and what that will cost. You should assume that it will be done on the same visit as the pump and dispensing equipment service – that we will not require a separate visit.

- If this is achievable, it is possible it may be extended to include the smaller diesel feeder tanks for our emergency generators at Bohemia Road, Eastbourne and Service Training Centre at Maresfield.

Assuming tanks for heating oil and kerosene can be tested in a similar manner to diesel tanks, this requirement may also be extended to the testing of those additional tanks at Eastbourne, Hove, Service Training Centre x 2 and one additional site that has no associated diesel provision, at Barcombe Fire Station

Below Ground Diesel Tanks

- We still have 3 below ground diesel tanks and would like them surveyed and a report produced as to their condition. This is a one-off requirement but should you be able to do it, and depending on cost, and tank condition, we may choose to vary the contract for the survey to be done annually. If you able to provide the service, you should detail what we will get, how it will be done, any considerations that may impact on the cost and what the cost will be in the appropriate place in Section 6 Pricing.

Replacement Above Ground Diesel Tank

- We have recently replaced the majority of our diesel fuel tanks, However, perhaps due to storm or accident damage or a decision taken to de-commission an underground tank, we may need to deploy a new replacement tank in full.

As we deploy more emergency generators to keep key sites running in the event of power failure, there may even be the requirement for smaller feeder tanks to run the generators albeit without dispensing equipment.

If you are able to perform this service, from the concrete slab the tank will sit on, the provision of the new bunded tank along with the pump and dispensing equipment and the power supply to make it all work if required – you should detail that in the appropriate place. If you can only do some elements of the total requirement, you may detail that.

This will not be priced but be subject to quote for each requirement. However, if we are to award the work to you as a result of this tender, some indication of what the individual elements will cost will be required now such as the cost of a tank supplied to site; the cost of a pump and the cost of a dispensing equipment unit, fitted and working.

Section 5    Technical and Quality Questionnaire

- Explanatory notes

- Please read this document carefully before preparing your response, as the information disclosed will form the basis of any agreement. If it is subsequently determined that any information supplied was inaccurate or false, the East Sussex Fire Authority reserves the right to terminate the contract.

- Any questions relating to this questionnaire or to the tendering process as a whole, must be referred via the portal detailed in section two. All clarification questions will be logged, and written responses provided to all Tenderers, however the identity of Tenderers raising the question will remain confidential.

- Please complete these questionnaires and return this, via the Portal.

- Freedom of Information

- The Freedom of Information Act, which came into effect on 1 January 2005 means that all individuals will have the right to any recorded information held by public authorities unless covered by one of the 23 exemptions, which protect certain information.  This right is retrospective regardless of the date the information was generated and must be provided within 20 working days.  Any information held by the supplier relating to the Authority will be subject to the Act in the same way as information held by the Authority.

- Do not complete the information here.

- There is a separate simplified document to containing just the questions to complete that will be smaller to print and sign. The Section 5 submission must be in MS Word format.

- Your bid must be wet ink signed before submission.

- There is no need for supporting documents or embedded documents to be supplied with these answers. We will take your statements as fact although we may seek clarification.

- Your tender should consist of two documents – a completed section 5 Quality Return (in MS Word format) and a completed Section 6 Pricing return (in MS Excel format)

- Both documents should retain the document names as supplied but with – ‘supplier name’ added at the end.

- Anything else submitted may be ignored.

Technical Questions

5.1	Grounds For Mandatory Rejection

If you answer ‘yes’ to any question regarding Mandatory grounds for exclusion the Authority must automatically reject your tender.

The Authority’s decision in this regard is final.

Please answer ‘Yes’ or ‘No’ to each question.

| Has your organisation or any directors or partner or any other person who has powers of representation, decision or control been convicted of any of the following offences? | Answer Yes/No |
| --- | --- |
| - conspiracy within the meaning of section 1or 1A of the Criminal Law Act 1977 or article 9 or 9A of the Criminal Attempts and Conspiracy (Northern Ireland) Order 1983 where that conspiracy relates to participation in a criminal organisation as defined in Article 2 of Council Framework Decision 2008/841/JHA; |  |
| - corruption within the meaning of section 1(2) of the Public Bodies Corrupt Practices Act 1889 or section 1 of the Prevention of Corruption Act 1906; where the offence relates to active corruption; |  |
| (c) the offence of bribery, where the offence relates to active corruption; |  |
| (ca) bribery within the meaning of section 1, 2 or 6 of the Bribery Act 2010; or Section 113 of the Representation of the People Act 1983. |  |
| (d) fraud, where the offence relates to fraud affecting the European Communities’ financial interests as defined by Article 1 of the Convention on the protection of the financial interests of the European Communities, within the meaning of: |  |
| - the offence of cheating the Revenue; - the offence of conspiracy to defraud - fraud or theft within the meaning of the Theft Act 1968, the Theft Act (Northern Ireland) 1969, the Theft Act 1978 or the Theft (Northern Ireland) Order 1978; - fraudulent trading within the meaning of section 458 of the Companies Act 1985, article 451 of the Companies (Northern Ireland) Order 1986 or section 993 of the Companies Act 2006; - fraudulent evasion within the meaning of section 170 of the Customs and Excise Management Act 1979 or section 72 of the Value Added Tax Act 1994; - an offence in connection with taxation in the European Union within the meaning of section 71 of the Criminal Justice Act 1993; - destroying, defacing or concealing of documents or procuring the execution of a valuable security within the meaning of section 20 of the Theft Act 1968 or section 19 of the Theft Act (Northern Ireland) 1969; - destroying, defacing or concealing of documents or procuring the execution of a valuable security within the meaning of section 20 of the Theft Act 1968 or section 19 of the Theft Act (Northern Ireland) 1969; - fraud within the meaning of section 2, 3 or 4 of the Fraud Act 2006; or - the possession of articles for use in frauds within the meaning of section 6 of the Fraud Act 2006, or the making, adapting, supplying or offering to supply articles for use in frauds within the meaning of section 7 of that Act |  |
| (e) money laundering within the meaning of section 340(11) of the Proceeds of Crime Act 2002; |  |
| (i) an offence in connection with the proceeds of criminal conduct within the meaning of section 93A, 93B or 93C of the Criminal Justice Act 1988 or article 45, 46 or 47 of the Proceeds of Crime (Northern Ireland) Order 1996; or |  |
| (ii) an offence in connection with the proceeds of drug trafficking within the meaning of section 49, 50 or 51 of the Drug Trafficking Act 1994; or |  |
| (f) any other offence within the meaning of Article 57(1) of Public Contracts Directive 2004/18/EC as defined by the national law of any relevant State. |  |

5.2  	Grounds for Discretionary Rejection

If you answer ‘yes’ to any question regarding Discretionary grounds for exclusion the Authority may reject your tender unless you provide sufficient evidence of any remedial action you have taken.

|  | Within the past three years, have any of the following situations been applied, or do any currently apply, to your organisation? | Answer Yes/No |
| --- | --- | --- |
| a) | your organisation is bankrupt or subject to insolvency or winding-up proceedings, where assets are being administered by a liquidator or a Court, where it is in an arrangement with creditors, where its business activities are suspended, or is in an analogous situation arising from a similar procedure under the laws and regulations of any State; |  |
| b) | your organisation is guilty of grave professional misconduct, which renders its integrity questionable; |  |
| c) | your organisation has entered into agreements with other economic operators aimed at distorting competition; |  |
| d) | your organisation has a conflict of interest in relation to the Authority as defined in Section 81 of the Procurement Act 23 that cannot be effectively remedied by other, less intrusive, measures; |  |
| e) | the prior involvement of your organisation in the preparation of the procurement procedure has resulted in a distortion of competition, as referred to in Section 16(5) of PA23, that cannot be remedied by other, less intrusive, measures; |  |
| f) | your organisation has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions |  |
| g) | your organisation — - has been guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or |  |
|  | (ii) or an associated person to your organisation, has been excluded under the terms of the Procurement Act 2023 or |  |
|  | (iii) your organisation has undertaken to: - unduly influence the decision-making process of the contracting authority, or - obtain confidential information that may confer upon your organisation undue advantages in the procurement procedure; or - your organisation has negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |
| h) | has your organisation or any of its directors or Executive Officers, in the last 3 years, had any of the following: - Health & Safety Executive enforcement/remedial orders - Local Authority Improvement, - Environment Agency Improvement - Prohibition Notices - Complaints upheld, following investigation by Equality and Human Rights Commission - any finding of unlawful discrimination made against you by an Employment Tribunal or Employment Appeal Tribunal or Prosecutions through any other court - RIDDOR incidents? |  |

If you answered ‘Yes’ to any question above, please detail any remedial action taken:

  - Insurance

| Question | Answer |
| --- | --- |
| Do you (and any relevant sub-contractors or consortium members) already have, or can you commit to obtaining, prior to the commencement of the contract, the levels of insurance cover indicated below: Employer’s (Compulsory) Liability Insurance = £10m Public Liability Insurance = £7m Product Liability Insurance - £1m Copies of your current Insurance Certificates will be requested from the successful Applicant before Contract Award. You may supply them with your bid if you choose. | Yes/No |

- 5.4	Company Background and Information

| Company Name |  |  |
| --- | --- | --- |
| Address |  |  |
| Registered Address (if different from above) |  |  |
| Company Registration Number |  |  |
| If you are not a Limited Company, what is your legal status |  | Sole Prop/Partnership/etc |
| Are you and SME? |  | Yes/No |
| Public Procurement Organisation Number - CDP Identifier |  | (12 digits) |
| Main Contact |  |  |
| Contact Telephone |  |  |
| Contact Email |  |  |
| You may add below any details not covered in the above or your answers to the questions below, that you think are relevant that we should know. Keep it brief as it is only background information and will not aid the response. You need not complete anything bit if you do keep it to this page. |  |  |

  - The following questions are designed to ensure you understand our requirement and you are capable of providing the service required. You should complete them all fully. They are not scored as price is the only determinant but they will be used by us to assess your capability to provide the service in a pass/fail approach.

  - If we are not satisfied you can provide the service based on your responses, your price bid will not be evaluated. The decision of East Sussex Fire Authority to reject a price bid is final.

Q1. Provide details of how you will ensure how you ensure the staff attending our sites will be suitably trained and qualified to perform the tasks they are being asked to do. Cover specifically how they maintain competency, how they acquire the personal protective equipment and any specialist tools they might require and how you would deal with changes to regulations if required.

This question is designed to help us understand how your staff are trained, to what standard and how they remain competent. We will expect a clear description and also some clarity about the PPE and tools your engineers will deploy with; to establish you understand the industry and can demonstrate you are a bona fide supplier.

Q2. Provide details about your current protocols of dealing with wastage of fuel and oils and how you dispose of the material in adherence with the Control of Pollution Act 1974.

This question is designed to help us understand what you will do with fuel wastage or spills during the servicing process. We would expect our sites to be clean and spill free after servicing but know these can happen and want to know how you will deal with it.

Q3. Provide details of how many trained engineers you have to call from that could generally specifically operate in East Sussex. Although this contract does not require an emergency 3 hour attendance, how soon from reporting a fault would you expect to be on site to attend to it

This question is designed to determine your resilience to attend and realistically how soon that might be. As an emergency service, we have a requirement for 3 working days maximum, but we have set that without knowing what the normal attendance rates might be as we have not tendered for service before.

Q4. Provide details of how you will communicate to the relevant stakeholders during the term of this contract. Cover specifically what arrangements you will have in place to inform stations of planned visits and how you will contact central support teams in respect of faulty equipment or equipment approaching end of life.

Again, as an emergency service, we have a clear requirement to know when any faults in any area are likely to be resolved to move to business as usual. For that to happen there must be could communication between all the parties concerned. For that reason, we like to ensure our suppliers have clear and established communication protocols that they will deploy, and why we ask the question.

Q5. Provide details of your protocols to show how you would deal with any emergency situations that may occur during the contract term? For example, a fuel pump, dispensing system or tank leaking.

Whilst the fuel tanks themselves are not core to this contract, we have included the scenario within this question to get an understanding of what might be possible. In the event of a serious fuel leak, some indication of whether you have an emergency response option would be useful and how soon that can be deployed to East Sussex if activated.

Q6. Provide details below of any sub-contractors that you plan to use for this contract, and elements of the service do you plan to use them for?

As a result of the Procurement Act 23, every supplier, any sub-contractor they use or relevant person in both have to be checked to ensure they are not excluded from receiving a contract funded by public money. In order to do that, we have to gather the relevant information as it will be required for the contract. If you plan to use a sub-contractor, the fully legal name of the entity must be listed here and you should indicate clearly what elements of this contract will be handled by the entity bidding and what will be done by a sub-contractor working for them.

Due to several factors including the Procurement Act 23 and Government Public Procurement Notices, all Public Authorities issuing contracts must ensure that the suppliers that receive those contracts are acting with Social Value principles at the heart of what they do. Some examples of how this might be demonstrated are given in 1.24 of Section 1 although these are not comprehensive.

Where this section had been scored it would have been worth a minimum of 10% of the marks available. As it is not, we are expecting responses that indicate you understand the social value requirements that must be adhered to for public contracts and that you are employing them.

Q7. Provide details of Social Values initiatives you may be involved with particularly how you tackle economic inequality in your local area.

You should focus on apprentices if you have any, and the employment of young persons or long-term unemployed labour but you can include other initiatives you are involved with or support locally. You should also cover any that you have or will introduce that specifically benefit the residents of East Sussex, Brighton and Hove who predominantly fund this service.

Q8. Provide details on your total number of employed staff, the number of those being paid the national minimum wage and/or the number on the national living wage.

The Government has a clear policy that suppliers who receive public contracts are providing fair wages for the work done. As a result, they are looking to ensure suppliers that get these contracts are not deploying staff mainly on the national minimum wage. You should detail how many staff you have and how their wages relate. We are not asking for specific salaries.

Q9. Provide details on your payment performance over the last calendar of financial year. The number of invoices paid, and the number paid with 30 days of their receipt.

The Government has a clear policy that suppliers who receive public contracts are paying their suppliers at least as quickly as we expect to pay them – within 30 days of your invoice being received. Suppliers who regularly delay payment to their suppliers beyond this term should not be receiving public contracts. This requirement will be detailed in any subsequent contract and suppliers failing to do so can have their contract cancelled.

This section does not need completing. You may also provide additional details you feel are relevant to this service, not already covered in a response to the questions above. You should focus this on things that make you unique, or areas that you believe you excel at that would benefit us. If used, do not exceed this page.

Additional Ancillary Services

Above Ground Tanks

| Are you able to test and certificate above ground tanks? | Yes/No |
| --- | --- |
| If yes, for the pricing declared in Section 6 for this service, describe below what you will do: |  |

Below Ground Tanks

| Are you able to survey below ground tanks? | Yes/No |
| --- | --- |
| If yes, for the pricing declared in Section 6 for this service, describe below what you will do, Cover any limitations or issues that might cost more than you are estimating: |  |

Replacement Tanks

| Are you able to provide new and/or replacement tanks? | Yes/No |
| --- | --- |
| For a completely new or replacement tank, cover what you can do below. Make it clear what areas you do not cover and what we alternatively would need to provide for a tank on a new site for example. If you cannot provide everything required for a new tank, you should cover what elements you are able to do. |  |

Fuel Sample Testing

| Are you able to provide fuel sample tests? | Yes/No |
| --- | --- |
| Is that on site on the day or sent for analysis? | On site/ Sent off |
| If sent off, how long does it take for a result? | days |
| Is the sample sourced direct from the tank? | Yes/No |
| Cost to take and test a sample during a normal visit? | £ |
| Cost to attend specifically just to take and test a sample? | £ |

Section 6 – Pricing Schedule

All pricing should exclude VAT.

Prices shall be firm for the contract period.  Please ensure your price includes anticipated labour and material cost increases accordingly, as there will be no allowance for adjustments.

All scheduled attendance rates and prices should include and make allowance for, all replacement consumable parts, overheads, incidental and subsistence costs and travel to site mileage and time costs.

East Sussex Fire Authority reserves the right:

- to amend pricing bids where any obvious arithmetical errors have been made;

- to reject bids where the supplier completes pricing in a format other than directed and we consider it is not clear how to extrapolate to the correct format;

- to reject bids where the pricing submitted is contradictory, unclear what it relates to or does not refer to the tender specification.

East Sussex Fire Authority will not seek clarification from you on pricing. We will amend if it is clear how to do so and reject your bid if there is any ambiguity.

The decision of East Sussex Fire Authority to either amend or reject a price bid is final.

6.1 	Single 6 monthly Inspection Visit

| To carry out a 6-monthly inspection (includes all statutory servicing, maintenance and testing) of the fuel pumps and dispensing equipment at the sites detailed below as specified above: |  |
| --- | --- |
| Station | Single 6 monthly visit |
| Bohemia Road, Hastings | £ |
| Hove | £ |
| Roedean | £ |
| Preston Circus | £ |
| Eastbourne | £ |
| Service Training Centre | £ |
| Uckfield | £ |
| Broad Oak | £ |
| Rye | £ |
| Lewes | £ |
| Total for visit | £ |

6.2	Single Combined 6 Monthly and Annual Visit Requirement

| To carry out both a 6-monthly inspection and the additional 12 monthly inspection requirement (includes all statutory servicing, general maintenance and testing) of the fuel pumps and dispensing equipment at the sites detailed below as specified above: |  |
| --- | --- |
| Station | Single annual visit |
| Bohemia Road, Hastings | £ |
| Hove | £ |
| Roedean | £ |
| Preston Circus | £ |
| Eastbourne | £ |
| Service Training Centre | £ |
| Uckfield | £ |
| Broad Oak | £ |
| Rye | £ |
| Lewes | £ |
| Total for visit | £ |

All bidders to note that the total cost of 6.1 plus the total of 6.2 will be the annual cost for providing the servicing requirement as specified in Section 4 above

6.3	Ad-hoc Call out for Repair

Please provide in the table below your call-out charges (arrive within 3 days) for any reactive repairs that may be required during the contract term. Hourly rate should be inclusive of everything detailed above, including travel to site and any subsistence costs.

| Description | Indicative Times | Hourly Rate | Total for Evaluation |
| --- | --- | --- | --- |
| Call Out Charge (to include one hour on site) - NWH | 15 | £ | £ |
| Rate Per Subsequent Hour – Normal Hours | 5 | £ | £ |
| Total |  |  | £ |

6.4	Parts and Plant

While consumable parts routinely replaced as part of the annual or 6 monthly scheduled visits will form part of the visit cost declared above in 6.1 and 6.2, replacement parts for those that fail or are damaged will be paid at the cost you pay for them with a mark-up applied. Declare below what that mark up will be. If you are successful, we will routinely audit the cost to of a sample of parts charged for to determine the markup declared is being correctly applied.

|  | Cost for Evaluation | Mark up Applied | Mark up cost (Cost x %age) | Total Cost (Cost + Mark-up Cost) |
| --- | --- | --- | --- | --- |
| Replacement Parts or Equipment | £5,000 | % | £ | £ |
| Plant supplied | £1,000 | % | £ | £ |
| Total Cost for Materials and Plant |  |  |  | £ |

Pricing for Evaluation

| Total from 6.1 | £ |
| --- | --- |
| Total from 6.2 | £ |
| Total from 6.3 | £ |
| Total from 6.4 | £ |
| Total for Evaluation | £ |

The following sections do not count towards the price evaluation. The information gathered will support contract completion and ad-hoc requirements including contract variation if ever required

6.5	Above Ground Tanks

We have asked that you specify within the Section 5 Quality return whether you able to provide this service, and if you are to detail what the check will entail. This section will give you the opportunity for you to price for this service

| As per your detailed requirement in Section 5 for Above Ground Tanks: |  |
| --- | --- |
| Station | Single annual visit |
| Bohemia Road, Hastings | £ |
| Hove | £ |
| Roedean | £ |
| Eastbourne | £ |
| Service Training Centre | £ |
| Broad Oak | £ |
| Rye | £ |
| Total for visit | £ |

6.6	Below Ground Tank

| Requirement | Cost |
| --- | --- |
| Cost to survey and report on the condition of a 5,000 litre below ground Tank | £ |
| Cost to survey and report on the condition of a 10,000 litre below ground Tank | £ |

6.7	Replacement of new Above Ground Tank

| Requirement | Cost |
| --- | --- |
| Supply and fit a 5,000-litre tank to a prepared base | £ |
| Supply and fit a 10,000-litre tank to a prepared base | £ |
| Supply and fit a pump to a provided electrical supply | £ |
| Supply and fit the full dispensing solution to the fitted pump | £ |

QUALIFICATION OF OFFER

Responses will be accepted on the basis that the bidder fully complies with the East Sussex Fire Authority terms and conditions of contract as set out below, for the full duration that this contract will be in force. Any insistence by the bidder that a ‘qualification of offer’ shall prevail, that ESFA finds unacceptable, will allow ESFA to reject the bid. Please delete A or B as appropriate: - I/We do not wish to make any qualification(s) to offer. - I/We wish to make the following qualification(s) to our offer:

BIDDERS DECLARATION

When you have completed your response to this questionnaire you must certify below that the information provided in the response is complete and accurate.

I certify that the information is accurate to the best of my knowledge. I understand and accept that:

- false information could result in exclusion from the tender process;

- it is a criminal offence, to give or offer any gift or consideration whatsoever, as an inducement of reward to any servant of a Public Body;

and that any such action will empower the Authority to cancel any contract currently in place and could result in exclusion from all future Authority tenders.

In addition, I/We, the undersigned do hereby contract and agree on acceptance of this Further Competition, in whole or in part, to perform the Services, at the prices and terms quoted. This must not be an electronic signature.

Signed …………………………………………………...     Date ……………………………………….

Name (please print):

Position:

Company:

Address:

Telephone: ……………………………………  Email: ………………………………………………….

Section 7 – East Sussex Fire Authority Premises

| Station No. | Town | Address | Town | Postcode | *Full Time, Day Crewed or Retained |
| --- | --- | --- | --- | --- | --- |
| 70 | Rye | Ferry Road | Rye | TN31 7DJ | R |
| 71 | Broad Oak | Northiam Road | Broad Oak, Brede | TN31 6EP | R |
| 72 | Battle | High Street | Battle | TN33 0EE | DC |
| 73 | Bexhill | Beeching Road | Bexhill | TN39 3LG | DC |
| 74 | Burwash | Rosemary Gardens | Burwash | TN19 7ER | R |
| 75 | The Ridge | The Ridge, Ore | Hastings | TN34 2AD | FT |
| 76 | Hastings | Bohemia Road | Hastings | TN34 1EX | FT |
| 77 | Pevensey | Lyons Close | Pevensey | BN24 5LA | R |
| 78 | Wadhurst | Sparrows Green | Wadhurst | TN5 6ST | R |
| 79 | Herstmonceux | Hailsham Road | Herstmonceux | BN27 4LJ | R |
| 80 | Hailsham | Victoria Road | Hailsham | BN27 2AY | R |
| 82 | Heathfield | High Street | Heathfield | TN21 0UP | R |
| 83 | Crowborough | Beacon Road | Crowborough | TN6 1AF | DC |
| 84 | Uckfield | Bell Farm Road | Uckfield | TN22 1BA | DC |
| 85 | Forest Row | Station Road | Forest Row | RH18 5DW | R |
| 86 | Seaford | Cradle Hill | Seaford | BN25 3JA | R |
| 87 | Newhaven | Meeching Road | Newhaven | BN9 9QX | DC |
| 88 | Barcombe | Weald Close | Barcombe | BN8 5AZ | R |
| 89 | Lewes | North Street | Lewes | BN7 2PE | DC |
| 90 | Roedean | Roedean Road | Brighton | BN2 5RA | FT |
| 91 | Preston Circus | Preston Circus | Brighton | BN1 4NZ | FT |
| 92 | Hove | English Close | Hove | BN3 7EE | FT |
| 93 | Eastbourne | Whitley Road | Eastbourne | BN22 8LA | FT |
| 95 | Training Centre | Batts Bridge Road | Maresfield | TN22 2HN | Office Hours |
|  | Engineering Hub | Fort Road | Newhaven | BN9 9EJ |  |
|  | * Full time (FT) | Normally open 24 hrs per day |  |  |  |
|  | Day Crewed (DC) | Normally open from 09.00 to 18.00 each day |  |  |  |
|  | Retained ® | Open generally by arrangement |  |  |  |

Section 8	GUIDANCE FOR CONTRACTORS WORKING ON EAST SUSSEX FIRE AUTHORITY PREMISES

- INTRODUCTION

All sites will meet the requirements of current legislation to ensure that any approved companies or individuals not employed by East Sussex Fire Authority (ESFA) but required to enter ESFA sites for the purpose of work shall be subject to such controls and conditions which ensure that they meet appropriate standards of conduct before commencing and during any such works

It is the responsibility of every contractor engaged by ESFA to ensure that, prior to commencement of and during any works, that the East Sussex Fire and Rescue Service (ESFRS) Contracts Manager or Premises Representative has provided the contractor and his employees the appropriate information regarding the works and how to meet the current minimum standards of safe conduct required by ESFRS Policy.

This document outlines the safety requirements for contractors on ESFRS Sites. Failure to observe the safety rules contained in them may result in work being halted.

Your health and safety performance will be monitored throughout the period of the works.

- GENERAL REQUIREMENTS

- When working on a fire station, the contractor must be aware of what happens when an emergency call is received. The contractor must be able to recognise the turnout alarm and know what to do whilst crews are responding to the alarm and turning out.

- The Contractor shall ensure that all work under the contract is carried out in accordance with the relevant statutory provisions and with ESFRS policies in relation to Health and Safety, Management of Contractors, Environmental Protection and the requirements of these instructions and the best practices of the trade.  They shall be responsible for the safety of, and control of risks to health and the environment arising from, any article, plant, substances or premises which he owns, hires or has possession of, whilst on site.

- All Contractors are required to carry out contracts and use plant and equipment in accordance with statutes and practices designed to ensure the safety and freedom from risks to the health of their own Subcontractors and the ESFA employees, agents or visitors and the quality and safety of the product.

- No permission, consent or information given by or on behalf of ESFRS shall, in any way, relieve the Contractor of his liability under criminal or civil law.

- SPECIFIC HEALTH & SAFETY REQUIREMENTS

ALCOHOL

There is a strict ‘No Alcohol’ policy on our premises. Visitors and contractors may neither bring nor drink alcohol within our site boundaries.

ASBESTOS:

ESFRS will indicate to the Contractor the known presence of asbestos using the Site Asbestos Register.

A number of our premises have asbestos containing materials (ACM’s) within their construction. All our premises are clearly labelled as either containing asbestos or being asbestos free, by prominent signs on the entrance to the premises.

Where practical the ACM’s are labelled, and in all cases an extract of the Asbestos Register and safety information is included in the contractors manual at each site and in specific induction packs. If the contractor or sub contractor is in any doubt, do not start work.

If the Contractor discovers asbestos or any material that is suspected of containing asbestos then work must cease immediately and a report made immediately of the circumstances to ESFRS. Any work involving removal or disturbance of asbestos or any article or substance containing asbestos shall be carried out in accordance with ESFRS policy and statutory requirements by a licensed Contractor agreed by ESFRS. The Control of Asbestos Regulations 2012 apply.

CONSTRUCTION, DESIGN AND MANAGEMENT (CDM):

The Construction, Design and Management Regulations 2015 (CDM) do not apply.

COMPRESSED GAS CYLINDERS:

Gas cylinders present a range of hazards from that of falling over to causing fires and explosions. Contractors must ensure that they are used safely as per the safe working practices set out by HSE. Cylinders containing flammable gases or oxygen must be removed from any building to an approved location, when not in use. The Dangerous Substances and Explosive Atmospheres Regulations and Control of Substances Hazardous to Health Regulations 2002 apply.

COMPANY PLANT AND EQUIPMENT:

Contractor’s employees must not interfere with ESFRS plant and equipment unrelated to work under the contract. Other than fire alarms and emergency equipment, no person shall use any plant or equipment owned by ESFRS.

Where plant and equipment has to be dismantled, guards removed or safety systems made inoperative as part of the contract work, the Contractor must ensure that such plant and equipment is properly isolated or otherwise made safe before starting work and that the appropriate authorisation is in force in accordance with ESFRS Rules.

On completion or suspension of such work, the plant and equipment must be made safe either by secure isolation or reinstatement of guards and safeguarding systems. All guards and safeguarding systems must be reinstated before the plant and equipment is returned to use.

CONFINED SPACES:

The Contractor must not permit his employees to enter any confined space including any chamber, tank, pit, pipe, flue, silo, storage bin, unless a Permit-to-Work system in accordance with ESFRS procedures is being followed. The Confined Spaces Regulations 1997 apply.

In addition to all other requirements, a second person must always be present during work in a confined space as identified in assessment and safe systems of work (no lone working permitted).

CONTRACTORS’ EMPLOYEES:

The Contractor must ensure that his employees and any Subcontractors appointed by them are competent to carry out and/or manage the work required of them effectively and safely. Supervisory staff must be nominated to ensure that the work is being carried out in a safe and satisfactory manner at all times. Contractors should ensure that employees are familiar with ESFA site fire, emergency and security procedures, have been inducted and have signed a copy of the ESFRS Rules for Contractors and Service Providers.

Non ESFA Employees/Contractors/ Sub-Contractors are forbidden from entering areas other than those where the work necessarily takes them and welfare facilities which it has been agreed may be used.

The Contractor shall provide their employees with all protective clothing and equipment required by legislation and Company rules including but not limited to:

- Safety helmets.

- High viz jackets.

- Safety boots.

- Eye protection for employees carrying out chipping, sanding, grinding, welding or dividing materials and similar operations.

- Approved breathing apparatus and respirators for employees exposed to dangerous fumes, dusts, fibres or lack of oxygen.

- Ear protection where employees are working within designated ‘Ear Protection Zones’ or using noisy equipment.

The Contractor shall ensure that protective clothing and equipment is maintained in good order and is used by his employees.

CONTRACT MATERIALS:

The Contractor must ensure the safe storage of all substances, materials and articles brought to site.  All materials must be properly stacked in areas which do not obstruct free movement around the site. No highly flammable liquids and liquefied petroleum gases may be stored except in areas approved by ESFRS.  Flammable materials must not be stored in any position where they would prejudice the safety of any means of escape in case of fire.

ESFRS must be informed of all substances brought on site which may be hazardous to health as defined in the Control of Substances Hazardous to Health Regulations 2002 and also of any operations which may result in the production of hazardous substances. These substances and operations shall have been subject to an assessment of risk as required by the Regulations. Where this has not already been done or because the particular circumstances of use make it necessary a risk assessment must be carried out before the substance(s) is used.

CONTRACTORS PLANT AND EQUIPMENT:

The Contractor must ensure that all plant and equipment brought to the site is in a safe condition and complies with statutory requirements applying to its use, particularly in respect of any requirements for periodic examination. Contractors’ employees should be sufficiently trained, experienced and competent to operate the equipment they use.  ESFRS reserves the right to examine plant and equipment brought to the site to determine its fitness for use.

- No plant or equipment producing a noise level in excess of 85dB(A) shall be used on ESFA premises without written permission.

- No plant, equipment or machine driven by internal combustion may be used within any ESFA building, unless effective exhaust ventilation to the outside air is provided.

- All electrical equipment brought on site must be serviceable and free of any fault and have a PAT test certificate displayed at all times. All portable tools shall operate, wherever practicable, at a maximum of 50 v.a.c. In exceptional circumstances, where higher voltages are necessary, then any cables and devices shall be protected by a Residual Current Device at the source of supply.

- No cartridge operated tools equipment may be used without prior consent from ESFRS.

- All air receivers used on ESFA premises shall comply with the requirements of legislation in respect of cleaning, examination, marking and safety measures.

- The Contractor shall provide sufficient lifting tackle and appliances, certified, tested and marked in accordance with legislation and of adequate capacity to handle any loading involved in this operation. Reports on the testing of lifting equipment and air receivers shall be made available for ESFRS inspection, if requested.

- All Contractor’s materials, plant or equipment shall be safely and securely stored and shall not obstruct any means of access or exit, gangway or other area where ESFA employees or visitors have to work or pass.

CONTROL OF DUST AND FUMES:

No stationary internal combustion engine may be used in any enclosed or confined space unless satisfactory arrangements have been made either to conduct exhaust gases into the open air or to provide adequate ventilation so as to prevent a dangerous concentration of fumes and gases.

The Contractor must effectively control or counteract the creation of dust, fumes or any other hazardous emission that could be injurious to health or the environment. Contractors are reminded of their duties under the Control of Substances Hazardous to Health Regulations 2002.

ELECTRICAL EQUIPMENT:

All electrical equipment used by the Contractor on site must comply with the requirements of regulations applicable to its use. The written approval of ESFRS will be required for:

- the use of the ESFRS electricity supply.

- any installation, extension, modification, maintenance, repair or testing of the ESFRS electrical systems or equipment.

All electrical equipment must be suitable for the purpose for which it is to be used, particularly in respect of exposure to water, dust and flammable vapours.

Electrical leads must be properly earthed and kept as short as possible. Earth leads to welding equipment should be connected within 10m of the welding site. The open circuit voltage of any welding set must be limited to 40v.

All work on electric and electronic equipment, carried out in pursuance of the contract, shall be undertaken by competent personnel. Letters of accreditation must be available if required.

The Contractor is responsible for familiarising himself with the requirements of all relevant legislation, including the current edition of the IEE Regulations.

EXCAVATIONS AND OPENINGS IN FLOORS:

The Contractor must ascertain the position of all services below ground before any excavation work begins. Any damage must be reported immediately to ESFRS.

Where an excavation or other work creates an opening in a floor, the edges of the opening shall be fenced except in so far as the nature of the work renders this impracticable. During excavation work the surrounding areas must be maintained in an orderly and tidy condition. Notices and, where appropriate, warning lights should be posted by the Contractor to warn personnel of the presence of an excavation or floor opening.

Excavations must be inspected and recorded by an experienced and competent person, before work starts, at least once a day, before each shift, every 7 days and after blasting or substantial damage.

The Contractor should not regard any information provided by ESFRS about any underground services as conclusive as to their presence or absence in the vicinity of the excavation.

When backfilling after any excavation, warning traces must be inserted at least 0.3m (1'0") above the buried service indicating the type of service below.

FIRE PRECAUTIONS:

The Contractor must ensure that his employees are familiar with the action to be taken in case of fire, and ESFRS Emergency Evacuation procedure as explained by the ESFRS Contract Manager/Competent Person or Premises Representative. The Contractor shall be responsible for maintaining a daily register of all his employees and Subcontractors for the purposes of accounting for personnel in the event of an evacuation. The contractor must also ensure that all personnel sign in to the main visitors logs at the reception of each station.

Any fire, however small, occurring on ESFRS premises must be reported immediately. The Contractor shall be responsible for the provision of firefighting equipment and appliances of a type appropriate to the hazards involved in his operation and for the training of his employees in the use of this equipment as per risk assessments, method statements and permits to work if appropriate.

Firefighting equipment and appliances provided by ESFRS may be used in the event of an outbreak of fire. The use of any ESFRS equipment or appliance shall be reported to the ESFRS immediately.

No fire alarm or firefighting equipment, including hoses or sprinklers may be disconnected, removed or otherwise rendered inoperable without the prior consent of ESFRS. Fire hoses must only be used for firefighting purposes. No bonfires are allowed on ESFRS premises.

There is a strict ‘No Smoking’ policy on all Authority premises. This also applies to E cigarettes and the charging of these. Visitors and contractors are not allowed to smoke within our site boundaries

ESFRS permission must be obtained before any welding, cutting, open flame or spark-producing equipment is used, or any work whatsoever commenced in the vicinity of any container of flammable liquid or gas or any other volatile or powdered substance. Fireproof screens must be provided to safeguard ESFRS property and personnel from sparking and light flash whenever welding, cutting or similar operations are in progress as per risk assessments, method statements and permits to work if appropriate. Where appropriate machinery and equipment must be flame proofed to recognised standards.

FIRST AID:

The Contractor shall provide First Aid facilities for his employees as required by the Health and Safety (First Aid) Regulations 1981. Guidance on Regulation L74

HOT WORK:

No flame, arc, spark or heat-producing appliance may be used for any contract work other than with the permission of ESFRS. Such work must be carried out in accordance with a written Permit-to-Work System. (See Part 3 - Permit to Work Procedures).

HOUSEKEEPING:

Contractors are expected to maintain a high standard of cleanliness and good housekeeping within their work area.  They must not prejudice housekeeping standards in other parts of the site.

They must ensure, particularly, that:

- Their employees work carefully and tidily.

- Rubbish accumulations are removed from work area, and disposed of off-site or as agreed by ESFRS.

- Gangways, roadways or other means of access are not obstructed by storage of materials or rubbish.

- All hazards are immediately dealt with as they arise.

- Rubbish is not burned on site.

INCIDENTS AND INJURIES INCLUDING NEAR HITS AND DANGEROUS OCCURRENCES:

If an accident of any kind occurs, or if any incident takes place which could be dangerous or cause injury; the individual concerned must ensure that this is reported to the ESFRS Contract Manager/ Competent Person or Premises Representative immediately, who will then ensure the appropriate ESFRS hazard or safety event report is completed.

The Contractor is responsible for reporting any fatal, major or other Reportable Accidents under the RIDDOR Regulations, although ESFRS reserves the right to do so in addition to the Contractor and also to carry out an investigation. Contractor Employers’ Liability incidents on site should be reported to the ESFRS Contract Manager/Competent Person or Premises Representative. The Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 2013 apply.

LADDERS:

All ladders must be inspected for defects before being put into use and subsequently at least weekly.

Ladders must be secure at all times when in use, and be stood on firm level ground. They must extend 1.05m (3'6") above the working landing or support and must rise at an angle given by 1m out from the wall every 4m of rise. Ladders must not be left unattended at night or weekend unless they have been rendered unusable. Materials should be raised using a hoist.

NOISE:

The Contractor shall be responsible for making an assessment of the risk from noise associated with all equipment which is brought onto site. The Contractor shall inform his employees, those of any Subcontractors employed by him, and ESFRS of the control measures which he has put in place in respect of any plant or machinery he has brought onto site.

The Contractor shall be responsible for providing instruction to his employees and those of Subcontractors with regard to site control measures and site requirements for the wearing of ear protection.

The Contractor should be aware that the primary control measure is reduction of noise at source. The Contractor shall employ the best practicable means of reducing noise at source and the Contractor shall comply with all statutory requirements with regard to noise. The Control of Noise at Work Regulations 2005 apply.

PERMITS TO WORK – SEE PERMITS TO WORK PROCEDURES BELOW:

There are certain operations carried out at sites which are deemed high risk due to the nature of the process and the surrounding area. Examples of the types of work for which permits will be required include:

- Working at height, including on roofs.

- Working in confined spaces, for example, ducts

- Hot work - welding, soldering or cutting using hot flame techniques outside of designated workshop area.

- Isolation of or modification to fire safety systems, alarms, etc

- Live working on electricity supply systems

- Work involving interaction with asbestos

- Work in areas where there is a risk of exposure to hazardous chemicals.

- Excavation and the digging of trenches

When working on the above tasks a ‘Permit to Work’ system will be required (see Permit to Work Procedures below). As part of the agreement on Health and Safety Arrangements for the work, contractors must follow the detailed requirements of ESFRS. All Risk Assessments and Method Statements must be received by ESFRS a minimum of 5 days in advance of works commencing on site to ensure prompt issue of the Permit to Work

ROOFS:

ESFRS permission must be obtained before Contractor’s personnel work on any roof other than a roof being constructed as part of the contract. ESFRS rules and procedures must always be followed and a Permit to Work must be obtained. No work may be commenced above the heads of employees before ESFRS permission has been obtained and approved safeguards effected.

The Contractor should ensure that the work will not place his employees in danger of contact with uninsulated electrical conductors unless isolation of circuits or systems is made. Nothing must be thrown from any roof to the ground below, except in circumstances where an acceptable safe procedure is used.

SCAFFOLDING:

All steps to prevent falls must be taken whilst undertaking scaffolding activities. All scaffolding must be erected on a safe foundation, be perpendicular in structure and securely fixed to the building. A safe working platform incorporating guard rails, toe boards or similar must be provided, including the quick assembly moveable type, to prevent falls of persons or objects.  Scaffolding must not be overloaded with stored materials. Hoists and chutes should be provided.

Materials must not be stacked on scaffold platforms above toe board height, unless fitted with wire guards.  In accordance with NASC recommendations all scaffolders should wear safety harnesses when working. The erection, alteration, dismantling and inspection of scaffolding and working platforms must be undertaken by competent persons and in accordance with HSE Construction sheets. Following erection of the scaffold the competent person must complete an initial inspection of its' suitability and issue a certificate. All scaffolding must be inspected regularly and the details of each inspection must be recorded.

All contractor employees should be competent for the type of scaffolding work they are undertaking and should have received appropriate training relevant to the type and complexity of scaffolding they are working on.

Employers must provide appropriate levels of supervision taking into account the complexity of the work and the levels of training and competence of the scaffolders involved.

SEGREGATION OF WORK ACTIVITIES:

Where contract work/activity is to be carried out in an area adjacent to ESFRS activities, the Contractor shall be responsible for the erection of barriers and signs prohibiting the entry of ESFRS employees, visitors or members of the public.

SITE HUTS:

No site hut shall be erected without the approval of ESFRS. Lighting and heating in huts must be installed and maintained so that the risk of fire is avoided. Radiant electric heaters are prohibited. The Contractor must provide and maintain sufficient and suitable portable firefighting appliances in any site hut.

TARPAULINS AND OTHER PROTECTIVE SHEETING:

Tarpaulins and other sheet materials used on site must, wherever possible, be flame resistant or treated with a fire retardant solution.

VEHICLES:

All vehicles, including those not normally used on the highway, must be in a safe condition.  Contractor’s vehicles must comply with Company traffic signs, speed, reversing and parking restrictions at all times. There is a speed limit of 5MPH on all ESFRS premises.

There must be NO PARKING OR WAITING in front of appliance bays or turn out areas.

WORKING AT HEIGHT:

The Contractor must ensure that suitable and sufficient access equipment is provided to secure a safe means of access and safe place of work for his and his Subcontractor’s employees in accordance with legal requirements and Permit to Work systems. The Work at Height Regulations 2005 apply.

SITE SPECIFIC HAZARDS:

It is the Contractor’s responsibility to ensure that he is aware of all site specific hazards before he commences work. A list of site specific hazards will be provided by ESFRS.

- SPECIFIC PROTECTION OF FOOD REQUIREMENTS

CONTROL OF INFESTATION:

The Contractor shall not interfere with or remove any bait point, box or electric insect killer used by ESFA for preventing rodent or other infestation, without permission from ESFRS. The Contractor shall not remove or disturb any sealing, fitting wire mesh or netting used to prevent the entry of rodents, birds or insects into ESFA premises, without permission from ESFRS. Any disturbance of baiting equipment or proofing installations shall be reported to ESFRS immediately.

Any sign of infestation by birds, rodents or insects discovered by the Contractor during the course of his operations shall be reported to ESFRS Contracts Manager/Competent Person or Premises Representative. The Contractor shall ensure that his employees do not encourage any infestation by the indiscriminate use, storage or disposal of food wastes.

Any work involving the disconnection of an underground drain shall ensure that any disused section of drain is removed or effectively sealed to prevent the exit of rodents.

- SPECIFIC SECURITY REQUIREMENTS

SECURITY:

To work at an un-staffed station or site, the contractor must make specific access arrangements with the contracts manager, competent person or premises representative and must inform our Sussex Control Centre by telephone (0203 1622363) that they are on site. They must sign into the premises using the visitor’s book, and similarly book off site and call to say you are leaving.

To work at an occupied site, you must report to the contracts manager, competent person, premises representative or person in charge of the site (Watch Manager for Fire Stations, Estates Officer for Service Headquarters and Caretaker for Service Training Centre) to obtain clearance to start work, and sign into the premises using the visitor’s book.

Visitor’s passes must be worn and kept visible at all times. Upon completion of the work, or at the end of each day, you must inform the person in charge that you are leaving and sign out using the visitor’s book. For work of more than one day’s duration, you must repeat these procedures for each working period.

No opening may be made in an outside wall, or boundary fence unless consent has been obtained sufficiently early to enable special security arrangements to be made.

The Contractor is responsible for the safety of all the Contractor’s plant, equipment and other property. Any watchman, who is appointed by the Contractor, must work in close liaison with ESFRS security service. Special attendance arrangements should be made where work is required to be executed on a weekend, or outside normal working hours.

- SPECIFIC REQUIREMENTS FOR THE ENVIRONMENT

The contractor will ensure that he and all subcontractors are familiar with and will abide by, the requirements of the following Statutes and derived Regulations where they are relevant to any aspect of the work to be undertaken, including.

- Environmental Protection Act 1990

- Control of Pollution Act 1974

- Water Resources Act 1991

- The Waste (England and Wales) Regulations 2011

- The Hazardous Waste (England and Wales) (Amendment) Regulations 2009

- Control of Pollution (Oil Storage) Regulations 2001

It is the responsibility of the contractor to refer to the main Statutes and Regulations as required in order to ensure compliance. The contractor, if required will provide a site waste management plan and will not under any circumstances use any waste storage or disposal facility provided by ESFRS for its own use.  The contractor will ensure that any waste is separately held and disposed of in accordance with the Environmental Protection Act and associated Regulations.

All required documentation shall be retained for the periods of time stipulated in the Regulations and a copy given to ESFRS. No skip or other waste receptacle shall be located on the site until its position has been agreed with ESFRS.

The contractor must notify ESFRS designated contact immediately upon the occurrence or near occurrence of any event or incident that gives rise to an emission to land air or water, or an entry to a drain; and take any actions that have been prescribed to minimise the effects of any emission, unless it is unsafe to do so.

The contractor must not bring onto the site, any soil, rubble, fill or similar material that contains any substance or property that would cause it to be designated as contaminated under the provisions of Statute and Regulation. The contractor must disclose the quantity and source of all such materials in writing prior to their arrival and ESFRS shall have the right to reject wholly or in part any materials that are or appear to be contaminated upon arrival.  In such circumstances, removal from the site will be the responsibility of the contractor who will bear the costs of safe transport and disposal.

The contractor will ensure that any temporary bulk storage facilities (e.g. oil tanks) have secondary containment facilities which are fully compliant with the requirements of the Control of Pollution (Oil Storage) Regulations.  In addition well equipped spillage control points must be provided, strategically situated where bulk materials, chemicals, paints and solvents are delivered, stored, transferred or used and also secure from access by unauthorised persons.

The Contractor will accept and if required formally acknowledge responsibility for any environmental incident arising from any failure on the part of the Contractor or Subcontractor to disclose relevant information or comply with instructions and guidance issued by way of Section 2 or 3, unless such incident is caused by an act or omission of ESFRS.

The Contractor will notify ESFRS in writing of any necessary changes to the working plan, including any changes of materials, substances or equipment to be used on the site.

Permit To Work Procedures – Not required

Guidance for the Construction, Design and Management Regulations 2015 – Not applicable

Section 9 – East Sussex Fire Authority Standard Terms and Conditions

CONTENTS

1.   	Definitions and Interpretation

2.   	Commencement and Contract Period

3.   	The Service Provider's Obligations

4.   	Non-performance of the Services

5.   	Management Reporting and Authorisation

6.   	Service Provider's Personnel

7.   	Goods and Materials

8.   	Changes to the Services

9.   	Contract Price, Fees and Charges and Adjustments Thereto

10. 	Payment

11. 	Assignment and Sub-Contractors

12. 	Other Works and Facilities Provided

13. 	Service Provider's Equipment

14. 	Copyright

15. 	Service Provider's Insurance

16. 	Client's Insurances

17. 	Termination

18. 	Consequences of Termination

19. 	Force Majeure

20. 	Transfer of Undertakings

21. 	Public Sector Requirements

22. 	Confidentiality

23. 	Notices

24. 	Third Parties

25. 	Governing Law and Dispute Resolution

1. DEFINITIONS AND INTERPRETATION

1.1 	Definitions

In this Agreement the following expressions shall have the following meanings:-

1.1.1 	“Adjudicator" means the adjudicator to be appointed or nominated under Clause 25.

1.1.2 	"Change Request" means a written request to alter the Services as described in Clause 8 .1.

1.1.4 	"the CEDR Rules" means the Centre for Effective Dispute Resolution Model Mediation Procedure

1.1.5 	"the Commencement Date" means the date set out in the Contract Award letter.

1.1.6 	"Contract Period" means the period set out in the Contract Award letter.

1.1.7 	"the Contract Price" means the sum due to the Service Provider calculated in UK pounds sterling in accordance with the agreed prices and as the same may be adjusted from time to time in accordance with this Agreement.

1.1.8 	"ElR" means the Environmental Information Regulations 2004.

1.1.9 	"ESFA's Representative” means the person or persons as ESFA may appoint and notify to the Service Provider in writing from time to time to act as ESFA's Representative under this Agreement.

1.1.10 	"FOIA' means the Freedom of Information Act 2000.

1.1.11 	"Force Majeure" means any act of God, any national strike or labour dispute affecting the Services, war, hostilities (whether war is declared or not), invasion, armed conflict or act of a foreign enemy, terrorism, rebellion, revolution, riot or insurrection, nuclear explosion, radioactive or chemical contamination or ionising radiation unless the source or cause of contamination or radiation is brought to or near the Site by or on behalf of the Service Provider or the Sub-Contractors.

1.1.12 	"lnsured Perils" means fire, lightning, explosion, storm, tempest, flood, escape of water from any water tank, apparatus or pipes, earthquake, aircraft and other aerial devices or articles dropped therefrom, riot and civil commotion (excluding any loss or damage caused by ionising radiation or contamination by radioactivity from any nuclear fuel or from nuclear waste from the combustion of nuclear fuel, radioactive toxic explosive or other hazardous properties of any explosive nuclear  assembly or nuclear component thereof, pressure waves caused by aircraft or other aerial devices travelling at sonic or supersonic speeds).

1.1.13 	"the Material" means all drawings, specifications, technical information, details, schedules or other documents or recorded information whatsoever, whether stored electronically or otherwise, prepared or produced by the Service Provider or the Sub-Contractors in relation to the Services,

1.1.14 	"the Plant" means any of ESFA's plant or equipment referred to in the Terms of Reference to be the subject of any of the Services.

1.1.15 	"the Premises” means the premises described under Appendix B Site Plan.

1.1.16 	“Re-imbursable Expenses” if applicable, will be set out at Section 3 –Terms of Reference.

1.1.17	"the Service Provider" means the second party to this Agreement.

1.1.18	"the Service Provider's Equipment" means such tools, machinery plant, apparatus, materials, consumables, tackle, computer equipment and software access equipment and stores brought to the Premises by the Service Provider or the Sub-Contractors for the performance of the Services.

1.1.19	"the Services" means the services to be performed at the Premises.

1.1.20	"the Terms of Reference” means the standards, operational tasks and attendance requirements set out in Section 3 – Terms of Reference.

1.1.21	"TUPE Regulations” means the Transfer of Undertakings (Protection of Employment) Regulations 2006 (including as appropriate the Transfer of Employment (Pension Protection) Regulations 2005).

1.1.22	"the Sub-Contractors” means any person (other than the Service Provider or his direct employees) to whom any part of the Services has been sub-let by the Service Provider.

1.1.23	"Working Day" means Monday to Friday inclusive but "working days" and "days" shall exclude Christmas Day, Good Friday or a day which under the Banking and Financial Dealings Act 1971 is a bank holiday in England and Wales.

1.1.24	"Working Hours" means the between the hours of 8.30 a.m. and 5.00 p.m. (4.30 p.m. on Friday) during which the Services are to be performed at the Premises.

1.2     lnterpretation

In this Agreement references to any statute, statutory provision, directive of the Council of the European Union (whether issued jointly with any other person or under any other name) or other legislation include a reference to that statute, statutory provision, directive or legislation as amended, extended, re-enacted, consolidated or replaced from time to time (whether before or after the date of this Agreement) and include any order, regulation, instrument or other subordinate legislation made under the relevant statute, statutory provision, directive or legislation.

1.3 	Teamworking

Without prejudice to their rights under this Agreement or otherwise, ESFA and the Service Provider agree to:-

1.3.1 	act fairly towards each other, in a spirit of trust and mutual co-operation in their performance of their obligations under this Agreement; and

1.3.2 	help each other to resolve problems which may otherwise prejudice the performance of the Services in accordance with the Terms of Reference and this Agreement.

2. COMMENCEMENT AND CONTRACT PERIOD

2.1 	The Service Provider shall commence the Services on the date set out in the Contract Award letter and shall continue to provide the Services for the Contract Period subject to the provisions of Clauses 1.1.6 and 17.

2.2 	Unless the Contract Period is extended in accordance with Clause 1.1.6, the Service Provider's employment shall automatically terminate at the end of the Contract Period.

3. THE SERVICE PROVIDER’S OBLIGATIONS

3.1 	The Service Provider shall provide the Services during the Working Hours for the Contract Period:-

3.1.1 	with reasonable skill care and diligence;

3.1.2 	in accordance with the Terms of Reference (TOR) and this Agreement; and

3.1.3 	in accordance with all instructions issued to them by ESFA.

3.2 	The Service Provider shall use reasonable skill, care and diligence to see that he and the Sub-Contractors comply with:-

3.2.1 	all their respective duties and obligations under and pursuant to any directly applicable provision of the EU Treaty or of any EU regulation, any Act of Parliament or any regulation, rule or order made pursuant hereto or any regulation or bye-law of any local authority or under and pursuant to any notices served under any such enactment, rule, order, regulation or bye-law;

3.2.2 	any codes of practice, guidance notes and recommendations for the time being in force and approved by the Health and Safety Commission or published by the Health and Safety Executive;

3.3 	The Service Provider shall perform all the functions under the control of the key resource, the Project Manager Support Officer (PMSO) as designated in Section 3.

3.4 	Subject to Clause 3.5, the liability of the Service Provider under or in connection with this Agreement, whether in contract or tort, for breach of statutory duty or otherwise, for any one occurrence or series of occurrences arising out of any one event shall be unlimited.

3.5 	The liability of the Service Provider under or in connection with this Agreement, whether in contract or tort, for breach of statutory duty or otherwise, for any claim (except any claim relating to death or bodily injury) which may arise out of or in connection with pollution or contamination (including, for the avoidance of doubt, any claim arising in respect of Legionella) is excluded.

3.5.1 	The Service Provider shall service the Plant and maintain it in good working order and in accordance with the provisions of any manufacturer's guarantees or recommendations. The Service Provider shall be liable for any damage to the Plant unless such damage was caused by any negligent act or omission of ESFA

3.5.2 	The Service Provider shall be responsible for the repair, renewal and replacement of the Plant unless such repair, renewal, or replacement was necessitated by any negligent act or omission of ESFA after the Commencement Date.

4. NON-PERFORMANCE OF THE SERVICES

ESFA shall monitor the performance of the Services. If the Service Provider fails to provide the services in accordance with this Agreement and/or the TOR and/or fails to achieve the performance standards described in the TOR, then, without prejudice to its other rights and remedies, ESFA shall be entitled to make such abatement from any sums due to the Service Provider under this Agreement as may be stipulated in accordance with the performance points system (if any) which is set out in the TOR or, if no performance points system is set out, as may reflect the reduced value of the Services provided by the Service Provider.

5. MANAGEMENT REPORTING AND AUTHORISATION

5.1 	ESFA's Representative shall be the main point of contact for the Service Provider in relation to the Services.

5.2 	Only formal written instructions from ESFA's Representative can commit ESFA to any additional payment under this Agreement or to any action which is likely to give rise to such an addition.

5.3 	The Service Provider shall comply with any management and reporting systems that may be agreed by the Service Provider with ESFA's Representative.

5.4 	ESFA shall supply the Service Provider, in such reasonable time so as not to disrupt the performance of the Services, all necessary instructions and information required by the Service Provider for the Performance of the Services.

6. SERVICE PROVIDER’S PERSONNEL

6.1 	The Service Provider shall appoint the person nominated as their Representative and named in their Tender to direct and control the overall performance by the Service Provider of the Services and such person or any replacement of him/her made in accordance with Clause 6.3 shall have full authority to act on behalf of the Service Provider for all purposes in connection with this Agreement.

6.2 	The Service Provider shall not remove the person named in their Tender or any replacement of him/her without the prior written consent of ESFA which consent shall not be required in the case of permanent incapacity, death, sickness or where such person leaves the employment of the Service Provider. ESFA may instruct the replacement of the person overseeing the contract with another and such instruction shall be treated as a Change Request under Clause 8.

6.3 	lf the person referred to in Clause 6.1 or any replacement of him/her appointed in accordance with this Clause 6.3 is replaced in accordance with Clause 6.2, the Service Provider shall replace such person with a person of at least the same experience and expertise and at the same or reduced cost to ESFA, whose identity shall be subject to the prior written approval of ESFA, which approval shall not be unreasonably withheld or delayed.

6.4 	ESFA shall have the right to instruct the Service Provider to appoint additional persons to perform the Services if this is, in ESFA's reasonable opinion, necessary for the proper performance of the Services, and such instruction shall be treated as a Change Request under Clause 8.

7. GOODS AND MATERIALS

7.1 	All materials and/or goods supplied as part of the Services shall be as specified in the TOR. Where such quality and standards are not specified in the TOR, such materials and/or goods shall be of the best available quality suitable for the purposes for which they are intended and shall comply with the latest applicable British Standard where appropriate.

7.2 	The Service Provider shall see that the benefit of any warranty or guarantee in respect of materials and/or goods supplied by him/her pursuant to this Agreement shall extend to ESFA.

7.3	The Service Provider shall at all times keep the Site free from all surplus materials, rubbish and debris arising from the execution of the works

8. CHANGES TO THE SERVICES

8.1 	Either party may without invalidating this Agreement request an addition to or omission from or other change in the Services or the order or period or the Working Hours in which the Services are to be provided by issuing to the other party a Change Request.

8.2 	On receipt by the Service Provider of a Change Request issued by ESFA the Service Provider shall provide ESFA within five Working Days of the date of the Change Request (or such other period as may be agreed):-

8.2.1 	a reasonable estimate of the increase or reduction in the Contract Price (if any) which it believes would occur as a result of the change set out in the Change Request together with a reasonably detailed breakdown of the manner in which such estimate was calculated; and

8.2.2 	if such change cannot reasonably be implemented immediately, the time which it reasonably requires to implement such change; and

8.2.3 	analysis of the likely impact such change shall have on the performance of the other Services.

8.3 	The Service Provider shall provide to ESFA estimates in respect of the matters set out in Clause 8.2.1 and 8.2.2 at the same time as the Service Provider issues to ESFA any change Request.

8.4 	The Service Provider shall promptly provide to ESFA all additional information which ESFA may request, including further estimates in respect of the matters set out in Clauses 8.2.1 and 8.2.2 to assist ESFA in evaluating the benefit of any proposed change.

8.5 	lf ESFA wishes to proceed with a proposed change he shall arrange for the Change Request to be signed by ESFA's Representative and an authorised representative of the Service Provider and a copy will be passed to the Service Provider. The Service Provider shall then implement the proposed change in accordance with the Change Request and the Contract Price and the price schedule shall be adjusted in accordance with Clause 9.

8.6 	ESFA shall be responsible for any change in the Services necessitated by any change in the requirements set out in Clause 3.2 and such change shall be treated as if it arose from a Change Request authorised under Clause 8.5.

9. CONTRACT PRICE, FEES AND CHARGES AND ADJUSTMENTS THERETO

9.1 	For the performance of the Services ESFA shall pay the Service Provider the Contract Price.;

9.2 	The Contract Price shall not be adjusted or altered in any way whatsoever otherwise than in accordance with the provisions of this Agreement. The Contract Price shall be deemed to include all costs and expenses incurred and risks assumed by the Service Provider in performing his obligations under this Agreement.

9.3 	In the event that:-

9.3.1 	the Services are varied in accordance with Clause 8:

9.3.2 	ESFA issues an instruction to the Service Provider under Clause 16.3 or 19.2;

the Service Provider and ESFA shall use all reasonable endeavours to agree an appropriate adjustment to the Contract Price. lf the Service Provider and ESFA are unable to agree an adjustment to the Contract Price within 10 Working Days of the date of the Change Request being signed by both parties pursuant to Clause 8.5, or the date of any instruction issued under Clause 16.3 or 19.2 then the Contract Price shall be increased or reduced (as the case may be) by such amount as ESFA may reasonably determine.

9.4 	The prices in Section 3 Terms of Reference shall remain fixed for the duration of the contract.

9.5 	Deductions may be made from the Contract Price (and the Reimbursable Expenses if applicable) in respect of inadequate, part or non-performance of the Services in accordance with Clause 4.

9.6 	The Reimbursable Expenses, if applicable, shall be payable following the performance of the Services to which they relate.

10. PAYMENT

10.1	At the end of each month (or other agreed interval) of the Contract Period the Service Provider will send to ESFA a tax invoice in accordance with the Value Added Tax Act 1994 in respect of sums due to the Service Provider as follows:-

10.1.1 	that value of the Contract Price carried out in the preceding month (or other agreed period) as calculated by reference to the price schedule and the agreed programme of work;

10.1.2 	any sum agreed or determined in accordance with Clause 9.3;

10.2 	lf ESFA notifies the Service Provider in writing that they disagree with the invoice, the parties shall co-operate in good faith to resolve the disagreement as amicably and promptly as possible.

10.3 	ESFA shall pay invoices correctly submitted in accordance with Clause 10.1 on or before the final date for payment which shall be 30 Working Days after the date on which such invoice was submitted.

10.4 	The Contract Price together with any other payments due from ESFA to the Service Provider hereunder shall be exclusive of Value Added Tax and all references to fees and prices in this Agreement shall be regarded as exclusive of Value Added Tax. ESFA shall pay to the Service Provider a sum equal to the Value Added Tax properly chargeable on the value of the provision of any goods or services under this Agreement.

10.5 	lf ESFA wishes to make any deduction or set-off from any amounts due to the Service Provider under this Agreement he shall give to the Service Provider notice of the same which notice shall specify:-

10.5.1 	the amount proposed to be withheld and the ground for withholding payment; or

10.5.2 	if there is more than one ground, each ground and the amount attributable to it.

Such notice shall be given not later than 5 Working Days before the final date for payment of each invoice under Clause 10.3.

10.6 	Where any sum due under this Agreement is not paid in full by the final date for payment under Clause 10.3 and no effective notice is given under Clause 10.5, the Service Providers shall be entitled (without prejudice to any other right or remedy) to suspend performance of his obligations under this Agreement by giving not less than 7 days' notice to ESFA stating the ground or grounds on which it is intended to suspend performance. The right to suspend performance shall cease when ESFA makes payment in full of the amount due. Any period during which performance is suspended shall be disregarded in computing for the purposes of any contractual time limit the time taken by the Service Provider to complete any of the Services.

10.7 	Except in respect of Value Added Tax, any other duties, taxes or charges (whether direct or indirect in nature) which may be imposed on ESFA or the Service Provider as a result of legislative or other changes in taxation shall be borne by ESFA.

10.8 	The Service Provider shall be entitled to charge interest at the rate of 2 per cent above the base rate set from time to time by the Bank of England's Monetary Policy Committee (or any successor to it) for any overdue payment calculated on a daily basis compounded from the final date for payment until the actual date of payment.

11. ASSIGNMENT AND SUB-CONTRACTORS

11.1 	Neither party shall be entitled to assign, novate, or otherwise dispose of its rights and obligations under this Agreement whether in whole or in part without the prior written consent of the other.

11.2 	Subject to Clause 11.3 the Service Provider shall not at any time permit any of its obligations under this Agreement to be performed or undertaken by any Sub-Contractor without the prior written consent of ESFA. Any request for consent pursuant to this Clause 11.2 shall be submitted to ESFA by the Service Provider together with the particulars of the proposed Sub-Contractor.

11.3 	Where the TOR provides that certain work or certain goods and/or materials shall be carried out by or obtained from a named Sub-Contractor or one of a list of Sub-Contractors, then the Service Provider shall sublet such work to and shall obtain such materials and/or goods from such Sub-Contractor or one of the Sub-Contractors so named.

11.4 	lf, for any reason beyond the control of the Service Provider, the Service Provider is unable to enter into a sub contract with any of the Sub-Contractors referred to in Clause 11.3, the Service Provider shall select another Sub-Contractor to carry out the work or supply the goods and/or materials to a standard and quality required by this Agreement for the consent of ESFA, such consent not to be unreasonably withheld or delayed.

11.5 	lf any sub contract between the Service Provider and any Sub-Contractor referred to in Clause 11.4 is determined or discharged, the Service Provider shall select another Sub-Contractor to undertake or complete the execution of the work or the supply of the goods and/or materials to a standard and quality required by this Agreement for the consent of ESFA, such consent not to be unreasonably withheld or delayed.

11.6 	No subletting by the Service Provider and no consent by ESFA and no naming of a Sub-Contractor in the TOR shall in any way relieve the Service Provider from his responsibility or the performance of the Services in accordance with this Agreement. The Service Provider shall not be entitled to any adjustment to the Contract Price in respect of the matters referred to in Clauses 11.4 and 11.5.

11.7	Notwithstanding Clause 11.1 in the event that ESFA begins a process as described in (a) or (b) below during the Contract Period:

- Significant reorganisation of ESFA (including but not limited to its incorporation into a larger authority, its division into smaller authorities or its division among other authorities).

- Reorganisation of ESFA which would require it to relinquish control of the Contract either wholly or to an extent that ESFA judged the remainder to render the Contract to be no longer viable.

ESFA shall have power to determine this Contract and any orders/ commitments hereunder by giving the Service Provider not less than six [6] months written notice and upon expiration of the notice the Contract shall be determined without prejudice to the rights of the parties accrued to the date of determination. ESFA shall not be disadvantaged either financially or in the level of service provided by the Service Provider during the period of notice.

Should ESFA learn of proposals which may require it to invoke this clause it shall advise the Service Provider at the earliest opportunity in order that he may be aware of the possibility.

If any authority which takes over ESFA’s role in full or in part agrees to take over the Contract in full or in part, the Service Provider shall work with the new authority / authorities in order to ensure an efficient assignment of the Contract and of the delivery of the Services

12. OTHER WORKS AND FACILITIES PROVIDED

12.1	The Service Provider shall permit the execution of work not forming part of the Services by any person authorised or licensed by ESFA to carry out work at the Premises. The Service Provider shall provide reasonable facilities for such persons to execute their work.

12.2 	ESFA shall provide the Service Provider free of charge with such serviced office accommodation (including furniture, computers and photocopying services) as may reasonably be required by the Service Provider to perform the Services together with the free use of such supplies of electricity, gas and water that there may be at the Premises and the free use of any telephone or facsimile services at the Premises. The Service Provider shall have due regard to the economic use of such services provided by ESFA.

13. SERVICE PROVIDER’S EQUIPMENT

13.1 	The Service Provider shall, at his own expense, provide all the Service Provider's Equipment necessary for the proper execution of the Services, including any personal protective equipment required for full  compliance  with the Health and Safety at Work Act 1974 and shall keep the Service Provider's Equipment in good repair and safe condition,

13.2 	The Service Provider shall provide all haulage and fuel required for the operation of the Service Provider's Equipment but shall be allowed free use of power and water for the operation of any hand tools and similar equipment forming part of the Service Provider's Equipment used at the Premises.

13.3 	The Service Provider shall be responsible for insuring the Service Provider's Equipment.

14. COPYRIGHT

14.1 	Copyright in the Material shall remain vested in the Service Provider or the Sub-Contractors as the case may be. Subject to ESFA having paid all sums due to the Service Provider under this Agreement, the Service Provider hereby grants to ESFA, an irrevocable royalty-free, non-exclusive licence to copy and use the Material and to reproduce any designs contained in it for any purpose whatsoever relating to the Services. The Service Provider hereby undertakes to procure from the Sub-Contractors, the grant of the necessary licences in favour of ESFA to give effect to this Clause 14. Such licences shall be capable of sub-licence and transfer by ESFA. The Service Provider shall not be liable for any use of the Material for any purposes other than those for which the Material was prepared and/or provided for by or on behalf of the Service Provider provided always that the Service Provider has not consented to such other usage.

14.2 	The Service Provider hereby waives and undertakes to procure the waiver by the Sub-Contractors and suppliers of any rights they may have under or pursuant to Section 77 or 80 of the Copyright Designs and Patents Act 1988.

15. SERVICE PROVIDER’S INSURANCE

15.1 	The Service Provider shall maintain and shall cause the Sub-Contractors to maintain insurance in respect of claims for personal injury to or the death of any person under a contract of service or apprenticeship with the Service Provider, or such Sub-Contractors as the case may be, arising out of or in the course of such person's employment. Such insurance shall comply with the Employer's Liability (Compulsory lnsurance) Act 1969 and any statutory orders made thereunder (including, for the avoidance of doubt, the applicable regulations thereunder, currently the Employer's Liability (Compulsory Insurance) Regulations 1998) or any amendment or re-enactment thereof. The insurance to be maintained in accordance with this clause shall have a limit of indemnity of not less than £10,000,000.00 (ten million pounds sterling).

15.2 	The Service Provider shall maintain and shall cause the Sub-Contractors to maintain such insurances as are necessary to cover their respective liabilities in respect of personal injury or death arising out of or in the course of or caused by the carrying out of the Services (other than injury or death to persons referred to in Clause 15.1) and in respect of injury or damage to property, real or personal (except for loss or damage to the Premises), arising out of or in the course of or by reason of the carrying out of the Services. The insurance to be maintained in accordance with this clause shall have a limit of indemnity of not less than £7,000,000.00 (seven million pounds sterling).

15.3 	The Service Provider shall maintain product liability insurance to cover any damages caused by it, in the performance of its Supplies with a limit of indemnity of not less than £1,000,000.00 (one million pounds sterling).

15.4 	The insurances referred to in Clauses 15.1 to 15.3 shall be with a well-established insurance office or underwriter of repute to be approved by ESFA and shall be endorsed by insurers as may be necessary specifically to refer to the Services.

15.5 	As and when he is reasonably required to do so by ESFA, the Service Provider shall produce and shall cause any Sub-Contractor to produce for inspection by ESFA documentary evidence, in the form of an insurance broker's verification letter, that the insurances required by Clauses 15.1, 15.2 and 15.3 are being properly maintained.

15.6  The Service Provider shall immediately inform ESFA if the insurance referred to in clause 15.3 ceases to be available at commercially reasonable rates or if, for any other reason, the Service Provider believes that it will be unable to maintain such insurance, in order that the means of best protecting each party's respective position in respect of the works in the absence of such insurance can be discussed.

16. CLIENT’S INSURANCES

16.1 	ESFA shall maintain insurance of the Premises against the Insured Perils. The Service Provider shall give prompt notification to ESFA of any instance likely to give rise to a claim under ESFA's insurances and shall submit claim forms where necessary to ESFA.

16.2 	The Service Provider shall observe and comply with the conditions contained in any policy of insurance of ESFA against loss or damage by the Insured Perils. Copies of ESFA's insurance policies can be provided to the Service Provider on request.

16.3 	Upon the occurrence of any of the Insured Perils, the Service Provider shall, when instructed so to do by ESFA continue with the performance of the Services and shall undertake such other services as may reasonably be requested by ESFA in connection with the restoration and repair or the replacement of any parts, components or materials which have been destroyed or damaged, and the removal of any debris relating to them from the Premises. The provisions of Clauses 9 and 10 shall apply in respect of compliance by the Service Provider with such instructions issued by ESFA.

17. TERMINATION

17.1 	The Service Provider's employment under this Agreement may be terminated in the following circumstances:-

17.1.1 	by either party giving the other 3 month's prior notice at any time;

17.1.2 	by either party with immediate effect if the other is in breach of any of its obligations under this Agreement and, if the breach is capable of remedy, the other party has failed to remedy such breach within 15 Working Days of receipt of notice to do so;

17.1.3 	by either party with immediate effect, if the other makes any composition or arrangement with its creditors, or has a proposal for a voluntary arrangement or a composition of debts or scheme of arrangement approved in accordance with the Insolvency Act 1986, or has an application made under the Insolvency Act 1986 for the appointment of an administrator or has a winding up order made, or (except for the purposes of amalgamation or reconstruction), a resolution for voluntary winding-up passed, where a receiver or manager of its business or undertaking is duly appointed or has an administrative receiver, as defined in the lnsolvency Act 1986 appointed, or possession is taken by or on behalf of any creditor of any property that is the subject of a charge;

17.1.4 	by either party giving the other 15 Working Days' written notice if prevented from performing its obligations under this Agreement due to Force Majeure in accordance with Clause 19.3;

17.1.5 	by ESFA with immediate effect pursuant to Clause 21.2.

18. CONSEQUENCES OF TERMINATION

18.1 	On termination of the employment of the Service Provider under Clause 17, the Service Provider shall take immediate steps to bring to an end their performance of the Services in an orderly manner but with all reasonable speed and economy and shall forthwith vacate the Premises. In addition, the Service Provider shall, subject to ESFA having paid all sums due to the Service Provider under this Agreement, cause to be delivered to ESFA all details, plans, TORs, technical data, schedules, programmes, budgets, reports, calculations and other work (whether in the course of preparation or completed) together with all correspondence and documentation in the possession or under the control of the Service Provider relating to the Services and/or the Premises. In addition, the Service Provider shall, if so required by ESFA, forthwith assign to ESFA the Service Provider's entire benefit and interest in any contracts made by him/her with any Sub-Contractor for the provision of any operatives, plant, equipment or services.

18.2	Without prejudice to ESFA's rights in respect of any breach by the Service Provider of its obligations under this Agreement, on termination of the Service Provider's employment pursuant to this Agreement ESFA shall pay to the Service Provider all amounts due to the Service Provider at the date of termination.

18.3 	On termination, however caused, ESFA may require the Service Provider to terminate immediately (or within such period as ESFA may specify) any or all of the contracts it may have with any Sub-Contractors for the provision of the Services and remove from the Premises all materials not belonging to ESFA.

18.4 	ESFA shall indemnify the Service Provider on demand and hold it harmless in relation to all losses, actions, claims, demands, costs, charges and expenses arising out of any action or claim by any person whose contract with the Service Provider or a Sub-Contractor is terminated as a result of a termination of the Service Provider's employment by ESFA pursuant to Clause 17.1.1 or by the Service Provider pursuant to Clause 17.1.2, 17.1.3 and 17.1.4.

18.5 	Termination of the Service Provider's employment howsoever arising shall be without prejudice to the rights and remedies of either party in respect of any negligence, omission or default of the other prior to such termination.

18.6 	The provisions of this Agreement shall continue to bind each party insofar as and for so long as may be necessary to give effect to their respective rights and obligations hereunder.

19. FORCE MAJEURE

19.1 	Neither party shall be in breach of any obligation under this Agreement if it is unable to perform that obligation in whole or in part by reason of Force Majeure.

19.2 	lf either party seeks to rely on this clause, it shall immediately give notice to the other with full particulars of the act or matter claimed as a Force Majeure event. The parties so affected shall take all reasonable steps to remedy the failure to perform and to keep the other party informed of the steps being taken to mitigate the effects of the Force Majeure. ESFA may issue instructions to the Service Provider in respect of such Force Majeure.

19.3 	lf an event of Force Majeure lasts for more than 3 months, either party may, following consultation with the other, give a notice of termination in accordance with Clause 17.1.4.

20. TRANSFER OF UNDERTAKINGS

20.1 	The parties acknowledge that there may be a "relevant transfer" of an undertaking or part of one as defined in the TUPE Regulations ("Relevant Transfer") on the commencement, variation and/or termination of this Agreement, and agree to deal with the risks and/or consequences thereof as follows.

20.2 	lf there is a Relevant Transfer on the commencement of this Agreement, the parties agree, as between themselves, that the Service Provider shall be wholly responsible for and liable accordingly for continuing any contracts of employment, collective agreements and/or trade union recognition agreements which transfer under the TUPE Regulations and discharging all the obligations of a transferee under the TUPE Regulations. Accordingly, the Service Provider agrees with ESFA that it shall fully and properly discharge the obligations of transferee under the TUPE Regulations on the commencement of this Agreement and thereafter as appropriate.

20.3 	lf there is or may (in the reasonable opinion of ESFA) be a Relevant Transfer as a result of any variation or the termination of this Agreement, the parties agree as between themselves that the Service Provider will be wholly responsible for and liable accordingly for discharging all the obligations of a transferor under the TUPE Regulations. Accordingly, the Service Provider agrees with ESFA that it shall fully and properly discharge the obligations of transferor under the TUPE Regulations on the variation or termination of this Agreement.

20.4 	The Service Provider agrees that within 14 days of a written request from ESFA (such request not to be made earlier than 6 months before the termination of this Agreement whether by effluxion of time or otherwise) it shall provide to ESFA in writing the following information:-

20.4.1 	the number and description of the employees engaged in the performance of this Agreement;

20.4.2 	for each employee (or where they are employed on common terms and conditions of employment each such group of employees) the particulars, as at a specified date not more than 7 days before the information is given, of the matters specified in Section 1(4) of the Employment Rights Act 1996.

ESFA shall be entitled to use and/or disclose the said information in confidence in connection with any tendering for any replacement service provider or facilities management contract.

20.5 	The Service Provider shall not agree with or otherwise promise any employees or trade union any terms or conditions of employment which are outside the ordinary and normal custom and practice for the industry or relevant trade or which are conditional upon or triggered by a Relevant Transfer or are intended to frustrate a re-tendering exercise or deter potential tenderers from tendering.

21. PUBLIC SECTOR REQUIREMENTS

21.1 	Data Protection Act

Each party warrants to the other that it has complied, and will continue to comply with, all the requirements of the Data Protection Act 2018 (including all regulations or orders issued pursuant thereto). Each party shall indemnify the other against all losses, costs, expenses, damages, liabilities, demands, claims, actions or proceedings which the other party may incur arising out of any breach by the first of this Clause 21.1.

21.2 	Corrupt gifts and payments of commission

The Service Provider shall not offer, or give, or agree to give, any person employed by ESFA any gift or consideration of any kind as an inducement or reward for doing, or for bearing to do, or having done, or forbore to do, any act in relation to the obtaining or performance of this Agreement or for showing, or forbearing to show, favour or disfavour to any person in relation to this Agreement. In the event of any breach of this Clause 21.2 or the commission of any offence by the Service Provider under the Prevention of Corruption Act 1889 to 1916 in relation to this Agreement, ESFA may terminate the Service Provider's employment under this Agreement immediately by notice in writing to the Service Provider. The decision of ESFA shall be final and conclusive in any dispute, difference or question arising in respect of the interpretation of this clause or the right of ESFA under this clause to terminate the Service Provider's employment.

21.3 	Official Secrets Act

The Service Provider's attention is drawn to the provisions of the Official Secrets Acts 1911 to 1989. The Service Provider shall take all reasonable steps by display of notices or other appropriate means so that all persons engaged on any work in connection with the Services will have notice that the statutory provisions apply to them and will continue to apply to them after the termination of the Service Provider's employment under this Agreement.

21.4 	National Audit Office Access

For the purpose of the examination and certification of ESFA's accounts, or any examination pursuant to Section 6 (1) of the National Audit Act 1983 or any re-enactment of that Act, or of the economy, efficiency and effectiveness with which ESFA has used its resources, the Comptroller and Auditor General may examine such documents as he may reasonably require which are owned, held or otherwise within the control of the Service Provider and may require the Service Provider to produce such oral or written explanations as he considers necessary.

21.5 Equality

21.5.1	The Equality Act 2010 includes a new public sector Equality Duty which states that public bodies must have due regard to the need to:

- Eliminate unlawful discrimination, harassment and victimisation

- Advance equality of opportunity

- Foster good relations between different groups

Under the Act people are not allowed to discriminate, harass or victimise another person because they have any of the protected characteristics of age, disability, gender reassignment, marriage and civil partnership, pregnancy and maternity, race, religion and belief, sex or sexual orientation.

21.5.2		The Service Provider shall comply with all aspects of the Equality Act 2010 and any subsequent revisions/ amendments to the Act in relation to its Employees and the provision of works, services or supplies.

21.5.3	In the event of any finding of such unlawful discrimination being made against the Service Provider in the last three years by any Court or Employment Tribunal, or of an adverse finding in any formal investigation by any relevant statutory body over the same period, the Service Provider shall take appropriate steps to prevent repetition of the unlawful discrimination.

21.5.4	The Service Provider shall, on request, provide details of any steps taken under this clause.

21.5.5	The Service Provider shall set out its Policy on matters referred to above:

- In instructions to those concerned with recruitment, training, promotion and everyday dealings;

- In documents available to employees, recognised trade unions or other representative groups of employees;

- In recruitment advertisements or other literature;

- In the provision of works, services and supplies

21.5.6	The Service Provider shall, on request, provide examples of the instructions and other documents, recruitment advertisements or other literature.

21.5.7	The Service Provider shall provide information reasonably requested for the purpose of assessing their compliance with this clause so far as relevant.

21.5.8	Further to the legislation, attention of the Service Provider is also drawn to East Sussex Fire Authority’s own commitment to equal opportunities for all.

21.6 	Freedom of lnformation Act

21.6.1 	The Service Provider acknowledges that ESFA is a public authority, subject to the requirements of FOIA and EIR and that ESFA is under an obligation to make all information held by it available to the general public on request, unless an exemption under FOIA or EIR applies.

21.6.2 	The Service Provider shall:

(a) 	provide ESFA with a copy of all Information in the Service Provider's possession or power in the form that ESFA requires within 5 Working Days of ESFA requesting such Information; and

(b) 	provide such assistance as ESFA may reasonably require to enable it to respond to a Request for Information within the time for compliance set out in section 10 of FOIA or regulation 5 of EIR (as the case may be).

21.6.3 The Service Provider acknowledges that:-

(a) 	ESFA may, acting in accordance with the relevant Code of Practice on the discharge of public authorities' functions under Part 1 of FOIA, be obliged under FOIA or EIR to disclose information either without consulting the Service Provider or following consultation with the Service Provider and having taken its views into account; and

(b) 	ESFA shall determine, at its sole discretion, whether any Information is to be disclosed in response to a Request for Information.

21.6.4 	In the event that the Service Provider receives any Request for Information, it shall immediately provide a copy of it to ESFA. In no event shall the Service Provider respond directly to any Request for lnformation unless expressly authorised to do so by ESFA.

21.6.5 	Without limiting any other obligation under this Agreement, the Service Provider shall ensure that all information produced in the course of the performance of the Services under this Agreement or relating to this Agreement is retained for disclosure and shall permit ESFA to inspect such Information as requested from time to time.

21.6.6 	In this Clause 21.6 "Request for Information” (which shall include any apparent requests for information under FOIA or EIR) and "lnformation” have the meanings given to them in FOIA.

21.7	The Authority does not participate in any publicity relating to its contracts or purchases unless pre-approved by the Authority.  Suppliers may not advertise or publicly announce that they are undertaking work for the Authority without prior approval.  If the Authority is made aware of unapproved advertising on websites or company literature the supplier will be contacted and requested to remove such references.

22. CONFIDENTIALITY

22.1 	Subject to the remainder of this Clause 22, the parties shall treat information obtained in connection with this Agreement as confidential.

22.1.1 	Other than for the purpose of providing the Services, the Service Provider shall not disclose any information or documents concerning this Agreement to any other persons.

22.1.2 	The Service Provider shall not without ESFA's prior written consent disclose any information obtained by the Service Provider of or concerning ESFA or any subsidiary or associated company of ESFA to any other person.

22.1.3 	The Service Provider shall not, without ESFA's prior written consent, take any photographs or make any other graphical or other reproduction at or of any premises, property or equipment owned, leased or in the possession of ESFA or of any property or equipment at or on the premises of ESFA or any subsidiary or associated company of ESFA.

23. NOTICES

Any notice required to be given by a party shall be in writing and service shall be effected either personally when service shall be deemed effective on delivery or by first class recorded delivery post when service shall be deemed effective on the day after posting.  Notices shall at all times be addressed to the nominated Representatives of each party.

24. THIRD PARTIES

ESFA and the Service Provider hereby confirm that, notwithstanding any other provision of this Agreement, this Agreement shall not and shall not purport to confer on any third party any right to enforce any term of this Agreement for the purposes of the Contracts (Rights of Third Parties) Act 1999.

25. GOVERNING LAW AND DISPUTE RESOLUTION

25.1 	This Agreement shall subject to Clauses 25.2 – 25.7 be governed by and construed in accordance with English Law and the parties submit to the exclusive jurisdiction of the English Courts.

25.2 	Any dispute or difference arising under or in connection with this Agreement may be referred to the Centre for Effective Dispute Resolution (CEDR).

25.3 	The Adjudicator shall be a person to be agreed between the parties or on the application of either party, a person nominated in accordance with the provisions of the Scheme.

25.4 	The Adjudicator's decision is binding until the dispute or difference is finally determined by an arbitrator as provided in Clause 25.7. If either party does not comply with the Adjudicator's decision the other party shall be entitled to seek to enforce the Adjudicator's decision in the English courts pending any final determination of the referred dispute or difference pursuant to Clause 25.7.

25.5 	The Adjudicator shall not be liable for anything done or omitted in the discharge or purported discharge of his functions as adjudicator unless the act or omission is in bad faith, and any employee or agent of the adjudicator is similarly protected.

25.6 	If the matter has not been resolved by a CEDR procedure within 30 days of the initiation of that procedure, or if either party will not participate in an ADR procedure, the dispute shall be decided by the High Court of England and Wales and the parties submit to its exclusive jurisdiction for that purpose.

25.7 	Subject to Clause 25.2 above, any dispute or difference arising under or in connection with this Agreement, except in connection with the enforcement of any decision of any Adjudicator, shall be referred to the arbitration of a single arbitrator to be agreed between the parties or on the application of either party, a person nominated in accordance with the provisions of the CEDR Model Mediation Procedure. The Arbitration shall be conducted in accordance with the CEDR Rules.