East Sussex

Fire Authority

ESFA2540

Provision of

Maintenance, Repair and Servicing

of Appliance Bay Doors

and other Automated Doors,

Gates and Barriers

across the ESFA Estate

INVITATION TO TENDER

CLOSING TIME and DATE FOR SUBMISSION OF RESPONSES:

12.00 noon on 17th December 2025

To be returned via our electronic portal, detailed in the section

‘Preparation and Submission of Responses’ below

Version v1.5

achieving safer and more sustainable communities

Copyright © 2015 East Sussex Fire Authority. The insignia of East Sussex Fire Authority and East Sussex Fire & Rescue Service is the property of East Sussex Fire Authority and may not be reproduced without prior permission of the Authority.

section 1 – INTRODUCTION

- Introduction

  - East Sussex Fire Authority (ESFA) on behalf of East Sussex Fire and Rescue Service is seeking to award a contract for the provision of the servicing, maintenance and repair and occasional full renewal of the appliance bay doors on our fire stations along with a few similar type doors on workshops and similar structures. It will also include a number of automated doors and barriers. This contract will be let to support our Estates Department.

  - The tender will be conducted following an Open Procedure.

  - The successful tenderer will be expected to work closely with the current Contractor to ensure a smooth service transition.

  - This tender must be open for acceptance for 120 days after the tender closing date and be priced accordingly.  In the event of the tender being accepted, you must be able to commence and complete the works in accordance with the dates specified.

Period of Contract

  - The Contract will be for a two-year period commencing on 1st May 2026 with an option for the Authority to extend the Contract for two periods of up to twelve months each, where the supplier is in agreement.

Procurement timetable

  - The planned timescale for this procurement is provided below, as a guide:

| Stage | Action | Date (from) |
| --- | --- | --- |
| 1 | Contract Notice published and issue of ITT | 14th November 2025 |
| 2 | End of Clarification Period | 8th December 2025 |
| 3 | Return of ITT | 17th December 2025 |
| 4 | Evaluation Period expected to end w/c | 19th January 2026 |
| 5 | Issue Intention to Award of Contract w/c | 26th January 2026 |
| 6 | Standstill period | 8 working days |
| 7 | Contract Award (following standstill) w/c | 9th February 2026 |
| 8 | Contract to be Commenced | 1st May 2026 |

  - Requests for Information / Clarification

All requests for additional information or clarification of the tender documents or procedure must be requested via the InTend Sell2 portal only, by the date and time specified in Section 2.

  - Any information provided in response to requests for clarification will be distributed to all applicants, not just the applicant that requested the information. Information or updates will be communicated to all applicants via the portal.

Method and Criteria of Evaluation

  - Your tender response will be used by the Authority to evaluate the Tender submissions. Please ensure you read the explanatory notes preceding the questionnaires in full before responding, as the information you give within the questionnaires will be relied upon as being true and accurate and will form part of the contract for the successful Applicant. If any of the information given by your organisation within the questionnaires and Tender process is subsequently identified as being inaccurate, this may exclude your organisation from further consideration or could result in contract termination.

  - Information and instructions on responding to the questionnaires are detailed below. Please ensure that all questions are answered in full in your response, providing supporting and additional information as appropriate.

  - The evaluation of the submissions will be based on obtaining the most economically advantageous offer to the Authority, taking into account the criteria detailed below:

| Evaluation Criteria and Process | Weighting |
| --- | --- |
| Quality of services as demonstrated in the response to ITT questions, in the method statements as may be clarified for ability to deliver the requisite services | 37.5% |
| Social Value | 12.5% |
| Price, costs and affordability | 50% |

  - The evaluation of the ITT submissions will be based on the following criteria;

| Questionnaire Evaluation Criteria and Process - Summary questions |  | Marks available | Weighting | Total Marks available |
| --- | --- | --- | --- | --- |
|  | Detail how you intend to manage this contract including procedures and systems will be put in place for this contract to ensure you will deliver a robust service. | 5 | 3 | 15 |
|  | Cover specifically, how you will meet an emergency 3-hour requirement, particularly over bank holidays. Detail if you already have the staff employed to achieve this. | 5 | 2 | 10 |
|  | Detail the communication process you will adopt to ensure that stakeholders are kept up to date with your response to emergency and urgent reactive reported faults, and for planned routine works and servicing requirements. | 5 | 1 | 5 |
|  | Detail how you ensure repairs or item you maintain or install; will meet the required British Standard. Detail how you procure compliant parts and audit the work of your engineers to ensure that these standards are met and evidenced. | 5 | 2 | 10 |
|  | Detail how you will ensure any staff employed by you on this contract are suitably skilled and qualified to perform the tasks they are being asked to do | 5 | 1 | 5 |
|  | Detail your procedures for working at height to repair or routinely service something at the top of a door. Cover areas like how many staff you deploy, their relative qualifications and what equipment they use to access at height? | 5 | 2 | 10 |
|  | In respect of asbestos, detail how you will ensure staff attending on site, understand what they need to do, where other such risks might be found and what precautions they will be required to take. | 5 | 2 | 10 |
|  | Detail what parts of the specification you will be completing, and what parts if any, will be sub-contracted to another legal entity. | 5 | 1 | 5 |
|  | Detail in an emergency or urgent call how you will source spare parts to improve first fix performance. Cover who you would source from, time constraints that may apply. | 5 | 1 | 5 |
| Quality Score Total |  |  |  | 75 |
| Social Value (12.5%) |  |  |  |  |
|  | How is your organisation fighting climate change and operate sustainably and responsibly, specifically any journey to Net Zero or waste management plans you and how they are monitored? | 5 | 2 | 10 |
|  | How do you tackle economic inequality in your local area and how your company applies their Social Value commitments. You should also cover any that will specifically benefit the residents of East Sussex, Brighton and Hove. | 5 | 2 | 10 |
|  | Detail your payment performance over the last financial year. | 5 | 1 | 5 |
| Social Value Total |  |  |  | 25 |
|  | Total Marks Available |  |  | 100 |

  - The evaluation marking of the ITT response will follow the guidelines detailed below:

| Marking guidelines | Score |
| --- | --- |
| Comprehensive and useful response which is innovative and fully meets expectations, including a full description of techniques and measurements employed. Excellent evidence provided to demonstrate that the Specification will be met. | 5 |
| Response satisfies requirement and includes a good level of detail. Some good evidence provided to demonstrate that the Specification can be met. | 4 |
| Response meets minimum requirements but remains basic and could have been expanded. Response is sufficient with just enough evidence to demonstrate that the Specification can be met. | 3 |
| Poor response only partially satisfies requirement, with deficiencies apparent. Falls short of minimum expectations. Insufficient evidence to demonstrate that the Specification can be met. | 2 |
| Poor response – only attempted to answer requirement, with major deficiencies. Insufficient evidence to support the response. | 1 |
| Question not answered / response is unsatisfactory. Insufficient evidence to support the response to allow the Authority to evaluate. | 0 |

Price

  - The price tendered must be fixed for the term of the contract

  - Price Scoring – A score will be given in relation to the lowest price offered. Prices more than double the lowest price will score zero marks.

  - The tendered prices will be compared on a like-for-like basis using the information provided in the pricing schedule.   The lowest overall price tendered will be given a score of 100 with other tendered prices scoring relatively fewer marks, according to their relative difference from the lowest price as detailed in the formula:

| Lowest Price Your Submitted price | X 100 | = | Your Points score |
| --- | --- | --- | --- |

For example,

| Lowest price | Price Tendered | Lowest Tendered | Points Available | Points Awarded |
| --- | --- | --- | --- | --- |
| £60,000 | £60,000 | 1.000 | 100 | 100.0 |
| £60,000 | £95,000 | 0.632 | 100 | 63.2 |
| £60,000 | £86,000 | 0.698 | 100 | 69.8 |
| £60,000 | £130,000 | 0.462 | 100 | 46.2 |

  - The evaluation team will identify their scores as individuals. To agree a final score, these scores will be collated and averaged.  The Tenderer receiving the highest score will be recommended for award.

Costs

  - The Authority will not accept any responsibility whatsoever for any costs incurred by Tenderers in preparing responses. No guarantee is given as to the validity of the data provided by the Authority. Where Tenderers are required to provide a presentation and/or attend meetings called by the Authority this will be at the Tenderers own expense.

Qualification

  - Tenders must be submitted strictly in accordance with the instructions in the Contract Documentation. Failure to do so may see your bid rejected. Applicants must not make any changes to these documents unless specifically invited to do so under these documents.

  - Whilst ESFA is prepared to give consideration to any minor changes, it is not prepared to accept material changes to the terms and conditions.  For doubt avoidance, bidders should note that if any submissions are subject to a qualification which ESFA at its sole discretion deems ‘material’ and unacceptable, their bid will be disqualified and deemed to be non-compliant. As a consequence, no further consideration of their bid will be carried out.

  - It is envisaged that a single contractor will be appointed on to the call off for this maintenance, repair and servicing term contract.

  - Such inclusion on the call off pursuant to this further competition will be on the basis of the most advantageous bid, based on the evaluation criteria listed.

  - ESFA does not bind itself to accept the lowest or any bid, and unless a bidder expressly states a partial award will not be acceptable, the right is reserved to accept a bid in part.

  - Upon conclusion of the response’s evaluation, all bidders will be advised through the portal.

  - Following result notification, the award process will be subject to a eight working day standstill period from the date of notification, as per the Procurement Act 23. Suppliers should do nothing during this period that would incur costs for them, in support of the potential contract.

  - Upon conclusion of all of the above stages, a call off contract will be created between East Sussex Fire Authority and the appointed Contractor. The results of the tender and the contract value will be published.

Standards

  - Where the specification refers to an International, European or British standard, the tenderer may offer an equivalent standard, provided that the standard offered contains equivalent guarantees of safety, suitability and fitness for purpose to the standard referred to in the specification.

Devolution

  - With the introduction of The English Devolution and Community Empowerment Bill, the areas of West Sussex, East Sussex and Brighton are considering whether they will combine into a single Mayoral Combined County Authority, to form a larger strategic authority. Until that decision is made, how that will impact the East Sussex Fire Authority is unclear.

However, with the first mayoral election due to take place in May 2026, what is likely is that within the term of this contract, the East Sussex Fire Authority, the legal entity awarding the contract will cease to exist and at that point this contract may either end or require to be novated to the new legal entity responsible for Fire and Rescue provision within the current area known as East Sussex.

What is less likely but possible providing we have given notice it may occur at the point we tender for the supply, is that we would look for this contract, once novated, to be extended to all fire and rescue sites across the new combined area providing the successful supplier is both willing and able to, cover the expanded area. Should this be considered we would discuss it first with the successful supplier then take legal advice as to whether the option is viable.

It is for this reason that we have reduced the term of the contract from our usual three years but provided scope for contract extensions to give the flexibility in a period of change expected.

section 2   PREPARATION & SUBMISSION OF RESPONSES

  - This Tender will be managed electronically via the In-Tend Portal. It can be reached via:			https://sell2.in-tend.co.uk/blpd/home

  - Please return your response in English and in PDF format, via this route only. Please note, the portal is the sole route for communications during the process.

  - Suppliers need to be registered to use the portal and registered against us as a Contracting Entity, but registration is free and further information on how this is achieved, can be found at:	https://sell2.in-tend.co.uk/blpd/register

  - If you are unsure about your companies registration status, please contact In-Tend Portals support at:		https://in-tend.co.uk/contact-us/

  - If you have any difficulties with the In-Tend Portal that you are unable to resolve through the Sell2UK helpdesk, please email procurement@esfrs.org.

  - The closing date for the submission of your tender is

12.00 noon on 17th December 2025

  - Tenders submitted after the time and date shown or received by any method other than via the electronic portal, will automatically be rejected.

  - If you require further information concerning the tender process, or the nature of the proposed contract, please contact us via the portal.

  - Should questions arise during the tendering period, which in our judgement are of material significance, we will write to all tenderers to explain the nature of the question, and our formal reply.

  - Questions about areas of this tender which you require clarification on, will be accepted from suppliers until:

12.00 noon on 8th December 2025

Section 3	Background

  - The East Sussex Fire Authority is responsible for the provision of the Fire and Rescue Service in East Sussex and the City of Brighton & Hove and as an emergency public service, which requires to be fully operational 24 hours each day on every day of the year.

  - The Authority serves the population within the City of Brighton & Hove and the county of East Sussex (~ 830,000 people) and has a network of both operational and support staff operating out of the Authority HQ (co-located with Sussex Police at a shared site in Lewes), 23 Community Fire Stations, our Maresfield Training Centre and we will soon have a new workshop site in Newhaven in Fort Road.

  - This call off contract will cover a requirement for routine maintenance and statutory servicing along with ad-hoc repairs to our appliance bay doors, other building automated doors and site access gates and barriers. As a consequence of the requirements of the Procurement Act 23 (PA23) the scope of this contract has been reduced from previously, to aid bids from SME’s.

  - The total replacement of a single door following accident damage may occasionally be requested but cyclical capital door replacements will now form part of a new term contract that will be tendered for at a future date.

  - By the nature of the requirement, no work is guaranteed.

  - The successful Contractor will have to demonstrate flexibility in its approach to providing the Services and must be committed to achieving and improving performance, customer care and satisfaction. The ability for fire appliances to exit garage bay doors when required is key to us achieving attendance standards and this contract will determine that.

  - East Sussex Fire Authority supports and PA23 requires, suppliers adhere to Social Value requirements. This will account for 10% of the marks given.  Some Social Values examples are detailed below:

- Appointment of apprenticeships and supporting skills development;

- Providing additional opportunities for individuals or groups facing greater social or economic barriers;

- Supporting work placements to school children and young adults;

- Recruitment of locally engaged labour;

- Recruitment of long-term unemployed labour;

- Recruitment of Young People Not in Education, Employment or Training (NEET) labour;

- Procurement and sourcing of sustainable works, supplies and services;

- Encouraging ethical and fair-trade procurement; and

- Community engagement

More information on Social Value issues can be found at https://socialvalueportal.com. You should consider this carefully when answering any question relating to Social Value.

  - The successful Contractor must be able to commence service delivery on the 1st May 2026.

  - The successful Contractor shall work in close liaison with the Responsible Officer and the outgoing Service Provider during the implementation period to ensure a smooth transition to the commencement of the provision of the Services. This will include the identification and resolution of any outstanding issues raised at the end of the current Contract.

Section 4 	Specification

- Our existing Sectional Over Head Door (SOHD) assets consist of both electrically and manually operated up and over doors to our appliance bay garaging spaces at fire stations. Some stations have both front and rear doors, while some have only front doors. Doors to the front are mostly electrically powered whilst to the rear, they are mostly manual. In addition, there are a mixture of doors including some Roller Shutter Doors (RSD) at our integrated and standalone engineering workshops and at our Maresfield training centre.

- Originally all our appliance bay doors were manufactured by Hormann but for a number of reasons including cost and sourcing of spares, as doors are replaced, we have installed a few alternative manufacturers recently. We now have newer Indupart doors alongside older Hormann doors and also a few new OSA doors at the front of our Preston Circus station.

- While the majority of our doors fit the above specifications, we do have some very old timber bi-fold that are manually operated at the rear of our Preston Circus station in Brighton that also require maintenance services for compliance purposes through this provision.

- Some of our appliance bay doors include wicket gate-personnel doors, within the sectional up and over panels, which for the purposes of this tender are deemed to be included in any servicing costs provided. These doors where sited in a powered shutter have an electronic interlink to prevent gate use when the shutter door is moving.

- Most of our appliance bay doors include a complex system of sensor beams, timers, relays, LED traffic lights, light curtain safety sensors, together with motors, controls, switches and relays and will generally have numerous sections with synthetic double panel clear insert panels. All of this equipment is deemed to be included in the servicing costs provided.

- Our current basic asset list of appliance bay doors is listed below:

| Station | Door | Location |  | Type | Manufacturer | Opening Method |
| --- | --- | --- | --- | --- | --- | --- |
| Barcombe | Door 1 | Front |  | SOHD | Hormann | Powered |
| Battle | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Front |  | SOHD | Hormann | Powered |
|  | Door 3 | Front |  | SOHD | Hormann | Powered |
|  | Door 4 | Rear |  | SOHD | Hormann | Manual |
|  | Door 5 | Rear |  | SOHD | Hormann | Manual |
|  | Door 6 | Rear |  | SOHD | Hormann | Manual |
| Bexhill | Door 1 | Front |  | SOHD | Indupart | Powered |
|  | Door 2 | Front |  | SOHD | Indupart | Powered |
|  | Door 3 | Front |  | SOHD | Indupart | Powered |
|  | Door 4 | Front |  | SOHD | Indupart | Powered |
|  | Door 5 | Front |  | SOHD | Indupart | Powered |
|  | Door 6 | Rear |  | SOHD | Hormann | Manual |
|  | Door 7 | Rear |  | SOHD | Hormann | Powered |
|  | Door 8 | Rear |  | SOHD | Hormann | Powered |
|  | Door 9 | Rear |  | SOHD | Hormann | Powered |
|  | Door 10 | Rear |  | SOHD | Hormann | Manual |
|  | Door 11 | Workshop |  | SOHD | Unknown | Manual |
|  | Door 12 | Workshop |  | SOHD | Unknown | Manual |
| Broad Oak, Brede | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Rear |  | SOHD | Hormann | Manual |
| Burwash | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Rear |  | SOHD | Hormann | Manual |
| Crowborough | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Front |  | SOHD | Hormann | Powered |
|  | Door 3 | Rear |  | SOHD | Hormann | Manual |
|  | Door 4 | Rear |  | SOHD | Hormann | Manual |
| Eastbourne | Door 1 | Front |  | SOHD | Indupart | Powered |
|  | Door 2 | Front |  | SOHD | Indupart | Powered |
|  | Door 3 | Front |  | SOHD | Indupart | Powered |
|  | Door 4 | Front |  | SOHD | Indupart | Powered |
|  | Door 5 | Front |  | SOHD | Indupart | Powered |
|  | Door 6 | Rear |  | SOHD | Indupart | Manual |
|  | Door 7 | Rear |  | SOHD | Indupart | Manual |
|  | Door 8 | Rear |  | SOHD | Indupart | Manual |
|  | Door 9 | Rear |  | SOHD | Indupart | Manual |
|  | Door 10 | Rear |  | SOHD | Hormann | Manual |
|  | Door 11 | Workshop |  | SOHD | Unknown | Powered |
| Forest Row | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Rear |  | SOHD | Hormann | Manual |
| Hastings, | Door 1 | Front |  | SOHD | Indupart | Powered |
| Bohemia Road | Door 2 | Front |  | SOHD | Indupart | Powered |
|  | Door 3 | Front |  | SOHD | Indupart | Powered |
|  | Door 4 | Front |  | SOHD | Indupart | Powered |
|  | Door 5 | Front |  | SOHD | Indupart | Powered |
|  | Door 6 | Rear |  | SOHD | Hormann | Manual |
|  | Door 7 | Rear |  | SOHD | Hormann | Powered |
|  | Door 8 | Rear |  | SOHD | Hormann | Manual |
|  | Door 9 | Rear |  | SOHD | Hormann | Manual |
|  | Door 10 | Rear |  | SOHD | Unknown | Powered |
|  | Door 11 | Workshop |  | RSD | Unknown | Powered |
| Hastings | Door 1 | Front |  | SOHD | Indupart | Powered |
| The Ridge, | Door 2 | Front |  | SOHD | Indupart | Powered |
|  | Door 3 | Front |  | SOHD | Indupart | Powered |
|  | Door 4 | Rear |  | SOHD | Hormann | Manual |
|  | Door 5 | Rear |  | SOHD | Hormann | Manual |
|  | Door 6 | Rear |  | SOHD | Hormann | Manual |
| Heathfield | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Front |  | SOHD | Hormann | Powered |
|  | Door 3 | Rear |  | SOHD | Hormann | Manual |
|  | Door 4 | Rear |  | SOHD | Hormann | Manual |
| Herstmonceux | Door 1 | Front |  | SOHD | Hormann | Powered |
| Hove | Door 1 | Front |  | SOHD | Indupart | Powered |
|  | Door 2 | Front |  | SOHD | Indupart | Powered |
|  | Door 3 | Front |  | SOHD | Indupart | Powered |
|  | Door 4 | Rear |  | SOHD | Hormann | Manual |
|  | Door 5 | Rear |  | SOHD | Hormann | Manual |
|  | Door 6 | Rear |  | SOHD | Hormann | Manual |
|  | Door 7 | Rear |  | SOHD | Hormann | Manual |
| Hailsham | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Rear |  | SOHD | Hormann | Manual |
| Lewes | Door 1 | Front |  | SOHD | Hormann | Manual |
|  | Door 2 | Front |  | SOHD | Hormann | Powered |
|  | Door 3 | Front |  | SOHD | Hormann | Powered |
|  | Door 4 | Front |  | SOHD | Hormann | Powered |
|  | Door 5 | Workshop |  | SOHD | Hormann | Powered |
| Maresfield Training Centre | Door 1 | Front |  | RSD | Unknown | Powered |
|  | Door 2 | Front |  | RSD | Unknown | Powered |
|  | Door 3 | Workshop Workshop |  | RSD | Unknown | Powered |
|  | Door 4 |  |  | RSD | Unknown | Powered |
| Newhaven, Saxon House | Door 1 | Front |  | SOHD | Unknown | Powered |
|  | Door 2 | Front |  | SOHD | Unknown | Powered |
|  | Door 3 | Front |  | SOHD | Unknown | Powered |
|  | Door 4 | Rear |  | SOHD | Unknown | Manual |
|  | Door 5 | Rear |  | SOHD | Unknown | Manual |
|  | Door 6 | Rear |  | SOHD | Unknown | Manual |
| Newhaven, Fort Road Workshop | Door 1 | Front |  | TBC | Unknown | Powered |
|  | Door 2 | Front |  | TBC | Unknown | Powered |
|  | Door 3 | Front |  | TBC | Unknown | Powered |
| Pevensey | Door 1 | Front |  | SOHD | Hormann | Powered |
| Preston Circus, Brighton | Door 1 | Front |  | SOHD | OSA | Manual |
|  | Door 2 | Front |  | SOHD | OSA | Powered |
|  | Door 3 | Front |  | SOHD | OSA | Powered |
|  | Door 4 | Front |  | SOHD | OSA | Powered |
|  | Door 5 | Front |  | SOHD | OSA | Powered |
|  | Door 6 | Rear |  | Bi Fold | Timber | Manual |
|  | Door 7 | Rear |  | Bi Fold | Timber | Manual |
|  | Door 8 | Rear |  | Bi Fold | Timber | Manual |
|  | Door 9 | Rear |  | Bi Fold | Timber | Manual |
|  | Door 10 | Rear |  | Bi Fold | Timber | Manual |
|  | Door 11 | Rear |  | Bi Fold | Timber | Manual |
| Roedean | Door 1 | Front |  | SOHD | Indupart | Powered |
|  | Door 2 | Front |  | SOHD | Indupart | Powered |
|  | Door 3 | Front |  | SOHD | Indupart | Powered |
|  | Door 4 | Rear |  | SOHD | Hormann | Manual |
|  | Door 5 | Rear |  | SOHD | Hormann | Manual |
|  | Door 6 | Rear |  | SOHD | Hormann | Manual |
|  | Door 7 | Workshop |  | RSD | Unknown | Powered |
|  | Door 8 | Workshop |  | RSD | Unknown | Manual |
| Rye | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Front |  | SOHD | Hormann | Powered |
|  | Door 3 | Rear |  | SOHD | Hormann | Manual |
|  | Door 4 | Rear |  | SOHD | Hormann | Manual |
| Seaford | Door 1 | Front |  | SOHD | Indupart | Powered |
|  | Door 2 | Front |  | SOHD | Indupart | Powered |
|  | Door 3 | Rear |  | SOHD | Hormann | Manual |
|  | Door 4 | Rear |  | SOHD | Hormann | Manual |
|  | Door 5 | Workshop |  | RSD | Unknown | Powered |
|  | Door 6 | Workshop |  | RSD | Unknown | Powered |
| Uckfield | Door 1 | Front |  | SOHD | Indupart | Powered |
|  | Door 2 | Front |  | SOHD | Indupart | Powered |
|  | Door 3 | Front |  | SOHD | Indupart | Powered |
|  | Door 4 | Front |  | SOHD | Indupart | Powered |
|  | Door 5 | Rear |  | SOHD | Indupart | Manual |
|  | Door 6 | Rear |  | SOHD | Indupart | Manual |
|  | Door 7 | Rear |  | SOHD | Indupart | Manual |
|  | Door 8 | Rear |  | SOHD | Indupart | Manual |
| Wadhurst | Door 1 | Front |  | SOHD | Hormann | Powered |
|  | Door 2 | Front |  | SOHD | Hormann | Powered |

The list of appliance bay doors above does not include the false ‘dummy’ doors that we have for cosmetic purposes at a few station locations and do not need servicing.

Periodic inspection maintenance and testing

- The contractor will carry out a scheduled periodic inspection lubrication, adjustment and maintenance, as may be necessary including speed and force adjustments of motors and controllers, to ensure the proper safe and reliable use of the doors. Cleaning of the sensors is essential during these visits to ensure that there are no false call outs.

- Within the price bid, this should include as a minimum, an annual Regulation Force Test on all powered appliance bay door assets even if side safety curtain sensors have been installed on our older style Hormann front bay doors. These are currently required at the following frequency shown below.

| Station Name/Town | Address | Postcode | Full Time, Day Crew or Retained | Full Service Required |
| --- | --- | --- | --- | --- |
| Brighton | Preston Circus | BN1 4NZ | FT | Full Service 4 times per year |
| Brighton, Roedean | Roedean Road | BN2 5RA | FT | Full Service 4 times per year |
| Eastbourne | Whitley Road | BN22 8LA | FT | Full Service 4 times per year |
| Hastings | Bohemia Road | TN34 1EX | FT | Full Service 4 times per year |
| Hastings | The Ridge, Ore | TN34 2AD | FT | Full Service 4 times per year |
| Hove | English Close | BN3 7EE | FT | Full Service 4 times per year |
| Battle | High Street | TN33 0EE | DC | Full Service 2 times per year. |
| Bexhill | Beeching Road | TN39 3LG | DC | Full Service 2 times per year. |
| Crowborough | Beacon Road | TN6 1AF | DC | Full Service 2 times per year. |
| Lewes | North Street | BN7 2PE | DC | Full Service 2 times per year. |
| Newhaven | Saxon House, Meeching Rd | BN9 9QX | DC | Full Service 2 times per year. |
| Newhaven Workshop | Fort Road | BN9 9EJ | 9am–4pm | Full Service 2 times per year. |
| Uckfield | Bell Farm Road | TN22 1BA | DC | Full Service 2 times per year. |
| Barcombe | Weald Close | BN8 5AZ | R | Full Service 2 times per year. |
| Burwash | Rosemary Gardens | TN19 7ER | R | Full Service 2 times per year. |
| Broad Oak | Northiam Road | TN31 6EP | R | Full Service 2 times per year. |
| Forest Row | Station Road | RH18 5DW | R | Full Service 2 times per year. |
| Hailsham | Victoria Road | BN27 2AY | R | Full Service 2 times per year. |
| Heathfield | High Street | TN21 0UP | R | Full Service 2 times per year. |
| Herstmonceux | Hailsham Road | BN27 4LJ | R | Full Service 2 times per year. |
| Pevensey | Lyons Close | BN24 5LA | R | Full Service 2 times per year. |
| Rye | Ferry Road | TN31 7DJ | R | Full Service 2 times per year. |
| Seaford | Cradle Hill | BN25 3JA | R | Full Service 2 times per year. |
| Wadhurst | Sparrows Green | TN5 6ST | R | Full Service 2 times per year. |
| Training Centre | Batts Bridge Rd, Maresfield | TN22 2HN | 9am–4pm | Full Service 2 times per year. |

4.8	Unless an alternative option has been pre-agreed with the ESFRS Estates Team, replacement parts must be the same as the door manufacturer itself – Original Equipment Manufacturer (OEM) parts.

However, door or glazing panels do not need to be supplier specific if alternatives are more readily available or significantly cheaper. In each case, before fitting any alternative option to an OEM part, must be pre-agreed with the ESFRS Estates Team.

Other Requirements

- We require a six-monthly servicing by an engineer trained and qualified to provide to the latest British Standards, certification in a useable electronic format. Our six larger ‘wholetime’ crewed stations listed require a quarterly testing and certification. At present we believe them to be BSEN 12453, 12604, 12445 :2017 and BS 7036.

- At one of these planned service visits you should include for opening and closing Regulation Force Testing on all our powered assets (bay doors and yard gates-barriers and building doors) and thorough examination of the safety devices that exist to control the doors with detailed reports provided. If during this yearly force testing, there are simple motor and controller or sensor adjustments that can be undertaken to resolve any abnormal reading then this work is to be carried out at the time and the cost is deemed to be included in the servicing rates established in this tender.

Premises Yard Access Barriers

- Currently there are powered arm barriers to restrict vehicle access at 5 station sites that will require maintenance, statutory servicing (including an annual Regulation Force Test) and repair. There are also 2 station sites with manual arm barriers that also require inspection and routine maintenance.

- The powered arm barriers are located at the Bexhill, Crowborough, Hastings Bohemia Road, Roedean, and Wadhurst stations. The manual arm barriers are located at the Forest Row and Hailsham fire stations.

Premises Yard Access Gates

- There are powered gates to restrict vehicle access at 6 premises that will require maintenance, statutory servicing (including an annual Regulation Force Test) and repair.

Sliding gates are located at Hove fire station and at the Training Centre at Maresfield. Swing gates are located at the Eastbourne; Preston Circus, Brighton; and Newhaven Saxon House fire stations and Maresfield has an additional powered pedestrian swing gate beside the vehicle gate. Our new engineering workshop currently being constructed at Newhaven Fort Road will also have a powered vehicle entrance swing gate.

Automatic Building Doors

- We currently have 6 automatic powered doors in buildings at two premises that will require maintenance, statutory servicing (including an annual Regulation Force Test) and repair.

- These are at

Maresfield:

| Canteen Outer single swing door Reception Outer single swing door | Canteen Inner single swing door Reception Inner single swing door |
| --- | --- |

Newhaven Saxon House:

Reception Outer single sliding door		Reception Inner single sliding door

Emergency call outs and repair visits

- The contractor will provide an emergency 24/7 service telephone number, manned by experienced and knowledgeable staff at all times. During office hours this will be answered by a helpdesk and during out of hours, the call will be diverted to the on-call Engineers mobile number. During office hours, work can be initiated via email.

- If requested, an Engineer will attend a site within 3 hours of a call, where a door is in a dangerous or precarious position, where a site is insecure, or where it is the only method of egress from the site. In all other cases, we require attendance to commence the rectification of a defective door the next working day.

- In all cases, the contractor will allow the inclusion of 1-hour time on site. The cost to travel to the site, and any equipment required to examine the fault and effect the repair (not replacement parts), will be included in the agreed call-out cost. The hourly rate will only apply whilst on-site. Part hours will be pro-rata.

- For ad-hoc out of hours emergencies, the service provider must be able to receive calls direct from station-based staff and respond accordingly. The ESFRS Estates team will normally generate a retrospective E-Ref instruction from the 3iStudio CAFM system within 24hrs of their return to work – normally on a Monday morning.

- In preference to a repair, ESFRS may propose at any time the replacement of a bay door, due to the age or performance of the door. This may be requested of the successful supplier or may be requested via the alternate door replacement contract.

Cable, Safety Brakes or Spring renewal

- To minimise unplanned breakdowns, the contractor will report on any instance where they recommend that key mechanical safety parts be replaced on a sectional up and over door before it fails, particularly when identified at a servicing visit. Once reported and approved by the ESFRS Estates team, the contractor will return to replace the defective parts, either on the next planned visit or if urgent an ad-hoc visit. Contractor to notify station crew and estates that the defective door will be taken ‘off the run’ until remedial works are completed.

Contractor Visits on Site or at Meetings

- On completion of each maintenance or inspection visit, the visiting engineer will add to the ‘on site’ maintenance logbook a fully completed copy of an approved Service or Inspection Checklist appropriate to the door type and visit. Service providers are responsible for asset marking the doors after contract mobilisation to compare with the tender listing and also for renewing the logbooks.

- On completion of each maintenance or inspection visit, to check and record the operation of the doors, shoot bolt – cables – safety brakes – springs – rollers & wheels condition plus the door controls including the safety sensors. The contractor must report in electronic format, to the ESFRS Estates Team in accordance with the agreed requirements using a pass - fail - n/a - comment review system. Handwritten work sheets will not be accepted.

- We are at present planning to introduce an asset management system within the term of this contract. When introduced, the successful contractor will be required to upload their reports via that system instead.

- The contractor will advise the ESFRS Estates Team in writing of any remedial works required to any element of the system, within 5 working days following service or inspection visits, advising the reason for the defect and including the actual or the estimated cost, in the form of a quotation, to resolve the issue.

- The contractor will be required to provide all the equipment required to safely service, repair or replace the doors including scissor lifts or temporary scaffolding platforms that may be required. The use of ladders for high level working above 3 Metres will only be allowed as a two-man operation due to the slip hazard within vehicle appliance bays and risk associated with the operational use of the space. Please note that there is often pigeon protection netting inside and outside of our appliance bays which will make some access difficult, and it is assumed that the removal and reinstatement of the netting is included in the price tendered.

- ESFRS expect the contractor to identify and maintain a list of station requirements to ensure that, following the report of a fault, the correct number of engineers are despatched along with any requisite equipment that might be required at our day crewed and wholetime station within the cost bid.

- The contractor will be required to attend contract meetings twice a year at Service HQ in Lewes or at one of the stations as required to review contract performance, discuss and agree any amendments to the contract programme, or schedule for services and testing.

- While on site all contractor staff (and any sub-contracted staff) must carry company identification.

Data Gather

  - To date no asset tagging process been applied in this area but during this contract we will expect asset tagging on this to be expanded to cover our key door components. We will only expect you to tag items you come across as part of normal servicing or for a repair of replacement you complete during the term. These will be integrated into our CAFM system in due course. ESFRS are using the 3iStudio CAFM system http://www.3istudio.com/ but it does not yet record asset labels.

  - The scope of this will be agreed at the pre-contract start meeting but we are not envisaging you having to tag anything you will not touch as part of the contract so it will be a first-year exercise and thereafter only things that you subsequently identify as not having a tag.

  - Until we are able to upload the data directly into 3i, you will be required to hold the list in an MS Excel format and provide it annually at the end of each contract year, updated with the work completed during the year.

  - Minimally the information required is shown below with some examples of what we would expect to see in each column. To analyse the data easily, we would expect the supplier to ensure data standardisation so the same product, equipment type or location does not come in multiple combinations. We may specify a discrete list of Equipment Types that you would need to adhere to.

| Station | Equipment Location | Equipment Type | Make and Model | ESFRS Asset No. | Date Installed | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| Bexhill FS | Appliance bay front | OHSD Powered | Indupart xxx-xxxxxx | 1 | TBC | Replace in 2032 |
| Bexhill FS | Appliance bay rear | OHSD Manual | Hormann xxx-xxxxxx | 2 | TBC | Replace in 2036 |

  - Once we are able to allow you to directly access 3i, on completion of any onsite works the successful contractor may be required during the term of the contracts to log onto the ESFRS CAFM system via a contractor web portal to update works completion status within 24 hours of completing reactive or planned works however instructed.

  - The Contractor will not incur any cost to access the database or for the training on the CAFM system and ESFRS must not incur any charge from the Contractor for the requirement to access and update.

  - When requested to, the Contractor will require to upload all documentation including any service sheets or warranties, test or commissioning certificates and any reports onto the ESFRS CAFM system prior to any invoicing for the works

Sub-Contracting Services

  - Any sub-contractors to be used by the contractor, to provide any of the services detailed in this document, must be agreed in advance with East Sussex Fire Authority. When on site they must be easily identifiable as working on behalf of the Contractor.

  - Where a Contractor chooses to sub-contract any work, the cost of any supervision of the sub-contractor, must not be charged back to East Sussex Fire Authority.

  - The responsibility to ensure that the staff performing any sub-contracted work are suitably qualified and registered accordingly to perform the tasks they are being asked to do, rests with the Contractor as part of their own due diligence of their sub-contractors.

  - All sub-contractors working on behalf of the contractor on the ESFA contract must be paid subject to the same, or better terms than the Contractor agrees with ESFA.

  - You must make sure that any sub-contractor you plan to use to provide this service is detailed within your response in Section 5 below.

Environmental Considerations

  - The Authority requires that the Contractor shall operate in an environmentally conscious manner and in accordance with relevant legislation.

  - The Contractor must dispose of anything removed from an ESFRS site, in accordance with the current relevant waste equipment and environmental regulations and provide to ESFRS satisfactory evidence of compliance including waster transfer notices as applicable.

  - Where the disposal of waste includes asbestos products, ESFRS must be informed of the actions taken to ensure it is recorded on the appropriate registers.

Key Performance Indicators and Reporting

- ESFRS will expect the successful supplier to work to the same KPI’s that the current contract monitors. These are:

- 95% of all repairs that have been instructed via an eRef to be resolved on the first visit. These will include:

  - Photocells and optical devices;

  - Light curtains;

  - Traffic lights;

  - Pressure sensors;

- 90% of all repairs completed in no more than 2 visits. These will include replacement of:

  - Cables;

  - Rollers and wheels;

  - Safety brakes;

  - Motors and controllers;

- 95% of all repairs completed within 30 days, where spare parts require ordering and are available. These will include:

  - Door panels and vision panels;

  - Wicket gates;

  - Springs;

  - Hydraulic operators;

- 95% Attendance on site within the specified 3 hours when required;

- 100% of all invoices for planned and project works sent within 10 working days of a completed job;

- By noon every Friday, we require an MS Word report, detailing the following:

  - The number of visits completed that week;

  - Where the visit was and what the visit was for;

  - Any repairs that remain outstanding and the expected date they will be resolved.

TUPE

  - Our incumbent supplier has informed us that no employees will be subject to the TUPE Regulations. You should however make your own enquiries and satisfy yourself as to this position. Your contact point will be:

Vince Burke

Sole Proprietor – CodeBlue

vince@codeblueautomation.co.uk	 or      01233 - 746010

  - Bidders will be expected to comply with all aspects of the TUPE legislation where applicable and having made their own enquiries, take their own view and seek their own independent advice on the application of TUPE before bidding, as, by submitting a tender, bidders are deemed to have satisfied themselves as to the sufficiency of the TUPE information to enable them to complete their tender.

  - Bidders should not place any reliance on the information given to them by the Authority and must obtain their own independent professional advice. The Authority accepts no liability whatsoever for any losses, damages or other costs as a result of the aforesaid regulations

Warranty

- The contractor will provide a minimum 12 month warranty on all completed repairs and on all parts supplied, unless the manufacturer provides a longer warranty period, in which case, this warranty should be passed on to ESFRS.

Spare Parts

- Sufficient spare parts will be carried on servicing vehicles, in order to achieve repairs on the initial visit as expected by the KPI’s listed above.

- We will expect the successful supplier to have ready access to the following spares:

3 x Traffic Lights Sets

3 x Low Sensor Beam Sets

1 x Side Curtain Safety Sensor Sets

1 x Replacement Indupart Door Motor

1 x Replacement Indupart Door Controller

1 x Replacement Hormann Door Motor

1 x Replacement Hormann Door Controller

- Spare parts that are carried as stock, on vans, will be purchased by the successful supplier.

Site Survey

- As part of their routine service visits, the successful contractor will detail each and every door including part numbers, and when complete, at the latest following the first round of door servicing, make this information available to the ESFRS Estates team in an electronic format. This information should be maintained during the life of the contract and supplied

Pricing

- Prices bid will remain firm for the 2-year initial term of this contract

- Any request for an increase in prices in the Contract, due to an unforeseen event, shall be subject to three months’ notice in writing, with evidenced additional costs incurred by the Contractor. No price increase will be accepted, unless agreed in writing by ESFRS.

- If during the contract, ESFRS add or reduce doors (or sites), any adjustment to the core service pricing, will be agreed by negotiation between the parties. Any change to service provision, will be implemented in accordance with Clause 8 of the Standard Terms and Conditions. The price adjustment will be based on the detail supplied in this tender.

Invoicing and Payment

- A monthly invoice for all work completed in the previous month, should be issued within 10 days of the month end. It must detail what work has been completed, and on which stations. It must include the relevant purchase order number raised and the cost centre and any nominal account code supplied to you.

- The monthly invoice should include routine scheduled maintenance and ad-hoc planned and reactive works plus the costs for any equipment replaced during the preceding month.

- A purchase order number will be issued for the scheduled planned maintenance work, and a separate purchase order number will be issued for emergency and ad-hoc work, including cable set replacements, that occurs during the contract period

- Should there be a requirement for a door replacement, these may be capital funded.  A separate purchase order will be raised per station and work order. A separate invoice should be raised for each and submitted within 10 days of work being completed.

- The invoice format may be simplified to costs against specific PO numbers, cost centres and general ledger codes where the detail behind the invoice is supplied in an associated spreadsheet along with the invoice. This format we are adopting for all our suppliers who do multiple jobs each month and it is shortening the time taken to review and approve invoices for payment. As a minimum we would expect to see the following columns on each supporting spreadsheet.

| Purchase Order Number | This will be supplied by ESFRS either on a global or individual basis |
| --- | --- |
| Station Location | This will be supplied by ESFRS for every job |
| Work Required | This will be supplied by ESFRS for every job |
| Priority | This will be supplied by ESFRS for every job |
| Target Date | This will be supplied by ESFRS for every job |
| Date of 1st visit | This will be completed by the supplier |
| Date of Completion | This will be completed by the supplier |
| Work Completed | This will be completed by the supplier |
| Hours Worked | This will be completed by the supplier |
| Hourly Rate | This will be as per the tender submission |
| Total Labour Cost | Hours worked times rate per hour |
| Material Cost | This will be completed by the supplier |
| Material Mark up % | This will be as per the tender submission |
| Total Material cost | Material cost plus mark-up agreed |
| Plant Cost | This will be completed by the supplier |
| Plant Mark up % | This will be as per the tender submission |
| Total Plant Cost | Material cost plus mark-up agreed |
| Total Cost to be Invoiced | Labour plus Material plus Plant |
| Comments | This will be completed by the supplier |

Additional columns may be added to cover other elements as required by supplier or individual circumstance.

- The supporting information in relation to any job, such as the start and finish time of any job, or the cost paid for parts, must be readily available and supplied on request. Any element detailed above may be requested from the supplier as part of an audit of any invoice submitted. These will be requested on occasion during the contract term.

- Any supplementary worksheets, or recommendations for future repairs, must be sent separately, to the ESFRS Estates team. They must not be handwritten.

- Invoices for the routine planned servicing and maintenance will be submitted monthly in arrears. The sum paid will be for the stations serviced during the preceding month, and these stations and doors should be detailed on the invoice.

- Part hours worked should be charged in half hour increments and the hourly rate adjusted accordingly.

- Invoices that do include the relevant purchase order number(s), may be returned but will almost certainly incur a delay to payment.

- At contract completion, all outstanding invoices must be submitted within 90 days of contract cessation. Failure to do so may see them rejected. This will not apply to work in progress at contract completion, which takes longer than this to complete. In this case, an invoice must be submitted within the usual timescale, once work is complete.

- Payment will be by BACS and invoices shall be paid within 30 days in accordance with the Terms and Conditions.

- Invoices must be sent by email, in PDF format to: finance@esfrs.org.

Section 5    Technical and Quality Questionnaire

Explanatory notes

Please read this document carefully before preparing your response, as the information disclosed will form the basis of any agreement. If it is subsequently determined that any information supplied was inaccurate or false, the East Sussex Fire Authority reserves the right to terminate the contract.

Please answer all questions and requests. You may provide a single additional file which will include all supporting documentation you wish to submit.  Please clearly reference any supporting documentation to the question it is being supplied for.  Any additional file submitted, but not suitably referenced to assist with evaluation, may be excluded from the evaluation.

Any questions relating to this questionnaire or to the tendering process as a whole, must be referred via the InTend Sell2 detailed in section two. All clarification questions will be logged, and written responses provided to all Tenderers, however the identity of Tenderers raising the question will remain confidential.

Do not complete your response here.

A simplified document with just the questions has been provided to be completed and signed. This must be the document submitted and must be as created in MS Word format. It must be submitted via the Portal.

The Questionnaire

All questions must be completed. Each answer is a statement of fact and it must be accurate and if need be, should be supported by supplementary cross-referenced evidence.

It is the Applicant’s responsibility to ensure the Authority is not misled and to keep the Authority informed of any matter that may affect the Applicant’s continued qualification.  The content of this application and any subsequent submissions shall remain confidential and restricted only to those with a legitimate professional requirement to access this information.

Freedom of Information

The Freedom of Information Act, which came into effect on 1 January 2005 means that all individuals will have the right to any recorded information held by public authorities unless covered by one of the 23 exemptions, which protect certain information.  This right is retrospective regardless of the date the information was generated and must be provided within 20 working days.  Any information held by the supplier relating to the Authority will be subject to the Act in the same way as information held by the Authority.

Technical Questionnaires

5.1	Grounds for Mandatory Rejection

If you answer ‘yes’ to any question regarding Mandatory grounds for exclusion the Authority must automatically reject your tender.

The Authority’s decision in this regard is final.

Please answer ‘Yes’ or ‘No’ to each question. Failure to answer correctly may see any subsequent contract cancelled when identified.

| Has your organisation or any directors or partner or any other person who has powers of representation, decision or control been convicted of any of the following offences? | Answer Yes/No |
| --- | --- |
| - conspiracy within the meaning of section 1or 1A of the Criminal Law Act 1977 or article 9 or 9A of the Criminal Attempts and Conspiracy (Northern Ireland) Order 1983 where that conspiracy relates to participation in a criminal organisation as defined in Article 2 of Council Framework Decision 2008/841/JHA; |  |
| - corruption within the meaning of section 1(2) of the Public Bodies Corrupt Practices Act 1889 or section 1 of the Prevention of Corruption Act 1906; where the offence relates to active corruption; |  |
| - Ithe offence of bribery, where the offence relates to active corruption; bribery within the meaning of section 1, 2 or 6 of the Bribery Act 2010; or Section 113 of the Representation of the People Act 1983. |  |
| (d) fraud, where the offence relates to fraud affecting the European Communities’ financial interests as defined by Article 1 of the Convention on the protection of the financial interests of the European Communities, within the meaning of: |  |
| - the offence of cheating the Revenue; - the offence of conspiracy to defraud - fraud or theft within the meaning of the Theft Act 1968, the Theft Act (Northern Ireland) 1969, the Theft Act 1978 or the Theft (Northern Ireland) Order 1978; - fraudulent trading within the meaning of section 458 of Companies Act 1985, article 451 of the Companies (Northern Ireland) Order 1986 or section 993 of the Companies Act 2006; - fraudulent evasion within the meaning of section 170 of the Customs and Excise Management Act 1979 or section 72 of the Value Added Tax Act 1994; - an offence in connection with taxation in the European Union within the meaning of section 71 of the Criminal Justice Act 1993; - destroying, defacing or concealing of documents or procuring the execution of a valuable security within the meaning of section 20 of the Theft Act 1968 or section 19 of the Theft Act (Northern Ireland) 1969; - destroying, defacing or concealing of documents or procuring the execution of a valuable security within the meaning of section 20 of the Theft Act 1968 or section 19 of the Theft Act (Northern Ireland) 1969; - fraud within the meaning of section 2, 3 or 4 of the Fraud Act 2006; or - the possession of articles for use in frauds within the meaning of section 6 of the Fraud Act 2006, or the making, adapting, supplying or offering to supply articles for use in frauds within the meaning of section 7 of that Act |  |
| I money laundering within the meaning of section 340(11) of the Proceeds of Crime Act 2002; - an offence in connection with the proceeds of criminal conduct within the meaning of section 93A, 93B or 93C of the Criminal Justice Act 1988 or article 45, 46 or 47 of the Proceeds of Crime (Northern Ireland) Order 1996; or - an offence in connection with the proceeds of drug trafficking within the meaning of section 49, 50 or 51 of the Drug Trafficking Act 1994; or |  |
| (f) any other offence within the meaning of Article 57(1) of Public Contracts Directive 2004/18/EC as defined by the national law of any relevant State. |  |

5.2  	Grounds for Discretionary Rejection

If you answer ‘yes’ to any question regarding Discretionary grounds for exclusion the Authority may reject your tender unless you provide sufficient evidence of any remedial action you have taken.

| Within the past three years, have any of the following situations have applied, or do any currently apply, to your organisation? | Answer Yes/No |
| --- | --- |
| (a) your organisation has violated applicable obligations referred to in regulation 56 (2) of the Public Contracts Regulations 2015 in the fields of environmental, social and labour law established by EU law, national law, collective agreements or by the international environmental, social and labour law provisions listed in Annex X to the Public Contracts Directive as amended from time to time; |  |
| (b) your organisation is bankrupt or is the subject of insolvency or winding-up proceedings, where your assets are being administered by a liquidator or by the court, where it is in an arrangement with creditors, where its business activities are suspended or it is in any analogous situation arising from a similar procedure under the laws and regulations of any State; |  |
| I your organisation is guilty of grave professional misconduct, which renders its integrity questionable; |  |
| (d) your organisation has entered into agreements with other economic operators aimed at distorting competition; |  |
| I your organisation has a conflict of interest within the meaning of regulation 24 of the Public Contracts Regulations 2015 that cannot be effectively remedied by other, less intrusive, measures; |  |
| (f) the prior involvement of your organisation in the preparation of the procurement procedure has resulted in a distortion of competition, as referred to in regulation 41, that cannot be remedied by other, less intrusive, measures; |  |
| (g) your organisation has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions; |  |
| (h) your organisation — (i) has been guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or |  |
| (ii) has withheld such information or is not able to submit supporting documents required under regulation 59 of the Public Contracts Regulations 2015; or |  |
| (iii) your organisation has undertaken to: (a) unduly influence the decision-making process of the contracting authority, or (b) obtain confidential information that may confer upon your organisation undue advantages in the procurement procedure; or I your organisation has negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |
| - has your organisation or any of its Directors or Executive Officers, in the last 3 years, had any of the following: - Health & Safety Executive enforcement/remedial orders - Local Authority Improvement, - Environment Agency Improvement - Prohibition Notices - Complaints upheld, following an investigation by the Equality and Human Rights Commission - any finding of unlawful discrimination made against you by an Employment Tribunal or Employment Appeal Tribunal or Prosecutions through any other court - RIDDOR incidents? |  |

If you have answered ‘Yes’ to any questions, please provide details, particularly of enforcement action taken, and any remedial action you have implemented as a result:

  - Insurance and Financial Standing

| Question | Answer |
| --- | --- |
| Do you (and any relevant sub-contractors or consortium members) already have, or can you commit to obtaining, prior to the commencement of the contract, the levels of insurance cover indicated below: Employer’s (Compulsory) Liability Insurance = £10m Public Liability Insurance = £7m Product Liability Insurance = £1m If not supplied with the tender, copies of your current Insurance Certificates will be requested from the successful Applicant before Contract Award. They will require to be submitted annually thereafter on the anniversary of the contract. | Yes/No |

East Sussex Fire Authority may conduct additional financial checks before contract award.

  - Company Background and Information

In this section you should cover in a general way, the background to your company, who you are, what you do and details like your registered address and company number. You should focus your response on how your company will meet the requirements contained within Section 3 – Background and Section 4 – Specification above and which are not covered in your responses to the questions in 5.5 below.

| Company Name |  |
| --- | --- |
| Address |  |
| Registered Address (if different from above) |  |
| Company Registration Number |  |
| Status if not a Limited Company |  |
| Are you an SME | Yes/No |
| Central Digital Platform reference number |  |
| Main Contact |  |
| Contact Telephone |  |
| Contact Email |  |
| Invoice Query – Name |  |
| Invoice Query – Telephone |  |
| Invoice Query – Email |  |

  - Quality Response

You must answer each of the following questions below. The points and weighting awarded to each question is detailed in Section 1 above. There is no maximum or minimum word limit to the response, but we would expect it not to be either verbose or so little it does not answer the question fully.

The text in italics before the question explains why we are asking it, and text in italics afterwards indicates the way the answer should be structured to give the most marks

| Quality Questionnaire |  |
| --- | --- |
| Q1 | This question is designed to cover the processes you will deploy managing the service under this contract, what you have in place generally for your clients and what you will be deploying for us. There are many automated and integrated systems out there now working via tablets, phones or laptops and we are interested in how you work. As an emergency service and light touch fault reporting and swift resolution is important to us. Question: Please detail below how you intend to manage this contract including procedures and systems will be put in place for this contract to ensure you will deliver a robust service. If you use mobile phone apps, tablets or PDA based specific software systems to record visit information and reporting. Please detail which system you use and what advantages that might bring to us during the life of the contract? Suppliers who detail clearly how they will work for us, how information gets captured during visits and transferred to portals we can access or directly to us via an interface and the options available to us to choose how we interface, will score better than suppliers without systems or who have them but fail to explain clearly how they will work with us. This is the day-to-day operation of the contract, and a smooth experience is important to us |
| Response |  |

| Q2 | Related to the previous question, this question is aimed at specifically at your call out process. As an emergency service we need to be available 24/7/365 and to do so we do on occasion require support from our valued contractors in short time periods. Question: Response Times – Cover specifically, how you will meet an emergency 3-hour requirement, particularly over bank holidays, the Christmas and Easter periods. Detail if you already have the staff employed to achieve this and routine callouts; or will be reliant on recruiting more staff. If recruiting detail how many you have; and how many you will need, to be deployed for our requirement. Suppliers who can demonstrate they meet the standard requirements, or can better them, and who can demonstrate they have back up options for when things go wrong and have already got proven staff, available to deploy, will score higher than those without flexibility or who may struggle on occasions to meet the call out requirements or who require to largely recruit to fulfil this contract. Those who just cannot attend 24/7/365 or arrive within 3 hours if requested will see their bids rejected. |
| --- | --- |
| Response |  |

| Q3 | This question is aimed at your ability to communicate and keep relevant stakeholders informed both following first notification and after the initial visit should it not be resolved on the initial visit. It is important that stations know who will be onsite when and the progress of any repairs required. Question: Detail what communication processes you will adopt to ensure that all stakeholders are kept up to date with your response to emergency and urgent reactive reported faults, and for planned routine works and servicing requirements. Suppliers who have a well-defined communication process both to the stakeholders impacted, and to the ESFRS Estates Team manging the service will score higher than suppliers whose response is not so clear in their processes or vague in exactly how they will communicate. Keeping the Estates Team aware of progress at all times would be particularly useful as chasing progress wastes time. |
| --- | --- |
| Response |  |

| Q4 | This question is aimed at your ability to provide the service in a legal and compliant way; that what you are providing can be relied upon to be safe and compliant with the relevant legislation applicable at the time. Question: Detail how you will ensure any repairs you complete, or any item you maintain or install; will meet with the required British (or equivalent) Standard. Detail how you procure compliant parts and audit the work of your engineers to ensure that these standards are met and evidenced. Suppliers who detail their sourcing of goods to avoid counterfeit products; have an ad-hoc routine percentage managerial check of work completed, perhaps report the outcome of those checks to us; and detail clearly how they will work to British Standards will score more highly than suppliers who are more vague about their sourcing of products; how they will work to standards or who never or rarely have a follow up check on the work completed. |
| --- | --- |
| Response |  |

| Q5 | This question is to determine that you have a system in place that ensures that anybody working on our site, whether employed or sub-contracted to you, is properly competent to do the task asked of them. Question: Detail how you will ensure any staff employed by you on this contract are suitably skilled and qualified to perform the tasks they are being asked to do. Ensure you provide details of how these qualifications are checked and renewed, or training is refreshed, if required. Where work will be subcontracted, cover how you ensure that subcontractors work to the same standards. Suppliers who have a clear audit trail of competency checking, and regular re-qualification events; toolbox talks or formal training and can provide a summary or skills training example; and who use similar approaches to sub-contractors will score more highly than suppliers who do little to refresh knowledge and competency’s or keep limited records of what they have done and particularly in relation to how they manage their sub-contracted work. |
| --- | --- |
| Response |  |

| Q6 | The appliance doors in use on the East Sussex Fire Authority sites are large and many of the components that require servicing and repair are often located over 3m from the ground. Combined with the fact that this is an operational area where vehicles may be called to deploy at very short notice, we have concerns about suppliers both working in this area and at height on painted floors Question: Specifically in relation to this contract, detail the procedures you will apply working at height to repair or if different, routinely service something at the top of the door, for example an issue with the chain set. Cover areas like how many staff you deploy, their relative qualifications (for example do you routinely deploy an engineer with an unqualified labourer or apprentice; or two engineers), and what equipment they use to access the items at height? Cover how often you would expect a first time repair to be achieved and how often you would do an initial review, perhaps make safe, followed by a return visit with suitable equipment. Suppliers who routinely deploy with powered lifting systems such as a ‘cherry picker’ of scissor lift will score better than those who deploy with scaffold towers. In most circumstances working at height from any form of ladder is not likely to be accepted unless you can demonstrate your solution performs a stable platform to work from. We will clarify any answer that proposes a ladder solution. Suppliers who detail how they achieve first time fixes without a return visit will score better than those who call in to identify the fault and then arrange to return at a later date to do a repair. |
| --- | --- |
| Response |  |

| Q7 | East Sussex Fire Authority holds an up-to-date Asbestos Management Survey in each building together with an Asbestos Register at the ‘sign in’ location. We expect every Supplier undertaking works to have read the survey document and signed the register to confirm that they have understood the risks identified at the site. We also have contracts for the supply of specialist services, such as asbestos removal and electrical works and on some rare occasions, you may have to work with them to complete a repair or more likely Minor Works Question: In respect of asbestos, detail how you will ensure staff attending on site, understand what they need to do, where other such risks might be found and what precautions they will be required to take. Detail what you will do, if during routine works or repairs a previously unidentified instance of asbestos, or suspected asbestos, is uncovered. In that event, the likely outcome is we would have it removed for you to continue. Detail how you will work with other suppliers, and what costs if any, you may look to recover as a result of having to work with our other suppliers. Suppliers who demonstrate they clearly understand the risk to their staff and ours or disturbing asbestos, and who have clear staff training and processes in place documenting what their staff should do in an unexpected event, will score more highly than suppliers who do not demonstrate they understand the risks, and cannot or do not document their training or procedures in their response. Additionally where an incident occurred, those who indicate they understand the requirements of working to the CDM Regulations; clearly state how they would apply them which would come at zero or minimum cost, will score more highly than those who are less clear in their response, do not demonstrate a clear understanding or who would seek additional recompense for common practice. |
| --- | --- |
| Response |  |

| Q8 | For security purposes, East Sussex Fire Authority require to approve all suppliers and their sub-contractors who might be onsite. The new procurement regulations also have strict tender Conditions of Participation and Supplier Exclusion at the core of their requirement, so it is important at this stage that any entity you rely on to fulfil this contract, including individuals not directly employed by you, is recorded here. Question: Detail what parts of the specification the bidding entity will be completing, and what parts if any will be sub-contracted to another legal entity within the agreed hourly or other rate declared in Section 6. If you intend to use any sub-contractor to deliver this service to us, provide a detailed full legal name list of any you intend to or may use. Detail how they are selected and managed by you. Detail contingency plans should ESFA reject a proposed sub-contractor, or they are found to be excluded from public contracts when checked. Unless you use NO sub-contractors, and everybody you deploy are PAYE staff (you should specifically state that in your response below) failure to list your sub-contractors here in your response to this question could see you excluded from evaluation or the award cancelled if identified subsequently. ESFA reserve the right to review posted annual accounts of limited companies. For clarity and the purposes of this question, anybody not paid by you via PAYE would be considered a sub-contractor in this situation – whether a self-employed sole proprietor (individual), a partnership or a small or otherwise limited company – whether they invoice you or you, self-invoice for them. Suppliers who clearly state who will be doing what; complete more of the work via employees that they have direct control over, or can detail how sub-contractors are selected and importantly managed; and who have contingency options to replace sub-contractors or employees with alternatives; will score higher than suppliers, who only manage sub-contractors; who cannot demonstrate control over them and are reliant therefore on them; or who are unclear in their response where the areas of responsibility lie. |
| --- | --- |
| Response |  |

| Q9 | While understanding and accepting for a number or reasons, it is not always possible, we are starting to focus more on the ability of suppliers to achieve a repair on a 1st visit as we are finding it administratively burdensome and disruptive to the stations to be managing ongoing repair visits for sometimes simple faults. Question: Detail in a typical emergency or urgent call out and within those response times how you will source spare parts to improve first fix performance. Cover who you would source from, time constraints that may apply. Describe how your operative can procure a part or other materials at short notice, particularly out of normal working hours. If you plan to hold stock on vehicles or local stores, which parts do you believe will be most important to hold to ensure at least a safe repair can be achieved on a first visit? Suppliers who have well stocked vehicles carrying the most common reactive repair parts for a first time fix; or who make safe then leave to source a part then self-manage and communicate until the repair is complete will score better than those who intend to visit, make safe but follow up days later to finalise the repair without communication or contact with us; and they will score better than those who plan to make safe and then look to re-arrange with ESFRS a follow up visit and additional call out cost to return and repair permanently. |
| --- | --- |
| Response |  |

Social Value

| Q10 | As we all move forward and view the impacts of climate change, East Sussex Fire Authority continue to look for ways to limit our impact on the environment, where we are able to change for long-term sustainability. Question: What efforts is your organisation making to fight climate change and how do you operate sustainably and responsibly in respect of the environment, specifically any journey to Net Zero or waste management plans you may have and how they are monitored? From what you are doing, what elements in relation to this contract specifically, do you think would translate well for us to improve energy or water use efficiency or reduce waste production and/or environmental pollution as we also move to Net Zero? Suppliers who are actively making changes themselves and clearly have considered those against what we do and the constraints we have and provide a reasoned argument for small or large changes will score more marks, than suppliers who are making no efforts themselves in this area, or suggest things that are clearly impractical for a fire service to deploy. |
| --- | --- |
| Response |  |

| Q11 | Government Guidelines require all suppliers providing services to Public Authorities and receiving public funds; to be applying Social Value principles in their day-to-day business and as a result these suppliers are providing well renumerated employment. To help, a representative list of some Social Value Elements that can be considered are detailed in 3.10 above. Question: How do you tackle economic inequality in your local area? Detail how your company applies their Social Value commitments. You should also cover any that will specifically benefit the residents of East Sussex, Brighton and Hove who predominantly fund this service. Also specifically provide: - Total number of employed staff? - Number of those being paid the national living wage - £12.21ph? - Number of those being paid the national living wage plus up to an additional 5p - £12.22 to £12.26ph - The number of 18 – 20-year-old staff employed and the rate they are paid? - Number of apprentices employed and the hourly rate they are paid? Suppliers who provide good renumeration for their employed staff; who detail clearly all the steps and elements they are deploying to achieve social value whether locally to them, or specifically locally to us, and how they monitor success of their programs; will score more marks, than suppliers who paying minimum wages; are not clear which elements of social value they deploy, or where they do so or how it is deployed and monitored. |
| --- | --- |
| Response |  |

| Q12 | In addition to how you handle your employees, the Government is keen to ensure that guaranteed public funds spent with suppliers is passed down through their supply chain according to the same terms in which they receive it. All public Authorities are mandated to pay undisputed invoices within 30 days and are required to publish our achievements in that area and we would expect suppliers working with us to achieve at least that standard as a minimum with their suppliers and indeed it is a mandated requirement for all suppliers with public contracts. Question: Detail your payment performance over the last financial year. - How many invoices were paid in the last financial year? - How many were paid within thirty days of receipt? - How many were in dispute at year end? - On average how many do you receive each month? - At this moment in time (state date) how many invoices are in dispute? - How many suppliers are not routinely paid in 30 days? - For these suppliers, what is your payment terms with them? Suppliers who meet the minimum standard of paying a majority of their invoices in time, who aim to pay their suppliers in 30 days and who have a small percentage of disputed invoices in relation to the number they receive, will receive a score of 3. Those who pay almost all their invoices in time and have very few disputed invoices will receive a 4. Those who pay all their invoices within 30 days including resolving any disputes to still meet the requirement will score a 5. Suppliers who do not answer the questions or do not answer them clearly; regularly do not pay within 30 days; who have their supplier contracts with 30+ day payment terms and/or who have large amounts of disputed invoices will score a 2 or less. In that event you would not qualify as a suitable supplier under requirements of the Procurement Act 23 and your bid will be rejected without your price bid being considered. |
| --- | --- |
| Response |  |

You may if you wish provide any further detail below about your company that you feel is relevant but which has not been covered in your response to the questions above. You will not be penalised if you fail to complete anything in this section but some background information here would be appreciated.

Response: (Maximum 1 page at Arial 11 point minimum)

Section 6 – Pricing Schedule

This majority of this section will be submitted by the completion of a separate spreadsheet. This is provided here for guidance and explanation and to allow any clarification to be recorded.

All pricing should exclude VAT.

Prices shall be firm for the contract period.  Please ensure your price includes anticipated labour and material cost increases accordingly, as there will be no allowance for adjustments.

Please ensure that all rates and prices include and make allowance for all overheads, incidental and subsistence costs and travel to site mileage and time costs. Rates entered will be for time on site only.

All travel costs, accommodation costs and time spent off site are deemed to be included within the rate.

The numbers or quantities given are purely indicative to enable cost comparison.

For the purpose of rate determination, Normal Working Hours are deemed to be:

08.00 to 16.00 	Monday to Friday

You should check your submission carefully, both to see that the tables are correct in their addition and that you are pricing costs as requested.

East Sussex Fire Authority reserves the right:

- to amend pricing bids where any obvious arithmetical errors have been made or formulae in the spreadsheet have been corrupted;

  - Where the total cost column does not match the requirement multiplied by an individual cost, we will assume the core cost per visit or rate per hour figure to be the correct value;

- to reject bids where the supplier completes pricing in a format other than directed and we consider it is not clear how to extrapolate to the correct format;

- to reject bids where the pricing submitted is contradictory, unclear what it relates to or does not refer to the tender specification.

East Sussex Fire Authority will not seek clarification from you on pricing. We will amend if it is clear how to do so and reject your bid if we believe there is any ambiguity.

The decision of East Sussex Fire Authority to either amend or reject a price bid is final.

Do not complete this here. A separate spreadsheet has been supplied for completion

All figures in 6.1 and 6.2 will include all staff costs, travel to site lubricants, consumable parts and the provision or any equipment required to provide the service including for high level access.

6.1	Annual Inspection Maintenance and Testing

| To carry out the scheduled inspections, statutory testing including force test, lubrication and routine maintenance on all appliance bay doors as detailed in the specification, for 1 year. |  |
| --- | --- |
| Barcombe | £ |
| Battle | £ |
| Bexhill | £ |
| Bohemia Road, Hastings | £ |
| Broad Oak, Brede | £ |
| Burwash | £ |
| Crowborough | £ |
| Eastbourne | £ |
| Forest Row | £ |
| Hailsham | £ |
| Heathfield | £ |
| Herstmonceux | £ |
| Hove | £ |
| Lewes | £ |
| Maresfield Training Centre | £ |
| Newhaven (Saxon House) | £ |
| Newhaven Workshop (Fort Road) | £ |
| Pevensey | £ |
| Preston Circus | £ |
| Roedean | £ |
| Rye | £ |
| Seaford | £ |
| The Ridge, Hastings | £ |
| Uckfield | £ |
| Wadhurst | £ |
| Total Section 1 | £ |

6.2 Additional servicing and testing Requirements

| To carry out the scheduled inspections, statutory testing including force test, lubrication and routine maintenance on all other barriers, gates and auto doors as detailed in the specification above for 1 year. |  |
| --- | --- |
| Yard Access Barriers: |  |
| Bexhill | £ |
| Bohemia Road (Hastings) | £ |
| Crowborough | £ |
| Roedean | £ |
| Wadhurst | £ |
| Forest Row – manual swing barrier | £ |
| Hailsham – manual lifting barrier | £ |
| Yard Access Gates: |  |
| Eastbourne | £ |
| Hove | £ |
| Maresfield Training Centre | £ |
| Newhaven (Saxon House) | £ |
| Newhaven Workshop (Fort Road) | £ |
| Preston Circus (Brighton) | £ |
| Powered Building Doors: |  |
| Maresfield – 4 auto doors | £ |
| Newhaven (Saxon House) – 2 auto doors | £ |

6.3	Cable Replacement

As per the instructions in the preamble and repeated in section 1 above, please ensure prices quoted below include all costs including travel to site, subsistence and any equipment required to perform the service.

These will either be fitted during a routine visit to otherwise repair or service the door or may be requested as an ad-hoc visit where the door has not failed but it is believed the cable will fail before the next visit.

|  | No | Unit Rate | Total Cost |
| --- | --- | --- | --- |
| Cable set – fitted while attending to service the door | 20 | £ | £ |
| Cable set – ad-hoc call for replacement only | 5 | £ | £ |
| Total for Section 6.3 |  |  | £ |

6.4	Part Replacement [Fully fitted cost]

Shown below are a number of replacement parts based on historic precedent. Assume 3.5m wide.

Replacement Components shall be fitted at the costs shown below, as these will include the cost of all materials, any equipment required, labour, setup, overheads, incidental and mileage costs for the initial term of the contract.

|  | Cost |
| --- | --- |
| Cost for a complete width Indupart glazing sections (clear) | £ |
| Cost for a complete width Indupart glazing sections (frosted) | £ |
| 1 x Replacement Hormann Door Motor with Door Control Unit | £ |
| 1 x Replacement Indupart Door Control Unit | £ |
| 1 x Replacement Indupart Door Motor | £ |
| 1 x Replacement Hormann Perspex Window Unit (clear) | £ |
| 1 x Replacement Indupart Perspex Window Unit (clear) | £ |
| 1 x Replacement Hormann Perspex Window Unit (frosted) | £ |
| 1 x Replacement Indupart Perspex Window Unit (frosted) | £ |
| Total To Supply – Section 6.4 | £ |

Please state below any instance where above price might not be applicable and how it might be varied:

6.5	Emergency call outs and repair visits

As before, call out charge must include your travel to site, any subsistence and your first hour on site investigating the fault.

Normal Hours of work:  08.00 – 17.00 Monday to Friday

|  | Indicative Callouts per annum | Rate per hour Applied | Total Cost |
| --- | --- | --- | --- |
| Call out Charge (to include one hour on site) – Normal hours | 120 | £ | £ |
| Rate per subsequent hour – Normal hours | 60 | £ | £ |
| Call out Charge (to include one hour on site) – Out of normal hours | 30 | £ | £ |
| Rate per subsequent hour – Out of normal hours | 15 | £ | £ |
| Total Cost for Section 6.5 |  |  | £0.00 |

6.6	Labour schedule – For non-emergency Reactive and Planned Maintenance

|  | Indicative Hours | Rate per hour Applied | Total Cost |
| --- | --- | --- | --- |
| Door fitter | 300 | £ | £ |
| Trainee door fitter or mate | 100 | £ | £ |
| Electrician | 100 | £ | £ |
| Total Cost for Labour for Planned Maintenance – Section 6.6 |  |  | £ |

6.7 Materials/Equipment schedule – For non-emergency Reactive/Planned Maintenance

|  | Base Cost | Mark up Applied % |  | Total Cost |
| --- | --- | --- | --- | --- |
| Materials/Parts supplied | £20,000 |  | % | £ |
| General Plant supplied | £5,000 |  | % | £ |
| Total Cost for Materials for Planned Maintenance – Section 6.7 |  |  |  | £ |

| Total Price for Scoring (6.1 to 6.7) | £ |
| --- | --- |

The following information is required to clarify the detail above or for completion in any subsequent contract or variation. It should not impact on the price scoring above.

6.8 	Routine Servicing

Please provide details of how you arrived at the figure detailed in section 1 above – the Annual Inspection, Maintenance and Testing and elsewhere. This will allow us to test the figure declared and will be used as the basis for variation should a change to the number of doors or sites being serviced, is required.

| Single Service Visit for one appliance bay door (including the cost of all materials, lubricants and incidentals) | £ |
| --- | --- |
| Weekly rental cost for a scaffold platform (where it is required, this should be included in your bid costs above) | £ |
| Weekly rental cost for a scissor lift (where it is required, this should be included in your bid costs above) | £ |

We recognise that the use of a scissor lift and our preference for having one when working at height will add to our costs throughout this contract and we would be keen to work with the successful supplier to minimise when one might be deployed and any other options to cut down the cost. If as part of your business model, you own your own scissor lifts and can deploy them as needed at a lower cost to renting one as required, we would request the cost of a single deployment. If distance is an issue in the calculation, price for the furthest site from you.

Equally, if in our discussions it is decided one may be required each week somewhere, if there is a saving to be had, we would consider a longer-term rental to have it on standby locally to deploy whenever needed.

For scissor lift below, we would consider a ‘cherry picker’ if that is your preference.

The response to this section can be flexible to allow you to present options we can alternatively consider, perhaps something new that we have not seen or considered before or alternate rental costs if it is area dependant.

| Cost to deploy a company owned scissor lift as required (for reactive repairs and planned part replacement only. If required for scheduled maintenance that must be included in the rate submitted) | £ |
| --- | --- |
| Long term rental for a scissor lift held locally on standby for when needed (assuming your vehicles and Engineers can move to site required) |  |
| Quarter | £ |
| Six Months | £ |
| Annual | £ |

6.9	Any Ancillary Services

Please detail below any other services not covered above, that would incur a cost if you were successful in this competition. If it is not included either above or within this section, it will not be chargeable if you win this tender.

If some element of the charges detailed below, is deemed to be material to the value of the contract particularly year 1, such as a mobilisation cost, monthly helpdesk or other administration fee, it will be added to the Total Price for Scoring above. The decision of East Sussex Fire Authority on this matter is final.

| Service Provision | Cost | How Often | Total Annual Cost |
| --- | --- | --- | --- |

QUALIFICATION OF OFFER

Responses will be accepted on the basis that the bidder fully complies with the East Sussex Fire Authority terms and conditions of contract as set out below, for the full duration that this contract will be in force.  Any insistence by the bidder that a ‘qualification of offer’ shall prevail, that ESFA finds unacceptable, will give cause to reject the bid.

Please delete A or B as appropriate:

- I/We do not wish to make any qualification(s) to offer.

- I/We wish to make the following qualification(s) to our offer:

BIDDERS DECLARATION

When you have completed your response to this questionnaire you must certify below that the information provided in the response is complete and accurate.

- I/We certify that the information is accurate to the best of my knowledge.

- I/We understand and accept that false information could result in exclusion from the tender process and that it is a criminal offence, to give or offer any gift or consideration whatsoever, as an inducement of reward to any servant of a Public Body.

- I/we also understand that any such action will empower the Authority to cancel any contract currently in place and could result in exclusion from all future Authority tenders.

- I/We, the undersigned do hereby contract and agree on acceptance of this Further Competition, in whole or in part, to perform the Services, at the prices and terms quoted.

- I/we accept the conditions of contract set out in the Invitation to Tender, to which this tender is my/our response, and I/we undertake to perform any contract awarded as a result of this Tender in strict conformity with those conditions of contract.

- I/We understand that East Sussex Fire Authority is not bound to accept any Tender it receives.

- Unless and until a Contract is prepared and executed, this tender, together with your written acceptance thereof, shall constitute a binding contract between us.

This must be signed with a ‘wet-ink’ signature before submission. You cannot type in a name in the signature box although the rest may be completed electronically.

Signed …………………………………………………………..….     Date ……………………………………….

Name (please print): 	……………

Position: 	……………

Company: 	…………….

Address: 	…………….

…………………………………………………………………………………………………………………………….

Telephone: ………………………………………………………………………………………………..……..………

Email: ………………………………………………………………………………………………..……………..…….

Section 7   Guidance for Contractors Working on ESFA Premises

- INTRODUCTION

All sites will meet the requirements of current legislation to ensure that any approved companies or individuals not employed by East Sussex Fire Authority (ESFA) but required to enter ESFA sites for the purpose of work shall be subject to such controls and conditions which ensure that they meet appropriate standards of conduct before commencing and during any such works.

It is the responsibility of every contractor engaged by ESFA to ensure that, prior to commencement of and during any works, the East Sussex Fire and Rescue Service (ESFRS) Contracts Manager or Premises Representative has provided the contractor and his employees the appropriate information regarding the works and how to meet the current minimum standards of safe conduct required by ESFRS Policy.

This document outlines the safety requirements for contractors on ESFRS Sites. Failure to observe the safety rules contained in them may result in work being halted. Your health and safety performance will be monitored throughout the period of the works.

- GENERAL REQUIREMENTS

- When working on a fire station, the contractor must be aware of what happens when an emergency call is received. The contractor must be able to recognise the turnout alarm and know what to do whilst crews are responding to the alarm and turning out.

- The Contractor shall ensure that all work under the contract is carried out in accordance with the relevant statutory provisions and with ESFRS policies in relation to Health and Safety, Management of Contractors, Environmental Protection and the requirements of these instructions and the best practices of the trade.  They shall be responsible for the safety of, and control of risks to health and the environment arising from, any article, plant, substances or premises which he owns, hires or has possession of, whilst on site.

- All Contractors are required to carry out contracts and use plant and equipment in accordance with statutes and practices designed to ensure the safety and freedom from risks to the health of their Subcontractors and ESFA employees, agents or visitors and the quality and safety of the product.

- No permission, consent or information given by or on behalf of ESFRS shall, in any way, relieve the Contractor of his liability under criminal or civil law.

- SPECIFIC HEALTH & SAFETY REQUIREMENTS

ALCOHOL

There is a strict ‘No Alcohol’ policy on our premises. Visitors and contractors may neither bring nor drink alcohol within our site boundaries.

ASBESTOS

ESFRS will indicate to the Contractor the known presence of asbestos using the Site Asbestos Register.

A number of our premises have asbestos containing materials (ACM’s) within their construction. All our premises are clearly labelled as either containing asbestos or being asbestos free, by prominent signs on the entrance to the premises. Where practical the ACM’s are labelled, and in all cases an extract of the Asbestos Register and safety information is included in the contractors manual at each site and in specific induction packs. If the contractor or sub-contractor is in any doubt, do not start work.

If the Contractor discovers asbestos or any material that is suspected of containing asbestos then work must cease immediately and a report made immediately of the circumstances to ESFRS. Any work involving removal or disturbance of asbestos or any article or substance containing asbestos shall be carried out in accordance with ESFRS policy and statutory requirements by a licensed Contractor agreed by ESFRS. The Control of Asbestos Regulations 2012 apply.

CONSTRUCTION, DESIGN AND MANAGEMENT (CDM):

The Construction, Design and Management Regulations 2015 (CDM) do not apply to this contract.

COMPRESSED GAS CYLINDERS:

Gas cylinders present a range of hazards from that of falling over to causing fires and explosions. Contractors must ensure that they are used safely as per the safe working practices set out by HSE. Cylinders containing flammable gases or oxygen must be removed from any building to an approved location, when not in use. The Dangerous Substances and Explosive Atmospheres Regulations and Control of Substances Hazardous to Health Regulations 2002 apply.

COMPANY PLANT AND EQUIPMENT:

Contractor’s employees must not interfere with ESFRS plant and equipment unrelated to work under the contract. Other than fire alarms and emergency equipment, no person shall use any plant or equipment owned by ESFRS.

Where plant and equipment has to be dismantled, guards removed or safety systems made inoperative as part of the contract work, the Contractor must ensure that such plant and equipment is properly isolated or otherwise made safe before starting work and that the appropriate authorisation is in force in accordance with ESFRS Rules.

On completion or suspension of such work, the plant and equipment must be made safe either by secure isolation or reinstatement of guards and safeguarding systems. All guards and safeguarding systems must be reinstated before the plant and equipment is returned to use.

CONFINED SPACES:

The Contractor must not permit his employees to enter any confined space including any chamber, tank, pit, pipe, flue, silo, storage bin, unless a Permit-to-Work system in accordance with ESFRS procedures is being followed. The Confined Spaces Regulations 1997 apply.

In addition to all other requirements, a second person must always be present during work in a confined space as identified in assessment and safe systems of work (no lone working permitted).

CONTRACTORS’ EMPLOYEES:

The Contractor must ensure their employees and any Subcontractors appointed by them are competent to carry out and/or manage the work required of them effectively and safely. Supervisory staff must be nominated to ensure that work is being carried out in a safe and satisfactory manner at all times. Contractors should ensure that employees are familiar with ESFA site fire, emergency and security procedures, have been inducted and have signed a copy of the ESFRS Rules for Contractors and Service Providers. Non ESFA Employees/Contractors/Sub-Contractors are not allowed to enter areas other than those where the work necessarily takes them and the welfare facilities agreed may be used.

The Contractor shall provide their employees with all protective clothing and equipment required by legislation and Company rules including but not limited to:

- Safety helmets, safety boots and High-viz jackets.

- Eye protection for employees carrying out chipping, sanding, grinding, welding or dividing materials and similar operations.

- Approved breathing apparatus and respirators for employees exposed to dangerous fumes, dusts, fibres or lack of oxygen.

- Ear protection where employees are working within designated ‘Ear Protection Zones’ or using noisy equipment.

The Contractor shall ensure that protective clothing and equipment is maintained in good order and is used by his employees.

CONTRACT MATERIALS:

The Contractor must ensure the safe storage of all substances, materials and articles brought to site.  All materials must be properly stacked in areas which do not obstruct free movement around the site. No highly flammable liquids and liquefied petroleum gases may be stored except in areas approved by ESFRS.  Flammable materials must not be stored in any position where they would prejudice the safety of any means of escape in case of fire.

ESFRS must be informed of all substances brought on site which may be hazardous to health as defined in the Control of Substances Hazardous to Health Regulations 2002 and also of any operations which may result in the production of hazardous substances. These substances and operations shall have been subject to an assessment of risk as required by the Regulations. Where this has not already been done or because the particular circumstances of use make it necessary a risk assessment must be carried out before the substance(s) is used.

CONTRACTORS PLANT AND EQUIPMENT:

The Contractor must ensure that all plant and equipment brought to the site is in a safe condition and complies with statutory requirements applying to its use, particularly in respect of any requirements for periodic examination. Contractors’ employees should be sufficiently trained, experienced and competent to operate the equipment they use.  ESFRS reserves the right to examine plant and equipment brought to the site to determine its fitness for use.

- No plant or equipment producing a noise level in excess of 85dB(A) shall be used on ESFA premises without written permission.

- No plant, equipment or machine driven by internal combustion may be used within any ESFA building, unless effective exhaust ventilation to the outside air is provided.

- All electrical equipment brought on site must be serviceable and free of any fault and have a PAT test certificate displayed at all times. All portable tools shall operate, wherever practicable, at a maximum of 50 v.a.c. In exceptional circumstances, where higher voltages are necessary, then any cables and devices shall be protected by a Residual Current Device at the source of supply.

- No cartridge operated tools equipment may be used without prior consent from ESFRS.

- All air receivers used on ESFA premises shall comply with the requirements of legislation in respect of cleaning, examination, marking and safety measures.

- The Contractor shall provide sufficient lifting tackle and appliances, certified, tested and marked in accordance with legislation and of adequate capacity to handle any loading involved in this operation. Reports on the testing of lifting equipment and air receivers shall be made available for ESFRS inspection, if requested.

- All Contractor’s materials, plant or equipment shall be safely and securely stored and shall not obstruct a means of access or exit, gangway or other area where ESFA employees or visitors have to work or pass.

CONTROL OF DUST AND FUMES:

No stationary internal combustion engine may be used in any enclosed or confined space unless satisfactory arrangements have been made either to conduct exhaust gases into the open air or to provide adequate ventilation so as to prevent a dangerous concentration of fumes and gases.

The Contractor must effectively control or counteract the creation of dust, fumes or any other hazardous emission that could be injurious to health or the environment. Contractors are reminded of their duties under the Control of Substances Hazardous to Health Regulations 2002.

ELECTRICAL EQUIPMENT:

All electrical equipment used by the Contractor on site must comply with the requirements of regulations applicable to its use. The written approval of ESFRS will be required for the use of the ESFRS electricity supply and any installation, extension, modification, maintenance, repair or testing of the ESFRS electrical systems or equipment.

All electrical equipment must be suitable for the purpose for which it is to be used, particularly in respect of exposure to water, dust and flammable vapours.

Electrical leads must be properly earthed and kept as short as possible. Earth leads to welding equipment should be connected within 10m of the welding site. The open circuit voltage of any welding set must be limited to 40v. All work on electric and electronic equipment, carried out in pursuance of the contract, shall be undertaken by competent personnel. Letters of accreditation must be available if required.

The Contractor is responsible for familiarising himself with the requirements of all relevant legislation, including the current edition of the IEE Regulations.

EXCAVATIONS AND OPENINGS IN FLOORS:

The Contractor must ascertain the position of all services below ground before any excavation work begins. Any damage must be reported immediately to ESFRS.

Where the excavation or other work creates an opening in a floor, the edges of the opening shall be fenced except in so far as the nature of the work renders this impracticable. During excavation work the surrounding areas must be maintained in an orderly and tidy condition. Notices and, where appropriate, warning lights should be posted by the Contractor to warn personnel of the presence of an excavation or opening in floor.

Excavations must be inspected and recorded by an experienced and competent person, before work starts, at least once a day, before each shift, every 7 days and after blasting or substantial damage.

The Contractor should not regard any information provided by ESFRS about any underground services as conclusive as to their presence or absence in the vicinity of the excavation.

When backfilling after any excavation, warning traces must be inserted at least 0.3m (1'0") above the buried service indicating the type of service below.

FIRE PRECAUTIONS:

The Contractor must ensure that his employees are familiar with the action to be taken in case of fire, and ESFRS Emergency Evacuation procedure as explained by the ESFRS Contract Manager/Competent Person or Premises Representative. The Contractor shall be responsible for maintaining a daily register of all his employees and Subcontractors for the purposes of accounting for personnel in the event of an evacuation. The contractor must also ensure that all personnel sign in to the main visitors logs at the reception of each station.

No bonfires are allowed on ESFRS premises. Any fire, however small, occurring on ESFRS premises must be reported immediately. The Contractor shall be responsible for the provision of firefighting equipment and appliances of a type appropriate to the hazards involved in his operation and for the training of his employees in the use of this equipment as per risk assessments, method statements and permits to work if appropriate.

Firefighting equipment and appliances provided by ESFRS may be used in the event of an outbreak of fire. The use of any ESFRS equipment or appliance shall be reported to the ESFRS immediately.

No fire alarm or firefighting equipment, including hoses or sprinklers may be disconnected, removed or otherwise rendered inoperable without the prior consent of ESFRS. Fire hoses must only be used for firefighting purposes.

There is a strict ‘No Smoking’ policy on all Authority premises. This also applies to E cigarettes and the charging of these. Visitors and contractors are not allowed to smoke within our site boundaries

ESFRS permission must be obtained before any welding, cutting, open flame or spark-producing equipment is used, or any work whatsoever commenced in the vicinity of any container of flammable liquid or gas or any other volatile or powdered substance. Fireproof screens must be provided to safeguard ESFRS property and personnel from sparking and light flash whenever welding, cutting or similar operations are in progress as per risk assessments, method statements and permits to work if appropriate. Where appropriate machinery and equipment must be flame proofed to recognised standards.

FIRST AID:

The Contractor shall provide First Aid facilities for his employees as required by the Health and Safety (First Aid) Regulations 1981. Guidance on Regulation L74

HOT WORK:

No flame, arc, spark or heat-producing appliance may be used for any contract work other than with the permission of ESFRS. Such work must be carried out in accordance with a written Permit-to-Work System. (See Part 3 - Permit to Work Procedures).

HOUSEKEEPING:

Contractors are expected to maintain a high standard of cleanliness and good housekeeping within their work area.  They must not prejudice housekeeping standards in other parts of the site.

They must ensure, particularly, that:

- Their employees work carefully and tidily.

- Accumulations of rubbish are removed from work areas, and disposed of off-site or as agreed by ESFRS.

- Gangways, roadways and other access means are not obstructed by storage of materials or rubbish.

- All hazards are immediately dealt with as they arise.

- Rubbish is not burned on site.

INCIDENTS AND INJURIES INCLUDING NEAR HITS AND DANGEROUS OCCURRENCES:

If an accident of any kind occurs, or if any incident takes place which could be dangerous or cause injury; the individual concerned must ensure that this is reported to the ESFRS Contract Manager/ Competent Person or Premises Representative immediately, who will then ensure the appropriate ESFRS hazard or safety event report is completed.

The Contractor is responsible for reporting any fatal, major or other Reportable Accidents under the RIDDOR Regulations, although ESFRS reserves the right to do so in addition to the Contractor and also to carry out an investigation. Contractor Employers’ Liability incidents on site should be reported to the ESFRS Contract Manager/Competent Person or Premises Representative. The Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 2013 apply.

LADDERS:

All ladders must be inspected for defects before being put into use and subsequently at least weekly.

Ladders must be secure at all times when in use and be stood on firm level ground. They must extend 1.05m (3'6") above the working landing or support and must rise at an angle given by 1m out from the wall every 4m of rise. Ladders must not be left unattended at night or weekend unless they have been rendered unusable. Materials should be raised using a hoist.

NOISE:

The Contractor shall be responsible for making an assessment of the risk from noise associated with all equipment which is brought onto site. The Contractor shall inform his employees, those of any Subcontractors employed by him, and ESFRS of the control measures which he has put in place in respect of any plant or machinery he has brought onto site.

The Contractor shall be responsible for providing instruction to his employees and those of Subcontractors with regard to site control measures and site requirements for the wearing of ear protection.

Contractor should be aware that the primary control measure is reduction of noise at source. The Contractor shall employ the best practicable means of reducing noise at source and the Contractor shall comply with all statutory requirements with regard to noise. The Control of Noise at Work Regulations 2005 apply.

PERMITS TO WORK:

There are certain operations carried out at sites which are deemed high risk due to the nature of the process and the surrounding area. Examples of the types of work for which permits will be required include:

- Working at height, including on roofs and in confined spaces, for example, ducts

- Hot work - welding, soldering or cutting using hot flame techniques outside of a workshop area.

- Isolation of or modification to fire safety systems, alarms, etc.

- Live working on electricity supply systems

- Work in areas involving a risk of interaction with asbestos or a risk of exposure to hazardous chemicals.

- Excavation and the digging of trenches

When working on the above tasks a ‘Permit to Work’ will be required (see Permit to Work Procedures below). As part of the agreement on Health and Safety Arrangements for the work, contractors must follow the detailed requirements of ESFRS. All Risk Assessments and Method Statements must be received by ESFRS a minimum of 5 days in advance of works commencing on site to ensure prompt issue of the Permit to Work

ROOFS:

ESFRS permission must be obtained before Contractor’s personnel work on any roof other than a roof being constructed as part of the contract. ESFRS rules and procedures must always be followed and a Permit to Work must be obtained. No work may be commenced above the heads of employees before ESFRS permission has been obtained and approved safeguards effected.

The Contractor should ensure that the work will not place his employees in danger of contact with uninsulated electrical conductors unless isolation of circuits or systems is made. Nothing must be thrown from any roof to the ground below, except in circumstances where an acceptable safe procedure is used.

SCAFFOLDING:

All steps to prevent falls must be taken whilst undertaking scaffolding activities. All scaffolding must be erected on a safe foundation, be perpendicular in structure and securely fixed to the building. A safe working platform incorporating guard rails, toe boards or similar must be provided, including the quick assembly moveable type, to prevent falls of persons or objects.  Scaffolding must not be overloaded with stored materials. Hoists and chutes should be provided.

Materials must not be stacked on scaffold platforms above toe-board height, unless fitted with wire guards.  In accordance with NASC recommendations all scaffolders should wear safety harnesses when working. The erection, alteration, dismantling and inspection of scaffolding and working platforms must be undertaken by competent persons and in accordance with HSE Construction sheets. Following erection of the scaffold the competent person must complete an initial inspection of its' suitability and issue a certificate. All scaffolding must be inspected regularly and the details of each inspection must be recorded. All contractor employees should be competent for the type of scaffolding work they are undertaking and should have received appropriate training relevant to the type and complexity of scaffolding they are working on. Employers must provide appropriate levels of supervision taking into account the complexity of the work and the levels of training and competence of the scaffolders involved.

SEGREGATION OF WORK ACTIVITIES:

Where contract work/activity is to be carried out in an area adjacent to ESFRS activities, the Contractor shall be responsible for the erection of barriers and signs prohibiting the entry of ESFRS employees, visitors or members of the public.

SITE HUTS:

No site hut shall be erected without the approval of ESFRS. Lighting and heating in huts must be installed and maintained so that the risk of fire is avoided. Radiant electric heaters are prohibited. The Contractor must provide and maintain sufficient and suitable portable firefighting appliances in any site hut.

TARPAULINS AND OTHER PROTECTIVE SHEETING:

Tarpaulins and other sheet materials used on site must, wherever possible, be flame resistant or treated with a fire retardant solution.

VEHICLES:

All vehicles, including those not normally used on the highway, must be in a safe condition.  Contractor’s vehicles must comply with Company traffic signs, speed, reversing and parking restrictions at all times. There is a speed limit of 5MPH on all ESFRS premises.

There must be NO PARKING or WAITING in front of appliance bays or turn out areas.

WORKING AT HEIGHT:

The Contractor must ensure that suitable and sufficient access equipment is provided to secure a safe means of access and safe place of work for his and his Subcontractor’s employees in accordance with legal requirements and Permit to Work systems. The Work at Height Regulations 2005 apply.

SITE SPECIFIC HAZARDS:

It is the Contractor’s responsibility to ensure that he is aware of all site specific hazards before he commences work. A list of site-specific hazards will be provided by ESFRS.

- SPECIFIC PROTECTION OF FOOD REQUIREMENTS

CONTROL OF INFESTATION:

The Contractor shall not interfere with or remove any bait point, box or electric insect killer used by ESFA for preventing rodent or other infestation, without permission from ESFRS. The Contractor shall not remove or disturb any sealing, fitting wire mesh or netting used to prevent the entry of rodents, birds or insects into ESFA premises, without permission from ESFRS. Any disturbance of baiting equipment or proofing installations shall be reported to ESFRS immediately.

Any sign of infestation by birds, rodents or insects discovered by the Contractor during the course of his operations shall be reported to ESFRS Contracts Manager/Competent Person or Premises Representative. The Contractor shall ensure that his employees do not encourage any infestation by the indiscriminate use, storage or disposal of food wastes.

Any work involving the disconnection of an underground drain shall ensure that any disused section of drain is removed or effectively sealed to prevent the exit of rodents.

- SPECIFIC SECURITY REQUIREMENTS

SECURITY:

To work at an un-staffed station or site, the contractor must make specific access arrangements with the contracts manager, competent person or premises representative and must inform our Sussex Control Centre by telephone (0203 1622363) that they are on site. They must sign into the premises using the visitor’s book, and similarly book off site and call to say you are leaving.

To work at an occupied site, you must report to the contracts manager, competent person, premises representative or person in charge of the site (Watch Manager for Fire Stations, Estates Officer for Service Headquarters and Caretaker for Service Training Centre) to obtain clearance to start work, and sign into the premises using the visitor’s book. Visitor’s passes must be worn and kept visible at all times. Upon completion of the work, or at the end of each day, you must inform the person in charge that you are leaving and sign out using the visitor’s book. For work of more than one day’s duration, you must repeat these procedures for each working period.

No opening may be made in an outside wall, or boundary fence unless consent has been obtained sufficiently early to enable special security arrangements to be made. The Contractor is responsible for the safety of all the Contractor’s plant, equipment and other property. Any watchman, who is appointed by the Contractor, must work in close liaison with ESFRS security service. Special attendance arrangements should be made where work is required to be executed on a weekend, or outside normal working hours.

- SPECIFIC REQUIREMENTS FOR THE ENVIRONMENT

The contractor will ensure that he and all subcontractors are familiar with and will abide by, the requirements of the following Statutes and derived Regulations where they are relevant to any aspect of the work to be undertaken, including.

- Environmental Protection Act 1990

- Control of Pollution Act 1974

- Water Resources Act 1991

- The Waste (England and Wales) Regulations 2011

- The Hazardous Waste (England and Wales) (Amendment) Regulations 2009

- Control of Pollution (Oil Storage) Regulations 2001

It is the responsibility of the contractor to refer to the main Statutes and Regulations as required in order to ensure compliance. The contractor, if required will provide a site waste management plan and will not under any circumstances use any waste storage or disposal facility provided by ESFRS for its own use.  The contractor will ensure that any waste is separately held and disposed of in accordance with the Environmental Protection Act and associated Regulations.

All required documentation shall be retained for the periods of time stipulated in the Regulations and a copy given to ESFRS. No skip or other waste receptacle shall be located on the site until its position has been agreed with ESFRS.

The contractor must notify ESFRS designated contact immediately upon the occurrence or near occurrence of any event or incident that gives rise to an emission to land air or water, or an entry to a drain; and take any actions that have been prescribed to minimise the effects of any emission, unless it is unsafe to do so.

The contractor must not bring onto the site, any soil, rubble, fill or similar material that contains any substance or property that would cause it to be designated as contaminated under the provisions of Statute and Regulation. The contractor must disclose the quantity and source of all such materials in writing prior to their arrival and ESFRS shall have the right to reject wholly or in part any materials that are or appear to be contaminated upon arrival.  In such circumstances, removal from the site will be the responsibility of the contractor who will bear the costs of safe transport and disposal.

The contractor will ensure that any temporary bulk storage facilities (e.g. oil tanks) have secondary containment facilities which are fully compliant with the requirements of the Control of Pollution (Oil Storage) Regulations.  In addition well equipped spillage control points must be provided, strategically situated where bulk materials, chemicals, paints and solvents are delivered, stored, transferred or used and also secure from access by unauthorised persons.

The Contractor will accept and if required formally acknowledge responsibility for any environmental incident arising from any failure on the part of the Contractor or Subcontractor to disclose relevant information or comply with instructions and guidance issued by way of Section 2 or 3, unless such incident is caused by an act or omission of ESFRS.

The Contractor will notify ESFRS in writing of any necessary changes to the working plan, including any changes of materials, substances or equipment to be used on the site.

GUIDANCE FOR THE CONSTRUCTION, DESIGN AND MANAGEMENT REGULATIONS 2015 (CDM) – Not Applicable

PERMIT TO WORK PROCEDURES

- PURPOSE OF PERMITS TO WORK

Permits to work are a formal management system used to control high risk activities. These enable an assessment of the risks to be made and to specify control measures which will be put in place in order to minimise the risk.

Permits to work will usually be necessary for such activities as maintenance or construction work by external contractors or East Sussex Fire & Rescue (ESFRS) staff, unless a risk assessment indicates otherwise.

Examples of the types of work for which permits will be required include:

- Working at height, including on roofs

- Working in confined spaces, for example, ducts

- Hot work. That is welding, soldering or cutting using hot flame techniques outside of designated workshop area.

- Isolation of or modification to fire safety systems, alarms, etc.

- Live working on electricity supply systems

- Work involving interaction with asbestos

- Work in areas where there is a risk of exposure to hazardous chemicals.

- Excavation and the digging of trenches

The intention of the permit to work is to:

- Ensure that the work which is  intended to take place is properly authorised

- Clarify the nature and extent of the work

- Specify which precautions must be taken and which activities are prohibited. Consideration should also be taken of the activities of other parties which may impact on or be affected by the proposed work. These activities may need to be temporarily suspended or modified.

- Indicate the date, time and location that the specified activities may occur

- Ensure that all those persons who have control of or are affected by the activity are aware

- Provide a record of the work, that the specified precautions have been understood and enacted, and that the workplace and or equipment is returned to a safe condition.

- PREPARATION FOR PERMIT TO WORK

The process for drawing up a permit to work is described here.

The permit must be drawn up by an ESFRS member of staff who has arranged for the work to take place and/or the person who is supervising the work. They will

- Obtain and read contractor’s method statement and risk assessment for work to be undertaken and challenge the contractor if these are considered to be insufficient

- Determine if the work to be carried out requires a permit to work. This will be the case if it is of the type described as above, unless a risk assessment indicates that it is already a low risk activity. Other high risk activities, which are not listed above may also require a permit to work.

- Determine the type of permit that is required. Blank permit templates exist for the following types of work, work at height, work in confined space, hot works, modification to fire safety systems or security alarms, live working on electricity supplies, works involving asbestos, excavations or digging of trenches, work risk of exposure to hazardous chemicals and for unspecified activities.

- Gather the relevant information in relation to the work, including the intended starting time and date, the anticipated duration, job location, plant identification a description of the task duration, and the names of those carrying out the work.

- Inspect the intended location of the work. Considering the method statement, determine any additional measures or actions that are required in order to minimise risks associated with carrying out the intended task(s) at this location. This may include isolation of services such as electricity, or gas.  In order to determine the necessary actions, it may be necessary to call upon the expertise of others who are familiar with the location or the activities to be carried out. Other adjustments may need to be made before the work commences.

- Determine a date, time and duration for the work to take place. The allocated duration should be sufficiently long enough to enable the job to be carried out in a satisfactory fashion.

- PERMIT TO WORK

- The permit to work will have a reference number which should be in a format such as Site/Date/ Initials of issuing member of staff & permit no. For example (Barcombe – 12/10/19-MC-07)

- All relevant information (location of work, type of work, tools to be used, safety measures and precautions to be taken) should be included on the Permit to Work.

- The designated start and finish time of the works will be indicated. A separate permit must be drawn up and issued for each day of works.

- In order to grant permission for the work to be carried out the Permit to Work must be signed by the ESFRS member of staff who is supervising the work. Section 9 of the permit.

- Prior to the works commencing, the ESFRS member of staff supervising the work will clarify with the contractor the precautions that are required to be carried out, as detailed in the permit.

- The permit will be issued to the contractor carrying out the work, who will sign the permit to confirm that they, and those under their control, will adhere to the conditions and requirements described in the permit. Section 10 of the permit.

- A copy will be retained by the person with responsibility for managing the project/ supervising the works.

- The permit will be displayed in a visible location at the place of work, during the time at which the work is taking place.

- When the work is complete the contractor will return the site to a safe and tidy condition and will sign the permit to indicate that the works have been completed. Section 11 of the permit.

- The signed off form will be returned to the person within ESFRS who signed the permit, who will cancel the permit and complete section 12 of the permit.

- The permit will be retained for a period of at least 12 months.

- If the job for which a permit was issued is not completed within the time designated by the permit, it will be necessary to either extend the duration of the permit, if it is safe to do so (i.e. on the same day of issue), or issue a new permit for another period of time. The ESFRS member of staff supervising the work will agree and implement the appropriate action.

- GUIDANCE FOR PERMIT ISSUING FOR SPECIFIC TYPES OF TASK

Working at heights, including roof access:

A permit to work will be required if a risk assessment carried out following examination of the contractor’s method statement indicates that there is a risk of a hazard such as a fall from height, a fall of an object from height, exposure to radiation or hazardous fumes or any other significant hazard. In which case the measures taken to minimise the risk will be indicated in section 4 of the permit.

Confined spaces, including duct:

Whenever possible, the need to enter confined spaces should be avoided, alternative methods should be considered to undertake the task. Entry by a person should only be undertaken if there is no reasonable alternative.

A confined space is defined as ‘any place, including any chamber, tank, vat, silo, pit, trench, pipe, sewer, flue, well or similar space in which, by virtue of its enclosed nature, there arises a reasonably ‘foreseeable specified risk’.

Confined Spaces Regulations 1997

Health and Safety Executive ACOP Safe Work in Confined Spaces

Foreseeable specified risks include (but not limited to):

- A lack of oxygen.  This can occur:

- Where there is a reaction between some soils and the oxygen in the atmosphere.

- Following the action of groundwater on chalk and limestone which can produce carbon dioxide and displace normal air.

- Inside steel tanks and vessels when rust forms.

If a risk assessment indicates that the oxygen level may be low, arrangements should be made to measure the oxygen level at the place of work within the confined space, before entering. The confined space must not be entered unless the oxygen level is in the range 19.5 to 23.5%. Details of the appropriate measurements, and results, if necessary, will be given in section 3 of the permit.

If the oxygen levels are below 19.5% it may be appropriate to permit suitably trained personnel to enter the confine space using an appropriate form of breathing apparatus.

Details of the methods to be used will be given in section 4 of the permit.

- Poisonous gas, fume or vapour.  These can:

- Build-up in sewers and manholes and in pits connected to the system;

- Enter tanks or vessels from connecting pipes;

- Leak into trenches and pits in contaminated land, such as old refuse tips and old gas works.

If a risk assessment indicates that there is a reasonable possibility that poisonous or asphyxiating gases may be present, appropriate steps must be made to measure their concentration, before entering the confined space. Details of the appropriate measurements, and results, if necessary, will be given in section 4 of the permit.

If dangerously high levels of a poisonous or asphyxiating gas are found to be present, it may be appropriate to permit suitably trained personnel to enter the confined space using an appropriate breathing apparatus. Details of the methods to be used will be given in section 3 of the permit.

- Flammable materials

Entry to the confined space should be prohibited if a risk assessment indicates that there is a reasonable possibility that there may be flammable liquids or vapours present which may give rise to a fire or explosion.

- Entry of materials

Entry to the confined space should be prohibited unless the possibility of the entry of liquids and solids which can suddenly fill the space, which may result in a person being drowned, asphyxiated or otherwise injured, has been eliminated. If it is necessary to put such isolations in place, these will be indicated in section 4 of the permit.

- Heat

If a risk assessment indicates that hot conditions may exist which could lead to a dangerous increase in body temperature, appropriate steps will be taken, for example, limiting the exposure time, in order to minimise the risk of injury. The appropriate steps will be indicated in section 4 of the permit.

- Means of escape or rescue

The means by which a person in a confined space can escape or be rescued in the event of an emergency should be indicated in section 4 of the permit.

- Hot work

Hot work includes working with flame cutting apparatus, oxyacetylene welding apparatus, electric welding apparatus, blow lamps, grinding equipment, working with bitumen boilers or any other equipment producing flame, intense heat or sparks.

The following precautions must be in place:

- Personnel trained in use of fire extinguishers must be in the working team.

- At least one appropriate fire extinguisher must be at the place of work.

- The work area is to take place must be cleared of flammable materials.

- Heat or smoke detectors should be isolated before hot work begins.

- Remain at the workplace for at least 30 minutes after hot work ends.

- Remove isolation from heat or smoke detectors after hot work ends.

If a risk assessment indicates t additional precautions are required, these should be indicated on the permit.

- Excavations

A permit to work is required for all excavation work, digging of trenches and the like which is carried out within ESFRS premises.

Prior to issuing the permit, the person arranging the work to take place will ensure that there is sufficient information regarding underground services such as electricity and data cable runs, water or gas pipe work and will have sufficient information regarding ground conditions and surrounding buildings.

Where contractors are to carry out excavations they must provide a method statement which is to give details of the method of excavation, precautions to prevent trench collapse, fencing around the trench, PPE to be utilised and the process for reinstatement of the excavation afterwards.

- Other work activities

Similar procedures will be followed for permits for other hazardous procedures, including live working on electricity supply systems, work involving interaction with asbestos and work in areas where there is a risk of exposure to hazardous chemicals or microorganisms.

EAST SUSSEX FIRE & RESCUE SERVICE PERMIT TO WORK (Example)

| 1. Permit Title: Time Allowed for Work From: To: Date: | 2. Permit No |
| --- | --- |
| 3. Job Location: |  |
| 4. Plant Identification: |  |
| 5. Person Carrying out Work: |  |
| 6. Description of Work: |  |
| 7. Permit Type – tick - Working at height ……………; 5. Live working on electricity supplies …………. - Working in confined spaces ………..; 6. Works involving asbestos ………………. - Hot works ………………; 7. Excavations or digging trenches …………….. - Isolation or modification to fire safety systems or security alarms ……; 8. Works in areas where there is a risk Of exposure to hazardous chemicals ………….. |
| 8. Protective Equipment Required: |  |
| 9. Authorisation: I am satisfied that the appropriate checklist has been followed through and that the necessary precautions are in place. Plant has been taken out of service/suitably isolated (as applicable). The work may now proceed Signed: Position: Time: |  |
| 10. Acceptance: I/We understand the work to be done, hazards involved and precautions applicable. I/We are prepared to work under the conditions stated above. Signed: Position: Time: |  |
| 11. Completion of Work: The work has been completed and all tools etc have been removed, all guards refitted and the plant is/is not * suitable for return to service. Signed: Position: Time: |  |
| 12. Cancellation of Permit: The work has been tested and checked and this permit to work number has been cancelled and no further work is permitted. The plant can/cannot * be returned to service. * Delete as appropriate Signed: Position: Time: Date: |  |
| ### Authorised person to retain completed forms according to document control policy. |  |

Section 8 – East Sussex Fire Authority Premises

| Station No. | Fire Station | Address | Town | Postcode |  | *Full Time, Day Crewed or Retained |
| --- | --- | --- | --- | --- | --- | --- |
| 70 | Rye | Ferry Road | Rye | TN31 7DJ |  | R |
| 71 | Broad Oak | Northiam Road | Broad Oak, Brede | TN31 6EP |  | R |
| 72 | Battle | High Street | Battle | TN33 0EE |  | DC |
| 73 | Bexhill | Beeching Road | Bexhill | TN39 3LG |  | DC |
| 74 | Burwash | Rosemary Gardens | Burwash | TN19 7ER |  | R |
| 75 | The Ridge | The Ridge, Ore | Hastings | TN34 2AD |  | FT |
| 76 | Hastings | Bohemia Road | Hastings | TN34 1EX |  | FT |
| 77 | Pevensey | Lyons Close | Pevensey | BN24 5LA |  | R |
| 78 | Wadhurst | Sparrows Green | Wadhurst | TN5 6ST |  | R |
| 79 | Herstmonceux | Hailsham Road | Herstmonceux | BN27 4LJ |  | R |
| 80 | Hailsham | Victoria Road | Hailsham | BN27 2AY |  | R |
| 81 | Mayfield | Tunbridge Wells Road | Mayfield | TN20 6PJ |  | R |
| 82 | Heathfield | High Street | Heathfield | TN21 0UP |  | R |
| 83 | Crowborough | Beacon Road | Crowborough | TN6 1AF |  | DC |
| 84 | Uckfield | Bell Farm Road | Uckfield | TN22 1BA |  | DC |
| 85 | Forest Row | Station Road | Forest Row | RH18 5DW |  | R |
| 86 | Seaford | Cradle Hill | Seaford | BN25 3JA |  | R |
| 87 | Newhaven | Meeching Road | Newhaven | BN9 9QX |  | DC |
| 88 | Barcombe | Weald Close | Barcombe | BN8 5AZ |  | R |
| 89 | Lewes | North Street | Lewes | BN7 2PE |  | DC |
| 90 | Roedean | Roedean Road | Brighton | BN2 5RA |  | FT |
| 91 | Preston Circus | Preston Circus | Brighton | BN1 4NZ |  | FT |
| 92 | Hove | English Close | Hove | BN3 7EE |  | FT |
| 93 | Eastbourne | Whitley Road | Eastbourne | BN22 8LA |  | FT |
| 95 | Training Centre | Batts Bridge Road | Maresfield | TN22 2HN |  | Office Hours |
| N/K | Newhaven Workshop | Fort Road | Newhaven |  |  | Office Hours |
|  | * Full time (FT) | Normally open 24 hrs per day |  |  |  |  |
|  | Day Crewed (DC) | Normally open from 09.00 to 18.00 each day |  |  |  |  |
|  | Retained (R) | Open generally by arrangement |  |  |  |  |

Section 9 – East Sussex Fire Authority Standard Terms and Conditions

CONTENTS

1.   	Definitions and Interpretation

2.   	Commencement and Contract Period

3.   	The Contractor's Obligations

4.   	Non-performance of the Services

5.   	Management Reporting and Authorisation

6.   	Contractor's Personnel

7.   	Goods and Materials

8.   	Changes to the Services

9.   	Contract Price, Fees and Charges and Adjustments Thereto

10. 	Payment

11. 	Assignment and Sub-Contractors

12. 	Other Works and Facilities Provided

13. 	Contractor's Equipment

14. 	Copyright

15. 	Contractor's Insurance

16. 	Client's Insurances

17. 	Termination

18. 	Consequences of Termination

19. 	Force Majeure

20. 	Transfer of Undertakings

21. 	Public Sector Requirements

22. 	Confidentiality

23. 	Notices

24. 	Third Parties

25. 	Governing Law and Dispute Resolution

1. DEFINITIONS AND INTERPRETATION

1.1 	Definitions

In this Agreement the following expressions shall have the following meanings:-

1.1.1 	“Adjudicator" means the adjudicator to be appointed or nominated under Clause 25.

1.1.2 	"Change Request" means a written request to alter the Services as described in Clause 8 .1.

1.1.4 	"the CEDR Rules" means the Centre for Effective Dispute Resolution Model Mediation Procedure

1.1.5 	"the Commencement Date" means the date set out in the Contract Award letter.

1.1.6 	"Contract Period" means the period set out in the Contract Award letter.

1.1.7 	"the Contract Price" means the sum due to the Contractor calculated in UK pounds sterling in accordance with the agreed prices and as the same may be adjusted from time to time in accordance with this Agreement.

1.1.8 	"ElR" means the Environmental Information Regulations 2004.

1.1.9 	"ESFRS's Representative” means the person or persons as ESFRS may appoint and notify to the Contractor in writing from time to time to act as ESFRS's Representative under this Agreement.

1.1.10 	"FOIA' means the Freedom of Information Act 2000.

1.1.11 	"Force Majeure" means any act of God, any national strike or labour dispute affecting the Services, war, hostilities (whether war is declared or not), invasion, armed conflict or act of a foreign enemy, terrorism, rebellion, revolution, riot or insurrection, nuclear explosion, radioactive or chemical contamination or ionising radiation unless the source or cause of contamination or radiation is brought to or near the Site by or on behalf of the Contractor or the Sub-Contractors.

1.1.12 	"lnsured Perils" means fire, lightning, explosion, storm, tempest, flood, escape of water from any water tank, apparatus or pipes, earthquake, aircraft and other aerial devices or articles dropped therefrom, riot and civil commotion (excluding any loss or damage caused by ionising radiation or contamination by radioactivity from any nuclear fuel or from nuclear waste from the combustion of nuclear fuel, radioactive toxic explosive or other hazardous properties of any explosive nuclear  assembly or nuclear component thereof, pressure waves caused by aircraft or other aerial devices travelling at sonic or supersonic speeds).

1.1.13 	"the Material" means all drawings, specifications, technical information, details, schedules or other documents or recorded information whatsoever, whether stored electronically or otherwise, prepared or produced by the Contractor or the Sub-Contractors in relation to the Services,

1.1.14 	"the Plant" means any of ESFRS's plant or equipment referred to in the Terms of Reference to be the subject of any of the Services.

1.1.15 	"the Premises” means the premises described under Appendix B Site Plan.

1.1.16 	“Re-imbursable Expenses” if applicable, will be set out at Section 3 –Terms of Reference.

1.1.17	"the Contractor" means the second party to this Agreement.

1.1.18	"the Contractor's Equipment" means such tools, machinery plant, apparatus, materials, consumables, tackle, computer equipment and software access equipment and stores brought to the Premises by the Contractor or the Sub-Contractors for the performance of the Services.

1.1.19	"the Services" means the services to be performed at the Premises.

1.1.20	"the Terms of Reference” means the standards, operational tasks and attendance requirements set out in Section 3 – Terms of Reference.

1.1.21	"TUPE Regulations” means the Transfer of Undertakings (Protection of Employment) Regulations 2006 (including as appropriate the Transfer of Employment (Pension Protection) Regulations 2005).

1.1.22	"the Sub-Contractors” means any person (other than the Contractor or his direct employees) to whom any part of the Services has been sub-let by the Contractor.

1.1.23	"Working Day" means Monday to Friday inclusive but "working days" and "days" shall exclude Christmas Day, Good Friday or a day which under the Banking and Financial Dealings Act 1971 is a bank holiday in England and Wales.

1.1.24	"Working Hours" means the between the hours of 8.30 a.m. and 5.00 p.m. (4.30 p.m. on Friday) during which the Services are to be performed at the Premises.

1.2     lnterpretation

In this Agreement references to any statute, statutory provision, directive of the Council of the European Union (whether issued jointly with any other person or under any other name) or other legislation include a reference to that statute, statutory provision, directive or legislation as amended, extended, re-enacted, consolidated or replaced from time to time (whether before or after the date of this Agreement) and include any order, regulation, instrument or other subordinate legislation made under the relevant statute, statutory provision, directive or legislation.

1.3 	Teamworking

Without prejudice to their rights under this Agreement or otherwise, ESFRS and the Contractor agree to:-

1.3.1 	act fairly towards each other, in a spirit of trust and mutual co-operation in their performance of their obligations under this Agreement; and

1.3.2 	help each other to resolve problems which may otherwise prejudice the performance of the Services in accordance with the Terms of Reference and this Agreement.

2. COMMENCEMENT AND CONTRACT PERIOD

2.1 	The Contractor shall commence the Services on the date set out in the Contract and shall continue to provide the Services for the Contract Period subject to the provisions of Clauses 1.1.6 and 17.

2.2 	Unless the Contract Period is extended in accordance with Clause 1.1.6, the Contractor's employment shall automatically terminate at the end of the Contract Period.

3. THE CONTRACTOR’S OBLIGATIONS

3.1 	The Contractor shall provide the Services during the Working Hours for the Contract Period:-

3.1.1 	with reasonable skill care and diligence;

3.1.2 	in accordance with the Terms of Reference (TOR) and this Agreement; and

3.1.3 	in accordance with all instructions issued to them by ESFRS.

3.2 	The Contractor shall use reasonable skill, care and diligence to see that he and the Sub-Contractors comply with:-

3.2.1 	all their respective duties and obligations under and pursuant to any directly applicable provision of the EU Treaty or of any EU regulation, any Act of Parliament or any regulation, rule or order made pursuant hereto or any regulation or bye-law of any local authority or under and pursuant to any notices served under any such enactment, rule, order, regulation or bye-law;

3.2.2 	any codes of practice, guidance notes and recommendations for the time being in force and approved by the Health and Safety Commission or published by the Health and Safety Executive;

3.3 	The Contractor shall perform all the functions under the control of the key resource, the Project Manager Support Officer (PMSO) as designated in Section 3.

3.4 	Subject to Clause 3.5, the liability of the Contractor under or in connection with this Agreement, whether in contract or tort, for breach of statutory duty or otherwise, for any one occurrence or series of occurrences arising out of any one event shall be unlimited.

3.5 	The liability of the Contractor under or in connection with this Agreement, whether in contract or tort, for breach of statutory duty or otherwise, for any claim (except any claim relating to death or bodily injury) which may arise out of or in connection with pollution or contamination (including, for the avoidance of doubt, any claim arising in respect of Legionella) is excluded.

3.5.1 The Service Provider shall service the Plant and maintain it in good working order and in accordance with the provisions of any manufacturer's guarantees or recommendations. The Service Provider shall be liable for any damage to the Plant unless such damage was caused by any negligent act or omission of ESFRS

3.5.2 	The Service Provider shall be responsible for the repair, renewal and replacement of the Plant unless such repair, renewal, or replacement was necessitated by any negligent act or omission of ESFRS after the Commencement Date.

4. NON-PERFORMANCE OF THE SERVICES

ESFRS shall monitor the performance of the Services. If the Contractor fails to provide the services in accordance with this Agreement and/or the TOR and/or fails to achieve the performance standards described in the TOR, then, without prejudice to its other rights and remedies, ESFRS shall be entitled to make such abatement from any sums due to the Contractor under this Agreement as may be stipulated in accordance with the performance points system (if any) which is set out in the TOR or, if no performance points system is set out, as may reflect the reduced value of the Services provided by the Contractor.

5. MANAGEMENT REPORTING AND AUTHORISATION

5.1 	ESFRS's Representative shall be the main point of contact for the Contractor in relation to the Services.

5.2 	Only formal written instructions from ESFRS's Representative can commit ESFRS to any additional payment under this Agreement or to any action which is likely to give rise to such an addition.

5.3 	The Contractor shall comply with any management and reporting systems that may be agreed by the Contractor with ESFRS's Representative.

5.4 	ESFRS shall supply the Contractor, in such reasonable time so as not to disrupt the performance of the Services, all necessary instructions and information required by the Contractor for the Performance of the Services.

6. CONTRACTOR’S PERSONNEL

6.1 	The Contractor shall appoint the person nominated as their Representative and named in their Tender to direct and control the overall performance by the Contractor of the Services and such person or any replacement of him/her made in accordance with Clause 6.3 shall have full authority to act on behalf of the Contractor for all purposes in connection with this Agreement.

6.2 	The Contractor shall not remove the person named in their Tender or any replacement of him/her without the prior written consent of ESFRS which consent shall not be required in the case of permanent incapacity, death, sickness or where such person leaves the employment of the Contractor. ESFRS may instruct the replacement of the person overseeing the contract with another and such instruction shall be treated as a Change Request under Clause 8.

6.3 	lf the person referred to in Clause 6.1 or any replacement of him/her appointed in accordance with this Clause 6.3 is replaced in accordance with Clause 6.2, the Contractor shall replace such person with a person of at least the same experience and expertise and at the same or reduced cost to ESFRS, whose identity shall be subject to the prior written approval of ESFRS, which approval shall not be unreasonably withheld or delayed.

6.4 	ESFRS shall have the right to instruct the Contractor to appoint additional persons to perform the Services if this is, in ESFRS's reasonable opinion, necessary for the proper performance of the Services, and such instruction shall be treated as a Change Request under Clause 8.

7. GOODS AND MATERIALS

7.1 	All materials and/or goods supplied as part of the Services shall be as specified in the TOR. Where such quality and standards are not specified in the TOR, such materials and/or goods shall be of the best available quality suitable for the purposes for which they are intended and shall comply with the latest applicable British Standard where appropriate.

7.2 	The Contractor shall see that the benefit of any warranty or guarantee in respect of materials and/or goods supplied by him/her pursuant to this Agreement shall extend to ESFRS.

7.3	The Contractor shall at all times keep the Site free from all surplus materials, rubbish and debris arising from the execution of the works

8. CHANGES TO THE SERVICES

8.1 	Either party may without invalidating this Agreement request an addition to or omission from or other change in the Services or the order or period or the Working Hours in which the Services are to be provided by issuing to the other party a Change Request.

8.2 	On receipt by the Contractor of a Change Request issued by ESFRS the Contractor shall provide ESFRS within five Working Days of the date of the Change Request (or such other period as may be agreed):-

8.2.1 	a reasonable estimate of the increase or reduction in the Contract Price (if any) which it believes would occur as a result of the change set out in the Change Request together with a reasonably detailed breakdown of the manner in which such estimate was calculated; and

8.2.2 	if such change cannot reasonably be implemented immediately, the time which it reasonably requires to implement such change; and

8.2.3 	analysis of the likely impact such change shall have on the performance of the other Services.

8.3 	The Contractor shall provide to ESFRS estimates in respect of the matters set out in Clause 8.2.1 and 8.2.2 at the same time as the Contractor issues to ESFRS any change Request.

8.4 	The Contractor shall promptly provide to ESFRS all additional information which ESFRS may request, including further estimates in respect of the matters set out in Clauses 8.2.1 and 8.2.2 to assist ESFRS in evaluating the benefit of any proposed change.

8.5 	lf ESFRS wishes to proceed with a proposed change he shall arrange for the Change Request to be signed by ESFRS's Representative and an authorised representative of the Contractor and a copy will be passed to the Contractor. The Contractor shall then implement the proposed change in accordance with the Change Request and the Contract Price and the price schedule shall be adjusted in accordance with Clause 9.

8.6 	ESFRS shall be responsible for any change in the Services necessitated by any change in the requirements set out in Clause 3.2 and such change shall be treated as if it arose from a Change Request authorised under Clause 8.5.

9. CONTRACT PRICE, FEES AND CHARGES AND ADJUSTMENTS THERETO

9.1 	For the performance of the Services ESFRS shall pay the Contractor the Contract Price.;

9.2 	The Contract Price shall not be adjusted or altered in any way whatsoever otherwise than in accordance with the provisions of this Agreement. The Contract Price shall be deemed to include all costs and expenses incurred and risks assumed by the Contractor in performing his obligations under this Agreement.

9.3 	In the event that:-

9.3.1 	the Services are varied in accordance with Clause 8:

9.3.2 	ESFRS issues an instruction to the Contractor under Clause 16.3 or 19.2;

The Contractor and ESFRS shall use all reasonable endeavours to agree an appropriate adjustment to the Contract Price. lf they are unable to agree an adjustment to the Contract Price within 10 Working Days of the date of the Change Request being signed by both parties pursuant to Clause 8.5, or the date of any instruction issued under Clause 16.3 or 19.2 then the Contract Price shall be increased or reduced (as the case may be) by such amount as ESFRS may reasonably determine.

9.4     The prices in Section 3 Terms of Reference shall remain fixed for the duration of the contract.

9.5 	Deductions may be made from the Contract Price (and the Reimbursable Expenses if applicable) in respect of inadequate, part or non-performance of the Services in accordance with Clause 4.

9.6 	The Reimbursable Expenses, if applicable, shall be payable following the performance of the Services to which they relate.

10. PAYMENT

10.1	At the end of each month (or other agreed interval) of the Contract Period the Contractor will send to ESFRS a tax invoice in accordance with the Value Added Tax Act 1994 in respect of sums due to the Contractor as follows:-

10.1.1 	that value of the Contract Price carried out in the preceding month (or other agreed period) as calculated by reference to the price schedule and the agreed programme of work;

10.1.2 	any sum agreed or determined in accordance with Clause 9.3;

10.2 	lf ESFRS notifies the Contractor in writing that they disagree with the invoice, the parties shall co-operate in good faith to resolve the disagreement as amicably and promptly as possible.

10.3 	ESFRS shall pay invoices correctly submitted in accordance with Clause 10.1 on or before the final date for payment which shall be 30 Working Days after the date on which such invoice was submitted.

10.4 	The Contract Price together with any other payments due from ESFRS to the Contractor hereunder shall be exclusive of Value Added Tax and all references to fees and prices in this Agreement shall be regarded as exclusive of Value Added Tax. ESFRS shall pay to the Contractor a sum equal to the Value Added Tax properly chargeable on the value of the provision of any goods or services under this Agreement.

10.5 	lf ESFRS wishes to make any deduction or set-off from any amounts due to the Contractor under this Agreement he shall give to the Contractor notice of the same which notice shall specify:-

10.5.1 	the amount proposed to be withheld and the ground for withholding payment; or

10.5.2 	if there is more than one ground, each ground and the amount attributable to it.

Such notice shall be given not later than 5 Working Days before the final date for payment of each invoice under Clause 10.3.

10.6 	Where any sum due under this Agreement is not paid in full by the final date for payment under Clause 10.3 and no effective notice is given under Clause 10.5, the Contractors shall be entitled (without prejudice to any other right or remedy) to suspend performance of his obligations under this Agreement by giving not less than 7 days' notice to ESFRS stating the ground or grounds on which it is intended to suspend performance. The right to suspend performance shall cease when ESFRS makes payment in full of the amount due. Any period during which performance is suspended shall be disregarded in computing for the purposes of any contractual time limit the time taken by the Contractor to complete any of the Services.

10.7 	Except in respect of Value Added Tax, any other duties, taxes or charges (whether direct or indirect in nature) which may be imposed on ESFRS or the Contractor as a result of legislative or other changes in taxation shall be borne by ESFRS.

10.8 	The Contractor shall be entitled to charge interest at the rate of 2 per cent above the base rate set from time to time by the Bank of England's Monetary Policy Committee (or any successor to it) for any overdue payment calculated on a daily basis compounded from the final date for payment until the actual date of payment.

11. ASSIGNMENT AND SUB-CONTRACTORS

11.1 	Neither party shall be entitled to assign, novate, or otherwise dispose of its rights and obligations under this Agreement whether in whole or in part without the prior written consent of the other.

11.2 	Subject to Clause 11.3 the Contractor shall not at any time permit any of its obligations under this Agreement to be performed or undertaken by any Sub-Contractor without the prior written consent of ESFRS. Any request for consent pursuant to this Clause 11.2 shall be submitted to ESFRS by the Contractor together with the particulars of the proposed Sub-Contractor.

11.3 	Where the TOR provides that certain work or certain goods and/or materials shall be carried out by or obtained from a named Sub-Contractor or one of a list of Sub-Contractors, then the Contractor shall sublet such work to and shall obtain such materials and/or goods from such Sub-Contractor or one of the Sub-Contractors so named.

11.4 	lf, for any reason beyond the control of the Contractor, the Contractor is unable to enter into a sub contract with any of the Sub-Contractors referred to in Clause 11.3, the Contractor shall select another Sub-Contractor to carry out the work or supply the goods and/or materials to a standard and quality required by this Agreement for the consent of ESFRS, such consent not to be unreasonably withheld or delayed.

11.5 	lf any sub contract between the Contractor and any Sub-Contractor referred to in Clause 11.4 is determined or discharged, the Contractor shall select another Sub-Contractor to undertake or complete the execution of the work or the supply of the goods and/or materials to a standard and quality required by this Agreement for the consent of ESFRS, such consent not to be unreasonably withheld or delayed.

11.6 	No subletting by the Contractor and no consent by ESFRS and no naming of a Sub-Contractor in the TOR shall in any way relieve the Contractor from his responsibility or the performance of the Services in accordance with this Agreement. The Contractor shall not be entitled to any adjustment to the Contract Price in respect of the matters referred to in Clauses 11.4 and 11.5.

11.7	Notwithstanding Clause 11.1 in the event that ESFRS begins a process as described in (a) or (b) below during the Contract Period:

- Significant reorganisation of ESFRS (including but not limited to its incorporation into a larger authority, its division into smaller authorities or its division among other authorities).

- Reorganisation of ESFRS which would require it to relinquish control of the Contract either wholly or to an extent that ESFRS judged the remainder to render the Contract to be no longer viable.

ESFRS shall have power to determine this Contract and any orders/ commitments hereunder by giving the Contractor not less than six [6] months written notice and upon expiration of the notice the Contract shall be determined without prejudice to the rights of the parties accrued to the date of determination. ESFRS shall not be disadvantaged either financially or in the level of service provided by the Contractor during the period of notice.

Should ESFRS learn of proposals which may require it to invoke this clause it shall advise the Contractor at the earliest opportunity in order that he may be aware of the possibility.

If any authority which takes over ESFRS’s role in full or in part agrees to take over the Contract in full or in part, the Contractor shall work with the new authority / authorities in order to ensure an efficient assignment of the Contract and of the delivery of the Services

12. OTHER WORKS AND FACILITIES PROVIDED

12.1	The Contractor shall permit the execution of work not forming part of the Services by any person authorised or licensed by ESFRS to carry out work at the Premises. The Contractor shall provide reasonable facilities for such persons to execute their work.

12.2 	ESFRS shall provide the Contractor free of charge with such serviced office accommodation (including furniture, computers and photocopying services) as may reasonably be required by the Contractor to perform the Services together with the free use of such supplies of electricity, gas and water that there may be at the Premises and the free use of any telephone or facsimile services at the Premises. The Contractor shall have due regard to the economic use of such services provided by ESFRS.

13. CONTRACTOR’S EQUIPMENT

13.1 	The Contractor shall, at his own expense, provide all the Contractor's Equipment necessary for the proper execution of the Services, including any personal protective equipment required for full  compliance  with the Health and Safety at Work Act 1974 and shall keep the Contractor's Equipment in good repair and safe condition,

13.2 	The Contractor shall provide all haulage and fuel required for the operation of the Contractor's Equipment but shall be allowed free use of power and water for the operation of any hand tools and similar equipment forming part of the Contractor's Equipment used at the Premises.

13.3 	The Contractor shall be responsible for insuring the Contractor's Equipment.

14. 	COPYRIGHT

14.1 	Copyright in the Material shall remain vested in the Contractor or the Sub-Contractors as the case may be. Subject to ESFRS having paid all sums due to the Contractor under this Agreement, the Contractor hereby grants to ESFRS, an irrevocable royalty-free, non-exclusive licence to copy and use the Material and to reproduce any designs contained in it for any purpose whatsoever relating to the Services. The Contractor hereby undertakes to procure from Sub-Contractors, the grant of the necessary licences in favour of ESFRS to give effect to this Clause 14. Such licences shall be capable of sub-licence and transfer by ESFRS. The Contractor shall not be liable for any use of the Material for purposes other than those for which the Material was prepared and/or provided for by or on behalf of the Contractor provided that the Contractor has not consented to such other usage.

14.2 	The Contractor hereby waives and undertakes to procure the waiver by the Sub-Contractors and suppliers of any rights they may have under or pursuant to Section 77 or 80 of the Copyright Designs and Patents Act 1988.

15. 	CONTRACTOR’S INSURANCE

15.1 	The Contractor shall maintain and shall cause the Sub-Contractors to maintain insurance in respect of claims for personal injury to or the death of any person under a contract of service or apprenticeship with the Contractor, or such Sub-Contractors as the case may be, arising out of or in the course of such person's employment. Such insurance shall comply with the Employer's Liability (Compulsory lnsurance) Act 1969 and any statutory orders made thereunder (including, for the avoidance of doubt, the applicable regulations thereunder, currently the Employer's Liability (Compulsory Insurance) Regulations 1998) or any amendment or re-enactment thereof. The insurance to be maintained in accordance with this clause shall have a limit of indemnity of not less than £10,000,000.00 (ten million pounds sterling).

15.2 	The Contractor shall maintain and shall cause the Sub-Contractors to maintain such insurances as are necessary to cover their respective liabilities in respect of personal injury or death arising out of or in the course of or caused by the carrying out of the Services (other than injury or death to persons referred to in Clause 15.1) and in respect of injury or damage to property, real or personal (except for loss or damage to the Premises), arising out of or in the course of or by reason of the carrying out of the Services. The insurance to be maintained in accordance with this clause shall have a limit of indemnity of not less than £7,000,000.00 (seven million pounds sterling).

15.3 	The Contractor shall maintain product liability insurance to cover any damages caused by it, in the performance of its Supplies with a limit of indemnity of not less than £1,000,000.00 (one million pounds sterling) provided that such insurance is available in the insurance market at commercially reasonable rates.

15.4 	The insurances referred to in Clauses 15.1 to 15.3 shall be with a well-established insurance office or underwriter of repute.

15.5 	As and when he is reasonably required to do so by ESFRS, the Contractor shall produce and shall cause any Sub-Contractor to produce for inspection by ESFRS documentary evidence, in the form of an insurance broker's verification letter, that the insurances required by Clauses 15.1, 15.2 and 15.3 are being properly maintained.

15.6  The Contractor shall immediately inform ESFRS if it believes that it will be unable to maintain the insurances referred to in clauses 15.1 to 15.3 for any reason.

16. 	CLIENT’S INSURANCES

16.1 	ESFRS shall maintain insurance of the Premises against the Insured Perils. The Contractor shall give prompt notification to ESFRS of any instance likely to give rise to a claim under ESFRS's insurances and shall submit claim forms where necessary to ESFRS.

16.2 	The Contractor shall observe and comply with the conditions contained in any policy of insurance of ESFRS against loss or damage by the Insured Perils. Copies of ESFRS's insurance policies can be provided to the Contractor on request.

16.3 	Upon the occurrence of any of the Insured Perils, the Contractor shall, when instructed so to do by ESFRS continue with the performance of the Services and shall undertake such other services as may reasonably be requested by ESFRS in connection with the restoration and repair or the replacement of any parts, components or materials which have been destroyed or damaged, and the removal of any debris relating to them from the Premises. The provisions of Clauses 9 and 10 shall apply in respect of compliance by the Contractor with such instructions issued by ESFRS.

17. 	TERMINATION

17.1 	The Contractor's employment under this Agreement may be terminated in the following circumstances:-

17.1.1 	by either party giving the other 3 month's prior notice at any time;

17.1.2 	by either party with immediate effect if the other is in breach of any of its obligations under this Agreement and, if the breach is capable of remedy, the other party has failed to remedy such breach within 15 Working Days of receipt of notice to do so;

17.1.3 	by either party with immediate effect, if the other makes any composition or arrangement with its creditors, or has a proposal for a voluntary arrangement or a composition of debts or scheme of arrangement approved in accordance with the Insolvency Act 1986, or has an application made under the Insolvency Act 1986 for the appointment of an administrator or has a winding up order made, or (except for the purposes of amalgamation or reconstruction), a resolution for voluntary winding-up passed, where a receiver or manager of its business or undertaking is duly appointed or has an administrative receiver, as defined in the lnsolvency Act 1986 appointed, or possession is taken by or on behalf of any creditor of any property that is the subject of a charge;

17.1.4 	by either party giving the other 15 Working Days' written notice if prevented from performing its obligations under this Agreement due to Force Majeure in accordance with Clause 19.3;

17.1.5 	by ESFRS with immediate effect pursuant to Clause 21.2.

18. 	CONSEQUENCES OF TERMINATION

18.1 	On termination of the employment of the Contractor under Clause 17, the Contractor shall take immediate steps to bring to an end their performance of the Services in an orderly manner but with all reasonable speed and economy and shall forthwith vacate the Premises. In addition, the Contractor shall, subject to ESFRS having paid all sums due to the Contractor under this Agreement, cause to be delivered to ESFRS all details, plans, TORs, technical data, schedules, programmes, budgets, reports, calculations and other work (whether in the course of preparation or completed) together with all correspondence and documentation in the possession or under the control of the Contractor relating to the Services and/or the Premises. In addition, the Contractor shall, if so required by ESFRS, forthwith assign to ESFRS the Contractor's entire benefit and interest in any contracts made by him/her with any Sub-Contractor for the provision of any operatives, plant, equipment or services.

18.2	Without prejudice to ESFRS's rights in respect of any breach by the Contractor of its obligations under this Agreement, on termination of the Contractor's employment pursuant to this Agreement ESFRS shall pay to the Contractor all amounts due to the Contractor at the date of termination.

18.3 	On termination, however caused, ESFRS may require the Contractor to terminate immediately (or within such period as ESFRS may specify) any or all of the contracts it may have with any Sub-Contractors for the provision of the Services and remove from the Premises all materials not belonging to ESFRS.

18.4 	ESFRS shall indemnify the Contractor on demand and hold it harmless in relation to all losses, actions, claims, demands, costs, charges and expenses arising out of any action or claim by any person whose contract with the Contractor or a Sub-Contractor is terminated as a result of a termination of the Contractor's employment by ESFRS pursuant to Clause 17.1.1 or by the Contractor pursuant to Clause 17.1.2, 17.1.3 and 17.1.4.

18.5 	Termination of the Contractor's employment howsoever arising shall be without prejudice to the rights and remedies of either party in respect of any negligence, omission or default of the other prior to such termination.

18.6 	The provisions of this Agreement shall continue to bind each party insofar as and for so long as may be necessary to give effect to their respective rights and obligations hereunder.

19. 	FORCE MAJEURE

19.1 	Neither party shall be in breach of any obligation under this Agreement if it is unable to perform that obligation in whole or in part by reason of Force Majeure.

19.2 	lf either party seeks to rely on this clause, it shall immediately give notice to the other with full particulars of the act or matter claimed as a Force Majeure event. The parties so affected shall take all reasonable steps to remedy the failure to perform and to keep the other party informed of the steps being taken to mitigate the effects of the Force Majeure. ESFRS may issue instructions to the Contractor in respect of such Force Majeure.

19.3 	lf an event of Force Majeure lasts for more than 3 months, either party may, following consultation with the other, give a notice of termination in accordance with Clause 17.1.4.

20. 	TRANSFER OF UNDERTAKINGS

20.1 	The parties acknowledge that there may be a "relevant transfer" of an undertaking or part of one as defined in the TUPE Regulations ("Relevant Transfer") on the commencement, variation and/or termination of this Agreement, and agree to deal with the risks and/or consequences thereof as follows.

20.2 	lf there is a Relevant Transfer on the commencement of this Agreement, the parties agree, as between themselves, that the Contractor shall be wholly responsible for and liable accordingly for continuing any contracts of employment, collective agreements and/or trade union recognition agreements which transfer under the TUPE Regulations and discharging all the obligations of a transferee under the TUPE Regulations. Accordingly, the Contractor agrees with ESFRS that it shall fully and properly discharge the obligations of transferee under the TUPE Regulations on the commencement of this Agreement and thereafter as appropriate.

20.3 	lf there is or may (in the reasonable opinion of ESFRS) be a Relevant Transfer as a result of any variation or the termination of this Agreement, the parties agree as between themselves that the Contractor will be wholly responsible for and liable accordingly for discharging all the obligations of a transferor under the TUPE Regulations. Accordingly, the Contractor agrees with ESFRS that it shall fully and properly discharge the obligations of transferor under the TUPE Regulations on the variation or termination of this Agreement.

20.4 	The Contractor agrees that within 14 days of a written request from ESFRS (such request not to be made earlier than 6 months before the termination of this Agreement whether by effluxion of time or otherwise) it shall provide to ESFRS in writing the following information:-

20.4.1 	the number and description of the employees engaged in the performance of this Agreement;

20.4.2 	for each employee (or where they are employed on common terms and conditions of employment each such group of employees) the particulars, as at a specified date not more than 7 days before the information is given, of the matters specified in Section 1(4) of the Employment Rights Act 1996.

ESFRS shall be entitled to use and/or disclose the said information in confidence in connection with any tendering for any replacement Contractor or facilities management contract.

20.5 	The Contractor shall not agree with or otherwise promise any employees or trade union any terms or conditions of employment which are outside the ordinary and normal custom and practice for the industry or relevant trade or which are conditional upon or triggered by a Relevant Transfer or are intended to frustrate a re-tendering exercise or deter potential tenderers from tendering.

21. 	PUBLIC SECTOR REQUIREMENTS

21.1 	Data Protection Act

Each party warrants to the other that it has complied, and will continue to comply with, all the requirements of the Data Protection Act 2018 (including all regulations or orders issued pursuant thereto). Each party shall indemnify the other against all losses, costs, expenses, damages, liabilities, demands, claims, actions or proceedings which the other party may incur arising out of any breach by the first of this Clause 21.1.

21.2 	Corrupt gifts and payments of commission

The Contractor shall not offer, or give, or agree to give, any person employed by ESFRS any gift or consideration of any kind as an inducement or reward for doing, or for bearing to do, or having done, or forbore to do, any act in relation to the obtaining or performance of this Agreement or for showing, or forbearing to show, favour or disfavour to any person in relation to this Agreement. In the event of any breach of this Clause 21.2 or the commission of any offence by the Contractor under the Prevention of Corruption Act 1889 to 1916 in relation to this Agreement, ESFRS may terminate the Contractor's employment under this Agreement immediately by notice in writing to the Contractor. The decision of ESFRS shall be final and conclusive in any dispute, difference or question arising in respect of the interpretation of this clause or the right of ESFRS under this clause to terminate the Contractor's employment.

21.3 	Official Secrets Act

The Contractor's attention is drawn to the provisions of the Official Secrets Acts 1911 to 1989. The Contractor shall take all reasonable steps by display of notices or other appropriate means so that all persons engaged on any work in connection with the Services will have notice that the statutory provisions apply to them and will continue to apply to them after the termination of the Contractor's employment under this Agreement.

21.4 	National Audit Office Access

For the purpose of the examination and certification of ESFRS's accounts, or any examination pursuant to Section 6 (1) of the National Audit Act 1983 or any re-enactment of that Act, or of the economy, efficiency and effectiveness with which ESFRS has used its resources, the Comptroller and Auditor General may examine such documents as he may reasonably require which are owned, held or otherwise within the control of the Contractor and may require the Contractor to produce such oral or written explanations as he considers necessary.

21.5 Equality

21.5.1	The Equality Act 2010 includes a new public sector Equality Duty which states that public bodies must have due regard to the need to:

- Eliminate unlawful discrimination, harassment and victimisation

- Advance equality of opportunity

- Foster good relations between different groups

Under the Act people are not allowed to discriminate, harass or victimise another person because they have any of the protected characteristics of age, disability, gender reassignment, marriage and civil partnership, pregnancy and maternity, race, religion and belief, sex or sexual orientation.

21.5.2	The Contractor shall comply with all aspects of the Equality Act 2010 and any subsequent revisions/ amendments to the Act in relation to its Employees and the provision of works, services or supplies.

21.5.3	In the event of any finding of such unlawful discrimination being made against the Contractor in the last three years by any Court or Employment Tribunal, or of an adverse finding in any formal investigation by any relevant statutory body over the same period, the Contractor shall take appropriate steps to prevent repetition of the unlawful discrimination.

21.5.4	The Contractor shall, on request, provide details of any steps taken under this clause.

21.5.5	The Contractor shall set out its Policy on matters referred to above:

- In instructions to those concerned with recruitment, training, promotion and everyday dealings;

- In documents available to employees, recognised trade unions or other representative groups of employees;

- In recruitment advertisements or other literature;

- In the provision of works, services and supplies

21.5.6	The Contractor shall, on request, provide examples of the instructions and other documents, recruitment advertisements or other literature.

21.5.7	The Contractor shall provide information reasonably requested for the purpose of assessing their compliance with this clause so far as relevant.

21.5.8	Further to the legislation, attention of the Contractor is also drawn to East Sussex Fire Authority’s own commitment to equal opportunities for all.

21.6 	Freedom of lnformation Act

21.6.1 	The Contractor acknowledges that ESFRS is a public authority, subject to the requirements of FOIA and EIR and that ESFRS is under an obligation to make all information held by it available to the general public on request, unless an exemption under FOIA or EIR applies.

21.6.2 	The Contractor shall:

(a) provide ESFRS with a copy of all Information in the Contractor's possession or power in the form that ESFRS requires within 5 Working Days of ESFRS requesting such Information; and

(b) provide such assistance as ESFRS may reasonably require to enable it to respond to a Request for Information within the time for compliance set out in section 10 of FOIA or regulation 5 of EIR (as the case may be).

21.6.3 The Contractor acknowledges that:-

(a) 	ESFRS may, acting in accordance with the relevant Code of Practice on the discharge of public authorities' functions under Part 1 of FOIA, be obliged under FOIA or EIR to disclose information either without consulting the Contractor or following consultation with the Contractor and having taken its views into account; and

(b) 	ESFRS shall determine, at its sole discretion, whether any Information is to be disclosed in response to a Request for Information.

21.6.4 	In the event that the Contractor receives any Request for Information, it shall immediately provide a copy of it to ESFRS. In no event shall the Contractor respond directly to any Request for lnformation unless expressly authorised to do so by ESFRS.

21.6.5 	Without limiting any other obligation under this Agreement, the Contractor shall ensure that all information produced in the course of the performance of the Services under this Agreement or relating to this Agreement is retained for disclosure and shall permit ESFRS to inspect such Information as requested from time to time.

21.6.6 	In this Clause 21.6 "Request for Information” (which shall include any apparent requests for information under FOIA or EIR) and "lnformation” have the meanings given to them in FOIA.

22. CONFIDENTIALITY

22.1 	Subject to the remainder of this Clause 22, the parties shall treat information obtained in connection with this Agreement as confidential.

22.1.1 	Other than for the purpose of providing the Services, the Contractor shall not disclose any information or documents concerning this Agreement to any other persons.

22.1.2 	The Contractor shall not without ESFRS's prior written consent disclose any information obtained by the Contractor of or concerning ESFRS or any subsidiary or associated company of ESFRS to any other person.

22.1.3 	The Contractor shall not, without ESFRS's prior written consent, take any photographs or make any other graphical or other reproduction at or of any premises, property or equipment owned, leased or in the possession of ESFRS or of any property or equipment at or on the premises of ESFRS or any subsidiary or associated company of ESFRS.

23. NOTICES

Any notice required to be given by a party shall be in writing and service shall be effected either personally when service shall be deemed effective on delivery or by first class recorded delivery post when service shall be deemed effective on the day after posting.  Notices shall at all times be addressed to the nominated Representatives of each party.

24. THIRD PARTIES

ESFRS and the Contractor hereby confirm that, notwithstanding any other provision of this Agreement, this Agreement shall not and shall not purport to confer on any third party any right to enforce any term of this Agreement for the purposes of the Contracts (Rights of Third Parties) Act 1999.

25. GOVERNING LAW AND DISPUTE RESOLUTION

25.1 	This Agreement shall subject to Clauses 25.2 – 25.7 be governed by and construed in accordance with English Law and the parties submit to the exclusive jurisdiction of the English Courts.

25.2 	Any dispute or difference arising under or in connection with this Agreement may be referred to the Centre for Effective Dispute Resolution (CEDR).

25.3 	The Adjudicator shall be a person to be agreed between the parties or on the application of either party, a person nominated in accordance with the provisions of the Scheme.

25.4 	The Adjudicator's decision is binding until the dispute or difference is finally determined by an arbitrator as provided in Clause 25.7. If either party does not comply with the Adjudicator's decision the other party shall be entitled to seek to enforce the Adjudicator's decision in the English courts pending any final determination of the referred dispute or difference pursuant to Clause 25.7.

25.5 	The Adjudicator shall not be liable for anything done or omitted in the discharge or purported discharge of his functions as adjudicator unless the act or omission is in bad faith, and any employee or agent of the adjudicator is similarly protected.

25.6 	If the matter has not been resolved by a CEDR procedure within 30 days of the initiation of that procedure, or if either party will not participate in an ADR procedure, the dispute shall be decided by the High Court of England and Wales and the parties submit to its exclusive jurisdiction for that purpose.

25.7 	Subject to Clause 25.2 above, any dispute or difference arising under or in connection with this Agreement, except in connection with the enforcement of any decision of any Adjudicator, shall be referred to the arbitration of a single arbitrator to be agreed between the parties or on the application of either party, a person nominated in accordance with the provisions of the CEDR Model Mediation Procedure. The Arbitration shall be conducted in accordance with the CEDR Rules.