## Sheet1
Land at Snoxhall Fields, Knowle Lane, Cranleigh, GU6 8JN
Erection of a new machine shed and associated storage and equipment stores within a compound
FITTINGS AND FINISHES SCHEDULE
To be read in conjunction with the Construction Drawings, Construction Notes and Specification of Works
1 | FLOORS
| Building |  | Drawing | Finish | Colour | Area | Other |  | NOTES:
| Store |  | 410A | - | - | 84sqm
| Welfare Unit |  | 412A | Altro Flooring | to be chosen by the Employer | 16.1sqm
| Store and Workshop |  | 414A | - | - | 57.6sqm
| Open Field Shelter |  | 416A | - | - | 48sqm
| Shipping Containers |  | 418 | - | - | 16.6sqm (2no)
2 | WALLS
| Room |  | Drawing | Paint | Tiles | Skirtings | Panelling | Other | NOTES:
| Store |  | 410A | - | - | - | -
| Welfare Unit |  | 412A | 1 coat mist/sealing coat and 2 coats topcoat in Dulux kitchen and bathroom matt emulsion. Colour to be specified by Employer | - |  | shower panels within shower enclosure and over sink. Colour to be specified by Employer | To be insultated
| Store and Workshop |  | 414A | - | - | - | - | To be insultated
| Open Field Shelter |  | 416A | - | - | - | -
| Shipping Containers |  | 418 | - | - | - | -
3 | CEILINGS
| Room |  | Drawing | Finish | Colour | Other |  |  | NOTES:
| Store |  | 410A | - | - | -
| Welfare Unit |  | 412A | 1 coat mist/sealing coat and 2 coats topcoat in Dulux kitchen and bathroom matt emulsion. | Brilliant White | horizontal ceiling, to be insulated
| Store and Workshop |  | 414A | - | - | To be insulated
| Open Field Shelter |  | 416A | - | - | -
| Shipping Containers |  | 418 | - | - | -
4 | DOORS
|  |  | Doors |  |  | Frames |  |  | Ironmongery
| No. | Drawing | Description/ finish | Coating | Glazing | Frames | Lining | Architrave | Butts | Locks and handles | Other | NOTES:
| ED01 |  | external mechanical 3x3m metal roller shutter | By manufacturer, externally in black | - | By manufacturer | By manufacturer | By manufacturer | By manufacturer | shutter lock | Electrically operated with an override mechanicsm for use during power failure
| ED02 |  | external personelle door | By manufacturer, externally in black | - | By manufacturer | By manufacturer | By manufacturer | By manufacturer | multi-lever mortice deadlock. Matt black handle | -
| ED03 |  | external mechanical 3x3m metal roller shutter | By manufacturer, externally in black | - | By manufacturer | By manufacturer | By manufacturer | By manufacturer | shutter lock | Electrically operated with an override mechanicsm for use during power failure
| ED04 |  | external personelle door | By manufacturer, externally in black | - | By manufacturer | By manufacturer | By manufacturer | By manufacturer | multi-lever mortice deadlock. Matt black handle | -
| ED05 |  | external personelle door | By manufacturer, externally in black | - | By manufacturer | By manufacturer | By manufacturer | By manufacturer | multi-lever mortice deadlock. Matt black handle | -
| ED06 |  | external mechanical 3x2.5m metal roller shutter | By manufacturer, externally in black | - | By manufacturer | By manufacturer | By manufacturer | By manufacturer | shutter lock | Electrically operated with an override mechanicsm for use during power failure
| ID01 |  | internal personelle door between welfare unit and workshop | By manufacturer, Brilliant White finish to match internal doors | - | By manufacturer | By manufacturer | By manufacturer | By manufacturer |  | -
| ID02 |  | internal door to show room | 1 coat primer 2 coats topcoat in Dulux satin emulsion. Brilliant White | - | square. 1 coat primer 2 coats topcoat in Dulux satin emulsion. Brilliant White | 1 coat primer 2 coats topcoat in Dulux satin emulsion. Brilliant White | square. 1 coat primer 2 coats topcoat in Dulux satin emulsion. Brilliant White | By manufacturer | thumb lock with chrome lever handle | -
| ID03 |  | internal door to wc | 1 coat primer 2 coats topcoat in Dulux satin emulsion. Brilliant White | - | square. 1 coat primer 2 coats topcoat in Dulux satin emulsion. Brilliant White | 1 coat primer 2 coats topcoat in Dulux satin emulsion. Brilliant White | square. 1 coat primer 2 coats topcoat in Dulux satin emulsion. Brilliant White | By manufacturer | thumb lock with chrome lever handle | -
5 | WINDOWS
|  |  | Windows |  |  | Frames |  | Ironmongery |  |  |  | NOTES:
| No. | Drawing | Finish | Coating | Glazing | Frames | Window Boards | Butts | Levers | Stays
| W01 |  | upvc, externall finished in black | by manufacturer, externally in black to match external doors | double glazed safety glass | as per drawing | by manufacturer | by manufacturer | by manufacturer | by manufacturer
| RL01, 02, 03, 04, 05, 06 |  | upvc, black Velux rooflight or similar approved | factory finished powder coated in black, to match proposed doors | double glazed safety glass | as per drawing | by manufacturer | by manufacturer | by manufacturer | by manufacturer
| RL07, 08, 09, 10 |  | upvc, black Velux rooflight or similar approved | factory finished powder coated in black, to match proposed doors | double glazed safety glass | as per drawing | by manufacturer | by manufacturer | by manufacturer | by manufacturer
| RL11, 12, 13 |  | upvc, black Velux rooflight or similar approved | factory finished powder coated in black, to match proposed doors | double glazed safety glass | as per drawing | by manufacturer | by manufacturer | by manufacturer | by manufacturer
| RL14, 15, 16 |  | upvc, black Velux rooflight or similar approved | factory finished powder coated in black, to match proposed doors | double glazed safety glass | as per drawing | by manufacturer | by manufacturer | by manufacturer | by manufacturer
6 | JOINERY
| Room |  | Drawing | Description | Finish | Colour | Other |  | NOTES:
| Store |  | 410A | - | - | - | -
| Welfare Unit |  | 412A | - | - | - | -
| Store and Workshop |  | 414A | - | - | - | -
| Open Field Shelter |  | 416A | - | - | - | -
| Shipping Containers |  | 418 | - | - | - | -
6 | ELECTRICAL ACCESSORIES
| Room |  | Drawing | Power Sockets | Light Switches | Lighting | Heating Control | Other | NOTES:
| Store |  | 410A | white 13A 2-gang switched sockets | white single 1-way light switch | T8 LED tube lights |  | mechanical extractor smoke alarm heat sensor
| Welfare Unit |  | 412A | white 13A 2-gang switched sockets | 2no. white 2-way light switch, 2no. single 1-way light switch | directional spotlights |  | internet connection mechanical extractor smoke alarm mains telephone heat sensor
| Store and Workshop |  | 414A | white 13A 2-gang switched sockets | 2no. white 2-way light switch | T8 LED tube lights |  | mechanical extractor smoke alarm heat sensor
| Open Field Shelter |  | 416A | weather resistant 13amp 2-gang double pole switched socket with minimum IP66. | white single 1-way light switch | T8 LED tube lights |  | mechanical extractor smoke alarm heat sensor
| Shipping Containers |  | 418 | white 13A 2-gang switched sockets | white single 1-way light switch | directional spotlights |  | mechanical extractor smoke alarm heat sensor
7 | HEATING
| Room |  | Drawing | Heating Type | Other | NOTES:
| Store |  | 410A | - | -
| Welfare Unit |  | 412A | 1no. Electric radiator within the office area, 1no towel rail within shower room | size to heating engineers recommendation
| Store and Workshop |  | 414A | 1no. Electric radiator within workshop | size to heating engineers recommendation
| Open Field Shelter |  | 416A | - | -
| Shipping Containers |  | 418 | - | -
8 | SANITARY FITTINGS
| Room |  | Drawing | Sanitary Fittings | Other | NOTES:
| Store |  | 410A | - | -
| Welfare Unit |  | 412A | wc, basin, shower, sink within office space | Allow for supply, installation and all associated works
| Store and Workshop |  | 414A | internal sink, external tap | Allow for supply, installation and all associated works
| Open Field Shelter |  | 416A | - | -
| Shipping Containers |  | 418 | - | -
Notes
| Status |  | Draft for client comment
| By |  | JKD
| Date |  | 2025-09-15
| Revisions |  | A. 12.10.25
| Prepared by: |  | Carter Davey Architects LLP