# Specification

# Appendix 2

SUPPLY OF GAS MONITORS AND ASSOSIATED EQUIPMENT

Ref 02-07-2025

# Summary of Requirement

Currently Avon Fire & Rescue Service (AFRS) operate 75 Gas Alert Micro 5 gas monitors which are utilised by our 34 operational crews during incidents to assess the immediate area for potential hazardous, Fire Investigation Officers post-fire whilst carrying out their work and Hazmat Officers for assessing potential threats during and post incident.

Scope

Avon Fire Authority is inviting quotations for the provision of Gas Monitoring Equipment, replacement parts for the monitors (the list of which will not be exhaustive) and maintenance other than that which can be carried out by our in-house technicians.

This will be in the form of 75 gas monitors, divided into 55 x four or five gas monitors with the capacity to detect Hydrogen Sulphide (H2S), Hydrogen Cyanide (HCN), Carbon Monoxide (CO), Flammable gas calibrated against Methane (CH4) LEL and Oxygen (O2), and 20 x four or five gas monitors with the capacity to detect Ammonia (NH3), Chlorine (CL2), Flammable gas calibrated against Methane (CH4) LEL and Oxygen (O2) for our hazmat officers plus calibration equipment for all monitors.

The gas monitors should have a minimum battery life expectancy of 24 months. Battery life is expected to be 24 months from time of delivery to service.

The four/five gas monitors must be ATEX approved.

Manual pumps are required to be supplied for 20 x four/five gas monitors for hazmat.

Two calibration/bump test stations or equivalent.

Cables specific to the chosen monitors or equivalent for downloading information from the monitors. Connectivity (Wi-Fi/Bluetooth/Hardwired) to interrogate information held on the monitors.

Replacement costs for calibration gas.

Costs and time scales for replacement of sensors in the four/five gas monitors.

The Authority requires details of the warranty terms for the four/five gas monitors and calibration equipment. Warranty should be a minimum of 24 months from date of delivery. Certification of calibration and ATEX compliance will be required.

Administration and management

The Contractor will provide an efficient administration service to include:

- Timely and accurate invoicing to the Authority, with supporting documentation detailing the breakdown of costs

- Contract management and performance monitoring when requested.

- Access to technical support Monday to Friday between 08:00am and 17:00pm as a minimum.

Training

- Training for 10 members of AFRS staff in operation of the four gas monitors and calibration equipment.

- There will be a need for AFRS Breathing Apparatus (BA) Technicians to undertake a level of input that will enable them to train/cascade the use of the gas monitors to operational staff.

- Training to take place at Nova Way Technical Centre, Avonmouth. BS11 9DJ

- This training shall include: -

  - User Manuals and other documentation in hard copy and electronic form

  - Input regarding maintenance, fault finding, calibration and bump testing of the gas monitors will be required.

Parts & Maintenance

- Parts requests should be made acknowledged and processed within 48-72 hours of request with no exception. Appropriate levels of stock will need to be maintained, either on the shelf or kept for the Contractor within AFRS.

# Delivery

Following individual proposal approval, the Contractor is required to provide the monitors within 2 months unless otherwise agreed with AFRS.

Monitors will be delivered to Avon Fire & Rescue Service, Technical Centre, Nova Way, Avonmouth BS11 9DJ.

# Manuals & Documentation

The following documentation is required:

- Training user manuals,

- Monitor user manuals

- Warranty information

- Certification & conformance documents to required standards

To enable ongoing safe delivery of our protection, prevention and response (operational) duties AFRS will need to have secure resilience and support from the Contractor. Any lack of response from the Contractor, including a lack of parts/technical support could result in a serious risk and potentially result in a degraded response from AFRS. Contractors must have a business continuity plan in place to ensure AFRS resilience and capabilities are maintained at all times.

##### Equality

- The Contractor shall comply with the provisions of the Equality Act 2010.

- The Contractor shall not undertake the provision of the services in such a way as would render it or the Authority in breach of the Equality Act 2010.

##### The Environment

- The Contractor shall operate in an environmentally conscious manner and in accordance with relevant legislation, taking into consideration the impact of its activities and operations on the environment and actively seeking to minimise or eliminate those impacts.

- The Contractor will comply with The Waste Electrical and Electronic Equipment Regulations 2013 (as amended) UK legislation. These regulations were amended in the Waste Electrical and Electronic Equipment (Amendment, etc.) Regulations 2025.