## Pricing Schedule
Section | Item No. | Description | Unit | Labour | Materials | Plant & Equipment | O/H/P | TOTAL
1. Preliminaries & General Requirements | 1.1 | Contractor’s design duties under Design & Build obligations | Lump Sum
1. Preliminaries & General Requirements | 1.2 | Statutory applications (Building Control, Planning, etc.) | Lump Sum
1. Preliminaries & General Requirements | 1.3 | Site establishment, welfare, security, hoarding | Lump Sum
1. Preliminaries & General Requirements | 1.4 | CDM 2015 compliance, H&S documentation, site management | Lump Sum
1. Preliminaries & General Requirements | 1.5 | Full internal strip-out of redundant fixtures and finishes | Lump Sum
1. Preliminaries & General Requirements | 1.6 | Traffic management & maintaining public safety | Lump Sum
1. Preliminaries & General Requirements | 1.7 | Liaison and coordination with Client representatives | Lump Sum
2. Asbestos Management | 2.1 | Asbestos management in accordance with survey | Lump Sum
2. Asbestos Management | 2.2 | Asbestos removal & disposal (Control of Asbestos Regulations 2012) | Provisional Sum
3. Building Fabric Works | 3.1 | Internal reconfiguration (open-plan, kitchenette, toilets) | Lump Sum
3. Building Fabric Works | 3.2 | Upgrade external envelope for energy efficiency & weather protection | Lump Sum
3. Building Fabric Works | 3.3 | Full internal finishes incl. floors, walls, ceilings, decoration | Lump Sum
3. Building Fabric Works | 3.4 | Repair/replace windows & doors to meet standards | Item
3. Building Fabric Works | 3.5 | Construction of new external DDA-compliant toilet | Lump Sum
3. Building Fabric Works | 3.6 | Builders work in connection with M&E installations | Provisional Sum
4. Mechanical & Electrical | 4.1 | Full mechanical system design | Lump Sum
4. Mechanical & Electrical | 4.2 | Heating, ventilation & domestic water systems | Lump Sum
4. Mechanical & Electrical | 4.3 | Full electrical rewire incl. power, lighting, emergency lighting | Lump Sum
4. Mechanical & Electrical | 4.4 | Fire alarm system (BS 5839) | Lump Sum
4. Mechanical & Electrical | 4.5 | Emergency lighting system (BS 5266) | Lump Sum
4. Mechanical & Electrical | 4.6 | Security system (intruder, access control) | Lump Sum
4. Mechanical & Electrical | 4.7 | Data/IT connectivity provision | Item
4. Mechanical & Electrical | 4.8 | Energy-efficient equipment & regulatory compliance | Lump Sum
5. Design Deliverables | 5.1 | Architectural design, layouts, specifications, 3D visuals | Lump Sum
5. Design Deliverables | 5.2 | Structural design | Lump Sum
5. Design Deliverables | 5.3 | M&E design | Lump Sum
5. Design Deliverables | 5.4 | Sustainability and low-maintenance design features | Lump Sum
6. Provisional Sums | 6.1 | Unforeseen structural repairs | Provisional Sum
6. Provisional Sums | 6.2 | Unforeseen services diversions or upgrades | Provisional Sum
£
Sub Total | 1 | Preliminaries & General Requirements
Sub Total | 2 | Asbestos Management
Sub Total | 3 | Building Fabric Works
Sub Total | 4 | Mechanical & Electrical
Sub Total | 5 | Design Deliverables
Sub Total | 6 | Provisional Sums
TOTAL