## Section 3.4 - Mechanical
SECTION 3/4 - MECHANICAL WORKS
Miscellaneous
3.4001 | Installation drawings | 1 | item
3.4002 | Record drawings | 1 | item
3.4003 | O&M manual | 1 | item
3.4004 | Client demonstration and instructions | 1 | item
3.4005 | Site supervision and other preliminaries | 1 | item
3.4006 | Seasonal commissioning attendance | 1 | item
3.4007 | Strip out existing services | 1 | item
3.4008 | Strip out existing gas supply, meter and the like | 1 | item
3.4009 | extra over works by statutory authorities to cap off | 1 | item
3.401 | 12 months maintenance (itemised list required, see general spec) | 1 | item
Option Costs
3.4011 | Replace heating pipes throughout Neeld Hall heating system | 1 | item
Heating & Cooling Systems
Plant room heating equipment
3.4012 | Neeld Hall Back of House | 1 | item
Pipework, fittings and other equipment
3.4013 | Neeld Hall Back of House | 1 | item
3.4014 | Neeld Hall Front of House | 1 | item
3.4015 | Town Hall Back of House | 1 | item
Radiators
3.4016 | Neeld Hall Back of House | 1 | item
3.4017 | Neeld Hall Front of House | 1 | item
Air source heat pump systems
3.4018 | Neeld Hall Back of House | 1 | item
3.4019 | Neeld Hall Front of House | 1 | item
3.402 | Split systems | 1 | item
3.4021 | Heat meters | 1 | item
3.4022 | Water treatment, testing and commissioning | 1 | item
Ventilation
Air handling units - allow for suitable base / feet
3.4023 | Town Hall Back of House | 1 | item
Condenser units
3.4024 | Town Hall Back of House | 1 | item
Fan coil units
3.4025 | Town Hall Back of House | 1 | item
Ductwork & Fittings
3.4026 | Town Hall Back of House | 1 | item
Grilles, Louvres
3.4027 | Town Hall Back of House | 1 | item
3.4028 | Town Hall Front of House | 1 | item
Attenuators
3.4029 | Town Hall Back of House | 1 | item
3.403 | Testing and commissioning | 1 | item
Soil, Wastes, Conensate Drains and Sanitaryware
Above condensate drainage system
3.4031 | Town Hall Back of House | 1 | item
3.4032 | Testing and commissioning | 1 | item
Thermal Insulation
Heating system insulation installation
3.4033 | Neeld Hall Back of House | 1 | item
Ventilation system insulation installation
3.4034 | Town Hall Back of House | 1 | item
To Summary £

## 3.4 - Collection
COLLECTION
Page 3/4/1
Page 3/4/2
Page 3/4/3
Total to Summary £