## Section 3.6 - BWIC
SECTION 3/6 - MECHANICAL & ELECTRICAL BWIC
Mechanical Services
Allow for all builders work associated with the mechanical services installations
3.6001 | Neeld Hall Back of House | 1 | item
3.6002 | Neeld Hall Front of House | 1 | item
3.6003 | Town Hall Back of House | 1 | item
3.6004 | Town Hall Front of House | 1 | item
3.6005 | Allow for all making good and the like (all required trades) following removal of redundant mechanical services | 1 | item
3.6006 | Neeld Hall Back of House | 1 | item
3.6007 | Neeld Hall Front of House | 1 | item
3.6008 | Town Hall Back of House | 1 | item
3.6009 | Town Hall Front of House | 1 | item
Electrical Services
Allow for all builders work associated with the electrical services installations
3.601 | Neeld Hall Back of House | 1 | item
3.6011 | Neeld Hall Front of House | 1 | item
3.6012 | Town Hall Back of House | 1 | item
3.6013 | Town Hall Front of House | 1 | item
Allow for all making good and the like (all required trades) following removal of redundant electrical services
3.6014 | Neeld Hall Back of House | 1 | item
3.6015 | Neeld Hall Front of House | 1 | item
3.6016 | Town Hall Back of House | 1 | item
3.6017 | Town Hall Front of House | 1 | item
Fire stopping
Due to the importance of maintaining the fire compartmentation, the fire-stopping is described below rather than being deemed to be included within the general BWIC pricing.
Note; the contractor is to price for the design, supply and install of all firestopping they deem will be required to undertake the decarbonisation works. There is a provisonal sum allowance for any undefined / unrelated firestopping requirements.
Design, supply and install all necessary fire-stopping to all services penetrations through fire compartments; to be carried out by specialist sub-contractor
3.6018 | Neeld Hall Back of House | 1 | item
3.6019 | Neeld Hall Front of House | 1 | item
3.602 | Town Hall Back of House | 1 | item
3.6021 | Town Hall Front of House | 1 | item
Design, supply and install all necessary fire-stopping to all services risers at each floor level; to be carried out by specialist sub-contractor
3.6022 | Neeld Hall Back of House | 1 | item
3.6023 | Neeld Hall Front of House | 1 | item
3.6024 | Town Hall Back of House | 1 | item
3.6025 | Town Hall Front of House | 1 | item
Allow for certification and recording of every fire-stopped penetration for incorporation into Building Manual
3.6026 | Neeld Hall Back of House | 1 | item
3.6027 | Neeld Hall Front of House | 1 | item
3.6028 | Town Hall Back of House | 1 | item
3.6029 | Town Hall Front of House | 1 | item
Immediately prior to PC, the sub-contractor is to carry out a comprehensive survey of the installed fire-stopping to ensure that there has been no post-installation damage by others; the sub-contractor is to remedy any damage and certify that the installation is satisfactory
3.603 | Neeld Hall Back of House | 1 | item
3.6031 | Neeld Hall Front of House | 1 | item
3.6032 | Town Hall Back of House | 1 | item
3.6033 | Town Hall Front of House | 1 | item
To Summary £

## 3.6 - Collection
COLLECTION
Page 3/6/1
Page 3/6/2
Page 3/6/3
Total to Summary £