## Section 3.7 - Prov Sums
SECTION 3/7 - PROVISIONAL SUM WORKS
Neeld Hall Back of House
3.7001 | Provisional Sum for the supply and install of new screening fence with gate to new ASHP. | 1 | PS | 2500
Town Hall Back of House
3.7002 | Provisional Sum for the design, supply and install of a new mansafe system. | 1 | PS | 10000
3.7003 | Provisional Sum for the supply and install of compliant access ladder to roof level in bell tower. | 1 | PS | 2500
3.7004 | Provisional Sum for the removal and disposal of existing plant enclosure on roof and making good existing roof covering. | 1 | PS | 5000
Neeld Hall Front of House
No Prov Sum works
Town Hall Front of House
No Prov Sum works
M&E Prov Sums (E3 spec)
3.7005 | Provisional Sum for unforseen requirements. | 1 | PS | 2000
3.7006 | Provisional Sum for additional building control requirements. | 1 | PS | 2000
Generally
3.7007 | Provisional Sum for the appointment of a fire engineer. | 1 | PS | 2500
3.7008 | Provisional Sum for the design, supply and install of all additional unidentified firestopping. | 1 | PS | 25000
3.7009 | Provisional Sum for the testing and reporting of any potential ACM's. | 1 | PS | 1500
3.701 | Provisional Sum for the removal of any unidentified ACM's. | 1 | PS | 10000
3.7011 | Provisional Sum for the removal of any unidentified existing redundant plant and fabric as required to facilitate works. | 1 | PS | 5000
To Summary £

## 3.7 - Collection
COLLECTION
Page 3/7/1
Total to Summary £