[image: image1.png]


NEELD HALL & TOWN HALL
DESIGN BRIEF     
DECARBONISATION
SECTION THREE                                            
_________________________________________________________________________________                                                                     

1.00 
GENERALLY
1.01
GENERALLY: This Section, the documents referred to in Appendix A and Section 3 of this tender pack set out the Employer’s brief as to the scope of works they require to enable the Contractor to develop the design and formalise their Proposals.

1.02
CONTRACTOR’S RESPONSIBILITY: It is not intended that the information in this section shall provide a full specification and it will be the Contractor’s responsibility to take ownership of all design work carried out to date, amplify and develop the details and requirements as necessary for final design purposes, for submission to the Local Authority and other statutory bodies and other persons as required by the Employers Requirements for approval and for construction purposes.  The Contractor shall provide such designs, test, calculations, and further drawings that may be required to enable the works to be completed to meet the Employers Requirements.

1.03
STANDARDS:  The work is to be executed to a high standard using new materials of good quality and standard.  British Standards and Codes of practice for materials and workmanship are to be regarded as the minimum to be achieved.

1.04
PROHIBITED MATERIALS:  Materials not conforming to British Standards, Codes of practice or good building practice, OR materials considered deleterious or prohibited by recognised testing bodies such as the Building Research Establishment or any other equivalent body shall not be used in construction.

2.00
DESIGN
2.01
RESPONSIBILITY FOR DESIGN:   The Contractor is solely responsible for the completion of the design of the Works which must comply in all respects with the Employer’s Requirements and all relevant Regulations and Standards.  The Contractor shall take ownership of all design work carried out and included in the Employers Requirements.  All aspects of the design are to be carefully co-ordinated by all consultants/specialists.

2.02
STATUTORY REQUIREMENTS:   The building, services and external works shall be designed and constructed in accordance with all current Statutory requirements

and it remains the Contractor’s responsibility to identify and comply with all applicable Standards, Byelaws and Regulations.  Appropriate certification of compliance with the above shall be provided by the Contractor as reasonably required by the Employer’s Agent.

3.00
OTHER INFORMATION
3.01
APPROVAL:  The Contractor will be responsible for obtaining Building Regulations Approval, Fire Officer Approval and any other relevant approvals necessary to complete the works including preparing and submitting all necessary drawings and calculations.

3.02 FEES AND CHARGES: The Contractor shall include in his tender for all Local    Authority fees and charges in connection with the above.  Building Regulations Inspection Fee will be paid by the Client.
4.00
VALUE ENGINEERING
4.01
It is possible that tenders may exceed the budget for the project.

4.02
In order to assist and condense the post-tender activities tenderers are required to consider some items of potential cost reduction.  

4.03
Tenderers are to consider items and calculate an accurate cost reduction for each item.  Clarification on the adjustment for overheads and profit should be made.  This should then be presented in a tabular format with a comments/notes entry against each item.  The table and total cost saving should be submitted with the Tender.

5545/14011
Page 1 of 4

