The scope of the works undertaken to the Client's socially rented housing dwelling stock and General Fund Corporate assets. The details of these assets can be found in Affected Property

Repairs & Maintenance Contract - Scope of Service

General responsive repairs

General void property works

Out of hours repairs

Small disabled works (DP15)

Disabled facilities works (DFG)

Dwelling EICRs

Communal EICRs

Emergency Lighting

Stairlift servicing and repairs

Special decorations

General Fund Repairs

School Repairs SLA

Solar Panel Repairs

Portsmouth International Port Repairs and Planned Works

Smoke/Heat Detector Checks

Visual Electrical Checks

Visual Door Checks

Portable Appliance Testing (PAT)

Legionella Risk Assessments including Water Quality Testing and Repairs

Catering and Laundry Appliances Servicing and Repairs

Heat Recovery Units and Servicing including filter changes

Duct Cleaning and Servicing including filter changes

Water Coolers

Zip boilers

Warden Call System

Gas Contract Scope of Service

Annual Gas Servicing

Voids Gas Safety Checks

Gas Boiler Installations

Gas Boiler & Heating Repairs

Commercial Boilers

Heating Interface Units (HIU) Servicing and Repairs

# SI 1800	Employer's service specifications and drawings

## SI 1840	General principles applying to the Employer's value steps

This section contains general principles relating to the more detailed value steps in the following sections.

### SI 1840.1	Decision making while delivering the Service using the value steps

| Ref. | Description |
| --- | --- |
| G1.1 | All Employer and Contractor decision making is informed using: PLAN. The Employer's stated purpose for each service area (see SI 105 General description of service) The Employer's six principles of work (see SI 720 Service improvement) |

### SI 1840.2	Using the Employer's ICT system

| Ref. | Description |
| --- | --- |
| G2.1 | The Employer's repairs and maintenance ICT system is designed to manage repairs for multiple contractors and trades to the Affected Property within a single repair record created at the point of first contact with the customer and maintained until all associated repair activity is complete. This helps the Employer measure the effectiveness of the service provided to customers without the work being split across many separate repair records, giving the appearance of work having been completed (activity) rather than the repair completed from the customer's perspective. |
| G2.2 | However, there are exceptions to this rule, i.e. where separate records are required: For dwellings where specific funding has been assigned, e.g. Disabled Facilities Grant (DFG), Special Decorations, and will be identified by the relevant Keyword on the repair record For communal works we have learnt that the scope of an individual repair record needs to remain focused on a particular trade and/or communal work location to allow completion to be managed, i.e. not end up with repairs that can never be completed due to repair demand for the property |
| G2.3 | A repair record can be reopened (by the removal of the Last Repair Completed Date field) when it is deemed that a newly reported repair relates to a previous repair. The test the Employer uses is "Was the original repair fixed first time from the customer's point of view?", i.e. is it reasonable that the customer would expect this to have happened? It does not necessarily reflect on the Contractor but is used to identify areas for improvement. |
| G2.4 (also C1.3.3) | When creating or updating a repair, care should be taken to establish any new or changed customer contact details and not just copy/paste from information held from a previous visit to the property. |
| G2.5 | Employer and Contractor staff add Keywords to repair and void records as soon as they become relevant using the mechanism provided on the Employer's ICT system |
| G2.6 | No personal data (e.g. contact details) of the customer, Employer or Contractor's staff member should be recorded in any of the repair or void description fields, as these are not removed during the GDPR redaction process. |
| G2.7 | No health (e.g. medical or related issues) or confidential information (e.g. key safe numbers, caution alert status, account numbers, NI or other identification numbers) should be recorded in any repair or void field at any time, as this is a breach of our GDPR privacy notice. |
| G2.8 | The two description fields on the Employer's ICT system (e.g. work required, work completed) for repairs and voids, are completed with the latest information at the top of the free text fields. There is no requirement to annotate the input with dates, times, initials or other information not directly relevant to undertaking the work. The Employer reserve the right to remove such information and issue an Early Warning Notice if it persists to address any underlying issues. |
| G2.9 | When either the Employer or Contractor updates the descriptions relating to the work it is expected they will remove obvious redundant information and any data that breaches the GDPR. If in doubt, staff will escalate to their manager who will address appropriately with the Employer and/or Contractor. |

### SI 1840.3	Booking appointments with customers

| Ref. | Description |
| --- | --- |
| G3.1 | A customer for the purposes of booking appointments refers to the resident, occupant, office staff, administrative staff, caretaker or other Employer staff member that needs to be at the Affected Property to provide access or input on the repair. |
| G3.2 (also C.1.5.1) | Does any work require urgent attention, such as for health and safety or the protection of the Employer’s Affected Property or Others' assets? |
| G3.3 | When a customer needs to be at the Affected Property to provide access or input, the Employer requires the Contractor to record the customer's preference for a specific timed appointment or an appointment window in the Employer's database as soon as agreed with the customer. |
| G3.4 | When a customer does not need to be at the Affected Property and there are no other constraints e.g. access protocols, urgency, an appointment date and time window suitable for the Contractor to help manage their workload is scheduled and recorded in the Employer's database as soon as it is identified. For the avoidance of doubt, repairs handed over to the Contractor should have an appointment identified and recorded on the Employer's database as soon practically possible to allow the Employer to manage customer queries. |
| G3.5 | Cold calling at the Affected Property, i.e. without a pre-scheduled and recorded appointment in the Employer's database, is not permitted. If the Contractor assigns an operative to attend the Affected Property on the "off chance" as part of a deliberate plan to gain access when other methods have failed, the appointment must be recorded in the Employer's ICT system in advance and not recorded after the event. |
| G3.6 | The Employer ICT system records all appointments at the Affected Property. A cancelled appointment is where the Contractor or customer asks for it to be rescheduled to another date or the customer no longer requires the repair to be carried out AND the Contractor did not attend the Affected Property. |
| G3.7 | Where the Contractor reschedules the appointment at the Affected Property the Employer's database is only updated if the new appointment is on a different day, otherwise it is deemed to be an earlier or later arrival of the original appointment and where relevant the customer has been kept informed and agreed to the rescheduling. |
| G3.8 | Once the Contractor has exhausted all practical means of gaining access to the Affected Property to complete a repair, the Contractor will escalate to the Employer who will only close the repair where there are no health and safety or compliance issues identified. A repair closure is the last resort after the Employer has also failed to contact the customer by all practical means and will be accompanied by relevant commentary in the description of the repair. If the customer makes contact about the same repair then the repair will be reopened. |
| G3.9 | If the Contractor has failed to successfully attend the Affected Property to carry out a cyclical service, test or inspection (CSTI) and it has expired, they will utilise the agreed escalation process, e.g. use the Employer formal letter process or escalate to Employer for further management. |

### SI 1840.4	Compliance reporting and measures

| Ref. | Description |
| --- | --- |
| G4.1 | The Employer and Contractor only report compliance based on the data recorded in the Employer's database, i.e. it has not happened until the Employer's database has been updated. |
| G4.2 | The Employer's compliance reporting does not distinguish between Affected Properties that have been escalated to the Employer due to access issues, for example, going through the court process and those just becoming out of date, and includes these in all reporting. The Contractor continues to attempt access while the Affected Property is non-compliant, for whatever reason |

## SI 1850	Repair service value steps

This section contains the detailed specification of the value steps outlined in section The specific service and related Affected Property are defined by the Employer within the Contractor Plan and agreed annually on the anniversary of the starting date of the service period

SI 105.1	Responsive repairs and maintenance service description.

| Ref. | Access Description |
| --- | --- |
| R1.1 | Employer Identify type of request |
| R1.1.1 | Identify if this request is a repair (something needs fixing) or an improvement? |
| R1.2 | Employer Check scope, history, projects and compliance needs |
| R1.2.1 (also C1.2.1) | Does the work identified fall within the scope of service for the Affected Property, including the Employer’s repair responsibility or is it proportionate for the Employer to recharge the customer? |
| R1.2.2 | Review repair history on the Employer’s repairs and void history screens as appropriate and listen to customer making repair demand to determine if this is a new repair or relates to a recently completed or open repair. This is primarily to enable the Contractor and the Employer to identify areas for improvement |
| R1.2.3 (also C1.2.4) | Identify any relevant ongoing Employer projects by reviewing the Employer’s database Planned Summary option for the Affected Property and follow up with the Employer's project manager as required |
| R1.2.4 (also C1.2.5) | Identify any non-compliant (or soon to be) elements, e.g. gas safety, EICR, smoke detectors, by reviewing the Employer’s database More… option for the Affected Property. |
| R1.2.5 | Identify if a review of Caution Alert is required based on any visit protocol displayed on the More… option. |
| R1.3 | Employer Clean set up of repair details on Employer's database |
| R1.3.1 | If there are open repairs on the Employer's database for the Affected Property, determine any follow up action, including but not limited to: - have they been completed and need closure by a contractor? - are they on-going but with no future appointments and need chasing up with a contractor to determine status? - are they clearly on-going, i.e. with future appointments, and the new repair(s) should be included? Remember to consider rules where repairs require separate records, see SI 1840.2 Using the Employer's ICT system |
| R1.3.2 | For new repairs, the First Contact Date/Time relates to when the customer or Employer's staff member raised the issue and not when the user picked it up and updated the database, e.g. date/time of original call, email sent date/time, web form sent date/time. This includes if sent in the middle of the night to an unmonitored mailbox. |
| R1.3.3 | Some repair demands are tagged with a keyword in the Employer's system to help with management, measures and financial budget allocation. Although many will be tagged as the work unfolds, e.g. New Kitchen, there are those that must be identified on creation, including but not limited to: - web form repairs with the 'Web Repair Demand' keyword (in addition the web form number is added after the name in [Contact Name for Repair] field) - school repairs where the school has signed up to the pay as you go SLA ('SLA - PAYG') - repairs that fall outside of our scope and/or repair responsibility but the customer's department or directorate has agreed to be recharged (does not extend to HRA social housing rent payers or HRA leaseholders) with 'Recharge' (in addition a repair budget must be supplied unless the [Repair Responsibility] is 'Rechargeable' and a cost code is recorded on the Employer's ICT system) - disabled facility grant works with 'DFG' - minor disabled works (expected to be less than £1000) with 'DP15' - special decorations grant works with 'Special Decorations' - where works are required to HRA leaseholder properties because of repairs elsewhere in the block, e.g. water leak into their property, with 'Leaseholder Insurance' See BM Keyword Guidance document for further information on the use of keywords |
| R1.3.4 (also C1.3.5) | Repair descriptions on the Employer's database should be concise but thorough, not include abbreviations or acronyms that are not in everyday use by the public. |
| R1.3.5 | Repair descriptions are never a verbatim transcript of a customer call or a copy/paste of an entire email or web form. |
| R1.3.6 | For email and web form demands, contact should be made with the customer as soon as practical by telephone unless they have stated another preference, to understand the repair(s) from their point of view before updating the detail. |
| R1.4 | Employer Identify relevant info. to enable right skilled and equipped operative(s) to attend |
| R1.4.1 (also C1.4.1) | Determine the general trade skills required for the identified repair(s) from Employer held stock data and information gathered from customer or Employer staff member, if relevant. This helps to ensure the right resource attends with the right parts, materials and equipment from van stock. |
| R1.4.2 | If the Employer is unable to identify the right trade they will book an appointment (SI 1840.3 Booking appointments with customers applies) for the Employer's surveyor to visit, diagnose the repair and identify the Contractor trade skill(s) required or next action, as appropriate |
| R1.4.3 (also C1.4.2) | Book one or more trade appointments for the responsible contractor(s). This does not necessarily match the physical resources sent by the Contractor as they may have operatives with multi-skills available. |
| R1.4.4 (also O1.2.3, C1.4.3) | The Employer's GDPR policy requires it to ask permission to contact the customer after the repair to get feedback. If the customer gives consent, the 'Consented to Cust. Sats. Call' appointment is added to indicate when they consented. |
| R1.5 | Employer Identify a convenient appointment |
| R1.5.1 | Section SI 1840.3 Booking appointments with customers applies |
| R1.6 | Employer Phone repair(s) to contractor(s) and handover cleanly |
| R1.6.1 | Telephone relevant contractor(s) to cleanly handover the repair and appointment(s) identified. Where the appointment date/time can be decided by the contractor (only certain communal repairs, see SI 1840.3 Booking appointments with customers ref. G3.4 these are left empty at hand over but the Contractor must expedite their completion in the Employer's database. |
| R1.7 | Contractor organises work to minimise the separate visits required |
| R1.7.1 (also C.1.6.1) | The Contractor reviews the trades and skills required to meet all the repair appointments and organise resources to minimise visits to the Affected Property |

| Ref. | Diagnosis Description |
| --- | --- |
| R2.1 | Contractor's right resource receives one repair at a time from contractor with associated history and other relevant information |
| R2.1.1 (also C.2.1.1) | The right resource receives only one piece of work at a time, i.e. they are unaware of any other repairs allocated or soft assigned to them by the Contractor. Allowing the resource to concentrate on meeting the purpose of the service “right repair at the right time” without artificial time constraints. The Contractor still manages the resource and their work to continually improve the service. |
| R2.1.2 (also C.2.1.2) | The Contractor provides the right resource with all the available information they need to carry out the diagnosis and repair, i.e. relevant previous history, asbestos details, the status of relevant projects, any special circumstances relating to the customer including caution alert while being mindful of GDPR implications |
| R2.1.3 (also C.2.1.3) | The Contractor provides the right resource with a van stocked to meet the predicable demands of the scope of service and Affected Property they will attend |
| R2.1.4 (also C.2.1.4) | The Contractor provides the right resource with any expenditure constraints relating to the Affected Property, e.g. garages, schools, general fund assets as described in section SI 205.19 Repair and void authorisation |
| R2.2 | Contractor's right resource arrives at the Affected Property at the agreed appointment |
| R2.2.1 (also C.2.2.1) | The right resource arrives at the Affected Property at the agreed appointment date/time or within the appointment window. The customer will be kept informed of delays and if arriving early the right resource will contact the customer to see if this is convenient, i.e. not sit in their van until the appointment time |
| R2.3 | Contractor's right resource diagnoses repair(s) and identifies any additional repairs |
| R2.3.1 (also C.2.3.1) | The right resource diagnoses the work required having gained access |
| R2.3.2 (also C.2.3.2) | The right resource asks if there are any further repairs |
| R2.3.3 (also C.2.3.3) | The right resource assesses time and materials required to complete authorised works and informs the customer and the Contractor’s resource centre |
| R2.3.4 (also C.2.3.4) | The right resource identifies any Employer authorisation requirements before carrying out any repair(s). The Contractor seeks authorisation as required. |
| R2.3.5 (also C.2.3.5) | Urgent repairs to make safe for health and safety are pre-authorised but the Employer should be informed as soon as practically possible although before significant repair work commences is desirable |
| R2.3.6 (also C.2.3.6) | If any further appointments need to be arranged, e.g. additional trades, they should follow the guidance described in SI 1840.3 Booking appointments with customers with the right resource enabling the customer to make a convenient appointment via the appropriate Contractor’s resource centre. The new appointment(s) should also consider material lead times and intervals between repair actions, e.g. reinstating electrics after leaks. |
| R2.3.7 (also C.2.3.7) | The Contractor immediately updates the Employer’s repair to record any new appointment(s) so the information is available to answer queries from the customer and facilitate the Employer's management of the service. |
| R2.4 | Employer reviews any authorisation requests and issues decision |
| R2.4.1 (also C.2.4.1) | The Employer reviews authorisation requests by considering, but not limited to, the following: - Reviewing the Employer's stock data to understand responsibilities and ownership - Reviewing any relevant installation dates in case of warrantee claims - Reviewing previous repair history - Reviewing the relevant term service contract schedules - Site visit to understand the repair and circumstances in detail - Liaising with relevant staff in the Employer's organisation, e.g. other directorates and departments - Anything else that is considered relevant to this request |
| R2.4.2 (also C.2.4.2) | If the request is approved, the Employer issues ‘Schedule 3 – Part 21 – Repair Authorisation Instruction’ to the Contractor. |

| Ref. | Repair Description |
| --- | --- |
| R3.1 | Contractor's right resource updates Contractor’s resource centre |
| R3.1.1 (also C.3.1.1) | The right resource updates the Contractor's resource centre with details of their arrival at site, estimated departure time, any additional parts & materials and when required for delivery if they are not picking them up and the timing of any additional resources required |
| R3.2 | Contractor's right resource facilitates reporting of repairs to Employer or Others |
| R3.2.1 (also C.3.2.1) | For repairs that fall outside the scope of the Contractor's service with the Employer for the Affected Property, the right resource will: - assist the customer in reporting these repairs to the Employer or Others, as agreed with Employer - assist in providing any relevant diagnosis information commensurate with their skills and experience |
| R3.3 | Contractor's right resource keeps customer or Employer staff member updated throughout |
| R3.3.1 (also C.3.3.1) | The right resource will keep the customer updated as the work progresses |
| R3.4 | Contractor's right resource carries out repairs and updates Contractor's resource centre |
| R3.4.1 (also C.3.4.1) | The right resource carries out work and informs the Contractor's resource centre of - actual work carried out - parts, materials and any equipment used |
| R3.5 | Employer reviews any further authorisation requests and issues decision |
| R3.5.1 (also C.3.5.1) | For repairs that are likely to exceed their specific authorisation level, the right resource seeks further approval to proceed from the Employer as previously described in SI 1850 Repair service value steps ref. R2.4 |
| R3.6 | Contractor's right resource facilitates booking any follow on appointments with customer |
| R3.6.1 (also C.3.6.1) | The right resource facilitates the booking of follow on appointments with the customer as described in section SI 1840.3 Booking appointments with customers, including for visits for current trade, additional trades, additional repairs identified and replacement installations. |
| R3.7 | Contractor’s resource centre updates the Employer’s database |
| R3.7.1 (also C.3.7.1) | The Contractor's resource centre updates the Employer's database with: - details of actual work carried out, removing or editing any previous description that is no longer relevant to the repair's current state - any additional appointments agreed with the customer - addition of other relevant repair data, including but not limited to keywords - updates to stock data related to the repair, e.g. kitchen install date, work certification date and any uploading of files, e.g. photos, certificates |
| R3.8 | Employer contacts customer if they consented to undertake satisfaction survey |
| R3.8.1 (also C.3.8.1) | The Employer regularly checks for completed repairs where GDPR consent has been given by the customer to take part in a post repair satisfaction survey |
| R3.8.2 (also C3.8.2) | The Employer's team telephones consenting customers and asks about their experience of the repair service and how it met the purpose. The Employer's repairs database is immediately updated with the details, including categorisation of the feedback using the available customer satisfaction keywords for later analysis |

## SI 1860	Void service value steps

This section contains the detailed specification of the value steps outlined in section SI 105.2	Void property maintenance service description.

| Ref. | Notice Description |
| --- | --- |
| V1.1 | Take notice and collect any debts |
| V1.2 | Update the Employer's tenancy management system |
| V1.3 | Update Employer's void system with appointments such as Pass Barrel and EPC Survey |
| V1.4 | Arrange and undertake a home visit/pre-void inspection with the Contractor |

| Ref. | Allocate Description |
| --- | --- |
| V2.1 | Identify the right customer |
| V2.2 | Arrange viewing with appropriate resources, including the Contractor, and update Employer's void system with Viewing appointment |

| Ref. | Sign-up Description |
| --- | --- |
| V3.1 | Establish any relevant projects and liaise with Employer's planned maintenance team as required |
| V3.2 | Identify work to maintain the Affected Property with the Contractor |
| V3.3 | Identify and agree work to enable resident to move in with the Contractor within the Employer's repair responsibility and scope of service for the Affected Property |
| V3.4 | Agree tenancy start based on expected work completion and resident requirements |
| V3.5 | Customer agrees to move in |
| V3.6 | Update Employer's tenancy management system |
| V3.7 | Update Employer's void system with description of agreed works, any relevant keywords and Keys to Tenant and Sign-up appointments |

| Ref. | Work Description |
| --- | --- |
| V4.1 | Plan the work required to enable the customer to move in on agreed date/time |
| V4.2 | Do the work to meet the agreed moving in date/time within the Employer's repair responsibility and scope of service for the Affected Property |
| V4.3 | Hand over keys to new tenant |
| V4.4 | Employer updates Employer's tenancy management system |
| V4.5 | Update Employer's repairs and maintenance database with relevant information about the work undertaken, using keywords, and updating stock data, as appropriate |

| Ref. | Rent Description |
| --- | --- |
| V5.1 | Collect the rent |
| V5.2 | Obtain customer satisfaction score (1-10) and improvement feedback after new tenant has settled in |
| V5.3 | Arrange and record on Employer's void system the Hand Over to Housing Officer appointment |

## SI 1870	Out-of-hours service value steps

This section contains the detailed specification of the value steps outlined in section SI 105.3	Out-of-hours service description.

| Ref. | Decide Description |
| --- | --- |
| O1.1 | Employer gets customer details |
| O1.1.1 | Establish contact details for person making out of hours request to include name, address and relevant telephone number(s) |
| O1.2 | Employer gets location and description of demand |
| O1.2.1 | Establish the location of the demand |
| O1.2.2 | Establish the description of the demand and asks if there are any other problems to enable the appropriate Employer purposes and value steps to be followed |
| O1.2.3 (copy of R1.4.3) | The Employer's GDPR policy requires it to ask permission to contact the customer after the repair to get feedback. If the customer gives consent, the 'Consented to Cust. Sats. Call' appointment is added to indicate when they consented. |
| O1.3 | Employer checks history relevant to demand |
| O1.3.1 | Identify any relevant history that relates to this demand, including questioning the customer and reviewing relevant Employer systems |
| O1.4 | Employer decides service to provide out of hours |
| O1.4.1 | Using the information gathered about the demand, its location and relevant history, signpost the demand to the relevant Employer value steps, including: - Provide suitable help, out of office hours - Right repair at the right time - Provide suitable homes when needed - Keep the local area clean & tidy - Provide the right accommodation, support & care when needed |

| Ref. | Co-ordinate Description |
| --- | --- |
| O2.1 | Employer makes an appointment we can meet |
| O2.1.1 | Using the resources available to the out of hours service, make a mutually convenient appointment. Escalating to the Contractor or Employer for additional out of hours resource, if required |
| O2.2 | Employer coordinates resource to attend |
| O2.2.1 | Employer out of hours team coordinate the right resource (Contractor or Employer) to attend at the appointed time |
| O2.3 | Contractor's right resource attends |
| O2.3.1 | Right resource attends with right skills and materials |
| O2.3.2 | Right resource assesses the service to provide out of hours and asks if there are any other problems |
| O2.3.3 | Right resource liaises with the customer and Employer's out of hours service |
| O2.4 | Contractor provides out of hours service |
| O2.4.1 | Right resource provides out of hours service |
| O2.4.2 | The out of hours service is not just for 'making safe' and uses PLAN to help determine the right level of service to provide. |
| O2.4.3 | If follow-on appointments are required then mutually convenient appointments (see SI 1840.3 Booking appointments with customers) are booked with the customer and facilitated by the right resource, using their phone if necessary. |
| O2.5 | Contractor gets customer satisfaction score |
| O2.5.1 | The right resource asks the customer for a satisfaction score for the service provided and feedback to help the Employer and Contractor improve the service |
| O2.6 | Contractor updates Employer out of hours service |
| O2.6.1 | The right resource updates the Employer's out of hours service with details of the activities undertaken and any follow-on steps |
| O2.7 | Employer's Out of Hours liaises with in-hours teams |
| O2.7.1 | The Employer's out of hours service cleanly hands over to the in-hours service teams of the Employer and/or Contractor as appropriate. This is typically a verbal handover to enable timely follow-up at the start of the in-hours service but may be accompanied by email follow-up with specific handed over data, e.g. repairs carried out, support visits made |

## SI 1880	Planned maintenance service Task Order value steps

This section contains the detailed specification of the value steps outlined in section SI 105.4	Ad hoc planned maintenance task orders.

| Ref. | Evaluation Description |
| --- | --- |
| P1.1 | Update Employer's database to record evaluation on selected Affected Property |
| P1.2 | Identify and evaluate Affected Property attribute information |
| P1.3 | Identify and analyse demand received |
| P1.3.1 | Review repair information for Affected Properties on Employer's database |
| P1.3.2 | Interview roles that receive demand for the Affected Properties, e.g. Building repairs staff, Green & Clean team |
| P1.4 | Evaluate results of demand analysis |
| P1.4.1 | Establish key areas to focus on for survey and inform customers/residents |
| P1.5 | Survey Affected Properties to identify work to include in Project |
| P1.6 | Update Employer's database with stock survey information |
| P1.7 | Establish purpose of Project |

| Ref. | Options Description |
| --- | --- |
| P2.1 | Employer identifies design, specification and procurement options to meet the purpose |
| P2.2 | Employer assesses options to meet the purpose using PLAN |
| P2.3 | Employer prepares specification, drawings and consult with the Contractor as detailed in the NEC term service contract under Task Orders |
| P2.4 | Contractor prices the specification |
| P2.5 | Employer agrees the cost of the Task Order and issues 'Schedule 3 - Part 15 - Task Order' to the Contractor |

| Ref. | Work Description |
| --- | --- |
| P3.1 | Employer organises planned scheme to be carried out as Task Order |
| P3.1.1 | Instructs Contractor using standard template modelled on Schedule 3 - Part 15 - Task Order No |
| P3.1.2 | Ensures health and safety responsibilities met |
| P3.1.3 | Inform customers, including residents and leaseholders as necessary |
| P3.1.4 | Updates Employer's Project database with appropriate information |
| P3.2 | Contractor carries out work agreed to achieve purpose of planned scheme |
| P3.3 | Contractor seeks further authorisation if approved cost of Task Order is to be exceeded |
| P3.4 | Contractor provides Task Order cost on the monthly application for payment using 'Schedule 3 - Part 7 - (Contractor Name) Application for Payment': |
| P3.4.1 | Separately identified to enable the variable Fee to be calculated on all relevant tabs of the monthly application for payment to Provide the Service |
| P3.4.2 | Task Order Register sheet completed as Task Orders are approved with the Task Order number, Employer's Project ID, Description, Employer's approved cost and any previous financial year cost claimed |
| P3.4.2 | Task Order Cost Details sheet with each month's Task Order expenditure (ex-Fee) and Task Order number |
| P3.5 | Carry out customer satisfaction (1-10) and obtain improvement feedback |
| P3.6 | Update PCC stock and Project ICT system with details from completed scheme |

| Ref. | Evaluation (close the loop) Description |
| --- | --- |
| P4.1 | Employer measures and assesses effectiveness of planned scheme (Task Order) to meet purpose |

## SI 1890	Cyclical servicing, testing and inspection service value steps

This section contains the detailed specification of the value steps outlined in section SI 105.5	Cyclical servicing, testing and inspections.

| Ref. | Access Description |
| --- | --- |
| C1.1 | Contractor establishes time to initiate Cyclical Servicing, Testing and Inspection (CSTI) |
| C1.1.1 | The Contractor identifies the lead-time to initiate the CSTI for the Affected Property based on data held in the Employer's database and supplemented with their own knowledge and experience. In particular: - relevant stock data held by the Employer - previous CSTI repair history for the Affected Property recognising any tenancy changes since the previous CSTI - relevant legislation, e.g. landlord gas safety 60 day "MOT style" window - what the Contractor has learnt about gaining access to similar Affected Properties |
| C1.2 | Contractor checks scope, history, projects, compliance |
| C1.2.1 (copy of R1.2.1) | Does the work identified fall within the scope of service for the Affected Property, including the Employer's repair responsibility or is it proportionate for the Employer to recharge the customer? |
| C1.2.2 | Review relevant history on the Employer’s repairs and void history screens to determine if there are any open repairs or voids where this CSTI could be included, especially where a future appointment has already been agreed with the customer for another of the Contractor's trades or those of another Contractor. The Contractor should use PLAN to determine if any open repair should be used to record the CSTI but should also consider rules where repairs require separate records, see SI 1840.2 Using the Employer's ICT system. |
| C1.2.3 | Where customers are required to be in attendance, the Employer prefers the Contractor organises the work to minimise disruption to the customer and this extends to include all Contractors with requirements to visit the Affected Property, i.e. co-ordination is required directly between Contractors. |
| C1.2.4 (copy of R1.2.3) | Identify any relevant ongoing Employer projects by reviewing the Employer's database Planned Summary option for the Affected Property and follow up with the Employer's project manager as required |
| C1.2.5 (copy of R1.2.4) | Identify any non-compliant (or soon to be) elements, e.g. gas safety, EICR, smoke detectors, by reviewing the Employer's database More… option for the Affected Property. |
| C1.2.6 | If Caution Alert is indicated by the "review visit protocol" message under More… option then the Contractor must contact the Employer's repairs support team (RST) to get current information to enable them to decide the best course of action. This may mean the right resource is two people but this may not be necessary and will depend on the specific circumstances. Caution Alert information identified should not be recorded on the Contractor's system for later use. |
| C1.3 | Contractor cleanly sets up CSTI details on Employer's database |
| C1.3.1 | If there are open repairs on the Employer's database for the Affected Property, determine any follow up action, including but not limited to: - have they been completed by the Contractor and need closing? - has the Contractor has been involved in the repair but there are no future appointments and the repair needs following up to determine its status? - is there an on-going repair, i.e. with future appointments for the Contractor, another contractor or the Employer? |
| C1.3.2 | If a new repair is created for the CSTI, the First Contact Date/Time relates to when the Contractor staff member first identified the need to book an appointment to visit the Affected Property (see SI 1890 Cyclical servicing, testing and inspection service value steps ref. C1.1). |
| C1.3.3 (copy of G2.4) | When creating or updating a repair, care should be taken to establish any new or changed customer contact details and not just copy/paste from information held from a previous visit to the property. |
| C1.3.4 | If the CSTI is for a school, office or other Employer Affected Property, where access is required, the Contractor must still agree, in advance, a mutually convenient appointment (see SI 1840.3 Booking appointments with customers) before visiting the Affected Property. |
| C1.3.5 (copy of R1.3.4) | Repair descriptions on the Employer's database should be concise but thorough, not include abbreviations or acronyms that are not in everyday use by the public. |
| C1.4 | Contractor identifies relevant info. to enable right skilled and equipped operative(s) to attend |
| C1.4.1 (copy of R1.4.1) | Determine the general trade skills required for the identified repair(s) from Employer held stock data and information gathered from customer or Employer staff member, if relevant. This helps to ensure the right resource attends with the right parts, materials and equipment from van stock. |
| C1.4.2 (copy of R1.4.3) | Book one or more trade appointments for the responsible contractor(s). This does not necessarily match the physical resources sent by the Contractor as they may have operatives with multi-skills available. |
| C1.4.3 (copy of R1.4.4) | The Employer's GDPR policy requires it to ask permission to contact the customer after the repair to get feedback. If the customer gives consent, the 'Consented to Cust. Sats. Call' appointment is added to indicate when they consented. |
| C1.5 | Contractor identifies a convenient appointment |
| C1.5.1 (copy of G3.2) | Does any work require urgent attention, such as for health and safety or the protection of the Employer's Affected Property or Others' assets? |
| C1.5.2 | The Contractor will contact customers using their preferred communication method. In the absence of other information this is assumed to be by a telephone call. |
| C1.5.3 | See section SI 1840.3 Booking appointments with customers |
| C1.5.4 | Although most customers will enable the Contractor to book a convenient appointment it is recognised that there will be occasions where this will be more difficult. The Employer will support the Contractor in gaining access to the Affected Property. The Contractor, in turn, must demonstrate that they have a comprehensive approach to agreeing mutually convenient CSTI appointments with customers, including but not limited to: - making calls at different times of the day, out of hours, on different days, including weekends - using text messages, emails, letters where appropriate to supplement the above - using door knocking as a last resort after considering PLAN and with due regard to Cold-calling statement in SI 1840.3 Booking appointments with customers ref. G3.5 - using the Employer's resource (RST and out of hours service) to contact difficult to reach customers - using the Employer's formal letter escalation process once trigger points are reached for electrical certification (EICR) and annual gas safety check (LGSR) |
| C1.6 | Contractor organises work to minimise separate visits required |
| C1.6.1 (copy of R1.7.1) | The Contractor reviews the trades and skills required to meet all the repair appointments and organise resources to minimise visits to the Affected Property |

| Ref. | Diagnosis Description |
| --- | --- |
| C2.1 | Contractor's right resource receives one CSTI at a time from Contractor with associated history and other relevant information |
| C2.1.1 (copy of R2.1.1) | The right resource receives only one piece of work at a time, i.e. they are unaware of any other repairs allocated or soft assigned to them by the Contractor. Allowing the resource to concentrate on meeting the purpose of the service "right repair at the right time" without artificial time constraints. The Contractor still manages the resource and their work to continually improve the service. |
| C2.1.2 (copy of R2.1.2) | The Contractor provides the right resource with all the available information they need to carry out the diagnosis and repair, i.e. relevant previous history, asbestos details, the status of relevant projects, any special circumstances relating to the customer including caution alert while being mindful of GDPR implications |
| C2.1.3 (copy of R2.1.3) | The Contractor provides the right resource with a van stocked to meet the predicable demands of the scope of service and Affected Property they will attend |
| C2.1.4 (copy of R2.1.4) | The Contractor provides the right resource with any expenditure constraints relating to the Affected Property, e.g. garages, schools, general fund assets as described in section SI 205.19 Repair and void authorisation |
| C2.2 | Contractor's right resource arrives at the Affected Property at the agreed appointment |
| C2.2.1 (copy of R2.2.1) | The right resource arrives at the Affected Property at the agreed appointment date/time or within the appointment window. The customer will be kept informed of delays and if arriving early the right resource will contact the customer to see if this is convenient, i.e. not sit in their van until the appointment time |
| C2.3 | Contactor's right resource diagnoses CSTI(s) and identifies any additional repairs |
| C2.3.1 (copy of R2.3.1) | The right resource diagnoses the work required having gained access |
| C2.3.2 (copy of R2.3.2) | The right resource asks if there are any further repairs |
| C2.3.3 (copy of R2.3.3) | The right resource assesses time and materials required to complete authorised works and informs the customer and the Contractor's resource centre |
| C2.3.4 (copy of R2.3.4) | The right resource identifies any Employer authorisation requirements before carrying out any repair(s). The Contractor seeks authorisation as required. |
| C2.3.5 (copy of R2.3.5) | Urgent repairs to make safe for health and safety are pre-authorised but the Employer should be informed as soon as practically possible although before significant repair work commences is desirable |
| C2.3.6 (copy of R2.3.6) | If any further appointments need to be arranged, e.g. additional trades, they should follow the guidance described in SI 1840.3 Booking appointments with customers with the right resource enabling the customer to make a convenient appointment via the appropriate Contractor's resource centre. The new appointment(s) should also consider material lead times and intervals between repair actions, e.g. reinstating electrics after leaks. |
| C2.3.7 (copy of R2.3.7) | The Contractor immediately updates the Employer's repair to record any new appointment(s) so the information is available to answer queries from the customer and facilitate the Employer's management of the service. |
| C2.4 | Employer reviews any authorisation requests and issues decision |
| C2.4.1 (copy of R2.4.1) | The Employer reviews authorisation requests by considering, but not limited to, the following: - Reviewing the Employer's stock data to understand responsibilities and ownership - Reviewing any relevant installation dates in case of warrantee claims - Reviewing previous repair history - Reviewing the relevant term service contract schedules - Site visit to understand the repair and circumstances in detail - Liaising with relevant staff in the Employer's organisation, e.g. other directorates and departments - Anything else that is considered relevant to this request |
| C2.4.2 (copy of R2.4.2) | If the request is approved, the Employer issues 'Schedule 3 - Part 21 - Repair Authorisation Instruction' to the Contractor. |

| Ref. | Servicing, Testing and Inspection Description |
| --- | --- |
| C3.1 | Contractor's right resource updates Contractor’s resource centre |
| C3.1.1 (copy of R3.1.1) | The right resource updates the Contractor's resource centre with details of their arrival at site, estimated departure time, any additional parts & materials and when required for delivery if they are not picking them up and the timing of any additional resources required |
| C3.2 | Contractor's right resource facilitates reporting of repairs to Employer or Others |
| C3.2.1 (copy of R3.2.1) | For repairs that fall outside the scope of the Contractor's service with the Employer for the Affected Property, the right resource will: - assist the customer in reporting these repairs to the Employer or Others, as agreed with Employer - assist in providing any relevant diagnosis information commensurate with their skills and experience |
| C3.3 | Contractor's right resource keeps customer or Employer staff member updated throughout |
| C3.3.1 (copy of R3.3.1) | The right resource will keep the customer updated as the work progresses |
| C3.4 | Contractor's right resource carries out repairs/CSTI and updates Contractor's resource centre |
| C3.4.1 (copy of R3.4.1) | The right resource carries out work and informs the Contractor's resource centre of - actual work carried out - parts, materials and any equipment used |
| C3.5 | Employer reviews any further authorisation requests and issues decision |
| C3.5.1 (copy of R3.5.1) | For repairs that are likely to exceed their specific authorisation level, the right resource seeks further approval to proceed from the Employer as previously described in SI 1850 Repair service value steps ref. R2.4 |
| C3.6 | Contractor's right resource facilitates booking any follow on appointments with customer |
| C3.6.1 (copy of R3.6.1) | The right resource facilitates the booking of follow on appointments with the customer as described in section SI 1840.3 Booking appointments with customers, including for visits for current trade, additional trades, additional repairs identified and replacement installations. |
| C3.7 | Contractor’s resource centre updates the Employer’s database |
| C3.7.1 (copy of R3.7.1) | The Contractor's resource centre updates the Employer's database with: - details of actual work carried out, removing or editing any previous description that is no longer relevant to the repair's current state - any additional appointments agreed with the customer - addition of other relevant repair data, including but not limited to keywords - updates to stock data related to the repair, e.g. kitchen install date, work certification date and any uploading of files, e.g. photos, certificates |
| C3.8 | Employer contacts customer if they consented to undertake satisfaction survey |
| C3.8.1 (copy of R3.8.1) | The Employer regularly checks for completed repairs where GDPR consent has been given by the customer to take part in a post repair satisfaction survey |
| C3.8.2 (copy of R3.8.2) | The Employer's team telephones consenting customers and asks about their experience of the repair service and how it met the purpose. The Employer's repairs database is immediately updated with the details, including categorisation of the feedback using the available customer satisfaction keywords for later analysis |

# SI 1900	Employer's service check specification

## SI 1910	General principles for service checks applying to the Employer's affected property

This section outlines the general principles relating to the specific service checks outlined in the following sections.

If it is deemed necessary for some remedial repair work to be carried out, the contractor will facilitate the customer making a convenient appointment with the contractor, or if outside their scope of service another of the Employer's contractors directly, while in the dwelling, as outlined in SI 1840.3	Booking appointments with customers

## SI 1920	Smoke detector checks

Activities to cover here include:

Where no hard wired smoke detector is fitted as per the Smoke and Carbon Monoxide Alarm (amendment) regulations 2022, the contractor will facilitate the customer making an appointment with appropriate contractor

Where smoke detector's manufacturer expiry date is within 12 months, replace as per manufacturer's specification

Ensure smoke detector isn't damaged, painted over or operation is otherwise compromised, if damaged, replace

Ensure smoke detector is located correctly, as per manufacturer's specification, if not, relocate

Ensure smoke detector operates correctly, if not, replace

Ensure smoke detector manufacturer's expiry date is recorded for validation or update of Employer's Affected Property stock data

## SI 1921	Carbon monoxide detector checks

Activities to cover here include:

Where no carbon monoxide detector is fitted as per the Smoke and Carbon Monoxide Alarm (amendment) regulations 2022, the contractor installs a battery operated ten year CO detector to manufacturer's specification

Where carbon monoxide detector's manufacturer expiry date is within 12 months, replace as per manufacturer's specification

Ensure carbon monoxide detector isn't damaged, painted over or operation is otherwise compromised, if damaged, replace

Ensure carbon monoxide detector is located correctly, as per manufacturer's specification, if not relocate

Ensure carbon monoxide detector operates correctly, if not, replace

Ensure carbon monoxide detector manufacturer's expiry date is recorded for validation or update of Employer's Affected Property stock data

## SI 1922	Dwelling visual electrical checks

Activities to cover here include:

Visually inspect all sockets and electrical outlets to ensure they are in good condition, e.g. free from cracks, exposed wires, etc

Visually inspect fuse board to ensure in good condition and identify any damage, faults or potential tampering

Visually inspect electric meter to ensure in good condition and identify any damage, faults or potential tampering

Visually inspect and advise resident where necessary about the dangers of daisy chaining extension leads

Visually inspect and advise resident about any cables being used for external purposes

## SI 1923	Dwelling fire door checks

Scope of dwelling door checks:

- Annual checks of all flat entrance doors (including self-closing devices) that lead onto a building’s common parts (full fact sheet available at https://www.gov.uk/government/publications/fire-safety-england-regulations-2022/fact-sheet-fire-doors-regulation-10)

Activities to cover here include:

- Have there been any alterations or damage to a door’s glazing apertures or air transfer grille

- Are there any gaps around the door frame and that seals and hinges are fitted correctly

- Ensure the door closer shuts the door

- Ensure the door close correctly around the whole frame

- Ensure no visible damage (either deliberate or from wear and tear) to the door or door closer

Update Fire Door survey records on Employer's repairs & maintenance ICT stock database system

## SI 1924	Dwelling window and external door checks

Scope of dwelling window checks:

- Annual checks to all dwelling windows

- Basic maintenance to all dwelling windows

Activities to cover here include:

Windows: Lubricate keeps, handles, tilt-turn locking mechanisms, espagnolette locking mechanisms, runner arms and stay arms

External doors: Lubricate handles, locking mechanisms and hinges, as appropriate,

DO NOT lubricate lock cylinder as greased,

Ensure all windows open and close correctly,

Ensure window restrictors are fitted and they operate correctly,

Ensure keys are available for all lockable handles/mechanisms,

Ensure double glazed drainage slots are clear/unblocked,

Check the resident understands how the windows operate by asking them to open and close a typical window in the dwelling.

## SI 1925	Dwelling extractor/ventilation/duct checks

Scope of dwelling extraction/duct checks:

- Annual checks of dwelling kitchen cooking extractors

- Annual checks of dwelling intumescent vents to extraction ducts in flats where fitted.

- Annual checks of dwelling domestic extractor fans

- Annual checks of dwelling side extraction ductwork in blocks of flats

Activities to cover here include:

Check and clean where necessary extraction ductwork to dwellings,

Check operation and replace stainless steel filter if necessary for all dwelling kitchen cooker extractors, including subsequent cleaning of removed filter ready for re-use elsewhere,

Check operation and clean/replace filter where necessary of all dwelling intumescent vents,

Check operation and clean all dwelling extractor fan grilles.

## SI 1926	Dwelling sprinkler head checks

Activities to cover here include:

Visually inspect sprinkler heads to ensure they aren't damaged, painted over or their operation is otherwise compromised.

## SI 1927	Water quality testing

Scope of water quality testing:

- Monthly communal water outlet checks

- Monthly confirmation of weekly water flushing log maintenance

- Six monthly water cooler checks

Activities to cover here include:

Test temperature of water and record for each barcoded location,

Follow up identified issues from temperature checks with further sampling/analysis as required,

Record the temperature data in the council's licensed software, Zetasafe,

Visually inspect the local water flushing logs and record status for each barcoded location (recorded in Zetasafe),

Inspect each water cooler filter and replace every six months.

## SI 1928	Instantaneous communal hot water boiler checks

Scope of Instantaneous communal hot water boiler checks:

- Six monthly communal instantaneous boilers, e.g. Zip, checks

Activities to cover here include:

Visually inspect to ensure safe to operate,

Visually inspect filters and clean/replace where necessary,

Visually inspect for scale build up and clean where necessary.

## SI 1929	Portable appliance testing (PAT)

Scope of PAT:

- PAT checks as per Employer's PAT Policy and risk assessment

Activities to cover here include:

Test portable appliances are safe to use,

Record portable appliances tested and location,

Label tested appliances.

## SI 1930	Catering and laundry appliance servicing

Scope of catering and laundry appliance servicing:

Yearly checks to shelter schemes and other communal areas,

Six monthly check to prevent build-up of lint to tumble dryers,

Checks to school kitchen appliances where Employer's SLA taken up.

Activities to cover here include:

Annual service to manufacturer's service/user maintenance specification,

Six monthly duct check to rear of tumble dryer and remove build-up of lint adjacent to machine where necessary.

## SI 1931	Thermostat battery replacement

Scope of thermostat battery replacement:

Dwelling room thermostats.

Activities to cover here include:

Replace thermostat batteries to prevent failures and callouts during year,

Check resident understands thermostat operation.

The service specification contains text that is a direct copy of another section to aid reading clarity. Care must be taken when editing this text to ensure changes are reflected in mirrored locations.

PLAN - Proportionate, Legal, Accountable and Necessary

customer's preference is a date and time decided by the customer that is convenient to them and not led or forced upon them by the Contractor, i.e. it is the customer's nominal value

An appointment window is a single time slot on a single day, e.g. 23 May 2022 10:00 to 15:30

Repair only, i.e. not related to a cyclical service, test or inspection (CSTI)

Recently will depend on the work in question and PLAN should be used, i.e. what you would deem reasonable if you were paying for the work on your own property. We should consider "Was this fixed first time from the customer's point of view?"

Right resource is the person best suited to attend the appointment, i.e. they have the capability and capacity to complete the expected demand