CLIENT REQUIREMENTS

LAND, DESIGN AND BUILD

December 2024

LAND, DESIGN AND BUILD

FOR ALPHA HOUSING ASSOCIATION LIMITED

| 1.00 | INTRODUCTION |
| --- | --- |
| 1.01 | This Client Requirements document (CR) prepared in October 2022 is deemed a formal statement of the requirements of Alpha Housing Association (Client) for this Framework. |
| 1.02 | The CR document shall be read in conjunction with the documentation, drawings, specifications and schedules prepared as part of the Developers Proposals which, when signed by all Parties, shall form part of the Requirements. |
| 1.03 | The Contract shall be completed in the name of the successful Developer. No other party including any member of the same group of companies is acceptable as the Developer. |
| 1.04 | Clients Mission Statement |
| i) | Alpha Housing Association actively promotes the development of high-quality accommodation which is designed to ensure integration into existing communities. The aim and expectations of Alpha Housing Association in all of its developments is to ensure that a high standard of construction is maintained throughout, and specifications are standardised using highest quality materials and workmanship standards. |
| ii) | Generally, the structural integrity of the buildings shall be designed to have a minimum of sixty years life. Buildings shall be designed using low maintenance components and provide a ‘home for life’ for tenants regardless of change in circumstances. Consideration should be given to future ease of maintenance with special regard for servicing and cleaning of all elements. |
| iii) | All designs should highlight elements, which promote energy conservation, sustainability and ease of maintenance. Particular attention should be paid to innovate new concepts, which may improve the design, efficiency or low maintenance of the property. |

| 2.00 | PROCUREMENT PROCESS |
| --- | --- |
| 2.01 | Alpha Housing Association (The Client) is seeking to competitively procure the provision of a site (or sites) and the design and build of a social housing scheme utilising a single stage tender procedure comprising a Conditions of Participation submission and an Award stage submission. The Memorandum of Information (MOI) clearly describes in detail this procedure, along with associated timescales and information requirements which are to be submitted with the completed documentation. |
| 2.02 | Tender submissions will be assessed on a Quality/Price (Q/P) basis to identify the most advantageous tender (MAT) in accordance with the criteria as identified within the documentation. The tender submission with the best combined quality score and price score assessed as the MAT, the Developer(s), subject to satisfying all the Client Requirements (CR) will be admitted to the framework |
| 2.03 | The successful Developer(s) will then develop, as necessary, the NIHE approved accommodation mix working up their proposals in order to obtain the required statutory approvals. The Developer and their Design Team will also assist the Client in preparing the necessary information for submission to the NIHE DPG for Project Approval. |
| 2.04 | The Developer will then, subject to an acceptable planning permission and DPG project approval, construct the scheme in accordance with the agreed design documentation, statutory approvals and Works Programme with phased handovers as scheduled and he shall be remunerated as laid out within the Contract documents. |

| 3.00 | PROJECT PARTICULARS |
| --- | --- |
| 3.01 | Scope of the Works |
|  | The project is for the delivery of Social Housing units by means of a Design and Build process, where the Developer provides the land, designs, constructs and completes the scheme for Alpha Housing Association. The completed development shall be fully in accordance with the DfC Housing Association Guide; Client Requirements, statutory body requirements and others detailed in these Client Requirements. |
| 3.02 | Client: Alpha Housing Association Alpha House 6 Edgewater Road Belfast BT3 9JQ |
| 3.03 | Clients Agent: To Be Confirmed |
| 3.04 | Developer: ………………………………………………… |
| 3.05 | Land Owner: …………………………………………………. |
| 3.06 | Developers Team: |
| i) ii) iii) iv) v) vi) | Contractor: …………………………………………………. Architect: …………………………………………………. M&E Consultant: …………………………………………………. C&S Consultant: …………………………………………………. Principal Designer …………………………………………………. Landscape Architect: ………………………………………………..... |
| 3.07 | Site Location |
|  | The dwellings may be delivered over a number of sites or on one site; however, they all must be located within an area of Housing Need. In the interests of providing an efficient housing management service, any one site must provide a minimum of 5 No. dwellings. |
| 3.08 | Schedule of Accommodation |
|  | The dwelling mix will need to be supported by the NIHE place shapers. |
| 3.09 | Design and Specification Standards |
| i) | The works are to be designed in accordance with the following general requirements. |
| ii) | DfC Housing Association Guide: The Developers attention is drawn to the requirement to comply in all respects with the current DfC Housing Association Guide. |
| iii) | The general design requirements should comply as a minimum with the Department for Communities Developments Housing Association Guide: https://www.communities-ni.gov.uk/articles/housing-association-guide |
| iv) | Alpha Design Guide: This document contains the Clients requirements over and above the requirements of the DfC Guide and includes a schedule of samples which are required to be provided for the Clients consideration and approval. |
| v) | Secured by Design: (SBD) is the official police security initiative that works to improve the security of buildings and their immediate surroundings to provide safe places to live, work, shop and visit. This scheme awards formal recognition to housing developments whose design and construction incorporates Crime Prevention through Environmental Design measures. The PSNI Architectural Liaison Service should be consulted during the design stage and Secured by Design Gold Standard certification will be required for each development on completion. http://www.securedbydesign.com/ |
| vi) | Lifetime Homes: All new build social housing properties must be designed to current Lifetime Homes Standards and included DfC LTH Additional Requirements. All 16 Criteria area to be delivered. http://www.lifetimehomes.org.uk/ https://www.communities-ni.gov.uk/sites/default/files/publications/dsd/hagds-tb3-lth-additional-departmental-requirements.pdf |
| vii) | Considerate Constructors Scheme: The project is to be registered with the Considerate Constructors Scheme prior to construction as per DfC Guide. Proof of registration to be forwarded to Clients Agent/Client for audit purposes. https://www.ccscheme.org.uk/ |
| viii) | Buildsafe-NI Initiative: Developers must comply with the actions detailed in the Government Construction Client Group Action Plan 2011 issued in February 2011 supporting the Buildsafe-NI initiative. For public sector works Developers (Contractors) are required to have a health and safety management system in place which is certified by a 3rd party. https://www.finance-ni.gov.uk/topics/procurement/buildsafe-ni http://www.dfpni.gov.uk/index/procurement-2/cpd/cpd-policy-and-legislation/content _-_cpd_policy_framework_for_construction_procurement/buildsafe-ni/buildsafe-ni_action_plan_2011.pdf |
| ix) | Health and Safety: The Client considers health and safety to be paramount and the Developer will be required to comply fully with the Buildsafe-NI initiative. https://www.finance-ni.gov.uk/topics/procurement/buildsafe-ni |
| x) | British Standards: The detailing, specification and selections of materials should be to relevant British Standards or an internationally recognised equivalent standard specifying equivalent requirements and assurances in respect of material, safety, reliability, fitness for purpose, compatible accessories and, where relevant, appearance. The Developer shall notify the Clients Agent of all such substitutions in advance of ordering and produce (in English) documentary evidence confirming that the products comply with the specified requirements. |
| xi) | An NBS based performance specification is included as part of the Client Requirements and all materials and workmanship standards are to be applied to Developers Proposals. |
| xii) | The Developer and his design team must be fully acquainted with the aforementioned documents as no allowance shall be made in respect of lack of knowledge in this respect. |
| xiii) | The information contained in the Client Requirements document is provided to further explain to the Developer the Clients design and specification requirements to be included in the preparation of the Developers Proposals. |
| xiv) | Where there is a divergence between the DfC Guide, Housing Associations Design Guide and these Client Requirements requiring clarification, the Developer is to contact the Clients Agent. |

| 3.10 | Development Control |
| --- | --- |
| i) | Planning: It shall be the responsibility of the Developer to obtain the Full Planning Permission. It shall also be the responsibility of the Developer to comply with all Planning Conditions. |
| ii) | Road layout designs and parking provision shall be in accordance with the DFI Planning and Roads Service requirements and Creating Places as well as relevant Planning Policy Statements. |
| iii) | Building Control Plan Approval shall be the responsibility of the Developer. Building Control Completion Certificates must be obtained by the Developer and supplied to the Client prior to any acceptance of dwellings. |
| iv) | DfC(NI) Housing Association Project Approval will be required following a detailed submission made by the Association on behalf of the Developer. The Developers designs must be in accordance with the Housing Association Guide in this regard. |
| v) | A formal design presentation by the Developer to the Client (and its associated Departments) will be required. This will include coloured A1 presentation boards illustrating site layout proposals (dwelling locations and plot designs/boundary treatments, finishes, levels, landscaping, road design and parking arrangements), dwelling designs (plans for all types, elevations, general sections, proposed materials). |
| 3.11 | The Form of Contract |
|  | The form of contract will be the Development Agreement as detailed and provided in the documentation and will be signed by all parties subject to acceptance of the conditions therein. |
| 3.12 | Developers Proposals |
|  | The Developers submission shall be in the form of detailed Developers Proposals as scheduled in these Client Requirements and in Appendix A. The Developers Proposals should not conflict with the Client Requirements. |
| 3.13 | Amendments to the Client Requirements |
|  | The Developer shall not include any amendments or qualifications to the Client Requirements unless these have been specifically agreed and formally confirmed in writing by the Client beforehand. (See Client Requirements Appendix C for agreed revisions). |
| 3.14 | Tender Costs |
|  | No reimbursement will be made to the Developer by the Client for any costs associated with the preparation of this tender. |

| 4.00 | THE SITE |
| --- | --- |
| 4.01 | The land required shall form part of the ‘Offer’ contained in the Developers Proposals. |
| 4.02 | The Developer shall make its own enquiries and be responsible for determining all site constraints including dangerous substances, asbestos, contaminants, etc. The Client will not accept any responsibility for, or liability arising from, the accuracy of the information obtained. |
| 4.03 | The total area required for the complete development including access roads, parking, landscaping etc. shall be identified as soon as possible for valuation purposes. |
| 4.04 | All costs associated with topographical, geotechnical, geophysical, ecological, archaeological surveys and sub-soil investigations and other necessary surveys shall be the responsibility of the Developer and shall be deemed to have been fully included. The Client shall not accept any responsibility for, or liability arising from the accuracy of this information. |
| 4.05 | All existing fences, etc. surrounding the site shall be jointly inspected for suitability and if acceptable, shall be made good and the complete site shall be left secure upon completion of the works. (Metal palisade fencing is not acceptable as a boundary fence). Where new gardens abut boundaries these will be fenced with min 2000mm high timber fencing after existing fencing has been made good and boundary deemed stable and safe. |
| 4.06 | Existing walls and retaining walls shall be the subject of a separate condition and survey report the full contents of which shall be submitted to the Clients Agent together with the schedule of work to be carried out under the Contract. All associated costs in ensuring all walls are deemed safe and structurally stable are deemed to have been included in the Developers Offer. |
| 4.07 | The Developer shall make enquiries and shall be responsible for implementing the PSNI’s security requirements and bear all associated costs. The Client is to be notified by the Developer of all such requirements. |

| 5.00 | THE DEVELOPERS PROPOSALS |
| --- | --- |
| 5.01 | The Developers Proposals submitted shall contain all information necessary to enable the Client and Clients Agent to interpret and assess the detailed intentions of the Developer with regard to all aspects of the Works. The Developers Proposals must be of sufficient detail to facilitate a submission by the Client to the Northern Ireland Housing Executive for Project Approval. The Developers Proposals shall specifically contain the information detailed in the following sections. |
| 5.02 | Conditions of Participation/Award Stage: ‘Project Approval’ Scheme Design Information |
| i) | Site Location Plan:an Ordnance Survey ACE Map, scale 1.1250, illustrating the location of the site (boundaries outlined in red along with details of any Right of Way(s) or easements) and its surrounding buildings and road infrastructure. |
| ii) | Site Layout Plan: (1:200) describing and showing boundaries, points of access, roads and footpaths on or adjacent to the site, gardens, existing and proposed finished levels including floor levels, roads levels, driveway and garden levels, wall & fencing types, landscaping and surface finishes etc. The Site Plan is to be colour coded showing all hard and soft landscaping. |
| iii) | Block Plans: (1:100) showing the arrangement of the proposed dwellings, gardens, patios, amenity areas, footways, roads, common space etc. all fully colour coded and annotated. |
| iv) | Dwelling Plans: (1:50) including sections, elevations etc. Plans must be fully dimensioned and show the minimum required furniture layouts. |
| v) | Kitchen Layouts: (1:20) plans including elevations and key detailing of all unit types and appliance spaces. |
| vi) | Outline Specification: To cover the internal and external fabric of the buildings, M&E services and external works. |
| vii) | Statutory Approvals: Outline or Full Planning Permission or if not available an Architect/Planning Consultants Report confirming the likelihood of obtaining planning approval with justification provided. |
| viii) | Developers completed Form of Tender as provided with the Award documents. |
| 5.03 | Conditions of Participation/Award Stage: Other Project Information |
|  | Conditions of Participation/Award Documentation: see details included within these documents. |

| 5.04 | Detail Design Stage: ‘Working Drawing’ Production/Construction Information (to be in place prior to any construction start) |
| --- | --- |
|  | A complete set of detailed Production/Construction Information drawings (referenced in Appendix A) to include the following: |
| i) | Site Layout @ 1:200 - including roads, footways, site drainage, landscaping etc. |
| ii) | Floor Plans @ 1:50 - including foundation layouts and details etc. |
| iii) | Elevations @ 1:50 |
| iv) | Sections @ 1:50 - through the buildings showing floor to floor and ceiling heights, materials and to include foundation details etc. |
| v) | Roof Plans @ 1:50 - showing roof make-up, roof drainage etc. |
| vi) | Room Layouts: accurately drawn room layouts at 1:50 showing furniture, switches, sockets, alarm pull cords, extract fans and mechanical ventilation installations, radiators, TV aerial sockets, telephone points etc. Particular care should be taken to accurately show the effect that any fittings will have on the clear width of circulation areas. |
| vii) | Kitchen Layouts: detail drawings at 1:20 including elevations and details of all units. |
| viii) | Window Schedule: indicating detailed assembly and specification of proposed windows. |
| ix) | Door & Screen Schedule: indicating detailed assembly and specification. |
| x) | Finishes Schedule: colour scheme to be provided at a later date. |
| xi) | Ironmongery Schedule. |
| xii) | Construction Details: a full set of details illustrating the make-up of the buildings @ 1:20/1:10 scales. |
| xiii) | Specification: a detailed specification of the standard and materials including all trade names and manufacturers references where applicable for all building materials to be used in the works. Specification to ensure deliver of all product and workmanship requirements listed in the Clients NBS document requirements. |
| xiv) | Fire Prevention Recommendations where applicable. |
| xv) | Sub-Soil Report including Geotechnical SI Report and where applicable a GQRA/DQRA along with Remediation Strategy to NIEA compliance standards. |
| xvi) | Other Reports: Condition, Contamination, Remedial Works etc as necessary. |
| xvii) | Mechanical and Electrical Services: a complete set of drawings indicating the mechanical and electrical services proposed for each dwelling. Layout of fittings shall comply with earlier approved furniture layouts. |
| xviii) | M&E Specifications: a detailed specification of the standard of workmanship and materials in connection with the mechanical and electrical installations. |
| xix) | Structural Information: a complete set of structural drawings and calculations suitable for verification by the Clients Third Party Assessors. |
| xx) | Planting Layout: a soft landscaping layout and landscape management plan. |
| xxi) | The Developers Construction Stage Health & Safety Plan. |
| 5.05 | The Developer shall provide to the Employer copies of all ‘Approved Notices’ and all stamped ‘Approved’ drawings including: - Planning Permission (Outline and Full or Reserved Matters) - Building Control Approval (Plan Approval and Completion Certificates) |
| 5.06 | The Developer shall issue, prior to the commencement of the works, a Works Programme for the Works. |

| 5.07 | The Developer shall provide a Contract Sum Analysis in the form of: |
| --- | --- |
| i) | An approved document (hard copy and also in electronic format) containing detailed costs of work grouped in sections. |
| ii) | A priced Schedule of Mechanical and Electrical Installations. |
| iii) iv) | An Elemental Analysis of the Tender using the BCIS Detailed Form of Cost Analysis obtainable from the Building Cost Information Services of the RICS. TPI and PIF: For all New Build schemes, to allow the DfC to monitor building costs; Form PIF for self-contained New Build Dwellings (General Needs and Supported Housing); and Form TPI (New Build Social Housing TPI, based on a Bill of Quantities, Builders Quantities or detailed schedule of rates. |
| 5.08 | The Developer shall provide: |
| i) | The names of his Design Team appointed to carry out all the professional services on this Contract. |
| ii) | The names of the Developers’ Mechanical and Electrical Sub-Contractors (and where applicable designer/suppliers of any timber pre-fabricated components). |
| iii) | The ‘Construction Stage’ Health & Safety Plan in accordance with Appendix 3 of the Health and Safety Executives Guide to Managing Health and Safety in Construction. |
| 5.09 | The Developer’s appointments for his Design Team are to include full services throughout the on-site construction period (inspections, provision of additional construction information, attendance at Developers Progress/Technical meetings). |
| 5.10 | The Developer shall appoint a Project Architect to manage and co-ordinate design work carried out by all other Consultants and specialist Sub-Contractors and Suppliers appointed by the Developer and shall ensure that all designs are fully integrated into the Works (pre and post contract). |
| 5.11 | The Developers Project Architect shall attend project design stage (pre-construction) and all progress and technical site meetings during construction. |
| 5.12 | The Developers appointed Mechanical and Electrical Engineers shall attend pre-construction design meetings and construction stage progress and technical site meetings as reasonably requested by the Clients Agent. |
| 5.13 | All Developers appointed Design Consultants shall maintain all reasonable skill and care in the performance of their design duties and obligations as set out in the Client Requirements. |
| 5.14 | The Developer shall not assign the design or inspection services of any of his Design Team without prior and written agreement from the Client and any such assignment shall be at no additional cost to the Contract. |
| 5.15 | The Developers attention is drawn to the role and legal responsibilities of the Developers Design Team in influencing safety matters in the construction and maintenance of buildings. |
| 5.16 | A copy of the Client Requirements is to be retained on site for the use of the Developers Site Staff. |
| 5.17 | Tenant Packs: At practical completion or partial possession of the Works, the Developer shall provide to the Client ‘Tenant Packs’ containing all health and safety information and operational instructions for each respective dwelling. |
| 5.18 | Health & Safety File: At the completion of the first phased handover the Developer shall provide to the Client the ‘Health and Safety File’ which will then continue to be developed as the project progresses through to final completion. |

| 6.00 | CONTRACT PARTICULARS |
| --- | --- |
| 6.01 | Contract |
|  | The procurement of the construction and delivery of this design and build project is by way of a Development Agreement as prepared by Edwards & Co. on behalf of the Client. |

| 7.00 | GENERAL CONDITIONS AND OBLIGATIONS |
| --- | --- |
| 7.01 | Drawings and Specifications |
| i) | The overall design and specification shall be to the approval of the Client and shall be as presented in the drawings, schedules and specification referred to in the Developers Proposals which, when signed by the parties to the contract, shall form the basis of the project. |
| ii) | It is expected that the Developer, the Developer’s Design Team and its representatives shall be fully aware of and conversant with good building practice, performance and use in their various applications of the materials and standard of workmanship required for the building construction. |
| iii) | The Developer shall submit drawings, specifications, and calculations etc. to the Clients Agent at least 21 days prior to the commencement of the relevant phase of the work to which these items relate. Any errors or deviations from the Design Brief found by the Clients Agent will be notified to the Developer but the submission of drawings and calculations etc. as aforesaid shall not relieve the Developer of any responsibility under the Contract in respect of the complete design procurement and construction of the Works in accordance with the Contract. The Client does not accept any responsibility for the accuracy of any such drawings, specifications, calculations etc. |
| iv) | Detailed design and specification notes are included in referenced documents/web links and these Client Requirements. |
| 7.02 | Statutory Approvals |
| i) | Planning Permission: The Developer shall pay all costs and be responsible for obtaining all necessary planning consents and shall comply with the same in all respects. |
| ii) | Building Control: The project shall comply in all respects with the Northern Ireland Building Regulations and the Developer shall be responsible for obtaining all necessary approvals giving all appropriate notifications and pay all costs in connection with same. |
| iii) | Fire Authority Requirements: The Developer shall ensure that the scheme complies in all respects with any relevant Fire Authority requirements and shall, if necessary, submit drawings to them for approval. The Developer shall comply with any instruction issues by the Fire Authority on Completion. |
| iv) | Roads, Road Lighting, Water and Sewerage: The Developer shall obtain all necessary approvals and pay all costs with the relevant Roads, Water and Sewerage Statutory Authorities and shall ensure that all relevant roads, lighting, storm and foul sewers etc. are adopted by the appropriate authorities on completion of the Works. |
| v) | Local Authorities: The Developer shall obtain all appropriate permits, bonds and approvals from Local Authorities and Statutory Bodies and shall be responsible for all payments and compliances. |
| vi) | Existing Services: The Developer shall be responsible for determining the nature and location of existing services and shall bear all costs in relation thereto. |
| vii) | Electricity Supplies: The Developer shall pay all costs in connection with the electricity supplies, including connection charges. The Developer shall ensure that these supplies are adequate for their proposed function and full operational upon completion. |
| viii) | Telephone: The Developer shall pay all costs in connection with the provision of telephone lines. |
| ix) | Mains Gas, Virgin Media, NI Water: The Developer shall liaise with the appropriate utility companies regarding the provision of gas pipework and ductwork for future possible connection. Copies of relevant documentation to be forwarded the Clients Agent. |
| x) | Approved Documents: The Developer shall forward to the Clients Agent copies of ‘Approved Notices’ and ‘Stamped Approved Drawings’ etc. |
| xi) | General: No increase will be allowed to the Contract Sum for any costs, however incurred, in conforming to the requirements of the above as promulgated at the date of tender, or to the interpretation of those Regulations by the responsible officers to the Local Authority. Any post tender delay arising from obtaining approval for works will not give rise to adjustment to the Contract Sum. |

| xii) | The Developer, on receipt of any amended approvals etc. shall pass to the Client the consent notice together with the stamped approved documents. |
| --- | --- |
| xiii) | The Developer shall ensure that all necessary approvals are obtained and all statutory undertakings fully in agreement with the proposals prior to work commencing and he shall pay and indemnify the Client against liability in respect of fees and charges in connection therewith. |
| 7.03 | Works Programme |
| i) | The Developer shall prior to the commencement of the Works prepare a detailed Works Programme (Gantt chart format) to illustrate the order in which he intends to execute the Works. The program must illustrate all key trades as well as services/utility connection dates, completion of all trades, testing and commissioning and handover date(s) and longstop date. |
| ii) | Developers programme will be required to show at least the following: - A detailed picture of the overall organisation of the entire Contract, the orders of precedence and method of execution. - The dates for commencement and completion of individual sections of the Works and for the classes of work or elemental divisions within these sections showing the earliest start times together with float times. - The dates for commencement and completion of all sub-contract works which have been agreed with each of the Sub-Contractors is to be submitted with the programme. - The dates for final confirmation of finishes/colour schemes. |
| iii) | The programme shall be submitted to the Clients Agent for information and tender stage assessment. |
| iv) | The Developer shall review the programme at intervals of not more than four weeks and within two weeks of any variation taking place and have the updated chart available for each progress meeting. |
| 7.04 | Changes to the Client Requirements |
|  | The Developer shall give notice to the Clients Agent of the commencement and completion any work arising from the changes in the Client Requirements. The values of such work shall be agreed prior to implementation. |
| 7.05 | Stage Payments |
| i) | The Development Agreement details the stages at which payments will be due and the amount (except the initial payment) will be calculated based on the number of units confirmed to be at a particular respective construction stage. |
| ii) | The Clients Agent will inspect the progress and verify that each unit has reached completion of the particular construction stage. The Development Agreement stipulates the construction stages and percentage payments applicable. |
| 7.06 | Progress Meetings |
| i) | Progress Meetings: Shall be held at one month intervals. They will be chaired by the Clients Agent who shall prepare and distribute Minutes to all parties concerned. The Developer shall be represented at all meetings along with the Developer’s Project Architect and other Designers as required and representatives from Sub-Contractors if and when required. A Developers Progress Report, in typed format, shall be produced at all meetings. |
| ii) | Site Technical Meetings: Shall be held at one month intervals, or as necessary, involving the Developer, appropriate Sub-Contractors and Developers Design Team prior to the Progress Meeting. They shall be chaired by the Developer or the Developer’s Project Architect who shall prepare and distribute Minutes to all concerned including the Client and Client’s Agent. |
| iii) | Notice: If required by the Developer, and provided a minimum of five works days’ notice is given, the Clients Agent and/or the Client can attend these meetings. |

| 7.07 | Working Rules |
| --- | --- |
| i) | The Developer shall take all measures which under or by virtue of the provisions of any enactment or regulation of the Working Rules or Codes of Practice of any industry, together with any amendment or re-enactment thereof or regulation made hereunder, he is required to take for the safety, health and welfare of workpeople employed on the site by himself or his Sub-Contractors and shall comply with any obligations imposed on him in relation to such measures. |
| ii) | The Developer is reminded that he shall also ensure the safety, health and welfare of persons other than persons at work on the site against risks to health and safety arising out of or in connection with the activities of persons at work on the site and he draw attention of manufacturers, suppliers etc. to the general duty placed on them to protect the health and safety of persons at work. |
| iii) | The Developer shall provide for all obligations under the Working Rule Agreement for Building Trade Operatives in accordance with the rules of the National Joint Council for the Building Industry in Northern Ireland including annual holiday and public holiday schemes, guaranteed week and sick pay or, in the case of workpeople so engaged whose rates of wages and other emoluments and expenses are governed by the rules of some other body than the National Joint Council for the Building Industry in Northern Ireland, in accordance with the rules of such other body, applicable to the Works and to meet the requirements and conditions in the region in which the site is situated, and for bonus payments and all expenses in connection therewith, for any extra costs of wages paid for a higher standard time rates than those authorised by the appropriate wage fixing body and for all costs incurred in transporting workpeople to and from the site. |
| 7.08 | Health and Safety |
| i) | The Developer shall comply with any obligations under Health and Safety Legislation- The Construction (Design and Management) Regulations 2015 (CDM 2015) Northern Ireland. The Developer shall be responsible for the appointment of a Principal Designer and shall liaise with the Principal Designer and provide any information to the extent which the Principal Designer reasonably considers necessary to facilitate all parties in complying with their own Legal Obligations under the Health and Safety Legislation or otherwise. The term ‘Principal Designer’ shall mean the Developer who shall comply with all the duties required under the current Construction (Design and Management) Regulations. |
| ii) | The Developer shall ensure that any designer appointed in respect of the Project shall adopt a method of risk control when completing their design that fully satisfies the particular requirements of the current Construction (Design and Management) Regulations (Northern Ireland). The Developer shall provide detailed written assessments from all designers employed and confirmation that their designs have been completed in accordance with the legislation. All residual risks remaining within the final design shall be clearly identified in the ‘Pre-Construction’ Health and Safety Information Pack. |
| 7.09 | Materials, Goods and Workmanship |
| i) | The building(s) shall be designed, detailed and constructed in all respects to fully meet all the requirements of the Building Regulations (NI) including all amendments. For the avoidance of doubt the Developer will be responsible for all costs associated with any changes to the NI Building Regulations which may apply to the scheme. |
| ii) | All materials, components, design and workmanship shall, as a minimum standard, comply with all relevant British Standards or an internationally recognised equivalent standard, Codes of Practice, Agreement Certificates etc. or equivalents and be in accordance with good building practice. |
| iii) | All materials and components shall be new, be of best quality and be designated heavy contract/heavy duty grade as appropriate to comply with the Users requirements that the building shall have a minimum services life of 30 years subject to only regular routine maintenance. |
| iv) | The building(s) shall be designed, detailed and constructed in all respects to fully meet all the current BS requirements – Fire Precautions in the design, Construction and Use of Buildings, and be in accordance with the relevant Code of Practice. |
| v) | Branded materials are to be handled, stored and used and processes are to be carried out strictly in accordance with the manufacturers’ printed instructions and recommendations. Such materials are to be obtained direct from the manufacturers or through their accredited distributors. |
| vi) | Where approval of characteristics of products or materials is required, samples or other evidence of suitability shall be submitted to the Clients Agent and approval of the required characteristic obtained before ordering or use. Where samples of finished work are specified, the works shall not proceed until the Clients Agent has given approval to the required characteristic of the sample. |
| vii) | Samples shall be retained on site for comparison purposes and, unless otherwise specified for forming part of the finished work, shall be removed when no longer required by the Client. |
| viii) | Materials and components shall be selected to ensure that additional quantities and/or replacement parts shall be readily available. |
| ix) | The Client, Clients Agent and Clients Inspector of Works shall have the right to comment on defective materials or unsatisfactory workmanship which is deemed not in accordance with such samples or workmanship. |
| x) | The cost of samples and sample workmanship shall be borne by the Developer. |
| xi) | It is the Clients policy to minimise the adverse environmental effects of its projects and operations. Recycled or recyclable products are to be preferred whenever they are available. Projects are to be designed to minimise the consumption of energy; avoid the consumption of products associated with the destruction of tropical rainforests or threatened animal species; avoid the emission of pollutants, harmful radiation or ozone layer depleting chemicals and avoid the use of noxious substances, especially DOE ‘Red List’ and EC Listing 1’ Substances. |
| xii) | The specification of materials and components shall comply with the requirements of the ‘Montreal Protocol’. |
| 7.10 | Temporary Site Sign Board |
|  | The Developer shall not use any part of the site or structure for advertising apart from the erection of one comprehensive notice board on which shall be displayed in addition to the Developer and his Design Team, the name of the Client, the name of the project, the DfC standard signage requirement and the name of the Clients Agent. The notice board shall be constructed, painted and sited to the approval of the Clients Agent and in keeping with DfC Social Housing requirements and be sufficiently durable to last for the lifetime of the construction period. |
| 7.11 | Temporary Services |
|  | The Developer shall provide water, lighting and power for the Works including making all necessary arrangements with the appropriate Authority for this provision, maintenance and metering of each supply. |
| 7.12 | Temporary Roads |
|  | The Developer shall provide, adapt as necessary, and maintain any necessary temporary roads, hard-standings and crossings during the execution of the Works, clear away same at completion and reinstate and make good any work disturbed. All roads, footways and associated lighting for phased handovers must be left in a safe condition to the satisfaction of the Clients Agent. |
| 7.13 | Protection of the Site |
|  | The Developer shall protect the site sufficiently against the ingress of unauthorised persons or children, and shall ensure the safety of the public or adjoining owners to the Works. |
| 7.14 | Existing Services |
| i) | The Developer shall be responsible for determining the nature and location of existing services and shall bear all costs in relation thereto. |
| ii) | The Developer shall uphold and maintain any gas, water, sewers, electrical, telephone or other services found on or adjacent to the site during the progress of the Works. The Developer shall make good any damage due to any cause within his control including providing temporary supplies a necessary at his own expenses. |
| iii) | Any temporary disconnection of the services which may be necessary shall be done at such times as may be agreed with the Local Authority of Public Undertaking. |
| iv) | No diversion of any existing service shall be carried out without the written permission of the Local Authority of Public Undertaking. |
| v) | All dead services shall remain the property of the public undertaking. |
| vi) | The Developer shall be responsible for all co-ordination for works by public bodies and utility providers. No extra costs shall be allowed in consequence of any alteration, delay or suspension of the Works due to any lack of such co-ordination. |
| vii) | The Developer shall supply all Local Authorities or Public undertakings with sufficient information to enable them to prepare their schemes and working drawings and shall be responsible for ensuring that any works carried out by him in connection with their work, shall conform to this information including such dimensions as may be agreed with the Local Authorities or Public Bodies. |
| 7.15 | Protection of Persons and Property |
| i) | The Developer shall protect the public, the Clients Officers, servants and property and all other persons occupying or using the premises, the adjoining or neighbouring property, during the progress of the Works included in or required to be done in connection with the Contract. |
| ii) | The Developer shall take all reasonable means to avoid or eliminate the danger to the public and other persons arising from the entry or exit of vehicles to and from the site. The Developer shall provide general purpose industrial safety helmets to comply with BS 5240 for the use of all Clients Officers and servants visiting the site in connection with the works. |
| 7.16 | Adjoining Owners |
| i) | The Developer shall use all reasonable means to avoid inconveniencing adjoining occupiers. All plant, machinery or equipment shall be placed on or use on the site so as to avoid any nuisance or trespass on adjoining property. Should it be necessary for any plant, machinery or equipment to project or operate over adjoining property, the Developer shall obtain the formal permission of the adjoining owner. |
| ii) | The Developer shall indemnity the Client against any claim or action for damages from the use of any plant, machinery or equipment. No work person employed on the Works shall be allowed to trespass upon adjoining properties. If the execution of the Works requires that workpeople must enter upon adjoining property, the necessary permission shall be first obtained by the Developer who shall see that these instructions are carried out. |
| iii) | The Developer shall indemnify the Client against any claim or action for damages on account of any trespass or other misconduct of their workpeople. |
| iv) | The Developer shall not obstruct any public way or otherwise do suffer to be done anything which may amount to a nuisance or annoyance and shall not interfere with any right of way or light to adjoining property. Any notice received by him or left upon the site requiring the discontinuance or suspension of any part of the Works shall at once be forwarded by him to the Clients Agent or if given verbally, shall at once be communicated by him to the Clients Agent in writing and the Developer shall keep the Client indemnified against any claim or loss consequent upon any act, neglect or omission of the Developer or his Agents, servants or workpeople in this respect. |
| 7.17 | Watching and Protection |
| i) | The Developer, shall be solely responsible for safeguarding the Works, materials and plant against damage and theft and he is advised to affect such additional insurance as is necessary to adequately cover such risk. |
| ii) | The Developer shall provide all requisite watching and lighting and everything else necessary for the due protection and security of the Works and of the Public. |
| iii) | The Developer shall provide all necessary protection and covering to prevent injury to the Works and any adjoining property exposed by these Works, by frost or other weather conditions for which the Developer will be held responsible, including draining down services as may be necessary prior to the handing over of the building(s). |
| iv) | The Developer shall provide all necessary coverings and protection and make good any damage to existing roads, paving, footpaths, kerbs, gates, fencing, trees, grass, drains, etc. on and near to the site caused by extraordinary traffic or otherwise, leave clean and perfect upon completion. |
| v) | The Developer shall provide all necessary temporary fencing, hoarding, gate and the like as may be necessary for the protection of the site, the proper execution of the Works and the protection of the public. |
| vi) | The Developer shall erect at the entrance to the site, signs warning the public, occupants of the site, etc. that the entrance is in use by the Contractors and that care should be exorcised. |
| 7.18 | Removal of Spoil and Rubbish |
| i) | The Developer shall ensure the excavated material, rubble, rubbish or other waste materials and the like removed from site in connection with the said Works by the Developers transport is not deposited, dumped or fly-tipped in whole or in part on any land, street or premises. |
| ii) | The Developer shall ensure that all loads removed from the said site are disposed of at authorised tips and shall make their employees fully aware that dumping or fly-tipping in any form or place is strictly prohibited and will be prosecuted where necessary. |
| iii) | The Developer shall take all reasonable precautions to ensure that sufficient protection of all streams and waterways against pollution arising out of or by reason of the execution of the Works. |
| 7.19 | Adjoining Roads |
| i) | The Developer shall maintain public and private roads, footpaths, kerbs, etc. and keep the approaches to the site clear or mud and dirt. Roads etc. shall be cleaned at the end of each working day. The Developer shall make good any damage caused by his own or his Sub-Contractors or suppliers transport, at his own expense and pay any cost and charges in connection therewith. |
| ii) | The Developer shall take all necessary steps to ensure that the wheels of all vehicles leaving the site are clean and that such vehicles are properly loaded so as to prevent spillage of contents and he shall be responsible at all times for keeping roads, streets and footpaths immediately adjacent to the site free from mud, dirt, rubbish etc. arising out of or in the course of or by reason of the execution of the works, and shall be responsible for observing any by-law or regulation imposed by a competent authority regarding the keeping of such roads, streets and footpaths free from mud debris etc. |
| iii) | The Developer shall provide, maintain and clear away when no longer required, any necessary warning or other signs arising out of the use of or whilst executing works in the public highway. |
| iv) | The Developer shall comply with all traffic regulations and provide any necessary traffic control. |
| 7.20 | Work Outside the Site Boundary |
|  | Any works which are required to be executed outside the boundary of the site shall be carried out in accordance with the requirements of the local or Statutory Authorities. The Developer shall include for all costs in connection with watching, temporary barriers and control of vehicular and pedestrian traffic and for all making good or work disturbed as necessary to the approval of the Local or Statutory Authorities. |
| 7.21 | Drying Out of the Works |
| i) | The Developer shall provide for any temporary de-humidifying or heating of the buildings that may be required for the drying out and control of humidity of the Works with particular regard to finishings and decorations. |
| ii) | The Works are to be fully dried out and ready for occupation and to the Clients Agents approval prior to handover. |
| iii) | The permanent installation may be used whenever it is possible and practical for it to be operated. The Developer shall allow for all temporary services connections, temporary metering, water, provision of electricity, fuel, supervision, attendance, maintenance, draining down, reconnection, replacement and testing prior to completion aforesaid. The use of the permanent heating shall not preclude the Client from any warranties or guarantees as requested at the commencement of practical completions. |
| iv) | In event of the permanent installation not being available (in part or in whole) the Developer shall use temporary portable equipment of a type to the Clients Agents approval, and shall allow for the costs thereof, including removal on completion. |
| v) | The Developer shall also insure for any additional risks arising out of the use of the permanent installation of temporary equipment. |

| 7.22 | Protection of the Finished Works |
| --- | --- |
|  | The Developer shall adequately protect all works from damage etc, as and when the Works are completed. This shall particularly refer to finishes, fittings, doors, windows and external finishes. |
| 7.23 | Pest Control |
|  | Prevent the attraction of vermin to the existing and new building by all appropriate measures concerning the consuming of food. It is stressed that food consumption within the new and existing buildings must not be permitted at any stage of the work and that relevant mess rooms and canteen facilities must be provided. |
| 7.24 | Fire Precautions |
| i) | The Developer shall take proper precautions to prevent the outbreak and spread of fire and provide and maintain adequate firefighting equipment at points adjacent to the Works and unfixed materials. Observe strict fire prevention measures throughout the Works. |
| ii) | Ensure that all employees, including all Sub-Contractors employees conform to all ‘NO SMOKING’ signs and know the location and methods of operation of firefighting equipment in the area in which they are working and that on discovery or suspicion of a fire that the alarm is given immediately in the prescribed manner. |
| iii) | Where work necessitates the use of naked flames in confined spaces, a portable fire extinguisher shall be readily available. No welding or similar operations shall be executed until all surrounding inflammable materials have been adequately protected. |
| iv) | All gas cylinders shall be stored in a properly constructed fireproof store. The store shall be kept locked and appropriately sign-posted ‘DANGER – NO SMOKING OR NAKED LIGHTS’. Provide a suitable type of fire extinguisher adjacent to the store and any point where works necessitates the use of gas cylinders. |
| v) | Allow for all necessary safety precautions when using petrol, diesel, acetylene, propane, butane or similar gases and store off site. |
| vi) | All inflammable rubbish or debris shall be disposed of quickly and no allowed to accumulate on site. No fires will be allowed on site. |
| 7.25 | Keeping and Leaving the Works Clean |
| i) | The Developer shall provide for removing all rubbish from the site as it accumulates on a regular basis and at completion. |
| ii) | The Developer shall provide for removing all protective casings and coverings, cleaning the buildings inside and out, touching up paintwork and polished work and leaving the whole of the Works clean and ready for occupation, to the satisfaction of Employers Agent. |
| 7.26 | ‘As-Built’ and ‘As-Installed’ Documents |
| i) | Two copies, on plain paper and 1 CAD disk of ‘As-Built’ and ‘As-Installed’ drawings of all aspects of the completed works shall be provided to the Client at completion of the Works. Electronic drawing files to be in .dwg format and unlocked. |
| ii) | The drawings are to be supplied by the Project Architect, Structural Engineer, Mechanical and Electrical Engineers and endorsed by each consultant stating that ‘the drawings represent a true record of the completed works’. |
| iii) | The Developer shall provide all Mechanical and Electrical Test Certificates, Manufacturers Instructions and Maintenance Manuals, Guarantees etc. at Practical Completion of the works. |

| 7.27 | Statutory Adoption Certificates |
| --- | --- |
| i) | At completion stage, or as may otherwise be agreed with the Client, the Developer shall provide a Preliminary Adoption Certificate at the handover date in respect of all relevant works to be adopted by the Roads Service and NI Water. |
| ii) | The Developer shall provide before final defects sign-off all Final Adoption Certificates in respect of Roads, Footways, Street Lighting as well as Storm and Foul Sewers. |
| iii) | The final payments shall not be issued until all contractual and statutory requirements have been fulfilled. |
| 7.28 | Health and Safety File |
| i) | The Developer shall provide at each Handover stage, a completed Health and Safety File plus supplement of variants for each individual dwelling. Two paper and one electronic copy of this information is to be provided to the Clients Agent. |
| ii) | The Health and Safety File shall include a section containing maintenance recommendations and a list of manufacturers and products used. |
| 7.29 | Energy Ratings |
|  | The Developer shall be responsible for the provision of Energy Performance Ratings Certificates and Design & Construction Stage SAPs as required under the Building Regulations (SAP Rating). |
| 7.30 | Postal Numbering |
|  | The Developer shall be responsible for making all necessary arrangements with the Local Authorities and Post Office in connection with street naming and numbering and is to be carried out in conjunction with and with the agreement of the Employer. |
| 7.31 | Identity of Developer |
|  | The Contract shall be completed in the name of the Developer with whom the package was tendered. No other party including any member of the same group of companies is acceptable as the Developer. |

| 8.00 | The Developer will assist the Client in completing financial appraisal forms for cost data analysis and submissions to the Department for Social Development & Northern Ireland Housing Executive (DPG Department). |
| --- | --- |

APPENDIX A

LAND, DESIGN AND BUILD,

FOR ALPHA HOUSING ASSOCIATION

| 9.00 | CONTRACTORS PROPOSALS DOCUMENTATION |
| --- | --- |
| 9.01 | Schedule of Drawings |
|  | Discipline Drawing Number: Drawing Title: ARCHITECTURAL MEP INSTALLATION STRUCTURAL/CIVIL LANDSCAPING |
| 9.02 | Schedule of Supporting Documentation |
|  | Document Reference: Document Title: |

APPENDIX B

LAND, DESIGN AND BUILD,

FOR ALPHA HOUSING PROPERTIES LTD

| 10.00 | REVISIONS TO CLIENT REQUIREMENTS |
| --- | --- |
|  | The following is a list of revisions to the Employers Document as agreed by both Parties: |
|  | C.R. Ref: Revision: Date: |